## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6077-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6077-37_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6077-37_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6077-37_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6077-37_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6077-37_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6077-37_0_4_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_6077-37_0_4_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_6077-37_0_4_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_6077-37_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6077-37_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_6077-37_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6077-37_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6077-37_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_6077-37_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6077-37_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6077-37_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6077-37_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6077-37_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6077-37_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6077-37_0_4_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_6077-37_0_4_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_6077-37_0_4_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_6077-37_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_6077-37_0_4_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_6077-37_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_6077-37_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6077-37_0_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_6077-37_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_6077-37_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_6077-37_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_6077-37_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6077-37_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_6077-37_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6077-37_0_4_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_6077-37_0_4_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_6077-37_0_4_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_6077-37_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_6077-37_0_4_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_6077-37_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_6077-37_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_6077-37_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_6077-37_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_6077-37_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_6077-37_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_6077-37_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_6077-37_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6077-37_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_6077-37_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_6077-37_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6077-37_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6077-37_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_6077-37_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_6077-37_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6077-37_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_6077-37_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_6077-37_0_4_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_6077-37_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_6077-37_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6077-37_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_6077-37_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_6077-37_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_6077-37_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_6077-37_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_6077-37_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_6077-37_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_6077-37_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_MV_201_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6077-37_0_4_load_0 | 0 | 0.0023494 | 0.00058882 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6077-37_0_4_load_1 | 1 | 0.0024079 | 0.00060348 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6077-37_0_4_load_3 | 3 | 0.0045442 | 0.0011389 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6077-37_0_4_load_4 | 4 | 0.0030748 | 0.00077062 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6077-37_0_4_load_5 | 5 | 0.0043117 | 0.0010806 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6077-37_0_4_load_35 | 7 | 0.0016899 | 0.00042353 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6077-37_0_4_load_63 | 8 | 0.0039223 | 0.00098303 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6077-37_0_4_load_36 | 10 | 0.0043149 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6077-37_0_4_load_6 | 11 | 0.0053537 | 0.0013418 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6077-37_0_4_load_7 | 12 | 0.0031426 | 0.0007876 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6077-37_0_4_load_18 | 13 | 0.0027661 | 0.00069325 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6077-37_0_4_load_9 | 15 | 0.0045811 | 0.0011481 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6077-37_0_4_load_10 | 16 | 0.0076317 | 0.0019127 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6077-37_0_4_load_11 | 17 | 0.0036443 | 0.00091334 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6077-37_0_4_load_12 | 18 | 0.0043131 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6077-37_0_4_load_13 | 19 | 0.011674 | 0.0029258 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6077-37_0_4_load_69 | 21 | 0.0042498 | 0.0010651 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6077-37_0_4_load_67 | 22 | 0.0077454 | 0.0019412 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6077-37_0_4_load_53 | 25 | 0.0033139 | 0.00083055 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6077-37_0_4_load_55 | 27 | 0.0037192 | 0.00093213 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6077-37_0_4_load_29 | 28 | 0.0046369 | 0.0011621 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6077-37_0_4_load_14 | 29 | 0.0031006 | 0.00077707 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6077-37_0_4_load_19 | 32 | 0.0043544 | 0.0010913 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6077-37_0_4_load_59 | 34 | 0.0050549 | 0.0012669 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6077-37_0_4_load_57 | 35 | 0.0038105 | 0.000955 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6077-37_0_4_load_33 | 37 | 0.0028639 | 0.00071776 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6077-37_0_4_load_58 | 38 | 0.0034891 | 0.00087445 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6077-37_0_4_load_64 | 39 | 0.0061804 | 0.001549 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6077-37_0_4_load_31 | 40 | 0.0022568 | 0.00056562 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6077-37_0_4_load_21 | 41 | 0.0072584 | 0.0018191 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6077-37_0_4_load_23 | 42 | 0.003906 | 0.00097894 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6077-37_0_4_load_54 | 43 | 0.0038262 | 0.00095894 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6077-37_0_4_load_27 | 45 | 0.00306 | 0.00076692 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6077-37_0_4_load_28 | 46 | 0.0034327 | 0.00086032 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6077-37_0_4_load_47 | 47 | 0.003962 | 0.00099296 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6077-37_0_4_load_43 | 48 | 0.010925 | 0.002738 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6077-37_0_4_load_42 | 50 | 0.0026526 | 0.00066481 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6077-37_0_4_load_46 | 53 | 0.0025581 | 0.00064112 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6077-37_0_4_load_49 | 55 | 0.0036986 | 0.00092696 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6077-37_0_4_load_32 | 56 | 0.0043226 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6077-37_0_4_load_34 | 57 | 0.0041374 | 0.0010369 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6077-37_0_4_load_44 | 58 | 0.0043119 | 0.0010807 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6077-37_0_4_load_37 | 59 | 0.003952 | 0.00099045 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6077-37_0_4_load_38 | 60 | 0.004435 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6077-37_0_4_load_39 | 61 | 0.0041496 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6077-37_0_4_load_40 | 62 | 0.0034275 | 0.00085901 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6077-37_0_4_load_41 | 63 | 0.005219 | 0.001308 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6077-37_0_4_load_60 | 64 | 0.0018459 | 0.00046262 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6077-37_0_4_load_65 | 65 | 0.0051728 | 0.0012964 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6077-37_0_4_load_66 | 66 | 0.012381 | 0.0031029 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6077-37_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00093057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6077-37_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_6077-37_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6077-37_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.023794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6077-37_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.032599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_6077-37_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.046011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6077-37_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.046173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6077-37_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.03722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6077-37_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.038603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6077-37_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.00094949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_6077-37_0_4_line_10 | NAYY 4x150 SE | 9 | 13 | 0.020906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6077-37_0_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.0213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6077-37_0_4_line_12 | NAYY 4x150 SE | 10 | 58 | 0.020964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6077-37_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.022604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6077-37_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.016022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6077-37_0_4_line_15 | NAYY 4x150 SE | 14 | 31 | 0.02447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6077-37_0_4_line_16 | NAYY 4x150 SE | 14 | 29 | 0.035772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6077-37_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.014397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6077-37_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0055817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6077-37_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0080747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6077-37_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.033649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6077-37_0_4_line_21 | NAYY 4x150 SE | 18 | 23 | 0.0062132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6077-37_0_4_line_22 | NAYY 4x150 SE | 19 | 24 | 0.0098565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6077-37_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.032371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6077-37_0_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.057403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6077-37_0_4_line_25 | NAYY 4x150 SE | 22 | 52 | 0.017053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_6077-37_0_4_line_26 | NAYY 4x150 SE | 22 | 54 | 0.052759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_6077-37_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.046147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6077-37_0_4_line_28 | NAYY 4x150 SE | 23 | 26 | 0.03873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6077-37_0_4_line_29 | NAYY 4x150 SE | 24 | 27 | 0.012774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6077-37_0_4_line_30 | NAYY 4x150 SE | 24 | 28 | 0.029487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6077-37_0_4_line_31 | NAYY 4x150 SE | 25 | 43 | 0.037259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6077-37_0_4_line_32 | NAYY 4x150 SE | 26 | 41 | 0.019527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6077-37_0_4_line_33 | NAYY 4x150 SE | 27 | 55 | 0.0059561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6077-37_0_4_line_34 | NAYY 4x150 SE | 29 | 30 | 0.026114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6077-37_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.021041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6077-37_0_4_line_36 | NAYY 4x150 SE | 30 | 33 | 0.041254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6077-37_0_4_line_37 | NAYY 4x150 SE | 31 | 34 | 0.028326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6077-37_0_4_line_38 | NAYY 4x150 SE | 31 | 35 | 0.017254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6077-37_0_4_line_39 | NAYY 4x150 SE | 33 | 36 | 0.032978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6077-37_0_4_line_40 | NAYY 4x150 SE | 33 | 37 | 0.033752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6077-37_0_4_line_41 | NAYY 4x150 SE | 35 | 38 | 0.0023739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6077-37_0_4_line_42 | NAYY 4x150 SE | 36 | 39 | 0.062244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6077-37_0_4_line_43 | NAYY 4x150 SE | 37 | 40 | 0.04975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6077-37_0_4_line_44 | NAYY 4x150 SE | 39 | 65 | 0.0012903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6077-37_0_4_line_45 | NAYY 4x150 SE | 40 | 56 | 0.026395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6077-37_0_4_line_46 | NAYY 4x150 SE | 41 | 42 | 0.019709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6077-37_0_4_line_47 | NAYY 4x150 SE | 43 | 62 | 0.044447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6077-37_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.036301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6077-37_0_4_line_49 | NAYY 4x150 SE | 44 | 46 | 0.020993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6077-37_0_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.010665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6077-37_0_4_line_51 | NAYY 4x150 SE | 47 | 53 | 0.020717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6077-37_0_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.00087908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_6077-37_0_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.022572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_6077-37_0_4_line_54 | NAYY 4x150 SE | 49 | 51 | 0.030368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6077-37_0_4_line_55 | NAYY 4x150 SE | 49 | 52 | 0.039208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_6077-37_0_4_line_56 | NAYY 4x150 SE | 50 | 58 | 0.0050258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_6077-37_0_4_line_57 | NAYY 4x150 SE | 51 | 64 | 0.046699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6077-37_0_4_line_58 | NAYY 4x150 SE | 53 | 54 | 0.030234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6077-37_0_4_line_59 | NAYY 4x150 SE | 54 | 55 | 0.038898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_6077-37_0_4_line_60 | NAYY 4x150 SE | 56 | 57 | 0.051428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6077-37_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.012672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6077-37_0_4_line_62 | NAYY 4x150 SE | 59 | 61 | 0.0033993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6077-37_0_4_line_63 | NAYY 4x150 SE | 60 | 62 | 0.0021862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6077-37_0_4_line_64 | NAYY 4x150 SE | 61 | 63 | 0.012405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6077-37_0_4_line_65 | NAYY 4x150 SE | 65 | 66 | 0.003513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6077-37_0_4_trafo_35 | 0.25 MVA 20/0.4 kV | 67 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2659912.8073 | 1145467.7635 | 2659913.4128 | 1145468.4701
1 | 2659901.9621 | 1145455.1056 | 2659912.8073 | 1145467.7635
2 | 2659913.4128 | 1145468.4701 | 2659922.6827 | 1145479.2893
3 | 2659901.9621 | 1145455.1056 | 2659893.7617 | 1145464.6626 | 2659889.2233 | 1145465.985 | 2659882.7614 | 1145465.5893
4 | 2659901.9621 | 1145455.1056 | 2659882.8072 | 1145431.2582 | 2659881.4268 | 1145429.795
5 | 2659952.6194 | 1145514.2293 | 2659922.6827 | 1145479.2893
6 | 2659881.4268 | 1145429.795 | 2659860.4165 | 1145407.5233 | 2659850.944 | 1145395.185
7 | 2659952.6194 | 1145514.2293 | 2659982.2627 | 1145491.7211
8 | 2659979.3354 | 1145541.7541 | 2659972.3038 | 1145537.304 | 2659965.0306 | 1145528.5604 | 2659952.6194 | 1145514.2293
9 | 2659850.3658 | 1145394.4319 | 2659850.944 | 1145395.185
10 | 2659979.3354 | 1145541.7541 | 2659981.8931 | 1145543.3692 | 2659999.1003 | 1145548.2334
11 | 2659979.3354 | 1145541.7541 | 2659963.836 | 1145552.1167 | 2659962.0654 | 1145554.0959
12 | 2659850.3658 | 1145394.4319 | 2659846.9912 | 1145390.0363 | 2659839.2947 | 1145376.6714
13 | 2659968.9698 | 1145574.3463 | 2659969.4999 | 1145572.8063 | 2659969.5224 | 1145570.5497 | 2659962.83 | 1145559.7997 | 2659961.7186 | 1145557.2206 | 2659961.7461 | 1145554.4527 | 2659962.0654 | 1145554.0959
14 | 2660014.5066 | 1145552.6319 | 2660007.3285 | 1145550.5594 | 2659999.1003 | 1145548.2334
15 | 2660014.5066 | 1145552.6319 | 2660014.3809 | 1145555.9991 | 2660014.7814 | 1145557.4483 | 2660017.021 | 1145560.1387 | 2660030.2823 | 1145569.32
16 | 2660014.5066 | 1145552.6319 | 2660028.9931 | 1145556.8227 | 2660045.77 | 1145562.4593 | 2660048.5825 | 1145563.483
17 | 2659678.0196 | 1145264.1544 | 2659677.6554 | 1145249.7617
18 | 2659678.0196 | 1145264.1544 | 2659678.1608 | 1145269.7343
19 | 2659677.6554 | 1145249.7617 | 2659677.6554 | 1145249.7617 | 2659672.7165 | 1145243.3735
20 | 2659678.1608 | 1145269.7343 | 2659678.1746 | 1145270.2778 | 2659688.0845 | 1145293.6995 | 2659690.7778 | 1145300.8843
21 | 2659668.9162 | 1145238.4581 | 2659672.7165 | 1145243.3735
22 | 2659694.2375 | 1145310.1136 | 2659690.7778 | 1145300.8843
23 | 2659789.2558 | 1145250.3113 | 2659762.2028 | 1145232.5337
24 | 2659789.2558 | 1145250.3113 | 2659790.6112 | 1145274.7934 | 2659793.7485 | 1145292.3561 | 2659799.1612 | 1145302.0483 | 2659801.7845 | 1145304.9904
25 | 2659814.4318 | 1145316.3295 | 2659806.1519 | 1145309.8884 | 2659801.7845 | 1145304.9904
26 | 2659801.7845 | 1145304.9904 | 2659750.1156 | 1145315.6585
27 | 2659668.9162 | 1145238.4581 | 2659668.2716 | 1145237.6068 | 2659663.6512 | 1145233.2254 | 2659655.3864 | 1145228.33 | 2659648.0136 | 1145228.0236 | 2659641.1584 | 1145229.7568 | 2659628.9782 | 1145237.9066
28 | 2659705.4326 | 1145226.2239 | 2659697.5596 | 1145226.7685 | 2659668.9162 | 1145238.4581
29 | 2659694.2375 | 1145310.1136 | 2659706.9322 | 1145308.6911
30 | 2659694.2375 | 1145310.1136 | 2659694.0959 | 1145316.6601 | 2659689.8765 | 1145326.8905 | 2659688.9447 | 1145337.9761 | 2659688.9231 | 1145338.7233
31 | 2659628.9782 | 1145237.9066 | 2659613.1445 | 1145248.5011 | 2659597.6266 | 1145258.0258
32 | 2659705.4326 | 1145226.2239 | 2659709.9068 | 1145237.6076 | 2659711.1896 | 1145243.0676 | 2659711.4909 | 1145244.7272
33 | 2659706.9322 | 1145308.6911 | 2659712.8512 | 1145308.0278
34 | 2660073.0267 | 1145572.6695 | 2660058.9596 | 1145567.2598 | 2660048.5825 | 1145563.483
35 | 2660073.0267 | 1145572.6695 | 2660081.6386 | 1145568.8643 | 2660090.5716 | 1145561.3603
36 | 2660111.6622 | 1145587.4289 | 2660081.3 | 1145575.8535 | 2660073.0267 | 1145572.6695
37 | 2660007.3934 | 1145585.7233 | 2660016.6041 | 1145581.1903 | 2660022.3235 | 1145576.2112 | 2660030.2823 | 1145569.32
38 | 2660030.2823 | 1145569.32 | 2660034.9291 | 1145572.5346 | 2660042.7139 | 1145581.1397
39 | 2660143.8803 | 1145594.6983 | 2660136.6907 | 1145593.7817 | 2660111.6622 | 1145587.4289
40 | 2660111.6622 | 1145587.4289 | 2660102.0872 | 1145593.0587 | 2660087.6849 | 1145605.0995 | 2660084.5131 | 1145607.3195
41 | 2660044.3065 | 1145582.9002 | 2660042.7139 | 1145581.1397
42 | 2660143.8803 | 1145594.6983 | 2660141.8709 | 1145612.0654 | 2660139.2578 | 1145615.2521 | 2660125.4033 | 1145619.3607 | 2660108.1481 | 1145627.8155 | 2660102.5295 | 1145631.9462
43 | 2660084.5131 | 1145607.3195 | 2660079.9018 | 1145610.5471 | 2660064.8389 | 1145617.2007 | 2660040.231 | 1145629.8189
44 | 2660102.5295 | 1145631.9462 | 2660101.49 | 1145632.7105
45 | 2660019.3748 | 1145645.3876 | 2660022.392 | 1145641.1133 | 2660033.4483 | 1145633.2969 | 2660040.231 | 1145629.8189
46 | 2659718.8258 | 1145262.5537 | 2659713.2442 | 1145254.3829 | 2659711.4909 | 1145244.7272
47 | 2659600.718 | 1145297.8982 | 2659596.2927 | 1145286.0769 | 2659592.7022 | 1145275.4469 | 2659590.8849 | 1145268.0805 | 2659591.8287 | 1145262.7648 | 2659593.3942 | 1145260.6235 | 2659597.6266 | 1145258.0258
48 | 2659764.0485 | 1145392.0597 | 2659757.0913 | 1145390.1453 | 2659734.5362 | 1145382.9403 | 2659729.5031 | 1145380.9628
49 | 2659764.0485 | 1145392.0597 | 2659754.6218 | 1145373.3023
50 | 2659749.8929 | 1145363.7445 | 2659750.494 | 1145365.0888 | 2659754.6218 | 1145373.3023
51 | 2659742.9211 | 1145344.535 | 2659742.8347 | 1145347.9593 | 2659749.8929 | 1145363.7445
52 | 2659827.4276 | 1145350.8102 | 2659827.804 | 1145351.6046
53 | 2659836.938 | 1145372.2409 | 2659831.6343 | 1145359.69 | 2659827.804 | 1145351.6046
54 | 2659852.8719 | 1145340.1679 | 2659850.61 | 1145346.6712 | 2659827.4276 | 1145350.8102
55 | 2659814.4318 | 1145316.3295 | 2659811.8248 | 1145321.2285 | 2659812.3583 | 1145324.7579 | 2659820.6148 | 1145338.2136 | 2659827.4276 | 1145350.8102
56 | 2659836.938 | 1145372.2409 | 2659837.4746 | 1145373.5108 | 2659839.2947 | 1145376.6714
57 | 2659852.8719 | 1145340.1679 | 2659872.3697 | 1145344.9973 | 2659895.5633 | 1145347.4733 | 2659898.835 | 1145347.7818
58 | 2659750.1156 | 1145315.6585 | 2659746.8057 | 1145321.7068 | 2659743.1764 | 1145334.411 | 2659742.9211 | 1145344.535
59 | 2659750.1156 | 1145315.6585 | 2659740.1147 | 1145310.7569 | 2659723.0427 | 1145306.8858 | 2659712.8512 | 1145308.0278
60 | 2660019.3748 | 1145645.3876 | 2660016.7969 | 1145649.0397 | 2660014.2538 | 1145655.9959 | 2660012.1753 | 1145671.8615 | 2660011.243 | 1145675.9878 | 2660008.7627 | 1145680.4988 | 2660001.8847 | 1145685.3441 | 2659996.5329 | 1145687.4694
61 | 2659604.4003 | 1145312.1669 | 2659603.8157 | 1145306.1731 | 2659601.4845 | 1145299.9457
62 | 2659604.4003 | 1145312.1669 | 2659604.7303 | 1145315.5502
63 | 2659601.4845 | 1145299.9457 | 2659600.718 | 1145297.8982
64 | 2659607.2769 | 1145327.5521 | 2659605.4969 | 1145323.41 | 2659604.7303 | 1145315.5502
65 | 2660098.6596 | 1145634.7914 | 2660101.49 | 1145632.7105

## bus_geodata
| x | y | coords
0 | 2659912.8073 | 1145467.7635
1 | 2659913.4128 | 1145468.4701
2 | 2659901.9621 | 1145455.1056
3 | 2659922.6827 | 1145479.2893
4 | 2659882.7614 | 1145465.5893
5 | 2659881.4268 | 1145429.795
6 | 2659952.6194 | 1145514.2293
7 | 2659850.944 | 1145395.185
8 | 2659982.2627 | 1145491.7211
9 | 2659979.3354 | 1145541.7541
10 | 2659850.3658 | 1145394.4319
11 | 2659968.9698 | 1145574.3463
12 | 2659962.0654 | 1145554.0959
13 | 2659999.1003 | 1145548.2334
14 | 2660014.5066 | 1145552.6319
15 | 2659678.0196 | 1145264.1544
16 | 2659677.6554 | 1145249.7617
17 | 2659678.1608 | 1145269.7343
18 | 2659672.7165 | 1145243.3735
19 | 2659690.7778 | 1145300.8843
20 | 2659789.2558 | 1145250.3113
21 | 2659762.2028 | 1145232.5337
22 | 2659801.7845 | 1145304.9904
23 | 2659668.9162 | 1145238.4581
24 | 2659694.2375 | 1145310.1136
25 | 2659628.9782 | 1145237.9066
26 | 2659705.4326 | 1145226.2239
27 | 2659706.9322 | 1145308.6911
28 | 2659688.9231 | 1145338.7233
29 | 2660048.5825 | 1145563.483
30 | 2660073.0267 | 1145572.6695
31 | 2660030.2823 | 1145569.32
32 | 2660090.5716 | 1145561.3603
33 | 2660111.6622 | 1145587.4289
34 | 2660007.3934 | 1145585.7233
35 | 2660042.7139 | 1145581.1397
36 | 2660143.8803 | 1145594.6983
37 | 2660084.5131 | 1145607.3195
38 | 2660044.3065 | 1145582.9002
39 | 2660102.5295 | 1145631.9462
40 | 2660040.231 | 1145629.8189
41 | 2659711.4909 | 1145244.7272
42 | 2659718.8258 | 1145262.5537
43 | 2659597.6266 | 1145258.0258
44 | 2659764.0485 | 1145392.0597
45 | 2659729.5031 | 1145380.9628
46 | 2659754.6218 | 1145373.3023
47 | 2659749.8929 | 1145363.7445
48 | 2659827.804 | 1145351.6046
49 | 2659827.4276 | 1145350.8102
50 | 2659836.938 | 1145372.2409
51 | 2659852.8719 | 1145340.1679
52 | 2659814.4318 | 1145316.3295
53 | 2659742.9211 | 1145344.535
54 | 2659750.1156 | 1145315.6585
55 | 2659712.8512 | 1145308.0278
56 | 2660019.3748 | 1145645.3876
57 | 2659996.5329 | 1145687.4694
58 | 2659839.2947 | 1145376.6714
59 | 2659604.4003 | 1145312.1669
60 | 2659601.4845 | 1145299.9457
61 | 2659604.7303 | 1145315.5502
62 | 2659600.718 | 1145297.8982
63 | 2659607.2769 | 1145327.5521
64 | 2659898.835 | 1145347.7818
65 | 2660101.49 | 1145632.7105
66 | 2660098.6596 | 1145634.7914
67 | 2659827.4276 | 1145350.8102

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1