## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6077-8_1_3_node_32 | 0.4 | n |  | TRUE
1 | bus_LV_6077-8_1_3_node_33 | 0.4 | n |  | TRUE
2 | bus_LV_6077-8_1_3_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_6077-8_1_3_node_36 | 0.4 | n |  | TRUE
4 | bus_LV_6077-8_1_3_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_6077-8_1_3_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_6077-8_1_3_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_6077-8_1_3_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_6077-8_1_3_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_6077-8_1_3_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_6077-8_1_3_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_6077-8_1_3_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_6077-8_1_3_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_6077-8_1_3_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_6077-8_1_3_node_112 | 0.4 | n |  | TRUE
15 | bus_LV_6077-8_1_3_node_105 | 0.4 | n |  | TRUE
16 | bus_LV_6077-8_1_3_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_6077-8_1_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_6077-8_1_3_node_108 | 0.4 | n |  | TRUE
19 | bus_LV_6077-8_1_3_node_113 | 0.4 | n |  | TRUE
20 | bus_LV_6077-8_1_3_node_106 | 0.4 | n |  | TRUE
21 | bus_LV_6077-8_1_3_node_104 | 0.4 | n |  | TRUE
22 | bus_LV_6077-8_1_3_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_6077-8_1_3_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_6077-8_1_3_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_6077-8_1_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_6077-8_1_3_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_6077-8_1_3_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_6077-8_1_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_6077-8_1_3_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_6077-8_1_3_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_6077-8_1_3_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_6077-8_1_3_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_6077-8_1_3_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_6077-8_1_3_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_6077-8_1_3_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_6077-8_1_3_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_6077-8_1_3_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_6077-8_1_3_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_6077-8_1_3_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_6077-8_1_3_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_6077-8_1_3_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_6077-8_1_3_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_6077-8_1_3_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_6077-8_1_3_node_103 | 0.4 | n |  | TRUE
45 | bus_LV_6077-8_1_3_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_6077-8_1_3_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_6077-8_1_3_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_6077-8_1_3_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_6077-8_1_3_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_6077-8_1_3_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_6077-8_1_3_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_6077-8_1_3_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_6077-8_1_3_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_6077-8_1_3_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_6077-8_1_3_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_6077-8_1_3_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_6077-8_1_3_node_110 | 0.4 | n |  | TRUE
58 | bus_LV_6077-8_1_3_node_99 | 0.4 | n |  | TRUE
59 | bus_LV_6077-8_1_3_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_6077-8_1_3_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_6077-8_1_3_node_107 | 0.4 | n |  | TRUE
62 | bus_LV_6077-8_1_3_node_109 | 0.4 | n |  | TRUE
63 | bus_LV_6077-8_1_3_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_6077-8_1_3_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_6077-8_1_3_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_6077-8_1_3_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_6077-8_1_3_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_6077-8_1_3_node_89 | 0.4 | n |  | TRUE
69 | bus_LV_6077-8_1_3_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_6077-8_1_3_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_6077-8_1_3_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_6077-8_1_3_node_100 | 0.4 | n |  | TRUE
73 | bus_LV_6077-8_1_3_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_6077-8_1_3_node_92 | 0.4 | n |  | TRUE
75 | bus_MV_201_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6077-8_1_3_load_32 | 0 | 0.0015405 | 0.00038609 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6077-8_1_3_load_33 | 1 | 0.0014169 | 0.00035511 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6077-8_1_3_load_36 | 3 | 0.0019973 | 0.00050058 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6077-8_1_3_load_37 | 4 | 0.0016339 | 0.00040949 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6077-8_1_3_load_38 | 5 | 0.0017478 | 0.00043803 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6077-8_1_3_load_39 | 6 | 0.0023939 | 0.00059996 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6077-8_1_3_load_42 | 9 | 0.0023045 | 0.00057757 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6077-8_1_3_load_45 | 12 | 0.0017533 | 0.00043942 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6077-8_1_3_load_43 | 13 | 0.001873 | 0.00046941 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6077-8_1_3_load_112 | 14 | 0.0019285 | 0.00048333 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6077-8_1_3_load_105 | 15 | 0.0075471 | 0.0018915 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6077-8_1_3_load_50 | 16 | 0.0010583 | 0.00026522 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6077-8_1_3_load_44 | 17 | 0.0022284 | 0.00055848 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6077-8_1_3_load_113 | 19 | 0.0018051 | 0.00045241 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6077-8_1_3_load_104 | 21 | 0.0032499 | 0.0008145 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6077-8_1_3_load_51 | 22 | 0.0015123 | 0.00037902 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6077-8_1_3_load_52 | 23 | 0.0015189 | 0.00038067 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6077-8_1_3_load_53 | 24 | 0.0034234 | 0.00085798 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6077-8_1_3_load_54 | 25 | 0.0065886 | 0.0016513 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6077-8_1_3_load_56 | 27 | 0.0033176 | 0.00083148 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6077-8_1_3_load_57 | 28 | 0.0011765 | 0.00029487 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6077-8_1_3_load_78 | 29 | 0.0029317 | 0.00073475 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6077-8_1_3_load_79 | 30 | 0.0035922 | 0.00090028 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6077-8_1_3_load_58 | 31 | 0.0012858 | 0.00032224 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6077-8_1_3_load_59 | 32 | 0.0015908 | 0.0003987 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6077-8_1_3_load_60 | 33 | 0.0028743 | 0.00072037 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6077-8_1_3_load_61 | 34 | 0.0012418 | 0.00031122 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6077-8_1_3_load_62 | 35 | 0.0052704 | 0.0013209 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6077-8_1_3_load_88 | 36 | 0.0050505 | 0.0012658 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6077-8_1_3_load_87 | 37 | 0.0071003 | 0.0017795 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6077-8_1_3_load_63 | 38 | 0.0090911 | 0.0022784 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6077-8_1_3_load_64 | 39 | 0.0046632 | 0.0011687 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6077-8_1_3_load_65 | 40 | 0.006055 | 0.0015175 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6077-8_1_3_load_81 | 43 | 0.0025954 | 0.00065046 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6077-8_1_3_load_103 | 44 | 0.0043317 | 0.0010856 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6077-8_1_3_load_101 | 45 | 0.0048101 | 0.0012055 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6077-8_1_3_load_84 | 46 | 0.0049979 | 0.0012526 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6077-8_1_3_load_96 | 47 | 0.002455 | 0.00061527 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6077-8_1_3_load_82 | 48 | 0.0026027 | 0.0006523 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6077-8_1_3_load_68 | 51 | 0.0014589 | 0.00036563 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6077-8_1_3_load_69 | 52 | 0.0023738 | 0.00059492 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6077-8_1_3_load_77 | 54 | 0.0019734 | 0.00049459 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6077-8_1_3_load_74 | 55 | 0.0019169 | 0.00048043 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6077-8_1_3_load_72 | 56 | 0.0026931 | 0.00067497 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6077-8_1_3_load_75 | 59 | 0.0024345 | 0.00061015 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6077-8_1_3_load_98 | 60 | 0.0022516 | 0.00056432 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6077-8_1_3_load_109 | 62 | 0.0017369 | 0.0004353 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6077-8_1_3_load_76 | 63 | 0.0055793 | 0.0013983 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6077-8_1_3_load_86 | 64 | 0.0017416 | 0.00043649 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6077-8_1_3_load_97 | 65 | 0.0019739 | 0.00049471 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6077-8_1_3_load_95 | 66 | 0.0035091 | 0.00087946 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6077-8_1_3_load_89 | 68 | 0.0027133 | 0.00068001 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6077-8_1_3_load_83 | 69 | 0.0020191 | 0.00050604 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6077-8_1_3_load_100 | 72 | 0.0050005 | 0.0012532 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6077-8_1_3_load_91 | 73 | 0.0037294 | 0.00093469 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6077-8_1_3_load_92 | 74 | 0.0056886 | 0.0014257 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6077-8_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6077-8_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0084639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6077-8_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0076494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6077-8_1_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0021372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6077-8_1_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.014231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6077-8_1_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.077577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6077-8_1_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.07542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6077-8_1_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.067492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6077-8_1_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.047797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6077-8_1_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.10698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6077-8_1_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.38464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6077-8_1_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.25693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6077-8_1_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.017749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6077-8_1_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.20839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6077-8_1_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.035836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6077-8_1_3_line_15 | NAYY 4x150 SE | 11 | 16 | 0.085785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6077-8_1_3_line_16 | NAYY 4x150 SE | 13 | 17 | 0.045521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6077-8_1_3_line_17 | NAYY 4x150 SE | 15 | 21 | 0.020514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6077-8_1_3_line_18 | NAYY 4x150 SE | 16 | 22 | 0.02049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6077-8_1_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.00774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6077-8_1_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.25619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6077-8_1_3_line_21 | NAYY 4x150 SE | 20 | 61 | 0.086075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6077-8_1_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0066124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6077-8_1_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.00099383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6077-8_1_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.044893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6077-8_1_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.20207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6077-8_1_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.02223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6077-8_1_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.49749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6077-8_1_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.0099262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6077-8_1_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.0032201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6077-8_1_3_line_30 | NAYY 4x150 SE | 30 | 49 | 0.006247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6077-8_1_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.010503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6077-8_1_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.010016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6077-8_1_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.0058039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6077-8_1_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.0020257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6077-8_1_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.0064422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6077-8_1_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.013884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6077-8_1_3_line_37 | NAYY 4x150 SE | 37 | 68 | 0.00076999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6077-8_1_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.01495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6077-8_1_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.0093175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6077-8_1_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.020058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6077-8_1_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.012582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6077-8_1_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.013906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6077-8_1_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.012275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6077-8_1_3_line_44 | NAYY 4x150 SE | 42 | 45 | 0.015735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6077-8_1_3_line_45 | NAYY 4x150 SE | 43 | 48 | 0.016448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6077-8_1_3_line_46 | NAYY 4x150 SE | 44 | 49 | 0.0056568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6077-8_1_3_line_47 | NAYY 4x150 SE | 45 | 50 | 0.0062328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6077-8_1_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.012258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6077-8_1_3_line_49 | NAYY 4x150 SE | 47 | 70 | 0.011088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6077-8_1_3_line_50 | NAYY 4x150 SE | 48 | 69 | 0.028971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6077-8_1_3_line_51 | NAYY 4x150 SE | 49 | 67 | 0.019618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6077-8_1_3_line_52 | NAYY 4x150 SE | 50 | 71 | 0.016835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6077-8_1_3_line_53 | NAYY 4x150 SE | 50 | 74 | 0.0097091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6077-8_1_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.034423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6077-8_1_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0050992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6077-8_1_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.011072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_6077-8_1_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.017238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_6077-8_1_3_line_58 | NAYY 4x150 SE | 54 | 58 | 0.012249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_6077-8_1_3_line_59 | NAYY 4x150 SE | 55 | 59 | 0.0026028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_6077-8_1_3_line_60 | NAYY 4x150 SE | 56 | 57 | 0.07543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6077-8_1_3_line_61 | NAYY 4x150 SE | 57 | 60 | 0.063037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6077-8_1_3_line_62 | NAYY 4x150 SE | 57 | 61 | 0.078624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6077-8_1_3_line_63 | NAYY 4x150 SE | 58 | 66 | 0.0065755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_6077-8_1_3_line_64 | NAYY 4x150 SE | 59 | 63 | 0.023775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_6077-8_1_3_line_65 | NAYY 4x150 SE | 60 | 65 | 0.026719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_6077-8_1_3_line_66 | NAYY 4x150 SE | 61 | 62 | 0.36462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6077-8_1_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.0016841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_6077-8_1_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.0081782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_6077-8_1_3_line_69 | NAYY 4x150 SE | 66 | 70 | 0.014565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_6077-8_1_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.0040334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6077-8_1_3_line_71 | NAYY 4x150 SE | 70 | 73 | 0.018694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6077-8_1_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.014035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6077-8_1_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.0077186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6077-8_1_3_trafo_98 | 0.25 MVA 20/0.4 kV | 75 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39
0 | 2659591.9276 | 1144271.9771 | 2659592.2524 | 1144287.0245
1 | 2659592.435 | 1144295.4864 | 2659592.2524 | 1144287.0245
2 | 2659592.435 | 1144295.4864 | 2659585.5025 | 1144298.7197 | 2659585.5025 | 1144298.7197
3 | 2659585.5025 | 1144298.7197 | 2659585.115 | 1144300.8215
4 | 2659585.115 | 1144300.8215 | 2659582.5348 | 1144314.8168
5 | 2659582.5348 | 1144314.8168 | 2659580.5578 | 1144325.5408 | 2659589.7252 | 1144383.0954 | 2659592.0189 | 1144391.1686
6 | 2659610.9477 | 1144464.104 | 2659609.1861 | 1144458.8504 | 2659604.5548 | 1144435.2921 | 2659592.0189 | 1144391.1686
7 | 2659610.9477 | 1144464.104 | 2659618.0015 | 1144485.1182 | 2659624.4661 | 1144529.9728
8 | 2659610.9477 | 1144464.104 | 2659621.5101 | 1144457.4381 | 2659636.4484 | 1144447.3136 | 2659645.2011 | 1144437.9507 | 2659649.4815 | 1144436.7564
9 | 2659624.4661 | 1144529.9728 | 2659626.4805 | 1144545.4009 | 2659625.7953 | 1144551.7531 | 2659624.091 | 1144557.8062 | 2659612.9526 | 1144589.3352 | 2659605.3534 | 1144614.1846 | 2659595.851 | 1144631.0108
10 | 2659624.4661 | 1144529.9728 | 2659655.3227 | 1144546.5644 | 2659669.2883 | 1144551.6274 | 2659680.5061 | 1144553.2837 | 2659714.3548 | 1144548.5827 | 2659732.2005 | 1144546.7028 | 2659744.3474 | 1144547.6457 | 2659759.8593 | 1144552.5242 | 2659790.4331 | 1144566.5901 | 2659809.8655 | 1144581.3684 | 2659821.9134 | 1144592.2825 | 2659829.2407 | 1144601.9048 | 2659834.6861 | 1144613.7763 | 2659841.1087 | 1144641.7772 | 2659854.6636 | 1144677.3529 | 2659867.8321 | 1144731.7126 | 2659875.998 | 1144751.2597
11 | 2659624.4661 | 1144529.9728 | 2659603.9249 | 1144520.8094 | 2659583.3455 | 1144515.5033 | 2659578.2411 | 1144514.1633 | 2659569.0774 | 1144509.1479 | 2659548.7452 | 1144481.9104 | 2659527.7203 | 1144459.4354 | 2659525.4919 | 1144453.2101 | 2659525.8095 | 1144430.3677 | 2659524.8604 | 1144418.3074 | 2659522.1032 | 1144407.2632 | 2659519.2219 | 1144396.3289 | 2659515.354 | 1144388.8201 | 2659507.9006 | 1144379.4416 | 2659500.1732 | 1144373.6845 | 2659489.1563 | 1144369.5515 | 2659484.8543 | 1144367.0855 | 2659479.6055 | 1144362.4535 | 2659473.7624 | 1144349.0036
12 | 2659649.4815 | 1144436.7564 | 2659658.0153 | 1144434.3754 | 2659666.8865 | 1144433.8157
13 | 2659595.851 | 1144631.0108 | 2659602.8372 | 1144623.0867 | 2659610.2875 | 1144620.3032 | 2659647.4579 | 1144665.0612 | 2659654.5753 | 1144695.9258 | 2659656.2683 | 1144740.7221 | 2659662.1815 | 1144744.1602 | 2659670.3789 | 1144748.9438 | 2659673.687 | 1144750.8664 | 2659703.5688 | 1144769.1537
14 | 2659595.851 | 1144631.0108 | 2659583.6897 | 1144652.5467 | 2659577.0518 | 1144661.4475
15 | 2659875.998 | 1144751.2597 | 2659889.9535 | 1144722.4605 | 2659910.9343 | 1144702.736 | 2659919.2136 | 1144679.1612
16 | 2659666.8865 | 1144433.8157 | 2659674.9235 | 1144433.3087 | 2659686.0365 | 1144435.4753 | 2659695.921 | 1144435.9845 | 2659712.1673 | 1144436.2574
17 | 2659564.7877 | 1144677.8924 | 2659577.0518 | 1144661.4475
18 | 2659919.2136 | 1144679.1612 | 2659909.7928 | 1144660.9654
19 | 2659351.8767 | 1144538.1788 | 2659346.7936 | 1144532.3419
20 | 2659560.8347 | 1144683.193 | 2659540.2291 | 1144673.5845 | 2659506.2507 | 1144650.2369 | 2659438.6395 | 1144609.7155 | 2659395.643 | 1144580.5321 | 2659365.7616 | 1144559.2822 | 2659351.8767 | 1144538.1788
21 | 2659560.8347 | 1144683.193 | 2659556.2948 | 1144689.2848 | 2659542.2877 | 1144705.5664 | 2659534.4853 | 1144719.13 | 2659517.9363 | 1144757.0759
22 | 2659560.8347 | 1144683.193 | 2659564.7877 | 1144677.8924
23 | 2659909.7928 | 1144660.9654 | 2659909.3359 | 1144660.0829
24 | 2659509.5241 | 1145118.9866 | 2659514.045 | 1145121.0101 | 2659516.2722 | 1145121.1099 | 2659517.1956 | 1145120.9745 | 2659517.8105 | 1145120.169 | 2659519.8517 | 1145118.8662 | 2659523.21 | 1145117.2429 | 2659525.2668 | 1145117.4856 | 2659527.3643 | 1145118.2622 | 2659528.7019 | 1145118.1976 | 2659531.1788 | 1145116.3433 | 2659533.5804 | 1145114.3437 | 2659534.1053 | 1145113.3261 | 2659533.6934 | 1145112.2437 | 2659531.1617 | 1145107.9608 | 2659530.4939 | 1145104.0077 | 2659529.7328 | 1145097.5941
25 | 2659457.1092 | 1145216.3109 | 2659462.7251 | 1145211.6971 | 2659466.2183 | 1145208.8522 | 2659473.7732 | 1145207.059 | 2659481.2762 | 1145205.0764 | 2659486.7268 | 1145202.4176 | 2659490.6447 | 1145199.3546 | 2659493.9947 | 1145197.7868 | 2659499.1865 | 1145196.4372 | 2659502.0761 | 1145196.3657 | 2659506.7699 | 1145191.7651 | 2659513.3716 | 1145190.8074 | 2659519.7858 | 1145188.6029 | 2659524.3245 | 1145188.0362 | 2659531.9005 | 1145187.2328 | 2659533.6399 | 1145183.8148 | 2659530.985 | 1145181.1205 | 2659527.8237 | 1145180.7002 | 2659524.4143 | 1145178.9434 | 2659513.8489 | 1145176.6935 | 2659505.3005 | 1145176.3868 | 2659500.6054 | 1145174.8953 | 2659498.3394 | 1145174.0502 | 2659494.699 | 1145170.0122 | 2659492.4659 | 1145165.8435 | 2659489.5135 | 1145160.5893 | 2659488.1715 | 1145155.6624 | 2659483.9369 | 1145146.4268 | 2659484.118 | 1145135.078 | 2659485.0504 | 1145131.6854 | 2659486.1953 | 1145128.5617 | 2659491.4769 | 1145129.014 | 2659493.2061 | 1145128.1973 | 2659495.7785 | 1145125.2322 | 2659498.0094 | 1145121.0631 | 2659499.2799 | 1145119.2302 | 2659500.5934 | 1145118.4872 | 2659502.039 | 1145118.368 | 2659509.5241 | 1145118.9866 | 2659509.5241 | 1145118.9866
26 | 2659529.7328 | 1145097.5941 | 2659529.4228 | 1145094.9812 | 2659527.9345 | 1145086.184 | 2659526.8007 | 1145078.8467 | 2659526.1483 | 1145075.6608 | 2659526.1483 | 1145075.6608
27 | 2659457.1092 | 1145216.3109 | 2659446.6693 | 1145205.2465 | 2659437.5972 | 1145195.7076 | 2659430.7432 | 1145190.3038 | 2659424.5369 | 1145182.3273 | 2659417.1695 | 1145166.6464 | 2659392.1319 | 1145155.505 | 2659379.196 | 1145140.3919 | 2659362.2069 | 1145128.8185 | 2659349.1685 | 1145113.1819 | 2659334.5627 | 1145099.8867 | 2659310.0218 | 1145081.1576 | 2659295.7251 | 1145067.6654 | 2659284.2948 | 1145056.4582 | 2659272.6328 | 1145047.7168 | 2659260.1729 | 1145036.4995 | 2659253.0295 | 1145029.2366 | 2659239.2599 | 1145025.4104 | 2659232.1282 | 1145017.7363 | 2659213.532 | 1145001.534 | 2659194.7686 | 1144981.2168 | 2659176.9636 | 1144968.9245 | 2659166.907 | 1144964.1011 | 2659157.537 | 1144953.5258 | 2659150.0187 | 1144942.1571 | 2659131.2143 | 1144926.7646 | 2659116.8745 | 1144917.5858 | 2659108.52 | 1144907.6431 | 2659088.6619 | 1144892.4904
28 | 2659527.3642 | 1145065.968 | 2659526.7206 | 1145067.4954 | 2659525.9797 | 1145070.1673 | 2659526.1483 | 1145075.6608
29 | 2659527.3642 | 1145065.968 | 2659528.6145 | 1145063.0005
30 | 2659531.04 | 1145057.2436 | 2659528.6145 | 1145063.0005
31 | 2659486.0191 | 1145026.5035 | 2659484.8067 | 1145026.3044 | 2659478.6098 | 1145025.1538 | 2659476.3564 | 1145023.2168
32 | 2659486.0191 | 1145026.5035 | 2659495.9026 | 1145028.1269
33 | 2659472.0069 | 1145019.3767 | 2659472.9185 | 1145020.2618 | 2659476.3564 | 1145023.2168
34 | 2659497.8878 | 1145028.5187 | 2659497.2645 | 1145028.3506 | 2659495.9026 | 1145028.1269
35 | 2659504.1076 | 1145030.1968 | 2659497.8878 | 1145028.5187
36 | 2659513.4419 | 1145040.4267 | 2659507.938 | 1145033.6809 | 2659504.1076 | 1145030.1968 | 2659504.1076 | 1145030.1968
37 | 2659513.4419 | 1145040.4267 | 2659513.9287 | 1145041.0233
38 | 2659568.2956 | 1145045.5477 | 2659578.8611 | 1145034.9711
39 | 2659568.2956 | 1145045.5477 | 2659566.6443 | 1145047.2007 | 2659559.8543 | 1145048.8224
40 | 2659593.0367 | 1145020.7805 | 2659578.8611 | 1145034.9711
41 | 2659547.3829 | 1145050.2122 | 2659550.0687 | 1145049.7829 | 2659557.5256 | 1145049.3785 | 2659559.8543 | 1145048.8224
42 | 2659593.0367 | 1145020.7805 | 2659600.7921 | 1145022.0578 | 2659606.8376 | 1145021.9404
43 | 2659547.3829 | 1145050.2122 | 2659543.8739 | 1145050.7557 | 2659536.0884 | 1145054.6915
44 | 2659547.3829 | 1145050.2122 | 2659537.2212 | 1145041.3072 | 2659536.2328 | 1145039.3157
45 | 2659606.8376 | 1145021.9404 | 2659621.6567 | 1145021.6526 | 2659623.2828 | 1145021.616
46 | 2659531.04 | 1145057.2436 | 2659536.0884 | 1145054.6915
47 | 2659533.4619 | 1145033.7327 | 2659536.2328 | 1145039.3157
48 | 2659557.7408 | 1145008.0256 | 2659551.5366 | 1145005.3959 | 2659546.5568 | 1145003.0156
49 | 2659536.5476 | 1144998.2441 | 2659545.9081 | 1145002.7056 | 2659546.5568 | 1145003.0156
50 | 2659652.0778 | 1145023.2273 | 2659640.5162 | 1145021.2277 | 2659623.2828 | 1145021.616
51 | 2659516.4786 | 1145044.1485 | 2659525.8515 | 1145053.5793 | 2659531.04 | 1145057.2436
52 | 2659522.6584 | 1145021.3306 | 2659530.2525 | 1145027.2754 | 2659533.4619 | 1145033.7327
53 | 2659533.4619 | 1145033.7327 | 2659536.1221 | 1145027.3333 | 2659536.5724 | 1145024.5912
54 | 2659465.7614 | 1144953.2616 | 2659476.8599 | 1144961.8583 | 2659494.0156 | 1144972.8675
55 | 2659498.3072 | 1144975.6215 | 2659494.0156 | 1144972.8675
56 | 2659498.3072 | 1144975.6215 | 2659507.5661 | 1144981.6922
57 | 2659498.3072 | 1144975.6215 | 2659500.6644 | 1144968.7744 | 2659499.2058 | 1144958.8846
58 | 2659518.078 | 1144987.9675 | 2659511.2699 | 1144984.1206 | 2659507.5661 | 1144981.6922
59 | 2659499.2058 | 1144958.8846 | 2659498.826 | 1144956.3097
60 | 2659507.0126 | 1144834.6764 | 2659501.6032 | 1144838.5807 | 2659493.7138 | 1144843.8502 | 2659485.9589 | 1144846.3973 | 2659479.047 | 1144847.6076 | 2659459.2311 | 1144850.6917 | 2659435.3153 | 1144853.1099
61 | 2659507.0126 | 1144834.6764 | 2659497.2042 | 1144882.5942 | 2659494.4077 | 1144896.4399
62 | 2659507.0126 | 1144834.6764 | 2659510.7506 | 1144820.2833 | 2659516.5524 | 1144786.7448 | 2659517.9363 | 1144757.0759
63 | 2659518.078 | 1144987.9675 | 2659523.8013 | 1144991.2049
64 | 2659498.826 | 1144956.3097 | 2659495.357 | 1144932.7887
65 | 2659493.918 | 1144923.032 | 2659493.369 | 1144919.3094 | 2659493.5448 | 1144900.7122 | 2659494.4077 | 1144896.4399
66 | 2659517.9363 | 1144757.0759 | 2659510.4212 | 1144749.3199 | 2659486.3253 | 1144704.8696 | 2659465.8723 | 1144679.7768 | 2659433.9147 | 1144636.9279 | 2659389.7637 | 1144591.569 | 2659370.5398 | 1144576.5829 | 2659328.0627 | 1144536.7216 | 2659295.1068 | 1144492.8409 | 2659287.8223 | 1144477.8878
67 | 2659495.1113 | 1144931.1226 | 2659495.357 | 1144932.7887
68 | 2659495.1113 | 1144931.1226 | 2659493.918 | 1144923.032
69 | 2659536.5476 | 1144998.2441 | 2659534.6204 | 1144997.3246 | 2659523.8013 | 1144991.2049
70 | 2659516.4786 | 1145044.1485 | 2659513.9287 | 1145041.0233
71 | 2659536.5476 | 1144998.2441 | 2659536.8692 | 1145014.7006 | 2659536.9995 | 1145016.9316
72 | 2659522.6584 | 1145021.3306 | 2659520.5302 | 1145008.8696 | 2659520.3678 | 1145007.4852
73 | 2659536.9995 | 1145016.9316 | 2659537.2175 | 1145020.6628 | 2659536.5724 | 1145024.5912

## bus_geodata
| x | y | coords
0 | 2659591.9276 | 1144271.9771
1 | 2659592.2524 | 1144287.0245
2 | 2659592.435 | 1144295.4864
3 | 2659585.5025 | 1144298.7197
4 | 2659585.115 | 1144300.8215
5 | 2659582.5348 | 1144314.8168
6 | 2659592.0189 | 1144391.1686
7 | 2659610.9477 | 1144464.104
8 | 2659624.4661 | 1144529.9728
9 | 2659649.4815 | 1144436.7564
10 | 2659595.851 | 1144631.0108
11 | 2659875.998 | 1144751.2597
12 | 2659473.7624 | 1144349.0036
13 | 2659666.8865 | 1144433.8157
14 | 2659703.5688 | 1144769.1537
15 | 2659577.0518 | 1144661.4475
16 | 2659919.2136 | 1144679.1611
17 | 2659712.1673 | 1144436.2574
18 | 2659351.8767 | 1144538.1788
19 | 2659346.7936 | 1144532.3419
20 | 2659560.8347 | 1144683.193
21 | 2659564.7877 | 1144677.8924
22 | 2659909.7928 | 1144660.9654
23 | 2659909.3359 | 1144660.0829
24 | 2659509.5241 | 1145118.9866
25 | 2659529.7328 | 1145097.5941
26 | 2659457.1092 | 1145216.3109
27 | 2659526.1483 | 1145075.6608
28 | 2659088.6619 | 1144892.4904
29 | 2659527.3642 | 1145065.968
30 | 2659528.6145 | 1145063.0005
31 | 2659486.0191 | 1145026.5035
32 | 2659476.3564 | 1145023.2168
33 | 2659495.9026 | 1145028.1269
34 | 2659472.0069 | 1145019.3767
35 | 2659497.8878 | 1145028.5187
36 | 2659504.1076 | 1145030.1968
37 | 2659513.4419 | 1145040.4267
38 | 2659568.2956 | 1145045.5477
39 | 2659578.8611 | 1145034.9711
40 | 2659559.8543 | 1145048.8224
41 | 2659593.0368 | 1145020.7805
42 | 2659547.3829 | 1145050.2122
43 | 2659606.8376 | 1145021.9404
44 | 2659536.0884 | 1145054.6915
45 | 2659536.2328 | 1145039.3157
46 | 2659557.7408 | 1145008.0256
47 | 2659546.5568 | 1145003.0156
48 | 2659623.2828 | 1145021.616
49 | 2659531.04 | 1145057.2436
50 | 2659533.4619 | 1145033.7327
51 | 2659465.7614 | 1144953.2616
52 | 2659494.0156 | 1144972.8675
53 | 2659498.3072 | 1144975.6215
54 | 2659507.5661 | 1144981.6922
55 | 2659499.2058 | 1144958.8846
56 | 2659435.3153 | 1144853.1099
57 | 2659507.0126 | 1144834.6764
58 | 2659518.078 | 1144987.9675
59 | 2659498.826 | 1144956.3097
60 | 2659494.4077 | 1144896.4399
61 | 2659517.9363 | 1144757.0759
62 | 2659287.8223 | 1144477.8878
63 | 2659495.357 | 1144932.7887
64 | 2659495.1113 | 1144931.1226
65 | 2659493.918 | 1144923.032
66 | 2659523.8013 | 1144991.2049
67 | 2659516.4786 | 1145044.1485
68 | 2659513.9287 | 1145041.0233
69 | 2659652.0778 | 1145023.2273
70 | 2659536.5476 | 1144998.2441
71 | 2659522.6584 | 1145021.3306
72 | 2659520.3678 | 1145007.4852
73 | 2659536.9995 | 1145016.9316
74 | 2659536.5724 | 1145024.5912
75 | 2659507.0126 | 1144834.6764

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1