## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6083-20_3_3_node_29 | 0.4 | n |  | TRUE
1 | bus_LV_6083-20_3_3_node_31 | 0.4 | n |  | TRUE
2 | bus_LV_6083-20_3_3_node_40 | 0.4 | n |  | TRUE
3 | bus_LV_6083-20_3_3_node_32 | 0.4 | n |  | TRUE
4 | bus_LV_6083-20_3_3_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_6083-20_3_3_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_6083-20_3_3_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_6083-20_3_3_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_6083-20_3_3_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_6083-20_3_3_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_6083-20_3_3_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_6083-20_3_3_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_6083-20_3_3_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_6083-20_3_3_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_6083-20_3_3_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_6083-20_3_3_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_6083-20_3_3_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_6083-20_3_3_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_6083-20_3_3_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_6083-20_3_3_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_6083-20_3_3_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_6083-20_3_3_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_6083-20_3_3_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_6083-20_3_3_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_6083-20_3_3_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_6083-20_3_3_node_77 | 0.4 | n |  | TRUE
26 | bus_LV_6083-20_3_3_node_79 | 0.4 | n |  | TRUE
27 | bus_LV_6083-20_3_3_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_6083-20_3_3_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_6083-20_3_3_node_99 | 0.4 | n |  | TRUE
30 | bus_LV_6083-20_3_3_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_6083-20_3_3_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_6083-20_3_3_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_6083-20_3_3_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_6083-20_3_3_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_6083-20_3_3_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_6083-20_3_3_node_95 | 0.4 | n |  | TRUE
37 | bus_LV_6083-20_3_3_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_6083-20_3_3_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_6083-20_3_3_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_6083-20_3_3_node_92 | 0.4 | n |  | TRUE
41 | bus_LV_6083-20_3_3_node_93 | 0.4 | n |  | TRUE
42 | bus_LV_6083-20_3_3_node_94 | 0.4 | n |  | TRUE
43 | bus_LV_6083-20_3_3_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_6083-20_3_3_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_6083-20_3_3_node_100 | 0.4 | n |  | TRUE
46 | bus_MV_202_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6083-20_3_3_load_32 | 3 | 0.0011559 | 0.00028971 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6083-20_3_3_load_74 | 4 | 0.0078692 | 0.0019722 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6083-20_3_3_load_49 | 5 | 0.010476 | 0.0026256 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6083-20_3_3_load_51 | 7 | 0.0022174 | 0.00055574 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6083-20_3_3_load_57 | 9 | 0.0034784 | 0.00087177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6083-20_3_3_load_78 | 10 | 0.001228 | 0.00030777 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6083-20_3_3_load_63 | 11 | 0.0036827 | 0.00092298 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6083-20_3_3_load_64 | 12 | 0.0027868 | 0.00069844 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6083-20_3_3_load_66 | 14 | 0.0039809 | 0.00099771 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6083-20_3_3_load_67 | 15 | 0.0016666 | 0.00041768 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6083-20_3_3_load_68 | 16 | 0.0027091 | 0.00067895 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6083-20_3_3_load_70 | 17 | 0.0021873 | 0.00054818 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6083-20_3_3_load_71 | 18 | 0.0029494 | 0.00073919 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6083-20_3_3_load_81 | 22 | 0.0081713 | 0.0020479 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6083-20_3_3_load_75 | 23 | 0.011287 | 0.0028287 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6083-20_3_3_load_79 | 26 | 0.0084365 | 0.0021144 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6083-20_3_3_load_80 | 27 | 0.0019571 | 0.00049051 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6083-20_3_3_load_98 | 28 | 0.0015853 | 0.00039731 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6083-20_3_3_load_82 | 30 | 0.0057584 | 0.0014432 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6083-20_3_3_load_83 | 31 | 0.0061068 | 0.0015305 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6083-20_3_3_load_85 | 32 | 0.0046758 | 0.0011719 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6083-20_3_3_load_86 | 34 | 0.0094991 | 0.0023807 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6083-20_3_3_load_87 | 35 | 0.025632 | 0.006424 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6083-20_3_3_load_95 | 36 | 0.0033773 | 0.00084642 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6083-20_3_3_load_89 | 37 | 0.0034339 | 0.00086063 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6083-20_3_3_load_90 | 38 | 0.0028578 | 0.00071624 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6083-20_3_3_load_91 | 39 | 0.0028403 | 0.00071186 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6083-20_3_3_load_92 | 40 | 0.0025783 | 0.00064618 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6083-20_3_3_load_93 | 41 | 0.0011512 | 0.00028853 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6083-20_3_3_load_94 | 42 | 0.0072349 | 0.0018132 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6083-20_3_3_load_96 | 43 | 0.0028132 | 0.00070505 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6083-20_3_3_load_97 | 44 | 0.0022038 | 0.00055231 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6083-20_3_3_load_100 | 45 | 0.006541 | 0.0016393 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6083-20_3_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.099789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6083-20_3_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.19025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6083-20_3_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.032066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6083-20_3_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.11714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6083-20_3_3_line_4 | NAYY 4x150 SE | 4 | 23 | 0.040754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6083-20_3_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.055176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6083-20_3_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.079594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6083-20_3_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.083092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6083-20_3_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.17732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_6083-20_3_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.02838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_6083-20_3_3_line_10 | NAYY 4x150 SE | 10 | 25 | 0.0068036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_6083-20_3_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0072304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6083-20_3_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.017952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6083-20_3_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6083-20_3_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.071811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6083-20_3_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.015123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6083-20_3_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.042256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6083-20_3_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.0057102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6083-20_3_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.029607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6083-20_3_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.1254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6083-20_3_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.051248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_6083-20_3_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.037513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_6083-20_3_3_line_22 | NAYY 4x150 SE | 21 | 33 | 0.13668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_6083-20_3_3_line_23 | NAYY 4x150 SE | 21 | 34 | 0.053176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6083-20_3_3_line_24 | NAYY 4x150 SE | 22 | 30 | 0.016398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6083-20_3_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.019668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6083-20_3_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.030914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6083-20_3_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.026997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_6083-20_3_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.05326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6083-20_3_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.012386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_6083-20_3_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.048709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6083-20_3_3_line_31 | NAYY 4x150 SE | 28 | 44 | 0.026726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_6083-20_3_3_line_32 | NAYY 4x150 SE | 29 | 45 | 0.04369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6083-20_3_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.05321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_6083-20_3_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.020454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_6083-20_3_3_line_35 | NAYY 4x150 SE | 33 | 36 | 0.032094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_6083-20_3_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0077563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6083-20_3_3_line_37 | NAYY 4x150 SE | 36 | 42 | 0.022686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_6083-20_3_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0036207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_6083-20_3_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.010727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_6083-20_3_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.022931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_6083-20_3_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.015086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_6083-20_3_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.019895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_6083-20_3_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.022582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_6083-20_3_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.002452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6083-20_3_3_trafo_85 | 0.25 MVA 20/0.4 kV | 46 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2604800.2299 | 1103510.435 | 2604802.2463 | 1103513.8272 | 2604804.171 | 1103515.7296 | 2604806.3439 | 1103516.7541 | 2604808.2229 | 1103517.6893 | 2604809.5364 | 1103519.6913 | 2604810.222 | 1103523.4271 | 2604810.9909 | 1103529.4084 | 2604811.8781 | 1103532.5107 | 2604815.7757 | 1103533.9922 | 2604818.6047 | 1103536.807 | 2604821.5416 | 1103540.1554 | 2604824.4646 | 1103541.6251 | 2604826.6985 | 1103543.6945 | 2604828.2586 | 1103546.9641 | 2604828.8979 | 1103550.4996 | 2604828.8476 | 1103555.3798 | 2604828.1855 | 1103561.2378 | 2604828.6417 | 1103571.3432 | 2604828.7268 | 1103581.1259 | 2604828.0402 | 1103588.6402 | 2604828.3891 | 1103597.4894
1 | 2604986.7135 | 1103472.7533 | 2604800.2299 | 1103510.435
2 | 2604828.3891 | 1103597.4894 | 2604824.0161 | 1103600.5764 | 2604819.2066 | 1103607.8985 | 2604810.0241 | 1103618.3187 | 2604807.0723 | 1103621.1121
3 | 2605092.6021 | 1103522.839 | 2604986.7135 | 1103472.7533
4 | 2605092.6021 | 1103522.839 | 2605103.5718 | 1103535.0358 | 2605113.54 | 1103529.3968 | 2605119.7578 | 1103540.6965
5 | 2605279.889 | 1103275.4105 | 2605234.9317 | 1103279.6075 | 2605225.4267 | 1103282.7875
6 | 2605279.889 | 1103275.4105 | 2605208.6221 | 1103310.8541
7 | 2605134.8605 | 1103342.788 | 2605138.3085 | 1103336.2432 | 2605144.4144 | 1103333.5136 | 2605159.5776 | 1103332.5258 | 2605171.3078 | 1103329.4119 | 2605208.6221 | 1103310.8541
8 | 2605134.8605 | 1103342.788 | 2605136.1099 | 1103347.4692 | 2605144.4374 | 1103361.5165 | 2605147.1952 | 1103366.1767 | 2605148.443 | 1103372.5698 | 2605144.5218 | 1103380.8373 | 2605137.9457 | 1103390.8035 | 2605133.7147 | 1103399.5265 | 2605131.3614 | 1103410.7524 | 2605129.7904 | 1103420.7227 | 2605128.5225 | 1103438.3416 | 2605131.7975 | 1103453.6186 | 2605141.4784 | 1103467.9672 | 2605158.5743 | 1103486.4574 | 2605165.6945 | 1103500.8817
9 | 2605165.6945 | 1103500.8817 | 2605168.3664 | 1103524.8737 | 2605168.9449 | 1103529.0737
10 | 2605169.8734 | 1103535.8137 | 2605168.9449 | 1103529.0737
11 | 2605320.3139 | 1103362.1111 | 2605319.6638 | 1103368.9581 | 2605319.471 | 1103369.2533
12 | 2605327.5732 | 1103347.243 | 2605323.2082 | 1103349.5182 | 2605320.9207 | 1103355.7193 | 2605320.3139 | 1103362.1111
13 | 2605305.3398 | 1103383.6198 | 2605314.2648 | 1103377.2243 | 2605319.471 | 1103369.2533
14 | 2605327.5732 | 1103347.243 | 2605307.5453 | 1103346.87 | 2605290.5337 | 1103347.3667 | 2605263.3454 | 1103352.5126 | 2605261.2724 | 1103352.1995 | 2605256.5012 | 1103350.1278
15 | 2605327.5732 | 1103347.243 | 2605342.6951 | 1103347.3949
16 | 2605342.6951 | 1103347.3949 | 2605350.6027 | 1103347.4743 | 2605355.787 | 1103346.0225 | 2605359.5278 | 1103341.0677 | 2605363.9103 | 1103318.7382 | 2605363.9103 | 1103318.7382
17 | 2605367.8515 | 1103314.6062 | 2605367.8515 | 1103314.6062 | 2605363.9103 | 1103318.7382
18 | 2605397.1663 | 1103310.7966 | 2605371.5889 | 1103313.5645 | 2605367.8515 | 1103314.6062
19 | 2605397.1663 | 1103310.7966 | 2605399.2181 | 1103335.2106 | 2605402.1302 | 1103375.3554 | 2605402.8187 | 1103384.116 | 2605405.852 | 1103435.8889
20 | 2605405.852 | 1103435.8889 | 2605408.4922 | 1103485.9829 | 2605408.5919 | 1103487.0502
21 | 2605405.852 | 1103435.8889 | 2605398.7269 | 1103436.3829 | 2605381.7149 | 1103437.5908 | 2605369.2654 | 1103440.5814 | 2605368.7716 | 1103440.7172
22 | 2605361.916 | 1103574.1417 | 2605369.4703 | 1103569.1792 | 2605376.6812 | 1103567.6625 | 2605390.7663 | 1103569.22 | 2605418.3479 | 1103564.5086 | 2605413.1684 | 1103534.3556 | 2605408.5919 | 1103487.0502
23 | 2605408.5919 | 1103487.0502 | 2605378.7674 | 1103490.8482 | 2605363.7211 | 1103491.2463 | 2605359.7744 | 1103492.9993 | 2605357.281 | 1103495.7874
24 | 2605368.7716 | 1103440.7172 | 2605353.9063 | 1103444.8035 | 2605352.9517 | 1103445.0301
25 | 2605139.3288 | 1103540.8795 | 2605125.5123 | 1103541.6351 | 2605119.7578 | 1103540.6965
26 | 2605139.3288 | 1103540.8795 | 2605144.3887 | 1103539.9166 | 2605164.4582 | 1103536.0982 | 2605169.8734 | 1103535.8137
27 | 2605169.8734 | 1103535.8137 | 2605179.9487 | 1103540.7691 | 2605193.0582 | 1103549.5319
28 | 2605169.8734 | 1103535.8137 | 2605172.866 | 1103555.4371 | 2605174.4749 | 1103583.1968 | 2605174.5666 | 1103588.7995
29 | 2605203.6272 | 1103555.9633 | 2605198.7821 | 1103553.3579 | 2605193.0582 | 1103549.5319
30 | 2605174.2667 | 1103637.5015 | 2605174.8354 | 1103605.2081 | 2605174.5666 | 1103588.7995
31 | 2605229.3452 | 1103562.3748 | 2605208.6173 | 1103558.6467 | 2605203.6272 | 1103555.9633
32 | 2605174.2667 | 1103637.5015 | 2605180.1684 | 1103638.1512 | 2605186.5975 | 1103637.1228 | 2605211.5142 | 1103618.1233
33 | 2605352.9517 | 1103445.0301 | 2605339.5844 | 1103448.2039 | 2605313.8518 | 1103452.2169 | 2605308.3502 | 1103453.9686 | 2605301.1264 | 1103456.4969
34 | 2605281.7855 | 1103463.1503 | 2605293.6169 | 1103459.1251 | 2605301.1264 | 1103456.4969
35 | 2605361.916 | 1103574.1417 | 2605359.5064 | 1103569.5929 | 2605351.7635 | 1103551.3659 | 2605345.6883 | 1103555.1224
36 | 2605354.7915 | 1103503.1334 | 2605357.281 | 1103495.7874
37 | 2605324.8714 | 1103563.2436 | 2605336.4852 | 1103560.8129 | 2605345.6883 | 1103555.1224
38 | 2605279.3893 | 1103571.3758 | 2605282.9528 | 1103572.0168 | 2605282.9528 | 1103572.0168
39 | 2605279.3893 | 1103571.3758 | 2605268.8319 | 1103569.4769
40 | 2605305.3979 | 1103567.3192 | 2605282.9528 | 1103572.0168
41 | 2605268.8319 | 1103569.4769 | 2605253.9838 | 1103566.8064
42 | 2605305.3979 | 1103567.3192 | 2605324.8714 | 1103563.2436
43 | 2605253.9838 | 1103566.8064 | 2605231.7585 | 1103562.8089
44 | 2605231.7585 | 1103562.8089 | 2605229.3452 | 1103562.3748

## bus_geodata
| x | y | coords
0 | 2604800.2299 | 1103510.435
1 | 2604828.3891 | 1103597.4894
2 | 2604986.7135 | 1103472.7533
3 | 2604807.0723 | 1103621.1121
4 | 2605092.6021 | 1103522.839
5 | 2605225.4267 | 1103282.7875
6 | 2605279.889 | 1103275.4105
7 | 2605208.6221 | 1103310.8541
8 | 2605134.8606 | 1103342.788
9 | 2605165.6945 | 1103500.8817
10 | 2605168.9449 | 1103529.0737
11 | 2605320.3139 | 1103362.1111
12 | 2605319.471 | 1103369.2533
13 | 2605327.5732 | 1103347.243
14 | 2605305.3398 | 1103383.6198
15 | 2605256.5012 | 1103350.1278
16 | 2605342.6951 | 1103347.3949
17 | 2605363.9103 | 1103318.7382
18 | 2605367.8515 | 1103314.6062
19 | 2605397.1663 | 1103310.7966
20 | 2605405.852 | 1103435.8889
21 | 2605408.5919 | 1103487.0502
22 | 2605368.7716 | 1103440.7172
23 | 2605119.7578 | 1103540.6965
24 | 2605139.3288 | 1103540.8795
25 | 2605169.8734 | 1103535.8137
26 | 2605193.0582 | 1103549.5319
27 | 2605174.5666 | 1103588.7995
28 | 2605203.6272 | 1103555.9633
29 | 2605174.2667 | 1103637.5015
30 | 2605352.9517 | 1103445.0301
31 | 2605301.1264 | 1103456.4969
32 | 2605281.7855 | 1103463.1503
33 | 2605361.916 | 1103574.1417
34 | 2605357.281 | 1103495.7874
35 | 2605354.7915 | 1103503.1334
36 | 2605345.6883 | 1103555.1224
37 | 2605279.3893 | 1103571.3758
38 | 2605282.9528 | 1103572.0168
39 | 2605268.8319 | 1103569.4769
40 | 2605305.3979 | 1103567.3192
41 | 2605253.9838 | 1103566.8064
42 | 2605324.8714 | 1103563.2436
43 | 2605231.7585 | 1103562.8089
44 | 2605229.3452 | 1103562.3748
45 | 2605211.5142 | 1103618.1233
46 | 2605405.852 | 1103435.8889

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1