## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6083-26_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6083-26_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6083-26_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6083-26_0_7_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_6083-26_0_7_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_6083-26_0_7_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_6083-26_0_7_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_6083-26_0_7_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6083-26_0_7_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_6083-26_0_7_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_6083-26_0_7_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_6083-26_0_7_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_6083-26_0_7_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_6083-26_0_7_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_6083-26_0_7_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_6083-26_0_7_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6083-26_0_7_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6083-26_0_7_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6083-26_0_7_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6083-26_0_7_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6083-26_0_7_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6083-26_0_7_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6083-26_0_7_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6083-26_0_7_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_6083-26_0_7_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6083-26_0_7_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_6083-26_0_7_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_6083-26_0_7_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_6083-26_0_7_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6083-26_0_7_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_6083-26_0_7_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_6083-26_0_7_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_6083-26_0_7_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6083-26_0_7_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_6083-26_0_7_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_6083-26_0_7_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_6083-26_0_7_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6083-26_0_7_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6083-26_0_7_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_6083-26_0_7_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6083-26_0_7_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_6083-26_0_7_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_6083-26_0_7_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_6083-26_0_7_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6083-26_0_7_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_6083-26_0_7_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_6083-26_0_7_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_6083-26_0_7_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_6083-26_0_7_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_6083-26_0_7_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_6083-26_0_7_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_6083-26_0_7_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_6083-26_0_7_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_6083-26_0_7_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_6083-26_0_7_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_6083-26_0_7_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_6083-26_0_7_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_6083-26_0_7_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_6083-26_0_7_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_6083-26_0_7_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6083-26_0_7_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_6083-26_0_7_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6083-26_0_7_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6083-26_0_7_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_6083-26_0_7_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_6083-26_0_7_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_6083-26_0_7_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_6083-26_0_7_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6083-26_0_7_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_6083-26_0_7_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6083-26_0_7_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_6083-26_0_7_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_6083-26_0_7_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_6083-26_0_7_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_6083-26_0_7_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_6083-26_0_7_node_75 | 0.4 | n |  | TRUE
76 | bus_MV_202_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6083-26_0_7_load_0 | 0 | 0.0064434 | 0.0016149 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6083-26_0_7_load_28 | 3 | 0.003928 | 0.00098445 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6083-26_0_7_load_30 | 4 | 0.0061122 | 0.0015318 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6083-26_0_7_load_3 | 7 | 0.0036079 | 0.00090423 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6083-26_0_7_load_23 | 8 | 0.0041461 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6083-26_0_7_load_22 | 9 | 0.0091666 | 0.0022974 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6083-26_0_7_load_4 | 10 | 0.0028114 | 0.0007046 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6083-26_0_7_load_31 | 11 | 0.0053155 | 0.0013322 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6083-26_0_7_load_32 | 12 | 0.0027805 | 0.00069685 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6083-26_0_7_load_5 | 13 | 0.0023313 | 0.00058427 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6083-26_0_7_load_6 | 14 | 0.0049023 | 0.0012286 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6083-26_0_7_load_8 | 16 | 0.00288 | 0.00072179 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6083-26_0_7_load_9 | 17 | 0.0023688 | 0.00059368 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6083-26_0_7_load_10 | 18 | 0.0051486 | 0.0012903 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6083-26_0_7_load_11 | 19 | 0.0060393 | 0.0015136 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6083-26_0_7_load_12 | 20 | 0.0026938 | 0.00067513 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6083-26_0_7_load_13 | 21 | 0.0054707 | 0.0013711 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6083-26_0_7_load_14 | 22 | 0.0039189 | 0.00098217 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6083-26_0_7_load_71 | 23 | 0.0026804 | 0.00067177 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6083-26_0_7_load_69 | 25 | 0.0040467 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6083-26_0_7_load_20 | 26 | 0.0033171 | 0.00083135 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6083-26_0_7_load_15 | 27 | 0.0087323 | 0.0021885 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6083-26_0_7_load_74 | 30 | 0.0028507 | 0.00071445 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6083-26_0_7_load_70 | 31 | 0.0059103 | 0.0014813 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6083-26_0_7_load_21 | 32 | 0.004736 | 0.001187 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6083-26_0_7_load_73 | 33 | 0.0053398 | 0.0013383 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6083-26_0_7_load_72 | 34 | 0.0047763 | 0.0011971 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6083-26_0_7_load_68 | 35 | 0.0042592 | 0.0010675 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6083-26_0_7_load_24 | 36 | 0.0024646 | 0.0006177 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6083-26_0_7_load_25 | 37 | 0.0025846 | 0.00064775 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6083-26_0_7_load_27 | 38 | 0.0033209 | 0.00083229 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6083-26_0_7_load_29 | 39 | 0.0018822 | 0.00047173 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6083-26_0_7_load_48 | 40 | 0.0040399 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6083-26_0_7_load_47 | 41 | 0.0026985 | 0.0006763 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6083-26_0_7_load_35 | 44 | 0.0058107 | 0.0014563 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6083-26_0_7_load_44 | 46 | 0.0030454 | 0.00076326 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6083-26_0_7_load_45 | 47 | 0.0095251 | 0.0023872 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6083-26_0_7_load_52 | 48 | 0.0054483 | 0.0013655 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6083-26_0_7_load_53 | 49 | 0.0042055 | 0.001054 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6083-26_0_7_load_36 | 50 | 0.0022698 | 0.00056888 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6083-26_0_7_load_37 | 51 | 0.0044522 | 0.0011158 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6083-26_0_7_load_38 | 52 | 0.0037713 | 0.00094517 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6083-26_0_7_load_39 | 53 | 0.0038313 | 0.00096022 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6083-26_0_7_load_40 | 54 | 0.0040524 | 0.0010156 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6083-26_0_7_load_41 | 55 | 0.0030771 | 0.00077119 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6083-26_0_7_load_42 | 56 | 0.005656 | 0.0014175 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6083-26_0_7_load_46 | 57 | 0.0035001 | 0.0008772 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6083-26_0_7_load_60 | 58 | 0.0030326 | 0.00076004 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6083-26_0_7_load_66 | 60 | 0.0037797 | 0.00094728 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6083-26_0_7_load_49 | 62 | 0.0035149 | 0.00088091 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6083-26_0_7_load_50 | 63 | 0.0021804 | 0.00054645 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6083-26_0_7_load_51 | 64 | 0.0029186 | 0.00073147 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6083-26_0_7_load_62 | 65 | 0.001853 | 0.0004644 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6083-26_0_7_load_59 | 66 | 0.0018782 | 0.00047071 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6083-26_0_7_load_64 | 68 | 0.003084 | 0.00077293 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6083-26_0_7_load_65 | 69 | 0.0060718 | 0.0015217 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6083-26_0_7_load_54 | 70 | 0.0023562 | 0.00059052 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6083-26_0_7_load_61 | 73 | 0.0033472 | 0.00083888 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6083-26_0_7_load_75 | 75 | 0.0044099 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6083-26_0_7_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6083-26_0_7_line_1 | NAYY 4x150 SE | 1 | 2 | 0.10199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6083-26_0_7_line_2 | NAYY 4x150 SE | 2 | 7 | 0.13402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6083-26_0_7_line_3 | NAYY 4x150 SE | 3 | 4 | 0.019273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_6083-26_0_7_line_4 | NAYY 4x150 SE | 3 | 5 | 0.38895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_6083-26_0_7_line_5 | NAYY 4x150 SE | 3 | 6 | 0.07442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6083-26_0_7_line_6 | NAYY 4x150 SE | 4 | 40 | 0.1121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_6083-26_0_7_line_7 | NAYY 4x150 SE | 5 | 31 | 0.024214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_6083-26_0_7_line_8 | NAYY 4x150 SE | 6 | 36 | 0.07547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6083-26_0_7_line_9 | NAYY 4x150 SE | 7 | 8 | 0.021395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_6083-26_0_7_line_10 | NAYY 4x150 SE | 8 | 9 | 0.0099245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_6083-26_0_7_line_11 | NAYY 4x150 SE | 9 | 32 | 0.028314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6083-26_0_7_line_12 | NAYY 4x150 SE | 10 | 11 | 0.28135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6083-26_0_7_line_13 | NAYY 4x150 SE | 11 | 12 | 0.081393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_6083-26_0_7_line_14 | NAYY 4x150 SE | 12 | 42 | 0.026764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_6083-26_0_7_line_15 | NAYY 4x150 SE | 13 | 14 | 0.011199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6083-26_0_7_line_16 | NAYY 4x150 SE | 13 | 15 | 0.021249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6083-26_0_7_line_17 | NAYY 4x150 SE | 14 | 16 | 0.039882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6083-26_0_7_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0052362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_6083-26_0_7_line_19 | NAYY 4x150 SE | 15 | 18 | 0.011476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_6083-26_0_7_line_20 | NAYY 4x150 SE | 16 | 19 | 0.0091668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6083-26_0_7_line_21 | NAYY 4x150 SE | 17 | 20 | 0.01439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_6083-26_0_7_line_22 | NAYY 4x150 SE | 18 | 21 | 0.013124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_6083-26_0_7_line_23 | NAYY 4x150 SE | 19 | 22 | 0.081258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6083-26_0_7_line_24 | NAYY 4x150 SE | 20 | 23 | 0.0021706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6083-26_0_7_line_25 | NAYY 4x150 SE | 21 | 24 | 0.012158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6083-26_0_7_line_26 | NAYY 4x150 SE | 23 | 25 | 0.012908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_6083-26_0_7_line_27 | NAYY 4x150 SE | 24 | 26 | 0.015716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_6083-26_0_7_line_28 | NAYY 4x150 SE | 24 | 27 | 0.016407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6083-26_0_7_line_29 | NAYY 4x150 SE | 25 | 35 | 0.022743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_6083-26_0_7_line_30 | NAYY 4x150 SE | 26 | 32 | 0.0088165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_6083-26_0_7_line_31 | NAYY 4x150 SE | 27 | 28 | 0.042152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6083-26_0_7_line_32 | NAYY 4x150 SE | 28 | 29 | 0.022114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6083-26_0_7_line_33 | NAYY 4x150 SE | 29 | 30 | 0.016821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6083-26_0_7_line_34 | NAYY 4x150 SE | 30 | 33 | 0.036777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6083-26_0_7_line_35 | NAYY 4x150 SE | 31 | 34 | 0.046529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6083-26_0_7_line_36 | NAYY 4x150 SE | 31 | 35 | 0.030937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_6083-26_0_7_line_37 | NAYY 4x150 SE | 36 | 37 | 0.099088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6083-26_0_7_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0084373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6083-26_0_7_line_39 | NAYY 4x150 SE | 38 | 39 | 0.063756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6083-26_0_7_line_40 | NAYY 4x150 SE | 40 | 41 | 0.11325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_6083-26_0_7_line_41 | NAYY 4x150 SE | 41 | 62 | 0.0073592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_6083-26_0_7_line_42 | NAYY 4x150 SE | 42 | 43 | 0.026919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_6083-26_0_7_line_43 | NAYY 4x150 SE | 42 | 44 | 0.029229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6083-26_0_7_line_44 | NAYY 4x150 SE | 43 | 45 | 0.017458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_6083-26_0_7_line_45 | NAYY 4x150 SE | 43 | 46 | 0.039025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6083-26_0_7_line_46 | NAYY 4x150 SE | 44 | 47 | 0.013586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6083-26_0_7_line_47 | NAYY 4x150 SE | 45 | 48 | 0.0081923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6083-26_0_7_line_48 | NAYY 4x150 SE | 45 | 49 | 0.019404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_6083-26_0_7_line_49 | NAYY 4x150 SE | 48 | 60 | 0.019066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6083-26_0_7_line_50 | NAYY 4x150 SE | 49 | 61 | 0.032678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_6083-26_0_7_line_51 | NAYY 4x150 SE | 50 | 51 | 0.01409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6083-26_0_7_line_52 | NAYY 4x150 SE | 50 | 52 | 0.031432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6083-26_0_7_line_53 | NAYY 4x150 SE | 51 | 53 | 0.015902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6083-26_0_7_line_54 | NAYY 4x150 SE | 52 | 54 | 0.0023227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6083-26_0_7_line_55 | NAYY 4x150 SE | 53 | 55 | 0.011601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6083-26_0_7_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0097598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6083-26_0_7_line_57 | NAYY 4x150 SE | 55 | 57 | 0.021974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6083-26_0_7_line_58 | NAYY 4x150 SE | 56 | 58 | 0.00049526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6083-26_0_7_line_59 | NAYY 4x150 SE | 58 | 59 | 0.012449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6083-26_0_7_line_60 | NAYY 4x150 SE | 59 | 73 | 0.021277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_6083-26_0_7_line_61 | NAYY 4x150 SE | 59 | 71 | 0.01402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_6083-26_0_7_line_62 | NAYY 4x150 SE | 60 | 67 | 0.051716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6083-26_0_7_line_63 | NAYY 4x150 SE | 61 | 68 | 0.062275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_6083-26_0_7_line_64 | NAYY 4x150 SE | 61 | 69 | 0.014142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6083-26_0_7_line_65 | NAYY 4x150 SE | 62 | 63 | 0.0026362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_6083-26_0_7_line_66 | NAYY 4x150 SE | 63 | 64 | 0.014056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_6083-26_0_7_line_67 | NAYY 4x150 SE | 64 | 65 | 0.012251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_6083-26_0_7_line_68 | NAYY 4x150 SE | 65 | 66 | 0.014225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_6083-26_0_7_line_69 | NAYY 4x150 SE | 66 | 72 | 0.030398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_6083-26_0_7_line_70 | NAYY 4x150 SE | 67 | 74 | 0.077316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6083-26_0_7_line_71 | NAYY 4x150 SE | 68 | 73 | 0.098492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_6083-26_0_7_line_72 | NAYY 4x150 SE | 70 | 71 | 0.068166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_6083-26_0_7_line_73 | NAYY 4x150 SE | 70 | 72 | 0.023078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_6083-26_0_7_line_74 | NAYY 4x150 SE | 74 | 75 | 0.053021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6083-26_0_7_trafo_28 | 0.25 MVA 20/0.4 kV | 76 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2605174.2667 | 1103637.5015 | 2605173.5451 | 1103658.5558 | 2605174.0722 | 1103675.6204 | 2605175.6045 | 1103693.2082 | 2605179.0905 | 1103751.4735 | 2605179.5389 | 1103755.9722
1 | 2605174.2667 | 1103637.5015 | 2605174.8354 | 1103605.2081 | 2605174.4749 | 1103583.1968 | 2605172.866 | 1103555.4371 | 2605169.8734 | 1103535.8137
2 | 2605169.8734 | 1103535.8137 | 2605179.9487 | 1103540.7691 | 2605198.7821 | 1103553.3579 | 2605208.6173 | 1103558.6467 | 2605282.9528 | 1103572.0168 | 2605296.1084 | 1103569.2634
3 | 2605843.9591 | 1103677.3118 | 2605840.3055 | 1103674.8947 | 2605832.4426 | 1103670.5184 | 2605828.5944 | 1103666.2348 | 2605828.5721 | 1103666.1018
4 | 2605828.5721 | 1103666.1018 | 2605440.5972 | 1103693.6483
5 | 2605841.1685 | 1103597.1011 | 2605836.6158 | 1103601.4879 | 2605832.8008 | 1103611.0334 | 2605829.2201 | 1103618.3559 | 2605824.1451 | 1103626.9999 | 2605823.1272 | 1103631.7568 | 2605824.133 | 1103639.6951 | 2605828.5721 | 1103666.1018
6 | 2605936.3905 | 1103729.191 | 2605931.7082 | 1103722.4393 | 2605925.9267 | 1103717.6647 | 2605920.4283 | 1103716.2254 | 2605912.6145 | 1103717.2294 | 2605908.1041 | 1103717.9477 | 2605903.7906 | 1103714.9087 | 2605900.4727 | 1103706.2567 | 2605892.5184 | 1103700.6241 | 2605878.9715 | 1103694.8193 | 2605865.1849 | 1103688.7698 | 2605851.4452 | 1103682.2645 | 2605843.9591 | 1103677.3118
7 | 2605419.7891 | 1103684.6476 | 2605424.5645 | 1103690.3658 | 2605429.4354 | 1103693.1159 | 2605434.7722 | 1103693.8988 | 2605440.5972 | 1103693.6483
8 | 2605841.1685 | 1103597.1011 | 2605861.5856 | 1103594.019 | 2605878.2238 | 1103595.0465 | 2605898.9118 | 1103591.887 | 2605910.9244 | 1103592.6212 | 2605916.0148 | 1103593.6259
9 | 2605317.0498 | 1103564.8806 | 2605296.1084 | 1103569.2634
10 | 2605326.7637 | 1103562.8475 | 2605317.0498 | 1103564.8806
11 | 2605326.7637 | 1103562.8475 | 2605336.4852 | 1103560.8129 | 2605351.7635 | 1103551.3659 | 2605351.9273 | 1103551.7514
12 | 2605898.7064 | 1103987.4305 | 2605769.5546 | 1104237.3887
13 | 2605898.7064 | 1103987.4305 | 2605912.5016 | 1103995.0902 | 2605928.4247 | 1103998.5962 | 2605939.6794 | 1103998.3959 | 2605947.8662 | 1103995.1466 | 2605954.6246 | 1103989.2391 | 2605959.1346 | 1103980.8726 | 2605965.9561 | 1103972.5464
14 | 2605984.5325 | 1103953.3725 | 2605976.5431 | 1103960.2904 | 2605966.3058 | 1103972.1197 | 2605965.9561 | 1103972.5464
15 | 2605362.9915 | 1103621.2106 | 2605353.966 | 1103624.8934 | 2605352.6762 | 1103625.5587
16 | 2605378.4027 | 1103606.9947 | 2605366.4169 | 1103619.8129 | 2605362.9915 | 1103621.2106
17 | 2605352.6762 | 1103625.5587 | 2605331.5461 | 1103636.4575 | 2605319.8239 | 1103647.5041
18 | 2605378.4027 | 1103606.9947 | 2605380.2667 | 1103611.8879
19 | 2605378.4027 | 1103606.9947 | 2605373.2556 | 1103596.7381
20 | 2605314.4425 | 1103654.7518 | 2605314.4425 | 1103654.7518 | 2605316.5192 | 1103650.6182 | 2605319.8239 | 1103647.5041
21 | 2605385.3895 | 1103625.3356 | 2605380.2667 | 1103611.8879
22 | 2605367.3692 | 1103585.0083 | 2605373.2556 | 1103596.7381
23 | 2605305.8751 | 1103722.3782 | 2605305.2527 | 1103717.6197 | 2605311.6962 | 1103708.732 | 2605324.7771 | 1103699.4386 | 2605328.7181 | 1103695.3067 | 2605328.7225 | 1103690.1374 | 2605322.9258 | 1103675.6474 | 2605314.6392 | 1103659.9213 | 2605314.4425 | 1103654.7518
24 | 2605385.3895 | 1103625.3356 | 2605386.1622 | 1103627.364
25 | 2605361.916 | 1103574.1417 | 2605367.3692 | 1103585.0083
26 | 2605391.409 | 1103639.1112 | 2605389.2771 | 1103635.5407 | 2605386.1622 | 1103627.364
27 | 2605361.916 | 1103574.1417 | 2605359.5064 | 1103569.5929 | 2605355.3744 | 1103559.8661
28 | 2605361.916 | 1103574.1417 | 2605369.4703 | 1103569.1792 | 2605376.6812 | 1103567.6625
29 | 2605403.0686 | 1103658.6383 | 2605391.409 | 1103639.1112
30 | 2605355.3744 | 1103559.8661 | 2605351.9273 | 1103551.7514
31 | 2605418.3479 | 1103564.5086 | 2605390.7663 | 1103569.22 | 2605376.6812 | 1103567.6625
32 | 2605417.8678 | 1103582.595 | 2605422.3322 | 1103581.5873 | 2605418.3479 | 1103564.5086
33 | 2605417.8678 | 1103582.595 | 2605419.0623 | 1103587.7986 | 2605420.6045 | 1103593.3361 | 2605422.2655 | 1103598.8236
34 | 2605431.1941 | 1103634.4415 | 2605431.1353 | 1103634.0879 | 2605429.3036 | 1103623.481 | 2605426.76 | 1103613.1736 | 2605423.9365 | 1103604.3445 | 2605422.2655 | 1103598.8236
35 | 2605419.7891 | 1103684.6476 | 2605396.0177 | 1103693.8202 | 2605378.3707 | 1103705.4883
36 | 2605419.7891 | 1103684.6476 | 2605411.0205 | 1103671.9558 | 2605403.0686 | 1103658.6383
37 | 2605916.0148 | 1103593.6259 | 2605927.8466 | 1103595.9614 | 2605936.3874 | 1103595.247 | 2605942.0266 | 1103595.2525 | 2605946.6574 | 1103598.1362 | 2605953.019 | 1103603.0448 | 2605961.2632 | 1103605.076 | 2605968.6461 | 1103601.7705 | 2605976.8973 | 1103596.587 | 2605983.9929 | 1103594.4262 | 2605990.9375 | 1103596.4562 | 2605998.603 | 1103596.8861 | 2606008.3 | 1103592.4267
38 | 2606008.3 | 1103592.4267 | 2606008.3 | 1103592.4267 | 2606016.6132 | 1103590.9849
39 | 2606079.5891 | 1103582.6025 | 2606061.8448 | 1103585.4203 | 2606038.8377 | 1103586.9761 | 2606025.9568 | 1103588.1196 | 2606019.0079 | 1103590.5696 | 2606016.6132 | 1103590.9849
40 | 2606037.7879 | 1103741.8969 | 2606037.7879 | 1103741.8969 | 2606020.6631 | 1103748.4834 | 2606004.3149 | 1103751.9246 | 2605985.7484 | 1103753.5295 | 2605974.2149 | 1103753.6294 | 2605962.4457 | 1103749.427 | 2605945.139 | 1103744.2299 | 2605940.6666 | 1103737.5889 | 2605937.6021 | 1103730.9382 | 2605936.3905 | 1103729.191
41 | 2606037.7879 | 1103741.8969 | 2606045.0225 | 1103740.548
42 | 2605984.5325 | 1103953.3725 | 2605999.8901 | 1103941.9596 | 2606007.4648 | 1103939.9326
43 | 2605984.5325 | 1103953.3725 | 2605973.69 | 1103951.1164 | 2605964.4815 | 1103947.0276 | 2605958.8317 | 1103941.2534
44 | 2606022.5942 | 1103948.3072 | 2606014.6173 | 1103942.3853 | 2606007.4648 | 1103939.9326
45 | 2606007.4648 | 1103939.9326 | 2605997.385 | 1103925.0153 | 2605990.9584 | 1103915.7378 | 2605987.8684 | 1103911.5771 | 2605984.7947 | 1103908.2181
46 | 2605949.1576 | 1103931.7162 | 2605955.6953 | 1103938.0479 | 2605958.8317 | 1103941.2534
47 | 2606022.5942 | 1103948.3072 | 2606027.6455 | 1103954.7568
48 | 2606022.5942 | 1103948.3072 | 2606019.5343 | 1103937.0875 | 2606015.9524 | 1103930.1874
49 | 2606027.6455 | 1103954.7568 | 2606031.3857 | 1103959.5325 | 2606039.7388 | 1103969.494
50 | 2606000.5408 | 1103901.3733 | 2606004.4246 | 1103908.514 | 2606012.1612 | 1103922.8843 | 2606015.9524 | 1103930.1874
51 | 2606056.462 | 1103813.6786 | 2606050.929 | 1103813.8235 | 2606042.4367 | 1103812.7924
52 | 2606056.462 | 1103813.6786 | 2606061.9753 | 1103813.5343 | 2606072.822 | 1103811.6996 | 2606083.8671 | 1103812.6332 | 2606087.3067 | 1103810.9445
53 | 2606042.4367 | 1103812.7924 | 2606042.4367 | 1103812.7924 | 2606032.1978 | 1103817.9849 | 2606028.2088 | 1103819.892
54 | 2606089.3916 | 1103809.9208 | 2606087.3067 | 1103810.9445
55 | 2606028.2088 | 1103819.892 | 2606017.7423 | 1103824.8957
56 | 2606089.3916 | 1103809.9208 | 2606091.7532 | 1103808.7613 | 2606097.416 | 1103808.2 | 2606098.8516 | 1103808.2881
57 | 2606017.7423 | 1103824.8957 | 2606016.2324 | 1103825.6175 | 2606008.3465 | 1103829.3894 | 2606002.0039 | 1103829.072 | 2605996.8247 | 1103829.6254
58 | 2606099.346 | 1103808.3184 | 2606098.8516 | 1103808.2881
59 | 2606105.4536 | 1103815.3004 | 2606105.1508 | 1103808.6746 | 2606099.346 | 1103808.3184
60 | 2606105.4536 | 1103815.3004 | 2606101.8665 | 1103821.0108 | 2606100.6367 | 1103828.7579 | 2606093.953 | 1103828.4899
61 | 2606105.4536 | 1103815.3004 | 2606119.4689 | 1103816.4372
62 | 2606085.3637 | 1103988.3224 | 2606072.8872 | 1103988.1322 | 2606056.1139 | 1103984.0358 | 2606043.0288 | 1103973.4176 | 2606039.7388 | 1103969.494
63 | 2606000.5408 | 1103901.3733 | 2605992.8339 | 1103896.2632 | 2605986.5957 | 1103891.9772 | 2605984.5592 | 1103886.2613 | 2605983.8486 | 1103877.2894 | 2605984.5724 | 1103872.699 | 2605989.69 | 1103868.0127 | 2606000.4413 | 1103860.7863 | 2606005.4551 | 1103857.7698
64 | 2606004.2348 | 1103889.1375 | 2606001.5713 | 1103891.7917 | 2605999.1146 | 1103896.4806 | 2606000.5408 | 1103901.3733
65 | 2606047.614 | 1103740.0648 | 2606045.0225 | 1103740.548
66 | 2606061.4996 | 1103737.9883 | 2606056.4104 | 1103738.4246 | 2606047.614 | 1103740.0648
67 | 2606073.7057 | 1103736.942 | 2606061.4996 | 1103737.9883
68 | 2606087.8915 | 1103736.5247 | 2606082.1792 | 1103736.2156 | 2606073.7057 | 1103736.942
69 | 2606118.0181 | 1103735.3842 | 2606107.9212 | 1103737.6086 | 2606087.8915 | 1103736.5247
70 | 2606085.3637 | 1103988.3224 | 2606129.5768 | 1103965.5773 | 2606141.302 | 1103959.0746 | 2606148.8017 | 1103947.0317
71 | 2606005.4551 | 1103857.7698 | 2606011.6021 | 1103854.0716 | 2606024.4899 | 1103853.1616 | 2606029.7113 | 1103853.0667 | 2606032.0653 | 1103850.5233 | 2606044.243 | 1103848.0785 | 2606046.5967 | 1103845.8463 | 2606050.6886 | 1103845.8504 | 2606053.5525 | 1103844.0078 | 2606060.6158 | 1103842.9031 | 2606062.2577 | 1103840.8593 | 2606067.3714 | 1103840.1529 | 2606070.7489 | 1103835.2649 | 2606076.2852 | 1103829.5564 | 2606090.4033 | 1103828.3476 | 2606093.953 | 1103828.4899
72 | 2606119.4689 | 1103816.4372 | 2606121.4944 | 1103802.032 | 2606119.5907 | 1103795.1267 | 2606118.5788 | 1103785.9433 | 2606121.563 | 1103772.0949 | 2606121.874 | 1103762.7017 | 2606117.2767 | 1103757.4945 | 2606111.9588 | 1103753.4094
73 | 2606118.0181 | 1103735.3842 | 2606121.2809 | 1103744.6476 | 2606116.8759 | 1103748.2117 | 2606113.4009 | 1103750.0425 | 2606111.9588 | 1103753.4094
74 | 2606148.8017 | 1103947.0317 | 2606146.9658 | 1103942.0051 | 2606143.696 | 1103939.8563 | 2606138.6858 | 1103937.6057 | 2606135.4179 | 1103933.6338 | 2606132.5561 | 1103925.6714 | 2606127.4523 | 1103916.4951 | 2606123.3683 | 1103908.6315 | 2606118.6678 | 1103906.0811

## bus_geodata
| x | y | coords
0 | 2605179.5389 | 1103755.9722
1 | 2605174.2667 | 1103637.5015
2 | 2605169.8734 | 1103535.8137
3 | 2605828.5721 | 1103666.1018
4 | 2605843.9591 | 1103677.3118
5 | 2605440.5972 | 1103693.6483
6 | 2605841.1685 | 1103597.1011
7 | 2605296.1084 | 1103569.2634
8 | 2605317.0498 | 1103564.8806
9 | 2605326.7637 | 1103562.8475
10 | 2605769.5546 | 1104237.3887
11 | 2605898.7064 | 1103987.4305
12 | 2605965.9561 | 1103972.5464
13 | 2605362.9915 | 1103621.2106
14 | 2605352.6762 | 1103625.5587
15 | 2605378.4027 | 1103606.9947
16 | 2605319.8239 | 1103647.5041
17 | 2605380.2667 | 1103611.8879
18 | 2605373.2556 | 1103596.7381
19 | 2605314.4426 | 1103654.7518
20 | 2605385.3895 | 1103625.3356
21 | 2605367.3692 | 1103585.0083
22 | 2605305.8751 | 1103722.3782
23 | 2605386.1622 | 1103627.364
24 | 2605361.916 | 1103574.1417
25 | 2605391.409 | 1103639.1112
26 | 2605355.3744 | 1103559.8661
27 | 2605376.6812 | 1103567.6625
28 | 2605418.3479 | 1103564.5086
29 | 2605417.8678 | 1103582.595
30 | 2605422.2655 | 1103598.8236
31 | 2605419.7891 | 1103684.6476
32 | 2605351.9273 | 1103551.7514
33 | 2605431.1941 | 1103634.4415
34 | 2605378.3707 | 1103705.4883
35 | 2605403.0686 | 1103658.6383
36 | 2605916.0148 | 1103593.6259
37 | 2606008.3 | 1103592.4267
38 | 2606016.6132 | 1103590.9849
39 | 2606079.5891 | 1103582.6025
40 | 2605936.3905 | 1103729.191
41 | 2606037.7879 | 1103741.8969
42 | 2605984.5325 | 1103953.3725
43 | 2606007.4648 | 1103939.9326
44 | 2605958.8317 | 1103941.2534
45 | 2606022.5942 | 1103948.3072
46 | 2605984.7947 | 1103908.2181
47 | 2605949.1576 | 1103931.7162
48 | 2606027.6455 | 1103954.7568
49 | 2606015.9524 | 1103930.1874
50 | 2606056.462 | 1103813.6786
51 | 2606042.4367 | 1103812.7924
52 | 2606087.3067 | 1103810.9445
53 | 2606028.2088 | 1103819.8919
54 | 2606089.3916 | 1103809.9208
55 | 2606017.7423 | 1103824.8957
56 | 2606098.8516 | 1103808.2881
57 | 2605996.8247 | 1103829.6254
58 | 2606099.346 | 1103808.3184
59 | 2606105.4536 | 1103815.3004
60 | 2606039.7388 | 1103969.494
61 | 2606000.5408 | 1103901.3733
62 | 2606045.0225 | 1103740.548
63 | 2606047.614 | 1103740.0648
64 | 2606061.4996 | 1103737.9883
65 | 2606073.7057 | 1103736.942
66 | 2606087.8915 | 1103736.5247
67 | 2606085.3637 | 1103988.3224
68 | 2606005.4551 | 1103857.7698
69 | 2606004.2348 | 1103889.1375
70 | 2606111.9588 | 1103753.4094
71 | 2606119.4689 | 1103816.4372
72 | 2606118.0181 | 1103735.3842
73 | 2606093.953 | 1103828.4899
74 | 2606148.8017 | 1103947.0317
75 | 2606118.6678 | 1103906.0811
76 | 2605841.1685 | 1103597.1011

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1