## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6102-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6102-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6102-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6102-2_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6102-2_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6102-2_0_3_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_6102-2_0_3_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_6102-2_0_3_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_6102-2_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_6102-2_0_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_6102-2_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_6102-2_0_3_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_6102-2_0_3_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_6102-2_0_3_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_6102-2_0_3_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_6102-2_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6102-2_0_3_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_6102-2_0_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_6102-2_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_6102-2_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_6102-2_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6102-2_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6102-2_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6102-2_0_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_6102-2_0_3_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_6102-2_0_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_6102-2_0_3_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_6102-2_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6102-2_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6102-2_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6102-2_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6102-2_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_6102-2_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6102-2_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6102-2_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6102-2_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6102-2_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6102-2_0_3_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_6102-2_0_3_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_6102-2_0_3_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_6102-2_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6102-2_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6102-2_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6102-2_0_3_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_6102-2_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_6102-2_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_6102-2_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6102-2_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6102-2_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_6102-2_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_6102-2_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_6102-2_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6102-2_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6102-2_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6102-2_0_3_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_6102-2_0_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_6102-2_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6102-2_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_6102-2_0_3_node_59 | 0.4 | n |  | TRUE
59 | bus_MV_99_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6102-2_0_3_load_0 | 0 | 0.017937 | 0.0044954 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6102-2_0_3_load_1 | 1 | 0.0033222 | 0.00083263 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6102-2_0_3_load_4 | 3 | 0.0067141 | 0.0016827 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6102-2_0_3_load_31 | 8 | 0.0034472 | 0.00086395 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6102-2_0_3_load_28 | 9 | 0.0022374 | 0.00056074 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6102-2_0_3_load_20 | 10 | 0.003167 | 0.00079373 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6102-2_0_3_load_49 | 11 | 0.0033577 | 0.00084153 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6102-2_0_3_load_56 | 12 | 0.0056706 | 0.0014212 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6102-2_0_3_load_57 | 13 | 0.0027138 | 0.00068014 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6102-2_0_3_load_46 | 14 | 0.0023519 | 0.00058944 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6102-2_0_3_load_54 | 16 | 0.0152 | 0.0038096 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6102-2_0_3_load_7 | 18 | 0.0066768 | 0.0016734 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6102-2_0_3_load_8 | 19 | 0.0023612 | 0.00059177 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6102-2_0_3_load_10 | 20 | 0.002953 | 0.00074009 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6102-2_0_3_load_13 | 22 | 0.002347 | 0.0005882 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6102-2_0_3_load_43 | 23 | 0.0042134 | 0.001056 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6102-2_0_3_load_62 | 24 | 0.0027501 | 0.00068924 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6102-2_0_3_load_44 | 25 | 0.0041472 | 0.0010394 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6102-2_0_3_load_63 | 26 | 0.0038737 | 0.00097084 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6102-2_0_3_load_14 | 27 | 0.0074674 | 0.0018715 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6102-2_0_3_load_15 | 28 | 0.0032439 | 0.00081299 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6102-2_0_3_load_17 | 30 | 0.0041287 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6102-2_0_3_load_25 | 32 | 0.0042362 | 0.0010617 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6102-2_0_3_load_23 | 33 | 0.0051766 | 0.0012974 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6102-2_0_3_load_21 | 34 | 0.0028789 | 0.00072151 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6102-2_0_3_load_22 | 35 | 0.003143 | 0.00078772 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6102-2_0_3_load_24 | 36 | 0.0037002 | 0.00092735 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6102-2_0_3_load_53 | 38 | 0.0046245 | 0.001159 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6102-2_0_3_load_50 | 39 | 0.0026181 | 0.00065616 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6102-2_0_3_load_26 | 40 | 0.003774 | 0.00094584 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6102-2_0_3_load_27 | 41 | 0.0026979 | 0.00067615 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6102-2_0_3_load_47 | 43 | 0.013041 | 0.0032684 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6102-2_0_3_load_34 | 45 | 0.012678 | 0.0031773 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6102-2_0_3_load_37 | 46 | 0.0067111 | 0.001682 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6102-2_0_3_load_40 | 47 | 0.0022051 | 0.00055266 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6102-2_0_3_load_35 | 48 | 0.0098304 | 0.0024637 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6102-2_0_3_load_39 | 49 | 0.0013466 | 0.0003375 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6102-2_0_3_load_36 | 50 | 0.0012658 | 0.00031724 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6102-2_0_3_load_38 | 51 | 0.0018502 | 0.0004637 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6102-2_0_3_load_41 | 52 | 0.0030163 | 0.00075595 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6102-2_0_3_load_45 | 53 | 0.003786 | 0.00094885 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6102-2_0_3_load_61 | 54 | 0.0030926 | 0.00077509 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6102-2_0_3_load_60 | 55 | 0.0031608 | 0.00079216 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6102-2_0_3_load_48 | 56 | 0.0024805 | 0.00062167 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6102-2_0_3_load_58 | 57 | 0.0078061 | 0.0019564 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6102-2_0_3_load_59 | 58 | 0.0027164 | 0.00068079 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6102-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0041248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_6102-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0067191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_6102-2_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_6102-2_0_3_line_3 | NAYY 4x150 SE | 3 | 7 | 0.00052099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_6102-2_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.008056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6102-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.007455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6102-2_0_3_line_6 | NAYY 4x150 SE | 5 | 8 | 0.017111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6102-2_0_3_line_7 | NAYY 4x150 SE | 5 | 9 | 0.014289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6102-2_0_3_line_8 | NAYY 4x150 SE | 6 | 10 | 0.037185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6102-2_0_3_line_9 | NAYY 4x150 SE | 6 | 11 | 0.0045715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6102-2_0_3_line_10 | NAYY 4x150 SE | 7 | 12 | 0.0092197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_6102-2_0_3_line_11 | NAYY 4x150 SE | 7 | 13 | 0.011975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6102-2_0_3_line_12 | NAYY 4x150 SE | 8 | 44 | 0.018924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6102-2_0_3_line_13 | NAYY 4x150 SE | 9 | 40 | 0.02314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6102-2_0_3_line_14 | NAYY 4x150 SE | 11 | 56 | 0.0006868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6102-2_0_3_line_15 | NAYY 4x150 SE | 12 | 38 | 0.015835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6102-2_0_3_line_16 | NAYY 4x150 SE | 13 | 57 | 0.0066525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6102-2_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.0071186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6102-2_0_3_line_18 | NAYY 4x150 SE | 15 | 23 | 0.0084424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6102-2_0_3_line_19 | NAYY 4x150 SE | 15 | 21 | 0.012901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6102-2_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.017374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6102-2_0_3_line_21 | NAYY 4x150 SE | 17 | 46 | 0.0055971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6102-2_0_3_line_22 | NAYY 4x150 SE | 17 | 44 | 0.025563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6102-2_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.0011831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6102-2_0_3_line_24 | NAYY 4x150 SE | 19 | 20 | 0.0085409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6102-2_0_3_line_25 | NAYY 4x150 SE | 20 | 21 | 0.0076173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6102-2_0_3_line_26 | NAYY 4x150 SE | 21 | 22 | 0.017533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6102-2_0_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.0032818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6102-2_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.0085971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6102-2_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.0029378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6102-2_0_3_line_30 | NAYY 4x150 SE | 25 | 53 | 0.011705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6102-2_0_3_line_31 | NAYY 4x150 SE | 26 | 31 | 0.010181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6102-2_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.0092248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6102-2_0_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.036711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6102-2_0_3_line_34 | NAYY 4x150 SE | 28 | 30 | 0.050365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6102-2_0_3_line_35 | NAYY 4x150 SE | 29 | 31 | 0.074263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6102-2_0_3_line_36 | NAYY 4x150 SE | 31 | 32 | 0.0068893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6102-2_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.01743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6102-2_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.019716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6102-2_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.014366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6102-2_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.020744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6102-2_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.0023072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6102-2_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.0097259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6102-2_0_3_line_43 | NAYY 4x150 SE | 39 | 56 | 0.016424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6102-2_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.099836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6102-2_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.1291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6102-2_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.023256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6102-2_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0082419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6102-2_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.012357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6102-2_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.016981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6102-2_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.013204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6102-2_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.014576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6102-2_0_3_line_52 | NAYY 4x150 SE | 49 | 52 | 0.011404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6102-2_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0070797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6102-2_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0004252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6102-2_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.0037681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6102-2_0_3_line_56 | NAYY 4x150 SE | 55 | 58 | 0.010006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6102-2_0_3_line_57 | NAYY 4x150 SE | 57 | 58 | 0.0033192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6102-2_0_3_trafo_1 | 0.25 MVA 20/0.4 kV | 59 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2614980.6454 | 1132120.7827 | 2614980.6454 | 1132120.7827 | 2614979.7017 | 1132119.4686 | 2614978.3056 | 1132117.3864
1 | 2614981.4994 | 1132127.2658 | 2614980.5111 | 1132125.2957 | 2614980.6454 | 1132120.7827
2 | 2614981.4994 | 1132127.2658 | 2614975.797 | 1132132.4098 | 2614973.1831 | 1132134.7557
3 | 2614973.1831 | 1132134.7557 | 2614972.7954 | 1132135.1037
4 | 2614981.8188 | 1132088.3809 | 2614977.4596 | 1132095.1623
5 | 2614977.4596 | 1132095.1623 | 2614969.9834 | 1132095.255
6 | 2614981.8188 | 1132088.3809 | 2614991.402 | 1132095.5747 | 2614993.8544 | 1132100.0787
7 | 2614981.8188 | 1132088.3809 | 2614994.2505 | 1132081.3354
8 | 2614969.9834 | 1132095.255 | 2614963.9435 | 1132087.4141 | 2614958.5521 | 1132091.3138 | 2614950.2226 | 1132100.2421 | 2614944.793 | 1132094.6371 | 2614944.4502 | 1132094.121
9 | 2614969.9834 | 1132095.255 | 2614966.9394 | 1132098.6656
10 | 2614972.7954 | 1132135.1037 | 2614965.1115 | 1132130.0085
11 | 2614972.7954 | 1132135.1037 | 2614969.161 | 1132138.363 | 2614966.6495 | 1132142.1142 | 2614964.8366 | 1132143.9488
12 | 2615007.0901 | 1132102.9838 | 2614998.0087 | 1132107.7081 | 2614993.8544 | 1132100.0787
13 | 2614994.2505 | 1132081.3354 | 2614996.2906 | 1132080.1793 | 2615014.6325 | 1132070.3801
14 | 2614966.9394 | 1132098.6656 | 2614966.4821 | 1132099.178
15 | 2614965.1115 | 1132130.0085 | 2614957.9371 | 1132125.2511 | 2614952.094 | 1132120.9982
16 | 2614964.8366 | 1132143.9488 | 2614960.1607 | 1132148.6807
17 | 2614936.5697 | 1132179.2471 | 2614943.2226 | 1132181.7796
18 | 2614936.5697 | 1132179.2471 | 2614936.6801 | 1132175.0564 | 2614934.6943 | 1132171.2986
19 | 2614925.8194 | 1132186.4242 | 2614936.5697 | 1132179.2471
20 | 2615022.0989 | 1132123.5421 | 2615018.0637 | 1132126.9782 | 2615009.9121 | 1132135.8848
21 | 2615022.0989 | 1132123.5421 | 2615026.3584 | 1132119.9111
22 | 2615007.0901 | 1132102.9838 | 2615009.9093 | 1132108.6936 | 2615013.6928 | 1132113.6387 | 2615022.0989 | 1132123.5421
23 | 2614911.9782 | 1132196.2239 | 2614912.5594 | 1132195.1933
24 | 2614918.9274 | 1132189.668 | 2614917.5487 | 1132190.3168 | 2614912.9961 | 1132194.4188 | 2614912.5594 | 1132195.1933
25 | 2614925.8194 | 1132186.4242 | 2614918.9274 | 1132189.668
26 | 2614925.8194 | 1132186.4242 | 2614916.1315 | 1132171.8106
27 | 2614914.3181 | 1132169.0752 | 2614916.1315 | 1132171.8106
28 | 2614934.6943 | 1132171.2986 | 2614932.6568 | 1132167.4428 | 2614934.3824 | 1132167.0358 | 2614936.4166 | 1132165.6468
29 | 2614914.3181 | 1132169.0752 | 2614912.6949 | 1132166.6267
30 | 2614936.4166 | 1132165.6468 | 2614938.6164 | 1132164.1448 | 2614946.2641 | 1132159.3222
31 | 2614903.8285 | 1132171.6295 | 2614906.8969 | 1132169.9696 | 2614912.6949 | 1132166.6267
32 | 2614863.8261 | 1132177.1541 | 2614866.5271 | 1132168.3336
33 | 2614851.4993 | 1132211.7209 | 2614861.179 | 1132185.7985 | 2614863.8261 | 1132177.1541
34 | 2614888.1129 | 1132123.2309 | 2614881.1397 | 1132133.7331 | 2614873.6394 | 1132146.7989 | 2614871.3463 | 1132152.5961 | 2614866.5271 | 1132168.3336
35 | 2614903.8285 | 1132171.6295 | 2614897.6361 | 1132172.5815 | 2614893.7975 | 1132177.4967 | 2614891.2018 | 1132184.2158 | 2614888.4178 | 1132186.0877 | 2614885.8402 | 1132185.4477 | 2614880.4859 | 1132183.7004 | 2614877.5618 | 1132186.1944 | 2614872.1152 | 1132193.807 | 2614856.0616 | 1132213.0549 | 2614851.4993 | 1132211.7209
36 | 2614903.8285 | 1132171.6295 | 2614902.2333 | 1132165.9895 | 2614901.4347 | 1132165.3422
37 | 2614901.4347 | 1132165.3422 | 2614895.7404 | 1132160.7266 | 2614902.2114 | 1132152.972
38 | 2614902.2114 | 1132152.972 | 2614902.2114 | 1132152.972 | 2614896.442 | 1132147.8109 | 2614904.7729 | 1132139.2088
39 | 2614918.3055 | 1132136.1811 | 2614918.3055 | 1132136.1811 | 2614906.5381 | 1132137.3861 | 2614904.7729 | 1132139.2088
40 | 2614950.2286 | 1132119.6405 | 2614945.6942 | 1132116.3388 | 2614940.6108 | 1132123.3742 | 2614935.2962 | 1132119.7107
41 | 2614950.2286 | 1132119.6405 | 2614952.094 | 1132120.9982
42 | 2614950.2286 | 1132119.6405 | 2614956.092 | 1132111.8808
43 | 2614966.4821 | 1132099.178 | 2614961.3209 | 1132104.9606 | 2614956.092 | 1132111.8808
44 | 2615108.3202 | 1132038.7446 | 2615067.2796 | 1132048.4841 | 2615041.0401 | 1132054.7998 | 2615019.2186 | 1132067.93 | 2615014.6325 | 1132070.3801
45 | 2615072.7779 | 1131936.5652 | 2615081.7546 | 1131940.0337 | 2615086.5948 | 1131944.2144 | 2615091.2932 | 1131952.8192 | 2615095.4425 | 1131962.3675 | 2615099.5861 | 1131977.2962 | 2615106.4135 | 1131996.656 | 2615111.6397 | 1132006.6072 | 2615120.3744 | 1132017.501 | 2615124.3974 | 1132025.1703 | 2615123.5074 | 1132027.0023 | 2615121.7809 | 1132030.8555 | 2615120.7051 | 1132033.0761 | 2615117.9018 | 1132036.4708 | 2615108.3202 | 1132038.7446
46 | 2615072.7779 | 1131936.5652 | 2615071.4556 | 1131932.66 | 2615071.1119 | 1131928.4682 | 2615072.5536 | 1131921.4906 | 2615074.731 | 1131913.9983
47 | 2615007.0901 | 1132102.9838 | 2615012.2018 | 1132103.2521 | 2615014.9519 | 1132101.7719
48 | 2615014.9519 | 1132101.7719 | 2615017.9993 | 1132100.1316 | 2615017.7358 | 1132097.7187 | 2615023.6209 | 1132095.0327
49 | 2615040.2577 | 1132110.2016 | 2615039.6703 | 1132110.4348 | 2615027.9241 | 1132118.5763 | 2615026.3584 | 1132119.9111
50 | 2615035.6999 | 1132089.7242 | 2615034.1846 | 1132090.2113 | 2615023.6209 | 1132095.0327
51 | 2615040.2577 | 1132110.2016 | 2615053.8046 | 1132104.8226 | 2615053.8046 | 1132104.8226
52 | 2615036.0181 | 1132080.4889 | 2615038.2685 | 1132088.8985 | 2615035.6999 | 1132089.7242
53 | 2615053.8046 | 1132104.8226 | 2615060.8811 | 1132105.0341
54 | 2614946.2641 | 1132159.3222 | 2614946.6237 | 1132159.0954
55 | 2614946.6237 | 1132159.0954 | 2614947.4842 | 1132158.5528 | 2614949.6514 | 1132156.8586
56 | 2614957.5804 | 1132150.7565 | 2614955.2214 | 1132152.5022 | 2614949.6673 | 1132156.8462 | 2614949.6514 | 1132156.8586
57 | 2614957.5804 | 1132150.7565 | 2614959.5485 | 1132149.3002 | 2614960.1607 | 1132148.6807

## bus_geodata
| x | y | coords
0 | 2614980.6454 | 1132120.7827
1 | 2614978.3056 | 1132117.3864
2 | 2614981.4994 | 1132127.2658
3 | 2614973.1831 | 1132134.7557
4 | 2614977.4596 | 1132095.1623
5 | 2614981.8188 | 1132088.3809
6 | 2614969.9834 | 1132095.255
7 | 2614972.7954 | 1132135.1037
8 | 2614993.8544 | 1132100.0787
9 | 2614994.2506 | 1132081.3354
10 | 2614944.4502 | 1132094.121
11 | 2614966.9394 | 1132098.6656
12 | 2614965.1115 | 1132130.0085
13 | 2614964.8366 | 1132143.9488
14 | 2614943.2226 | 1132181.7796
15 | 2614936.5697 | 1132179.2471
16 | 2615009.9121 | 1132135.8848
17 | 2615022.0989 | 1132123.5421
18 | 2614911.9782 | 1132196.2239
19 | 2614912.5594 | 1132195.1933
20 | 2614918.9274 | 1132189.668
21 | 2614925.8194 | 1132186.4242
22 | 2614916.1315 | 1132171.8106
23 | 2614934.6943 | 1132171.2986
24 | 2614914.3181 | 1132169.0752
25 | 2614936.4166 | 1132165.6468
26 | 2614912.6949 | 1132166.6267
27 | 2614863.8261 | 1132177.1541
28 | 2614866.5271 | 1132168.3336
29 | 2614851.4993 | 1132211.7209
30 | 2614888.1129 | 1132123.2309
31 | 2614903.8285 | 1132171.6295
32 | 2614901.4347 | 1132165.3422
33 | 2614902.2114 | 1132152.972
34 | 2614904.7729 | 1132139.2088
35 | 2614918.3055 | 1132136.1811
36 | 2614935.2962 | 1132119.7107
37 | 2614950.2286 | 1132119.6405
38 | 2614952.094 | 1132120.9982
39 | 2614956.092 | 1132111.8808
40 | 2615014.6325 | 1132070.3801
41 | 2615108.3202 | 1132038.7446
42 | 2615072.7779 | 1131936.5652
43 | 2615074.731 | 1131913.9983
44 | 2615007.0901 | 1132102.9838
45 | 2615014.9519 | 1132101.7719
46 | 2615026.3584 | 1132119.9111
47 | 2615023.6209 | 1132095.0327
48 | 2615040.2577 | 1132110.2016
49 | 2615035.6999 | 1132089.7242
50 | 2615053.8046 | 1132104.8226
51 | 2615060.8811 | 1132105.0341
52 | 2615036.0181 | 1132080.4889
53 | 2614946.2641 | 1132159.3222
54 | 2614946.6237 | 1132159.0954
55 | 2614949.6514 | 1132156.8586
56 | 2614966.4821 | 1132099.178
57 | 2614960.1607 | 1132148.6807
58 | 2614957.5804 | 1132150.7565
59 | 2614981.4994 | 1132127.2658

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1