## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6104-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6104-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6104-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6104-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6104-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6104-1_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_6104-1_0_4_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_6104-1_0_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_6104-1_0_4_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_6104-1_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_6104-1_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_6104-1_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6104-1_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6104-1_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6104-1_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6104-1_0_4_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_6104-1_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_6104-1_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6104-1_0_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_6104-1_0_4_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_6104-1_0_4_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_6104-1_0_4_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_6104-1_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_6104-1_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_6104-1_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_6104-1_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_6104-1_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6104-1_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_6104-1_0_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_6104-1_0_4_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_6104-1_0_4_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_6104-1_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6104-1_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6104-1_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6104-1_0_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_6104-1_0_4_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_6104-1_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_6104-1_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_6104-1_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_6104-1_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_6104-1_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6104-1_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6104-1_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6104-1_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6104-1_0_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_6104-1_0_4_node_47 | 0.4 | n |  | TRUE
46 | bus_MV_100_1_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6104-1_0_4_load_0 | 0 | 0.0030377 | 0.00076132 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6104-1_0_4_load_1 | 1 | 0.0050968 | 0.0012774 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6104-1_0_4_load_4 | 4 | 0.0037627 | 0.00094301 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6104-1_0_4_load_48 | 6 | 0.0050701 | 0.0012707 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6104-1_0_4_load_39 | 7 | 0.0042936 | 0.0010761 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6104-1_0_4_load_41 | 8 | 0.0047891 | 0.0012003 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6104-1_0_4_load_5 | 11 | 0.0046162 | 0.0011569 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6104-1_0_4_load_6 | 12 | 0.0026927 | 0.00067486 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6104-1_0_4_load_8 | 13 | 0.0030272 | 0.00075868 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6104-1_0_4_load_21 | 16 | 0.0040645 | 0.0010187 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6104-1_0_4_load_14 | 17 | 0.007466 | 0.0018712 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6104-1_0_4_load_37 | 18 | 0.0070963 | 0.0017785 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6104-1_0_4_load_36 | 19 | 0.0059423 | 0.0014893 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6104-1_0_4_load_43 | 20 | 0.0082345 | 0.0020638 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6104-1_0_4_load_19 | 22 | 0.0069471 | 0.0017411 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6104-1_0_4_load_26 | 23 | 0.0037871 | 0.00094913 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6104-1_0_4_load_23 | 25 | 0.0042421 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6104-1_0_4_load_22 | 26 | 0.0068023 | 0.0017048 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6104-1_0_4_load_27 | 27 | 0.0045179 | 0.0011323 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6104-1_0_4_load_38 | 28 | 0.0052459 | 0.0013147 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6104-1_0_4_load_49 | 29 | 0.0022564 | 0.00056551 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6104-1_0_4_load_17 | 31 | 0.0037208 | 0.00093252 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6104-1_0_4_load_18 | 32 | 0.0042728 | 0.0010709 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6104-1_0_4_load_20 | 33 | 0.011617 | 0.0029116 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6104-1_0_4_load_40 | 34 | 0.0069559 | 0.0017433 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6104-1_0_4_load_46 | 35 | 0.012089 | 0.0030299 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6104-1_0_4_load_29 | 38 | 0.0055593 | 0.0013933 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6104-1_0_4_load_42 | 39 | 0.006859 | 0.001719 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6104-1_0_4_load_32 | 40 | 0.0062355 | 0.0015628 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6104-1_0_4_load_34 | 42 | 0.0027667 | 0.00069341 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6104-1_0_4_load_35 | 43 | 0.0066285 | 0.0016613 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6104-1_0_4_load_44 | 44 | 0.0026448 | 0.00066285 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6104-1_0_4_load_47 | 45 | 0.0031111 | 0.00077972 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6104-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6104-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6104-1_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.005167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6104-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.061817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6104-1_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_6104-1_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.022444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_6104-1_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.02363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6104-1_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.035411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_6104-1_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.057958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_6104-1_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.092207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_6104-1_0_4_line_10 | NAYY 4x150 SE | 7 | 28 | 0.11011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6104-1_0_4_line_11 | NAYY 4x150 SE | 8 | 25 | 0.020322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6104-1_0_4_line_12 | NAYY 4x150 SE | 9 | 17 | 0.043984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_6104-1_0_4_line_13 | NAYY 4x150 SE | 9 | 13 | 0.046764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6104-1_0_4_line_14 | NAYY 4x150 SE | 10 | 29 | 0.15983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_6104-1_0_4_line_15 | NAYY 4x150 SE | 11 | 12 | 0.056136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6104-1_0_4_line_16 | NAYY 4x150 SE | 12 | 13 | 0.02168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6104-1_0_4_line_17 | NAYY 4x150 SE | 14 | 15 | 0.061902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6104-1_0_4_line_18 | NAYY 4x150 SE | 14 | 16 | 0.033519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6104-1_0_4_line_19 | NAYY 4x150 SE | 15 | 20 | 0.069619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6104-1_0_4_line_20 | NAYY 4x150 SE | 15 | 21 | 0.022686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_6104-1_0_4_line_21 | NAYY 4x150 SE | 16 | 22 | 0.011492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6104-1_0_4_line_22 | NAYY 4x150 SE | 17 | 27 | 0.0095921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_6104-1_0_4_line_23 | NAYY 4x150 SE | 18 | 19 | 0.014486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6104-1_0_4_line_24 | NAYY 4x150 SE | 19 | 28 | 0.026676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6104-1_0_4_line_25 | NAYY 4x150 SE | 20 | 37 | 0.0022974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6104-1_0_4_line_26 | NAYY 4x150 SE | 21 | 23 | 0.060357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_6104-1_0_4_line_27 | NAYY 4x150 SE | 22 | 31 | 0.014294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6104-1_0_4_line_28 | NAYY 4x150 SE | 23 | 27 | 0.02014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_6104-1_0_4_line_29 | NAYY 4x150 SE | 24 | 25 | 0.049265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_6104-1_0_4_line_30 | NAYY 4x150 SE | 24 | 26 | 0.018627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6104-1_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.58397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_6104-1_0_4_line_32 | NAYY 4x150 SE | 30 | 44 | 0.040772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6104-1_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.000719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6104-1_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.016521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6104-1_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0082015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6104-1_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.019626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6104-1_0_4_line_37 | NAYY 4x150 SE | 35 | 45 | 0.0060899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6104-1_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.054842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6104-1_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.052944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6104-1_0_4_line_40 | NAYY 4x150 SE | 37 | 39 | 0.058461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6104-1_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.069739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6104-1_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.021153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6104-1_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.019176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6104-1_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.015481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6104-1_0_4_trafo_12 | 0.25 MVA 20/0.4 kV | 46 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2620998.176 | 1126824.6215 | 2621003.0578 | 1126842.1875
1 | 2621000.7166 | 1126802.2377 | 2621002.0221 | 1126805.7551 | 2620999.5113 | 1126812.0272 | 2620997.275 | 1126821.3797 | 2620998.176 | 1126824.6215
2 | 2621000.7166 | 1126802.2377 | 2621004.8961 | 1126799.184
3 | 2621000.7166 | 1126802.2377 | 2620992.675 | 1126810.1137 | 2620986.6147 | 1126828.8909 | 2620987.1201 | 1126854.2941 | 2620988.1722 | 1126859.6126
4 | 2621016.2504 | 1126793.7984 | 2621007.1365 | 1126797.5576 | 2621004.8961 | 1126799.184
5 | 2621004.8961 | 1126799.184 | 2620999.2275 | 1126798.2973 | 2620990.1038 | 1126807.1256 | 2620987.1156 | 1126809.8004
6 | 2621016.2504 | 1126793.7984 | 2621019.9504 | 1126800.1588 | 2621023.3595 | 1126816.0692
7 | 2621016.2504 | 1126793.7984 | 2621023.7058 | 1126790.5227 | 2621048.048 | 1126786.4495 | 2621050.6351 | 1126786.4049
8 | 2621016.2504 | 1126793.7984 | 2621040.3648 | 1126797.6173 | 2621053.1827 | 1126796.8391 | 2621062.8842 | 1126801.3973 | 2621070.2424 | 1126808.3596
9 | 2620932.3755 | 1126841.2762 | 2620937.4801 | 1126842.5834 | 2620943.2302 | 1126853.3196 | 2620967.4268 | 1126851.1355 | 2620968.1003 | 1126834.6519 | 2620974.1026 | 1126832.6161 | 2620977.0401 | 1126818.8195 | 2620987.1156 | 1126809.8004
10 | 2621023.3595 | 1126816.0692 | 2621027.3137 | 1126834.5235 | 2621031.4918 | 1126854.1255 | 2621037.6042 | 1126869.1985 | 2621042.9445 | 1126875.8426 | 2621048.5533 | 1126882.8321 | 2621060.9761 | 1126893.6917 | 2621079.3937 | 1126903.6532
11 | 2621070.9545 | 1126786.054 | 2621050.6351 | 1126786.4049
12 | 2621070.2424 | 1126808.3596 | 2621073.4593 | 1126811.8058 | 2621084.7383 | 1126812.5676 | 2621098.6373 | 1126836.8344
13 | 2621070.2424 | 1126808.3596 | 2621059.6877 | 1126812.047 | 2621052.9177 | 1126819.9052 | 2621051.5189 | 1126827.7153 | 2621057.5359 | 1126839.2085 | 2621060.8216 | 1126841.988
14 | 2620932.3755 | 1126841.2762 | 2620918.3897 | 1126796.4503 | 2620912.7953 | 1126778.5111 | 2620911.1478 | 1126769.123 | 2620912.4171 | 1126758.5888 | 2620918.9216 | 1126751.719 | 2620927.353 | 1126751.4702 | 2620936.4339 | 1126752.7911 | 2620950.3263 | 1126755.5293 | 2620974.7558 | 1126755.2024 | 2620982.9771 | 1126754.2147
15 | 2621125.7716 | 1126884.6365 | 2621078.1105 | 1126854.9775
16 | 2621060.8216 | 1126841.988 | 2621070.7974 | 1126850.4267 | 2621078.1105 | 1126854.9775
17 | 2621196.0864 | 1126877.6656 | 2621194.7014 | 1126881.4738 | 2621214.0208 | 1126887.9223 | 2621222.6757 | 1126891.9879 | 2621236.6817 | 1126895.183 | 2621249.8866 | 1126898.2418
18 | 2621249.8866 | 1126898.2418 | 2621250.796 | 1126893.8206 | 2621251.3169 | 1126888.1085 | 2621251.5219 | 1126880.1831 | 2621252.737 | 1126872.0945 | 2621252.0124 | 1126864.9691
19 | 2621196.0864 | 1126877.6656 | 2621216.2149 | 1126822.4755 | 2621218.8665 | 1126811.9306
20 | 2621177.9293 | 1126873.7892 | 2621189.8591 | 1126877.9107 | 2621194.7014 | 1126881.4738 | 2621196.0864 | 1126877.6656
21 | 2621251.048 | 1126853.5301 | 2621250.9865 | 1126854.8799 | 2621252.0124 | 1126864.9691
22 | 2621103.4046 | 1126845.1579 | 2621098.6373 | 1126836.8344
23 | 2621102.7739 | 1126916.4981 | 2621105.8165 | 1126918.1708 | 2621114.5383 | 1126922.9591 | 2621115.4771 | 1126923.4601
24 | 2621102.7739 | 1126916.4981 | 2621080.2971 | 1126904.1418 | 2621079.3937 | 1126903.6532
25 | 2621219.4268 | 1126809.7026 | 2621218.8665 | 1126811.9306
26 | 2621177.9293 | 1126873.7892 | 2621155.5089 | 1126866.0404 | 2621120.6358 | 1126854.8155
27 | 2621251.048 | 1126853.5301 | 2621251.699 | 1126839.2509
28 | 2621103.4046 | 1126845.1579 | 2621103.4504 | 1126845.2377 | 2621111.2722 | 1126851.8015 | 2621120.6358 | 1126854.8155
29 | 2621119.8445 | 1126786.7326 | 2621112.6086 | 1126784.5063 | 2621095.0733 | 1126785.6347 | 2621088.7771 | 1126785.7462 | 2621070.9545 | 1126786.054
30 | 2621119.8445 | 1126786.7326 | 2621126.3855 | 1126782.7312 | 2621137.3383 | 1126782.354
31 | 2620982.9771 | 1126754.2147 | 2620696.3248 | 1126245.4392
32 | 2620696.3248 | 1126245.4392 | 2620677.4668 | 1126222.7304 | 2620670.871 | 1126213.6123
33 | 2621251.7318 | 1126838.5326 | 2621251.699 | 1126839.2509
34 | 2621251.7318 | 1126838.5326 | 2621251.7795 | 1126837.4852 | 2621254.5727 | 1126822.2666
35 | 2621256.0532 | 1126814.1998 | 2621254.5727 | 1126822.2666
36 | 2621256.0532 | 1126814.1998 | 2621256.0532 | 1126814.1998 | 2621263.6506 | 1126803.4433 | 2621269.9861 | 1126802.1969
37 | 2621269.9861 | 1126802.1969 | 2621274.5313 | 1126801.3027 | 2621275.9644 | 1126801.5686
38 | 2621214.691 | 1126755.8706 | 2621218.1231 | 1126779.2608 | 2621218.7066 | 1126782.0865 | 2621222.1619 | 1126798.8402 | 2621219.4268 | 1126809.7026
39 | 2621214.691 | 1126755.8706 | 2621209.3868 | 1126763.1557 | 2621208.4705 | 1126773.9689 | 2621208.3384 | 1126778.6819 | 2621208.1368 | 1126785.6513 | 2621202.293 | 1126797.3922 | 2621199.4324 | 1126805.1606
40 | 2621219.4268 | 1126809.7026 | 2621227.1349 | 1126800.3139 | 2621232.2363 | 1126787.103 | 2621236.599 | 1126775.8127 | 2621244.8052 | 1126757.5208
41 | 2620650.5581 | 1126185.5315 | 2620631.9739 | 1126193.2053 | 2620627.6974 | 1126199.7607 | 2620623.5437 | 1126215.5432 | 2620619.9865 | 1126225.9029 | 2620620.8417 | 1126232.7759 | 2620624.6341 | 1126239.3698
42 | 2620638.6605 | 1126255.2031 | 2620624.6341 | 1126239.3698
43 | 2620650.5581 | 1126185.5315 | 2620661.7975 | 1126201.0689
44 | 2620670.871 | 1126213.6123 | 2620661.7975 | 1126201.0689

## bus_geodata
| x | y | coords
0 | 2620998.176 | 1126824.6215
1 | 2621003.0578 | 1126842.1875
2 | 2621000.7166 | 1126802.2377
3 | 2621004.8961 | 1126799.184
4 | 2620988.1722 | 1126859.6126
5 | 2621016.2504 | 1126793.7984
6 | 2620987.1156 | 1126809.8004
7 | 2621023.3595 | 1126816.0692
8 | 2621050.6351 | 1126786.4049
9 | 2621070.2424 | 1126808.3596
10 | 2620932.3755 | 1126841.2762
11 | 2621125.7716 | 1126884.6365
12 | 2621078.1105 | 1126854.9775
13 | 2621060.8216 | 1126841.988
14 | 2621249.8866 | 1126898.2418
15 | 2621196.0864 | 1126877.6656
16 | 2621252.0124 | 1126864.9691
17 | 2621098.6373 | 1126836.8344
18 | 2621115.4771 | 1126923.4601
19 | 2621102.7739 | 1126916.4981
20 | 2621218.8665 | 1126811.9306
21 | 2621177.9293 | 1126873.7892
22 | 2621251.048 | 1126853.5301
23 | 2621120.6358 | 1126854.8155
24 | 2621119.8445 | 1126786.7326
25 | 2621070.9545 | 1126786.054
26 | 2621137.3383 | 1126782.354
27 | 2621103.4046 | 1126845.1579
28 | 2621079.3937 | 1126903.6532
29 | 2620982.9771 | 1126754.2147
30 | 2620696.3248 | 1126245.4392
31 | 2621251.699 | 1126839.2509
32 | 2621251.7318 | 1126838.5326
33 | 2621254.5727 | 1126822.2666
34 | 2621256.0532 | 1126814.1998
35 | 2621269.9861 | 1126802.1969
36 | 2621214.691 | 1126755.8706
37 | 2621219.4268 | 1126809.7026
38 | 2621199.4324 | 1126805.1606
39 | 2621244.8052 | 1126757.5208
40 | 2620624.6341 | 1126239.3698
41 | 2620650.5581 | 1126185.5315
42 | 2620638.6605 | 1126255.2031
43 | 2620661.7975 | 1126201.0689
44 | 2620670.871 | 1126213.6123
45 | 2621275.9644 | 1126801.5686
46 | 2621070.2424 | 1126808.3596

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1