## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6110-65_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6110-65_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6110-65_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6110-65_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6110-65_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6110-65_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_6110-65_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6110-65_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_6110-65_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_6110-65_0_4_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_6110-65_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6110-65_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6110-65_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_6110-65_0_4_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_6110-65_0_4_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_6110-65_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_6110-65_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6110-65_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_6110-65_0_4_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_6110-65_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6110-65_0_4_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_6110-65_0_4_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_6110-65_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6110-65_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6110-65_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_6110-65_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_6110-65_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6110-65_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6110-65_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6110-65_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6110-65_0_4_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_6110-65_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6110-65_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6110-65_0_4_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_6110-65_0_4_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_6110-65_0_4_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_6110-65_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6110-65_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_6110-65_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_6110-65_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6110-65_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_6110-65_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_6110-65_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_6110-65_0_4_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_6110-65_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6110-65_0_4_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_6110-65_0_4_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_6110-65_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_6110-65_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_6110-65_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_6110-65_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_6110-65_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_6110-65_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_6110-65_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_6110-65_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_6110-65_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_6110-65_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6110-65_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_6110-65_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_6110-65_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_6110-65_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_6110-65_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6110-65_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_6110-65_0_4_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_6110-65_0_4_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_6110-65_0_4_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_6110-65_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_6110-65_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_6110-65_0_4_node_73 | 0.4 | n |  | TRUE
69 | bus_MV_100_1_node_264 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6110-65_0_4_load_0 | 0 | 0.0071534 | 0.0017928 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6110-65_0_4_load_1 | 1 | 0.0034776 | 0.00087158 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6110-65_0_4_load_2 | 2 | 0.0070393 | 0.0017642 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6110-65_0_4_load_10 | 5 | 0.0023199 | 0.00058143 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6110-65_0_4_load_12 | 8 | 0.005923 | 0.0014845 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6110-65_0_4_load_40 | 9 | 0.0028748 | 0.00072049 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6110-65_0_4_load_9 | 10 | 0.0022622 | 0.00056697 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6110-65_0_4_load_5 | 11 | 0.0025583 | 0.00064118 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6110-65_0_4_load_23 | 13 | 0.0046732 | 0.0011712 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6110-65_0_4_load_6 | 15 | 0.0035752 | 0.00089603 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6110-65_0_4_load_8 | 16 | 0.0018933 | 0.0004745 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6110-65_0_4_load_17 | 17 | 0.0034336 | 0.00086054 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6110-65_0_4_load_54 | 18 | 0.0047404 | 0.001188 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6110-65_0_4_load_15 | 19 | 0.0054294 | 0.0013607 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6110-65_0_4_load_52 | 20 | 0.004716 | 0.0011819 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6110-65_0_4_load_41 | 21 | 0.0018846 | 0.00047233 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6110-65_0_4_load_18 | 22 | 0.0023796 | 0.00059637 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6110-65_0_4_load_26 | 24 | 0.0020185 | 0.00050589 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6110-65_0_4_load_27 | 25 | 0.0017077 | 0.00042799 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6110-65_0_4_load_13 | 26 | 0.0029337 | 0.00073527 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6110-65_0_4_load_14 | 27 | 0.0039111 | 0.00098022 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6110-65_0_4_load_16 | 28 | 0.0028421 | 0.00071229 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6110-65_0_4_load_63 | 30 | 0.0011904 | 0.00029834 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6110-65_0_4_load_24 | 31 | 0.0032384 | 0.00081161 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6110-65_0_4_load_28 | 32 | 0.0023629 | 0.00059219 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6110-65_0_4_load_62 | 33 | 0.0018681 | 0.00046818 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6110-65_0_4_load_31 | 36 | 0.0028213 | 0.00070709 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6110-65_0_4_load_35 | 37 | 0.0018739 | 0.00046964 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6110-65_0_4_load_32 | 38 | 0.0019678 | 0.00049318 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6110-65_0_4_load_36 | 39 | 0.0023363 | 0.00058553 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6110-65_0_4_load_29 | 40 | 0.0037445 | 0.00093846 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6110-65_0_4_load_30 | 41 | 0.0013229 | 0.00033154 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6110-65_0_4_load_33 | 42 | 0.0012121 | 0.00030377 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6110-65_0_4_load_61 | 43 | 0.0053681 | 0.0013454 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6110-65_0_4_load_58 | 45 | 0.0026722 | 0.00066972 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6110-65_0_4_load_37 | 47 | 0.002819 | 0.00070652 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6110-65_0_4_load_38 | 48 | 0.002091 | 0.00052405 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6110-65_0_4_load_39 | 49 | 0.0034882 | 0.00087422 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6110-65_0_4_load_45 | 51 | 0.0028178 | 0.00070621 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6110-65_0_4_load_46 | 52 | 0.0035662 | 0.00089378 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6110-65_0_4_load_42 | 53 | 0.0015086 | 0.00037809 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6110-65_0_4_load_43 | 54 | 0.0082585 | 0.0020698 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6110-65_0_4_load_47 | 55 | 0.0046784 | 0.0011725 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6110-65_0_4_load_55 | 56 | 0.001538 | 0.00038545 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6110-65_0_4_load_49 | 57 | 0.0023862 | 0.00059804 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6110-65_0_4_load_50 | 58 | 0.0074514 | 0.0018675 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6110-65_0_4_load_51 | 59 | 0.0051041 | 0.0012792 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6110-65_0_4_load_57 | 60 | 0.0019741 | 0.00049475 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6110-65_0_4_load_59 | 61 | 0.0010631 | 0.00026643 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6110-65_0_4_load_67 | 62 | 0.0026648 | 0.00066787 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6110-65_0_4_load_68 | 63 | 0.0034475 | 0.00086403 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6110-65_0_4_load_72 | 64 | 0.0025669 | 0.00064332 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6110-65_0_4_load_69 | 66 | 0.0021669 | 0.00054309 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6110-65_0_4_load_70 | 67 | 0.0030002 | 0.00075192 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6110-65_0_4_load_73 | 68 | 0.0060463 | 0.0015153 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6110-65_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0032419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6110-65_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6110-65_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6110-65_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.012974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6110-65_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0081001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6110-65_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.007968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_6110-65_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.009807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6110-65_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.015026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6110-65_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0073753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6110-65_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0066401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6110-65_0_4_line_10 | NAYY 4x150 SE | 6 | 11 | 0.0078616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6110-65_0_4_line_11 | NAYY 4x150 SE | 7 | 12 | 0.008395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6110-65_0_4_line_12 | NAYY 4x150 SE | 7 | 13 | 0.0098542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6110-65_0_4_line_13 | NAYY 4x150 SE | 8 | 14 | 0.0057099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6110-65_0_4_line_14 | NAYY 4x150 SE | 9 | 21 | 0.0062351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6110-65_0_4_line_15 | NAYY 4x150 SE | 10 | 18 | 0.009783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6110-65_0_4_line_16 | NAYY 4x150 SE | 11 | 15 | 0.0019746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6110-65_0_4_line_17 | NAYY 4x150 SE | 12 | 22 | 0.0065295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6110-65_0_4_line_18 | NAYY 4x150 SE | 13 | 23 | 0.0083124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6110-65_0_4_line_19 | NAYY 4x150 SE | 14 | 24 | 0.015113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6110-65_0_4_line_20 | NAYY 4x150 SE | 14 | 25 | 0.006259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6110-65_0_4_line_21 | NAYY 4x150 SE | 15 | 16 | 0.0037503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6110-65_0_4_line_22 | NAYY 4x150 SE | 16 | 17 | 0.0065406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6110-65_0_4_line_23 | NAYY 4x150 SE | 17 | 19 | 0.0044548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6110-65_0_4_line_24 | NAYY 4x150 SE | 18 | 20 | 0.0019359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6110-65_0_4_line_25 | NAYY 4x150 SE | 19 | 26 | 0.013191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6110-65_0_4_line_26 | NAYY 4x150 SE | 20 | 58 | 0.0041287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6110-65_0_4_line_27 | NAYY 4x150 SE | 21 | 53 | 0.0098116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6110-65_0_4_line_28 | NAYY 4x150 SE | 23 | 31 | 0.0061438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6110-65_0_4_line_29 | NAYY 4x150 SE | 24 | 36 | 0.0070566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6110-65_0_4_line_30 | NAYY 4x150 SE | 25 | 37 | 0.0020065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6110-65_0_4_line_31 | NAYY 4x150 SE | 26 | 27 | 0.0025716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6110-65_0_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.0041106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6110-65_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.022159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6110-65_0_4_line_34 | NAYY 4x150 SE | 29 | 30 | 0.024025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6110-65_0_4_line_35 | NAYY 4x150 SE | 30 | 33 | 0.0037604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6110-65_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.00028168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6110-65_0_4_line_37 | NAYY 4x150 SE | 33 | 34 | 0.057498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6110-65_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.014851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6110-65_0_4_line_39 | NAYY 4x150 SE | 35 | 62 | 0.054441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6110-65_0_4_line_40 | NAYY 4x150 SE | 36 | 38 | 0.0053422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6110-65_0_4_line_41 | NAYY 4x150 SE | 37 | 39 | 0.0086977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6110-65_0_4_line_42 | NAYY 4x150 SE | 38 | 44 | 0.0039026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6110-65_0_4_line_43 | NAYY 4x150 SE | 39 | 47 | 0.00082713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6110-65_0_4_line_44 | NAYY 4x150 SE | 40 | 41 | 0.0071158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6110-65_0_4_line_45 | NAYY 4x150 SE | 41 | 42 | 1.624e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6110-65_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.015025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6110-65_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.0092629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6110-65_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.0076863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6110-65_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.004616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6110-65_0_4_line_50 | NAYY 4x150 SE | 46 | 60 | 0.011268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6110-65_0_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.0097415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6110-65_0_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.01008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6110-65_0_4_line_53 | NAYY 4x150 SE | 49 | 50 | 0.006622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6110-65_0_4_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0094664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6110-65_0_4_line_55 | NAYY 4x150 SE | 50 | 52 | 0.0082176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6110-65_0_4_line_56 | NAYY 4x150 SE | 51 | 55 | 0.00096503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6110-65_0_4_line_57 | NAYY 4x150 SE | 52 | 56 | 0.0051881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6110-65_0_4_line_58 | NAYY 4x150 SE | 53 | 54 | 0.013898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6110-65_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0061749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6110-65_0_4_line_60 | NAYY 4x150 SE | 57 | 59 | 0.014417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6110-65_0_4_line_61 | NAYY 4x150 SE | 60 | 61 | 0.017154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6110-65_0_4_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0038315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6110-65_0_4_line_63 | NAYY 4x150 SE | 63 | 66 | 0.070711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6110-65_0_4_line_64 | NAYY 4x150 SE | 64 | 65 | 0.020025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6110-65_0_4_line_65 | NAYY 4x150 SE | 65 | 68 | 0.039669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6110-65_0_4_line_66 | NAYY 4x150 SE | 65 | 67 | 0.0034292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6110-65_0_4_line_67 | NAYY 4x150 SE | 66 | 67 | 0.00039129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6110-65_0_4_trafo_7 | 0.25 MVA 20/0.4 kV | 69 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2619559.1362 | 1130048.4163 | 2619562.2188 | 1130047.4125
1 | 2619559.1362 | 1130048.4163 | 2619549.0343 | 1130051.7057 | 2619549.0343 | 1130051.7057
2 | 2619572.6028 | 1130053.8716 | 2619569.9592 | 1130044.892 | 2619562.2188 | 1130047.4125
3 | 2619544.1824 | 1130039.673 | 2619549.0343 | 1130051.7057
4 | 2619572.6028 | 1130053.8716 | 2619580.6404 | 1130052.8677
5 | 2619574.8502 | 1130061.516 | 2619572.6028 | 1130053.8716
6 | 2619544.1824 | 1130039.673 | 2619534.8302 | 1130042.711
7 | 2619544.1824 | 1130039.673 | 2619546.9657 | 1130038.7704 | 2619558.3169 | 1130034.5807
8 | 2619580.6404 | 1130052.8677 | 2619587.9589 | 1130051.9536 | 2619587.9589 | 1130051.9536
9 | 2619574.8502 | 1130061.516 | 2619580.5062 | 1130064.9946
10 | 2619574.8502 | 1130061.516 | 2619567.6504 | 1130063.4381 | 2619567.2624 | 1130063.5699
11 | 2619527.678 | 1130046.5899 | 2619532.7047 | 1130045.0386 | 2619534.8302 | 1130042.711
12 | 2619534.8302 | 1130042.711 | 2619534.904 | 1130038.9205 | 2619534.5313 | 1130035.073 | 2619534.3033 | 1130032.8874
13 | 2619563.801 | 1130034.3336 | 2619560.73 | 1130033.6901 | 2619558.3169 | 1130034.5807
14 | 2619587.9589 | 1130051.9536 | 2619588.2812 | 1130049.9426 | 2619589.2451 | 1130049.5788 | 2619592.3186 | 1130048.8101
15 | 2619580.5062 | 1130064.9946 | 2619580.9918 | 1130065.2932 | 2619588.8045 | 1130070.1758
16 | 2619567.2624 | 1130063.5699 | 2619565.3927 | 1130064.2048
17 | 2619527.678 | 1130046.5899 | 2619527.7315 | 1130049.1246 | 2619526.9179 | 1130053.035
18 | 2619533.4405 | 1130024.6199 | 2619534.3033 | 1130032.8874
19 | 2619563.801 | 1130034.3336 | 2619566.9295 | 1130019.5476
20 | 2619563.801 | 1130034.3336 | 2619570.0266 | 1130033.6878
21 | 2619561.8415 | 1130065.4107 | 2619565.3927 | 1130064.2048
22 | 2619561.8415 | 1130065.4107 | 2619555.6482 | 1130067.5137
23 | 2619551.43 | 1130068.946 | 2619555.6482 | 1130067.5137
24 | 2619590.4462 | 1130071.2018 | 2619588.8045 | 1130070.1758
25 | 2619551.43 | 1130068.946 | 2619538.9398 | 1130073.1873
26 | 2619590.4462 | 1130071.2018 | 2619593.9474 | 1130073.3899
27 | 2619592.3186 | 1130048.8101 | 2619601.837 | 1130046.4295
28 | 2619533.4405 | 1130024.6199 | 2619533.0783 | 1130018.4868
29 | 2619566.9295 | 1130019.5476 | 2619571.7465 | 1130018.5293 | 2619573.5221 | 1130017.3471
30 | 2619572.0224 | 1130033.4807 | 2619570.0266 | 1130033.6878
31 | 2619536.5128 | 1130074.0366 | 2619537.264 | 1130073.7563 | 2619538.9398 | 1130073.1873
32 | 2619532.6615 | 1130075.4735 | 2619536.5128 | 1130074.0366
33 | 2619511.5553 | 1130080.9104 | 2619517.1765 | 1130081.2509 | 2619532.6615 | 1130075.4735
34 | 2619511.5553 | 1130080.9104 | 2619515.434 | 1130096.1859 | 2619515.8383 | 1130104.4406
35 | 2619516.0081 | 1130108.1955 | 2619516.0194 | 1130108.1381 | 2619515.8383 | 1130104.4406
36 | 2619533.0617 | 1130018.2056 | 2619533.0783 | 1130018.4868
37 | 2619469.3764 | 1130137.1247 | 2619503.0331 | 1130122.8147 | 2619511.8531 | 1130117.5961 | 2619514.7589 | 1130114.515 | 2619516.0081 | 1130108.1955
38 | 2619469.3764 | 1130137.1247 | 2619476.3045 | 1130143.0165 | 2619481.2781 | 1130145.9672
39 | 2619481.2781 | 1130145.9672 | 2619485.6367 | 1130148.5492 | 2619503.3959 | 1130151.2632 | 2619532.4406 | 1130158.0378 | 2619533.9547 | 1130158.5092
40 | 2619573.5221 | 1130017.3471 | 2619577.9687 | 1130014.3863
41 | 2619572.0224 | 1130033.4807 | 2619572.7382 | 1130033.4065 | 2619578.4353 | 1130031.7574 | 2619580.4745 | 1130031.5775
42 | 2619581.2172 | 1130012.2234 | 2619577.9687 | 1130014.3863
43 | 2619581.2984 | 1130031.5048 | 2619580.4745 | 1130031.5775
44 | 2619557.6536 | 1130000.4834 | 2619564.7284 | 1129999.7214
45 | 2619564.7445 | 1129999.7197 | 2619564.7445 | 1129999.7197 | 2619564.7284 | 1129999.7214
46 | 2619574.2495 | 1130007.699 | 2619566.2179 | 1130006.1609 | 2619566.1011 | 1130001.7917 | 2619564.7445 | 1129999.7197
47 | 2619581.2172 | 1130012.2234 | 2619579.5033 | 1130008.7051 | 2619574.2495 | 1130007.699
48 | 2619581.2172 | 1130012.2234 | 2619583.9958 | 1130010.3759 | 2619588.2288 | 1130009.3757
49 | 2619592.7211 | 1130008.3142 | 2619588.2288 | 1130009.3757
50 | 2619592.7211 | 1130008.3142 | 2619595.2181 | 1130003.0753 | 2619599.8233 | 1130000.1344
51 | 2619581.2984 | 1130031.5048 | 2619591.0022 | 1130030.6486
52 | 2619600.9597 | 1130029.1066 | 2619592.5338 | 1130030.5134 | 2619591.0022 | 1130030.6486
53 | 2619607.4913 | 1130028.0161 | 2619600.9597 | 1130029.1066
54 | 2619607.4913 | 1130028.0161 | 2619616.8639 | 1130026.6866
55 | 2619607.4913 | 1130028.0161 | 2619607.5231 | 1130020.5681 | 2619607.5998 | 1130019.8024
56 | 2619616.8639 | 1130026.6866 | 2619617.8194 | 1130026.5511
57 | 2619607.8916 | 1130014.6284 | 2619607.8813 | 1130016.9897 | 2619607.5998 | 1130019.8024
58 | 2619601.837 | 1130046.4295 | 2619604.3838 | 1130045.7926 | 2619615.1671 | 1130042.5057
59 | 2619599.1838 | 1130076.6624 | 2619593.9474 | 1130073.3899
60 | 2619599.1838 | 1130076.6624 | 2619600.3383 | 1130077.3839 | 2619606.4702 | 1130088.9094
61 | 2619610.1906 | 1129988.3052 | 2619606.8687 | 1129989.5285 | 2619604.796 | 1129996.9588 | 2619599.8233 | 1130000.1344
62 | 2619533.9547 | 1130158.5092 | 2619537.613 | 1130159.6483
63 | 2619537.613 | 1130159.6483 | 2619548.2057 | 1130162.9465 | 2619558.066 | 1130164.6792 | 2619571.0861 | 1130163.4095 | 2619590.0262 | 1130162.9482 | 2619602.5234 | 1130163.7779 | 2619607.5428 | 1130163.1927
64 | 2619611.3376 | 1130162.7503 | 2619630.9808 | 1130158.8607
65 | 2619611.3376 | 1130162.7503 | 2619650.1671 | 1130170.8699
66 | 2619611.3376 | 1130162.7503 | 2619607.9315 | 1130163.1474
67 | 2619607.5428 | 1130163.1927 | 2619607.9315 | 1130163.1474

## bus_geodata
| x | y | coords
0 | 2619559.1362 | 1130048.4163
1 | 2619562.2188 | 1130047.4125
2 | 2619549.0343 | 1130051.7057
3 | 2619572.6028 | 1130053.8716
4 | 2619544.1824 | 1130039.673
5 | 2619580.6404 | 1130052.8677
6 | 2619574.8502 | 1130061.516
7 | 2619534.8302 | 1130042.711
8 | 2619558.3169 | 1130034.5807
9 | 2619587.9589 | 1130051.9536
10 | 2619580.5062 | 1130064.9946
11 | 2619567.2624 | 1130063.5699
12 | 2619527.678 | 1130046.5899
13 | 2619534.3033 | 1130032.8874
14 | 2619563.801 | 1130034.3336
15 | 2619565.3927 | 1130064.2048
16 | 2619561.8415 | 1130065.4107
17 | 2619555.6482 | 1130067.5137
18 | 2619588.8045 | 1130070.1758
19 | 2619551.43 | 1130068.946
20 | 2619590.4462 | 1130071.2018
21 | 2619592.3186 | 1130048.8101
22 | 2619526.9179 | 1130053.035
23 | 2619533.4405 | 1130024.6199
24 | 2619566.9295 | 1130019.5476
25 | 2619570.0266 | 1130033.6878
26 | 2619538.9398 | 1130073.1873
27 | 2619536.5128 | 1130074.0366
28 | 2619532.6615 | 1130075.4735
29 | 2619511.5553 | 1130080.9104
30 | 2619515.8383 | 1130104.4406
31 | 2619533.0783 | 1130018.4868
32 | 2619533.0617 | 1130018.2056
33 | 2619516.0081 | 1130108.1955
34 | 2619469.3764 | 1130137.1247
35 | 2619481.2781 | 1130145.9672
36 | 2619573.5221 | 1130017.3471
37 | 2619572.0224 | 1130033.4807
38 | 2619577.9687 | 1130014.3863
39 | 2619580.4745 | 1130031.5775
40 | 2619557.6536 | 1130000.4834
41 | 2619564.7284 | 1129999.7214
42 | 2619564.7445 | 1129999.7197
43 | 2619574.2495 | 1130007.699
44 | 2619581.2172 | 1130012.2234
45 | 2619588.2288 | 1130009.3757
46 | 2619592.7211 | 1130008.3142
47 | 2619581.2984 | 1130031.5048
48 | 2619591.0022 | 1130030.6486
49 | 2619600.9597 | 1130029.1066
50 | 2619607.4913 | 1130028.0161
51 | 2619616.8639 | 1130026.6866
52 | 2619607.5998 | 1130019.8024
53 | 2619601.837 | 1130046.4295
54 | 2619615.1671 | 1130042.5057
55 | 2619617.8194 | 1130026.5511
56 | 2619607.8916 | 1130014.6284
57 | 2619599.1838 | 1130076.6624
58 | 2619593.9474 | 1130073.3899
59 | 2619606.4702 | 1130088.9094
60 | 2619599.8233 | 1130000.1344
61 | 2619610.1906 | 1129988.3052
62 | 2619533.9547 | 1130158.5092
63 | 2619537.613 | 1130159.6483
64 | 2619630.9808 | 1130158.8607
65 | 2619611.3376 | 1130162.7503
66 | 2619607.5428 | 1130163.1927
67 | 2619607.9315 | 1130163.1474
68 | 2619650.1671 | 1130170.8699
69 | 2619572.6028 | 1130053.8716

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1