## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6112-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6112-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6112-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6112-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6112-2_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6112-2_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6112-2_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6112-2_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_6112-2_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6112-2_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6112-2_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6112-2_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6112-2_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6112-2_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6112-2_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6112-2_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_6112-2_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_6112-2_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_6112-2_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_6112-2_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_6112-2_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_6112-2_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_6112-2_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_6112-2_0_4_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_6112-2_0_4_node_92 | 0.4 | n |  | TRUE
25 | bus_LV_6112-2_0_4_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_6112-2_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_6112-2_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6112-2_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_6112-2_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6112-2_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6112-2_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_6112-2_0_4_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_6112-2_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_6112-2_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_6112-2_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_6112-2_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6112-2_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6112-2_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_6112-2_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_6112-2_0_4_node_102 | 0.4 | n |  | TRUE
41 | bus_LV_6112-2_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_6112-2_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_6112-2_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6112-2_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_6112-2_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_6112-2_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_6112-2_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_6112-2_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_6112-2_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_6112-2_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6112-2_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6112-2_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6112-2_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_6112-2_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_6112-2_0_4_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_6112-2_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_6112-2_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6112-2_0_4_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_6112-2_0_4_node_96 | 0.4 | n |  | TRUE
60 | bus_LV_6112-2_0_4_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_6112-2_0_4_node_95 | 0.4 | n |  | TRUE
62 | bus_LV_6112-2_0_4_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_6112-2_0_4_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_6112-2_0_4_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_6112-2_0_4_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_6112-2_0_4_node_99 | 0.4 | n |  | TRUE
67 | bus_LV_6112-2_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_6112-2_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_6112-2_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_6112-2_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_6112-2_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_6112-2_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_6112-2_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_6112-2_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_6112-2_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_6112-2_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_6112-2_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_6112-2_0_4_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_6112-2_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_6112-2_0_4_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_6112-2_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_6112-2_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_6112-2_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_6112-2_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_6112-2_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_6112-2_0_4_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_6112-2_0_4_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_6112-2_0_4_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_6112-2_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_6112-2_0_4_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_6112-2_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_6112-2_0_4_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_6112-2_0_4_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_6112-2_0_4_node_101 | 0.4 | n |  | TRUE
95 | bus_LV_6112-2_0_4_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_6112-2_0_4_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_6112-2_0_4_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_6112-2_0_4_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_6112-2_0_4_node_88 | 0.4 | n |  | TRUE
100 | bus_MV_100_1_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6112-2_0_4_load_0 | 0 | 0.001463 | 0.00036666 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6112-2_0_4_load_1 | 1 | 0.00070424 | 0.0001765 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6112-2_0_4_load_2 | 2 | 0.00038754 | 9.7128e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6112-2_0_4_load_3 | 3 | 0.0022441 | 0.00056242 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6112-2_0_4_load_7 | 6 | 0.00073454 | 0.00018409 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6112-2_0_4_load_11 | 7 | 0.00085074 | 0.00021322 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6112-2_0_4_load_8 | 8 | 0.00058862 | 0.00014752 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6112-2_0_4_load_14 | 9 | 0.0011418 | 0.00028615 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6112-2_0_4_load_13 | 10 | 0.0011685 | 0.00029284 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6112-2_0_4_load_9 | 11 | 0.00043276 | 0.00010846 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6112-2_0_4_load_10 | 12 | 0.00049565 | 0.00012422 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6112-2_0_4_load_12 | 13 | 0.0040947 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6112-2_0_4_load_15 | 14 | 0.00048051 | 0.00012043 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6112-2_0_4_load_18 | 19 | 0.0064426 | 0.0016147 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6112-2_0_4_load_20 | 20 | 0.00080238 | 0.0002011 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6112-2_0_4_load_21 | 21 | 0.0014756 | 0.00036981 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6112-2_0_4_load_19 | 22 | 0.0012571 | 0.00031506 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6112-2_0_4_load_97 | 23 | 0.0009067 | 0.00022724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6112-2_0_4_load_92 | 24 | 0.001339 | 0.00033559 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6112-2_0_4_load_24 | 26 | 0.0068093 | 0.0017066 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6112-2_0_4_load_26 | 27 | 0.0028511 | 0.00071454 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6112-2_0_4_load_27 | 28 | 0.0026581 | 0.00066619 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6112-2_0_4_load_28 | 29 | 0.0037937 | 0.0009508 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6112-2_0_4_load_30 | 31 | 0.002327 | 0.00058319 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6112-2_0_4_load_50 | 33 | 0.0036034 | 0.00090309 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6112-2_0_4_load_51 | 34 | 0.0032278 | 0.00080895 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6112-2_0_4_load_33 | 35 | 0.002142 | 0.00053685 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6112-2_0_4_load_31 | 36 | 0.0037786 | 0.00094701 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6112-2_0_4_load_32 | 37 | 0.011257 | 0.0028212 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6112-2_0_4_load_34 | 39 | 0.0049816 | 0.0012485 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6112-2_0_4_load_102 | 40 | 0.0031229 | 0.00078268 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6112-2_0_4_load_36 | 42 | 0.0027588 | 0.00069142 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6112-2_0_4_load_37 | 43 | 0.0040565 | 0.0010166 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6112-2_0_4_load_43 | 44 | 0.0038033 | 0.00095319 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6112-2_0_4_load_42 | 46 | 0.0028136 | 0.00070514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6112-2_0_4_load_39 | 48 | 0.0057355 | 0.0014375 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6112-2_0_4_load_40 | 49 | 0.0022513 | 0.00056423 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6112-2_0_4_load_41 | 50 | 0.0025972 | 0.00065092 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6112-2_0_4_load_46 | 51 | 0.0042514 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6112-2_0_4_load_45 | 52 | 0.0043986 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6112-2_0_4_load_49 | 53 | 0.0054383 | 0.001363 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6112-2_0_4_load_52 | 54 | 0.0041425 | 0.0010382 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6112-2_0_4_load_98 | 55 | 0.0038776 | 0.00097181 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6112-2_0_4_load_53 | 56 | 0.0024773 | 0.00062087 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6112-2_0_4_load_54 | 57 | 0.0028701 | 0.0007193 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6112-2_0_4_load_87 | 58 | 0.0043446 | 0.0010888 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6112-2_0_4_load_96 | 59 | 0.0014145 | 0.0003545 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6112-2_0_4_load_95 | 61 | 0.0021667 | 0.00054304 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6112-2_0_4_load_82 | 63 | 0.0008169 | 0.00020473 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6112-2_0_4_load_84 | 64 | 0.0021946 | 0.00055002 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6112-2_0_4_load_79 | 65 | 0.0015179 | 0.00038042 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6112-2_0_4_load_99 | 66 | 0.0023499 | 0.00058894 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6112-2_0_4_load_55 | 67 | 0.0015537 | 0.00038939 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6112-2_0_4_load_56 | 68 | 0.00057773 | 0.00014479 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6112-2_0_4_load_59 | 70 | 0.0010595 | 0.00026554 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6112-2_0_4_load_60 | 71 | 0.00067016 | 0.00016796 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6112-2_0_4_load_61 | 73 | 0.00071047 | 0.00017806 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6112-2_0_4_load_72 | 74 | 0.00069322 | 0.00017374 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6112-2_0_4_load_62 | 76 | 0.00095285 | 0.00023881 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6112-2_0_4_load_66 | 78 | 0.00066215 | 0.00016595 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6112-2_0_4_load_64 | 79 | 0.00074391 | 0.00018644 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6112-2_0_4_load_65 | 80 | 0.00075625 | 0.00018953 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6112-2_0_4_load_80 | 81 | 0.001142 | 0.00028622 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6112-2_0_4_load_68 | 83 | 0.0013338 | 0.00033429 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6112-2_0_4_load_69 | 84 | 0.002307 | 0.00057818 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6112-2_0_4_load_70 | 85 | 0.000753 | 0.00018872 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6112-2_0_4_load_71 | 86 | 0.0017559 | 0.00044006 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6112-2_0_4_load_74 | 87 | 0.0027556 | 0.00069061 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6112-2_0_4_load_75 | 88 | 0.0011448 | 0.0002869 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6112-2_0_4_load_78 | 89 | 0.0016174 | 0.00040535 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6112-2_0_4_load_76 | 90 | 0.0018643 | 0.00046723 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6112-2_0_4_load_83 | 91 | 0.0022846 | 0.00057256 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6112-2_0_4_load_85 | 92 | 0.0017054 | 0.00042743 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6112-2_0_4_load_86 | 93 | 0.0023864 | 0.0005981 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6112-2_0_4_load_101 | 94 | 0.0015105 | 0.00037857 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6112-2_0_4_load_100 | 95 | 0.0013265 | 0.00033245 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6112-2_0_4_load_91 | 97 | 0.0033563 | 0.00084118 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6112-2_0_4_load_89 | 98 | 0.0017055 | 0.00042744 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6112-2_0_4_load_88 | 99 | 0.0021827 | 0.00054703 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6112-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6112-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6112-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.05251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6112-2_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.002473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6112-2_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.053638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6112-2_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0073988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6112-2_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.12545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6112-2_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.022012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6112-2_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.11108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6112-2_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.027943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6112-2_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0071132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6112-2_0_4_line_11 | NAYY 4x150 SE | 10 | 15 | 0.0076332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6112-2_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 4.0837e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6112-2_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.03079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6112-2_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.016997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6112-2_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.098673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6112-2_0_4_line_16 | NAYY 4x150 SE | 15 | 17 | 0.048632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6112-2_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.030609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6112-2_0_4_line_18 | NAYY 4x150 SE | 16 | 19 | 0.12465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6112-2_0_4_line_19 | NAYY 4x150 SE | 17 | 26 | 0.10404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6112-2_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.15426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6112-2_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.16466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6112-2_0_4_line_22 | NAYY 4x150 SE | 19 | 22 | 0.01687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6112-2_0_4_line_23 | NAYY 4x150 SE | 20 | 23 | 0.00080753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6112-2_0_4_line_24 | NAYY 4x150 SE | 21 | 24 | 0.13131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_6112-2_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.051356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_6112-2_0_4_line_26 | NAYY 4x150 SE | 25 | 60 | 0.007533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_6112-2_0_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.017172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_6112-2_0_4_line_28 | NAYY 4x150 SE | 27 | 29 | 0.033736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_6112-2_0_4_line_29 | NAYY 4x150 SE | 28 | 30 | 0.041725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_6112-2_0_4_line_30 | NAYY 4x150 SE | 29 | 31 | 0.027398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_6112-2_0_4_line_31 | NAYY 4x150 SE | 30 | 36 | 0.066538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6112-2_0_4_line_32 | NAYY 4x150 SE | 30 | 37 | 0.036333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_6112-2_0_4_line_33 | NAYY 4x150 SE | 31 | 35 | 0.07195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_6112-2_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.10887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_6112-2_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.048013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6112-2_0_4_line_36 | NAYY 4x150 SE | 32 | 35 | 0.1272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_6112-2_0_4_line_37 | NAYY 4x150 SE | 33 | 56 | 0.053329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6112-2_0_4_line_38 | NAYY 4x150 SE | 34 | 57 | 0.0163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6112-2_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.02499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6112-2_0_4_line_40 | NAYY 4x150 SE | 37 | 39 | 0.021467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6112-2_0_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.053246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6112-2_0_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.034022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6112-2_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.11694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6112-2_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.080619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6112-2_0_4_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0069838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6112-2_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.026544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6112-2_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.0013564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6112-2_0_4_line_48 | NAYY 4x150 SE | 45 | 47 | 0.14509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6112-2_0_4_line_49 | NAYY 4x150 SE | 46 | 50 | 0.011681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6112-2_0_4_line_50 | NAYY 4x150 SE | 47 | 51 | 0.0084907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6112-2_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0095774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6112-2_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.010854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6112-2_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.058638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6112-2_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.021861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6112-2_0_4_line_55 | NAYY 4x150 SE | 53 | 55 | 0.090175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6112-2_0_4_line_56 | NAYY 4x150 SE | 54 | 58 | 0.020137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6112-2_0_4_line_57 | NAYY 4x150 SE | 55 | 59 | 0.025259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_6112-2_0_4_line_58 | NAYY 4x150 SE | 56 | 61 | 0.10152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_6112-2_0_4_line_59 | NAYY 4x150 SE | 59 | 60 | 0.011164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_6112-2_0_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.02255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_6112-2_0_4_line_61 | NAYY 4x150 SE | 61 | 66 | 0.0026265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_6112-2_0_4_line_62 | NAYY 4x150 SE | 62 | 63 | 0.032025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_6112-2_0_4_line_63 | NAYY 4x150 SE | 62 | 64 | 0.061324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_6112-2_0_4_line_64 | NAYY 4x150 SE | 62 | 65 | 0.11502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_6112-2_0_4_line_65 | NAYY 4x150 SE | 63 | 91 | 0.010211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_6112-2_0_4_line_66 | NAYY 4x150 SE | 64 | 92 | 0.012559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_6112-2_0_4_line_67 | NAYY 4x150 SE | 65 | 89 | 0.019995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_6112-2_0_4_line_68 | NAYY 4x150 SE | 66 | 95 | 0.007518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_6112-2_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.038857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6112-2_0_4_line_70 | NAYY 4x150 SE | 68 | 69 | 0.0095926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6112-2_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.016349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6112-2_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.013966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6112-2_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.049261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6112-2_0_4_line_74 | NAYY 4x150 SE | 71 | 73 | 0.030151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6112-2_0_4_line_75 | NAYY 4x150 SE | 72 | 74 | 0.05724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6112-2_0_4_line_76 | NAYY 4x150 SE | 72 | 75 | 0.005449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6112-2_0_4_line_77 | NAYY 4x150 SE | 73 | 76 | 0.010868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6112-2_0_4_line_78 | NAYY 4x150 SE | 75 | 77 | 0.089615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_6112-2_0_4_line_79 | NAYY 4x150 SE | 75 | 78 | 0.0032984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6112-2_0_4_line_80 | NAYY 4x150 SE | 77 | 81 | 0.02 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6112-2_0_4_line_81 | NAYY 4x150 SE | 77 | 82 | 0.00562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_6112-2_0_4_line_82 | NAYY 4x150 SE | 78 | 80 | 0.035949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6112-2_0_4_line_83 | NAYY 4x150 SE | 79 | 80 | 0.0024957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6112-2_0_4_line_84 | NAYY 4x150 SE | 82 | 89 | 0.024937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_6112-2_0_4_line_85 | NAYY 4x150 SE | 82 | 90 | 0.01782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_6112-2_0_4_line_86 | NAYY 4x150 SE | 83 | 84 | 0.1114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6112-2_0_4_line_87 | NAYY 4x150 SE | 84 | 85 | 0.01633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6112-2_0_4_line_88 | NAYY 4x150 SE | 85 | 86 | 0.016758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6112-2_0_4_line_89 | NAYY 4x150 SE | 86 | 87 | 0.020265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6112-2_0_4_line_90 | NAYY 4x150 SE | 87 | 88 | 0.022339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_6112-2_0_4_line_91 | NAYY 4x150 SE | 88 | 90 | 0.014596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_6112-2_0_4_line_92 | NAYY 4x150 SE | 91 | 96 | 0.052004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_6112-2_0_4_line_93 | NAYY 4x150 SE | 92 | 93 | 0.0053984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_6112-2_0_4_line_94 | NAYY 4x150 SE | 93 | 94 | 0.0073662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
95 | LV_6112-2_0_4_line_95 | NAYY 4x150 SE | 94 | 95 | 0.0067368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
96 | LV_6112-2_0_4_line_96 | NAYY 4x150 SE | 96 | 97 | 0.029303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_6112-2_0_4_line_97 | NAYY 4x150 SE | 96 | 98 | 0.047581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
98 | LV_6112-2_0_4_line_98 | NAYY 4x150 SE | 98 | 99 | 0.013608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6112-2_0_4_trafo_50 | 0.25 MVA 20/0.4 kV | 100 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2619571.6922 | 1125687.4883 | 2619553.3666 | 1125690.9634 | 2619552.1944 | 1125691.1058
1 | 2619571.6922 | 1125687.4883 | 2619579.0173 | 1125686.0993 | 2619587.3735 | 1125686.9167
2 | 2619552.1944 | 1125691.1058 | 2619526.8888 | 1125694.1797 | 2619503.1133 | 1125695.9597 | 2619499.9449 | 1125696.1808
3 | 2619497.4779 | 1125696.3529 | 2619499.9449 | 1125696.1808
4 | 2619450.7078 | 1125687.1205 | 2619453.4939 | 1125695.5891 | 2619462.8695 | 1125699.3544 | 2619475.1983 | 1125697.9266 | 2619497.4779 | 1125696.3529
5 | 2619497.4779 | 1125696.3529 | 2619490.8915 | 1125699.7237
6 | 2619450.7078 | 1125687.1205 | 2619482.3141 | 1125670.9584 | 2619510.4758 | 1125657.0309 | 2619546.07 | 1125644.7839 | 2619565.9644 | 1125638.422
7 | 2619450.7078 | 1125687.1205 | 2619447.6785 | 1125687.2108 | 2619433.2534 | 1125691.0109 | 2619429.324 | 1125692.0495
8 | 2619459.3651 | 1125737.0061 | 2619428.7954 | 1125744.8898 | 2619428.2255 | 1125739.9411 | 2619480.0149 | 1125705.2901 | 2619490.8915 | 1125699.7237
9 | 2619591.7165 | 1125627.7453 | 2619584.5435 | 1125631.2012 | 2619576.7004 | 1125634.9889 | 2619565.9644 | 1125638.422
10 | 2619429.324 | 1125692.0495 | 2619422.447 | 1125693.8672
11 | 2619598.5931 | 1125624.4321 | 2619591.7165 | 1125627.7453
12 | 2619422.4075 | 1125693.8776 | 2619422.4075 | 1125693.8776 | 2619422.447 | 1125693.8672
13 | 2619393.5355 | 1125703.6098 | 2619412.6321 | 1125699.4268 | 2619422.4075 | 1125693.8776
14 | 2619393.5355 | 1125703.6098 | 2619376.9319 | 1125707.2467
15 | 2619283.3923 | 1125736.2217 | 2619308.7544 | 1125722.6068 | 2619344.9829 | 1125714.2403 | 2619366.4631 | 1125709.5398 | 2619376.9319 | 1125707.2467
16 | 2619598.5931 | 1125624.4321 | 2619610.6511 | 1125618.6127 | 2619644.4364 | 1125608.1502
17 | 2619283.3923 | 1125736.2217 | 2619252.9767 | 1125732.0675
18 | 2619283.3923 | 1125736.2217 | 2619278.7754 | 1125738.6972 | 2619264.7867 | 1125767.7559 | 2619245.4986 | 1125783.6803 | 2619243.6041 | 1125792.9233 | 2619245.8284 | 1125806.0368 | 2619256.6261 | 1125813.3969 | 2619269.3175 | 1125814.2043 | 2619277.4775 | 1125809.9948 | 2619281.2171 | 1125807.5968
19 | 2619644.4364 | 1125608.1502 | 2619612.0109 | 1125565.1685 | 2619584.626 | 1125555.5531 | 2619577.9701 | 1125552.0633 | 2619572.0451 | 1125546.6081 | 2619567.7506 | 1125542.9989
20 | 2619252.9767 | 1125732.0675 | 2619227.1223 | 1125740.5453 | 2619184.7111 | 1125761.6548 | 2619167.2775 | 1125776.1401 | 2619157.9478 | 1125799.311 | 2619154.0467 | 1125831.1056
21 | 2619252.9767 | 1125732.0675 | 2619236.1433 | 1125729.7686 | 2619193.5344 | 1125723.2082 | 2619148.1021 | 1125724.7321 | 2619097.0793 | 1125717.3121 | 2619090.0571 | 1125714.551
22 | 2619295.4181 | 1125798.4906 | 2619281.2171 | 1125807.5968
23 | 2619154.0467 | 1125831.1056 | 2619153.9484 | 1125831.9071
24 | 2619090.0571 | 1125714.551 | 2618982.4754 | 1125789.8455
25 | 2618964.0844 | 1125836.6982 | 2618970.193 | 1125830.3475 | 2618978.0048 | 1125811.7294 | 2618981.356 | 1125797.4217 | 2618982.4754 | 1125789.8455
26 | 2618958.8496 | 1125842.1289 | 2618964.0844 | 1125836.6982
27 | 2618536.398 | 1125914.6903 | 2618528.5997 | 1125917.8039 | 2618521.1299 | 1125922.409
28 | 2618536.398 | 1125914.6903 | 2618540.3983 | 1125913.0932 | 2618553.8431 | 1125909.4325 | 2618567.4809 | 1125910.7081 | 2618569.1689 | 1125911.3251
29 | 2618483.2318 | 1125936.6526 | 2618488.0688 | 1125932.632 | 2618495.061 | 1125932.0197 | 2618502.8614 | 1125931.7544 | 2618510.23 | 1125929.0422 | 2618516.7932 | 1125925.0825 | 2618521.1299 | 1125922.409
30 | 2618569.1689 | 1125911.3251 | 2618580.8533 | 1125915.5959 | 2618595.1209 | 1125920.0863 | 2618595.1209 | 1125920.0863
31 | 2618483.2318 | 1125936.6526 | 2618494.3194 | 1125940.1548 | 2618531.0866 | 1125951.3947 | 2618538.8767 | 1125954.5089 | 2618544.1365 | 1125958.3935 | 2618545.1623 | 1125959.5359
32 | 2618483.2318 | 1125936.6526 | 2618448.3876 | 1125926.3593
33 | 2618595.1209 | 1125920.0863 | 2618624.919 | 1125924.3575 | 2618634.1987 | 1125926.7761 | 2618663.5775 | 1125940.0972
34 | 2618761.0849 | 1125858.4112 | 2618781.0779 | 1125888.1432 | 2618791.7647 | 1125899.0928 | 2618810.0988 | 1125911.9337 | 2618819.1211 | 1125915.33 | 2618844.1224 | 1125921.3657
35 | 2618761.0849 | 1125858.4112 | 2618764.932 | 1125858.034 | 2618781.2207 | 1125871.8912 | 2618784.5226 | 1125873.3466 | 2618788.2426 | 1125874.1807 | 2618803.5799 | 1125873.8294
36 | 2618761.0849 | 1125858.4112 | 2618663.5775 | 1125940.0972
37 | 2618895.9623 | 1125933.8806 | 2618844.1224 | 1125921.3657
38 | 2618819.8753 | 1125873.4562 | 2618803.5799 | 1125873.8294
39 | 2618562.011 | 1125977.9911 | 2618550.673 | 1125965.6726 | 2618545.1623 | 1125959.5359
40 | 2618448.3876 | 1125926.3593 | 2618427.8001 | 1125920.2775
41 | 2618562.011 | 1125977.9911 | 2618600.4497 | 1125996.9626 | 2618610.4637 | 1125999.6982
42 | 2618395.1719 | 1125910.6389 | 2618427.8001 | 1125920.2775
43 | 2618395.1719 | 1125910.6389 | 2618385.5593 | 1125913.7557 | 2618368.1993 | 1125912.3692 | 2618365.0987 | 1125913.1379 | 2618364.0583 | 1125915.6471 | 2618365.1819 | 1125918.7409 | 2618367.4483 | 1125921.1268 | 2618386.1156 | 1125933.645 | 2618401.9055 | 1125941.9303 | 2618404.4758 | 1125945.7622 | 2618405.1956 | 1125949.833 | 2618404.462 | 1125952.8656 | 2618401.2773 | 1125955.9241 | 2618397.2081 | 1125958.413 | 2618382.2416 | 1125962.6772
44 | 2618395.1719 | 1125910.6389 | 2618375.9797 | 1125906.0007 | 2618355.9593 | 1125902.5162 | 2618315.6223 | 1125898.3329
45 | 2618375.5251 | 1125964.5908 | 2618382.2416 | 1125962.6772
46 | 2618291.9905 | 1125889.4722 | 2618294.1306 | 1125892.8581 | 2618297.3462 | 1125894.8465 | 2618302.7425 | 1125896.9972 | 2618315.6223 | 1125898.3329
47 | 2618375.5251 | 1125964.5908 | 2618374.2206 | 1125964.9625
48 | 2618291.9905 | 1125889.4722 | 2618291.9303 | 1125883.8804 | 2618293.5807 | 1125880.9617 | 2618296.8774 | 1125879.0818 | 2618301.7881 | 1125878.6742 | 2618308.3815 | 1125880.0058 | 2618325.526 | 1125883.8706 | 2618331.9382 | 1125883.9567 | 2618349.2832 | 1125882.6751 | 2618390.8523 | 1125873.6965 | 2618427.276 | 1125866.2923
49 | 2618362.9505 | 1125968.0343 | 2618373.6195 | 1125965.1337 | 2618374.2206 | 1125964.9625
50 | 2618427.276 | 1125866.2923 | 2618435.5962 | 1125864.5994
51 | 2618343.0635 | 1125971.0249 | 2618346.9326 | 1125971.8563 | 2618352.4321 | 1125970.6983
52 | 2618362.9505 | 1125968.0343 | 2618355.624 | 1125970.0261 | 2618352.4321 | 1125970.6983
53 | 2618493.2291 | 1125853.9097 | 2618476.6945 | 1125856.2376 | 2618435.5962 | 1125864.5994
54 | 2618821.6159 | 1125820.0137 | 2618828.4366 | 1125824.2474 | 2618838.8517 | 1125833.3509 | 2618838.8517 | 1125833.3509
55 | 2618838.8517 | 1125833.3509 | 2618928.6218 | 1125824.8149
56 | 2618803.7523 | 1125810.882 | 2618812.7594 | 1125814.5162 | 2618821.6159 | 1125820.0137
57 | 2618928.6218 | 1125824.8149 | 2618942.4026 | 1125827.2258 | 2618951.4356 | 1125833.9633
58 | 2618895.9623 | 1125933.8806 | 2618968.1976 | 1125862.5489
59 | 2618958.8496 | 1125842.1289 | 2618954.9747 | 1125836.603 | 2618951.4356 | 1125833.9633
60 | 2618958.8496 | 1125842.1289 | 2618961.4124 | 1125845.7832 | 2618968.1976 | 1125862.5489
61 | 2618968.1976 | 1125862.5489 | 2618969.1829 | 1125864.9836
62 | 2619026.0355 | 1125947.2243 | 2619029.2411 | 1125957.2281 | 2619044.3564 | 1125968.9813 | 2619044.5858 | 1125971.3437
63 | 2619026.0355 | 1125947.2243 | 2618995.6795 | 1125893.9402
64 | 2619026.0355 | 1125947.2243 | 2619051.7264 | 1125956.087 | 2619139.5279 | 1125958.8865
65 | 2619045.5728 | 1125981.507 | 2619044.5858 | 1125971.3437
66 | 2618988.0489 | 1125884.2748 | 2618993.4544 | 1125889.1603 | 2618995.6795 | 1125893.9402
67 | 2619159.5124 | 1125959.5236 | 2619139.5279 | 1125958.8865
68 | 2618969.1829 | 1125864.9836 | 2618969.1829 | 1125864.9836 | 2618974.1983 | 1125870.5842
69 | 2619339.2688 | 1126028.3104 | 2619326.982 | 1126032.3284 | 2619310.8604 | 1126031.8546 | 2619301.6279 | 1126028.5647
70 | 2619293.0261 | 1126024.6721 | 2619294.2398 | 1126025.9321 | 2619301.6279 | 1126028.5647
71 | 2619293.0261 | 1126024.6721 | 2619281.6725 | 1126012.908
72 | 2619293.0261 | 1126024.6721 | 2619291.1217 | 1126029.7463 | 2619288.2108 | 1126033.8502 | 2619285.7701 | 1126036.3796
73 | 2619276.3816 | 1125968.058 | 2619273.6506 | 1125971.3176 | 2619270.7233 | 1125978.1561 | 2619269.9485 | 1125986.7356 | 2619271.3987 | 1125993.6103 | 2619275.3998 | 1126002.9498 | 2619281.6725 | 1126012.908
74 | 2619285.7701 | 1126036.3796 | 2619283.5481 | 1126038.6822 | 2619266.7692 | 1126048.6227 | 2619266.3558 | 1126050.1666 | 2619265.9732 | 1126056.0048
75 | 2619276.3816 | 1125968.058 | 2619258.8646 | 1125967.6577 | 2619255.7554 | 1125968.6706 | 2619253.8915 | 1125970.7323 | 2619251.503 | 1125975.3604 | 2619247.0145 | 1125988.4304 | 2619244.6949 | 1126002.9524
76 | 2619279.8862 | 1125963.8782 | 2619276.3816 | 1125968.058
77 | 2619265.2624 | 1126066.8491 | 2619265.9732 | 1126056.0048
78 | 2619279.8862 | 1125963.8782 | 2619198.247 | 1125960.7622 | 2619190.0705 | 1125960.5029
79 | 2619279.8862 | 1125963.8782 | 2619283.0987 | 1125964.6262
80 | 2619190.0705 | 1125960.5029 | 2619172.2882 | 1125951.3484
81 | 2619184.4372 | 1125960.3183 | 2619190.0705 | 1125960.5029
82 | 2619283.0987 | 1125964.6262 | 2619316.9607 | 1125972.5115 | 2619318.1254 | 1125972.7044
83 | 2619320.5875 | 1125973.1124 | 2619318.1254 | 1125972.7044
84 | 2619184.4372 | 1125960.3183 | 2619159.5124 | 1125959.5236
85 | 2619184.4372 | 1125960.3183 | 2619184.5264 | 1125978.1377
86 | 2619285.4751 | 1126099.1164 | 2619276.7384 | 1126098.2788 | 2619241.416 | 1126091.4633 | 2619231.4941 | 1126089.9978 | 2619214.6508 | 1126088.6993 | 2619203.4988 | 1126086.2962 | 2619190.7018 | 1126080.0749 | 2619185.7519 | 1126075.8349 | 2619184.4285 | 1126070.2724 | 2619184.4552 | 1126068.4229
87 | 2619184.6905 | 1126052.0949 | 2619184.4552 | 1126068.4229
88 | 2619184.6905 | 1126052.0949 | 2619184.8433 | 1126041.4929 | 2619184.8125 | 1126035.3376
89 | 2619184.8125 | 1126035.3376 | 2619184.7111 | 1126015.0725
90 | 2619184.5994 | 1125992.7339 | 2619184.7111 | 1126015.0725
91 | 2619184.5264 | 1125978.1377 | 2619184.5994 | 1125992.7339
92 | 2619050.0605 | 1126032.5083 | 2619048.9253 | 1126030.7705 | 2619046.2314 | 1126022.2801 | 2619048.0087 | 1125998.6963 | 2619046.1706 | 1125987.6629 | 2619045.5728 | 1125981.507
93 | 2618984.044 | 1125880.655 | 2618988.0489 | 1125884.2748
94 | 2618984.044 | 1125880.655 | 2618979.7051 | 1125876.7334 | 2618978.6926 | 1125875.6027
95 | 2618974.1983 | 1125870.5842 | 2618978.6926 | 1125875.6027
96 | 2619058.028 | 1126059.9913 | 2619055.7057 | 1126041.1525 | 2619050.0605 | 1126032.5083
97 | 2619050.0605 | 1126032.5083 | 2619035.5892 | 1126048.8931 | 2619016.6751 | 1126066.3229
98 | 2619007.2423 | 1126076.1288 | 2619015.9567 | 1126066.9849 | 2619016.6751 | 1126066.3229

## bus_geodata
| x | y | coords
0 | 2619571.6922 | 1125687.4883
1 | 2619552.1944 | 1125691.1058
2 | 2619587.3735 | 1125686.9167
3 | 2619499.9449 | 1125696.1808
4 | 2619497.4779 | 1125696.3529
5 | 2619450.7078 | 1125687.1205
6 | 2619490.8915 | 1125699.7237
7 | 2619565.9644 | 1125638.422
8 | 2619429.324 | 1125692.0495
9 | 2619459.3651 | 1125737.0061
10 | 2619591.7165 | 1125627.7453
11 | 2619422.447 | 1125693.8672
12 | 2619422.4075 | 1125693.8776
13 | 2619393.5355 | 1125703.6098
14 | 2619376.9319 | 1125707.2467
15 | 2619598.5931 | 1125624.4321
16 | 2619283.3923 | 1125736.2217
17 | 2619644.4364 | 1125608.1502
18 | 2619252.9767 | 1125732.0675
19 | 2619281.2171 | 1125807.5968
20 | 2619154.0467 | 1125831.1056
21 | 2619090.0571 | 1125714.551
22 | 2619295.4181 | 1125798.4906
23 | 2619153.9484 | 1125831.9071
24 | 2618982.4754 | 1125789.8455
25 | 2618964.0844 | 1125836.6982
26 | 2619567.7506 | 1125542.9989
27 | 2618536.398 | 1125914.6903
28 | 2618521.1299 | 1125922.409
29 | 2618569.1689 | 1125911.3251
30 | 2618483.2318 | 1125936.6526
31 | 2618595.1209 | 1125920.0863
32 | 2618761.0849 | 1125858.4112
33 | 2618844.1224 | 1125921.3657
34 | 2618803.5799 | 1125873.8294
35 | 2618663.5775 | 1125940.0972
36 | 2618545.1623 | 1125959.5358
37 | 2618448.3876 | 1125926.3593
38 | 2618562.011 | 1125977.9911
39 | 2618427.8001 | 1125920.2775
40 | 2618610.4637 | 1125999.6982
41 | 2618395.1719 | 1125910.6389
42 | 2618382.2416 | 1125962.6772
43 | 2618315.6223 | 1125898.3329
44 | 2618375.5251 | 1125964.5908
45 | 2618291.9905 | 1125889.4722
46 | 2618374.2206 | 1125964.9625
47 | 2618427.276 | 1125866.2923
48 | 2618343.0635 | 1125971.0249
49 | 2618352.4321 | 1125970.6983
50 | 2618362.9505 | 1125968.0343
51 | 2618435.5962 | 1125864.5994
52 | 2618493.2291 | 1125853.9097
53 | 2618838.8517 | 1125833.3509
54 | 2618821.6159 | 1125820.0137
55 | 2618928.6218 | 1125824.8149
56 | 2618895.9623 | 1125933.8806
57 | 2618819.8753 | 1125873.4562
58 | 2618803.7523 | 1125810.882
59 | 2618951.4356 | 1125833.9633
60 | 2618958.8496 | 1125842.1289
61 | 2618968.1976 | 1125862.5489
62 | 2619026.0355 | 1125947.2243
63 | 2619044.5858 | 1125971.3437
64 | 2618995.6795 | 1125893.9402
65 | 2619139.5279 | 1125958.8865
66 | 2618969.1829 | 1125864.9836
67 | 2619339.2688 | 1126028.3104
68 | 2619301.6279 | 1126028.5647
69 | 2619293.0261 | 1126024.6721
70 | 2619281.6725 | 1126012.908
71 | 2619285.7701 | 1126036.3796
72 | 2619276.3816 | 1125968.058
73 | 2619265.9732 | 1126056.0048
74 | 2619244.6949 | 1126002.9524
75 | 2619279.8862 | 1125963.8782
76 | 2619265.2624 | 1126066.8491
77 | 2619190.0705 | 1125960.5029
78 | 2619283.0987 | 1125964.6262
79 | 2619320.5875 | 1125973.1124
80 | 2619318.1254 | 1125972.7044
81 | 2619172.2882 | 1125951.3484
82 | 2619184.4372 | 1125960.3183
83 | 2619285.4751 | 1126099.1164
84 | 2619184.4552 | 1126068.4229
85 | 2619184.6905 | 1126052.0949
86 | 2619184.8125 | 1126035.3376
87 | 2619184.7111 | 1126015.0725
88 | 2619184.5994 | 1125992.7339
89 | 2619159.5124 | 1125959.5236
90 | 2619184.5264 | 1125978.1377
91 | 2619045.5728 | 1125981.507
92 | 2618988.0489 | 1125884.2747
93 | 2618984.044 | 1125880.655
94 | 2618978.6926 | 1125875.6027
95 | 2618974.1983 | 1125870.5842
96 | 2619050.0605 | 1126032.5083
97 | 2619058.028 | 1126059.9913
98 | 2619016.6751 | 1126066.3229
99 | 2619007.2423 | 1126076.1288
100 | 2618761.0849 | 1125858.4112

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1