## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_613-1_1_3_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_613-1_1_3_node_16 | 0.4 | n |  | TRUE
2 | bus_LV_613-1_1_3_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_613-1_1_3_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_613-1_1_3_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_613-1_1_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_613-1_1_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_613-1_1_3_node_280 | 0.4 | n |  | TRUE
8 | bus_LV_613-1_1_3_node_85 | 0.4 | n |  | TRUE
9 | bus_LV_613-1_1_3_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_613-1_1_3_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_613-1_1_3_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_613-1_1_3_node_94 | 0.4 | n |  | TRUE
13 | bus_LV_613-1_1_3_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_613-1_1_3_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_613-1_1_3_node_86 | 0.4 | n |  | TRUE
16 | bus_LV_613-1_1_3_node_106 | 0.4 | n |  | TRUE
17 | bus_LV_613-1_1_3_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_613-1_1_3_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_613-1_1_3_node_89 | 0.4 | n |  | TRUE
20 | bus_LV_613-1_1_3_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_613-1_1_3_node_91 | 0.4 | n |  | TRUE
22 | bus_LV_613-1_1_3_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_613-1_1_3_node_112 | 0.4 | n |  | TRUE
24 | bus_LV_613-1_1_3_node_122 | 0.4 | n |  | TRUE
25 | bus_LV_613-1_1_3_node_121 | 0.4 | n |  | TRUE
26 | bus_LV_613-1_1_3_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_613-1_1_3_node_95 | 0.4 | n |  | TRUE
28 | bus_LV_613-1_1_3_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_613-1_1_3_node_97 | 0.4 | n |  | TRUE
30 | bus_LV_613-1_1_3_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_613-1_1_3_node_105 | 0.4 | n |  | TRUE
32 | bus_LV_613-1_1_3_node_120 | 0.4 | n |  | TRUE
33 | bus_LV_613-1_1_3_node_99 | 0.4 | n |  | TRUE
34 | bus_LV_613-1_1_3_node_155 | 0.4 | n |  | TRUE
35 | bus_LV_613-1_1_3_node_142 | 0.4 | n |  | TRUE
36 | bus_LV_613-1_1_3_node_100 | 0.4 | n |  | TRUE
37 | bus_LV_613-1_1_3_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_613-1_1_3_node_104 | 0.4 | n |  | TRUE
39 | bus_LV_613-1_1_3_node_107 | 0.4 | n |  | TRUE
40 | bus_LV_613-1_1_3_node_108 | 0.4 | n |  | TRUE
41 | bus_LV_613-1_1_3_node_127 | 0.4 | n |  | TRUE
42 | bus_LV_613-1_1_3_node_125 | 0.4 | n |  | TRUE
43 | bus_LV_613-1_1_3_node_109 | 0.4 | n |  | TRUE
44 | bus_LV_613-1_1_3_node_110 | 0.4 | n |  | TRUE
45 | bus_LV_613-1_1_3_node_111 | 0.4 | n |  | TRUE
46 | bus_LV_613-1_1_3_node_113 | 0.4 | n |  | TRUE
47 | bus_LV_613-1_1_3_node_114 | 0.4 | n |  | TRUE
48 | bus_LV_613-1_1_3_node_123 | 0.4 | n |  | TRUE
49 | bus_LV_613-1_1_3_node_183 | 0.4 | n |  | TRUE
50 | bus_LV_613-1_1_3_node_115 | 0.4 | n |  | TRUE
51 | bus_LV_613-1_1_3_node_116 | 0.4 | n |  | TRUE
52 | bus_LV_613-1_1_3_node_117 | 0.4 | n |  | TRUE
53 | bus_LV_613-1_1_3_node_119 | 0.4 | n |  | TRUE
54 | bus_LV_613-1_1_3_node_118 | 0.4 | n |  | TRUE
55 | bus_LV_613-1_1_3_node_124 | 0.4 | n |  | TRUE
56 | bus_LV_613-1_1_3_node_156 | 0.4 | n |  | TRUE
57 | bus_LV_613-1_1_3_node_135 | 0.4 | n |  | TRUE
58 | bus_LV_613-1_1_3_node_136 | 0.4 | n |  | TRUE
59 | bus_LV_613-1_1_3_node_137 | 0.4 | n |  | TRUE
60 | bus_LV_613-1_1_3_node_150 | 0.4 | n |  | TRUE
61 | bus_LV_613-1_1_3_node_138 | 0.4 | n |  | TRUE
62 | bus_LV_613-1_1_3_node_139 | 0.4 | n |  | TRUE
63 | bus_LV_613-1_1_3_node_140 | 0.4 | n |  | TRUE
64 | bus_LV_613-1_1_3_node_141 | 0.4 | n |  | TRUE
65 | bus_LV_613-1_1_3_node_143 | 0.4 | n |  | TRUE
66 | bus_LV_613-1_1_3_node_157 | 0.4 | n |  | TRUE
67 | bus_LV_613-1_1_3_node_151 | 0.4 | n |  | TRUE
68 | bus_LV_613-1_1_3_node_160 | 0.4 | n |  | TRUE
69 | bus_LV_613-1_1_3_node_144 | 0.4 | n |  | TRUE
70 | bus_LV_613-1_1_3_node_158 | 0.4 | n |  | TRUE
71 | bus_LV_613-1_1_3_node_145 | 0.4 | n |  | TRUE
72 | bus_LV_613-1_1_3_node_284 | 0.4 | n |  | TRUE
73 | bus_LV_613-1_1_3_node_146 | 0.4 | n |  | TRUE
74 | bus_LV_613-1_1_3_node_147 | 0.4 | n |  | TRUE
75 | bus_LV_613-1_1_3_node_149 | 0.4 | n |  | TRUE
76 | bus_LV_613-1_1_3_node_185 | 0.4 | n |  | TRUE
77 | bus_LV_613-1_1_3_node_159 | 0.4 | n |  | TRUE
78 | bus_LV_613-1_1_3_node_161 | 0.4 | n |  | TRUE
79 | bus_LV_613-1_1_3_node_192 | 0.4 | n |  | TRUE
80 | bus_LV_613-1_1_3_node_184 | 0.4 | n |  | TRUE
81 | bus_LV_613-1_1_3_node_193 | 0.4 | n |  | TRUE
82 | bus_MV_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_613-1_1_3_load_15 | 0 | 0.0023138 | 0.0005799 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_613-1_1_3_load_17 | 2 | 0.0031267 | 0.00078363 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_613-1_1_3_load_18 | 4 | 0.0015051 | 0.00037722 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_613-1_1_3_load_280 | 7 | 0.00062686 | 0.00015711 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_613-1_1_3_load_80 | 9 | 0.0012999 | 0.00032579 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_613-1_1_3_load_81 | 10 | 0.00014552 | 3.647e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_613-1_1_3_load_82 | 11 | 0.00014342 | 3.5943e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_613-1_1_3_load_83 | 13 | 0.0013578 | 0.0003403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_613-1_1_3_load_84 | 14 | 0.0039755 | 0.00099635 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_613-1_1_3_load_106 | 16 | 0.00025259 | 6.3305e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_613-1_1_3_load_87 | 17 | 0.00045257 | 0.00011342 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_613-1_1_3_load_88 | 18 | 0.00012062 | 3.0229e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_613-1_1_3_load_90 | 20 | 0.0002898 | 7.2631e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_613-1_1_3_load_91 | 21 | 0.00030003 | 7.5194e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_613-1_1_3_load_121 | 25 | 0.0003311 | 8.2981e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_613-1_1_3_load_93 | 26 | 0.00033318 | 8.3503e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_613-1_1_3_load_105 | 31 | 0.00014465 | 3.6253e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_613-1_1_3_load_120 | 32 | 0.0011109 | 0.00027842 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_613-1_1_3_load_99 | 33 | 0.00011668 | 2.9242e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_613-1_1_3_load_155 | 34 | 0.00020526 | 5.1444e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_613-1_1_3_load_102 | 37 | 0.00013699 | 3.4334e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_613-1_1_3_load_104 | 38 | 0.00029018 | 7.2725e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_613-1_1_3_load_107 | 39 | 0.00025581 | 6.4112e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_613-1_1_3_load_127 | 41 | 0.00094175 | 0.00023602 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_613-1_1_3_load_109 | 43 | 0.00047088 | 0.00011801 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_613-1_1_3_load_114 | 47 | 0.0011484 | 0.00028781 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_613-1_1_3_load_183 | 49 | 0.0013705 | 0.00034347 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_613-1_1_3_load_115 | 50 | 0.00090468 | 0.00022673 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_613-1_1_3_load_117 | 52 | 0.0012122 | 0.00030381 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_613-1_1_3_load_118 | 54 | 0.00011322 | 2.8375e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_613-1_1_3_load_124 | 55 | 0.0004536 | 0.00011368 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_613-1_1_3_load_156 | 56 | 0.00025404 | 6.3669e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_613-1_1_3_load_135 | 57 | 0.00079549 | 0.00019937 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_613-1_1_3_load_137 | 59 | 0.00014904 | 3.7353e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_613-1_1_3_load_150 | 60 | 0.0001348 | 3.3784e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_613-1_1_3_load_138 | 61 | 0.0010413 | 0.00026098 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_613-1_1_3_load_139 | 62 | 0.00017376 | 4.3549e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_613-1_1_3_load_157 | 66 | 0.00010225 | 2.5627e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_613-1_1_3_load_160 | 68 | 0.00025272 | 6.3339e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_613-1_1_3_load_158 | 70 | 0.00062451 | 0.00015652 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_613-1_1_3_load_284 | 72 | 0.00012403 | 3.1085e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_613-1_1_3_load_146 | 73 | 0.00021863 | 5.4793e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_613-1_1_3_load_147 | 74 | 0.00086061 | 0.00021569 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_613-1_1_3_load_185 | 76 | 0.00030203 | 7.5696e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_613-1_1_3_load_192 | 79 | 0.00035928 | 9.0043e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_613-1_1_3_load_193 | 81 | 0.00088511 | 0.00022183 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_613-1_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_613-1_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.027182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_613-1_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.027216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_613-1_1_3_line_3 | NAYY 4x150 SE | 3 | 6 | 0.010356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_613-1_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.03075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_613-1_1_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.019834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_613-1_1_3_line_6 | NAYY 4x150 SE | 5 | 8 | 0.26086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_613-1_1_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.001379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_613-1_1_3_line_8 | NAYY 4x150 SE | 8 | 15 | 0.24539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_613-1_1_3_line_9 | NAYY 4x150 SE | 8 | 13 | 0.017251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_613-1_1_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0065377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_613-1_1_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.013303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_613-1_1_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.014208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_613-1_1_3_line_13 | NAYY 4x150 SE | 12 | 28 | 0.033793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_613-1_1_3_line_14 | NAYY 4x150 SE | 12 | 29 | 0.043142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_613-1_1_3_line_15 | NAYY 4x150 SE | 12 | 26 | 0.037257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_613-1_1_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.0019652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_613-1_1_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.24759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_613-1_1_3_line_18 | NAYY 4x150 SE | 16 | 39 | 0.0080556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_613-1_1_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.015381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_613-1_1_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.00711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_613-1_1_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.021002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_613-1_1_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.012421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_613-1_1_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.15788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_613-1_1_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.023781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_613-1_1_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.26074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_613-1_1_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.011113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_613-1_1_3_line_27 | NAYY 4x150 SE | 23 | 48 | 0.17721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_613-1_1_3_line_28 | NAYY 4x150 SE | 23 | 44 | 0.017282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_613-1_1_3_line_29 | NAYY 4x150 SE | 24 | 55 | 0.027876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_613-1_1_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0061599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_613-1_1_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.40095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_613-1_1_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.03034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_613-1_1_3_line_33 | NAYY 4x150 SE | 28 | 32 | 0.012481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_613-1_1_3_line_34 | NAYY 4x150 SE | 29 | 33 | 0.0073805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_613-1_1_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.089316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_613-1_1_3_line_36 | NAYY 4x150 SE | 30 | 35 | 0.35698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_613-1_1_3_line_37 | NAYY 4x150 SE | 31 | 38 | 0.015084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_613-1_1_3_line_38 | NAYY 4x150 SE | 32 | 53 | 0.018356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_613-1_1_3_line_39 | NAYY 4x150 SE | 33 | 36 | 0.024271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_613-1_1_3_line_40 | NAYY 4x150 SE | 34 | 56 | 0.10583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_613-1_1_3_line_41 | NAYY 4x150 SE | 35 | 66 | 0.05539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_613-1_1_3_line_42 | NAYY 4x150 SE | 35 | 63 | 0.034226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_613-1_1_3_line_43 | NAYY 4x150 SE | 36 | 37 | 0.016601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_613-1_1_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0096444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_613-1_1_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.019959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_613-1_1_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.013527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_613-1_1_3_line_47 | NAYY 4x150 SE | 42 | 55 | 0.0099678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_613-1_1_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.001789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_613-1_1_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.019467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_613-1_1_3_line_50 | NAYY 4x150 SE | 44 | 46 | 0.36396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_613-1_1_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.007596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_613-1_1_3_line_52 | NAYY 4x150 SE | 46 | 49 | 0.039515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_613-1_1_3_line_53 | NAYY 4x150 SE | 48 | 56 | 0.088703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_613-1_1_3_line_54 | NAYY 4x150 SE | 49 | 80 | 0.020136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_613-1_1_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.097162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_613-1_1_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.019233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_613-1_1_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.027923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_613-1_1_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.009973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_613-1_1_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.048744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_613-1_1_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.010154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_613-1_1_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.014181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_613-1_1_3_line_62 | NAYY 4x150 SE | 60 | 67 | 0.0097731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_613-1_1_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.019166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_613-1_1_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.034585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_613-1_1_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.018075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_613-1_1_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.11049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_613-1_1_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.004604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_613-1_1_3_line_68 | NAYY 4x150 SE | 65 | 68 | 0.034242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_613-1_1_3_line_69 | NAYY 4x150 SE | 66 | 69 | 0.019054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_613-1_1_3_line_70 | NAYY 4x150 SE | 68 | 77 | 0.28782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_613-1_1_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.005623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_613-1_1_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.029275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_613-1_1_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.01003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_613-1_1_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.022916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_613-1_1_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.31706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_613-1_1_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.19991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_613-1_1_3_line_77 | NAYY 4x150 SE | 76 | 80 | 0.029081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_613-1_1_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.11174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_613-1_1_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.18185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_613-1_1_3_line_80 | NAYY 4x150 SE | 79 | 81 | 0.041887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_613-1_1_3_trafo_115 | 0.25 MVA 20/0.4 kV | 82 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38
0 | 2620120.2611 | 1199544.431 | 2620127.2419 | 1199549.1459 | 2620129.5116 | 1199555.6459 | 2620130.8185 | 1199563.2322 | 2620138.4059 | 1199566.3816 | 2620143.4754 | 1199566.6432 | 2620144.8981 | 1199566.7195
1 | 2620120.2611 | 1199544.431 | 2620122.7897 | 1199539.6147 | 2620122.4537 | 1199533.11 | 2620117.2667 | 1199531.5362 | 2620107.8235 | 1199528.8864
2 | 2620083.0361 | 1199518.3031 | 2620096.1663 | 1199525.929 | 2620100.7462 | 1199526.9005 | 2620107.8235 | 1199528.8864
3 | 2620083.0361 | 1199518.3031 | 2620078.5434 | 1199527.6376
4 | 2620055.9412 | 1199527.1616 | 2620068.2693 | 1199517.3976 | 2620076.4031 | 1199516.5911 | 2620083.0361 | 1199518.3031
5 | 2620055.9412 | 1199527.1616 | 2620067.5192 | 1199536.7834 | 2620071.564 | 1199539.3312
6 | 2619962.9708 | 1199738.6991 | 2619965.012 | 1199729.2897 | 2619966.4487 | 1199723.1023 | 2619968.9262 | 1199715.2618 | 2619969.689 | 1199712.5296 | 2619968.4261 | 1199684.877 | 2619968.8454 | 1199680.1314 | 2619970.0473 | 1199675.8442 | 2619971.5576 | 1199672.692 | 2619974.5674 | 1199669.6337 | 2619983.6718 | 1199663.0382 | 2620001.6885 | 1199645.8446 | 2620007.8082 | 1199639.406 | 2620011.8931 | 1199633.5609 | 2620013.9544 | 1199629.5656 | 2620015.2399 | 1199625.3343 | 2620015.5884 | 1199619.0098 | 2620015.9577 | 1199611.0067 | 2620014.9032 | 1199593.9606 | 2620014.4597 | 1199589.9792 | 2620013.7489 | 1199586.2415 | 2620011.5906 | 1199580.5312 | 2620008.3909 | 1199574.3505 | 2620005.5395 | 1199568.7046 | 2620004.7756 | 1199564.9222 | 2620004.9474 | 1199561.3653 | 2620006.3961 | 1199558.4352 | 2620008.4589 | 1199556.252 | 2620031.9964 | 1199541.1336 | 2620050.2175 | 1199531.2558 | 2620055.9412 | 1199527.1616
7 | 2620078.5434 | 1199527.6376 | 2620077.9454 | 1199528.8807
8 | 2619928.5124 | 1199949.7988 | 2619940.3861 | 1199945.9029 | 2619947.6895 | 1199942.7699 | 2619955.271 | 1199938.4372 | 2619959.7996 | 1199934.1833 | 2619964.2134 | 1199927.7946 | 2619967.8315 | 1199920.347 | 2619969.3579 | 1199916.8947 | 2619971.3047 | 1199908.3855 | 2619977.797 | 1199883.7048 | 2619979.8194 | 1199877.6416 | 2619982.2263 | 1199872.7137 | 2619989.4617 | 1199860.3533 | 2619992.1287 | 1199855.026 | 2619993.3325 | 1199850.1718 | 2619994.0096 | 1199843.4593 | 2619994.0019 | 1199836.6667 | 2619992.582 | 1199828.7021 | 2619989.3041 | 1199818.5968 | 2619980.5864 | 1199796.0556 | 2619977.1611 | 1199789.0515 | 2619970.1228 | 1199776.5323 | 2619965.1482 | 1199768.378 | 2619962.4613 | 1199763.6554 | 2619961.2304 | 1199758.3706 | 2619961.2509 | 1199752.2341 | 2619962.9708 | 1199738.6991
9 | 2619962.9708 | 1199738.6991 | 2619980.2215 | 1199738.6414
10 | 2619535.4151 | 1199528.9393 | 2619541.7056 | 1199530.7206
11 | 2619541.7056 | 1199530.7206 | 2619541.7056 | 1199530.7206 | 2619552.4375 | 1199538.582 | 2619552.4375 | 1199538.582
12 | 2619558.2116 | 1199551.5635 | 2619552.4375 | 1199538.582
13 | 2619558.2116 | 1199551.5635 | 2619572.6413 | 1199576.424 | 2619577.1176 | 1199578.8177
14 | 2619583.7965 | 1199517.6175 | 2619578.8382 | 1199529.908 | 2619571.387 | 1199538.555 | 2619558.2116 | 1199551.5635
15 | 2619558.2116 | 1199551.5635 | 2619551.7566 | 1199560.5806 | 2619545.9738 | 1199571.2453 | 2619541.6233 | 1199584.5899
16 | 2619980.2215 | 1199738.6414 | 2619982.1867 | 1199738.6348
17 | 2619928.5124 | 1199949.7988 | 2619903.6254 | 1199947.815 | 2619866.476 | 1199945.2571 | 2619833.7998 | 1199945.9603 | 2619811.3276 | 1199950.3662 | 2619772.8819 | 1199966.926 | 2619752.0416 | 1199970.5259 | 2619737.3255 | 1199975.3578 | 2619703.3819 | 1199991.1213 | 2619691.0399 | 1199997.4787
18 | 2619691.0399 | 1199997.4787 | 2619683.8786 | 1200001.1676
19 | 2619515.9152 | 1200271.7509 | 2619518.1965 | 1200286.9613
20 | 2619514.8606 | 1200264.7195 | 2619515.9152 | 1200271.7509
21 | 2619518.1965 | 1200286.9613 | 2619519.3681 | 1200294.7727 | 2619517.1329 | 1200307.6837
22 | 2619514.8606 | 1200264.7195 | 2619526.7004 | 1200268.5824
23 | 2619514.8606 | 1200264.7195 | 2619496.9516 | 1200245.1284 | 2619468.8263 | 1200216.288 | 2619460.7268 | 1200206.8899 | 2619454.7642 | 1200198.1658 | 2619452.1563 | 1200192.4988 | 2619450.8831 | 1200186.0356 | 2619451.1498 | 1200178.9326 | 2619452.6183 | 1200172.1114 | 2619456.8751 | 1200162.2866 | 2619463.1397 | 1200150.734 | 2619474.7227 | 1200137.6757
24 | 2619513.0762 | 1200331.1164 | 2619517.1329 | 1200307.6837
25 | 2619637.9217 | 1200025.5251 | 2619622.2941 | 1200027.5084 | 2619605.2363 | 1200031.5103 | 2619563.8076 | 1200036.3775 | 2619544.5473 | 1200041.1617 | 2619534.3813 | 1200042.118 | 2619524.6145 | 1200042.0751 | 2619518.8544 | 1200041.2447 | 2619508.8462 | 1200038.166 | 2619502.0373 | 1200036.8209 | 2619495.8791 | 1200036.6897 | 2619489.3279 | 1200038.0247 | 2619483.7083 | 1200040.8302 | 2619477.7838 | 1200046.0804 | 2619473.8704 | 1200050.9259 | 2619471.6552 | 1200055.5879 | 2619470.8621 | 1200063.0449 | 2619471.41 | 1200070.1172 | 2619472.801 | 1200077.8036 | 2619478.6795 | 1200103.0586 | 2619480.9335 | 1200121.5982 | 2619480.3497 | 1200127.8886 | 2619478.1703 | 1200133.2511 | 2619474.7227 | 1200137.6757
26 | 2619474.7227 | 1200137.6757 | 2619470.3964 | 1200131.3582 | 2619469.3814 | 1200128.0544
27 | 2619513.0762 | 1200331.1164 | 2619509.7409 | 1200324.4352 | 2619506.2167 | 1200319.6878 | 2619501.3483 | 1200316.2701 | 2619458.4739 | 1200300.5223 | 2619427.7881 | 1200284.2806 | 2619415.4491 | 1200274.7132 | 2619408.4452 | 1200267.8312 | 2619402.1671 | 1200257.8055 | 2619398.5246 | 1200249.567 | 2619396.49 | 1200240.8001 | 2619395.0645 | 1200229.6672 | 2619394.8573 | 1200218.416
28 | 2619513.0762 | 1200331.1164 | 2619530.3915 | 1200331.8843
29 | 2619637.9217 | 1200025.5251 | 2619643.1132 | 1200027.9657 | 2619651.598 | 1200028.9607 | 2619664.1176 | 1200025.3109 | 2619664.6469 | 1200025.1412
30 | 2619539.714 | 1199590.4464 | 2619541.6233 | 1199584.5899
31 | 2619376.0581 | 1199949.0537 | 2619376.2631 | 1199944.4964 | 2619375.0437 | 1199914.3205 | 2619374.7797 | 1199908.8723 | 2619375.1204 | 1199902.3699 | 2619377.3233 | 1199892.0825 | 2619390.4417 | 1199856.3389 | 2619394.3572 | 1199848.514 | 2619397.5592 | 1199842.41 | 2619405.2217 | 1199831.7846 | 2619416.046 | 1199818.0566 | 2619427.6992 | 1199802.3081 | 2619436.8134 | 1199787.7409 | 2619444.9039 | 1199774.3043 | 2619462.0441 | 1199742.7873 | 2619477.1952 | 1199714.3211 | 2619506.4428 | 1199654.0391 | 2619515.1768 | 1199637.1473 | 2619529.7706 | 1199611.6477 | 2619539.714 | 1199590.4464
32 | 2619577.1176 | 1199578.8177 | 2619583.186 | 1199583.2622 | 2619588.1118 | 1199590.2598 | 2619591.6903 | 1199604.0646
33 | 2619577.1176 | 1199578.8177 | 2619581.845 | 1199576.6208 | 2619588.6957 | 1199574.192
34 | 2619583.7965 | 1199517.6175 | 2619590.8613 | 1199519.7532
35 | 2619376.0581 | 1199949.0537 | 2619375.1963 | 1199954.2204 | 2619373.7332 | 1199959.3851 | 2619370.1901 | 1199972.1361 | 2619363.1224 | 1199994.3031 | 2619352.3689 | 1200023.9289 | 2619349.6271 | 1200034.2634
36 | 2619066.8941 | 1199770.5769 | 2619376.0581 | 1199949.0537
37 | 2619591.6903 | 1199604.0646 | 2619595.4755 | 1199618.6664
38 | 2619606.942 | 1199573.1343 | 2619590.3893 | 1199573.5916 | 2619588.6957 | 1199574.192
39 | 2619612.8716 | 1199529.2856 | 2619605.6935 | 1199524.2371 | 2619590.8613 | 1199519.7532
40 | 2619349.6271 | 1200034.2634 | 2619348.9858 | 1200036.6804 | 2619347.8848 | 1200047.5827 | 2619347.9892 | 1200062.4133 | 2619349.756 | 1200076.3377 | 2619354.2476 | 1200090.4154 | 2619361.5174 | 1200106.9701 | 2619374.2096 | 1200129.8679 | 2619376.1416 | 1200133.9007
41 | 2619066.8941 | 1199770.5769 | 2619062.2858 | 1199761.7574 | 2619057.0802 | 1199749.2675 | 2619054.004 | 1199739.8637 | 2619051.0257 | 1199735.5853 | 2619048.4593 | 1199733.4537 | 2619049.7628 | 1199728.1217 | 2619048.9285 | 1199722.3603 | 2619048.186 | 1199720.3381
42 | 2619033.4275 | 1199777.7522 | 2619045.3546 | 1199776.1003 | 2619061.9054 | 1199771.2614 | 2619066.8941 | 1199770.5769
43 | 2619612.8716 | 1199529.2856 | 2619614.6898 | 1199520.3867 | 2619613.1127 | 1199513.0353
44 | 2619679.706 | 1200009.7648 | 2619683.5019 | 1200001.3616 | 2619683.8786 | 1200001.1676
45 | 2619679.706 | 1200009.7648 | 2619671.4902 | 1200003.3565 | 2619667.6218 | 1200003.6996 | 2619664.13 | 1200002.9655 | 2619662.1328 | 1200002.3557
46 | 2619674.1387 | 1200022.0976 | 2619679.706 | 1200009.7648
47 | 2619674.1387 | 1200022.0976 | 2619664.6469 | 1200025.1412
48 | 2619530.3915 | 1200331.8843 | 2619531.9481 | 1200331.0024
49 | 2619548.8855 | 1200321.4056 | 2619531.9481 | 1200331.0024
50 | 2619210.6666 | 1200477.5077 | 2619216.0807 | 1200474.5568 | 2619230.0637 | 1200469.9214 | 2619242.6809 | 1200466.3155 | 2619259.2183 | 1200462.7222 | 2619278.3763 | 1200458.4704 | 2619290.4011 | 1200456.8415 | 2619299.6203 | 1200456.5266 | 2619309.2476 | 1200457.1579 | 2619322.0706 | 1200458.1998 | 2619335.8682 | 1200459.1782 | 2619342.7199 | 1200458.9335 | 2619349.6879 | 1200458.011 | 2619356.1779 | 1200456.609 | 2619364.8121 | 1200453.613 | 2619377.0415 | 1200447.5493 | 2619388.9732 | 1200439.4168 | 2619418.5623 | 1200418.0343 | 2619451.8517 | 1200389.4601 | 2619485.5531 | 1200363.0108 | 2619506.7861 | 1200350.5398 | 2619517.785 | 1200341.4373 | 2619530.3915 | 1200331.8843
51 | 2619550.957 | 1200314.0972 | 2619548.8855 | 1200321.4056
52 | 2619210.6666 | 1200477.5077 | 2619202.6204 | 1200482.3401 | 2619182.3911 | 1200497.8616 | 2619179.1152 | 1200501.1358
53 | 2619394.8573 | 1200218.416 | 2619396.8509 | 1200197.5334 | 2619396.6414 | 1200189.3505 | 2619395.8792 | 1200182.5888 | 2619394.3177 | 1200175.8356 | 2619391.0338 | 1200164.9858 | 2619376.1416 | 1200133.9007
54 | 2619164.8731 | 1200515.3706 | 2619179.1152 | 1200501.1358
55 | 2619634.6899 | 1199606.332 | 2619635.4969 | 1199611.0038 | 2619633.2407 | 1199623.4143 | 2619620.0166 | 1199646.6836 | 2619608.3135 | 1199677.4397 | 2619602.1155 | 1199691.716 | 2619598.6063 | 1199694.6464
56 | 2619634.6899 | 1199606.332 | 2619625.7907 | 1199603.8237 | 2619616.9349 | 1199599.2065
57 | 2619606.942 | 1199573.1343 | 2619612.362 | 1199587.2708 | 2619616.9289 | 1199599.2033 | 2619616.9349 | 1199599.2065
58 | 2619606.942 | 1199573.1343 | 2619616.8215 | 1199571.7727
59 | 2618882.9775 | 1199694.0645 | 2618868.1153 | 1199692.1388 | 2618855.8521 | 1199691.6667 | 2618844.0066 | 1199693.9418 | 2618839.5167 | 1199698.2411 | 2618837.8424 | 1199700.9762
60 | 2618882.9775 | 1199694.0645 | 2618892.7466 | 1199691.2959
61 | 2618906.3805 | 1199687.3943 | 2618896.5561 | 1199690.2163 | 2618892.7466 | 1199691.2959
62 | 2618915.7737 | 1199684.6961 | 2618906.3805 | 1199687.3943
63 | 2618999.928 | 1199773.252 | 2618994.9272 | 1199771.0487 | 2618983.5075 | 1199766.3322 | 2618982.6196 | 1199765.3203
64 | 2619033.4275 | 1199777.7522 | 2619023.8995 | 1199779.0782 | 2619009.8202 | 1199777.6105 | 2618999.928 | 1199773.252
65 | 2618971.1686 | 1199751.3628 | 2618974.5565 | 1199756.1316 | 2618982.6196 | 1199765.3203
66 | 2618919.2739 | 1199687.6977 | 2618923.096 | 1199680.3391 | 2618929.8861 | 1199675.7803 | 2618938.824 | 1199678.1542 | 2618946.6077 | 1199684.3822 | 2618948.4031 | 1199696.8057 | 2618950.7811 | 1199720.0258 | 2618957.6784 | 1199734.4999 | 2618966.4381 | 1199740.2196 | 2618967.4472 | 1199746.1259 | 2618971.1686 | 1199751.3628
67 | 2618915.7737 | 1199684.6961 | 2618919.2739 | 1199687.6977
68 | 2618919.2739 | 1199687.6977 | 2618918.8219 | 1199688.5745 | 2618915.5245 | 1199698.5361 | 2618910.6044 | 1199704.0125 | 2618905.0605 | 1199714.1783 | 2618904.4961 | 1199717.9575
69 | 2619032.8894 | 1199717.0732 | 2619036.6377 | 1199716.2402 | 2619040.3877 | 1199714.8625 | 2619044.2412 | 1199714.4412 | 2619046.8076 | 1199716.5838 | 2619048.186 | 1199720.3381
70 | 2618809.1403 | 1199977.2189 | 2618815.1243 | 1199967.3879 | 2618820.9364 | 1199958.9682 | 2618829.6526 | 1199949.3793 | 2618841.4222 | 1199937.1764 | 2618852.129 | 1199921.6349 | 2618860.9155 | 1199906.6989 | 2618865.907 | 1199892.9739 | 2618868.2059 | 1199876.0942 | 2618871.917 | 1199862.8765 | 2618883.5987 | 1199837.5663 | 2618903.8021 | 1199789.6929 | 2618911.3793 | 1199769.6615 | 2618913.0974 | 1199755.9373 | 2618911.2579 | 1199743.0023 | 2618907.2491 | 1199732.3061 | 2618903.7694 | 1199722.8233 | 2618904.4961 | 1199717.9575
71 | 2619032.8894 | 1199717.0732 | 2619034.2653 | 1199722.525
72 | 2619028.6003 | 1199701.2399 | 2619025.5589 | 1199707.2335 | 2619021.1957 | 1199717.0916 | 2619028.8261 | 1199716.4266 | 2619032.8894 | 1199717.0732
73 | 2619028.6003 | 1199701.2399 | 2619032.7591 | 1199700.575 | 2619036.9426 | 1199701.7444 | 2619037.372 | 1199703.1799
74 | 2619007.7773 | 1200269.2924 | 2619012.1126 | 1200276.3101 | 2619016.6361 | 1200280.5489 | 2619022.6859 | 1200281.1685 | 2619024.9484 | 1200281.9287
75 | 2618945.4327 | 1200508.5248 | 2618947.9661 | 1200506.5651 | 2618962.9232 | 1200497.1184 | 2618976.954 | 1200491.7265 | 2618988.6265 | 1200488.3172 | 2619004.3665 | 1200486.455 | 2619012.739 | 1200486.7039 | 2619018.1674 | 1200486.3876 | 2619023.7809 | 1200485.3048 | 2619028.3849 | 1200483.3072 | 2619033.709 | 1200479.8889 | 2619051.1041 | 1200467.4263 | 2619054.2123 | 1200464.2678 | 2619056.3166 | 1200460.8171 | 2619057.6615 | 1200456.797 | 2619058.4551 | 1200451.4077 | 2619058.3784 | 1200446.7938 | 2619057.7033 | 1200443.6567 | 2619056.4713 | 1200440.8846 | 2619054.4397 | 1200438.2322 | 2619051.86 | 1200435.5893 | 2619044.4622 | 1200430.4407 | 2619039.4145 | 1200425.9223 | 2619036.7155 | 1200422.4785 | 2619035.1121 | 1200419.2161 | 2619033.9461 | 1200414.8544 | 2619033.3401 | 1200409.1161 | 2619033.5237 | 1200401.6459 | 2619034.4319 | 1200396.1014 | 2619036.9472 | 1200387.8938 | 2619037.9834 | 1200382.7943 | 2619038.5032 | 1200377.3375 | 2619038.2933 | 1200371.5114 | 2619035.3226 | 1200352.9475 | 2619031.923 | 1200328.0454 | 2619030.4805 | 1200305.2618 | 2619028.8797 | 1200286.78 | 2619028.1305 | 1200282.9978 | 2619024.9484 | 1200281.9287
76 | 2618945.4327 | 1200508.5248 | 2619144.8445 | 1200494.373
77 | 2619144.8445 | 1200494.373 | 2619151.8794 | 1200503.4559 | 2619164.8731 | 1200515.3706
78 | 2618734.8162 | 1200057.9743 | 2618768.171 | 1200034.8217 | 2618777.4783 | 1200026.0349 | 2618785.4068 | 1200017.5663 | 2618790.2459 | 1200011.078 | 2618794.6556 | 1200003.1653 | 2618802.1444 | 1199989.2924 | 2618809.1403 | 1199977.2189
79 | 2618734.8162 | 1200057.9743 | 2618746.5298 | 1200063.5362 | 2618780.9936 | 1200080.0196 | 2618783.5076 | 1200081.8507 | 2618786.3536 | 1200084.6278 | 2618788.8779 | 1200088.0487 | 2618792.5385 | 1200093.2185 | 2618796.0363 | 1200099.3661 | 2618799.9022 | 1200107.038 | 2618803.4881 | 1200111.774 | 2618807.4815 | 1200115.2106 | 2618812.0947 | 1200117.6042 | 2618827.2609 | 1200121.8207 | 2618835.7015 | 1200124.7599 | 2618841.2273 | 1200127.4565 | 2618845.6782 | 1200130.65 | 2618849.1993 | 1200134.1964 | 2618851.8203 | 1200138.3068 | 2618854.6422 | 1200143.8854 | 2618856.8802 | 1200151.163 | 2618857.9212 | 1200154.1902 | 2618860.0873 | 1200157.6989 | 2618862.6143 | 1200160.2193 | 2618865.6222 | 1200162.3299 | 2618871.2736 | 1200165.16
80 | 2618871.2736 | 1200165.16 | 2618874.0891 | 1200166.57 | 2618878.4357 | 1200169.0183 | 2618880.8399 | 1200171.8608 | 2618882.0111 | 1200174.6549 | 2618882.3893 | 1200177.8356 | 2618881.7153 | 1200181.5466 | 2618880.0003 | 1200184.654 | 2618877.3289 | 1200186.8912 | 2618873.452 | 1200187.5794 | 2618869.1751 | 1200187.1657 | 2618864.9087 | 1200185.0675

## bus_geodata
| x | y | coords
0 | 2620144.8981 | 1199566.7195
1 | 2620120.2611 | 1199544.431
2 | 2620107.8235 | 1199528.8864
3 | 2620083.0361 | 1199518.3031
4 | 2620071.564 | 1199539.3312
5 | 2620055.9412 | 1199527.1616
6 | 2620078.5434 | 1199527.6376
7 | 2620077.9454 | 1199528.8807
8 | 2619962.9708 | 1199738.6991
9 | 2619535.4151 | 1199528.9393
10 | 2619541.7056 | 1199530.7206
11 | 2619552.4375 | 1199538.582
12 | 2619558.2116 | 1199551.5635
13 | 2619980.2215 | 1199738.6414
14 | 2619982.1867 | 1199738.6348
15 | 2619928.5124 | 1199949.7988
16 | 2619691.0399 | 1199997.4787
17 | 2619515.9152 | 1200271.7509
18 | 2619518.1965 | 1200286.9613
19 | 2619514.8606 | 1200264.7195
20 | 2619517.1329 | 1200307.6837
21 | 2619526.7004 | 1200268.5824
22 | 2619474.7227 | 1200137.6757
23 | 2619513.0762 | 1200331.1164
24 | 2619637.9217 | 1200025.5251
25 | 2619469.3814 | 1200128.0544
26 | 2619541.6233 | 1199584.5899
27 | 2619539.714 | 1199590.4464
28 | 2619577.1176 | 1199578.8177
29 | 2619583.7965 | 1199517.6175
30 | 2619376.0581 | 1199949.0537
31 | 2619591.6903 | 1199604.0646
32 | 2619588.6957 | 1199574.192
33 | 2619590.8613 | 1199519.7532
34 | 2619349.6271 | 1200034.2634
35 | 2619066.8941 | 1199770.5769
36 | 2619612.8716 | 1199529.2856
37 | 2619613.1127 | 1199513.0353
38 | 2619595.4755 | 1199618.6664
39 | 2619683.8786 | 1200001.1676
40 | 2619679.706 | 1200009.7648
41 | 2619662.1328 | 1200002.3557
42 | 2619674.1387 | 1200022.0976
43 | 2619531.9481 | 1200331.0024
44 | 2619530.3915 | 1200331.8843
45 | 2619548.8855 | 1200321.4056
46 | 2619210.6666 | 1200477.5077
47 | 2619550.957 | 1200314.0972
48 | 2619394.8573 | 1200218.416
49 | 2619179.1152 | 1200501.1358
50 | 2619598.6063 | 1199694.6464
51 | 2619634.6899 | 1199606.332
52 | 2619616.9349 | 1199599.2065
53 | 2619606.942 | 1199573.1343
54 | 2619616.8215 | 1199571.7727
55 | 2619664.6469 | 1200025.1412
56 | 2619376.1416 | 1200133.9007
57 | 2618837.8424 | 1199700.9762
58 | 2618882.9775 | 1199694.0645
59 | 2618892.7466 | 1199691.2959
60 | 2618906.3805 | 1199687.3943
61 | 2618999.928 | 1199773.252
62 | 2618982.6196 | 1199765.3203
63 | 2619033.4275 | 1199777.7522
64 | 2618971.1686 | 1199751.3628
65 | 2618919.2739 | 1199687.6977
66 | 2619048.186 | 1199720.3381
67 | 2618915.7737 | 1199684.6961
68 | 2618904.4961 | 1199717.9575
69 | 2619032.8894 | 1199717.0732
70 | 2619034.2653 | 1199722.525
71 | 2619028.6003 | 1199701.2399
72 | 2619037.372 | 1199703.1799
73 | 2619007.7773 | 1200269.2924
74 | 2619024.9484 | 1200281.9287
75 | 2618945.4327 | 1200508.5248
76 | 2619144.8445 | 1200494.373
77 | 2618809.1403 | 1199977.2189
78 | 2618734.8162 | 1200057.9743
79 | 2618871.2736 | 1200165.16
80 | 2619164.8731 | 1200515.3706
81 | 2618864.9087 | 1200185.0675
82 | 2619598.6063 | 1199694.6464

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1