## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6135-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6135-6_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6135-6_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_6135-6_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6135-6_0_3_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_6135-6_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_6135-6_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_6135-6_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_6135-6_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6135-6_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6135-6_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_6135-6_0_3_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_6135-6_0_3_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_6135-6_0_3_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_6135-6_0_3_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_6135-6_0_3_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_6135-6_0_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_6135-6_0_3_node_38 | 0.4 | n |  | TRUE
18 | bus_MV_103_2_node_251 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6135-6_0_3_load_0 | 0 | 0.0016621 | 0.00041655 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6135-6_0_3_load_15 | 5 | 0.0104 | 0.0026064 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6135-6_0_3_load_17 | 6 | 0.011725 | 0.0029385 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6135-6_0_3_load_6 | 8 | 0.019229 | 0.0048193 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6135-6_0_3_load_41 | 11 | 0.015584 | 0.0039058 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6135-6_0_3_load_37 | 12 | 0.0047678 | 0.0011949 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6135-6_0_3_load_42 | 13 | 0.042885 | 0.010748 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6135-6_0_3_load_40 | 14 | 0.0039492 | 0.00098977 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6135-6_0_3_load_39 | 15 | 0.0039094 | 0.00097979 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6135-6_0_3_load_36 | 16 | 0.0073701 | 0.0018471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6135-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.10972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6135-6_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.60901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6135-6_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.03932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6135-6_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.036984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6135-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.040383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6135-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.027448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6135-6_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.23844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6135-6_0_3_line_7 | NAYY 4x150 SE | 7 | 11 | 0.060245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6135-6_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.035557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6135-6_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0024766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6135-6_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.47035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6135-6_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.33983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6135-6_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.013537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6135-6_0_3_line_13 | NAYY 4x150 SE | 12 | 16 | 0.0075822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6135-6_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.021086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6135-6_0_3_line_15 | NAYY 4x150 SE | 15 | 17 | 0.018587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6135-6_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.021698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6135-6_0_3_trafo_7 | 0.25 MVA 20/0.4 kV | 18 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51
0 | 2578390.7609 | 1116516.5741 | 2578388.0883 | 1116513.9268 | 2578380.0813 | 1116508.9975 | 2578336.3572 | 1116493.2353 | 2578325.3472 | 1116492.5634 | 2578318.7916 | 1116496.2999 | 2578302.5229 | 1116514.4118 | 2578296.9184 | 1116518.8661
1 | 2578390.7609 | 1116516.5741 | 2578423.1945 | 1116502.9513 | 2578431.607 | 1116498.2299 | 2578449.349 | 1116490.5072 | 2578462.8847 | 1116485.1339 | 2578467.7956 | 1116479.0467 | 2578476.5046 | 1116457.9163 | 2578481.0516 | 1116449.3514 | 2578489.949 | 1116437.725 | 2578498.8479 | 1116428.6443 | 2578502.602 | 1116422.8614 | 2578510.519 | 1116415.5073 | 2578518.1074 | 1116406.9427 | 2578522.7779 | 1116402.6906 | 2578531.7632 | 1116398.3565 | 2578538.5724 | 1116398.5546 | 2578545.3191 | 1116400.7428 | 2578555.3753 | 1116413.1688 | 2578564.6736 | 1116425.2306 | 2578574.2501 | 1116439.5593 | 2578578.1343 | 1116446.4712 | 2578588.7412 | 1116464.0534 | 2578595.7835 | 1116471.2431 | 2578600.5523 | 1116481.6424 | 2578602.9657 | 1116493.9289 | 2578602.7546 | 1116506.2246 | 2578599.9414 | 1116520.5084 | 2578587.4825 | 1116559.5831 | 2578578.7958 | 1116580.5799 | 2578573.712 | 1116594.4826 | 2578569.7192 | 1116611.2829 | 2578568.3369 | 1116626.3287 | 2578568.6268 | 1116638.4003 | 2578569.4673 | 1116649.0026 | 2578571.0001 | 1116652.4322 | 2578570.6784 | 1116657.4691 | 2578566.5572 | 1116668.5337 | 2578562.4721 | 1116674.5735 | 2578558.1134 | 1116679.6026 | 2578556.5282 | 1116683.1544 | 2578555.6158 | 1116689.2384 | 2578556.3683 | 1116694.6496 | 2578557.4175 | 1116707.4967 | 2578559.1201 | 1116713.0934 | 2578559.5681 | 1116717.5273 | 2578562.6723 | 1116726.543 | 2578563.727 | 1116730.0966 | 2578566.9022 | 1116739.5567 | 2578568.3553 | 1116744.4539 | 2578570.6811 | 1116753.817 | 2578571.319 | 1116759.562 | 2578572.5291 | 1116774.2762
2 | 2578572.5291 | 1116774.2762 | 2578567.5612 | 1116775.1164 | 2578563.9467 | 1116778.8867 | 2578558.5229 | 1116786.1207 | 2578553.0884 | 1116805.3864
3 | 2578523.3412 | 1116855.7026 | 2578542.2306 | 1116834.4582 | 2578550.4419 | 1116831.861
4 | 2578523.3412 | 1116855.7026 | 2578529.7111 | 1116860.5712 | 2578531.7269 | 1116863.0653 | 2578532.9988 | 1116866.9405 | 2578534.916 | 1116876.4495 | 2578537.6097 | 1116891.5919
5 | 2578550.4419 | 1116831.861 | 2578548.2754 | 1116826.0547 | 2578549.8406 | 1116816.9002 | 2578553.0884 | 1116805.3864
6 | 2578529.0481 | 1117019.0634 | 2578529.9292 | 1117010.7339 | 2578535.3527 | 1117003.4666 | 2578575.0065 | 1116980.5809 | 2578584.8661 | 1116974.8987 | 2578594.082 | 1116966.1616 | 2578596.8737 | 1116954.6238 | 2578593.6945 | 1116928.7667 | 2578584.2349 | 1116868.8816 | 2578577.2376 | 1116852.5094 | 2578560.2188 | 1116835.4169 | 2578555.3994 | 1116832.4326 | 2578550.4419 | 1116831.861
7 | 2578529.0481 | 1117019.0634 | 2578521.9176 | 1117019.4557 | 2578519.9752 | 1117022.3751 | 2578517.8653 | 1117054.1317 | 2578517.7181 | 1117062.6254 | 2578521.3779 | 1117067.3036 | 2578524.2349 | 1117069.0254
8 | 2578529.0481 | 1117019.0634 | 2578531.6255 | 1117027.5696 | 2578536.9151 | 1117032.5755 | 2578541.0491 | 1117036.0514 | 2578543.7662 | 1117033.9407 | 2578552.0947 | 1117027.4745
9 | 2578552.0947 | 1117027.4745 | 2578554.0513 | 1117025.9563
10 | 2578287.9265 | 1117217.8472 | 2578293.4489 | 1117216.7601 | 2578312.0806 | 1117216.6931 | 2578326.1585 | 1117216.6425 | 2578349.9954 | 1117217.424 | 2578364.2972 | 1117217.3726 | 2578376.2056 | 1117214.951 | 2578400.666 | 1117208.8159 | 2578416.4767 | 1117205.5243 | 2578432.5028 | 1117204.1663 | 2578449.3871 | 1117198.9256 | 2578464.7626 | 1117196.9253 | 2578483.6043 | 1117195.135 | 2578508.0649 | 1117189.0003 | 2578517.5954 | 1117188.5328 | 2578527.9934 | 1117186.7727 | 2578538.3783 | 1117183.4897 | 2578548.7648 | 1117178.4836 | 2578562.8337 | 1117175.8434 | 2578576.6601 | 1117170.1247 | 2578587.6984 | 1117163.9047 | 2578581.1314 | 1117162.1049 | 2578573.5825 | 1117155.484 | 2578571.8361 | 1117148.3866 | 2578569.9888 | 1117138.9774 | 2578571.854 | 1117101.3076 | 2578573.0613 | 1117082.6496 | 2578569.916 | 1117068.5427 | 2578562.4304 | 1117055.8852 | 2578541.0491 | 1117036.0514 | 2578543.7662 | 1117033.9407 | 2578552.0947 | 1117027.4745
11 | 2578287.9265 | 1117217.8472 | 2578328.4623 | 1117228.4067 | 2578347.4698 | 1117234.1302 | 2578369.5148 | 1117238.9091 | 2578392.0362 | 1117240.9294 | 2578400.9823 | 1117241.0974 | 2578430.53 | 1117237.3899 | 2578438.3209 | 1117236.1281 | 2578451.455 | 1117237.6152 | 2578466.6945 | 1117240.8069 | 2578476.4737 | 1117240.872 | 2578497.5464 | 1117237.0505 | 2578539.0412 | 1117228.7764 | 2578550.9554 | 1117225.8215 | 2578569.0317 | 1117219.3318 | 2578579.972 | 1117213.7902 | 2578589.9594 | 1117209.4304 | 2578599.1422 | 1117206.6965 | 2578606.6096 | 1117205.5916 | 2578618.8453 | 1117205.5077
12 | 2578536.3943 | 1117074.9428 | 2578526.6222 | 1117070.4642 | 2578524.2349 | 1117069.0254
13 | 2578626.4275 | 1117205.4714 | 2578620.0314 | 1117205.4996 | 2578618.8453 | 1117205.5077
14 | 2578660.3755 | 1117188.8307 | 2578673.4211 | 1117173.3947 | 2578674.0679 | 1117172.8045
15 | 2578647.8453 | 1117202.5329 | 2578653.4909 | 1117196.9769 | 2578660.3755 | 1117188.8307
16 | 2578647.8453 | 1117202.5329 | 2578644.7833 | 1117203.1219 | 2578632.8435 | 1117205.4431 | 2578626.4275 | 1117205.4714

## bus_geodata
| x | y | coords
0 | 2578296.9184 | 1116518.8661
1 | 2578390.7609 | 1116516.5741
2 | 2578572.5291 | 1116774.2762
3 | 2578523.3412 | 1116855.7026
4 | 2578550.4419 | 1116831.861
5 | 2578537.6097 | 1116891.5919
6 | 2578553.0884 | 1116805.3864
7 | 2578529.0481 | 1117019.0634
8 | 2578554.0513 | 1117025.9563
9 | 2578552.0947 | 1117027.4745
10 | 2578287.9265 | 1117217.8472
11 | 2578524.2349 | 1117069.0254
12 | 2578618.8453 | 1117205.5077
13 | 2578536.3943 | 1117074.9428
14 | 2578674.0679 | 1117172.8045
15 | 2578660.3755 | 1117188.8307
16 | 2578626.4275 | 1117205.4714
17 | 2578647.8453 | 1117202.5329
18 | 2578541.0491 | 1117036.0514

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1