## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_614-5_1_3_node_76 | 0.4 | n |  | TRUE
1 | bus_LV_614-5_1_3_node_74 | 0.4 | n |  | TRUE
2 | bus_LV_614-5_1_3_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_614-5_1_3_node_109 | 0.4 | n |  | TRUE
4 | bus_LV_614-5_1_3_node_107 | 0.4 | n |  | TRUE
5 | bus_LV_614-5_1_3_node_110 | 0.4 | n |  | TRUE
6 | bus_LV_614-5_1_3_node_152 | 0.4 | n |  | TRUE
7 | bus_LV_614-5_1_3_node_108 | 0.4 | n |  | TRUE
8 | bus_LV_614-5_1_3_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_614-5_1_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_614-5_1_3_node_121 | 0.4 | n |  | TRUE
11 | bus_LV_614-5_1_3_node_117 | 0.4 | n |  | TRUE
12 | bus_LV_614-5_1_3_node_118 | 0.4 | n |  | TRUE
13 | bus_LV_614-5_1_3_node_122 | 0.4 | n |  | TRUE
14 | bus_LV_614-5_1_3_node_116 | 0.4 | n |  | TRUE
15 | bus_LV_614-5_1_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_614-5_1_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_614-5_1_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_614-5_1_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_614-5_1_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_614-5_1_3_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_614-5_1_3_node_133 | 0.4 | n |  | TRUE
22 | bus_LV_614-5_1_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_614-5_1_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_614-5_1_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_614-5_1_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_614-5_1_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_614-5_1_3_node_154 | 0.4 | n |  | TRUE
28 | bus_LV_614-5_1_3_node_127 | 0.4 | n |  | TRUE
29 | bus_LV_614-5_1_3_node_128 | 0.4 | n |  | TRUE
30 | bus_LV_614-5_1_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_614-5_1_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_614-5_1_3_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_614-5_1_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_614-5_1_3_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_614-5_1_3_node_99 | 0.4 | n |  | TRUE
36 | bus_LV_614-5_1_3_node_98 | 0.4 | n |  | TRUE
37 | bus_LV_614-5_1_3_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_614-5_1_3_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_614-5_1_3_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_614-5_1_3_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_614-5_1_3_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_614-5_1_3_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_614-5_1_3_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_614-5_1_3_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_614-5_1_3_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_614-5_1_3_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_614-5_1_3_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_614-5_1_3_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_614-5_1_3_node_123 | 0.4 | n |  | TRUE
50 | bus_LV_614-5_1_3_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_614-5_1_3_node_125 | 0.4 | n |  | TRUE
52 | bus_LV_614-5_1_3_node_124 | 0.4 | n |  | TRUE
53 | bus_LV_614-5_1_3_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_614-5_1_3_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_614-5_1_3_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_614-5_1_3_node_87 | 0.4 | n |  | TRUE
57 | bus_LV_614-5_1_3_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_614-5_1_3_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_614-5_1_3_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_614-5_1_3_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_614-5_1_3_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_614-5_1_3_node_104 | 0.4 | n |  | TRUE
63 | bus_LV_614-5_1_3_node_102 | 0.4 | n |  | TRUE
64 | bus_LV_614-5_1_3_node_126 | 0.4 | n |  | TRUE
65 | bus_LV_614-5_1_3_node_96 | 0.4 | n |  | TRUE
66 | bus_LV_614-5_1_3_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_614-5_1_3_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_614-5_1_3_node_151 | 0.4 | n |  | TRUE
69 | bus_LV_614-5_1_3_node_105 | 0.4 | n |  | TRUE
70 | bus_LV_614-5_1_3_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_614-5_1_3_node_153 | 0.4 | n |  | TRUE
72 | bus_LV_614-5_1_3_node_113 | 0.4 | n |  | TRUE
73 | bus_LV_614-5_1_3_node_119 | 0.4 | n |  | TRUE
74 | bus_LV_614-5_1_3_node_115 | 0.4 | n |  | TRUE
75 | bus_LV_614-5_1_3_node_111 | 0.4 | n |  | TRUE
76 | bus_LV_614-5_1_3_node_129 | 0.4 | n |  | TRUE
77 | bus_LV_614-5_1_3_node_112 | 0.4 | n |  | TRUE
78 | bus_LV_614-5_1_3_node_114 | 0.4 | n |  | TRUE
79 | bus_LV_614-5_1_3_node_148 | 0.4 | n |  | TRUE
80 | bus_LV_614-5_1_3_node_141 | 0.4 | n |  | TRUE
81 | bus_LV_614-5_1_3_node_134 | 0.4 | n |  | TRUE
82 | bus_LV_614-5_1_3_node_135 | 0.4 | n |  | TRUE
83 | bus_LV_614-5_1_3_node_136 | 0.4 | n |  | TRUE
84 | bus_LV_614-5_1_3_node_137 | 0.4 | n |  | TRUE
85 | bus_LV_614-5_1_3_node_143 | 0.4 | n |  | TRUE
86 | bus_LV_614-5_1_3_node_140 | 0.4 | n |  | TRUE
87 | bus_LV_614-5_1_3_node_138 | 0.4 | n |  | TRUE
88 | bus_LV_614-5_1_3_node_139 | 0.4 | n |  | TRUE
89 | bus_LV_614-5_1_3_node_142 | 0.4 | n |  | TRUE
90 | bus_LV_614-5_1_3_node_144 | 0.4 | n |  | TRUE
91 | bus_MV_107_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_614-5_1_3_load_76 | 0 | 0.00025877 | 6.4853e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_614-5_1_3_load_9 | 2 | 0.0055969 | 0.0014027 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_614-5_1_3_load_107 | 4 | 0.0071987 | 0.0018042 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_614-5_1_3_load_152 | 6 | 0.0016492 | 0.00041332 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_614-5_1_3_load_108 | 7 | 0.0089099 | 0.002233 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_614-5_1_3_load_11 | 9 | 0.00087454 | 0.00021918 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_614-5_1_3_load_121 | 10 | 0.0045665 | 0.0011445 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_614-5_1_3_load_118 | 12 | 0.0028871 | 0.00072358 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_614-5_1_3_load_116 | 14 | 0.0007418 | 0.00018591 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_614-5_1_3_load_18 | 15 | 0.0010259 | 0.00025711 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_614-5_1_3_load_19 | 16 | 0.00095117 | 0.00023839 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_614-5_1_3_load_20 | 17 | 0.00018247 | 4.5732e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_614-5_1_3_load_21 | 18 | 0.00053159 | 0.00013323 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_614-5_1_3_load_77 | 20 | 0.00011681 | 2.9275e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_614-5_1_3_load_133 | 21 | 0.0002038 | 5.1077e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_614-5_1_3_load_27 | 22 | 0.0003642 | 9.1278e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_614-5_1_3_load_23 | 23 | 0.00073387 | 0.00018392 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_614-5_1_3_load_154 | 27 | 0.0001529 | 3.832e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_614-5_1_3_load_127 | 28 | 0.0031263 | 0.00078352 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_614-5_1_3_load_128 | 29 | 0.0014205 | 0.00035602 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_614-5_1_3_load_68 | 30 | 0.0096265 | 0.0024126 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_614-5_1_3_load_69 | 31 | 0.016849 | 0.0042228 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_614-5_1_3_load_70 | 32 | 0.0087679 | 0.0021974 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_614-5_1_3_load_99 | 35 | 0.0017915 | 0.00044899 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_614-5_1_3_load_98 | 36 | 0.0030867 | 0.00077359 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_614-5_1_3_load_72 | 37 | 0.00044537 | 0.00011162 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_614-5_1_3_load_73 | 38 | 0.0011025 | 0.00027632 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_614-5_1_3_load_75 | 39 | 0.0004192 | 0.00010506 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_614-5_1_3_load_92 | 41 | 0.00040954 | 0.00010264 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_614-5_1_3_load_78 | 42 | 0.00047477 | 0.00011899 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_614-5_1_3_load_95 | 48 | 0.00065982 | 0.00016537 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_614-5_1_3_load_123 | 49 | 0.00016946 | 4.2471e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_614-5_1_3_load_125 | 51 | 0.0018439 | 0.00046214 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_614-5_1_3_load_124 | 52 | 0.00033093 | 8.2938e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_614-5_1_3_load_84 | 54 | 0.00061283 | 0.00015359 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_614-5_1_3_load_94 | 55 | 0.00041137 | 0.0001031 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_614-5_1_3_load_87 | 56 | 0.00018237 | 4.5706e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_614-5_1_3_load_85 | 57 | 0.0005459 | 0.00013681 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_614-5_1_3_load_93 | 58 | 0.0006483 | 0.00016248 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_614-5_1_3_load_97 | 61 | 0.013581 | 0.0034038 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_614-5_1_3_load_104 | 62 | 0.0021756 | 0.00054526 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_614-5_1_3_load_102 | 63 | 0.00033041 | 8.2809e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_614-5_1_3_load_96 | 65 | 0.00033298 | 8.3452e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_614-5_1_3_load_120 | 66 | 0.011066 | 0.0027733 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_614-5_1_3_load_151 | 68 | 0.0018283 | 0.00045821 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_614-5_1_3_load_105 | 69 | 0.00027252 | 6.8301e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_614-5_1_3_load_153 | 71 | 0.00033815 | 8.4747e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_614-5_1_3_load_119 | 73 | 0.0024248 | 0.00060772 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_614-5_1_3_load_115 | 74 | 0.00085311 | 0.00021381 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_614-5_1_3_load_111 | 75 | 0.0007794 | 0.00019534 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_614-5_1_3_load_129 | 76 | 0.01201 | 0.00301 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_614-5_1_3_load_112 | 77 | 0.0017805 | 0.00044624 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_614-5_1_3_load_114 | 78 | 0.00045301 | 0.00011354 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_614-5_1_3_load_141 | 80 | 0.0007597 | 0.0001904 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_614-5_1_3_load_134 | 81 | 0.00030022 | 7.5243e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_614-5_1_3_load_135 | 82 | 0.0018463 | 0.00046271 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_614-5_1_3_load_136 | 83 | 0.00030439 | 7.6286e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_614-5_1_3_load_137 | 84 | 0.00081721 | 0.00020481 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_614-5_1_3_load_143 | 85 | 0.00059332 | 0.0001487 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_614-5_1_3_load_138 | 87 | 0.0018938 | 0.00047463 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_614-5_1_3_load_139 | 88 | 0.00056082 | 0.00014056 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_614-5_1_3_load_142 | 89 | 0.00023152 | 5.8026e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_614-5_1_3_load_144 | 90 | 0.00086613 | 0.00021707 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_614-5_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.041359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_614-5_1_3_line_1 | NAYY 4x150 SE | 1 | 20 | 0.10971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_614-5_1_3_line_2 | NAYY 4x150 SE | 1 | 37 | 0.027373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_614-5_1_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_614-5_1_3_line_4 | NAYY 4x150 SE | 2 | 4 | 0.25287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_614-5_1_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.10326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_614-5_1_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.11591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_614-5_1_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.17613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_614-5_1_3_line_8 | NAYY 4x150 SE | 5 | 6 | 0.23304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_614-5_1_3_line_9 | NAYY 4x150 SE | 7 | 34 | 0.07283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_614-5_1_3_line_10 | NAYY 4x150 SE | 8 | 28 | 0.14155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_614-5_1_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.014822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_614-5_1_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.076583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_614-5_1_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.14346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_614-5_1_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.10653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_614-5_1_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.06868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_614-5_1_3_line_16 | NAYY 4x150 SE | 12 | 73 | 0.099476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_614-5_1_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.037296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_614-5_1_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.015784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_614-5_1_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.064822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_614-5_1_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.044795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_614-5_1_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.021918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_614-5_1_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.13952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_614-5_1_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.039323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_614-5_1_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.013784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_614-5_1_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.045478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_614-5_1_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.013728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_614-5_1_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.033474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_614-5_1_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.033621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_614-5_1_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.019401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_614-5_1_3_line_30 | NAYY 4x150 SE | 29 | 76 | 0.0038927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_614-5_1_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.03691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_614-5_1_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.023236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_614-5_1_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.085995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_614-5_1_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.01892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_614-5_1_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.039465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_614-5_1_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.016811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_614-5_1_3_line_37 | NAYY 4x150 SE | 36 | 65 | 0.028976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_614-5_1_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.025149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_614-5_1_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.0057695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_614-5_1_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.24224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_614-5_1_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.076844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_614-5_1_3_line_42 | NAYY 4x150 SE | 41 | 55 | 0.0036847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_614-5_1_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.030003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_614-5_1_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.015391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_614-5_1_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.016792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_614-5_1_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.090942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_614-5_1_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.07354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_614-5_1_3_line_48 | NAYY 4x150 SE | 45 | 48 | 0.028113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_614-5_1_3_line_49 | NAYY 4x150 SE | 46 | 49 | 0.0055797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_614-5_1_3_line_50 | NAYY 4x150 SE | 47 | 53 | 0.032311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_614-5_1_3_line_51 | NAYY 4x150 SE | 47 | 54 | 0.072784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_614-5_1_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.038638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_614-5_1_3_line_53 | NAYY 4x150 SE | 48 | 55 | 0.10451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_614-5_1_3_line_54 | NAYY 4x150 SE | 49 | 58 | 0.027645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_614-5_1_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.018938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_614-5_1_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.041682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_614-5_1_3_line_57 | NAYY 4x150 SE | 52 | 60 | 0.0048523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_614-5_1_3_line_58 | NAYY 4x150 SE | 53 | 62 | 0.24711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_614-5_1_3_line_59 | NAYY 4x150 SE | 53 | 63 | 0.079095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_614-5_1_3_line_60 | NAYY 4x150 SE | 54 | 57 | 0.026594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_614-5_1_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.023403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_614-5_1_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.004171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_614-5_1_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.039262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_614-5_1_3_line_64 | NAYY 4x150 SE | 60 | 64 | 0.013872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_614-5_1_3_line_65 | NAYY 4x150 SE | 61 | 65 | 0.014744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_614-5_1_3_line_66 | NAYY 4x150 SE | 62 | 66 | 0.027774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_614-5_1_3_line_67 | NAYY 4x150 SE | 63 | 67 | 0.14851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_614-5_1_3_line_68 | NAYY 4x150 SE | 64 | 68 | 0.015787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_614-5_1_3_line_69 | NAYY 4x150 SE | 66 | 73 | 0.026994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_614-5_1_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.07259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_614-5_1_3_line_71 | NAYY 4x150 SE | 67 | 70 | 0.20048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_614-5_1_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.13573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_614-5_1_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.12779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_614-5_1_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.14003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_614-5_1_3_line_75 | NAYY 4x150 SE | 72 | 75 | 0.078616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_614-5_1_3_line_76 | NAYY 4x150 SE | 74 | 79 | 0.032513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_614-5_1_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.036474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_614-5_1_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.011305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_614-5_1_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.090092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_614-5_1_3_line_80 | NAYY 4x150 SE | 80 | 88 | 0.099799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_614-5_1_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.02279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_614-5_1_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.0028946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_614-5_1_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.024403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_614-5_1_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.0044044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_614-5_1_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.10632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_614-5_1_3_line_86 | NAYY 4x150 SE | 86 | 89 | 0.082754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_614-5_1_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.085622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_614-5_1_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.020773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_614-5_1_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.037404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_614-5_1_3_trafo_69 | 0.25 MVA 20/0.4 kV | 91 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2618926.2328 | 1189080.8545 | 2618967.5491 | 1189078.9784
1 | 2618926.2328 | 1189080.8545 | 2618869.9271 | 1189082.8228 | 2618830.0616 | 1189080.7966 | 2618816.6206 | 1189080.3148
2 | 2618926.2328 | 1189080.8545 | 2618924.286 | 1189053.5509
3 | 2619436.2582 | 1188539.1344 | 2619652.9023 | 1188592.0095
4 | 2619218.9328 | 1188668.4214 | 2619436.2582 | 1188539.1344
5 | 2619728.4283 | 1188647.3307 | 2619727.4346 | 1188634.0649 | 2619718.7545 | 1188629.5451 | 2619693.2996 | 1188625.793 | 2619674.0935 | 1188616.7586 | 2619659.2003 | 1188604.2699 | 2619652.9023 | 1188592.0095
6 | 2619218.9328 | 1188668.4214 | 2619216.2973 | 1188670.4822 | 2619196.6049 | 1188686.939 | 2619182.0621 | 1188693.4182 | 2619161.3721 | 1188699.8778 | 2619141.5245 | 1188702.8716 | 2619122.4971 | 1188702.1995 | 2619112.548 | 1188699.9931
7 | 2619218.9328 | 1188668.4214 | 2619277.4662 | 1188834.5423
8 | 2619728.4283 | 1188647.3307 | 2619729.4086 | 1188664.6764 | 2619728.1209 | 1188675.878 | 2619722.9487 | 1188685.4772 | 2619714.1503 | 1188693.7749 | 2619680.6867 | 1188720.4124 | 2619673.5708 | 1188732.0175 | 2619670.8372 | 1188739.9238 | 2619673.6495 | 1188756.8641 | 2619681.1472 | 1188777.6885 | 2619686.0383 | 1188784.0079 | 2619698.8873 | 1188794.0442 | 2619706.2173 | 1188805.4965 | 2619706.1879 | 1188814.4677 | 2619699.4187 | 1188820.3597 | 2619688.3723 | 1188821.135 | 2619677.7329 | 1188821.1001
9 | 2619042.521 | 1188680.0782 | 2619071.8874 | 1188689.0428 | 2619101.0343 | 1188697.4398 | 2619112.548 | 1188699.9931
10 | 2619277.4662 | 1188834.5423 | 2619313.4229 | 1188835.8696 | 2619386.834 | 1188847.0342 | 2619414.6165 | 1188852.4713 | 2619416.9638 | 1188854.3531
11 | 2619391.2708 | 1188272.1737 | 2619404.6173 | 1188278.6195
12 | 2619323.6539 | 1188240.1675 | 2619333.847 | 1188251.2172 | 2619352.5203 | 1188260.4377 | 2619379.4189 | 1188266.4498 | 2619391.2708 | 1188272.1737
13 | 2619224.0738 | 1188202.3169 | 2619216.6975 | 1188226.2281 | 2619212.1587 | 1188245.3903 | 2619208.0201 | 1188268.2112 | 2619202.4248 | 1188291.0164 | 2619192.2934 | 1188322.6229 | 2619187.6343 | 1188340.9181
14 | 2619224.0738 | 1188202.3169 | 2619323.6539 | 1188240.1675
15 | 2619224.0738 | 1188202.3169 | 2619219.452 | 1188197.3662 | 2619215.7104 | 1188193.8301 | 2619206.9513 | 1188187.4432 | 2619202.9998 | 1188185.185 | 2619199.5867 | 1188183.8956 | 2619197.2 | 1188183.6545 | 2619194.9611 | 1188184.8702 | 2619193.4225 | 1188186.5884 | 2619188.7212 | 1188199.3245 | 2619185.0087 | 1188208.1729 | 2619182.9368 | 1188212.0572 | 2619180.9253 | 1188214.1343
16 | 2619187.6343 | 1188340.9181 | 2619185.295 | 1188350.1038 | 2619183.6598 | 1188355.7905 | 2619181.2527 | 1188361.9416 | 2619178.0042 | 1188368.8459 | 2619174.1316 | 1188375.3258 | 2619169.3164 | 1188383.2035 | 2619163.7557 | 1188390.4562 | 2619147.1929 | 1188410.6807 | 2619134.1672 | 1188422.0229 | 2619133.7519 | 1188422.3201
17 | 2618819.3821 | 1189134.6457 | 2618820.7517 | 1189136.0187 | 2618827.9062 | 1189140.6213 | 2618834.1699 | 1189144.7654 | 2618837.516 | 1189147.7997 | 2618843.6613 | 1189155.6342 | 2618846.7958 | 1189159.3547
18 | 2618811.962 | 1189120.8724 | 2618815.6162 | 1189129.6326 | 2618818.1821 | 1189133.4426 | 2618819.3821 | 1189134.6457
19 | 2618844.8955 | 1189212.8468 | 2618849.5041 | 1189211.1928 | 2618855.5526 | 1189208.5438 | 2618857.6895 | 1189188.6289 | 2618858.8991 | 1189182.3183 | 2618858.7157 | 1189177.5819 | 2618857.8345 | 1189174.0328 | 2618856.1603 | 1189170.4701 | 2618846.7958 | 1189159.3547
20 | 2618794.7162 | 1189079.5297 | 2618811.962 | 1189120.8724
21 | 2618794.7162 | 1189079.5297 | 2618816.6206 | 1189080.3148
22 | 2618794.7162 | 1189079.5297 | 2618789.0656 | 1189079.323 | 2618778.7669 | 1189077.7789 | 2618769.149 | 1189075.5699 | 2618762.6662 | 1189073.1928 | 2618755.3961 | 1189068.9345 | 2618748.5722 | 1189063.4437 | 2618737.3883 | 1189052.2585 | 2618732.0039 | 1189047.3613 | 2618725.1705 | 1189042.4708 | 2618715.4274 | 1189036.3594 | 2618702.2006 | 1189029.7258 | 2618678.4179 | 1189020.8138 | 2618672.3341 | 1189019.1864
23 | 2618634.4298 | 1189008.729 | 2618646.6715 | 1189012.3218 | 2618672.3341 | 1189019.1864
24 | 2618621.6219 | 1189003.6617 | 2618632.4683 | 1189008.1533 | 2618634.4298 | 1189008.729
25 | 2618567.4316 | 1188979.8481 | 2618607.5107 | 1188996.8478 | 2618609.2599 | 1188997.6924
26 | 2618621.6219 | 1189003.6617 | 2618609.2599 | 1188997.6924
27 | 2618567.4316 | 1188979.8481 | 2618568.8374 | 1188976.573 | 2618573.7426 | 1188958.9233 | 2618584.9177 | 1188955.8452
28 | 2618584.9177 | 1188955.8452 | 2618598.595 | 1188957.4995 | 2618618.0115 | 1188952.9684
29 | 2619416.9638 | 1188854.3531 | 2619422.2465 | 1188858.5881 | 2619427.5635 | 1188870.0446
30 | 2619429.5967 | 1188873.3641 | 2619427.5635 | 1188870.0446
31 | 2619091.2893 | 1188574.7084 | 2619105.5673 | 1188560.0599 | 2619119.6831 | 1188553.6014 | 2619120.2779 | 1188552.8857
32 | 2619091.2893 | 1188574.7084 | 2619082.5801 | 1188583.6436 | 2619075.0072 | 1188591.2856
33 | 2619047.5517 | 1188661.8401 | 2619059.4466 | 1188653.3179 | 2619051.3055 | 1188639.8294 | 2619061.2317 | 1188605.1871 | 2619075.0072 | 1188591.2856
34 | 2619047.5517 | 1188661.8401 | 2619042.521 | 1188680.0782
35 | 2619047.5517 | 1188661.8401 | 2619046.9911 | 1188651.0327 | 2619042.2858 | 1188631.5853 | 2619041.302 | 1188623.0067
36 | 2619031.202 | 1188611.9073 | 2619031.3041 | 1188611.8957 | 2619040.6011 | 1188616.8945 | 2619041.302 | 1188623.0067
37 | 2619003.1518 | 1188618.1995 | 2619014.6174 | 1188613.7883 | 2619031.202 | 1188611.9073
38 | 2618924.286 | 1189053.5509 | 2618922.4974 | 1189028.4651
39 | 2618922.087 | 1189022.7102 | 2618922.4974 | 1189028.4651
40 | 2618897.6546 | 1188783.2971 | 2618906.052 | 1188797.82 | 2618922.087 | 1189022.7102
41 | 2618897.6546 | 1188783.2971 | 2618900.3693 | 1188783.4835 | 2618906.3338 | 1188783.4133 | 2618906.9916 | 1188782.804 | 2618909.3894 | 1188779.4653 | 2618912.3778 | 1188779.8972 | 2618923.9585 | 1188720.8916 | 2618923.9585 | 1188720.8916
42 | 2618920.5092 | 1188719.5957 | 2618923.9585 | 1188720.8916
43 | 2618815.4886 | 1188630.1809 | 2618810.2609 | 1188640.8924 | 2618801.0692 | 1188656.4661
44 | 2618793.246 | 1188669.7209 | 2618801.0692 | 1188656.4661
45 | 2618815.4886 | 1188630.1809 | 2618820.8692 | 1188631.5096 | 2618831.8208 | 1188634.2787
46 | 2618756.3634 | 1188749.6031 | 2618755.169 | 1188746.1754 | 2618755.0755 | 1188741.9284 | 2618755.9168 | 1188736.2947 | 2618757.5623 | 1188727.1395 | 2618758.8432 | 1188722.4077 | 2618760.4363 | 1188717.8325 | 2618762.2268 | 1188713.5581 | 2618766.6496 | 1188706.5238 | 2618776.5677 | 1188693.3923 | 2618785.3688 | 1188681.4024 | 2618793.246 | 1188669.7209
47 | 2618831.8208 | 1188634.2787 | 2618887.0473 | 1188646.981 | 2618898.8451 | 1188649.8418 | 2618899.9579 | 1188645.2429
48 | 2618831.8208 | 1188634.2787 | 2618837.633 | 1188661.7845
49 | 2618756.3634 | 1188749.6031 | 2618758.2408 | 1188751.6545 | 2618760.5622 | 1188753.2181
50 | 2618899.9579 | 1188645.2429 | 2618907.783 | 1188613.8955
51 | 2618899.9579 | 1188645.2429 | 2618848.6642 | 1188633.4311 | 2618828.8873 | 1188629.5843
52 | 2618899.9579 | 1188645.2429 | 2618898.8451 | 1188649.8418 | 2618931.792 | 1188657.8498
53 | 2618920.5092 | 1188719.5957 | 2618886.1501 | 1188706.6873 | 2618855.4374 | 1188681.9334 | 2618839.3288 | 1188669.8098 | 2618837.633 | 1188661.7845
54 | 2618760.5622 | 1188753.2181 | 2618760.5622 | 1188753.2181 | 2618763.8169 | 1188753.8731 | 2618768.9335 | 1188754.2337 | 2618773.4394 | 1188754.7592 | 2618781.6569 | 1188756.1634 | 2618787.8242 | 1188757.555
55 | 2618931.792 | 1188657.8498 | 2618927.4856 | 1188676.2904
56 | 2618931.792 | 1188657.8498 | 2618972.3772 | 1188667.3482
57 | 2618977.1019 | 1188668.4539 | 2618972.3772 | 1188667.3482
58 | 2618907.783 | 1188613.8955 | 2618908.5016 | 1188610.9296 | 2618921.2366 | 1188589.9253 | 2618944.2444 | 1188562.0388 | 2618985.9269 | 1188542.927 | 2618999.8255 | 1188535.1558 | 2619025.2317 | 1188513.5804 | 2619062.4004 | 1188491.7535 | 2619093.2939 | 1188458.8533
59 | 2618907.783 | 1188613.8955 | 2618866.5631 | 1188580.704 | 2618852.0811 | 1188558.9026
60 | 2618828.8873 | 1188629.5843 | 2618821.5357 | 1188628.1544 | 2618803.2868 | 1188622.5004
61 | 2618781.302 | 1188614.539 | 2618793.3349 | 1188619.417 | 2618803.2868 | 1188622.5004
62 | 2618978.4643 | 1188664.5117 | 2618977.1019 | 1188668.4539
63 | 2618978.4643 | 1188664.5117 | 2618983.0777 | 1188652.7757 | 2618994.1256 | 1188628.5219
64 | 2618977.1019 | 1188668.4539 | 2618990.6066 | 1188671.7873
65 | 2619003.1518 | 1188618.1995 | 2618997.9088 | 1188620.2166 | 2618994.1256 | 1188628.5219
66 | 2619093.2939 | 1188458.8533 | 2619112.3057 | 1188438.6067
67 | 2618749.6431 | 1188451.9592 | 2618839.5454 | 1188540.0312 | 2618852.0811 | 1188558.9026
68 | 2618990.6066 | 1188671.7873 | 2618986.8818 | 1188687.128
69 | 2619133.7519 | 1188422.3201 | 2619115.0015 | 1188435.7357 | 2619112.3057 | 1188438.6067
70 | 2618749.6431 | 1188451.9592 | 2618725.4914 | 1188487.258 | 2618747.6013 | 1188507.3819
71 | 2618749.6431 | 1188451.9592 | 2618743.1781 | 1188446.0915 | 2618737.2678 | 1188411.5883 | 2618736.6254 | 1188397.4567 | 2618738.4844 | 1188388.3466 | 2618742.7591 | 1188382.4013 | 2618753.5446 | 1188370.1285 | 2618768.4434 | 1188357.1905 | 2618782.0843 | 1188348.951 | 2618807.7332 | 1188335.1573 | 2618833.3723 | 1188319.6295 | 2618845.8156 | 1188311.4754
72 | 2618845.8156 | 1188311.4754 | 2618850.1317 | 1188316.7028 | 2618861.3955 | 1188324.6423 | 2618944.6836 | 1188384.2024 | 2618954.8329 | 1188392.3609
73 | 2618930.4705 | 1188215.8804 | 2618923.5759 | 1188222.8512 | 2618914.5865 | 1188233.8175 | 2618903.7922 | 1188246.2901 | 2618894.1168 | 1188257.1097 | 2618888.0343 | 1188262.9937 | 2618879.8799 | 1188270.3942 | 2618875.8719 | 1188273.9501 | 2618867.9861 | 1188283.2635 | 2618857.887 | 1188295.4604 | 2618849.2873 | 1188306.2502 | 2618845.8156 | 1188311.4754
74 | 2618930.4705 | 1188215.8804 | 2618931.6181 | 1188209.9364 | 2618936.1676 | 1188196.7772 | 2618943.2994 | 1188184.7489 | 2618962.5637 | 1188159.2519 | 2618966.619 | 1188150.4267 | 2618968.4272 | 1188140.6384 | 2618967.4956 | 1188128.9071 | 2618958.3721 | 1188087.2177
75 | 2618930.4705 | 1188215.8804 | 2618931.0955 | 1188220.8627 | 2618933.0223 | 1188224.2372 | 2618937.6823 | 1188229.2323 | 2618976.7592 | 1188258.1152 | 2618987.7012 | 1188264.0974 | 2618989.4584 | 1188264.5508
76 | 2618943.5353 | 1188059.2172 | 2618951.8224 | 1188067.8701 | 2618956.3745 | 1188078.0898 | 2618958.3721 | 1188087.2177
77 | 2618989.4584 | 1188264.5508 | 2618996.5573 | 1188266.3822 | 2619007.6757 | 1188267.2178 | 2619014.9229 | 1188269.3307 | 2619021.3575 | 1188272.7195 | 2619023.7323 | 1188274.8221
78 | 2619032.1276 | 1188282.3921 | 2619026.8265 | 1188277.5616 | 2619023.7323 | 1188274.8221
79 | 2618943.5353 | 1188059.2172 | 2618986.4842 | 1187980.0219
80 | 2618986.4842 | 1187980.0219 | 2619000.5433 | 1187954.0977 | 2619009.4268 | 1187940.6409 | 2619021.0746 | 1187928.6715 | 2619050.9427 | 1187906.0271
81 | 2619206.0946 | 1187696.642 | 2619195.9572 | 1187717.0537
82 | 2619195.9572 | 1187717.0537 | 2619194.6697 | 1187719.6462
83 | 2619194.6697 | 1187719.6462 | 2619183.815 | 1187741.5021
84 | 2619182.6061 | 1187745.7373 | 2619183.815 | 1187741.5021 | 2619183.815 | 1187741.5021
85 | 2619129.6627 | 1187834.5448 | 2619163.1792 | 1187801.6233 | 2619170.2119 | 1187787.4606 | 2619175.5527 | 1187770.4465 | 2619182.6061 | 1187745.7373
86 | 2619129.6627 | 1187834.5448 | 2619146.6337 | 1187832.6868 | 2619173.5743 | 1187826.1916 | 2619199.1087 | 1187815.7788 | 2619208.4315 | 1187811.1839
87 | 2619129.6627 | 1187834.5448 | 2619111.4962 | 1187850.1063 | 2619066.69 | 1187892.527
88 | 2619066.69 | 1187892.527 | 2619058.4124 | 1187900.364 | 2619050.9427 | 1187906.0271
89 | 2619208.4315 | 1187811.1839 | 2619224.2529 | 1187803.3861 | 2619242.946 | 1187796.9654

## bus_geodata
| x | y | coords
0 | 2618967.5491 | 1189078.9784
1 | 2618926.2328 | 1189080.8545
2 | 2619436.2582 | 1188539.1344
3 | 2619652.9023 | 1188592.0095
4 | 2619218.9328 | 1188668.4214
5 | 2619728.4283 | 1188647.3307
6 | 2619677.7329 | 1188821.1001
7 | 2619112.548 | 1188699.9931
8 | 2619277.4662 | 1188834.5423
9 | 2619404.6173 | 1188278.6195
10 | 2619391.2708 | 1188272.1737
11 | 2619224.0738 | 1188202.3169
12 | 2619187.6343 | 1188340.9181
13 | 2619323.6539 | 1188240.1675
14 | 2619180.9253 | 1188214.1343
15 | 2618819.3821 | 1189134.6457
16 | 2618846.7958 | 1189159.3547
17 | 2618811.962 | 1189120.8724
18 | 2618844.8955 | 1189212.8468
19 | 2618794.7162 | 1189079.5297
20 | 2618816.6206 | 1189080.3148
21 | 2618672.3341 | 1189019.1864
22 | 2618634.4298 | 1189008.729
23 | 2618609.2599 | 1188997.6924
24 | 2618567.4316 | 1188979.8481
25 | 2618621.6219 | 1189003.6617
26 | 2618584.9177 | 1188955.8452
27 | 2618618.0115 | 1188952.9684
28 | 2619416.9638 | 1188854.3531
29 | 2619427.5635 | 1188870.0446
30 | 2619091.2893 | 1188574.7084
31 | 2619120.2779 | 1188552.8857
32 | 2619075.0072 | 1188591.2856
33 | 2619047.5517 | 1188661.8401
34 | 2619042.521 | 1188680.0782
35 | 2619041.302 | 1188623.0067
36 | 2619031.202 | 1188611.9073
37 | 2618924.286 | 1189053.5509
38 | 2618922.4974 | 1189028.4651
39 | 2618922.087 | 1189022.7102
40 | 2618897.6546 | 1188783.2971
41 | 2618923.9585 | 1188720.8916
42 | 2618801.0692 | 1188656.4661
43 | 2618815.4886 | 1188630.1809
44 | 2618793.246 | 1188669.7209
45 | 2618831.8208 | 1188634.2787
46 | 2618756.3634 | 1188749.6031
47 | 2618899.9579 | 1188645.2429
48 | 2618837.633 | 1188661.7845
49 | 2618760.5622 | 1188753.2181
50 | 2618931.792 | 1188657.8498
51 | 2618927.4856 | 1188676.2904
52 | 2618972.3772 | 1188667.3482
53 | 2618907.783 | 1188613.8955
54 | 2618828.8873 | 1188629.5843
55 | 2618920.5092 | 1188719.5957
56 | 2618781.302 | 1188614.539
57 | 2618803.2868 | 1188622.5004
58 | 2618787.8242 | 1188757.555
59 | 2618978.4643 | 1188664.5117
60 | 2618977.1019 | 1188668.4539
61 | 2618994.1256 | 1188628.5219
62 | 2619093.2939 | 1188458.8533
63 | 2618852.0811 | 1188558.9026
64 | 2618990.6066 | 1188671.7873
65 | 2619003.1518 | 1188618.1995
66 | 2619112.3057 | 1188438.6067
67 | 2618749.6431 | 1188451.9592
68 | 2618986.8818 | 1188687.128
69 | 2618747.6013 | 1188507.3819
70 | 2618845.8156 | 1188311.4754
71 | 2618954.8329 | 1188392.3609
72 | 2618930.4705 | 1188215.8804
73 | 2619133.7519 | 1188422.3201
74 | 2618958.3721 | 1188087.2177
75 | 2618989.4584 | 1188264.5508
76 | 2619429.5967 | 1188873.3641
77 | 2619023.7323 | 1188274.8221
78 | 2619032.1276 | 1188282.3921
79 | 2618943.5353 | 1188059.2172
80 | 2618986.4842 | 1187980.0219
81 | 2619206.0946 | 1187696.642
82 | 2619195.9572 | 1187717.0537
83 | 2619194.6697 | 1187719.6462
84 | 2619183.815 | 1187741.5021
85 | 2619182.6061 | 1187745.7373
86 | 2619129.6627 | 1187834.5448
87 | 2619066.69 | 1187892.5271
88 | 2619050.9427 | 1187906.0271
89 | 2619208.4315 | 1187811.1839
90 | 2619242.946 | 1187796.9654
91 | 2619120.2779 | 1188552.8857

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1