## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6151-11_1_6_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_6151-11_1_6_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_6151-11_1_6_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_6151-11_1_6_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_6151-11_1_6_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_6151-11_1_6_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_6151-11_1_6_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_6151-11_1_6_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6151-11_1_6_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6151-11_1_6_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6151-11_1_6_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6151-11_1_6_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6151-11_1_6_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_6151-11_1_6_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_6151-11_1_6_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_6151-11_1_6_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_6151-11_1_6_node_21 | 0.4 | n |  | TRUE
17 | bus_MV_204_0_node_198 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6151-11_1_6_load_6 | 0 | 0.010235 | 0.0025651 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6151-11_1_6_load_8 | 2 | 0.0050013 | 0.0012534 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6151-11_1_6_load_58 | 5 | 0.0091794 | 0.0023006 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6151-11_1_6_load_10 | 7 | 0.0095125 | 0.0023841 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6151-11_1_6_load_11 | 8 | 0.0031166 | 0.00078109 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6151-11_1_6_load_13 | 10 | 0.015901 | 0.0039853 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6151-11_1_6_load_14 | 11 | 0.0011624 | 0.00029132 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6151-11_1_6_load_16 | 12 | 0.028161 | 0.0070578 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6151-11_1_6_load_55 | 13 | 0.0040858 | 0.001024 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6151-11_1_6_load_22 | 15 | 0.0014682 | 0.00036796 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6151-11_1_6_load_21 | 16 | 0.0067481 | 0.0016912 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6151-11_1_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.10069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6151-11_1_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.31534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6151-11_1_6_line_2 | NAYY 4x150 SE | 2 | 3 | 0.59837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6151-11_1_6_line_3 | NAYY 4x150 SE | 3 | 14 | 0.02034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6151-11_1_6_line_4 | NAYY 4x150 SE | 4 | 5 | 0.21902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6151-11_1_6_line_5 | NAYY 4x150 SE | 4 | 6 | 0.82528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6151-11_1_6_line_6 | NAYY 4x150 SE | 6 | 13 | 0.038164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6151-11_1_6_line_7 | NAYY 4x150 SE | 6 | 14 | 0.4189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_6151-11_1_6_line_8 | NAYY 4x150 SE | 6 | 9 | 0.25518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6151-11_1_6_line_9 | NAYY 4x150 SE | 7 | 8 | 0.012846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6151-11_1_6_line_10 | NAYY 4x150 SE | 7 | 9 | 0.20062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6151-11_1_6_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0018069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6151-11_1_6_line_12 | NAYY 4x150 SE | 9 | 11 | 0.30553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6151-11_1_6_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0079867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6151-11_1_6_line_14 | NAYY 4x150 SE | 14 | 15 | 0.039757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6151-11_1_6_line_15 | NAYY 4x150 SE | 15 | 16 | 0.045379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6151-11_1_6_trafo_15 | 0.25 MVA 20/0.4 kV | 17 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63
0 | 2552813.3516 | 1113949.8735 | 2552812.7052 | 1113947.1993 | 2552813.4119 | 1113943.7476 | 2552815.7677 | 1113941.8171 | 2552821.629 | 1113938.8031 | 2552828.8716 | 1113936.6455 | 2552846.0736 | 1113935.0772 | 2552850.3683 | 1113933.1983 | 2552853.1864 | 1113931.1197 | 2552854.9463 | 1113928.0377 | 2552855.0574 | 1113925.4466 | 2552854.535 | 1113922.8271 | 2552851.0105 | 1113915.5285 | 2552850.1096 | 1113906.9644 | 2552849.4195 | 1113896.7089 | 2552848.9278 | 1113889.1198 | 2552845.9884 | 1113881.3101
1 | 2552813.3516 | 1113949.8735 | 2552820.7308 | 1113948.404 | 2552831.8788 | 1113949.8956 | 2552845.3375 | 1113954.5598 | 2552864.84 | 1113962.7898 | 2552877.5331 | 1113971.3065 | 2552886.7779 | 1113976.3371 | 2552893.7107 | 1113976.0496 | 2552899.6031 | 1113973.0577 | 2552903.3252 | 1113969.06 | 2552905.0879 | 1113962.365 | 2552907.2095 | 1113957.1346 | 2552911.4849 | 1113951.7763 | 2552917.0189 | 1113946.4082 | 2552924.9286 | 1113939.6542 | 2552928.5235 | 1113934.19 | 2552932.3281 | 1113926.9011 | 2552936.7246 | 1113922.22 | 2552944.1955 | 1113917.6261 | 2552957.1279 | 1113913.2232 | 2552974.2586 | 1113908.443 | 2552986.5082 | 1113904.6125 | 2553002.3853 | 1113899.4975 | 2553017.1213 | 1113896.6149 | 2553029.4053 | 1113896.2192 | 2553035.2707 | 1113897.6856 | 2553040.6285 | 1113900.4232 | 2553044.7512 | 1113903.2371 | 2553045.825 | 1113907.2642 | 2553044.4944 | 1113911.9325 | 2553038.0916 | 1113916.8403 | 2553023.7354 | 1113925.8565 | 2553015.6295 | 1113930.7736
2 | 2553394.7172 | 1113995.9007 | 2553392.3441 | 1113998.6204 | 2553384.7269 | 1114004.2932 | 2553378.4567 | 1114008.3881 | 2553369.0384 | 1114013.8413 | 2553355.6173 | 1114019.9813 | 2553347.3577 | 1114023.458 | 2553339.0984 | 1114025.9785 | 2553328.1286 | 1114028.5201 | 2553316.5289 | 1114032.5006 | 2553302.9472 | 1114036.8188 | 2553296.1165 | 1114039.3284 | 2553291.8431 | 1114041.9739 | 2553289.0763 | 1114044.6967 | 2553285.0524 | 1114049.6526 | 2553280.6246 | 1114054.2892 | 2553274.915 | 1114056.9569 | 2553268.1512 | 1114058.1209 | 2553260.5966 | 1114058.8908 | 2553252.2513 | 1114061.2565 | 2553242.808 | 1114065.4539 | 2553225.0492 | 1114073.8623 | 2553215.0665 | 1114079.209 | 2553207.095 | 1114081.9721 | 2553199.5504 | 1114082.0305 | 2553188.817 | 1114078.1782 | 2553171.0757 | 1114069.9001 | 2553163.0319 | 1114063.3368 | 2553154.0629 | 1114053.9791 | 2553148.4649 | 1114044.1396 | 2553143.4454 | 1114036.2077 | 2553138.1253 | 1114032.3246 | 2553130.2226 | 1114030.0291 | 2553122.2309 | 1114030.2023 | 2553112.5785 | 1114034.3126 | 2553103.0439 | 1114039.6671 | 2553090.2697 | 1114047.5147 | 2553079.509 | 1114054.1016 | 2553069.3087 | 1114060.2506 | 2553055.7268 | 1114065.5143 | 2553047.0705 | 1114067.6048 | 2553027.9446 | 1114069.999 | 2553014.9988 | 1114070.6555 | 2553008.5635 | 1114069.3604 | 2553004.3759 | 1114066.1357 | 2553002.872 | 1114061.4338 | 2553003.9445 | 1114054.3551 | 2553005.4157 | 1114047.8959 | 2553005.0883 | 1114041.5506 | 2553002.3798 | 1114033.8788 | 2553000.1887 | 1114029.1934 | 2552997.9019 | 1114025.109 | 2552995.4725 | 1114019.5695 | 2552990.0335 | 1114007.372 | 2552987.2265 | 1113996.9662 | 2552985.1666 | 1113981.3518 | 2552984.2874 | 1113970.5864 | 2552984.2143 | 1113961.182 | 2552987.7914 | 1113952.4275 | 2552992.8525 | 1113945.818 | 2552997.3613 | 1113940.6803 | 2553003.9226 | 1113936.3159 | 2553010.499 | 1113933.8858 | 2553015.6295 | 1113930.7736
3 | 2553394.7172 | 1113995.9007 | 2553397.474 | 1113998.881 | 2553396.7219 | 1114003.5003 | 2553394.0598 | 1114008.8014 | 2553390.3319 | 1114013.0879
4 | 2553233.0912 | 1113384.4071 | 2553222.13 | 1113405.1805 | 2553213.9178 | 1113419.8739 | 2553208.1079 | 1113429.6128 | 2553202.0941 | 1113437.9526 | 2553195.8732 | 1113443.4925 | 2553191.2383 | 1113448.3753 | 2553187.6291 | 1113453.0613 | 2553183.8349 | 1113458.7825 | 2553173.8157 | 1113480.4714 | 2553165.5299 | 1113497.6 | 2553159.0766 | 1113509.0115 | 2553153.7295 | 1113518.658 | 2553153.6318 | 1113521.9938 | 2553155.3745 | 1113532.5969 | 2553159.8284 | 1113537.2649 | 2553163.8544 | 1113538.5344 | 2553174.5199 | 1113539.4745 | 2553183.7099 | 1113540.3705 | 2553193.4134 | 1113542.7522 | 2553197.2673 | 1113542.7557 | 2553201.0701 | 1113542.1371
5 | 2553797.1635 | 1114112.8959 | 2553201.0701 | 1113542.1371
6 | 2553788.2651 | 1114150.0055 | 2553797.1635 | 1114112.8959
7 | 2553797.1635 | 1114112.8959 | 2553390.3319 | 1114013.0879
8 | 2554007.7438 | 1113985.0909 | 2553981.465 | 1113983.2899 | 2553978.3274 | 1113984.0253 | 2553977.4014 | 1113984.1101 | 2553970.8359 | 1113985.9944 | 2553959.5367 | 1113990.9608 | 2553941.9848 | 1114001.3443 | 2553925.8758 | 1114013.5845 | 2553912.2973 | 1114024.4603 | 2553894.873 | 1114035.3543 | 2553876.5302 | 1114044.2766 | 2553855.9973 | 1114053.6047 | 2553836.2222 | 1114068.1188 | 2553820.11 | 1114084.9394 | 2553807.1908 | 1114101.2132 | 2553797.1635 | 1114112.8959
9 | 2554178.2223 | 1113918.6957 | 2554178.2223 | 1113918.6957 | 2554189.9013 | 1113924.0454
10 | 2554007.7438 | 1113985.0909 | 2554009.7428 | 1113986.9656 | 2554016.8383 | 1113989.7798 | 2554025.5968 | 1113989.9021 | 2554039.9657 | 1113987.4583 | 2554063.4669 | 1113984.5227 | 2554079.03 | 1113983.7374 | 2554099.6299 | 1113984.1702 | 2554111.1526 | 1113983.2044 | 2554115.6975 | 1113981.6803 | 2554118.3067 | 1113977.4694 | 2554119.7031 | 1113972.2005 | 2554126.96 | 1113961.6844 | 2554131.6658 | 1113956.9463 | 2554137.6518 | 1113950.9533 | 2554145.943 | 1113942.3971 | 2554155.4849 | 1113932.7753 | 2554164.689 | 1113925.4462 | 2554178.2223 | 1113918.6957
11 | 2554189.9013 | 1113924.0454 | 2554191.5441 | 1113924.7979
12 | 2554007.7438 | 1113985.0909 | 2554005.4882 | 1113982.9848 | 2554004.1568 | 1113978.5259 | 2554004.3375 | 1113970.8094 | 2554008.8296 | 1113961.337 | 2554016.312 | 1113952.0753 | 2554028.7027 | 1113941.3421 | 2554043.4833 | 1113929.0345 | 2554054.3932 | 1113920.5806 | 2554059.6221 | 1113914.5599 | 2554062.3341 | 1113908.6251 | 2554062.3945 | 1113900.3203 | 2554061.6086 | 1113891.4106 | 2554064.0747 | 1113876.5063 | 2554068.5484 | 1113858.4852 | 2554073.1868 | 1113844.8762 | 2554081.46 | 1113828.8606 | 2554089.9289 | 1113815.2225 | 2554097.5175 | 1113803.6255 | 2554109.3404 | 1113788.2389 | 2554122.1795 | 1113773.4338 | 2554137.4213 | 1113758.7328 | 2554149.5051 | 1113747.1685 | 2554155.3849 | 1113739.3532 | 2554156.9782 | 1113735.8662
13 | 2554194.2114 | 1113932.3261 | 2554191.5441 | 1113924.7979 | 2554191.5441 | 1113924.7979
14 | 2553390.3319 | 1114013.0879 | 2553387.7817 | 1114011.8736 | 2553385.4257 | 1114012.7922 | 2553379.1417 | 1114016.0979 | 2553372.8594 | 1114019.626 | 2553365.6823 | 1114023.2721 | 2553361.533 | 1114025.9944 | 2553357.8524 | 1114030.4029 | 2553357.047 | 1114031.4765
15 | 2553327.8793 | 1114059.5888 | 2553328.4438 | 1114057.3438 | 2553328.5224 | 1114052.5184 | 2553329.8365 | 1114047.6836 | 2553332.8558 | 1114045.637 | 2553339.1415 | 1114042.5646 | 2553346.1146 | 1114041.4992 | 2553351.6204 | 1114039.4334 | 2553353.2812 | 1114036.4968 | 2553357.047 | 1114031.4765

## bus_geodata
| x | y | coords
0 | 2552845.9884 | 1113881.3101
1 | 2552813.3516 | 1113949.8735
2 | 2553015.6295 | 1113930.7736
3 | 2553394.7172 | 1113995.9007
4 | 2553201.0701 | 1113542.1371
5 | 2553233.0912 | 1113384.4071
6 | 2553797.1635 | 1114112.8959
7 | 2554178.2223 | 1113918.6957
8 | 2554189.9013 | 1113924.0454
9 | 2554007.7438 | 1113985.0909
10 | 2554191.5441 | 1113924.7979
11 | 2554156.9782 | 1113735.8662
12 | 2554194.2114 | 1113932.3261
13 | 2553788.2651 | 1114150.0055
14 | 2553390.3319 | 1114013.0879
15 | 2553357.047 | 1114031.4765
16 | 2553327.8793 | 1114059.5888
17 | 2553788.2651 | 1114150.0055

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1