## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6151-29_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6151-29_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6151-29_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6151-29_0_3_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_6151-29_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_6151-29_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_6151-29_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_6151-29_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6151-29_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6151-29_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6151-29_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6151-29_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6151-29_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_6151-29_0_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_6151-29_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_6151-29_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_6151-29_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_6151-29_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_6151-29_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6151-29_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_6151-29_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6151-29_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6151-29_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6151-29_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_6151-29_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6151-29_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_6151-29_0_3_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_6151-29_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_6151-29_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_6151-29_0_3_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_6151-29_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6151-29_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6151-29_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_MV_204_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6151-29_0_3_load_0 | 0 | 0.0027938 | 0.00070019 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6151-29_0_3_load_1 | 1 | 0.0044285 | 0.0011099 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6151-29_0_3_load_12 | 4 | 0.0023057 | 0.00057787 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6151-29_0_3_load_20 | 5 | 0.0078672 | 0.0019717 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6151-29_0_3_load_3 | 7 | 0.0025107 | 0.00062924 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6151-29_0_3_load_4 | 8 | 0.0027971 | 0.00070101 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6151-29_0_3_load_7 | 11 | 0.003532 | 0.00088519 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6151-29_0_3_load_16 | 12 | 0.0016919 | 0.00042403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6151-29_0_3_load_19 | 14 | 0.0047736 | 0.0011964 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6151-29_0_3_load_25 | 15 | 0.0027967 | 0.00070091 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6151-29_0_3_load_21 | 16 | 0.0029706 | 0.0007445 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6151-29_0_3_load_17 | 17 | 0.0045559 | 0.0011418 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6151-29_0_3_load_8 | 18 | 0.0028431 | 0.00071255 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6151-29_0_3_load_9 | 19 | 0.003589 | 0.00089949 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6151-29_0_3_load_11 | 20 | 0.0043883 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6151-29_0_3_load_14 | 22 | 0.0041779 | 0.0010471 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6151-29_0_3_load_32 | 23 | 0.0055634 | 0.0013943 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6151-29_0_3_load_15 | 24 | 0.0049614 | 0.0012434 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6151-29_0_3_load_29 | 25 | 0.0025105 | 0.00062919 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6151-29_0_3_load_31 | 26 | 0.0051677 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6151-29_0_3_load_28 | 27 | 0.0034874 | 0.00087402 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6151-29_0_3_load_30 | 28 | 0.0008729 | 0.00021877 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6151-29_0_3_load_33 | 29 | 0.002847 | 0.00071352 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6151-29_0_3_load_18 | 30 | 0.0034225 | 0.00085776 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6151-29_0_3_load_22 | 31 | 0.0056807 | 0.0014237 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6151-29_0_3_load_24 | 32 | 0.0042567 | 0.0010668 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6151-29_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6151-29_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.031497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6151-29_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.006072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6151-29_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.098716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6151-29_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.019164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6151-29_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.02253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6151-29_0_3_line_6 | NAYY 4x150 SE | 5 | 30 | 0.043825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6151-29_0_3_line_7 | NAYY 4x150 SE | 6 | 21 | 0.048541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6151-29_0_3_line_8 | NAYY 4x150 SE | 6 | 18 | 0.008521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6151-29_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.026009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6151-29_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.070264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6151-29_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.061383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6151-29_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.030137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6151-29_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.030324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6151-29_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.11274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6151-29_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.010709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6151-29_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0078025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6151-29_0_3_line_17 | NAYY 4x150 SE | 13 | 16 | 0.0058011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6151-29_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.024602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6151-29_0_3_line_19 | NAYY 4x150 SE | 15 | 27 | 0.03043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6151-29_0_3_line_20 | NAYY 4x150 SE | 16 | 31 | 0.041248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6151-29_0_3_line_21 | NAYY 4x150 SE | 17 | 30 | 0.021455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6151-29_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.033908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6151-29_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.0013302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6151-29_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.00046814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6151-29_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.021676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6151-29_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.050059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6151-29_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.054376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6151-29_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.011553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6151-29_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.11779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6151-29_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.016481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6151-29_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.0090023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6151-29_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 33 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2555809.9458 | 1115047.5429 | 2555820.3105 | 1115045.883 | 2555828.4008 | 1115046.2474
1 | 2555859.659 | 1115043.8279 | 2555851.547 | 1115045.3212 | 2555842.5227 | 1115046.6433 | 2555831.989 | 1115046.409 | 2555828.4008 | 1115046.2474
2 | 2555861.4541 | 1115049.6289 | 2555859.659 | 1115043.8279
3 | 2555859.659 | 1115043.8279 | 2555856.5406 | 1115038.6924 | 2555849.3097 | 1115031.8417 | 2555819.1861 | 1115010.3839 | 2555815.1988 | 1115005.7329 | 2555801.8218 | 1114990.4783 | 2555790.7437 | 1114981.2767 | 2555786.7568 | 1114978.3491
4 | 2555861.4541 | 1115049.6289 | 2555873.0183 | 1115044.0082 | 2555879.3083 | 1115044.4533
5 | 2555768.1752 | 1114965.6226 | 2555779.6812 | 1114973.1534 | 2555786.7568 | 1114978.3491
6 | 2555922.5703 | 1115051.0726 | 2555892.0999 | 1115045.3586 | 2555879.3083 | 1115044.4533
7 | 2555727.6502 | 1114938.9053 | 2555736.6231 | 1114946.3546 | 2555749.6016 | 1114954.6083 | 2555768.1752 | 1114965.6226
8 | 2555768.1752 | 1114965.6226 | 2555772.2708 | 1114973.0947
9 | 2555949.7752 | 1115086.9899 | 2555940.2481 | 1115090.5865 | 2555925.1231 | 1115095.2434
10 | 2556009.2251 | 1115057.0002 | 2556006.5964 | 1115065.0123 | 2555999.1449 | 1115071.3254 | 2555988.4731 | 1115076.4946 | 2555963.8798 | 1115081.6653 | 2555949.7752 | 1115086.9899
11 | 2556009.2251 | 1115057.0002 | 2556008.8484 | 1115050.8553 | 2556005.127 | 1115043.4786 | 2555998.5833 | 1115038.7348 | 2555972.2721 | 1115027.5206 | 2555963.6591 | 1115021.7136
12 | 2556009.2251 | 1115057.0002 | 2555979.1341 | 1115055.3373
13 | 2555963.6591 | 1115021.7136 | 2555958.8951 | 1115017.4906 | 2555944.8799 | 1114998.0595
14 | 2555869.827 | 1114967.5586 | 2555870.4619 | 1114965.6752 | 2555872.3483 | 1114966.006 | 2555882.4398 | 1114972.2912 | 2555896.2075 | 1114981.8513 | 2555912.3333 | 1114989.7378 | 2555922.7773 | 1114996.7208 | 2555932.1516 | 1115003.1336 | 2555943.311 | 1115010.8229 | 2555952.6518 | 1115020.0596 | 2555958.1626 | 1115022.9321 | 2555963.6591 | 1115021.7136
15 | 2555979.1341 | 1115055.3373 | 2555968.4413 | 1115054.7464
16 | 2555869.827 | 1114967.5586 | 2555862.4789 | 1114964.9346
17 | 2555869.827 | 1114967.5586 | 2555869.6597 | 1114970.0278 | 2555872.053 | 1114972.3378
18 | 2555968.4413 | 1115054.7464 | 2555943.8769 | 1115053.389
19 | 2555836.3402 | 1114950.2686 | 2555847.7091 | 1114959.6604 | 2555862.4789 | 1114964.9346
20 | 2555899.5582 | 1115003.0154 | 2555892.0374 | 1114993.421 | 2555883.4686 | 1114984.1788 | 2555876.324 | 1114976.4602 | 2555872.053 | 1114972.3378
21 | 2555922.5703 | 1115051.0726 | 2555923.94 | 1115051.3295 | 2555934.9312 | 1115052.8946 | 2555943.8769 | 1115053.389
22 | 2555781.9949 | 1115004.5371 | 2555781.7774 | 1115003.2092 | 2555781.2558 | 1114996.2872 | 2555781.9324 | 1114991.6688 | 2555780.0158 | 1114987.2249 | 2555772.2708 | 1114973.0947
23 | 2555781.9949 | 1115004.5371 | 2555782.2099 | 1115005.8499
24 | 2555782.2856 | 1115006.3118 | 2555782.2099 | 1115005.8499
25 | 2555727.6502 | 1114938.9053 | 2555727.9085 | 1114943.6059 | 2555732.6119 | 1114952.1648 | 2555737.3157 | 1114957.6332
26 | 2555827.4336 | 1114942.9109 | 2555857.2673 | 1114902.7129
27 | 2555857.2673 | 1114902.7129 | 2555894.4368 | 1114863.0249
28 | 2555827.4336 | 1114942.9109 | 2555836.3402 | 1114950.2686
29 | 2555894.4368 | 1114863.0249 | 2556011.3023 | 1114877.7478
30 | 2555892.0117 | 1114847.4455 | 2555895.7279 | 1114855.834 | 2555894.4368 | 1114863.0249
31 | 2555899.5582 | 1115003.0154 | 2555901.5772 | 1115005.5911 | 2555905.7713 | 1115009.4946

## bus_geodata
| x | y | coords
0 | 2555809.9458 | 1115047.5429
1 | 2555828.4008 | 1115046.2474
2 | 2555859.659 | 1115043.8279
3 | 2555861.4541 | 1115049.6289
4 | 2555786.7568 | 1114978.3491
5 | 2555879.3083 | 1115044.4533
6 | 2555768.1752 | 1114965.6226
7 | 2555949.7752 | 1115086.9899
8 | 2555925.1231 | 1115095.2434
9 | 2556009.2251 | 1115057.0002
10 | 2555963.6591 | 1115021.7136
11 | 2555979.1341 | 1115055.3373
12 | 2555944.8799 | 1114998.0595
13 | 2555869.827 | 1114967.5586
14 | 2555968.4413 | 1115054.7464
15 | 2555862.4789 | 1114964.9346
16 | 2555872.053 | 1114972.3378
17 | 2555943.8769 | 1115053.389
18 | 2555772.2708 | 1114973.0947
19 | 2555781.9949 | 1115004.5371
20 | 2555782.2099 | 1115005.8499
21 | 2555727.6502 | 1114938.9053
22 | 2555782.2856 | 1115006.3118
23 | 2555737.3157 | 1114957.6332
24 | 2555857.2673 | 1114902.7129
25 | 2555827.4336 | 1114942.9109
26 | 2555894.4368 | 1114863.0249
27 | 2555836.3402 | 1114950.2686
28 | 2555892.0117 | 1114847.4455
29 | 2556011.3023 | 1114877.7478
30 | 2555922.5703 | 1115051.0726
31 | 2555899.5582 | 1115003.0154
32 | 2555905.7713 | 1115009.4946
33 | 2555869.827 | 1114967.5586

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97926 | -0.14535 | 0.0027938 | 0.00070019
1 | 0.97934 | -0.1448 | 0.0044285 | 0.0011099
2 | 0.97967 | -0.14244 | 0 | 0
3 | 0.97994 | -0.14054 | 0 | 0
4 | 0.97637 | -0.16601 | 0.0023057 | 0.00057787
5 | 0.98078 | -0.13454 | 0.0078672 | 0.0019717
6 | 0.97569 | -0.17086 | 0 | 0
7 | 0.98878 | -0.078039 | 0.0025107 | 0.00062924
8 | 0.98867 | -0.078782 | 0.0027971 | 0.00070101
9 | 0.98932 | -0.07423 | 0 | 0
10 | 0.99463 | -0.037123 | 0 | 0
11 | 0.98694 | -0.090951 | 0.003532 | 0.00088519
12 | 0.99456 | -0.037641 | 0.0016919 | 0.00042403
13 | 0.99965 | -0.0024324 | 0 | 0
14 | 0.98615 | -0.096524 | 0.0047736 | 0.0011964
15 | 0.9994 | -0.0041995 | 0.0027967 | 0.00070091
16 | 1 | 0 | -0.095848 | -0.02397
17 | 0.9845 | -0.10815 | 0.0045559 | 0.0011418
18 | 0.97551 | -0.1722 | 0.0028431 | 0.00071255
19 | 0.9749 | -0.17653 | 0.003589 | 0.00089949
20 | 0.97489 | -0.17665 | 0.0043883 | 0.0010998
21 | 0.9753 | -0.1737 | 0 | 0
22 | 0.97488 | -0.17667 | 0.0041779 | 0.0010471
23 | 0.97512 | -0.17496 | 0.0055634 | 0.0013943
24 | 0.99727 | -0.019103 | 0.0049614 | 0.0012434
25 | 0.99826 | -0.012142 | 0.0025105 | 0.00062919
26 | 0.99658 | -0.023964 | 0.0051677 | 0.0012951
27 | 0.99853 | -0.010247 | 0.0034874 | 0.00087402
28 | 0.99656 | -0.024109 | 0.0008729 | 0.00021877
29 | 0.9961 | -0.027343 | 0.002847 | 0.00071352
30 | 0.9832 | -0.11731 | 0.0034225 | 0.00085776
31 | 0.99942 | -0.0040944 | 0.0056807 | 0.0014237
32 | 0.99936 | -0.0044774 | 0.0042567 | 0.0010668
33 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0027938 | -0.00070019 | 0.002794 | 0.00070003 | 2.0911e-07 | -1.5353e-07 | 0.0042452 | 0.0042451 | 0.0042452 | 0.97926 | -0.14535 | 0.97934 | -0.1448 | 1.5723
1 | -0.0072225 | -0.0018099 | 0.0072248 | 0.0018104 | 2.3668e-06 | 5.1386e-07 | 0.010974 | 0.010974 | 0.010974 | 0.97934 | -0.1448 | 0.97967 | -0.14244 | 4.0644
2 | -0.030195 | -0.0075779 | 0.030202 | 0.0075809 | 7.9708e-06 | 2.9892e-06 | 0.045866 | 0.045866 | 0.045866 | 0.97967 | -0.14244 | 0.97994 | -0.14054 | 16.9874
3 | 0.02297 | 0.0057675 | -0.022895 | -0.0057399 | 7.4997e-05 | 2.7606e-05 | 0.034892 | 0.034893 | 0.034893 | 0.97967 | -0.14244 | 0.97637 | -0.16601 | 12.9233
4 | -0.030202 | -0.0075809 | 0.030228 | 0.0075903 | 2.5156e-05 | 9.4338e-06 | 0.045866 | 0.045866 | 0.045866 | 0.97994 | -0.14054 | 0.98078 | -0.13454 | 16.9874
5 | 0.020589 | 0.005162 | -0.020575 | -0.005157 | 1.3843e-05 | 5.0425e-06 | 0.031379 | 0.031379 | 0.031379 | 0.97637 | -0.16601 | 0.97569 | -0.17086 | 11.6218
6 | -0.038095 | -0.009562 | 0.038186 | 0.0095966 | 9.1367e-05 | 3.4587e-05 | 0.057802 | 0.057802 | 0.057802 | 0.98078 | -0.13454 | 0.9832 | -0.11731 | 21.4081
7 | 0.0055666 | 0.0013947 | -0.0055644 | -0.0013944 | 2.183e-06 | 2.3362e-07 | 0.0084893 | 0.0084896 | 0.0084896 | 0.97569 | -0.17086 | 0.9753 | -0.1737 | 3.1443
8 | 0.015009 | 0.0037623 | -0.015006 | -0.0037613 | 2.7858e-06 | 9.6507e-07 | 0.02289 | 0.02289 | 0.02289 | 0.97569 | -0.17086 | 0.97551 | -0.1722 | 8.4776
9 | 0.0027974 | 0.00070079 | -0.0027971 | -0.00070101 | 2.8762e-07 | -2.2295e-07 | 0.0042097 | 0.0042098 | 0.0042098 | 0.98878 | -0.078039 | 0.98867 | -0.078782 | 1.5592
10 | -0.0053081 | -0.00133 | 0.0053109 | 0.0013302 | 2.7976e-06 | 1.7426e-07 | 0.007988 | 0.0079877 | 0.007988 | 0.98878 | -0.078039 | 0.98932 | -0.07423 | 2.9585
11 | -0.060077 | -0.015121 | 0.060389 | 0.01524 | 0.0003129 | 0.00011955 | 0.090383 | 0.090383 | 0.090383 | 0.98932 | -0.07423 | 0.99463 | -0.037123 | 33.4752
12 | 0.054766 | 0.01379 | -0.054638 | -0.013742 | 0.00012767 | 4.8718e-05 | 0.082395 | 0.082395 | 0.082395 | 0.98932 | -0.07423 | 0.98694 | -0.090951 | 30.5168
13 | 0.001692 | 0.00042368 | -0.0016919 | -0.00042403 | 1.2124e-07 | -3.4691e-07 | 0.0025312 | 0.0025314 | 0.0025314 | 0.99463 | -0.037123 | 0.99456 | -0.037641 | 0.93754
14 | -0.062081 | -0.015664 | 0.062385 | 0.015778 | 0.00030365 | 0.00011385 | 0.092914 | 0.092913 | 0.092914 | 0.99463 | -0.037123 | 0.99965 | -0.0024324 | 17.2063
15 | 0.051106 | 0.012856 | -0.051066 | -0.012841 | 3.9693e-05 | 1.513e-05 | 0.07707 | 0.07707 | 0.07707 | 0.98694 | -0.090951 | 0.98615 | -0.096524 | 28.5446
16 | 0.022691 | 0.0056894 | -0.022685 | -0.0056873 | 5.5547e-06 | 2.0342e-06 | 0.033777 | 0.033777 | 0.033777 | 0.99965 | -0.0024324 | 0.9994 | -0.0041995 | 12.51
17 | -0.085076 | -0.021467 | 0.085105 | 0.021478 | 2.905e-05 | 1.1021e-05 | 0.12669 | 0.12669 | 0.12669 | 0.99965 | -0.0024324 | 1 | 0 | 23.4611
18 | 0.046293 | 0.011645 | -0.046218 | -0.011616 | 7.4938e-05 | 2.8509e-05 | 0.069867 | 0.069867 | 0.069867 | 0.98615 | -0.096524 | 0.9845 | -0.10815 | 25.8768
19 | 0.019888 | 0.0049864 | -0.019872 | -0.0049804 | 1.6651e-05 | 6.006e-06 | 0.029613 | 0.029613 | 0.029613 | 0.9994 | -0.0041995 | 0.99853 | -0.010247 | 10.9678
20 | 0.0099432 | 0.0024921 | -0.0099376 | -0.0024905 | 5.6345e-06 | 1.6263e-06 | 0.014796 | 0.014796 | 0.014796 | 1 | 0 | 0.99942 | -0.0040944 | 5.4799
21 | 0.041662 | 0.010475 | -0.041609 | -0.010454 | 5.3105e-05 | 2.0153e-05 | 0.062981 | 0.062981 | 0.062981 | 0.9845 | -0.10815 | 0.9832 | -0.11731 | 23.3265
22 | 0.012163 | 0.0030488 | -0.012155 | -0.0030464 | 7.283e-06 | 2.3781e-06 | 0.018553 | 0.018553 | 0.018553 | 0.97551 | -0.1722 | 0.9749 | -0.17653 | 6.8715
23 | 0.0085663 | 0.0021469 | -0.0085662 | -0.0021469 | 1.4191e-07 | 3.7992e-08 | 0.013075 | 0.013075 | 0.013075 | 0.9749 | -0.17653 | 0.97489 | -0.17665 | 4.8426
24 | 0.0041779 | 0.0010471 | -0.0041779 | -0.0010471 | 1.1879e-08 | -1.2682e-09 | 0.0063769 | 0.0063769 | 0.0063769 | 0.97489 | -0.17665 | 0.97488 | -0.17667 | 2.3618
25 | 0.0055644 | 0.0013944 | -0.0055634 | -0.0013943 | 9.7485e-07 | 1.0449e-07 | 0.0084896 | 0.0084896 | 0.0084896 | 0.9753 | -0.1737 | 0.97512 | -0.17496 | 3.1443
26 | -0.013856 | -0.0034712 | 0.01387 | 0.0034757 | 1.3351e-05 | 4.4813e-06 | 0.020674 | 0.020674 | 0.020674 | 0.99727 | -0.019103 | 0.99826 | -0.012142 | 7.6571
27 | 0.0088949 | 0.0022278 | -0.0088889 | -0.0022262 | 5.9763e-06 | 1.5896e-06 | 0.013271 | 0.013272 | 0.013272 | 0.99727 | -0.019103 | 0.99658 | -0.023964 | 4.9154
28 | -0.01638 | -0.0041049 | 0.016384 | 0.0041064 | 4.2976e-06 | 1.5018e-06 | 0.024416 | 0.024416 | 0.024416 | 0.99826 | -0.012142 | 0.99853 | -0.010247 | 9.043
29 | 0.0028483 | 0.00071249 | -0.002847 | -0.00071352 | 1.3293e-06 | -1.0228e-06 | 0.0042524 | 0.0042529 | 0.0042529 | 0.99658 | -0.023964 | 0.9961 | -0.027343 | 1.5752
30 | 0.00087291 | 0.00021856 | -0.0008729 | -0.00021877 | 1.7469e-08 | -2.0802e-07 | 0.0013033 | 0.0013034 | 0.0013034 | 0.99658 | -0.023964 | 0.99656 | -0.024109 | 0.48273
31 | 0.0042569 | 0.0010668 | -0.0042567 | -0.0010668 | 2.2565e-07 | -3.1169e-08 | 0.006338 | 0.006338 | 0.006338 | 0.99942 | -0.0040944 | 0.99936 | -0.0044774 | 2.3474

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.098819 | 0.024715

## res_load
| p_mw | q_mvar
0 | 0.0027938 | 0.00070019
1 | 0.0044285 | 0.0011099
2 | 0.0023057 | 0.00057787
3 | 0.0078672 | 0.0019717
4 | 0.0025107 | 0.00062924
5 | 0.0027971 | 0.00070101
6 | 0.003532 | 0.00088519
7 | 0.0016919 | 0.00042403
8 | 0.0047736 | 0.0011964
9 | 0.0027967 | 0.00070091
10 | 0.0029706 | 0.0007445
11 | 0.0045559 | 0.0011418
12 | 0.0028431 | 0.00071255
13 | 0.003589 | 0.00089949
14 | 0.0043883 | 0.0010998
15 | 0.0041779 | 0.0010471
16 | 0.0055634 | 0.0013943
17 | 0.0049614 | 0.0012434
18 | 0.0025105 | 0.00062919
19 | 0.0051677 | 0.0012951
20 | 0.0034874 | 0.00087402
21 | 0.0008729 | 0.00021877
22 | 0.002847 | 0.00071352
23 | 0.0034225 | 0.00085776
24 | 0.0056807 | 0.0014237
25 | 0.0042567 | 0.0010668

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1