## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6151-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6151-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6151-2_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6151-2_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6151-2_0_3_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_6151-2_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_6151-2_0_3_node_94 | 0.4 | n |  | TRUE
7 | bus_LV_6151-2_0_3_node_92 | 0.4 | n |  | TRUE
8 | bus_LV_6151-2_0_3_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_6151-2_0_3_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_6151-2_0_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_6151-2_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_6151-2_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6151-2_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6151-2_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6151-2_0_3_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_6151-2_0_3_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_6151-2_0_3_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_6151-2_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_6151-2_0_3_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_6151-2_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_6151-2_0_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_6151-2_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_6151-2_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_6151-2_0_3_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_6151-2_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6151-2_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_6151-2_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6151-2_0_3_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_6151-2_0_3_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_6151-2_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_6151-2_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_6151-2_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_6151-2_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_6151-2_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6151-2_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6151-2_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6151-2_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6151-2_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6151-2_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6151-2_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_6151-2_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6151-2_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_6151-2_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6151-2_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6151-2_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_MV_204_0_node_203 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6151-2_0_3_load_0 | 0 | 0.008852 | 0.0022185 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6151-2_0_3_load_3 | 2 | 0.0056354 | 0.0014124 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6151-2_0_3_load_40 | 4 | 0.0010257 | 0.00025707 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6151-2_0_3_load_8 | 5 | 0.0031713 | 0.00079481 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6151-2_0_3_load_94 | 6 | 0.0029549 | 0.00074056 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6151-2_0_3_load_92 | 7 | 0.0064283 | 0.0016111 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6151-2_0_3_load_41 | 8 | 0.0011774 | 0.00029509 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6151-2_0_3_load_42 | 9 | 0.0013154 | 0.00032968 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6151-2_0_3_load_17 | 10 | 0.0026242 | 0.00065768 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6151-2_0_3_load_91 | 15 | 0.00088884 | 0.00022276 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6151-2_0_3_load_35 | 17 | 0.0010176 | 0.00025504 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6151-2_0_3_load_36 | 18 | 0.0006765 | 0.00016955 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6151-2_0_3_load_95 | 19 | 0.0042831 | 0.0010734 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6151-2_0_3_load_32 | 21 | 0.00089842 | 0.00022517 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6151-2_0_3_load_26 | 22 | 0.0010488 | 0.00026285 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6151-2_0_3_load_37 | 23 | 0.00085512 | 0.00021431 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6151-2_0_3_load_19 | 25 | 0.0020686 | 0.00051845 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6151-2_0_3_load_16 | 26 | 0.0026446 | 0.00066281 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6151-2_0_3_load_18 | 27 | 0.0025088 | 0.00062876 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6151-2_0_3_load_11 | 28 | 0.0030363 | 0.00076098 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6151-2_0_3_load_12 | 29 | 0.0023857 | 0.00059792 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6151-2_0_3_load_13 | 30 | 0.0025853 | 0.00064795 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6151-2_0_3_load_15 | 31 | 0.0037781 | 0.00094687 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6151-2_0_3_load_31 | 32 | 0.0011673 | 0.00029255 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6151-2_0_3_load_14 | 33 | 0.0020566 | 0.00051543 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6151-2_0_3_load_21 | 35 | 0.0007938 | 0.00019895 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6151-2_0_3_load_22 | 36 | 0.0010565 | 0.00026479 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6151-2_0_3_load_24 | 38 | 0.00059169 | 0.00014829 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6151-2_0_3_load_25 | 39 | 0.00079381 | 0.00019895 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6151-2_0_3_load_38 | 40 | 0.001139 | 0.00028546 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6151-2_0_3_load_34 | 41 | 0.00077497 | 0.00019423 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6151-2_0_3_load_39 | 42 | 0.0011046 | 0.00027683 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6151-2_0_3_load_27 | 43 | 0.0026408 | 0.00066184 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6151-2_0_3_load_28 | 44 | 0.0010957 | 0.00027461 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6151-2_0_3_load_30 | 45 | 0.00081659 | 0.00020466 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6151-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0046893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6151-2_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.041988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6151-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.039029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6151-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.43651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6151-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.028852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6151-2_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.0097411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6151-2_0_3_line_6 | NAYY 4x150 SE | 4 | 9 | 0.3384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6151-2_0_3_line_7 | NAYY 4x150 SE | 5 | 10 | 0.26853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6151-2_0_3_line_8 | NAYY 4x150 SE | 5 | 11 | 0.10911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6151-2_0_3_line_9 | NAYY 4x150 SE | 6 | 7 | 0.34956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6151-2_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.037411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6151-2_0_3_line_11 | NAYY 4x150 SE | 9 | 19 | 0.042087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6151-2_0_3_line_12 | NAYY 4x150 SE | 10 | 26 | 0.10601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6151-2_0_3_line_13 | NAYY 4x150 SE | 11 | 24 | 0.001985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6151-2_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.025905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6151-2_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.055278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6151-2_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.029604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6151-2_0_3_line_17 | NAYY 4x150 SE | 13 | 16 | 0.086631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6151-2_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.016681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6151-2_0_3_line_19 | NAYY 4x150 SE | 14 | 18 | 0.02377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6151-2_0_3_line_20 | NAYY 4x150 SE | 16 | 20 | 0.095777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6151-2_0_3_line_21 | NAYY 4x150 SE | 16 | 21 | 0.054207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6151-2_0_3_line_22 | NAYY 4x150 SE | 17 | 22 | 0.037425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6151-2_0_3_line_23 | NAYY 4x150 SE | 18 | 23 | 0.0071957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6151-2_0_3_line_24 | NAYY 4x150 SE | 20 | 28 | 0.010811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6151-2_0_3_line_25 | NAYY 4x150 SE | 20 | 24 | 0.082171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6151-2_0_3_line_26 | NAYY 4x150 SE | 21 | 45 | 0.019992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6151-2_0_3_line_27 | NAYY 4x150 SE | 22 | 37 | 0.021619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6151-2_0_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.040332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6151-2_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.036457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6151-2_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.03258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6151-2_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.34064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6151-2_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.23001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6151-2_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.0011758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6151-2_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.071741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6151-2_0_3_line_35 | NAYY 4x150 SE | 34 | 43 | 0.030286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6151-2_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.0091871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6151-2_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.012478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6151-2_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.021367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6151-2_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.02946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6151-2_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.011091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6151-2_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.022489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6151-2_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.024971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6151-2_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.033658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6151-2_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.041712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6151-2_0_3_trafo_33 | 0.25 MVA 20/0.4 kV | 46 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2554268.6 | 1113371.1599 | 2554268.2711 | 1113366.4822
1 | 2554268.6 | 1113371.1599 | 2554277.6041 | 1113379.1293 | 2554286.4993 | 1113395.1705 | 2554293.7996 | 1113404.213
2 | 2554233.9779 | 1113378.6368 | 2554236.1948 | 1113374.5957 | 2554238.7534 | 1113372.831 | 2554254.6317 | 1113374.7007 | 2554259.6866 | 1113375.185 | 2554264.0184 | 1113375.041 | 2554268.6 | 1113371.1599
3 | 2554293.7996 | 1113404.213 | 2554702.8118 | 1113251.7321
4 | 2554233.9779 | 1113378.6368 | 2554232.8627 | 1113376.1995 | 2554229.7189 | 1113375.1339 | 2554221.6282 | 1113375.6065 | 2554214.6048 | 1113376.2711 | 2554210.6877 | 1113376.1007 | 2554207.0256 | 1113375.1964
5 | 2554702.8118 | 1113251.7321 | 2554702.8501 | 1113250.8962 | 2554702.7834 | 1113241.9921
6 | 2554702.8118 | 1113251.7321 | 2554770.0855 | 1113583.3771
7 | 2554207.0256 | 1113375.1964 | 2553983.3736 | 1113226.568
8 | 2554207.0256 | 1113375.1964 | 2554104.7649 | 1113337.1388
9 | 2554118.7471 | 1113309.9852 | 2554301.6457 | 1113012.0899
10 | 2554104.7649 | 1113337.1388 | 2554102.12 | 1113329.566 | 2554105.362 | 1113315.0672 | 2554109.1332 | 1113312.2927 | 2554118.7471 | 1113309.9852
11 | 2554770.0855 | 1113583.3771 | 2554809.9307 | 1113596.9307
12 | 2553896.6751 | 1113272.1764 | 2553904.0013 | 1113274.7552 | 2553912.1753 | 1113276.0714 | 2553915.5743 | 1113276.1566 | 2553921.0695 | 1113273.5912 | 2553924.9651 | 1113270.9268 | 2553930.1631 | 1113266.874 | 2553936.8322 | 1113262.2764 | 2553942.3185 | 1113258.5437 | 2553956.1721 | 1113253.1243 | 2553969.3589 | 1113247.3543 | 2553973.4729 | 1113242.9429 | 2553974.9286 | 1113240.3749 | 2553977.6535 | 1113236.1186 | 2553981.6319 | 1113229.0958 | 2553983.3736 | 1113226.568
13 | 2554102.8138 | 1113337.5315 | 2554104.7649 | 1113337.1388
14 | 2554282.1257 | 1113473.5221 | 2554277.7298 | 1113469.2753 | 2554271.9363 | 1113467.1069 | 2554264.9283 | 1113464.6808 | 2554258.9067 | 1113463.0033
15 | 2554282.1257 | 1113473.5221 | 2554281.0651 | 1113476.2649 | 2554278.4609 | 1113478.1188 | 2554274.6426 | 1113477.7253 | 2554268.2061 | 1113476.3288 | 2554261.858 | 1113476.3879 | 2554254.1082 | 1113479.0257 | 2554247.1805 | 1113483.1358 | 2554240.9336 | 1113488.408 | 2554236.5361 | 1113495.167
16 | 2554258.9067 | 1113463.0033 | 2554254.3098 | 1113464.8501 | 2554248.6974 | 1113466.1933 | 2554243.7326 | 1113467.3981 | 2554235.189 | 1113470.2531 | 2554230.7471 | 1113472.1766
17 | 2554181.2474 | 1113476.198 | 2554185.808 | 1113475.6854 | 2554187.3454 | 1113472.6833 | 2554189.94 | 1113467.5276 | 2554195.537 | 1113462.1046 | 2554202.4728 | 1113459.0616 | 2554213.489 | 1113456.3435 | 2554225.4069 | 1113455.4194 | 2554237.3689 | 1113457.241 | 2554250.167 | 1113461.3796 | 2554258.9067 | 1113463.0033
18 | 2554236.5361 | 1113495.167 | 2554234.1789 | 1113500.0652 | 2554232.5783 | 1113505.9359 | 2554231.943 | 1113511.0568
19 | 2554236.5361 | 1113495.167 | 2554232.8248 | 1113493.6054 | 2554229.6171 | 1113495.3195 | 2554223.3601 | 1113498.2461 | 2554215.6693 | 1113501.5171 | 2554215.1142 | 1113502.1497
20 | 2554181.2474 | 1113476.198 | 2554107.412 | 1113415.1927
21 | 2554181.2474 | 1113476.198 | 2554179.8921 | 1113478.7651 | 2554176.4561 | 1113485.0055 | 2554168.982 | 1113495.4676 | 2554159.4894 | 1113509.6469 | 2554153.4571 | 1113520.8096 | 2554152.7853 | 1113522.2292
22 | 2554220.1567 | 1113546.4365 | 2554223.4262 | 1113537.5661 | 2554229.644 | 1113522.3333 | 2554231.6174 | 1113513.6805 | 2554231.943 | 1113511.0568
23 | 2554215.1142 | 1113502.1497 | 2554210.368 | 1113507.5582
24 | 2554107.412 | 1113415.1927 | 2554102.2077 | 1113418.4227 | 2554099.131 | 1113421.9564
25 | 2554107.412 | 1113415.1927 | 2554105.4615 | 1113408.5373 | 2554106.5486 | 1113398.1236 | 2554107.3491 | 1113379.4412 | 2554106.7823 | 1113369.8961 | 2554111.2036 | 1113357.1225 | 2554112.2722 | 1113350.3665 | 2554109.2277 | 1113344.0752 | 2554102.8138 | 1113337.5315
26 | 2554143.9383 | 1113540.1443 | 2554145.1929 | 1113538.0923 | 2554148.8582 | 1113530.5273 | 2554152.7853 | 1113522.2292
27 | 2554210.8742 | 1113565.9092 | 2554217.5914 | 1113553.3963 | 2554220.1567 | 1113546.4365
28 | 2554102.8138 | 1113337.5315 | 2554074.8357 | 1113366.5813
29 | 2554074.8357 | 1113366.5813 | 2554072.9377 | 1113363.7831 | 2554066.5891 | 1113362.7864 | 2554057.5542 | 1113364.0223 | 2554052.278 | 1113365.93 | 2554045.6264 | 1113370.7831 | 2554042.1486 | 1113372.0048
30 | 2553615.9971 | 1113852.0456 | 2553617.6628 | 1113851.656 | 2553629.622 | 1113851.1752 | 2553637.473 | 1113852.7714 | 2553643.8682 | 1113854.8679 | 2553647.7481 | 1113856.3657
31 | 2553789.1651 | 1113546.4675 | 2553647.7481 | 1113856.3657
32 | 2554003.3866 | 1113630.2229 | 2553789.1651 | 1113546.4675
33 | 2553789.1651 | 1113546.4675 | 2553788.7564 | 1113545.365
34 | 2554069.1984 | 1113606.5824 | 2554056.585 | 1113608.4347 | 2554042.0562 | 1113611.3021 | 2554033.1443 | 1113612.4149 | 2554026.3131 | 1113613.9343 | 2554018.4687 | 1113618.3073 | 2554011.4044 | 1113623.7083 | 2554003.3866 | 1113630.2229
35 | 2554069.1984 | 1113606.5824 | 2554069.6304 | 1113601.432 | 2554073.1847 | 1113595.5464 | 2554081.5476 | 1113591.3029 | 2554089.6616 | 1113587.7346
36 | 2554205.8885 | 1113577.348 | 2554204.953 | 1113579.4944 | 2554202.4332 | 1113585.8594
37 | 2554210.8742 | 1113565.9092 | 2554205.8885 | 1113577.348
38 | 2554202.4332 | 1113585.8594 | 2554199.7089 | 1113592.741 | 2554194.6298 | 1113603.3072 | 2554193.9141 | 1113605.4324
39 | 2554210.8742 | 1113565.9092 | 2554214.3844 | 1113565.3935 | 2554221.3893 | 1113563.3282 | 2554229.1321 | 1113561.8244 | 2554234.7376 | 1113560.6036 | 2554237.6003 | 1113559.2256 | 2554239.1485 | 1113558.2919
40 | 2554193.9141 | 1113605.4324 | 2554190.9967 | 1113614.0959 | 2554190.5638 | 1113615.9971
41 | 2554252.9562 | 1113541.1223 | 2554249.7263 | 1113544.9932 | 2554245.8469 | 1113552.8599 | 2554242.0056 | 1113556.5687 | 2554239.1485 | 1113558.2919
42 | 2554190.5638 | 1113615.9971 | 2554189.143 | 1113622.2364 | 2554188.3615 | 1113630.1909 | 2554188.5304 | 1113637.1933 | 2554188.5698 | 1113640.7682
43 | 2554089.6616 | 1113587.7346 | 2554093.7405 | 1113585.9409 | 2554101.9895 | 1113581.9429 | 2554109.8835 | 1113579.0036 | 2554116.1127 | 1113577.5223 | 2554120.3148 | 1113574.4444
44 | 2554143.9383 | 1113540.1443 | 2554139.9826 | 1113546.614 | 2554134.2853 | 1113554.0722 | 2554126.0989 | 1113566.3296 | 2554120.8823 | 1113574.0287 | 2554120.3148 | 1113574.4444

## bus_geodata
| x | y | coords
0 | 2554268.2711 | 1113366.4822
1 | 2554268.6 | 1113371.1599
2 | 2554293.7996 | 1113404.213
3 | 2554233.9779 | 1113378.6368
4 | 2554702.8118 | 1113251.7321
5 | 2554207.0256 | 1113375.1964
6 | 2554301.6457 | 1113012.0899
7 | 2554118.7471 | 1113309.9852
8 | 2554702.7834 | 1113241.9921
9 | 2554770.0855 | 1113583.3771
10 | 2553983.3736 | 1113226.568
11 | 2554104.7649 | 1113337.1388
12 | 2554282.1257 | 1113473.5221
13 | 2554258.9067 | 1113463.0033
14 | 2554236.5361 | 1113495.167
15 | 2554230.7471 | 1113472.1766
16 | 2554181.2474 | 1113476.198
17 | 2554231.943 | 1113511.0568
18 | 2554215.1142 | 1113502.1497
19 | 2554809.9307 | 1113596.9307
20 | 2554107.412 | 1113415.1927
21 | 2554152.7853 | 1113522.2292
22 | 2554220.1567 | 1113546.4365
23 | 2554210.368 | 1113507.5582
24 | 2554102.8138 | 1113337.5315
25 | 2554074.8357 | 1113366.5813
26 | 2553896.6751 | 1113272.1764
27 | 2554042.1486 | 1113372.0048
28 | 2554099.131 | 1113421.9564
29 | 2553615.9971 | 1113852.0456
30 | 2553647.7481 | 1113856.3657
31 | 2553789.1651 | 1113546.4675
32 | 2554003.3866 | 1113630.2229
33 | 2553788.7564 | 1113545.365
34 | 2554069.1984 | 1113606.5824
35 | 2554205.8885 | 1113577.348
36 | 2554202.4332 | 1113585.8594
37 | 2554210.8742 | 1113565.9092
38 | 2554193.9141 | 1113605.4324
39 | 2554239.1485 | 1113558.2919
40 | 2554190.5638 | 1113615.9971
41 | 2554252.9562 | 1113541.1223
42 | 2554188.5698 | 1113640.7682
43 | 2554089.6616 | 1113587.7346
44 | 2554120.3148 | 1113574.4444
45 | 2554143.9383 | 1113540.1443
46 | 2554258.9067 | 1113463.0033

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98077 | -0.13517 | 0.008852 | 0.0022185
1 | 0.98083 | -0.13474 | 0 | 0
2 | 0.98001 | -0.14063 | 0.0056354 | 0.0014124
3 | 0.9821 | -0.1257 | 0 | 0
4 | 0.97502 | -0.17646 | 0.0010257 | 0.00025707
5 | 0.98304 | -0.11902 | 0.0031713 | 0.00079481
6 | 0.98592 | -0.098675 | 0.0029549 | 0.00074056
7 | 0.98741 | -0.088026 | 0.0064283 | 0.0016111
8 | 0.975 | -0.17658 | 0.0011774 | 0.00029509
9 | 0.97224 | -0.19648 | 0.0013154 | 0.00032968
10 | 0.98098 | -0.13373 | 0.0026242 | 0.00065768
11 | 0.98792 | -0.084421 | 0 | 0
12 | 0.9983 | -0.011895 | 0 | 0
13 | 0.99867 | -0.0093323 | 0 | 0
14 | 0.99753 | -0.017368 | 0 | 0
15 | 0.99863 | -0.0095961 | 0.00088884 | 0.00022276
16 | 1 | 0 | -0.077688 | -0.019361
17 | 0.99733 | -0.018763 | 0.0010176 | 0.00025504
18 | 0.99747 | -0.017733 | 0.0006765 | 0.00016955
19 | 0.97198 | -0.19838 | 0.0042831 | 0.0010734
20 | 0.99337 | -0.04611 | 0 | 0
21 | 0.99864 | -0.0094828 | 0.00089842 | 0.00022517
22 | 0.99694 | -0.021513 | 0.0010488 | 0.00026285
23 | 0.99747 | -0.017795 | 0.00085512 | 0.00021431
24 | 0.98803 | -0.083603 | 0 | 0
25 | 0.98777 | -0.085493 | 0.0020686 | 0.00051845
26 | 0.98057 | -0.13664 | 0.0026446 | 0.00066281
27 | 0.98764 | -0.08643 | 0.0025088 | 0.00062876
28 | 0.99332 | -0.046442 | 0.0030363 | 0.00076098
29 | 0.98863 | -0.080107 | 0.0023857 | 0.00059792
30 | 0.98875 | -0.079313 | 0.0025853 | 0.00064795
31 | 0.99119 | -0.062001 | 0.0037781 | 0.00094687
32 | 0.99476 | -0.036733 | 0.0011673 | 0.00029255
33 | 0.99118 | -0.062025 | 0.0020566 | 0.00051543
34 | 0.996 | -0.028036 | 0 | 0
35 | 0.99666 | -0.023462 | 0.0007938 | 0.00019895
36 | 0.99661 | -0.023822 | 0.0010565 | 0.00026479
37 | 0.99674 | -0.022874 | 0 | 0
38 | 0.99652 | -0.024432 | 0.00059169 | 0.00014829
39 | 0.99668 | -0.023339 | 0.00079381 | 0.00019895
40 | 0.99649 | -0.024682 | 0.001139 | 0.00028546
41 | 0.99665 | -0.023515 | 0.00077497 | 0.00019423
42 | 0.99645 | -0.02496 | 0.0011046 | 0.00027683
43 | 0.99652 | -0.02437 | 0.0026408 | 0.00066184
44 | 0.99723 | -0.019407 | 0.0010957 | 0.00027461
45 | 0.99817 | -0.012806 | 0.00081659 | 0.00020466
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.008852 | -0.0022185 | 0.0088525 | 0.0022187 | 5.2778e-07 | 1.4381e-07 | 0.01343 | 0.01343 | 0.01343 | 0.98077 | -0.13517 | 0.98083 | -0.13474 | 4.9741
1 | 0.013503 | 0.0033823 | -0.013492 | -0.0033786 | 1.0995e-05 | 3.6995e-06 | 0.020485 | 0.020486 | 0.020486 | 0.98083 | -0.13474 | 0.98001 | -0.14063 | 7.5873
2 | -0.022356 | -0.005601 | 0.022384 | 0.0056113 | 2.8013e-05 | 1.0281e-05 | 0.033915 | 0.033915 | 0.033915 | 0.98083 | -0.13474 | 0.9821 | -0.1257 | 12.5613
3 | 0.0078571 | 0.0019663 | -0.0078183 | -0.0019568 | 3.8767e-05 | 9.4381e-06 | 0.011929 | 0.011931 | 0.011931 | 0.98001 | -0.14063 | 0.97502 | -0.17646 | 4.4189
4 | -0.022384 | -0.0056113 | 0.022405 | 0.0056189 | 2.0709e-05 | 7.5994e-06 | 0.033915 | 0.033915 | 0.033915 | 0.9821 | -0.1257 | 0.98304 | -0.11902 | 12.5612
5 | 0.0011775 | 0.00029498 | -0.0011774 | -0.00029509 | 1.9627e-08 | -1.1394e-07 | 0.0017969 | 0.001797 | 0.001797 | 0.97502 | -0.17646 | 0.975 | -0.17658 | 0.66554
6 | 0.0056151 | 0.0014048 | -0.0055996 | -0.001403 | 1.5506e-05 | 1.7555e-06 | 0.0085686 | 0.0085701 | 0.0085701 | 0.97502 | -0.17646 | 0.97224 | -0.19648 | 3.1741
7 | 0.0052806 | 0.0013203 | -0.0052699 | -0.0013196 | 1.0705e-05 | 7.1978e-07 | 0.0079921 | 0.0079933 | 0.0079933 | 0.98304 | -0.11902 | 0.98098 | -0.13373 | 2.9605
8 | -0.030857 | -0.007734 | 0.031005 | 0.0077897 | 0.00014854 | 5.5739e-05 | 0.046708 | 0.046707 | 0.046708 | 0.98304 | -0.11902 | 0.98792 | -0.084421 | 17.2991
9 | -0.0029549 | -0.00074056 | 0.0029592 | 0.00073777 | 4.3368e-06 | -2.7965e-06 | 0.0044597 | 0.0044581 | 0.0044597 | 0.98592 | -0.098675 | 0.98741 | -0.088026 | 1.6517
10 | -0.0093875 | -0.0023489 | 0.0093922 | 0.0023502 | 4.6711e-06 | 1.3178e-06 | 0.014146 | 0.014145 | 0.014146 | 0.98741 | -0.088026 | 0.98792 | -0.084421 | 5.2391
11 | 0.0042842 | 0.0010734 | -0.0042831 | -0.0010734 | 1.1291e-06 | -8.751e-08 | 0.0065568 | 0.006557 | 0.006557 | 0.97224 | -0.19648 | 0.97198 | -0.19838 | 2.4285
12 | 0.0026457 | 0.00066188 | -0.0026446 | -0.00066281 | 1.0652e-06 | -9.2806e-07 | 0.0040127 | 0.0040132 | 0.0040132 | 0.98098 | -0.13373 | 0.98057 | -0.13664 | 1.4864
13 | -0.040397 | -0.01014 | 0.040402 | 0.010142 | 4.5867e-06 | 1.7387e-06 | 0.060853 | 0.060853 | 0.060853 | 0.98792 | -0.084421 | 0.98803 | -0.083603 | 22.538
14 | -0.0098666 | -0.0024709 | 0.00987 | 0.0024719 | 3.4958e-06 | 1.0057e-06 | 0.014706 | 0.014706 | 0.014706 | 0.9983 | -0.011895 | 0.99867 | -0.0093323 | 5.4466
15 | 0.0098666 | 0.0024709 | -0.0098591 | -0.0024687 | 7.4597e-06 | 2.1469e-06 | 0.014706 | 0.014706 | 0.014706 | 0.9983 | -0.011895 | 0.99753 | -0.017368 | 5.4467
16 | 0.00088887 | 0.00022239 | -0.00088884 | -0.00022276 | 3.24e-08 | -3.7488e-07 | 0.0013243 | 0.0013244 | 0.0013244 | 0.99867 | -0.0093323 | 0.99863 | -0.0095961 | 0.49052
17 | -0.010759 | -0.0026943 | 0.010773 | 0.0026985 | 1.389e-05 | 4.2074e-06 | 0.01603 | 0.01603 | 0.01603 | 0.99867 | -0.0093323 | 1 | 0 | 5.937
18 | 0.0083274 | 0.0020852 | -0.0083258 | -0.0020848 | 1.606e-06 | 3.9998e-07 | 0.012421 | 0.012421 | 0.012421 | 0.99753 | -0.017368 | 0.99733 | -0.018763 | 4.6005
19 | 0.0015317 | 0.00038349 | -0.0015316 | -0.00038377 | 7.7429e-08 | -2.8051e-07 | 0.0022847 | 0.0022848 | 0.0022848 | 0.99753 | -0.017368 | 0.99747 | -0.017733 | 0.84624
20 | 0.048565 | 0.012258 | -0.048253 | -0.012139 | 0.00031238 | 0.0001189 | 0.072296 | 0.072296 | 0.072296 | 1 | 0 | 0.99337 | -0.04611 | 26.7764
21 | 0.01755 | 0.0044043 | -0.017527 | -0.0043962 | 2.3073e-05 | 8.1639e-06 | 0.026117 | 0.026118 | 0.026118 | 1 | 0 | 0.99864 | -0.0094828 | 9.6732
22 | 0.0073081 | 0.0018298 | -0.0073054 | -0.0018292 | 2.7763e-06 | 5.7961e-07 | 0.010903 | 0.010903 | 0.010903 | 0.99733 | -0.018763 | 0.99694 | -0.021513 | 4.0383
23 | 0.00085513 | 0.00021422 | -0.00085512 | -0.00021431 | 7.3068e-09 | -9.1115e-08 | 0.0012756 | 0.0012757 | 0.0012757 | 0.99747 | -0.017733 | 0.99747 | -0.017795 | 0.47247
24 | 0.0030365 | 0.00076089 | -0.0030363 | -0.00076098 | 1.3956e-07 | -8.6267e-08 | 0.0045485 | 0.0045485 | 0.0045485 | 0.99337 | -0.04611 | 0.99332 | -0.046442 | 1.6846
25 | 0.045216 | 0.011378 | -0.044981 | -0.011288 | 0.00023534 | 8.9458e-05 | 0.067748 | 0.067748 | 0.067748 | 0.99337 | -0.04611 | 0.98803 | -0.083603 | 25.092
26 | 0.016629 | 0.004171 | -0.016621 | -0.0041683 | 7.6595e-06 | 2.6845e-06 | 0.024779 | 0.024779 | 0.024779 | 0.99864 | -0.0094828 | 0.99817 | -0.012806 | 9.1774
27 | 0.0062566 | 0.0015664 | -0.0062554 | -0.0015662 | 1.1763e-06 | 1.7059e-07 | 0.0093379 | 0.009338 | 0.009338 | 0.99694 | -0.021513 | 0.99674 | -0.022874 | 3.4585
28 | 0.004579 | 0.0011468 | -0.0045778 | -0.0011469 | 1.1968e-06 | -5.6099e-08 | 0.0068958 | 0.006896 | 0.006896 | 0.98803 | -0.083603 | 0.98777 | -0.085493 | 2.5541
29 | 0.0025091 | 0.00062842 | -0.0025088 | -0.00062876 | 3.2501e-07 | -3.416e-07 | 0.0037797 | 0.0037798 | 0.0037798 | 0.98777 | -0.085493 | 0.98764 | -0.08643 | 1.3999
30 | -0.0023857 | -0.00059792 | 0.002386 | 0.0005976 | 2.6213e-07 | -3.17e-07 | 0.0035908 | 0.0035907 | 0.0035908 | 0.98863 | -0.080107 | 0.98875 | -0.079313 | 1.3299
31 | -0.0049713 | -0.0012456 | 0.0049832 | 0.0012457 | 1.1895e-05 | 1.9533e-07 | 0.0074815 | 0.00748 | 0.0074815 | 0.98875 | -0.079313 | 0.99119 | -0.062001 | 2.7709
32 | -0.010818 | -0.002708 | 0.010856 | 0.0027196 | 3.7848e-05 | 1.1581e-05 | 0.016239 | 0.016238 | 0.016239 | 0.99119 | -0.062001 | 0.99476 | -0.036733 | 6.0145
33 | 0.0020566 | 0.00051541 | -0.0020566 | -0.00051543 | 6.9941e-09 | -1.2465e-08 | 0.0030874 | 0.0030874 | 0.0030874 | 0.99119 | -0.062001 | 0.99118 | -0.062025 | 1.1435
34 | -0.012023 | -0.0030122 | 0.012037 | 0.0030168 | 1.4479e-05 | 4.6362e-06 | 0.017984 | 0.017984 | 0.017984 | 0.99476 | -0.036733 | 0.996 | -0.028036 | 6.6608
35 | -0.012037 | -0.0030168 | 0.012044 | 0.0030188 | 6.1121e-06 | 1.9564e-06 | 0.017984 | 0.017984 | 0.017984 | 0.996 | -0.028036 | 0.99652 | -0.02437 | 6.6607
36 | 0.0038923 | 0.00097471 | -0.0038921 | -0.00097475 | 1.9358e-07 | -4.5265e-08 | 0.0058109 | 0.005811 | 0.005811 | 0.99666 | -0.023462 | 0.99661 | -0.023822 | 2.1522
37 | -0.0046861 | -0.0011737 | 0.0046865 | 0.0011736 | 3.811e-07 | -1.6048e-08 | 0.0069961 | 0.006996 | 0.0069961 | 0.99666 | -0.023462 | 0.99674 | -0.022874 | 2.5911
38 | 0.0028356 | 0.00070997 | -0.0028354 | -0.00071016 | 2.3897e-07 | -1.8649e-07 | 0.0042335 | 0.0042336 | 0.0042336 | 0.99661 | -0.023822 | 0.99652 | -0.024432 | 1.568
39 | 0.0015689 | 0.00039254 | -0.0015688 | -0.00039289 | 1.0083e-07 | -3.4518e-07 | 0.0023419 | 0.0023421 | 0.0023421 | 0.99674 | -0.022874 | 0.99668 | -0.023339 | 0.86744
40 | 0.0022437 | 0.00056186 | -0.0022436 | -0.00056198 | 7.7678e-08 | -1.1462e-07 | 0.0033501 | 0.0033502 | 0.0033502 | 0.99652 | -0.024432 | 0.99649 | -0.024682 | 1.2408
41 | 0.00077499 | 0.00019394 | -0.00077497 | -0.00019423 | 1.8785e-08 | -2.8585e-07 | 0.0011569 | 0.001157 | 0.001157 | 0.99668 | -0.023339 | 0.99665 | -0.023515 | 0.42854
42 | 0.0011046 | 0.00027652 | -0.0011046 | -0.00027683 | 4.2392e-08 | -3.0899e-07 | 0.0016494 | 0.0016495 | 0.0016495 | 0.99649 | -0.024682 | 0.99645 | -0.02496 | 0.61092
43 | -0.014684 | -0.0036806 | 0.014694 | 0.003684 | 1.0098e-05 | 3.445e-06 | 0.021927 | 0.021927 | 0.021927 | 0.99652 | -0.02437 | 0.99723 | -0.019407 | 8.1211
44 | -0.01579 | -0.0039587 | 0.015805 | 0.0039637 | 1.445e-05 | 5.0128e-06 | 0.023562 | 0.023562 | 0.023562 | 0.99723 | -0.019407 | 0.99817 | -0.012806 | 8.7266

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.077688 | 0.019361

## res_load
| p_mw | q_mvar
0 | 0.008852 | 0.0022185
1 | 0.0056354 | 0.0014124
2 | 0.0010257 | 0.00025707
3 | 0.0031713 | 0.00079481
4 | 0.0029549 | 0.00074056
5 | 0.0064283 | 0.0016111
6 | 0.0011774 | 0.00029509
7 | 0.0013154 | 0.00032968
8 | 0.0026242 | 0.00065768
9 | 0.00088884 | 0.00022276
10 | 0.0010176 | 0.00025504
11 | 0.0006765 | 0.00016955
12 | 0.0042831 | 0.0010734
13 | 0.00089842 | 0.00022517
14 | 0.0010488 | 0.00026285
15 | 0.00085512 | 0.00021431
16 | 0.0020686 | 0.00051845
17 | 0.0026446 | 0.00066281
18 | 0.0025088 | 0.00062876
19 | 0.0030363 | 0.00076098
20 | 0.0023857 | 0.00059792
21 | 0.0025853 | 0.00064795
22 | 0.0037781 | 0.00094687
23 | 0.0011673 | 0.00029255
24 | 0.0020566 | 0.00051543
25 | 0.0007938 | 0.00019895
26 | 0.0010565 | 0.00026479
27 | 0.00059169 | 0.00014829
28 | 0.00079381 | 0.00019895
29 | 0.001139 | 0.00028546
30 | 0.00077497 | 0.00019423
31 | 0.0011046 | 0.00027683
32 | 0.0026408 | 0.00066184
33 | 0.0010957 | 0.00027461
34 | 0.00081659 | 0.00020466

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1