## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6151-40_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6151-40_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6151-40_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6151-40_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6151-40_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6151-40_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6151-40_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_6151-40_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_6151-40_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6151-40_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6151-40_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6151-40_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_6151-40_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6151-40_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6151-40_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_6151-40_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_6151-40_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_6151-40_0_3_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_6151-40_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_6151-40_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6151-40_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6151-40_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6151-40_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_6151-40_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6151-40_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6151-40_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_6151-40_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6151-40_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6151-40_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_6151-40_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6151-40_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_6151-40_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_6151-40_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_6151-40_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_6151-40_0_3_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_6151-40_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6151-40_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_MV_204_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6151-40_0_3_load_0 | 0 | 0.0019375 | 0.00048558 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6151-40_0_3_load_1 | 1 | 0.0068103 | 0.0017068 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6151-40_0_3_load_3 | 3 | 0.0048661 | 0.0012196 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6151-40_0_3_load_4 | 4 | 0.0030903 | 0.00077451 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6151-40_0_3_load_5 | 5 | 0.0033801 | 0.00084713 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6151-40_0_3_load_10 | 6 | 0.0056181 | 0.001408 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6151-40_0_3_load_6 | 8 | 0.002222 | 0.00055688 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6151-40_0_3_load_9 | 9 | 0.0069247 | 0.0017355 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6151-40_0_3_load_19 | 11 | 0.0048101 | 0.0012055 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6151-40_0_3_load_7 | 12 | 0.0029352 | 0.00073562 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6151-40_0_3_load_8 | 13 | 0.0035739 | 0.00089571 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6151-40_0_3_load_16 | 14 | 0.0044176 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6151-40_0_3_load_17 | 15 | 0.0075511 | 0.0018925 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6151-40_0_3_load_26 | 16 | 0.0037202 | 0.00093238 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6151-40_0_3_load_18 | 18 | 0.0066277 | 0.0016611 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6151-40_0_3_load_12 | 19 | 0.0023496 | 0.00058888 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6151-40_0_3_load_13 | 20 | 0.0026356 | 0.00066054 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6151-40_0_3_load_27 | 21 | 0.0044128 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6151-40_0_3_load_28 | 22 | 0.0043201 | 0.0010827 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6151-40_0_3_load_20 | 23 | 0.004173 | 0.0010458 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6151-40_0_3_load_21 | 24 | 0.0035048 | 0.00087839 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6151-40_0_3_load_24 | 25 | 0.0026076 | 0.00065353 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6151-40_0_3_load_22 | 26 | 0.0061444 | 0.0015399 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6151-40_0_3_load_23 | 27 | 0.0047064 | 0.0011795 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6151-40_0_3_load_30 | 28 | 0.0022639 | 0.00056739 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6151-40_0_3_load_25 | 29 | 0.0074393 | 0.0018645 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6151-40_0_3_load_31 | 30 | 0.0026025 | 0.00065226 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6151-40_0_3_load_33 | 31 | 0.0022916 | 0.00057433 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6151-40_0_3_load_34 | 32 | 0.0023722 | 0.00059453 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6151-40_0_3_load_35 | 33 | 0.0024595 | 0.0006164 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6151-40_0_3_load_40 | 34 | 0.0033053 | 0.00082839 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6151-40_0_3_load_36 | 35 | 0.0024364 | 0.00061063 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6151-40_0_3_load_41 | 36 | 0.005123 | 0.0012839 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6151-40_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0010003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6151-40_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6151-40_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.036029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6151-40_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.012509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6151-40_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0099372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6151-40_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.029186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6151-40_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.03542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6151-40_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.0043516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6151-40_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.033097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6151-40_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.046485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6151-40_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.031852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6151-40_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.019497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6151-40_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.051445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6151-40_0_3_line_13 | NAYY 4x150 SE | 10 | 15 | 0.052759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6151-40_0_3_line_14 | NAYY 4x150 SE | 11 | 18 | 0.0057293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6151-40_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.022618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6151-40_0_3_line_16 | NAYY 4x150 SE | 14 | 20 | 0.16064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6151-40_0_3_line_17 | NAYY 4x150 SE | 14 | 21 | 0.019547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6151-40_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.035697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6151-40_0_3_line_19 | NAYY 4x150 SE | 17 | 34 | 0.0064835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6151-40_0_3_line_20 | NAYY 4x150 SE | 18 | 23 | 0.053788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6151-40_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.033936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6151-40_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.014844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6151-40_0_3_line_23 | NAYY 4x150 SE | 23 | 24 | 0.0077401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6151-40_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.019265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6151-40_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.0012106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6151-40_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.030734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_6151-40_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.053045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6151-40_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.029022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6151-40_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.018644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6151-40_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.00097876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6151-40_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.013544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6151-40_0_3_line_32 | NAYY 4x150 SE | 32 | 33 | 0.01257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6151-40_0_3_line_33 | NAYY 4x150 SE | 33 | 35 | 0.014816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6151-40_0_3_line_34 | NAYY 4x150 SE | 34 | 36 | 0.040106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6151-40_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.053504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6151-40_0_3_trafo_23 | 0.25 MVA 20/0.4 kV | 37 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2556684.0917 | 1115057.2156 | 2556684.7016 | 1115058.0085
1 | 2556670.3788 | 1115036.293 | 2556678.1563 | 1115049.4996 | 2556684.0917 | 1115057.2156
2 | 2556707.58 | 1115085.8188 | 2556695.1315 | 1115071.5672 | 2556684.7016 | 1115058.0085
3 | 2556670.3788 | 1115036.293 | 2556672.8867 | 1115031.7616 | 2556671.2603 | 1115024.614 | 2556671.2603 | 1115024.614
4 | 2556670.3788 | 1115036.293 | 2556666.4205 | 1115037.7443 | 2556661.0629 | 1115035.7372 | 2556661.0629 | 1115035.7372
5 | 2556707.58 | 1115085.8188 | 2556720.1872 | 1115098.5239 | 2556726.676 | 1115107.7593
6 | 2556721.811 | 1115118.2559 | 2556715.9805 | 1115104.1125 | 2556707.58 | 1115085.8188
7 | 2556668.9558 | 1115020.9226 | 2556671.2603 | 1115024.614
8 | 2556661.0629 | 1115035.7372 | 2556633.4212 | 1115017.5335
9 | 2556742.0284 | 1115151.0503 | 2556740.7496 | 1115143.9114 | 2556737.1805 | 1115127.4728 | 2556730.5935 | 1115113.3349 | 2556726.676 | 1115107.7593
10 | 2556721.811 | 1115118.2559 | 2556716.3946 | 1115118.806 | 2556711.5402 | 1115116.962 | 2556698.7378 | 1115107.182 | 2556694.4629 | 1115104.3932
11 | 2556668.9558 | 1115020.9226 | 2556662.4025 | 1115010.4257 | 2556658.495 | 1115004.4707
12 | 2556742.0284 | 1115151.0503 | 2556745.2552 | 1115166.0572 | 2556750.3879 | 1115177.6598 | 2556761.141 | 1115194.5806 | 2556762.2826 | 1115197.7404
13 | 2556742.0284 | 1115151.0503 | 2556739.828 | 1115166.1739 | 2556741.812 | 1115177.988 | 2556747.2399 | 1115189.8442 | 2556752.8322 | 1115200.9755
14 | 2556689.6645 | 1115101.2628 | 2556694.4629 | 1115104.3932
15 | 2556643.9589 | 1114987.3728 | 2556652.2381 | 1114994.935 | 2556658.495 | 1115004.4707
16 | 2556762.2826 | 1115197.7404 | 2556918.6247 | 1115160.831
17 | 2556762.2826 | 1115197.7404 | 2556765.119 | 1115205.5911 | 2556766.7271 | 1115216.6742
18 | 2556678.7355 | 1115235.8473 | 2556685.6864 | 1115231.7954 | 2556691.5089 | 1115227.596 | 2556694.891 | 1115221.1685 | 2556695.8241 | 1115208.0772 | 2556695.8443 | 1115207.9952
19 | 2556678.7355 | 1115235.8473 | 2556672.2522 | 1115235.8094
20 | 2556689.6645 | 1115101.2628 | 2556680.2981 | 1115095.1523 | 2556661.2062 | 1115078.336 | 2556656.9517 | 1115075.0982 | 2556652.9854 | 1115074.3596 | 2556648.9739 | 1115074.8552 | 2556646.0715 | 1115077.2132
21 | 2556938.0238 | 1115188.0971 | 2556927.191 | 1115177.0751 | 2556922.7607 | 1115170.8035 | 2556919.4248 | 1115163.1788 | 2556918.6247 | 1115160.831
22 | 2556766.7271 | 1115216.6742 | 2556766.7271 | 1115216.6742 | 2556767.1077 | 1115227.7884 | 2556767.9193 | 1115231.4223
23 | 2556646.0715 | 1115077.2132 | 2556645.5501 | 1115077.6368 | 2556643.9662 | 1115081.7947 | 2556643.9261 | 1115084.4134
24 | 2556655.0747 | 1115099.8108 | 2556645.7307 | 1115088.8079 | 2556643.9136 | 1115085.2302 | 2556643.9261 | 1115084.4134
25 | 2556655.8584 | 1115100.7336 | 2556655.0747 | 1115099.8108
26 | 2556655.8584 | 1115100.7336 | 2556664.3573 | 1115110.7413 | 2556674.6863 | 1115119.0716 | 2556678.0381 | 1115121.8211
27 | 2556655.8584 | 1115100.7336 | 2556621.4947 | 1115141.1427
28 | 2556697.7814 | 1115142.8962 | 2556686.2668 | 1115128.5713 | 2556678.0381 | 1115121.8211
29 | 2556621.4947 | 1115141.1427 | 2556634.7534 | 1115154.25
30 | 2556634.7534 | 1115154.25 | 2556635.4494 | 1115154.9381 | 2556635.4494 | 1115154.9381
31 | 2556635.4494 | 1115154.9381 | 2556641.0679 | 1115162.1126 | 2556642.9036 | 1115166.1459
32 | 2556642.9036 | 1115166.1459 | 2556643.5351 | 1115170.2213 | 2556642.8828 | 1115175.084 | 2556640.4762 | 1115177.68
33 | 2556640.4762 | 1115177.68 | 2556639.7185 | 1115178.4974 | 2556633.8808 | 1115182.7415 | 2556627.9166 | 1115185.2841
34 | 2556672.2522 | 1115235.8094 | 2556646.2901 | 1115235.6576 | 2556632.4553 | 1115238.5957
35 | 2556632.4553 | 1115238.5957 | 2556627.9166 | 1115185.2841

## bus_geodata
| x | y | coords
0 | 2556684.0917 | 1115057.2156
1 | 2556684.7016 | 1115058.0085
2 | 2556670.3788 | 1115036.293
3 | 2556707.58 | 1115085.8188
4 | 2556671.2603 | 1115024.614
5 | 2556661.0629 | 1115035.7372
6 | 2556726.676 | 1115107.7593
7 | 2556721.811 | 1115118.2559
8 | 2556668.9558 | 1115020.9226
9 | 2556633.4212 | 1115017.5335
10 | 2556742.0284 | 1115151.0503
11 | 2556694.4629 | 1115104.3932
12 | 2556658.495 | 1115004.4707
13 | 2556643.9589 | 1114987.3728
14 | 2556762.2826 | 1115197.7404
15 | 2556752.8322 | 1115200.9755
16 | 2556695.8443 | 1115207.9952
17 | 2556678.7355 | 1115235.8473
18 | 2556689.6645 | 1115101.2628
19 | 2556938.0238 | 1115188.0971
20 | 2556918.6247 | 1115160.831
21 | 2556766.7271 | 1115216.6742
22 | 2556767.9193 | 1115231.4223
23 | 2556646.0715 | 1115077.2132
24 | 2556643.9261 | 1115084.4134
25 | 2556655.0747 | 1115099.8108
26 | 2556655.8584 | 1115100.7336
27 | 2556678.0381 | 1115121.8211
28 | 2556621.4947 | 1115141.1426
29 | 2556697.7814 | 1115142.8962
30 | 2556634.7534 | 1115154.25
31 | 2556635.4494 | 1115154.9381
32 | 2556642.9036 | 1115166.1459
33 | 2556640.4762 | 1115177.68
34 | 2556672.2522 | 1115235.8094
35 | 2556627.9166 | 1115185.2841
36 | 2556632.4553 | 1115238.5957
37 | 2556697.7814 | 1115142.8962

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97881 | -0.14851 | 0.0019375 | 0.00048558
1 | 0.97885 | -0.14826 | 0.0068103 | 0.0017068
2 | 0.97801 | -0.15429 | 0 | 0
3 | 0.98047 | -0.13668 | 0.0048661 | 0.0012196
4 | 0.97779 | -0.15584 | 0.0030903 | 0.00077451
5 | 0.97786 | -0.15536 | 0.0033801 | 0.00084713
6 | 0.97914 | -0.14619 | 0.0056181 | 0.001408
7 | 0.98393 | -0.1121 | 0 | 0
8 | 0.97773 | -0.15623 | 0.002222 | 0.00055688
9 | 0.97752 | -0.15775 | 0.0069247 | 0.0017355
10 | 0.97739 | -0.15866 | 0 | 0
11 | 0.98705 | -0.090133 | 0.0048101 | 0.0012055
12 | 0.97755 | -0.15756 | 0.0029352 | 0.00073562
13 | 0.97743 | -0.1584 | 0.0035739 | 0.00089571
14 | 0.97603 | -0.16844 | 0.0044176 | 0.0011072
15 | 0.97681 | -0.16283 | 0.0075511 | 0.0018925
16 | 0.99203 | -0.055711 | 0.0037202 | 0.00093238
17 | 0.99222 | -0.054364 | 0 | 0
18 | 0.98765 | -0.085915 | 0.0066277 | 0.0016611
19 | 0.97474 | -0.17769 | 0.0023496 | 0.00058888
20 | 0.97486 | -0.17685 | 0.0026356 | 0.00066054
21 | 0.97578 | -0.17023 | 0.0044128 | 0.001106
22 | 0.97569 | -0.1709 | 0.0043201 | 0.0010827
23 | 0.99379 | -0.042956 | 0.004173 | 0.0010458
24 | 0.99473 | -0.036492 | 0.0035048 | 0.00087839
25 | 0.99714 | -0.019777 | 0.0026076 | 0.00065353
26 | 0.9973 | -0.018698 | 0.0061444 | 0.0015399
27 | 1 | 0 | -0.13161 | -0.033021
28 | 0.99527 | -0.032883 | 0.0022639 | 0.00056739
29 | 0.99969 | -0.0021559 | 0.0074393 | 0.0018645
30 | 0.99462 | -0.037456 | 0.0026025 | 0.00065226
31 | 0.99459 | -0.037671 | 0.0022916 | 0.00057433
32 | 0.99422 | -0.040327 | 0.0023722 | 0.00059453
33 | 0.99391 | -0.042493 | 0.0024595 | 0.0006164
34 | 0.99226 | -0.054119 | 0.0033053 | 0.00082839
35 | 0.9936 | -0.044679 | 0.0024364 | 0.00061063
36 | 0.99266 | -0.051262 | 0.005123 | 0.0012839
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.02409 | -0.0060394 | 0.024091 | 0.0060397 | 8.3721e-07 | 3.0943e-07 | 0.036623 | 0.036623 | 0.036623 | 0.97881 | -0.14851 | 0.97885 | -0.14826 | 13.564
1 | 0.022152 | 0.0055538 | -0.022135 | -0.0055473 | 1.7736e-05 | 6.5069e-06 | 0.033677 | 0.033677 | 0.033677 | 0.97881 | -0.14851 | 0.97801 | -0.15429 | 12.4731
2 | -0.030901 | -0.0077465 | 0.030951 | 0.0077652 | 4.9611e-05 | 1.8627e-05 | 0.046975 | 0.046975 | 0.046975 | 0.97885 | -0.14826 | 0.98047 | -0.13668 | 17.3983
3 | 0.011826 | 0.0029638 | -0.011823 | -0.0029629 | 2.5271e-06 | 8.1504e-07 | 0.017993 | 0.017993 | 0.017993 | 0.97801 | -0.15429 | 0.97779 | -0.15584 | 6.6641
4 | 0.010309 | 0.0025836 | -0.010307 | -0.0025831 | 1.5254e-06 | 4.6202e-07 | 0.015684 | 0.015684 | 0.015684 | 0.97801 | -0.15429 | 0.97786 | -0.15536 | 5.8091
5 | 0.031428 | 0.0078881 | -0.031387 | -0.0078726 | 4.144e-05 | 1.5571e-05 | 0.047702 | 0.047702 | 0.047702 | 0.98047 | -0.13668 | 0.97914 | -0.14619 | 17.6673
6 | -0.067245 | -0.016873 | 0.067475 | 0.016961 | 0.00023023 | 8.8101e-05 | 0.10206 | 0.10206 | 0.10206 | 0.98047 | -0.13668 | 0.98393 | -0.1121 | 37.8007
7 | 0.0087332 | 0.0021884 | -0.0087327 | -0.0021883 | 4.7962e-07 | 1.2989e-07 | 0.01329 | 0.01329 | 0.01329 | 0.97779 | -0.15584 | 0.97773 | -0.15623 | 4.9223
8 | 0.006927 | 0.001736 | -0.0069247 | -0.0017355 | 2.2948e-06 | 4.6755e-07 | 0.010541 | 0.010541 | 0.010541 | 0.97786 | -0.15536 | 0.97752 | -0.15775 | 3.9041
9 | 0.025769 | 0.0064645 | -0.025724 | -0.006448 | 4.4491e-05 | 1.6528e-05 | 0.039164 | 0.039164 | 0.039164 | 0.97914 | -0.14619 | 0.97739 | -0.15866 | 14.5051
10 | -0.067475 | -0.016961 | 0.067682 | 0.01704 | 0.00020704 | 7.9223e-05 | 0.10206 | 0.10206 | 0.10206 | 0.98393 | -0.1121 | 0.98705 | -0.090133 | 37.8007
11 | 0.0065107 | 0.0016314 | -0.0065095 | -0.0016312 | 1.1945e-06 | 2.1494e-07 | 0.0099085 | 0.0099086 | 0.0099086 | 0.97773 | -0.15623 | 0.97755 | -0.15756 | 3.6699
12 | 0.018169 | 0.0045545 | -0.018144 | -0.0045457 | 2.4563e-05 | 8.8034e-06 | 0.027661 | 0.027662 | 0.027662 | 0.97739 | -0.15866 | 0.97603 | -0.16844 | 10.245
13 | 0.0075554 | 0.0018935 | -0.0075511 | -0.0018925 | 4.356e-06 | 1.0145e-06 | 0.011503 | 0.011503 | 0.011503 | 0.97739 | -0.15866 | 0.97681 | -0.16283 | 4.2603
14 | -0.072493 | -0.018246 | 0.072535 | 0.018262 | 4.272e-05 | 1.6357e-05 | 0.10931 | 0.10931 | 0.10931 | 0.98705 | -0.090133 | 0.98765 | -0.085915 | 40.4863
15 | 0.0035743 | 0.00089559 | -0.0035739 | -0.00089571 | 4.178e-07 | -1.2283e-07 | 0.0054408 | 0.0054409 | 0.0054409 | 0.97755 | -0.15756 | 0.97743 | -0.1584 | 2.0151
16 | 0.0049913 | 0.0012493 | -0.0049855 | -0.0012491 | 5.804e-06 | 2.2706e-07 | 0.0076089 | 0.0076097 | 0.0076097 | 0.97603 | -0.16844 | 0.97486 | -0.17685 | 2.8184
17 | 0.0087354 | 0.0021892 | -0.0087333 | -0.0021886 | 2.1633e-06 | 5.8781e-07 | 0.013318 | 0.013318 | 0.013318 | 0.97603 | -0.16844 | 0.97578 | -0.17023 | 4.9325
18 | -0.0037202 | -0.00093238 | 0.0037209 | 0.00093219 | 6.9359e-07 | -1.942e-07 | 0.0055802 | 0.0055801 | 0.0055802 | 0.99203 | -0.055711 | 0.99222 | -0.054364 | 2.0668
19 | -0.0037209 | -0.00093219 | 0.0037211 | 0.00093215 | 1.2597e-07 | -3.5294e-08 | 0.0055801 | 0.00558 | 0.0055801 | 0.99222 | -0.054364 | 0.99226 | -0.054119 | 2.0667
20 | -0.079163 | -0.019923 | 0.079641 | 0.020106 | 0.00047768 | 0.00018303 | 0.1193 | 0.1193 | 0.1193 | 0.98765 | -0.085915 | 0.99379 | -0.042956 | 44.1846
21 | -0.0023496 | -0.00058888 | 0.0023499 | 0.00058856 | 2.7243e-07 | -3.1828e-07 | 0.0035869 | 0.0035867 | 0.0035869 | 0.97474 | -0.17769 | 0.97486 | -0.17685 | 1.3285
22 | 0.0043205 | 0.0010827 | -0.0043201 | -0.0010827 | 4.0208e-07 | -3.0761e-08 | 0.0065885 | 0.0065885 | 0.0065885 | 0.97578 | -0.17023 | 0.97569 | -0.1709 | 2.4402
23 | -0.083814 | -0.021152 | 0.08389 | 0.021181 | 7.6127e-05 | 2.9179e-05 | 0.12555 | 0.12555 | 0.12555 | 0.99379 | -0.042956 | 0.99473 | -0.036492 | 46.4987
24 | -0.087395 | -0.02206 | 0.0876 | 0.022138 | 0.00020563 | 7.8839e-05 | 0.13079 | 0.13079 | 0.13079 | 0.99473 | -0.036492 | 0.99714 | -0.019777 | 48.4405
25 | -0.090208 | -0.022792 | 0.090221 | 0.022797 | 1.3702e-05 | 5.2543e-06 | 0.13468 | 0.13468 | 0.13468 | 0.99714 | -0.019777 | 0.9973 | -0.018698 | 49.8817
26 | -0.12304 | -0.031033 | 0.12336 | 0.031156 | 0.00032342 | 0.00012359 | 0.18365 | 0.18365 | 0.18365 | 0.9973 | -0.018698 | 1 | 0 | 34.0096
27 | 0.026675 | 0.0066954 | -0.026622 | -0.006676 | 5.2441e-05 | 1.9479e-05 | 0.039803 | 0.039804 | 0.039804 | 0.9973 | -0.018698 | 0.99527 | -0.032883 | 14.7421
28 | 0.0074416 | 0.0018649 | -0.0074393 | -0.0018645 | 2.2205e-06 | 4.7342e-07 | 0.011073 | 0.011073 | 0.011073 | 1 | 0 | 0.99969 | -0.0021559 | 4.1012
29 | 0.024358 | 0.0061086 | -0.024343 | -0.0061029 | 1.543e-05 | 5.6926e-06 | 0.036419 | 0.036419 | 0.036419 | 0.99527 | -0.032883 | 0.99462 | -0.037456 | 13.4885
30 | 0.02174 | 0.0054506 | -0.02174 | -0.0054504 | 6.4611e-07 | 2.358e-07 | 0.032525 | 0.032525 | 0.032525 | 0.99462 | -0.037456 | 0.99459 | -0.037671 | 12.0465
31 | 0.019448 | 0.0048761 | -0.019441 | -0.0048735 | 7.1554e-06 | 2.5764e-06 | 0.029097 | 0.029097 | 0.029097 | 0.99459 | -0.037671 | 0.99422 | -0.040327 | 10.7767
32 | 0.017069 | 0.0042789 | -0.017064 | -0.0042771 | 5.1191e-06 | 1.8059e-06 | 0.025547 | 0.025547 | 0.025547 | 0.99422 | -0.040327 | 0.99391 | -0.042493 | 9.4617
33 | 0.014604 | 0.0036607 | -0.0146 | -0.0036592 | 4.4196e-06 | 1.5079e-06 | 0.021865 | 0.021865 | 0.021865 | 0.99391 | -0.042493 | 0.9936 | -0.044679 | 8.098
34 | -0.0070264 | -0.0017605 | 0.0070292 | 0.0017611 | 2.7784e-06 | 5.5037e-07 | 0.010537 | 0.010537 | 0.010537 | 0.99226 | -0.054119 | 0.99266 | -0.051262 | 3.9025
35 | 0.012163 | 0.0030486 | -0.012152 | -0.003045 | 1.1078e-05 | 3.5686e-06 | 0.018216 | 0.018216 | 0.018216 | 0.9936 | -0.044679 | 0.99266 | -0.051262 | 6.7467

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13631 | 0.034201

## res_load
| p_mw | q_mvar
0 | 0.0019375 | 0.00048558
1 | 0.0068103 | 0.0017068
2 | 0.0048661 | 0.0012196
3 | 0.0030903 | 0.00077451
4 | 0.0033801 | 0.00084713
5 | 0.0056181 | 0.001408
6 | 0.002222 | 0.00055688
7 | 0.0069247 | 0.0017355
8 | 0.0048101 | 0.0012055
9 | 0.0029352 | 0.00073562
10 | 0.0035739 | 0.00089571
11 | 0.0044176 | 0.0011072
12 | 0.0075511 | 0.0018925
13 | 0.0037202 | 0.00093238
14 | 0.0066277 | 0.0016611
15 | 0.0023496 | 0.00058888
16 | 0.0026356 | 0.00066054
17 | 0.0044128 | 0.001106
18 | 0.0043201 | 0.0010827
19 | 0.004173 | 0.0010458
20 | 0.0035048 | 0.00087839
21 | 0.0026076 | 0.00065353
22 | 0.0061444 | 0.0015399
23 | 0.0047064 | 0.0011795
24 | 0.0022639 | 0.00056739
25 | 0.0074393 | 0.0018645
26 | 0.0026025 | 0.00065226
27 | 0.0022916 | 0.00057433
28 | 0.0023722 | 0.00059453
29 | 0.0024595 | 0.0006164
30 | 0.0033053 | 0.00082839
31 | 0.0024364 | 0.00061063
32 | 0.005123 | 0.0012839

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1