## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6155-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6155-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6155-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6155-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6155-4_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6155-4_0_2_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_6155-4_0_2_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_6155-4_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6155-4_0_2_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_6155-4_0_2_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_6155-4_0_2_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_6155-4_0_2_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_6155-4_0_2_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6155-4_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6155-4_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6155-4_0_2_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_6155-4_0_2_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_6155-4_0_2_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_6155-4_0_2_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_6155-4_0_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_6155-4_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_6155-4_0_2_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_6155-4_0_2_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_6155-4_0_2_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_6155-4_0_2_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_6155-4_0_2_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_6155-4_0_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_6155-4_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6155-4_0_2_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_6155-4_0_2_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_6155-4_0_2_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_6155-4_0_2_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_6155-4_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_6155-4_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_6155-4_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6155-4_0_2_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_6155-4_0_2_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_6155-4_0_2_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6155-4_0_2_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6155-4_0_2_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_6155-4_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_6155-4_0_2_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_6155-4_0_2_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_6155-4_0_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6155-4_0_2_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_6155-4_0_2_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_6155-4_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_MV_79_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6155-4_0_2_load_0 | 0 | 0.0081836 | 0.002051 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6155-4_0_2_load_1 | 1 | 0.0051664 | 0.0012948 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6155-4_0_2_load_2 | 2 | 0.011836 | 0.0029664 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6155-4_0_2_load_37 | 6 | 0.035532 | 0.0089051 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6155-4_0_2_load_47 | 8 | 0.0062226 | 0.0015595 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6155-4_0_2_load_38 | 9 | 0.0039836 | 0.00099838 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6155-4_0_2_load_28 | 10 | 0.00066261 | 0.00016607 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6155-4_0_2_load_32 | 11 | 0.00077903 | 0.00019524 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6155-4_0_2_load_5 | 12 | 0.003173 | 0.00079522 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6155-4_0_2_load_35 | 15 | 0.00093772 | 0.00023501 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6155-4_0_2_load_23 | 16 | 0.00088449 | 0.00022167 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6155-4_0_2_load_33 | 17 | 0.00092459 | 0.00023172 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6155-4_0_2_load_22 | 18 | 0.00066474 | 0.0001666 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6155-4_0_2_load_24 | 19 | 0.0005794 | 0.00014521 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6155-4_0_2_load_20 | 20 | 0.0010382 | 0.00026019 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6155-4_0_2_load_9 | 21 | 0.001337 | 0.00033509 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6155-4_0_2_load_34 | 26 | 0.0018814 | 0.00047153 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6155-4_0_2_load_26 | 27 | 0.0011469 | 0.00028743 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6155-4_0_2_load_13 | 28 | 0.0023464 | 0.00058806 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6155-4_0_2_load_14 | 29 | 0.0026527 | 0.00066482 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6155-4_0_2_load_15 | 30 | 0.00096481 | 0.00024181 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6155-4_0_2_load_16 | 31 | 0.0022287 | 0.00055856 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6155-4_0_2_load_17 | 32 | 0.0031108 | 0.00077965 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6155-4_0_2_load_31 | 33 | 0.0023454 | 0.00058781 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6155-4_0_2_load_30 | 34 | 0.00075283 | 0.00018868 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6155-4_0_2_load_18 | 35 | 0.00066524 | 0.00016672 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6155-4_0_2_load_19 | 36 | 0.0011246 | 0.00028185 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6155-4_0_2_load_21 | 37 | 0.0006518 | 0.00016336 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6155-4_0_2_load_25 | 38 | 0.0015834 | 0.00039685 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6155-4_0_2_load_46 | 39 | 0.001756 | 0.00044009 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6155-4_0_2_load_27 | 40 | 0.0014092 | 0.00035317 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6155-4_0_2_load_29 | 41 | 0.0011703 | 0.0002933 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6155-4_0_2_load_43 | 42 | 0.002476 | 0.00062053 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6155-4_0_2_load_41 | 43 | 0.0018917 | 0.00047409 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6155-4_0_2_load_44 | 44 | 0.0031923 | 0.00080006 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6155-4_0_2_load_42 | 45 | 0.0034648 | 0.00086835 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6155-4_0_2_load_45 | 46 | 0.0022942 | 0.00057498 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6155-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6155-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.11475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6155-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.032824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6155-4_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.06126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6155-4_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.088447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6155-4_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.01459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6155-4_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.064245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6155-4_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.035397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6155-4_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.023116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6155-4_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0094566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6155-4_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.045503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6155-4_0_2_line_11 | NAYY 4x150 SE | 9 | 23 | 0.10774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6155-4_0_2_line_12 | NAYY 4x150 SE | 10 | 27 | 0.009956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6155-4_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.041459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6155-4_0_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.038599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6155-4_0_2_line_15 | NAYY 4x150 SE | 14 | 18 | 0.016971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6155-4_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6155-4_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.064353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6155-4_0_2_line_18 | NAYY 4x150 SE | 16 | 37 | 0.020877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6155-4_0_2_line_19 | NAYY 4x150 SE | 17 | 26 | 0.015515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6155-4_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.046334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6155-4_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.039441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6155-4_0_2_line_22 | NAYY 4x150 SE | 19 | 38 | 0.027575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6155-4_0_2_line_23 | NAYY 4x150 SE | 19 | 39 | 0.063879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6155-4_0_2_line_24 | NAYY 4x150 SE | 20 | 35 | 0.037337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6155-4_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.096166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6155-4_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.009473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6155-4_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.026199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6155-4_0_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.007648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6155-4_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.023988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6155-4_0_2_line_30 | NAYY 4x150 SE | 25 | 42 | 0.060273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6155-4_0_2_line_31 | NAYY 4x150 SE | 25 | 43 | 0.031941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6155-4_0_2_line_32 | NAYY 4x150 SE | 27 | 40 | 0.013605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6155-4_0_2_line_33 | NAYY 4x150 SE | 28 | 29 | 0.018201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6155-4_0_2_line_34 | NAYY 4x150 SE | 28 | 30 | 0.063803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6155-4_0_2_line_35 | NAYY 4x150 SE | 29 | 31 | 0.017796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6155-4_0_2_line_36 | NAYY 4x150 SE | 30 | 32 | 0.0016778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6155-4_0_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.056538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6155-4_0_2_line_38 | NAYY 4x150 SE | 33 | 34 | 0.0040273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6155-4_0_2_line_39 | NAYY 4x150 SE | 34 | 41 | 0.012263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6155-4_0_2_line_40 | NAYY 4x150 SE | 35 | 36 | 0.016609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6155-4_0_2_line_41 | NAYY 4x150 SE | 36 | 37 | 0.031176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6155-4_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.017458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6155-4_0_2_line_43 | NAYY 4x150 SE | 42 | 44 | 0.020819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6155-4_0_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.0040313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6155-4_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0016983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6155-4_0_2_trafo_1 | 0.25 MVA 20/0.4 kV | 47 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2552798.9677 | 1137413.4622 | 2552824.0614 | 1137408.6648
1 | 2552798.9677 | 1137413.4622 | 2552761.713 | 1137420.5846 | 2552742.3439 | 1137424.7053 | 2552730.2279 | 1137427.6908 | 2552718.884 | 1137431.026 | 2552705.8037 | 1137435.6088 | 2552690.4746 | 1137441.8435 | 2552688.3532 | 1137442.7582
2 | 2552856.3016 | 1137402.5011 | 2552824.0614 | 1137408.6648
3 | 2552634.4423 | 1137471.4991 | 2552644.6796 | 1137464.4149 | 2552655.139 | 1137458.1851 | 2552663.3906 | 1137453.9069 | 2552675.8999 | 1137448.1279 | 2552688.3532 | 1137442.7582
4 | 2552856.3016 | 1137402.5011 | 2552854.5303 | 1137391.4426 | 2552860.2665 | 1137387.1621 | 2552878.6632 | 1137369.8426 | 2552891.5264 | 1137356.146 | 2552901.4328 | 1137349.9654 | 2552908.6097 | 1137344.9734 | 2552908.8237 | 1137341.8368 | 2552907.3837 | 1137339.6914
5 | 2552856.3016 | 1137402.5011 | 2552857.3846 | 1137402.2814 | 2552870.6039 | 1137399.6184
6 | 2552585.7611 | 1137513.3925 | 2552588.8107 | 1137510.8672 | 2552590.8131 | 1137509.2062 | 2552607.6119 | 1137494.2552 | 2552621.0725 | 1137482.2987 | 2552628.4319 | 1137476.0931 | 2552634.4423 | 1137471.4991
7 | 2552907.3837 | 1137339.6914 | 2552904.196 | 1137339.3272 | 2552900.861 | 1137339.8091 | 2552891.5281 | 1137344.5623 | 2552884.6004 | 1137346.9955 | 2552874.0572 | 1137350.4464
8 | 2552870.6039 | 1137399.6184 | 2552874.8968 | 1137398.7537 | 2552884.1571 | 1137396.5245 | 2552892.409 | 1137394.2366 | 2552893.0245 | 1137394.0313
9 | 2552585.7611 | 1137513.3925 | 2552581.6271 | 1137516.9158 | 2552578.3834 | 1137519.2986
10 | 2552585.7611 | 1137513.3925 | 2552589.4346 | 1137515.8538 | 2552590.9071 | 1137516.2646 | 2552594.1606 | 1137516.1834 | 2552597.5196 | 1137514.8674 | 2552602.5811 | 1137511.8927 | 2552608.7484 | 1137508.6648 | 2552613.8225 | 1137506.3125 | 2552619.1389 | 1137504.4364 | 2552626.4879 | 1137502.7889 | 2552627.5698 | 1137502.6075
11 | 2552991.7961 | 1137351.1603 | 2552966.4001 | 1137362.7867 | 2552949.4141 | 1137370.6679 | 2552931.0619 | 1137378.9488 | 2552920.2199 | 1137383.5359 | 2552913.3744 | 1137386.6354 | 2552905.7283 | 1137389.6746 | 2552899.2686 | 1137391.9484 | 2552893.0245 | 1137394.0313
12 | 2552570.2597 | 1137525.0539 | 2552570.2597 | 1137525.0539 | 2552577.0227 | 1137520.2982 | 2552578.3834 | 1137519.2986
13 | 2553255.9819 | 1137296.8545 | 2553253.7987 | 1137288.1448 | 2553241.3658 | 1137281.0821 | 2553223.3453 | 1137278.6762
14 | 2553255.9819 | 1137296.8545 | 2553273.4792 | 1137299.2645 | 2553294.2755 | 1137302.5049
15 | 2553291.2047 | 1137319.1929 | 2553292.1243 | 1137313.783 | 2553294.2755 | 1137302.5049
16 | 2553105.3728 | 1137330.1199 | 2553146.4681 | 1137315.2587
17 | 2553105.3728 | 1137330.1199 | 2553093.2077 | 1137334.7392 | 2553082.0812 | 1137338.3721 | 2553071.069 | 1137341.8708 | 2553064.0417 | 1137344.3713 | 2553053.7199 | 1137349.5878 | 2553045.6221 | 1137353.6455
18 | 2553167.2054 | 1137312.8771 | 2553157.9195 | 1137313.7582 | 2553146.4681 | 1137315.2587
19 | 2553045.6221 | 1137353.6455 | 2553044.1871 | 1137354.3645 | 2553037.594 | 1137357.2952 | 2553031.1697 | 1137359.1796 | 2553031.1697 | 1137359.1796
20 | 2553291.2047 | 1137319.1929 | 2553336.6043 | 1137328.452
21 | 2553291.2047 | 1137319.1929 | 2553276.0871 | 1137316.1085 | 2553252.1784 | 1137313.8848
22 | 2553336.6043 | 1137328.452 | 2553353.1697 | 1137331.8304 | 2553363.689 | 1137333.6078
23 | 2553336.6043 | 1137328.452 | 2553352.5721 | 1137266.6014
24 | 2553214.9089 | 1137311.7519 | 2553219.2563 | 1137311.8251 | 2553247.2944 | 1137313.4305 | 2553252.1784 | 1137313.8848
25 | 2552987.3994 | 1137342.768 | 2552986.1437 | 1137340.5767 | 2552984.0829 | 1137335.7681 | 2552983.4375 | 1137331.9267 | 2552983.6502 | 1137327.645 | 2552985.8242 | 1137323.2925 | 2552990.6986 | 1137318.9745 | 2553004.6116 | 1137310.6172 | 2553015.7228 | 1137305.0276 | 2553024.3974 | 1137300.68 | 2553029.6459 | 1137297.9487 | 2553033.8678 | 1137296.7597 | 2553036.3827 | 1137296.6733 | 2553038.039 | 1137296.9717 | 2553041.1098 | 1137297.1256 | 2553044.3546 | 1137296.9224 | 2553047.1043 | 1137295.3669 | 2553049.1743 | 1137293.4609 | 2553049.2873 | 1137292.1704 | 2553049.3918 | 1137289.7906
26 | 2552987.3994 | 1137342.768 | 2552988.7566 | 1137345.1476 | 2552991.7961 | 1137351.1603
27 | 2553007.5014 | 1137362.5103 | 2553005.7395 | 1137358.5442 | 2553002.9185 | 1137352.9189 | 2553000.4207 | 1137347.3244 | 2552991.7961 | 1137351.1603
28 | 2553000.9082 | 1137366.4082 | 2553004.9067 | 1137364.2092 | 2553007.5014 | 1137362.5103
29 | 2553007.5014 | 1137362.5103 | 2553010.8541 | 1137361.3391 | 2553015.4274 | 1137360.8254 | 2553023.4541 | 1137360.218 | 2553031.1697 | 1137359.1796
30 | 2553000.9082 | 1137366.4082 | 2552999.9584 | 1137366.9381 | 2552994.0998 | 1137370.3411 | 2552982.9472 | 1137378.499 | 2552971.9586 | 1137384.9992 | 2552962.0019 | 1137389.6572 | 2552957.1257 | 1137392.7524 | 2552950.2163 | 1137395.5633 | 2552948.7636 | 1137396.2282
31 | 2553000.9082 | 1137366.4082 | 2553002.7555 | 1137367.5277 | 2553005.1505 | 1137367.8425 | 2553007.5145 | 1137368.1353 | 2553009.5051 | 1137367.8975 | 2553011.6187 | 1137367.6364 | 2553013.1144 | 1137367.08 | 2553013.9394 | 1137367.3181 | 2553014.407 | 1137368.0815 | 2553014.2615 | 1137369.1499 | 2553013.4154 | 1137370.157 | 2553011.8562 | 1137371.4587 | 2553009.7539 | 1137373.1538 | 2553007.4756 | 1137374.9725 | 2553006.1033 | 1137376.5729 | 2553003.4942 | 1137379.3725 | 2553003.1305 | 1137380.0868 | 2553003.4126 | 1137380.7516
32 | 2552570.2597 | 1137525.0539 | 2552563.9197 | 1137528.8057 | 2552558.4684 | 1137531.8376
33 | 2552413.3227 | 1137588.0952 | 2552396.495 | 1137595.0304
34 | 2552472.3121 | 1137563.7839 | 2552413.3227 | 1137588.0952
35 | 2552396.495 | 1137595.0304 | 2552380.0413 | 1137601.8114
36 | 2552473.8634 | 1137563.1446 | 2552472.3121 | 1137563.7839
37 | 2552527.0931 | 1137544.1585 | 2552512.0135 | 1137548.8917 | 2552493.441 | 1137555.4304 | 2552476.3391 | 1137562.1243 | 2552473.8634 | 1137563.1446
38 | 2552530.9139 | 1137542.8881 | 2552529.3792 | 1137543.4409 | 2552527.0931 | 1137544.1585
39 | 2552542.4511 | 1137538.7321 | 2552530.9139 | 1137542.8881
40 | 2553214.9089 | 1137311.7519 | 2553198.3018 | 1137311.4724
41 | 2553198.3018 | 1137311.4724 | 2553184.4639 | 1137311.2395 | 2553167.2054 | 1137312.8771
42 | 2552558.4684 | 1137531.8376 | 2552556.9652 | 1137532.6736 | 2552551.4009 | 1137535.2966 | 2552543.6088 | 1137538.3151 | 2552542.4511 | 1137538.7321
43 | 2552948.7636 | 1137396.2282 | 2552936.1041 | 1137402.0213 | 2552930.331 | 1137405.7952
44 | 2553007.3117 | 1137381.5772 | 2553005.2864 | 1137381.3151 | 2553004.1158 | 1137381.1463 | 2553003.4126 | 1137380.7516
45 | 2552928.9096 | 1137406.7244 | 2552930.331 | 1137405.7952

## bus_geodata
| x | y | coords
0 | 2552798.9677 | 1137413.4622
1 | 2552824.0614 | 1137408.6648
2 | 2552688.3532 | 1137442.7582
3 | 2552856.3016 | 1137402.5011
4 | 2552634.4423 | 1137471.4991
5 | 2552907.3837 | 1137339.6914
6 | 2552870.6039 | 1137399.6184
7 | 2552585.7611 | 1137513.3925
8 | 2552874.0572 | 1137350.4464
9 | 2552893.0245 | 1137394.0313
10 | 2552578.3834 | 1137519.2986
11 | 2552627.5698 | 1137502.6075
12 | 2553223.3453 | 1137278.6762
13 | 2553255.9819 | 1137296.8545
14 | 2553294.2755 | 1137302.5049
15 | 2553105.3728 | 1137330.1199
16 | 2553146.4681 | 1137315.2587
17 | 2553045.6221 | 1137353.6455
18 | 2553291.2047 | 1137319.1929
19 | 2553336.6043 | 1137328.452
20 | 2553252.1784 | 1137313.8848
21 | 2553049.3918 | 1137289.7906
22 | 2552987.3994 | 1137342.768
23 | 2552991.7961 | 1137351.1603
24 | 2553007.5014 | 1137362.5103
25 | 2553000.9082 | 1137366.4082
26 | 2553031.1697 | 1137359.1796
27 | 2552570.2597 | 1137525.0539
28 | 2552413.3227 | 1137588.0952
29 | 2552396.495 | 1137595.0304
30 | 2552472.3121 | 1137563.7839
31 | 2552380.0413 | 1137601.8114
32 | 2552473.8634 | 1137563.1446
33 | 2552527.0931 | 1137544.1585
34 | 2552530.9139 | 1137542.8881
35 | 2553214.9089 | 1137311.7519
36 | 2553198.3018 | 1137311.4724
37 | 2553167.2054 | 1137312.8771
38 | 2553363.689 | 1137333.6078
39 | 2553352.5721 | 1137266.6014
40 | 2552558.4684 | 1137531.8376
41 | 2552542.4511 | 1137538.7321
42 | 2552948.7636 | 1137396.2281
43 | 2553003.4126 | 1137380.7516
44 | 2552930.331 | 1137405.7952
45 | 2553007.3117 | 1137381.5772
46 | 2552928.9096 | 1137406.7244
47 | 2552856.3016 | 1137402.5011

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1