## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6155-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6155-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6155-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6155-6_0_3_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_6155-6_0_3_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_6155-6_0_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_6155-6_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_6155-6_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_6155-6_0_3_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_6155-6_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6155-6_0_3_node_85 | 0.4 | n |  | TRUE
11 | bus_LV_6155-6_0_3_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_6155-6_0_3_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_6155-6_0_3_node_100 | 0.4 | n |  | TRUE
14 | bus_LV_6155-6_0_3_node_86 | 0.4 | n |  | TRUE
15 | bus_LV_6155-6_0_3_node_103 | 0.4 | n |  | TRUE
16 | bus_LV_6155-6_0_3_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_6155-6_0_3_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_6155-6_0_3_node_5 | 0.4 | n |  | TRUE
19 | bus_LV_6155-6_0_3_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_6155-6_0_3_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_6155-6_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_6155-6_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_6155-6_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_6155-6_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6155-6_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_6155-6_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_6155-6_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_6155-6_0_3_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_6155-6_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6155-6_0_3_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_6155-6_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_6155-6_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6155-6_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6155-6_0_3_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_6155-6_0_3_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_6155-6_0_3_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_6155-6_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_6155-6_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_6155-6_0_3_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_6155-6_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_6155-6_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6155-6_0_3_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_6155-6_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6155-6_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6155-6_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6155-6_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6155-6_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_6155-6_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6155-6_0_3_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_6155-6_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6155-6_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6155-6_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6155-6_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6155-6_0_3_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_6155-6_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_6155-6_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_6155-6_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_6155-6_0_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_6155-6_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_6155-6_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_6155-6_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6155-6_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_6155-6_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_6155-6_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_6155-6_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_6155-6_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_6155-6_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_6155-6_0_3_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_6155-6_0_3_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_6155-6_0_3_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_6155-6_0_3_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_6155-6_0_3_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_6155-6_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_6155-6_0_3_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_6155-6_0_3_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_6155-6_0_3_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_6155-6_0_3_node_101 | 0.4 | n |  | TRUE
78 | bus_LV_6155-6_0_3_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_6155-6_0_3_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_6155-6_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_6155-6_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_6155-6_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_6155-6_0_3_node_102 | 0.4 | n |  | TRUE
84 | bus_LV_6155-6_0_3_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_6155-6_0_3_node_104 | 0.4 | n |  | TRUE
86 | bus_LV_6155-6_0_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_6155-6_0_3_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_6155-6_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_6155-6_0_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_6155-6_0_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_6155-6_0_3_node_87 | 0.4 | n |  | TRUE
92 | bus_MV_79_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6155-6_0_3_load_0 | 0 | 0.016042 | 0.0040204 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6155-6_0_3_load_1 | 1 | 0.0085884 | 0.0021525 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6155-6_0_3_load_2 | 2 | 0.0091509 | 0.0022934 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6155-6_0_3_load_23 | 3 | 0.0016873 | 0.00042288 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6155-6_0_3_load_25 | 4 | 0.0038736 | 0.00097081 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6155-6_0_3_load_22 | 5 | 0.003119 | 0.00078169 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6155-6_0_3_load_24 | 6 | 0.0026718 | 0.00066962 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6155-6_0_3_load_3 | 8 | 0.0020584 | 0.00051588 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6155-6_0_3_load_4 | 9 | 0.0010849 | 0.00027191 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6155-6_0_3_load_83 | 11 | 0.0013905 | 0.00034848 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6155-6_0_3_load_84 | 12 | 0.00090469 | 0.00022674 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6155-6_0_3_load_100 | 13 | 0.0022556 | 0.00056531 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6155-6_0_3_load_86 | 14 | 0.00083373 | 0.00020895 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6155-6_0_3_load_103 | 15 | 0.0024001 | 0.00060152 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6155-6_0_3_load_82 | 17 | 0.0028009 | 0.00070197 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6155-6_0_3_load_5 | 18 | 0.0020707 | 0.00051898 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6155-6_0_3_load_8 | 21 | 0.00074 | 0.00018546 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6155-6_0_3_load_10 | 23 | 0.00099662 | 0.00024978 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6155-6_0_3_load_20 | 24 | 0.0033904 | 0.00084971 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6155-6_0_3_load_16 | 26 | 0.00074912 | 0.00018775 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6155-6_0_3_load_21 | 27 | 0.0013956 | 0.00034977 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6155-6_0_3_load_11 | 28 | 0.00070621 | 0.00017699 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6155-6_0_3_load_12 | 30 | 0.00067277 | 0.00016861 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6155-6_0_3_load_14 | 31 | 0.0010048 | 0.00025183 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6155-6_0_3_load_18 | 32 | 0.0025356 | 0.00063548 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6155-6_0_3_load_58 | 34 | 0.0021108 | 0.00052902 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6155-6_0_3_load_56 | 35 | 0.0026118 | 0.00065457 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6155-6_0_3_load_57 | 36 | 0.0028991 | 0.00072658 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6155-6_0_3_load_38 | 37 | 0.0031395 | 0.00078684 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6155-6_0_3_load_70 | 39 | 0.0013618 | 0.0003413 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6155-6_0_3_load_37 | 40 | 0.0021736 | 0.00054475 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6155-6_0_3_load_33 | 41 | 0.0029085 | 0.00072893 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6155-6_0_3_load_71 | 42 | 0.0019303 | 0.00048377 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6155-6_0_3_load_27 | 43 | 0.0019185 | 0.00048081 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6155-6_0_3_load_28 | 44 | 0.0017602 | 0.00044116 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6155-6_0_3_load_30 | 46 | 0.0020566 | 0.00051542 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6155-6_0_3_load_31 | 47 | 0.0023319 | 0.00058443 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6155-6_0_3_load_32 | 48 | 0.0019472 | 0.00048801 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6155-6_0_3_load_61 | 49 | 0.0021214 | 0.00053167 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6155-6_0_3_load_39 | 50 | 0.0026938 | 0.00067514 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6155-6_0_3_load_45 | 53 | 0.0022624 | 0.000567 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6155-6_0_3_load_34 | 54 | 0.001506 | 0.00037744 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6155-6_0_3_load_36 | 55 | 0.0020092 | 0.00050355 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6155-6_0_3_load_40 | 56 | 0.0019759 | 0.00049522 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6155-6_0_3_load_41 | 57 | 0.001239 | 0.00031052 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6155-6_0_3_load_67 | 58 | 0.0029211 | 0.00073211 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6155-6_0_3_load_42 | 59 | 0.0021898 | 0.0005488 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6155-6_0_3_load_49 | 60 | 0.0028587 | 0.00071646 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6155-6_0_3_load_62 | 62 | 0.001118 | 0.0002802 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6155-6_0_3_load_46 | 63 | 0.0017736 | 0.00044451 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6155-6_0_3_load_65 | 65 | 0.001692 | 0.00042405 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6155-6_0_3_load_63 | 67 | 0.00073984 | 0.00018542 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6155-6_0_3_load_72 | 68 | 0.001774 | 0.00044462 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6155-6_0_3_load_51 | 69 | 0.0013679 | 0.00034283 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6155-6_0_3_load_52 | 70 | 0.0013501 | 0.00033838 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6155-6_0_3_load_55 | 73 | 0.001605 | 0.00040224 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6155-6_0_3_load_64 | 75 | 0.00078788 | 0.00019746 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6155-6_0_3_load_76 | 76 | 0.0014252 | 0.0003572 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6155-6_0_3_load_101 | 77 | 0.002305 | 0.00057769 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6155-6_0_3_load_59 | 78 | 0.0010048 | 0.00025182 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6155-6_0_3_load_73 | 81 | 0.0019972 | 0.00050054 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6155-6_0_3_load_102 | 83 | 0.0011034 | 0.00027654 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6155-6_0_3_load_104 | 85 | 0.0011605 | 0.00029085 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6155-6_0_3_load_77 | 86 | 0.001666 | 0.00041754 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6155-6_0_3_load_78 | 87 | 0.0015711 | 0.00039375 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6155-6_0_3_load_79 | 88 | 0.001276 | 0.0003198 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6155-6_0_3_load_81 | 90 | 0.0016928 | 0.00042427 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6155-6_0_3_load_87 | 91 | 0.00095061 | 0.00023824 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6155-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.047488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6155-6_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.064405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6155-6_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.13845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6155-6_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.035406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6155-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6155-6_0_3_line_5 | NAYY 4x150 SE | 4 | 37 | 0.005532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6155-6_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.070188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6155-6_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.016652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6155-6_0_3_line_8 | NAYY 4x150 SE | 7 | 38 | 0.001676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6155-6_0_3_line_9 | NAYY 4x150 SE | 7 | 39 | 0.014214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6155-6_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.046106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6155-6_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.07251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6155-6_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.025096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6155-6_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.036579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6155-6_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.033249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6155-6_0_3_line_15 | NAYY 4x150 SE | 11 | 17 | 0.0012034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6155-6_0_3_line_16 | NAYY 4x150 SE | 12 | 13 | 0.12522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6155-6_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.076933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6155-6_0_3_line_18 | NAYY 4x150 SE | 13 | 16 | 0.045655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6155-6_0_3_line_19 | NAYY 4x150 SE | 16 | 42 | 0.024999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6155-6_0_3_line_20 | NAYY 4x150 SE | 16 | 84 | 0.001405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6155-6_0_3_line_21 | NAYY 4x150 SE | 17 | 91 | 0.046944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6155-6_0_3_line_22 | NAYY 4x150 SE | 17 | 90 | 0.021285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6155-6_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.08686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6155-6_0_3_line_24 | NAYY 4x150 SE | 18 | 20 | 0.01597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6155-6_0_3_line_25 | NAYY 4x150 SE | 19 | 21 | 0.025846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6155-6_0_3_line_26 | NAYY 4x150 SE | 20 | 22 | 0.020884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6155-6_0_3_line_27 | NAYY 4x150 SE | 20 | 23 | 0.034785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6155-6_0_3_line_28 | NAYY 4x150 SE | 21 | 24 | 0.012162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6155-6_0_3_line_29 | NAYY 4x150 SE | 22 | 25 | 0.01027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6155-6_0_3_line_30 | NAYY 4x150 SE | 22 | 26 | 0.01666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6155-6_0_3_line_31 | NAYY 4x150 SE | 23 | 27 | 0.010086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6155-6_0_3_line_32 | NAYY 4x150 SE | 25 | 28 | 0.032441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6155-6_0_3_line_33 | NAYY 4x150 SE | 26 | 29 | 0.016164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6155-6_0_3_line_34 | NAYY 4x150 SE | 28 | 30 | 0.013374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6155-6_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.02423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6155-6_0_3_line_36 | NAYY 4x150 SE | 29 | 33 | 0.053175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6155-6_0_3_line_37 | NAYY 4x150 SE | 30 | 31 | 0.0044079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6155-6_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.028005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6155-6_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.014771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6155-6_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.02579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6155-6_0_3_line_41 | NAYY 4x150 SE | 36 | 53 | 0.0033811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6155-6_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.021963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6155-6_0_3_line_43 | NAYY 4x150 SE | 38 | 41 | 0.010904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6155-6_0_3_line_44 | NAYY 4x150 SE | 39 | 42 | 0.029085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6155-6_0_3_line_45 | NAYY 4x150 SE | 41 | 54 | 0.035901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6155-6_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.00051721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6155-6_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.014288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6155-6_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.0098056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6155-6_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.017992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6155-6_0_3_line_50 | NAYY 4x150 SE | 45 | 48 | 0.005379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6155-6_0_3_line_51 | NAYY 4x150 SE | 46 | 49 | 0.049181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6155-6_0_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.017579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6155-6_0_3_line_53 | NAYY 4x150 SE | 48 | 51 | 0.026314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6155-6_0_3_line_54 | NAYY 4x150 SE | 49 | 55 | 0.0095323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6155-6_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.038116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6155-6_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.022191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6155-6_0_3_line_57 | NAYY 4x150 SE | 52 | 61 | 0.056929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6155-6_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.036593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6155-6_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.014708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6155-6_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.058319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6155-6_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.010085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6155-6_0_3_line_62 | NAYY 4x150 SE | 58 | 84 | 0.021138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6155-6_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.016708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6155-6_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.026384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6155-6_0_3_line_65 | NAYY 4x150 SE | 62 | 66 | 0.0050145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6155-6_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.021437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6155-6_0_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.023129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6155-6_0_3_line_68 | NAYY 4x150 SE | 64 | 66 | 0.037662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6155-6_0_3_line_69 | NAYY 4x150 SE | 65 | 75 | 0.032858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6155-6_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.01347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6155-6_0_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.022997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6155-6_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.00030192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6155-6_0_3_line_73 | NAYY 4x150 SE | 69 | 71 | 0.024931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6155-6_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.054268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6155-6_0_3_line_75 | NAYY 4x150 SE | 71 | 73 | 0.012233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6155-6_0_3_line_76 | NAYY 4x150 SE | 72 | 74 | 0.00836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6155-6_0_3_line_77 | NAYY 4x150 SE | 72 | 75 | 0.028039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6155-6_0_3_line_78 | NAYY 4x150 SE | 73 | 76 | 0.029247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6155-6_0_3_line_79 | NAYY 4x150 SE | 74 | 77 | 0.051528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6155-6_0_3_line_80 | NAYY 4x150 SE | 77 | 83 | 0.0071808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6155-6_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.055619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6155-6_0_3_line_82 | NAYY 4x150 SE | 78 | 80 | 0.10926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6155-6_0_3_line_83 | NAYY 4x150 SE | 79 | 81 | 0.19561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6155-6_0_3_line_84 | NAYY 4x150 SE | 80 | 82 | 0.040015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6155-6_0_3_line_85 | NAYY 4x150 SE | 81 | 83 | 0.072127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6155-6_0_3_line_86 | NAYY 4x150 SE | 82 | 85 | 0.05894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6155-6_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.11182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6155-6_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.050903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6155-6_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.023297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6155-6_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.0167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6155-6_0_3_trafo_35 | 0.25 MVA 20/0.4 kV | 92 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2551750.7823 | 1137862.604 | 2551796.6848 | 1137850.4343
1 | 2551796.6848 | 1137850.4343 | 2551829.9555 | 1137841.6135 | 2551856.7226 | 1137834.5848 | 2551858.9829 | 1137834.105
2 | 2551816.4334 | 1137702.3606 | 2551858.9829 | 1137834.105
3 | 2551737.2632 | 1137714.6385 | 2551714.2935 | 1137716.9637 | 2551701.9885 | 1137716.3794
4 | 2551750.1418 | 1137713.5169 | 2551747.0909 | 1137713.6437 | 2551737.2632 | 1137714.6385
5 | 2551696.6322 | 1137715.2291 | 2551699.6721 | 1137716.2694 | 2551701.9885 | 1137716.3794
6 | 2551750.1418 | 1137713.5169 | 2551793.1769 | 1137711.7293 | 2551810.8088 | 1137709.8762 | 2551816.4334 | 1137702.3606
7 | 2551816.8926 | 1137685.715 | 2551816.4334 | 1137702.3606
8 | 2551816.8926 | 1137685.715 | 2551815.2218 | 1137685.5283
9 | 2551816.8926 | 1137685.715 | 2551830.6756 | 1137682.2415
10 | 2552103.3827 | 1137795.7883 | 2552100.0516 | 1137800.2385 | 2552096.4521 | 1137804.1803 | 2552089.9946 | 1137810.5016 | 2552082.7367 | 1137815.8065 | 2552075.0598 | 1137819.6807 | 2552067.0073 | 1137822.6541
11 | 2552067.0073 | 1137822.6541 | 2552014.0649 | 1137773.1088
12 | 2552116.538 | 1137774.4223 | 2552103.9943 | 1137794.9711 | 2552103.3827 | 1137795.7883
13 | 2552014.0649 | 1137773.1088 | 2552017.4137 | 1137771.5035 | 2552024.177 | 1137767.8477 | 2552028.0886 | 1137764.4593 | 2552033.5736 | 1137759.6687 | 2552035.3252 | 1137756.4864 | 2552033.6474 | 1137752.52 | 2552032.6118 | 1137750.9496 | 2552029.9592 | 1137749.7793
14 | 2552014.0649 | 1137773.1088 | 2552011.2208 | 1137766.617 | 2552010.361 | 1137762.0103 | 2552010.7071 | 1137758.1389 | 2552011.8976 | 1137755.9838 | 2552015.297 | 1137752.0325 | 2552019.5248 | 1137749.7199 | 2552022.6325 | 1137748.7502 | 2552024.4704 | 1137748.6688
15 | 2552116.538 | 1137774.4223 | 2552117.1649 | 1137773.3952
16 | 2551927.8249 | 1137669.0535 | 2552024.4704 | 1137748.6688
17 | 2551927.8249 | 1137669.0535 | 2551960.424 | 1137599.3686
18 | 2551883.1152 | 1137669.0104 | 2551886.2845 | 1137670.9306 | 2551902.3202 | 1137671.4695 | 2551914.036 | 1137672.432 | 2551920.3377 | 1137671.6591 | 2551927.8249 | 1137669.0535
19 | 2551883.1152 | 1137669.0104 | 2551858.8775 | 1137675.1307
20 | 2551883.1152 | 1137669.0104 | 2551883.7359 | 1137667.7493
21 | 2552117.1649 | 1137773.3952 | 2552080.1371 | 1137744.5393
22 | 2552128.2549 | 1137755.2277 | 2552117.1649 | 1137773.3952
23 | 2551484.8282 | 1137619.9458 | 2551488.8509 | 1137619.88 | 2551498.6664 | 1137621.7464 | 2551503.9477 | 1137624.1718 | 2551508.1107 | 1137628.1515 | 2551512.6731 | 1137631.094 | 2551517.2214 | 1137632.2914 | 2551525.6742 | 1137632.1233 | 2551537.4297 | 1137631.3061 | 2551550.2243 | 1137631.5144 | 2551559.106 | 1137632.0655 | 2551568.1927 | 1137633.2264 | 2551568.2373 | 1137633.2442
24 | 2551580.6446 | 1137642.4866 | 2551577.7253 | 1137638.1856 | 2551573.9884 | 1137635.5365 | 2551568.2373 | 1137633.2442
25 | 2551484.8282 | 1137619.9458 | 2551484.9132 | 1137617.1325 | 2551490.8743 | 1137615.1279 | 2551502.8201 | 1137612.1524 | 2551507.0818 | 1137610.9364
26 | 2551579.3554 | 1137662.9743 | 2551581.407 | 1137654.0754 | 2551581.528 | 1137649.9834 | 2551581.7042 | 1137646.0689 | 2551580.6446 | 1137642.4866
27 | 2551580.6446 | 1137642.4866 | 2551583.2756 | 1137641.5428 | 2551595.0176 | 1137632.3548 | 2551607.8319 | 1137621.0621
28 | 2551518.7765 | 1137607.5994 | 2551507.0818 | 1137610.9364
29 | 2551569.5022 | 1137665.9661 | 2551579.3554 | 1137662.9743
30 | 2551579.3554 | 1137662.9743 | 2551595.2893 | 1137658.1112
31 | 2551615.399 | 1137614.3936 | 2551607.8319 | 1137621.0621
32 | 2551569.5022 | 1137665.9661 | 2551538.2745 | 1137674.7564
33 | 2551610.7963 | 1137653.5501 | 2551596.4142 | 1137657.7678 | 2551595.2893 | 1137658.1112
34 | 2551538.2745 | 1137674.7564 | 2551525.4008 | 1137678.3802
35 | 2551610.7963 | 1137653.5501 | 2551613.3843 | 1137656.831 | 2551616.1043 | 1137658.3544 | 2551621.2031 | 1137659.1361 | 2551626.0395 | 1137658.8527 | 2551632.755 | 1137656.92
36 | 2551659.8383 | 1137632.6678 | 2551641.1883 | 1137640.9107 | 2551610.7963 | 1137653.5501
37 | 2551521.1578 | 1137679.5745 | 2551525.4008 | 1137678.3802
38 | 2551659.8383 | 1137632.6678 | 2551661.9984 | 1137636.3079 | 2551664.0954 | 1137637.8475 | 2551668.9922 | 1137640.2983 | 2551675.4529 | 1137643.0257 | 2551680.8041 | 1137644.5947 | 2551682.6703 | 1137645.1578 | 2551683.8852 | 1137645.0925
39 | 2551659.8383 | 1137632.6678 | 2551673.3796 | 1137626.7682
40 | 2551673.3796 | 1137626.7682 | 2551680.7124 | 1137623.5735 | 2551691.8902 | 1137617.8698 | 2551696.4772 | 1137615.3308
41 | 2551699.4354 | 1137613.6935 | 2551696.4772 | 1137615.3308
42 | 2551815.2218 | 1137685.5283 | 2551814.8492 | 1137684.1528 | 2551813.6355 | 1137683.4065 | 2551807.8451 | 1137681.7409 | 2551802.5709 | 1137681.1494 | 2551798.2491 | 1137680.3614 | 2551794.9612 | 1137679.5437
43 | 2551815.2218 | 1137685.5283 | 2551809.8706 | 1137684.9263 | 2551804.3531 | 1137684.8127
44 | 2551830.6756 | 1137682.2415 | 2551851.6084 | 1137676.9663 | 2551858.8775 | 1137675.1307
45 | 2551804.3531 | 1137684.8127 | 2551799.7609 | 1137684.7182 | 2551791.6293 | 1137685.6059 | 2551781.8673 | 1137687.5073 | 2551768.6901 | 1137687.8677
46 | 2551740.0182 | 1137623.241 | 2551740.1841 | 1137622.7512
47 | 2551744.7694 | 1137609.2193 | 2551740.1841 | 1137622.7512
48 | 2551736.8713 | 1137632.528 | 2551740.0182 | 1137623.241
49 | 2551744.7694 | 1137609.2193 | 2551761.3099 | 1137616.2979
50 | 2551744.7694 | 1137609.2193 | 2551740.0299 | 1137606.6755
51 | 2551723.396 | 1137679.8271 | 2551736.8713 | 1137632.528
52 | 2551761.3099 | 1137616.2979 | 2551777.4708 | 1137623.214
53 | 2551715.5978 | 1137598.5364 | 2551719.4936 | 1137601.8291 | 2551737.4839 | 1137605.309 | 2551740.0299 | 1137606.6755
54 | 2551723.396 | 1137679.8271 | 2551732.6758 | 1137682.0068
55 | 2551715.5978 | 1137598.5364 | 2551726.9417 | 1137586.6726 | 2551734.4509 | 1137579.1308 | 2551743.8733 | 1137573.23
56 | 2551715.5978 | 1137598.5364 | 2551707.4234 | 1137606.5727 | 2551700.3071 | 1137613.211 | 2551699.4354 | 1137613.6935
57 | 2551743.8733 | 1137573.23 | 2551751.1476 | 1137569.0141 | 2551762.1897 | 1137565.5461 | 2551778.4686 | 1137563.7704 | 2551799.151 | 1137562.3931
58 | 2551732.6758 | 1137682.0068 | 2551749.3458 | 1137685.9224 | 2551765.7779 | 1137687.9474 | 2551768.6901 | 1137687.8677
59 | 2551838.8581 | 1137613.5634 | 2551826.2058 | 1137606.0637
60 | 2551886.4716 | 1137647.2391 | 2551838.8581 | 1137613.5634
61 | 2551817.4538 | 1137601.0594 | 2551819.9179 | 1137602.3365 | 2551826.2058 | 1137606.0637
62 | 2551883.7359 | 1137667.7493 | 2551884.6141 | 1137665.9747 | 2551886.2015 | 1137660.5481 | 2551887.4793 | 1137652.945 | 2551886.4716 | 1137647.2391
63 | 2551817.4538 | 1137601.0594 | 2551802.6199 | 1137593.3714
64 | 2551799.151 | 1137562.3931 | 2551804.4773 | 1137561.7946 | 2551819.496 | 1137560.1847 | 2551825.3618 | 1137559.3915
65 | 2551830.331 | 1137558.7196 | 2551825.3618 | 1137559.3915
66 | 2551866.8328 | 1137549.0673 | 2551860.801 | 1137545.1245 | 2551849.8556 | 1137540.4874 | 2551847.6782 | 1137539.6194
67 | 2551833.8303 | 1137521.0943 | 2551847.6782 | 1137539.6194
68 | 2551866.8328 | 1137549.0673 | 2551849.3568 | 1137554.1095 | 2551830.331 | 1137558.7196
69 | 2551833.8303 | 1137521.0943 | 2551840.7347 | 1137514.8581 | 2551843.408 | 1137511.5017 | 2551845.5584 | 1137508.1605 | 2551846.7068 | 1137505.55 | 2551847.9317 | 1137499.9929 | 2551848.6423 | 1137493.2833
70 | 2551830.331 | 1137558.7196 | 2551834.3236 | 1137562.5674 | 2551841.7245 | 1137564.5537 | 2551841.9777 | 1137564.6216
71 | 2551864.0823 | 1137570.6782 | 2551861.011 | 1137570.436 | 2551852.5251 | 1137567.4467 | 2551841.9777 | 1137564.6216
72 | 2551816.4134 | 1137499.9186 | 2551816.1512 | 1137499.769
73 | 2551794.4967 | 1137487.4137 | 2551816.1512 | 1137499.769
74 | 2551794.4967 | 1137487.4137 | 2551810.9072 | 1137479.9341 | 2551827.9267 | 1137473.5725 | 2551844.663 | 1137466.4239
75 | 2551794.4967 | 1137487.4137 | 2551782.7713 | 1137490.8997
76 | 2551852.368 | 1137463.1272 | 2551844.663 | 1137466.4239
77 | 2551844.663 | 1137466.4239 | 2551845.8172 | 1137474.152 | 2551846.7259 | 1137481.971 | 2551847.375 | 1137483.2887 | 2551848.8159 | 1137484.5445 | 2551849.4624 | 1137485.5399 | 2551848.6423 | 1137493.2833
78 | 2551755.3198 | 1137500.6691 | 2551762.4095 | 1137496.9532 | 2551782.7713 | 1137490.8997
79 | 2551852.368 | 1137463.1272 | 2551854.0221 | 1137477.5771 | 2551872.2152 | 1137482.3342 | 2551876.7359 | 1137485.8554 | 2551879.1524 | 1137488.8599 | 2551886.9056 | 1137492.5648
80 | 2551893.3846 | 1137495.6609 | 2551886.9056 | 1137492.5648
81 | 2552023.451 | 1137325.2578 | 2552065.5381 | 1137297.0527 | 2552069.7784 | 1137294.4885
82 | 2552170.2534 | 1137337.408 | 2552069.7784 | 1137294.4885
83 | 2551963.7436 | 1137511.535 | 2552023.451 | 1137325.2578
84 | 2552209.1035 | 1137329.7069 | 2552202.4746 | 1137332.9278 | 2552190.8303 | 1137333.287 | 2552182.8829 | 1137334.195 | 2552176.098 | 1137335.2049 | 2552170.2534 | 1137337.408
85 | 2551893.3846 | 1137495.6609 | 2551963.7436 | 1137511.535
86 | 2552209.1035 | 1137329.7069 | 2552213.0137 | 1137338.7027 | 2552214.9093 | 1137343.9348 | 2552215.6781 | 1137349.6873 | 2552216.1294 | 1137354.2082 | 2552214.4651 | 1137356.7894 | 2552212.3596 | 1137359.0295 | 2552210.2576 | 1137360.736 | 2552206.4696 | 1137365.2017 | 2552203.5398 | 1137370.2053 | 2552197.3662 | 1137381.3489
87 | 2552185.1195 | 1137685.8646 | 2552287.1412 | 1137640.0982
88 | 2552185.1195 | 1137685.8646 | 2552180.0314 | 1137689.0679 | 2552172.942 | 1137694.3046 | 2552166.0109 | 1137700.1071 | 2552159.0552 | 1137707.644 | 2552152.2212 | 1137715.9693 | 2552149.2117 | 1137721.1721
89 | 2552136.8034 | 1137740.8824 | 2552144.2139 | 1137728.6394 | 2552149.0493 | 1137721.4529 | 2552149.2117 | 1137721.1721
90 | 2552136.8034 | 1137740.8824 | 2552136.0896 | 1137742.0553 | 2552131.9461 | 1137749.1808 | 2552128.2549 | 1137755.2277

## bus_geodata
| x | y | coords
0 | 2551750.7823 | 1137862.604
1 | 2551796.6848 | 1137850.4343
2 | 2551858.9829 | 1137834.105
3 | 2551737.2632 | 1137714.6385
4 | 2551701.9885 | 1137716.3794
5 | 2551750.1418 | 1137713.5169
6 | 2551816.4334 | 1137702.3606
7 | 2551816.8926 | 1137685.715
8 | 2552067.0073 | 1137822.6541
9 | 2552103.3827 | 1137795.7883
10 | 2552014.0649 | 1137773.1088
11 | 2552116.538 | 1137774.4223
12 | 2552024.4704 | 1137748.6688
13 | 2551927.8249 | 1137669.0535
14 | 2552029.9592 | 1137749.7793
15 | 2551960.424 | 1137599.3686
16 | 2551883.1152 | 1137669.0104
17 | 2552117.1649 | 1137773.3952
18 | 2551568.2373 | 1137633.2442
19 | 2551484.8282 | 1137619.9458
20 | 2551580.6446 | 1137642.4866
21 | 2551507.0818 | 1137610.9364
22 | 2551579.3554 | 1137662.9743
23 | 2551607.8319 | 1137621.0621
24 | 2551518.7765 | 1137607.5994
25 | 2551569.5022 | 1137665.9661
26 | 2551595.2893 | 1137658.1112
27 | 2551615.399 | 1137614.3936
28 | 2551538.2745 | 1137674.7564
29 | 2551610.7963 | 1137653.5501
30 | 2551525.4008 | 1137678.3802
31 | 2551521.1578 | 1137679.5745
32 | 2551632.755 | 1137656.92
33 | 2551659.8383 | 1137632.6678
34 | 2551683.8852 | 1137645.0925
35 | 2551673.3796 | 1137626.7682
36 | 2551696.4772 | 1137615.3308
37 | 2551696.6322 | 1137715.2291
38 | 2551815.2218 | 1137685.5283
39 | 2551830.6756 | 1137682.2415
40 | 2551794.9612 | 1137679.5437
41 | 2551804.3531 | 1137684.8127
42 | 2551858.8775 | 1137675.1307
43 | 2551740.1841 | 1137622.7512
44 | 2551740.0182 | 1137623.241
45 | 2551744.7694 | 1137609.2193
46 | 2551736.8713 | 1137632.528
47 | 2551761.3099 | 1137616.2979
48 | 2551740.0299 | 1137606.6755
49 | 2551723.396 | 1137679.8271
50 | 2551777.4708 | 1137623.214
51 | 2551715.5978 | 1137598.5364
52 | 2551743.8733 | 1137573.23
53 | 2551699.4354 | 1137613.6935
54 | 2551768.6901 | 1137687.8677
55 | 2551732.6758 | 1137682.0068
56 | 2551838.8581 | 1137613.5634
57 | 2551826.2058 | 1137606.0637
58 | 2551886.4716 | 1137647.2391
59 | 2551817.4538 | 1137601.0594
60 | 2551802.6199 | 1137593.3714
61 | 2551799.151 | 1137562.3931
62 | 2551825.3618 | 1137559.3915
63 | 2551847.6782 | 1137539.6194
64 | 2551866.8328 | 1137549.0673
65 | 2551833.8303 | 1137521.0943
66 | 2551830.331 | 1137558.7196
67 | 2551841.9777 | 1137564.6216
68 | 2551864.0823 | 1137570.6782
69 | 2551816.1512 | 1137499.769
70 | 2551816.4134 | 1137499.9186
71 | 2551794.4967 | 1137487.4137
72 | 2551844.663 | 1137466.4239
73 | 2551782.7713 | 1137490.8997
74 | 2551852.368 | 1137463.1273
75 | 2551848.6423 | 1137493.2833
76 | 2551755.3198 | 1137500.6691
77 | 2551886.9056 | 1137492.5648
78 | 2552069.7784 | 1137294.4885
79 | 2552023.451 | 1137325.2578
80 | 2552170.2534 | 1137337.408
81 | 2551963.7436 | 1137511.535
82 | 2552209.1035 | 1137329.7069
83 | 2551893.3846 | 1137495.6609
84 | 2551883.7359 | 1137667.7493
85 | 2552197.3662 | 1137381.3489
86 | 2552287.1412 | 1137640.0982
87 | 2552185.1195 | 1137685.8646
88 | 2552149.2117 | 1137721.1721
89 | 2552136.8034 | 1137740.8824
90 | 2552128.2549 | 1137755.2277
91 | 2552080.1371 | 1137744.5393
92 | 2551816.8926 | 1137685.715

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1