## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6155-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6155-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6155-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6155-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6155-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6155-8_0_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_6155-8_0_3_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_6155-8_0_3_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_6155-8_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_6155-8_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6155-8_0_3_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_6155-8_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6155-8_0_3_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_6155-8_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_6155-8_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_6155-8_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6155-8_0_3_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_6155-8_0_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_6155-8_0_3_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_6155-8_0_3_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_6155-8_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_6155-8_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_6155-8_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6155-8_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6155-8_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6155-8_0_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_6155-8_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6155-8_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6155-8_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_6155-8_0_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_6155-8_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_6155-8_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_6155-8_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_6155-8_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_6155-8_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_6155-8_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_6155-8_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_6155-8_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_6155-8_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_6155-8_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_6155-8_0_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_6155-8_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_6155-8_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_6155-8_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6155-8_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_6155-8_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_6155-8_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6155-8_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6155-8_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_6155-8_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_6155-8_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_MV_79_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6155-8_0_3_load_0 | 0 | 0.0058314 | 0.0014615 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6155-8_0_3_load_1 | 1 | 0.0055814 | 0.0013988 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6155-8_0_3_load_3 | 3 | 0.0041592 | 0.0010424 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6155-8_0_3_load_4 | 4 | 0.010952 | 0.0027448 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6155-8_0_3_load_33 | 5 | 0.0024197 | 0.00060643 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6155-8_0_3_load_25 | 7 | 0.0018992 | 0.00047599 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6155-8_0_3_load_5 | 9 | 0.0087473 | 0.0021923 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6155-8_0_3_load_49 | 10 | 0.0021493 | 0.00053867 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6155-8_0_3_load_41 | 12 | 0.0038033 | 0.00095319 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6155-8_0_3_load_39 | 13 | 0.0023688 | 0.00059368 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6155-8_0_3_load_23 | 17 | 0.002274 | 0.00056992 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6155-8_0_3_load_48 | 19 | 0.0033023 | 0.00082765 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6155-8_0_3_load_9 | 20 | 0.0015889 | 0.00039823 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6155-8_0_3_load_44 | 25 | 0.0015076 | 0.00037785 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6155-8_0_3_load_17 | 26 | 0.0019297 | 0.00048363 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6155-8_0_3_load_18 | 27 | 0.0019678 | 0.00049318 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6155-8_0_3_load_14 | 28 | 0.0025872 | 0.00064842 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6155-8_0_3_load_38 | 29 | 0.0023409 | 0.00058669 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6155-8_0_3_load_16 | 31 | 0.0027755 | 0.00069562 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6155-8_0_3_load_31 | 32 | 0.00091266 | 0.00022874 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6155-8_0_3_load_30 | 33 | 0.001636 | 0.00041002 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6155-8_0_3_load_19 | 34 | 0.003974 | 0.00099598 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6155-8_0_3_load_21 | 36 | 0.0036235 | 0.00090814 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6155-8_0_3_load_22 | 37 | 0.0011132 | 0.000279 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6155-8_0_3_load_26 | 38 | 0.002348 | 0.00058846 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6155-8_0_3_load_46 | 39 | 0.0011112 | 0.00027851 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6155-8_0_3_load_43 | 40 | 0.0019004 | 0.00047628 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6155-8_0_3_load_29 | 41 | 0.0022601 | 0.00056643 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6155-8_0_3_load_45 | 42 | 0.002517 | 0.00063081 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6155-8_0_3_load_27 | 43 | 0.0022864 | 0.00057303 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6155-8_0_3_load_47 | 44 | 0.0024736 | 0.00061994 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6155-8_0_3_load_32 | 45 | 0.0023777 | 0.00059591 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6155-8_0_3_load_40 | 47 | 0.0022864 | 0.00057302 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6155-8_0_3_load_35 | 48 | 0.010537 | 0.0026407 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6155-8_0_3_load_50 | 50 | 0.0018542 | 0.00046471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6155-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0038384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6155-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.064064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6155-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6155-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6155-8_0_3_line_4 | NAYY 4x150 SE | 4 | 9 | 0.04351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6155-8_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.044997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6155-8_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.022338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6155-8_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.040693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6155-8_0_3_line_8 | NAYY 4x150 SE | 6 | 46 | 0.00989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6155-8_0_3_line_9 | NAYY 4x150 SE | 6 | 47 | 0.030233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6155-8_0_3_line_10 | NAYY 4x150 SE | 7 | 38 | 0.02639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6155-8_0_3_line_11 | NAYY 4x150 SE | 8 | 18 | 0.018931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6155-8_0_3_line_12 | NAYY 4x150 SE | 8 | 43 | 0.0066397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6155-8_0_3_line_13 | NAYY 4x150 SE | 9 | 10 | 0.052724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6155-8_0_3_line_14 | NAYY 4x150 SE | 10 | 11 | 0.025919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6155-8_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.03729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6155-8_0_3_line_16 | NAYY 4x150 SE | 12 | 13 | 0.035725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6155-8_0_3_line_17 | NAYY 4x150 SE | 13 | 47 | 0.012594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6155-8_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.022363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6155-8_0_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.018524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6155-8_0_3_line_20 | NAYY 4x150 SE | 15 | 17 | 0.035029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6155-8_0_3_line_21 | NAYY 4x150 SE | 16 | 18 | 0.016032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6155-8_0_3_line_22 | NAYY 4x150 SE | 16 | 19 | 0.057682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6155-8_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.078431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6155-8_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.024398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6155-8_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.031178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6155-8_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.016258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6155-8_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.064051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6155-8_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.015526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6155-8_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.024447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6155-8_0_3_line_30 | NAYY 4x150 SE | 24 | 28 | 0.027477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6155-8_0_3_line_31 | NAYY 4x150 SE | 25 | 29 | 0.025064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6155-8_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0086563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6155-8_0_3_line_33 | NAYY 4x150 SE | 29 | 49 | 0.032807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6155-8_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.063001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6155-8_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.014926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6155-8_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.025628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6155-8_0_3_line_37 | NAYY 4x150 SE | 33 | 45 | 0.068303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6155-8_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.010882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6155-8_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.012908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6155-8_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.046874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6155-8_0_3_line_41 | NAYY 4x150 SE | 35 | 38 | 0.030244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6155-8_0_3_line_42 | NAYY 4x150 SE | 36 | 39 | 0.083446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6155-8_0_3_line_43 | NAYY 4x150 SE | 37 | 40 | 0.013384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6155-8_0_3_line_44 | NAYY 4x150 SE | 38 | 41 | 0.02526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6155-8_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0073537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6155-8_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.021842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6155-8_0_3_line_47 | NAYY 4x150 SE | 46 | 50 | 0.026508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6155-8_0_3_line_48 | NAYY 4x150 SE | 46 | 49 | 0.02564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6155-8_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.043085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6155-8_0_3_trafo_33 | 0.25 MVA 20/0.4 kV | 51 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2551373.1178 | 1137827.918 | 2551372.8715 | 1137824.0875
1 | 2551330.6226 | 1137857.1235 | 2551349.2802 | 1137852.8039 | 2551374.3495 | 1137847.0764 | 2551373.1178 | 1137827.918
2 | 2551372.8715 | 1137824.0875 | 2551372.8715 | 1137824.0875 | 2551375.2297 | 1137818.9102 | 2551377.355 | 1137818.4675
3 | 2551330.6226 | 1137857.1235 | 2551329.2932 | 1137852.5319 | 2551330.1113 | 1137850.0129 | 2551332.8096 | 1137841.231 | 2551334.2304 | 1137838.0956 | 2551336.4994 | 1137836.1652 | 2551339.7098 | 1137833.872
4 | 2551339.7098 | 1137833.872 | 2551343.8035 | 1137830.948 | 2551345.959 | 1137829.2408 | 2551347.6222 | 1137826.5926 | 2551348.3181 | 1137823.2297 | 2551348.3812 | 1137819.6162 | 2551348.1407 | 1137816.5054 | 2551346.3988 | 1137813.2289 | 2551337.3445 | 1137806.5208 | 2551336.0059 | 1137804.6084 | 2551335.7462 | 1137801.9758 | 2551336.3268 | 1137799.5699
5 | 2551420.4343 | 1137715.4697 | 2551383.1807 | 1137732.7903 | 2551379.395 | 1137733.7821
6 | 2551379.395 | 1137733.7821 | 2551374.3647 | 1137712.0182
7 | 2551339.2803 | 1137736.7023 | 2551355.7819 | 1137737.7918 | 2551363.1838 | 1137737.9988 | 2551370.9217 | 1137736.002 | 2551379.395 | 1137733.7821
8 | 2551420.4343 | 1137715.4697 | 2551429.0021 | 1137710.4869
9 | 2551420.4343 | 1137715.4697 | 2551442.1213 | 1137718.5409 | 2551447.2172 | 1137718.9778 | 2551449.9312 | 1137720.7013
10 | 2551374.3647 | 1137712.0182 | 2551354.9408 | 1137695.5656 | 2551354.1967 | 1137695.0004
11 | 2551339.2803 | 1137736.7023 | 2551332.2727 | 1137735.7806 | 2551320.4093 | 1137734.6426
12 | 2551339.2803 | 1137736.7023 | 2551344.2837 | 1137732.3374
13 | 2551284.3028 | 1137791.0081 | 2551336.3268 | 1137799.5699
14 | 2551284.3028 | 1137791.0081 | 2551279.8161 | 1137797.4143 | 2551276.2483 | 1137803.3018 | 2551274.1977 | 1137804.6635 | 2551271.5124 | 1137804.5741 | 2551265.6822 | 1137802.7648
15 | 2551277.4037 | 1137767.3627 | 2551265.6822 | 1137802.7648
16 | 2551414.3333 | 1137743.0221 | 2551439.5893 | 1137739.3943 | 2551444.8275 | 1137735.5279 | 2551446.5247 | 1137732.2406
17 | 2551446.5247 | 1137732.2406 | 2551449.8417 | 1137725.8158 | 2551450.6075 | 1137723.4862 | 2551450.5268 | 1137722.0639 | 2551449.9312 | 1137720.7013 | 2551449.9312 | 1137720.7013
18 | 2551289.0573 | 1137748.2808 | 2551284.7625 | 1137754.6522 | 2551281.2305 | 1137761.1619 | 2551277.4037 | 1137767.3627
19 | 2551304.8409 | 1137738.5926 | 2551298.7653 | 1137741.6322 | 2551292.302 | 1137746.1979 | 2551289.0573 | 1137748.2808
20 | 2551289.0573 | 1137748.2808 | 2551284.8073 | 1137745.9251 | 2551281.2077 | 1137745.0315 | 2551277.2666 | 1137744.7187 | 2551272.237 | 1137743.9257 | 2551256.0363 | 1137750.3159
21 | 2551304.8409 | 1137738.5926 | 2551311.5552 | 1137736.5373 | 2551320.4093 | 1137734.6426
22 | 2551304.8409 | 1137738.5926 | 2551302.1045 | 1137735.0574 | 2551267.5203 | 1137723.8201 | 2551250.674 | 1137724.0488
23 | 2551580.6446 | 1137642.4866 | 2551577.7253 | 1137638.1856 | 2551573.9884 | 1137635.5365 | 2551568.1927 | 1137633.2264 | 2551559.106 | 1137632.0655 | 2551550.2243 | 1137631.5144 | 2551537.4297 | 1137631.3061 | 2551525.6742 | 1137632.1233 | 2551517.2214 | 1137632.2914 | 2551512.6731 | 1137631.094 | 2551508.1107 | 1137628.1515 | 2551507.2525 | 1137627.3311
24 | 2551484.8282 | 1137619.9458 | 2551488.8509 | 1137619.88 | 2551498.6664 | 1137621.7464 | 2551503.9477 | 1137624.1718 | 2551507.2525 | 1137627.3311
25 | 2551569.5022 | 1137665.9661 | 2551579.3554 | 1137662.9743 | 2551581.407 | 1137654.0754 | 2551581.528 | 1137649.9834 | 2551581.7042 | 1137646.0689 | 2551580.6446 | 1137642.4866
26 | 2551484.8282 | 1137619.9458 | 2551477.9212 | 1137620.0681 | 2551468.5995 | 1137621.2549
27 | 2551569.5022 | 1137665.9661 | 2551507.8476 | 1137683.3212
28 | 2551474.6417 | 1137610.2228 | 2551469.1907 | 1137612.5234 | 2551467.5486 | 1137613.9818 | 2551467.3668 | 1137616.24 | 2551468.5995 | 1137621.2549
29 | 2551468.5995 | 1137621.2549 | 2551469.1993 | 1137625.997 | 2551467.9021 | 1137632.0773 | 2551466.7267 | 1137639.9019 | 2551465.6067 | 1137641.2449 | 2551463.6502 | 1137641.8833 | 2551461.9923 | 1137641.3852
30 | 2551468.5995 | 1137621.2549 | 2551462.3517 | 1137622.039 | 2551444.1124 | 1137623.9425 | 2551441.2718 | 1137623.8802
31 | 2551507.8476 | 1137683.3212 | 2551495.9968 | 1137686.6571 | 2551483.7696 | 1137690.28
32 | 2551432.6175 | 1137623.6906 | 2551441.2718 | 1137623.8802
33 | 2551452.6149 | 1137700.5359 | 2551473.4345 | 1137693.3422 | 2551483.7696 | 1137690.28
34 | 2551432.6175 | 1137623.6906 | 2551425.0215 | 1137623.2738 | 2551418.6125 | 1137622.1916 | 2551413.4438 | 1137620.3768 | 2551410.4259 | 1137617.2217 | 2551409.5719 | 1137614.3493 | 2551410.1609 | 1137610.1202 | 2551412.9198 | 1137606.9185 | 2551415.5935 | 1137605.5518 | 2551421.3537 | 1137603.4487 | 2551430.2955 | 1137599.9859 | 2551438.4481 | 1137596.587
35 | 2551438.4481 | 1137596.587 | 2551439.3501 | 1137596.2109 | 2551445.6216 | 1137593.5924 | 2551450.7643 | 1137592.1724 | 2551452.5683 | 1137591.9506
36 | 2551477.9484 | 1137588.4952 | 2551474.465 | 1137589.2578 | 2551452.5683 | 1137591.9506
37 | 2551472.7343 | 1137563.4917 | 2551498.0095 | 1137566.9344 | 2551504.431 | 1137570.5179 | 2551503.2646 | 1137576.5971 | 2551496.0281 | 1137584.5372 | 2551477.9484 | 1137588.4952
38 | 2551358.9258 | 1137665.1288 | 2551361.7746 | 1137661.6262 | 2551362.3552 | 1137656.3743 | 2551362.2957 | 1137655.2926
39 | 2551356.4813 | 1137644.3933 | 2551360.4367 | 1137648.3746 | 2551362.1118 | 1137651.9518 | 2551362.2957 | 1137655.2926
40 | 2551358.9258 | 1137665.1288 | 2551368.0955 | 1137669.9017 | 2551376.9785 | 1137675.3772 | 2551379.9011 | 1137677.2102 | 2551384.5976 | 1137676.7609 | 2551396.6582 | 1137671.8166 | 2551400.9906 | 1137669.5287
41 | 2551358.9258 | 1137665.1288 | 2551354.1967 | 1137695.0004
42 | 2551356.4813 | 1137644.3933 | 2551322.4559 | 1137568.199
43 | 2551409.9469 | 1137660.8259 | 2551408.309 | 1137665.6639 | 2551400.9906 | 1137669.5287
44 | 2551354.1967 | 1137695.0004 | 2551339.9405 | 1137684.1697 | 2551332.7151 | 1137682.7888
45 | 2551325.4921 | 1137681.4084 | 2551332.7151 | 1137682.7888
46 | 2551303.6747 | 1137682.4403 | 2551325.4921 | 1137681.4084
47 | 2551443.1276 | 1137693.5643 | 2551442.9349 | 1137695.4224 | 2551441.6028 | 1137697.1785 | 2551438.5256 | 1137699.0598 | 2551434.0096 | 1137701.8643 | 2551428.563 | 1137704.6875 | 2551426.7183 | 1137705.8363 | 2551426.936 | 1137707.0685 | 2551429.0021 | 1137710.4869
48 | 2551452.6149 | 1137700.5359 | 2551435.0584 | 1137706.9585 | 2551429.0021 | 1137710.4869
49 | 2551452.6149 | 1137700.5359 | 2551483.0437 | 1137706.8496 | 2551490.4849 | 1137711.9368 | 2551492.3373 | 1137714.2887

## bus_geodata
| x | y | coords
0 | 2551373.1178 | 1137827.918
1 | 2551372.8715 | 1137824.0875
2 | 2551330.6226 | 1137857.1235
3 | 2551377.355 | 1137818.4675
4 | 2551339.7098 | 1137833.872
5 | 2551379.395 | 1137733.7821
6 | 2551420.4343 | 1137715.4697
7 | 2551374.3647 | 1137712.0182
8 | 2551339.2803 | 1137736.7023
9 | 2551336.3268 | 1137799.5699
10 | 2551284.3028 | 1137791.0081
11 | 2551265.6822 | 1137802.7648
12 | 2551414.3333 | 1137743.0221
13 | 2551446.5247 | 1137732.2406
14 | 2551277.4037 | 1137767.3627
15 | 2551289.0573 | 1137748.2808
16 | 2551304.8409 | 1137738.5926
17 | 2551256.0363 | 1137750.3159
18 | 2551320.4093 | 1137734.6426
19 | 2551250.674 | 1137724.0488
20 | 2551507.2525 | 1137627.3311
21 | 2551580.6446 | 1137642.4866
22 | 2551484.8282 | 1137619.9458
23 | 2551569.5022 | 1137665.9661
24 | 2551468.5995 | 1137621.2549
25 | 2551507.8476 | 1137683.3212
26 | 2551474.6417 | 1137610.2228
27 | 2551461.9923 | 1137641.3852
28 | 2551441.2718 | 1137623.8802
29 | 2551483.7696 | 1137690.28
30 | 2551432.6175 | 1137623.6906
31 | 2551438.4481 | 1137596.587
32 | 2551452.5683 | 1137591.9506
33 | 2551477.9484 | 1137588.4952
34 | 2551362.2957 | 1137655.2926
35 | 2551358.9258 | 1137665.1288
36 | 2551356.4813 | 1137644.3933
37 | 2551400.9906 | 1137669.5287
38 | 2551354.1967 | 1137695.0004
39 | 2551322.4559 | 1137568.199
40 | 2551409.9469 | 1137660.8259
41 | 2551332.7151 | 1137682.7888
42 | 2551325.4921 | 1137681.4084
43 | 2551344.2837 | 1137732.3374
44 | 2551303.6747 | 1137682.4403
45 | 2551472.7343 | 1137563.4917
46 | 2551429.0021 | 1137710.4869
47 | 2551449.9312 | 1137720.7013
48 | 2551492.3373 | 1137714.2887
49 | 2551452.6149 | 1137700.5359
50 | 2551443.1276 | 1137693.5643
51 | 2551339.2803 | 1137736.7023

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1