## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6157-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6157-16_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6157-16_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6157-16_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6157-16_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6157-16_0_3_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_6157-16_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_6157-16_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_6157-16_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_6157-16_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6157-16_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6157-16_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6157-16_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6157-16_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6157-16_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_6157-16_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_6157-16_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6157-16_0_3_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_6157-16_0_3_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_6157-16_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_6157-16_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6157-16_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_6157-16_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6157-16_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_6157-16_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_6157-16_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6157-16_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6157-16_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_6157-16_0_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_6157-16_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6157-16_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_6157-16_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_6157-16_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_6157-16_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_6157-16_0_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_6157-16_0_3_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_6157-16_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6157-16_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_6157-16_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6157-16_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_6157-16_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_6157-16_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6157-16_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6157-16_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6157-16_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_MV_204_0_node_222 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6157-16_0_3_load_0 | 0 | 0.0038601 | 0.00096744 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6157-16_0_3_load_1 | 1 | 0.0044632 | 0.0011186 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6157-16_0_3_load_2 | 2 | 0.0040347 | 0.0010112 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6157-16_0_3_load_3 | 3 | 0.001546 | 0.00038747 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6157-16_0_3_load_4 | 4 | 0.0031235 | 0.00078282 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6157-16_0_3_load_17 | 5 | 0.0022606 | 0.00056655 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6157-16_0_3_load_11 | 6 | 0.003267 | 0.00081878 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6157-16_0_3_load_18 | 7 | 0.0040975 | 0.0010269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6157-16_0_3_load_10 | 8 | 0.004458 | 0.0011173 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6157-16_0_3_load_5 | 9 | 0.0070241 | 0.0017604 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6157-16_0_3_load_20 | 15 | 0.0075348 | 0.0018884 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6157-16_0_3_load_38 | 17 | 0.008332 | 0.0020882 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6157-16_0_3_load_42 | 18 | 0.0022618 | 0.00056687 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6157-16_0_3_load_41 | 19 | 0.0026296 | 0.00065904 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6157-16_0_3_load_21 | 20 | 0.007126 | 0.0017859 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6157-16_0_3_load_19 | 21 | 0.0050615 | 0.0012685 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6157-16_0_3_load_13 | 22 | 0.0040127 | 0.0010057 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6157-16_0_3_load_37 | 23 | 0.0035955 | 0.00090111 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6157-16_0_3_load_12 | 24 | 0.0042565 | 0.0010668 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6157-16_0_3_load_14 | 25 | 0.0052685 | 0.0013204 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6157-16_0_3_load_23 | 26 | 0.0038294 | 0.00095975 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6157-16_0_3_load_24 | 27 | 0.0024902 | 0.00062411 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6157-16_0_3_load_40 | 28 | 0.0009577 | 0.00024002 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6157-16_0_3_load_26 | 30 | 0.0066133 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6157-16_0_3_load_28 | 33 | 0.0026272 | 0.00065845 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6157-16_0_3_load_54 | 34 | 0.0023082 | 0.0005785 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6157-16_0_3_load_29 | 36 | 0.0028849 | 0.00072302 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6157-16_0_3_load_53 | 37 | 0.0022523 | 0.00056447 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6157-16_0_3_load_31 | 38 | 0.0016457 | 0.00041246 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6157-16_0_3_load_32 | 39 | 0.0040376 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6157-16_0_3_load_39 | 40 | 0.0051904 | 0.0013008 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6157-16_0_3_load_36 | 43 | 0.003944 | 0.00098846 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6157-16_0_3_load_35 | 44 | 0.0030264 | 0.00075848 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6157-16_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0074862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6157-16_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6157-16_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0087559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6157-16_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.006505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6157-16_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0082369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6157-16_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.018757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6157-16_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0045376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6157-16_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6157-16_0_3_line_8 | NAYY 4x150 SE | 8 | 11 | 0.0023051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6157-16_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.083403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6157-16_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.027561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6157-16_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.053304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6157-16_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.040335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6157-16_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.10439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6157-16_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.089499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6157-16_0_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.036773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6157-16_0_3_line_16 | NAYY 4x150 SE | 13 | 17 | 0.028862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6157-16_0_3_line_17 | NAYY 4x150 SE | 14 | 18 | 0.07098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6157-16_0_3_line_18 | NAYY 4x150 SE | 14 | 19 | 0.039106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6157-16_0_3_line_19 | NAYY 4x150 SE | 15 | 20 | 0.0041566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6157-16_0_3_line_20 | NAYY 4x150 SE | 16 | 21 | 0.0013759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6157-16_0_3_line_21 | NAYY 4x150 SE | 16 | 22 | 0.01076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6157-16_0_3_line_22 | NAYY 4x150 SE | 17 | 23 | 0.093438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6157-16_0_3_line_23 | NAYY 4x150 SE | 19 | 28 | 0.015927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6157-16_0_3_line_24 | NAYY 4x150 SE | 21 | 26 | 0.023276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6157-16_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.034801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6157-16_0_3_line_26 | NAYY 4x150 SE | 23 | 40 | 0.0077956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6157-16_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.0042952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6157-16_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.020094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6157-16_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.017352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6157-16_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.029888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6157-16_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.004927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6157-16_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.009572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6157-16_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.036795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6157-16_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.017392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6157-16_0_3_line_35 | NAYY 4x150 SE | 32 | 35 | 0.026646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6157-16_0_3_line_36 | NAYY 4x150 SE | 33 | 36 | 0.014885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6157-16_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.013662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6157-16_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.031752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6157-16_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.10201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6157-16_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.035246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6157-16_0_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.060198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6157-16_0_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.021579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6157-16_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.057664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6157-16_0_3_trafo_15 | 0.25 MVA 20/0.4 kV | 45 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2557813.0653 | 1116282.3348 | 2557813.1221 | 1116284.4432 | 2557812.2097 | 1116289.7423
1 | 2557813.0653 | 1116282.3348 | 2557812.8823 | 1116275.5292 | 2557811.7927 | 1116267.1365
2 | 2557812.2097 | 1116289.7423 | 2557812.0834 | 1116290.4758 | 2557809.2408 | 1116297.9662
3 | 2557810.9698 | 1116260.6838 | 2557811.2587 | 1116263.023 | 2557811.7927 | 1116267.1365
4 | 2557809.2408 | 1116297.9662 | 2557809.2408 | 1116297.9662 | 2557811.3349 | 1116300.4751 | 2557812.2508 | 1116305.3588
5 | 2557810.9698 | 1116260.6838 | 2557809.1476 | 1116245.9289 | 2557808.4138 | 1116242.1084
6 | 2557812.2508 | 1116305.3588 | 2557812.4655 | 1116306.5036 | 2557812.0841 | 1116309.8548
7 | 2557805.2872 | 1116222.6439 | 2557805.2872 | 1116222.6439 | 2557805.658 | 1116224.8869 | 2557806.9045 | 1116234.2497 | 2557808.4138 | 1116242.1084
8 | 2557806.6406 | 1116220.7779 | 2557805.2872 | 1116222.6439
9 | 2557732.6185 | 1116177.1281 | 2557745.2044 | 1116168.6469 | 2557754.3685 | 1116163.2134 | 2557761.5744 | 1116161.4732 | 2557766.1098 | 1116162.0085 | 2557772.0773 | 1116164.2235 | 2557776.4886 | 1116168.0057 | 2557780.1759 | 1116172.0154 | 2557789.3521 | 1116190.4052 | 2557792.9099 | 1116196.9126
10 | 2557806.6406 | 1116220.7779 | 2557803.6232 | 1116216.5079 | 2557792.9099 | 1116196.9126
11 | 2557709.8799 | 1116224.0447 | 2557712.6601 | 1116217.5774 | 2557721.6681 | 1116192.0568 | 2557724.2256 | 1116186.8585 | 2557726.5946 | 1116181.1946 | 2557732.6185 | 1116177.1281
12 | 2557806.6406 | 1116220.7779 | 2557819.7471 | 1116239.3293 | 2557832.491 | 1116249.0676 | 2557833.9475 | 1116249.8023
13 | 2557707.3561 | 1116311.2517 | 2557695.9921 | 1116305.6505 | 2557692.3053 | 1116303.9088 | 2557692.1321 | 1116301.2308 | 2557690.1919 | 1116297.5536 | 2557688.8166 | 1116292.9831 | 2557688.0157 | 1116288.8533 | 2557687.6391 | 1116280.2626 | 2557687.4558 | 1116271.7261 | 2557687.547 | 1116268.2126 | 2557689.6076 | 1116268.1315 | 2557692.0032 | 1116266.2804 | 2557692.8222 | 1116265.2853 | 2557694.1082 | 1116263.7199 | 2557696.76 | 1116258.7655 | 2557703.2787 | 1116239.3765 | 2557704.5245 | 1116236.4885 | 2557709.8799 | 1116224.0447
14 | 2557709.8799 | 1116224.0447 | 2557712.0953 | 1116225.1186 | 2557717.8708 | 1116224.1777 | 2557725.3633 | 1116223.6806 | 2557730.4233 | 1116224.1788 | 2557734.5883 | 1116225.8617 | 2557738.5122 | 1116231.6928 | 2557743.6244 | 1116239.6612 | 2557749.0367 | 1116250.7957 | 2557752.3558 | 1116260.6776 | 2557753.9467 | 1116268.4927 | 2557754.7414 | 1116279.4706 | 2557754.2232 | 1116285.2646
15 | 2557833.9475 | 1116249.8023 | 2557840.424 | 1116253.0699 | 2557848.9767 | 1116257.3792 | 2557866.3813 | 1116262.4048 | 2557867.9701 | 1116263.3053
16 | 2557833.9475 | 1116249.8023 | 2557836.9281 | 1116244.3898 | 2557842.0646 | 1116237.0391 | 2557849.0867 | 1116225.2577
17 | 2557707.3561 | 1116311.2517 | 2557717.1007 | 1116314.8854 | 2557732.4856 | 1116322.5484 | 2557751.4453 | 1116333.5993 | 2557764.3992 | 1116342.4689 | 2557768.2796 | 1116346.7085
18 | 2557707.3561 | 1116311.2517 | 2557706.9943 | 1116312.4993 | 2557715.6039 | 1116319.4204 | 2557725.6673 | 1116328.8993 | 2557733.3318 | 1116337.5613 | 2557734.0462 | 1116338.7297
19 | 2557753.853 | 1116289.4047 | 2557754.2232 | 1116285.2646
20 | 2557867.9701 | 1116263.3053 | 2557869.1683 | 1116263.9817
21 | 2557867.9701 | 1116263.3053 | 2557867.8726 | 1116264.8179 | 2557868.6208 | 1116268.0477 | 2557869.2119 | 1116273.9467
22 | 2557919.0925 | 1116173.6498 | 2557916.1718 | 1116173.4455 | 2557908.0646 | 1116173.2574 | 2557899.6599 | 1116174.6945 | 2557891.0755 | 1116178.0338 | 2557881.2425 | 1116182.7714 | 2557876.9584 | 1116186.1474 | 2557870.7366 | 1116191.7381 | 2557865.4062 | 1116198.9679 | 2557855.5782 | 1116214.3665 | 2557849.0867 | 1116225.2577
23 | 2557740.8502 | 1116353.035 | 2557740.4394 | 1116351.5966 | 2557738.0562 | 1116345.2878 | 2557734.0462 | 1116338.7297
24 | 2557869.1683 | 1116263.9817 | 2557881.9362 | 1116271.1898 | 2557887.8821 | 1116277.422
25 | 2557869.4323 | 1116308.6673 | 2557870.4264 | 1116294.5043 | 2557869.9732 | 1116281.5452 | 2557869.2119 | 1116273.9467
26 | 2557926.8691 | 1116174.1937 | 2557919.0925 | 1116173.6498
27 | 2557869.1316 | 1116312.9521 | 2557869.4323 | 1116308.6673
28 | 2557900.7092 | 1116292.804 | 2557896.1284 | 1116286.0653 | 2557887.8821 | 1116277.422
29 | 2557910.4642 | 1116307.1541 | 2557900.7092 | 1116292.804
30 | 2557910.4642 | 1116307.1541 | 2557909.1452 | 1116308.4084 | 2557907.8282 | 1116312.175 | 2557902.4386 | 1116326.4088 | 2557899.1689 | 1116334.6469
31 | 2557910.4642 | 1116307.1541 | 2557913.4482 | 1116311.0798
32 | 2557913.4482 | 1116311.0798 | 2557914.9298 | 1116313.215 | 2557918.7993 | 1116319.0244
33 | 2557913.4482 | 1116311.0798 | 2557915.3383 | 1116309.7993 | 2557917.019 | 1116303.929 | 2557920.0233 | 1116295.2592 | 2557921.7529 | 1116286.4537 | 2557921.0039 | 1116279.7777 | 2557920.1458 | 1116276.3447
34 | 2557933.9268 | 1116310.8149 | 2557926.4922 | 1116316.2805 | 2557922.1672 | 1116318.2228 | 2557918.7993 | 1116319.0244
35 | 2557931.3831 | 1116342.4044 | 2557925.8751 | 1116329.6584 | 2557918.7993 | 1116319.0244
36 | 2557916.3412 | 1116262.0455 | 2557917.0192 | 1116267.388 | 2557919.5587 | 1116273.9959 | 2557920.1458 | 1116276.3447
37 | 2557931.3831 | 1116342.4044 | 2557933.8786 | 1116340.486 | 2557936.8593 | 1116337.2859 | 2557941.9455 | 1116333.8042
38 | 2558028.8509 | 1116176.5123 | 2558036.7264 | 1116170.228 | 2558041.2617 | 1116166.3167 | 2558048.5145 | 1116160.1965 | 2558051.8163 | 1116158.7507 | 2558053.7848 | 1116158.737 | 2558054.28 | 1116159.117
39 | 2557926.8691 | 1116174.1937 | 2558028.8509 | 1116176.5123
40 | 2558068.4415 | 1116189.3844 | 2558067.449 | 1116187.646 | 2558068.5873 | 1116183.7027 | 2558068.3878 | 1116180.5358 | 2558066.4714 | 1116175.8244 | 2558063.7954 | 1116170.6626 | 2558056.8427 | 1116161.0836 | 2558054.28 | 1116159.117
41 | 2558068.4415 | 1116189.3844 | 2558064.0937 | 1116193.6167 | 2558054.6863 | 1116205.188 | 2558051.3867 | 1116210.2802 | 2558055.345 | 1116214.4437 | 2558062.2866 | 1116221.3324 | 2558067.4438 | 1116225.8323 | 2558075.3383 | 1116232.0919 | 2558075.8895 | 1116232.5327
42 | 2558075.8895 | 1116232.5327 | 2558075.2301 | 1116234.2938 | 2558076.1289 | 1116237 | 2558079.2037 | 1116241.7812 | 2558081.452 | 1116246.4902 | 2558083.2591 | 1116252.1584
43 | 2558083.2591 | 1116252.1584 | 2558136.0562 | 1116228.9715

## bus_geodata
| x | y | coords
0 | 2557813.0653 | 1116282.3348
1 | 2557812.2097 | 1116289.7423
2 | 2557811.7927 | 1116267.1365
3 | 2557809.2408 | 1116297.9662
4 | 2557810.9698 | 1116260.6838
5 | 2557812.2508 | 1116305.3588
6 | 2557808.4138 | 1116242.1084
7 | 2557812.0841 | 1116309.8548
8 | 2557805.2872 | 1116222.6439
9 | 2557792.9099 | 1116196.9126
10 | 2557732.6185 | 1116177.1281
11 | 2557806.6406 | 1116220.7779
12 | 2557709.8799 | 1116224.0447
13 | 2557833.9475 | 1116249.8023
14 | 2557707.3561 | 1116311.2517
15 | 2557754.2232 | 1116285.2646
16 | 2557867.9701 | 1116263.3053
17 | 2557849.0867 | 1116225.2577
18 | 2557768.2796 | 1116346.7085
19 | 2557734.0462 | 1116338.7297
20 | 2557753.853 | 1116289.4047
21 | 2557869.1683 | 1116263.9817
22 | 2557869.2119 | 1116273.9467
23 | 2557919.0925 | 1116173.6498
24 | 2557869.4324 | 1116308.6673
25 | 2557869.1316 | 1116312.9521
26 | 2557887.8821 | 1116277.422
27 | 2557900.7092 | 1116292.804
28 | 2557740.8502 | 1116353.035
29 | 2557910.4642 | 1116307.1541
30 | 2557899.1689 | 1116334.6469
31 | 2557913.4482 | 1116311.0798
32 | 2557918.7993 | 1116319.0244
33 | 2557920.1458 | 1116276.3447
34 | 2557933.9268 | 1116310.8149
35 | 2557931.3831 | 1116342.4044
36 | 2557916.3412 | 1116262.0455
37 | 2557941.9455 | 1116333.8042
38 | 2558028.8509 | 1116176.5123
39 | 2558054.28 | 1116159.117
40 | 2557926.8691 | 1116174.1937
41 | 2558068.4415 | 1116189.3844
42 | 2558075.8895 | 1116232.5327
43 | 2558083.2591 | 1116252.1584
44 | 2558136.0562 | 1116228.9715
45 | 2557840.424 | 1116253.0699

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1