## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6157-34_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6157-34_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6157-34_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6157-34_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6157-34_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6157-34_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6157-34_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_6157-34_0_3_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_6157-34_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_6157-34_0_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_6157-34_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_6157-34_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_6157-34_0_3_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_6157-34_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_6157-34_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6157-34_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6157-34_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_6157-34_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_6157-34_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6157-34_0_3_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_6157-34_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_6157-34_0_3_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_6157-34_0_3_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_6157-34_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_6157-34_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_6157-34_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_6157-34_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6157-34_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6157-34_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6157-34_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6157-34_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_6157-34_0_3_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_6157-34_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_6157-34_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_6157-34_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6157-34_0_3_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_6157-34_0_3_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_6157-34_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_6157-34_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_MV_105_1_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6157-34_0_3_load_0 | 0 | 0.0074111 | 0.0018574 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6157-34_0_3_load_1 | 1 | 0.0041746 | 0.0010463 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6157-34_0_3_load_5 | 5 | 0.0052008 | 0.0013034 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6157-34_0_3_load_21 | 9 | 0.0057144 | 0.0014322 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6157-34_0_3_load_31 | 11 | 0.0059784 | 0.0014983 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6157-34_0_3_load_29 | 12 | 0.0052354 | 0.0013121 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6157-34_0_3_load_39 | 13 | 0.0086358 | 0.0021643 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6157-34_0_3_load_10 | 14 | 0.0086917 | 0.0021784 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6157-34_0_3_load_7 | 15 | 0.003847 | 0.00096415 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6157-34_0_3_load_22 | 16 | 0.0074827 | 0.0018753 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6157-34_0_3_load_19 | 17 | 0.0050591 | 0.0012679 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6157-34_0_3_load_16 | 18 | 0.0054535 | 0.0013668 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6157-34_0_3_load_6 | 19 | 0.0075503 | 0.0018923 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6157-34_0_3_load_8 | 20 | 0.0021172 | 0.00053062 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6157-34_0_3_load_35 | 21 | 0.0017768 | 0.0004453 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6157-34_0_3_load_36 | 22 | 0.0016278 | 0.00040796 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6157-34_0_3_load_38 | 23 | 0.0033275 | 0.00083395 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6157-34_0_3_load_12 | 25 | 0.0052106 | 0.0013059 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6157-34_0_3_load_25 | 26 | 0.001321 | 0.00033107 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6157-34_0_3_load_20 | 27 | 0.0081714 | 0.002048 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6157-34_0_3_load_28 | 29 | 0.0015573 | 0.00039029 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6157-34_0_3_load_37 | 31 | 0.0012751 | 0.00031958 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6157-34_0_3_load_34 | 32 | 0.00038731 | 9.7069e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6157-34_0_3_load_13 | 35 | 0.0040382 | 0.0010121 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6157-34_0_3_load_14 | 36 | 0.0020312 | 0.00050906 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6157-34_0_3_load_40 | 37 | 0.00093662 | 0.00023474 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6157-34_0_3_load_30 | 38 | 0.0048735 | 0.0012214 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6157-34_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.27346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_6157-34_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_6157-34_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.25771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6157-34_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.11552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6157-34_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.1273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6157-34_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.057503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6157-34_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.31014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6157-34_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.010997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6157-34_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.034617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6157-34_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.078373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6157-34_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.045541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6157-34_0_3_line_11 | NAYY 4x150 SE | 6 | 12 | 0.16243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6157-34_0_3_line_12 | NAYY 4x150 SE | 7 | 13 | 0.38649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6157-34_0_3_line_13 | NAYY 4x150 SE | 8 | 14 | 0.21228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6157-34_0_3_line_14 | NAYY 4x150 SE | 8 | 15 | 0.21032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6157-34_0_3_line_15 | NAYY 4x150 SE | 9 | 16 | 0.23683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6157-34_0_3_line_16 | NAYY 4x150 SE | 10 | 17 | 0.0394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6157-34_0_3_line_17 | NAYY 4x150 SE | 10 | 18 | 0.033955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6157-34_0_3_line_18 | NAYY 4x150 SE | 12 | 38 | 0.13559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6157-34_0_3_line_19 | NAYY 4x150 SE | 14 | 24 | 0.021908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6157-34_0_3_line_20 | NAYY 4x150 SE | 15 | 21 | 0.38031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6157-34_0_3_line_21 | NAYY 4x150 SE | 15 | 19 | 0.091043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6157-34_0_3_line_22 | NAYY 4x150 SE | 18 | 36 | 0.015203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6157-34_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.03172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6157-34_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.081478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6157-34_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.087332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6157-34_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.040368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6157-34_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.1907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6157-34_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.14702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6157-34_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6157-34_0_3_line_30 | NAYY 4x150 SE | 27 | 34 | 0.35079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6157-34_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.35813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6157-34_0_3_line_32 | NAYY 4x150 SE | 29 | 33 | 0.18765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6157-34_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.078877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6157-34_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.033308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6157-34_0_3_line_35 | NAYY 4x150 SE | 30 | 33 | 0.11459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6157-34_0_3_line_36 | NAYY 4x150 SE | 34 | 37 | 0.13608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6157-34_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.03519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6157-34_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 39 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42
0 | 2556191.3423 | 1118178.9866 | 2556191.3806 | 1118179.513 | 2556191.9449 | 1118183.889 | 2556192.7567 | 1118188.3521 | 2556194.3158 | 1118191.5647 | 2556202.1434 | 1118200.3902 | 2556211.1172 | 1118207.6401 | 2556219.1703 | 1118213.507 | 2556224.0905 | 1118216.2172 | 2556232.1467 | 1118220.3832 | 2556247.6983 | 1118229.0862 | 2556262.2429 | 1118238.3301 | 2556277.2454 | 1118247.9265 | 2556291.0352 | 1118258.4655 | 2556302.4534 | 1118269.7332 | 2556311.2366 | 1118282.6763 | 2556318.6761 | 1118294.4175 | 2556325.3408 | 1118306.8091 | 2556331.8036 | 1118316.9009 | 2556336.2518 | 1118329.075 | 2556338.3794 | 1118341.5661 | 2556338.4615 | 1118353.9941 | 2556337.3419 | 1118361.3838 | 2556335.4765 | 1118367.0113 | 2556333.5322 | 1118370.2715 | 2556331.6357 | 1118374.8097 | 2556330.2657 | 1118383.8465 | 2556330.2151 | 1118385.0983
1 | 2556192.0423 | 1118166.4682 | 2556190.8836 | 1118172.6909 | 2556191.3423 | 1118178.9866
2 | 2556162.4338 | 1118570.9249 | 2556166.6778 | 1118568.7596 | 2556176.6141 | 1118563.018 | 2556186.5642 | 1118555.9977 | 2556198.6861 | 1118544.1037 | 2556210.2794 | 1118533.8144 | 2556219.7723 | 1118528.6429 | 2556226.2849 | 1118524.3158 | 2556236.4071 | 1118515.4601 | 2556245.6277 | 1118506.7888 | 2556253.6549 | 1118497.4148 | 2556261.917 | 1118486.3715 | 2556273.8933 | 1118471.3882 | 2556281.6337 | 1118462.9056 | 2556290.6119 | 1118453.7582 | 2556302.8469 | 1118441.4522 | 2556308.6638 | 1118434.8067 | 2556318.4633 | 1118422.9186 | 2556322.5943 | 1118417.9084 | 2556325.9318 | 1118413.0929 | 2556328.4113 | 1118405.938 | 2556329.7681 | 1118396.1454 | 2556330.2151 | 1118385.0983
3 | 2556192.0423 | 1118166.4682 | 2556211.5769 | 1118168.8501 | 2556229.7918 | 1118171.2416 | 2556251.3706 | 1118172.4526 | 2556274.55 | 1118175.1529 | 2556307.1324 | 1118179.375
4 | 2556192.0423 | 1118166.4682 | 2556181.8666 | 1118163.7517 | 2556170.4754 | 1118161.5776 | 2556143.2616 | 1118161.2749 | 2556123.9728 | 1118160.848 | 2556104.3128 | 1118159.2566 | 2556086.8842 | 1118157.827 | 2556065.5632 | 1118155.4848
5 | 2556181.3258 | 1118517.8938 | 2556177.0507 | 1118526.4181 | 2556171.9282 | 1118539.3842 | 2556166.3611 | 1118549.5743 | 2556162.6344 | 1118558.1613 | 2556161.6717 | 1118564.805 | 2556161.3584 | 1118568.4092 | 2556162.4338 | 1118570.9249
6 | 2556013.2899 | 1118799.7712 | 2556014.7629 | 1118800.7165 | 2556018.5747 | 1118800.6888 | 2556022.0096 | 1118798.7072 | 2556025.852 | 1118794.4104 | 2556029.754 | 1118790.8801 | 2556038.5823 | 1118785.6465 | 2556046.5241 | 1118780.5417 | 2556053.3286 | 1118775.0338 | 2556063.3889 | 1118766.245 | 2556071.5445 | 1118757.6368 | 2556077.9173 | 1118750.0532 | 2556085.48 | 1118741.6273 | 2556096.1713 | 1118730.4549 | 2556100.6563 | 1118725.3753 | 2556104.4246 | 1118719.3559 | 2556105.9822 | 1118712.819 | 2556106.2326 | 1118705.8691 | 2556104.2667 | 1118697.6347 | 2556100.7464 | 1118687.8664 | 2556097.5253 | 1118678.9296 | 2556093.8198 | 1118669.1737 | 2556091.6047 | 1118659.5738 | 2556090.9212 | 1118647.2946 | 2556091.524 | 1118639.9865 | 2556092.9175 | 1118635.285 | 2556096.1646 | 1118630.8147 | 2556099.8781 | 1118625.7406 | 2556102.7462 | 1118619.0163 | 2556105.5335 | 1118609.6802 | 2556109.9521 | 1118602.8779 | 2556117.0531 | 1118596.712 | 2556126.5813 | 1118588.9944 | 2556138.5549 | 1118582.204 | 2556152.7387 | 1118575.8644 | 2556162.4338 | 1118570.9249
7 | 2556318.0557 | 1118180.8968 | 2556307.1324 | 1118179.375
8 | 2556307.1324 | 1118179.375 | 2556311.3395 | 1118193.4073 | 2556314.8849 | 1118203.4424 | 2556318.7374 | 1118210.0624 | 2556319.886 | 1118211.2674
9 | 2555988.0638 | 1118144.1721 | 2556008.3065 | 1118148.3936 | 2556044.0244 | 1118152.8804 | 2556064.8643 | 1118155.408 | 2556065.5632 | 1118155.4848
10 | 2556214.833 | 1118488.1245 | 2556205.7 | 1118493.9826 | 2556197.9219 | 1118501.5095 | 2556190.9873 | 1118509.3638 | 2556184.4649 | 1118515.5365 | 2556182.3852 | 1118518.1974 | 2556181.3258 | 1118517.8938
11 | 2556181.3258 | 1118517.8938 | 2556184.361 | 1118511.8465 | 2556189.6667 | 1118500.7245 | 2556193.2043 | 1118489.4597 | 2556196.2469 | 1118479.1101 | 2556198.5666 | 1118462.7293 | 2556201.3586 | 1118441.2202 | 2556202.3849 | 1118431.6411 | 2556201.7996 | 1118421.1622 | 2556199.4746 | 1118401.7023 | 2556198.2863 | 1118388.9599 | 2556198.0733 | 1118383.0028 | 2556201.2165 | 1118371.6075 | 2556202.0636 | 1118367.1102 | 2556201.9143 | 1118363.5539 | 2556200.5379 | 1118359.7287
12 | 2556013.2899 | 1118799.7712 | 2556011.468 | 1118798.6061 | 2556010.3824 | 1118795.7681 | 2556012.0296 | 1118793.0769 | 2556014.9679 | 1118788.6088 | 2556021.9218 | 1118778.175 | 2556026.4442 | 1118769.7711 | 2556030.2522 | 1118761.7948 | 2556033.1551 | 1118751.3906 | 2556037.8741 | 1118743.4855 | 2556040.3659 | 1118738.0868 | 2556041.0873 | 1118733.3013 | 2556039.4371 | 1118727.099 | 2556035.1914 | 1118721.5937 | 2556028.413 | 1118715.8512 | 2556023.4852 | 1118709.9284 | 2556018.4952 | 1118707.1189 | 2556010.4736 | 1118703.3976 | 2556004.5594 | 1118700.8393 | 2555999.553 | 1118697.9076 | 2555992.8588 | 1118692.0866 | 2555988.1669 | 1118684.6503 | 2555983.8032 | 1118674.6103 | 2555980.4518 | 1118665.819 | 2555977.8613 | 1118656.6109 | 2555976.8711 | 1118647.8025 | 2555974.0051 | 1118635.7394 | 2555966.8732 | 1118604.8198 | 2555965.4589 | 1118595.0139 | 2555963.009 | 1118582.8589 | 2555961.1489 | 1118570.1214 | 2555961.9978 | 1118559.5431 | 2555963.5888 | 1118547.025 | 2555965.694 | 1118535.1702 | 2555968.289 | 1118510.0606 | 2555968.1399 | 1118501.246 | 2555968.2521 | 1118493.3522 | 2555967.5917 | 1118483.2074 | 2555967.6324 | 1118477.1595 | 2555969.0105 | 1118470.3571 | 2555971.0737 | 1118464.3834 | 2555973.9768 | 1118458.2368 | 2555976.0491 | 1118453.5193
13 | 2556318.0557 | 1118180.8968 | 2556339.6783 | 1118183.8976 | 2556368.9986 | 1118189.5221 | 2556390.7414 | 1118192.0776 | 2556398.9548 | 1118193.4524 | 2556405.7783 | 1118194.7038 | 2556410.5629 | 1118197.8931 | 2556414.1727 | 1118202.9697 | 2556415.8336 | 1118206.4151 | 2556416.8362 | 1118211.6772 | 2556417.0227 | 1118215.0554 | 2556417.3683 | 1118221.245 | 2556418.0985 | 1118229.3883 | 2556419.5028 | 1118236.8487 | 2556423.7539 | 1118243.1102 | 2556430.3591 | 1118248.343 | 2556439.7482 | 1118253.3112 | 2556450.0485 | 1118257.2724 | 2556465.0703 | 1118262.1111 | 2556473.761 | 1118264.4052 | 2556481.8671 | 1118268.0376 | 2556486.268 | 1118271.5299
14 | 2556318.0557 | 1118180.8968 | 2556318.5691 | 1118175.0567 | 2556318.2821 | 1118169.5115 | 2556316.3966 | 1118164.9116 | 2556313.6767 | 1118161.2405 | 2556309.4378 | 1118157.7471 | 2556301.1586 | 1118153.6938 | 2556290.6186 | 1118151.8357 | 2556279.4127 | 1118150.7384 | 2556267.7909 | 1118150.8226 | 2556250.5365 | 1118152.1259 | 2556239.5138 | 1118152.8728 | 2556230.7508 | 1118152.3582 | 2556224.8319 | 1118149.2106 | 2556219.9068 | 1118143.699 | 2556217.5967 | 1118138.0128 | 2556217.6377 | 1118131.9649 | 2556220.2029 | 1118125.9877 | 2556224.6159 | 1118119.4079 | 2556234.1527 | 1118110.612 | 2556245.8059 | 1118103.146 | 2556253.9389 | 1118098.7182 | 2556258.0427 | 1118095.2534 | 2556259.1033 | 1118090.3765 | 2556257.8866 | 1118085.4272 | 2556253.063 | 1118082.1938 | 2556247.5757 | 1118080.0435
15 | 2556457.3523 | 1118401.1717 | 2556457.0707 | 1118395.2929 | 2556454.8832 | 1118388.3718 | 2556449.6321 | 1118379.3272 | 2556443.1378 | 1118370.1804 | 2556433.5871 | 1118357.7762 | 2556424.7315 | 1118344.3776 | 2556416.4875 | 1118332.3308 | 2556408.3824 | 1118322.4175 | 2556404.9574 | 1118318.3401 | 2556401.4151 | 1118314.0412 | 2556394.8236 | 1118308.5637 | 2556391.2765 | 1118303.609 | 2556388.3746 | 1118297.16 | 2556385.7033 | 1118290.587 | 2556378.3072 | 1118280.5574 | 2556371.5121 | 1118271.4573 | 2556362.5035 | 1118260.4278 | 2556353.7449 | 1118250.875 | 2556344.2518 | 1118239.0152 | 2556333.9732 | 1118226.3274 | 2556327.6724 | 1118219.436 | 2556319.886 | 1118211.2674
16 | 2555988.0638 | 1118144.1721 | 2555987.9309 | 1118146.0519 | 2555995.5982 | 1118152.944 | 2556002.7416 | 1118161.0184 | 2556007.74 | 1118168.1079 | 2556011.5402 | 1118174.906
17 | 2555988.0638 | 1118144.1721 | 2555954.9962 | 1118136.4606
18 | 2556079.7961 | 1118305.9216 | 2556088.7443 | 1118308.5912 | 2556100.3214 | 1118311.9533 | 2556108.5673 | 1118315.6842 | 2556121.4666 | 1118321.5269 | 2556130.0736 | 1118326.1001 | 2556137.2314 | 1118327.7045 | 2556150.8155 | 1118329.0288 | 2556162.1524 | 1118332.2705 | 2556176.138 | 1118338.9392 | 2556186.4143 | 1118343.8449 | 2556193.8371 | 1118350.0832 | 2556199.4886 | 1118356.8124 | 2556200.5379 | 1118359.7287
19 | 2556497.1064 | 1118258.0783 | 2556497.4804 | 1118260.7103 | 2556496.5112 | 1118266.5091 | 2556494.6026 | 1118270.4583 | 2556490.4892 | 1118272.589 | 2556486.268 | 1118271.5299
20 | 2556247.5757 | 1118080.0435 | 2556487.8092 | 1117785.2216
21 | 2556198.8602 | 1118073.8574 | 2556198.7455 | 1118070.2477 | 2556195.2022 | 1118057.3445 | 2556194.2378 | 1118052.0599 | 2556195.8049 | 1118047.8575 | 2556199.9287 | 1118047.1606 | 2556202.9682 | 1118048.0612 | 2556204.2407 | 1118050.0642 | 2556207.1457 | 1118055.835 | 2556210.7949 | 1118059.9217 | 2556217.3287 | 1118065.9108 | 2556226.0395 | 1118071.9842 | 2556235.7572 | 1118076.4383 | 2556247.5757 | 1118080.0435 | 2556247.5757 | 1118080.0435
22 | 2555940.091 | 1118133.4915 | 2555949.697 | 1118135.2248 | 2555954.9962 | 1118136.4606
23 | 2556185.7356 | 1118099.2125 | 2556192.6168 | 1118095.6386 | 2556197.2978 | 1118090.9022 | 2556199.1855 | 1118084.0961 | 2556198.8602 | 1118073.8574
24 | 2556425.9202 | 1117732.509 | 2556425.9202 | 1117732.509 | 2556432.0957 | 1117736.9446 | 2556442.0389 | 1117744.788 | 2556453.6488 | 1117753.6534 | 2556469.5885 | 1117766.812 | 2556481.8892 | 1117778.3738 | 2556487.8092 | 1117785.2216
25 | 2556347.589 | 1117700.191 | 2556351.7606 | 1117705.0078 | 2556357.3588 | 1117709.6475 | 2556362.7972 | 1117714.6108 | 2556368.5196 | 1117717.2153 | 2556374.9968 | 1117718.5358 | 2556390.6789 | 1117719.5009 | 2556401.8345 | 1117723.1446 | 2556409.3107 | 1117727.0815 | 2556412.6649 | 1117728.7916 | 2556417.6373 | 1117730.1453 | 2556425.9202 | 1117732.509
26 | 2556497.1064 | 1118258.0783 | 2556499.1228 | 1118258.3862 | 2556509.4644 | 1118272.3856 | 2556520.5188 | 1118286.7801 | 2556522.1747 | 1118289.0052
27 | 2556497.1064 | 1118258.0783 | 2556614.7807 | 1118108.02
28 | 2556552.4534 | 1118426.3771 | 2556554.17 | 1118420.3736 | 2556556.9786 | 1118413.8834 | 2556559.9728 | 1118407.4475 | 2556561.245 | 1118401.9244 | 2556560.9074 | 1118396.8242 | 2556559.2554 | 1118390.3105 | 2556556.1496 | 1118381.2504 | 2556553.4846 | 1118374.4438 | 2556550.6236 | 1118366.149 | 2556548.1597 | 1118355.1277 | 2556545.3719 | 1118339.8398 | 2556542.5411 | 1118327.1648 | 2556539.5026 | 1118317.804 | 2556535.4988 | 1118308.3391 | 2556530.805 | 1118300.6022 | 2556522.1747 | 1118289.0052
29 | 2556622.7288 | 1118021.7979 | 2556592.1871 | 1118041.7275 | 2556596.477 | 1118059.8393 | 2556604.904 | 1118074.8088 | 2556613.9414 | 1118101.7022 | 2556614.7807 | 1118108.02
30 | 2556552.4534 | 1118426.3771 | 2556883.6383 | 1118310.7351
31 | 2556622.7288 | 1118021.7979 | 2556658.7427 | 1118028.7653 | 2556688.9532 | 1118057.319 | 2556699.4142 | 1118086.9037 | 2556720.0971 | 1118111.6906 | 2556751.6798 | 1118125.0269 | 2556784.3092 | 1118129.3623 | 2556803.2073 | 1118131.2615 | 2556854.0147 | 1118140.4144 | 2556895.955 | 1118148.5415 | 2556903.2891 | 1118144.576 | 2556908.0443 | 1118138.2611 | 2556908.6467 | 1118127.5179 | 2556904.5161 | 1118119.8852
32 | 2556958.4505 | 1118007.768 | 2556953.7859 | 1118023.5649 | 2556943.9173 | 1118029.2715 | 2556931.6121 | 1118038.5306 | 2556915.1648 | 1118045.9294 | 2556896.1353 | 1118055.937 | 2556876.3809 | 1118063.8375 | 2556861.5605 | 1118069.9242 | 2556863.8746 | 1118079.4904 | 2556872.1247 | 1118089.2365 | 2556901.6708 | 1118114.6277 | 2556904.5161 | 1118119.8852
33 | 2556850.7458 | 1117968.0378 | 2556855.8276 | 1117964.2107 | 2556861.6488 | 1117963.4354 | 2556875.213 | 1117959.7144 | 2556907.9192 | 1117951.9771 | 2556915.1931 | 1117951.4472 | 2556920.3011 | 1117952.378 | 2556926.5177 | 1117950.5389
34 | 2556850.7458 | 1117968.0378 | 2556818.1344 | 1117961.2606
35 | 2556850.7458 | 1117968.0378 | 2556875.9695 | 1117975.9507 | 2556901.0276 | 1117984.4652 | 2556926.5566 | 1117995.1776 | 2556937.7068 | 1117999.2669 | 2556948.8462 | 1118004.0122 | 2556958.4505 | 1118007.768
36 | 2556986.1697 | 1118357.4507 | 2556985.1116 | 1118366.0071 | 2556983.6606 | 1118371.398 | 2556979.7617 | 1118374.4051 | 2556975.2977 | 1118374.9927 | 2556968.7691 | 1118373.9164 | 2556950.7894 | 1118362.1606 | 2556883.6383 | 1118310.7351
37 | 2555940.091 | 1118133.4915 | 2555934.9528 | 1118132.5643 | 2555917.1804 | 1118130.5707 | 2555905.6926 | 1118126.8192

## bus_geodata
| x | y | coords
0 | 2556191.3423 | 1118178.9866
1 | 2556330.2151 | 1118385.0983
2 | 2556192.0423 | 1118166.4682
3 | 2556162.4338 | 1118570.9249
4 | 2556307.1324 | 1118179.375
5 | 2556065.5632 | 1118155.4848
6 | 2556181.3258 | 1118517.8938
7 | 2556013.2899 | 1118799.7712
8 | 2556318.0557 | 1118180.8968
9 | 2556319.886 | 1118211.2674
10 | 2555988.0638 | 1118144.1721
11 | 2556214.833 | 1118488.1245
12 | 2556200.5379 | 1118359.7287
13 | 2555976.0491 | 1118453.5193
14 | 2556486.268 | 1118271.5299
15 | 2556247.5757 | 1118080.0435
16 | 2556457.3523 | 1118401.1717
17 | 2556011.5402 | 1118174.906
18 | 2555954.9962 | 1118136.4606
19 | 2556198.8602 | 1118073.8574
20 | 2556185.7356 | 1118099.2125
21 | 2556487.8092 | 1117785.2216
22 | 2556425.9202 | 1117732.509
23 | 2556347.589 | 1117700.191
24 | 2556497.1064 | 1118258.0783
25 | 2556522.1747 | 1118289.0052
26 | 2556614.7807 | 1118108.02
27 | 2556552.4534 | 1118426.3771
28 | 2556622.7288 | 1118021.7979
29 | 2556904.5161 | 1118119.8852
30 | 2556850.7458 | 1117968.0378
31 | 2556926.5177 | 1117950.5389
32 | 2556818.1344 | 1117961.2606
33 | 2556958.4505 | 1118007.768
34 | 2556883.6383 | 1118310.7351
35 | 2555905.6926 | 1118126.8192
36 | 2555940.091 | 1118133.4915
37 | 2556986.1697 | 1118357.4507
38 | 2556079.7961 | 1118305.9216
39 | 2556307.1324 | 1118179.375

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1