## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6157-9_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6157-9_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6157-9_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6157-9_0_2_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_6157-9_0_2_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_6157-9_0_2_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_6157-9_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_6157-9_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6157-9_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6157-9_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6157-9_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6157-9_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6157-9_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6157-9_0_2_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_6157-9_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6157-9_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6157-9_0_2_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_6157-9_0_2_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_6157-9_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_6157-9_0_2_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_6157-9_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_6157-9_0_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_6157-9_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6157-9_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6157-9_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6157-9_0_2_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_6157-9_0_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_6157-9_0_2_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_6157-9_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6157-9_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_6157-9_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_6157-9_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6157-9_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_6157-9_0_2_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_6157-9_0_2_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_6157-9_0_2_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_6157-9_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_6157-9_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6157-9_0_2_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_6157-9_0_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_6157-9_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_6157-9_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6157-9_0_2_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6157-9_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_6157-9_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6157-9_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6157-9_0_2_node_36 | 0.4 | n |  | TRUE
47 | bus_MV_204_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6157-9_0_2_load_0 | 0 | 0.0071131 | 0.0017827 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6157-9_0_2_load_1 | 1 | 0.0013643 | 0.00034193 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6157-9_0_2_load_2 | 2 | 0.0017414 | 0.00043643 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6157-9_0_2_load_26 | 4 | 0.0037113 | 0.00093014 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6157-9_0_2_load_27 | 5 | 0.0011777 | 0.00029515 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6157-9_0_2_load_3 | 6 | 0.0033034 | 0.00082792 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6157-9_0_2_load_6 | 9 | 0.0021132 | 0.00052961 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6157-9_0_2_load_8 | 11 | 0.0043181 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6157-9_0_2_load_13 | 14 | 0.0046928 | 0.0011761 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6157-9_0_2_load_47 | 16 | 0.0020451 | 0.00051255 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6157-9_0_2_load_46 | 17 | 0.001264 | 0.00031679 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6157-9_0_2_load_49 | 19 | 0.0064543 | 0.0016176 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6157-9_0_2_load_28 | 21 | 0.0031099 | 0.00077942 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6157-9_0_2_load_19 | 24 | 0.0019076 | 0.00047808 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6157-9_0_2_load_40 | 25 | 0.0064452 | 0.0016153 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6157-9_0_2_load_39 | 26 | 0.0011352 | 0.00028452 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6157-9_0_2_load_15 | 27 | 0.0033269 | 0.0008338 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6157-9_0_2_load_16 | 28 | 0.0047601 | 0.001193 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6157-9_0_2_load_18 | 29 | 0.0016556 | 0.00041494 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6157-9_0_2_load_22 | 31 | 0.0054911 | 0.0013762 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6157-9_0_2_load_29 | 32 | 0.0025946 | 0.00065028 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6157-9_0_2_load_48 | 33 | 0.013441 | 0.0033687 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6157-9_0_2_load_44 | 35 | 0.065988 | 0.016538 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6157-9_0_2_load_42 | 36 | 0.0028898 | 0.00072424 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6157-9_0_2_load_30 | 37 | 0.0034107 | 0.0008548 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6157-9_0_2_load_45 | 39 | 0.003191 | 0.00079973 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6157-9_0_2_load_31 | 41 | 0.0024735 | 0.00061993 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6157-9_0_2_load_32 | 42 | 0.013276 | 0.0033272 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6157-9_0_2_load_33 | 43 | 0.0017987 | 0.00045079 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6157-9_0_2_load_34 | 44 | 0.0032062 | 0.00080355 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6157-9_0_2_load_36 | 46 | 0.008705 | 0.0021817 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6157-9_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.052976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6157-9_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.020741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6157-9_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.022389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6157-9_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.010646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6157-9_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6157-9_0_2_line_5 | NAYY 4x150 SE | 4 | 37 | 0.020716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6157-9_0_2_line_6 | NAYY 4x150 SE | 5 | 32 | 0.012069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6157-9_0_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.015825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6157-9_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.036149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6157-9_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.02675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6157-9_0_2_line_10 | NAYY 4x150 SE | 7 | 10 | 0.023452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6157-9_0_2_line_11 | NAYY 4x150 SE | 8 | 11 | 0.02133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6157-9_0_2_line_12 | NAYY 4x150 SE | 8 | 12 | 0.061339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6157-9_0_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.063603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6157-9_0_2_line_14 | NAYY 4x150 SE | 10 | 14 | 0.1207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6157-9_0_2_line_15 | NAYY 4x150 SE | 12 | 18 | 0.031745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6157-9_0_2_line_16 | NAYY 4x150 SE | 12 | 19 | 0.040306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6157-9_0_2_line_17 | NAYY 4x150 SE | 12 | 15 | 0.083129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6157-9_0_2_line_18 | NAYY 4x150 SE | 13 | 20 | 0.020839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6157-9_0_2_line_19 | NAYY 4x150 SE | 13 | 21 | 0.01673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6157-9_0_2_line_20 | NAYY 4x150 SE | 14 | 22 | 0.017901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6157-9_0_2_line_21 | NAYY 4x150 SE | 15 | 16 | 0.020911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6157-9_0_2_line_22 | NAYY 4x150 SE | 15 | 17 | 0.060705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6157-9_0_2_line_23 | NAYY 4x150 SE | 18 | 23 | 0.023456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6157-9_0_2_line_24 | NAYY 4x150 SE | 18 | 24 | 0.087974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6157-9_0_2_line_25 | NAYY 4x150 SE | 20 | 30 | 0.0339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6157-9_0_2_line_26 | NAYY 4x150 SE | 20 | 31 | 0.024985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_6157-9_0_2_line_27 | NAYY 4x150 SE | 21 | 32 | 0.034443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6157-9_0_2_line_28 | NAYY 4x150 SE | 22 | 27 | 0.0053671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6157-9_0_2_line_29 | NAYY 4x150 SE | 22 | 28 | 0.009121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6157-9_0_2_line_30 | NAYY 4x150 SE | 23 | 33 | 0.10533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6157-9_0_2_line_31 | NAYY 4x150 SE | 25 | 26 | 0.0184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6157-9_0_2_line_32 | NAYY 4x150 SE | 26 | 30 | 0.017712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6157-9_0_2_line_33 | NAYY 4x150 SE | 27 | 29 | 0.018964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6157-9_0_2_line_34 | NAYY 4x150 SE | 30 | 34 | 0.091902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6157-9_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.030726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6157-9_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.010905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6157-9_0_2_line_37 | NAYY 4x150 SE | 36 | 39 | 0.081175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6157-9_0_2_line_38 | NAYY 4x150 SE | 37 | 41 | 0.029791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6157-9_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.080479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6157-9_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.10776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6157-9_0_2_line_41 | NAYY 4x150 SE | 40 | 45 | 0.063312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6157-9_0_2_line_42 | NAYY 4x150 SE | 40 | 46 | 0.078094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6157-9_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.010014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6157-9_0_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.030337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6157-9_0_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.060036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6157-9_0_2_trafo_22 | 0.25 MVA 20/0.4 kV | 47 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2558275.471 | 1117290.2225 | 2558278.3363 | 1117293.5442 | 2558284.4127 | 1117300.5391 | 2558289.5126 | 1117302.4827 | 2558298.3659 | 1117303.6333 | 2558307.0644 | 1117308.0867 | 2558319.087 | 1117317.3318
1 | 2558336.408 | 1117328.5218 | 2558334.3171 | 1117326.9529 | 2558326.5654 | 1117323.2489 | 2558320.1316 | 1117318.1351 | 2558319.087 | 1117317.3318
2 | 2558352.6862 | 1117342.5232 | 2558351.1926 | 1117343.0671 | 2558346.8357 | 1117338.0501 | 2558339.8955 | 1117331.1388 | 2558336.408 | 1117328.5218
3 | 2558352.6862 | 1117342.5232 | 2558351.7144 | 1117340.3843 | 2558348.5692 | 1117332.7074
4 | 2558352.6862 | 1117342.5232 | 2558356.8557 | 1117351.6991 | 2558357.9678 | 1117354.7498
5 | 2558348.5692 | 1117332.7074 | 2558346.0463 | 1117326.5496 | 2558340.2846 | 1117315.9283 | 2558339.104 | 1117314.3416
6 | 2558357.9678 | 1117354.7498 | 2558361.2377 | 1117363.7196 | 2558361.7055 | 1117366.1979
7 | 2558385.3658 | 1117501.5909 | 2558370.0143 | 1117505.4321
8 | 2558336.6146 | 1117519.0357 | 2558363.299 | 1117507.1124 | 2558370.0143 | 1117505.4321
9 | 2558385.3658 | 1117501.5909 | 2558383.8123 | 1117509.1165 | 2558378.2759 | 1117527.3609
10 | 2558385.1739 | 1117478.2135 | 2558385.6166 | 1117486.4592 | 2558385.896 | 1117499.0081 | 2558385.3658 | 1117501.5909
11 | 2558336.6146 | 1117519.0357 | 2558336.7767 | 1117515.6885 | 2558336.5311 | 1117506.9301 | 2558336.4675 | 1117497.7138
12 | 2558283.6159 | 1117536.0768 | 2558291.625 | 1117534.6319 | 2558300.8799 | 1117533.6342 | 2558304.6419 | 1117534.0973 | 2558307.5926 | 1117535.5666 | 2558330.5527 | 1117530.8836 | 2558334.8725 | 1117523.8391 | 2558336.6146 | 1117519.0357
13 | 2558372.4824 | 1117416.2135 | 2558378.2284 | 1117433.5384 | 2558381.5513 | 1117446.4444 | 2558384.457 | 1117464.9005 | 2558385.1739 | 1117478.2135
14 | 2558385.1739 | 1117478.2135 | 2558383.7335 | 1117477.512 | 2558378.1161 | 1117467.6456 | 2558368.0818 | 1117453.0072 | 2558355.992 | 1117438.0161 | 2558337.4023 | 1117415.0435 | 2558314.5773 | 1117387.9092 | 2558310.8393 | 1117383.5697
15 | 2558283.6159 | 1117536.0768 | 2558279.5148 | 1117536.8055 | 2558273.6666 | 1117538.2355 | 2558266.3853 | 1117540.02 | 2558260.3562 | 1117540.951 | 2558252.5128 | 1117539.5823
16 | 2558267.9891 | 1117499.577 | 2558269.7323 | 1117505.0011 | 2558273.0747 | 1117509.5248 | 2558276.594 | 1117513.9695 | 2558278.7673 | 1117517.9676 | 2558280.7753 | 1117523.7456 | 2558282.5207 | 1117530.6037 | 2558283.6159 | 1117536.0768
17 | 2558296.3574 | 1117480.0267 | 2558297.6575 | 1117484.9981 | 2558300.5594 | 1117492.7932 | 2558305.5655 | 1117503.5419 | 2558309.5696 | 1117514.4866 | 2558310.443 | 1117522.4958 | 2558309.7937 | 1117529.0592 | 2558308.9361 | 1117533.4118 | 2558307.5926 | 1117535.5666 | 2558304.6419 | 1117534.0973 | 2558300.8799 | 1117533.6342 | 2558291.625 | 1117534.6319 | 2558283.6159 | 1117536.0768
18 | 2558372.4824 | 1117416.2135 | 2558384.0886 | 1117412.5539 | 2558391.5677 | 1117417.0381
19 | 2558372.4824 | 1117416.2135 | 2558368.5957 | 1117399.9408
20 | 2558299.156 | 1117370.0064 | 2558310.8393 | 1117383.5697
21 | 2558291.5952 | 1117459.8937 | 2558293.1803 | 1117469.2542 | 2558294.5366 | 1117475.6593 | 2558295.3076 | 1117478.8889 | 2558296.3574 | 1117480.0267
22 | 2558289.5647 | 1117421.7992 | 2558294.0943 | 1117427.2485 | 2558296.7958 | 1117432.8439 | 2558298.0478 | 1117440.9061 | 2558298.2539 | 1117451.7546 | 2558298.3857 | 1117461.9034 | 2558297.3922 | 1117473.3939 | 2558296.3574 | 1117480.0267
23 | 2558230.2793 | 1117532.1209 | 2558241.0852 | 1117536.6708 | 2558252.5128 | 1117539.5823
24 | 2558252.5128 | 1117539.5823 | 2558253.3082 | 1117530.7055 | 2558251.7554 | 1117517.0982 | 2558249.5288 | 1117503.1619 | 2558249.6649 | 1117490.4656 | 2558249.678 | 1117477.8479 | 2558249.8966 | 1117467.0408 | 2558251.4729 | 1117457.2471 | 2558251.4969 | 1117452.0384
25 | 2558399.0865 | 1117449.7142 | 2558396.4021 | 1117427.5324 | 2558391.5677 | 1117417.0381
26 | 2558391.5677 | 1117417.0381 | 2558389.1857 | 1117401.78 | 2558391.6417 | 1117392.5593
27 | 2558368.5957 | 1117399.9408 | 2558368.2463 | 1117398.478 | 2558364.8506 | 1117382.8601 | 2558361.7055 | 1117366.1979
28 | 2558299.156 | 1117370.0064 | 2558300.8188 | 1117364.9034 | 2558300.8188 | 1117364.9034
29 | 2558293.1959 | 1117363.0884 | 2558299.156 | 1117370.0064
30 | 2558228.1748 | 1117427.5818 | 2558229.8036 | 1117434.3184 | 2558231.0804 | 1117444.8372 | 2558230.6366 | 1117463.2609 | 2558228.6836 | 1117474.369 | 2558227.8062 | 1117484.7804 | 2558228.0094 | 1117495.1843 | 2558228.1664 | 1117503.3874 | 2558229.4455 | 1117510.8825 | 2558230.1651 | 1117523.4284 | 2558231.0245 | 1117528.2805 | 2558230.6534 | 1117530.4175 | 2558230.2793 | 1117532.1209
31 | 2558399.627 | 1117467.4165 | 2558399.8166 | 1117471.676 | 2558400.814 | 1117485.7773
32 | 2558399.0865 | 1117449.7142 | 2558399.2688 | 1117459.3735 | 2558399.627 | 1117467.4165
33 | 2558293.4933 | 1117347.5151 | 2558299.4377 | 1117359.3879 | 2558300.8188 | 1117364.9034
34 | 2558483.0832 | 1117433.8395 | 2558473.1752 | 1117435.2861 | 2558458.9391 | 1117437.0071 | 2558453.4266 | 1117437.8899 | 2558445.3497 | 1117438.4901 | 2558439.7418 | 1117438.9734 | 2558420.746 | 1117436.5584 | 2558411.6273 | 1117436.0542 | 2558408.5459 | 1117436.9203 | 2558405.1548 | 1117438.7557 | 2558401.1159 | 1117442.919 | 2558400.0406 | 1117445.9168 | 2558399.0865 | 1117449.7142
35 | 2558483.0832 | 1117433.8395 | 2558488.2298 | 1117442.6087 | 2558493.235 | 1117451.0119 | 2558497.8296 | 1117456.9612 | 2558499.5007 | 1117459.7845
36 | 2558483.0832 | 1117433.8395 | 2558493.9871 | 1117433.6792
37 | 2558493.9871 | 1117433.6792 | 2558510.2831 | 1117354.1562
38 | 2558320.8413 | 1117290.8193 | 2558321.1958 | 1117291.1472 | 2558330.0633 | 1117302.1917 | 2558339.104 | 1117314.3416
39 | 2558457.7901 | 1117296.8763 | 2558459.749 | 1117296.6405 | 2558462.6193 | 1117297.6213 | 2558465.046 | 1117302.5738 | 2558467.6558 | 1117310.5711 | 2558470.7849 | 1117317.7533 | 2558474.5834 | 1117322.3962 | 2558482.809 | 1117329.9436 | 2558495.0179 | 1117339.8093 | 2558510.2831 | 1117354.1562
40 | 2558457.7901 | 1117296.8763 | 2558455.1278 | 1117286.8561 | 2558446.452 | 1117271.1188 | 2558438.6696 | 1117257.343 | 2558430.2822 | 1117244.2607 | 2558419.5767 | 1117229.6935 | 2558409.4188 | 1117216.2009 | 2558405.0497 | 1117203.8024
41 | 2558385.6007 | 1117143.572 | 2558386.5025 | 1117146.7452 | 2558391.8635 | 1117165.2845 | 2558397.7579 | 1117181.719 | 2558403.1761 | 1117198.4903 | 2558405.0497 | 1117203.8024
42 | 2558405.0497 | 1117203.8024 | 2558402.5921 | 1117204.4752 | 2558398.9238 | 1117203.0664 | 2558390.2201 | 1117195.6447 | 2558377.7232 | 1117182.1238 | 2558365.4575 | 1117174.1598 | 2558357.627 | 1117169.1334 | 2558348.7092 | 1117158.645 | 2558346.4174 | 1117155.282
43 | 2558313.4899 | 1117284.0189 | 2558320.8413 | 1117290.8193
44 | 2558439.1604 | 1117213.3121 | 2558431.5564 | 1117207.344 | 2558421.4613 | 1117193.9955 | 2558419.5994 | 1117190.5297
45 | 2558385.6007 | 1117143.572 | 2558389.0859 | 1117143.0366 | 2558392.5837 | 1117147.7038 | 2558401.2363 | 1117161.1623 | 2558413.7676 | 1117179.6744 | 2558419.5994 | 1117190.5297

## bus_geodata
| x | y | coords
0 | 2558275.471 | 1117290.2225
1 | 2558319.087 | 1117317.3318
2 | 2558336.408 | 1117328.5218
3 | 2558352.6862 | 1117342.5232
4 | 2558348.5692 | 1117332.7074
5 | 2558357.9678 | 1117354.7498
6 | 2558370.0143 | 1117505.4321
7 | 2558385.3658 | 1117501.5909
8 | 2558336.6146 | 1117519.0357
9 | 2558378.2759 | 1117527.3609
10 | 2558385.1739 | 1117478.2135
11 | 2558336.4675 | 1117497.7138
12 | 2558283.6159 | 1117536.0768
13 | 2558372.4824 | 1117416.2135
14 | 2558310.8393 | 1117383.5697
15 | 2558296.3574 | 1117480.0267
16 | 2558291.5952 | 1117459.8937
17 | 2558289.5647 | 1117421.7992
18 | 2558252.5128 | 1117539.5823
19 | 2558267.9891 | 1117499.577
20 | 2558391.5677 | 1117417.0381
21 | 2558368.5957 | 1117399.9408
22 | 2558299.156 | 1117370.0064
23 | 2558230.2793 | 1117532.1209
24 | 2558251.4969 | 1117452.0384
25 | 2558400.814 | 1117485.7773
26 | 2558399.627 | 1117467.4165
27 | 2558300.8188 | 1117364.9034
28 | 2558293.1959 | 1117363.0884
29 | 2558293.4933 | 1117347.5151
30 | 2558399.0865 | 1117449.7142
31 | 2558391.6417 | 1117392.5593
32 | 2558361.7055 | 1117366.1979
33 | 2558228.1748 | 1117427.5818
34 | 2558483.0832 | 1117433.8395
35 | 2558499.5007 | 1117459.7845
36 | 2558493.9871 | 1117433.6792
37 | 2558339.104 | 1117314.3416
38 | 2558457.7901 | 1117296.8763
39 | 2558510.2831 | 1117354.1562
40 | 2558405.0497 | 1117203.8024
41 | 2558320.8413 | 1117290.8193
42 | 2558313.4899 | 1117284.0189
43 | 2558439.1604 | 1117213.3121
44 | 2558419.5994 | 1117190.5297
45 | 2558385.6007 | 1117143.572
46 | 2558346.4174 | 1117155.282
47 | 2558392.5289 | 1117376.1771

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1