## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6181-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6181-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6181-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6181-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6181-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6181-12_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6181-12_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_6181-12_0_4_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_6181-12_0_4_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_6181-12_0_4_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_6181-12_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_6181-12_0_4_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_6181-12_0_4_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_6181-12_0_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_6181-12_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_6181-12_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6181-12_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6181-12_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6181-12_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6181-12_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6181-12_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6181-12_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_6181-12_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_6181-12_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_6181-12_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6181-12_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6181-12_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6181-12_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_6181-12_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_6181-12_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6181-12_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_6181-12_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_6181-12_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_6181-12_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_6181-12_0_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_6181-12_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_6181-12_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6181-12_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6181-12_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6181-12_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_6181-12_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_6181-12_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6181-12_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6181-12_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_6181-12_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6181-12_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6181-12_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6181-12_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_6181-12_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_6181-12_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6181-12_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6181-12_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_6181-12_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_6181-12_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_6181-12_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6181-12_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_6181-12_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6181-12_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_6181-12_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6181-12_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6181-12_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6181-12_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6181-12_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_6181-12_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_6181-12_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_6181-12_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_6181-12_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6181-12_0_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_6181-12_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_6181-12_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_6181-12_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_6181-12_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_MV_87_1_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6181-12_0_4_load_0 | 0 | 0.0019093 | 0.00047851 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6181-12_0_4_load_4 | 4 | 0.0018417 | 0.00046156 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6181-12_0_4_load_5 | 5 | 0.0022395 | 0.00056128 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6181-12_0_4_load_44 | 6 | 0.0022712 | 0.00056921 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6181-12_0_4_load_73 | 7 | 0.0030264 | 0.0007585 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6181-12_0_4_load_45 | 8 | 0.0010285 | 0.00025777 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6181-12_0_4_load_53 | 9 | 0.0012886 | 0.00032294 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6181-12_0_4_load_43 | 10 | 0.00079795 | 0.00019998 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6181-12_0_4_load_72 | 11 | 0.0013743 | 0.00034443 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6181-12_0_4_load_46 | 12 | 0.0023011 | 0.00057671 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6181-12_0_4_load_54 | 13 | 0.0013308 | 0.00033352 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6181-12_0_4_load_6 | 14 | 0.0020072 | 0.00050305 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6181-12_0_4_load_7 | 15 | 0.002442 | 0.00061201 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6181-12_0_4_load_9 | 17 | 0.0010881 | 0.00027269 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6181-12_0_4_load_10 | 18 | 0.00085978 | 0.00021548 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6181-12_0_4_load_12 | 20 | 0.0019602 | 0.00049127 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6181-12_0_4_load_25 | 21 | 0.00086521 | 0.00021684 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6181-12_0_4_load_19 | 22 | 0.0019905 | 0.00049885 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6181-12_0_4_load_24 | 23 | 0.00084782 | 0.00021248 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6181-12_0_4_load_20 | 25 | 0.0021245 | 0.00053245 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6181-12_0_4_load_13 | 26 | 0.0017368 | 0.00043529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6181-12_0_4_load_11 | 27 | 0.0015072 | 0.00037774 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6181-12_0_4_load_22 | 28 | 0.0012587 | 0.00031545 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6181-12_0_4_load_23 | 29 | 0.001151 | 0.00028846 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6181-12_0_4_load_15 | 30 | 0.0017977 | 0.00045053 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6181-12_0_4_load_16 | 32 | 0.0022904 | 0.00057402 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6181-12_0_4_load_21 | 33 | 0.0017101 | 0.00042859 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6181-12_0_4_load_40 | 34 | 0.00094156 | 0.00023598 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6181-12_0_4_load_38 | 35 | 0.0013806 | 0.00034601 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6181-12_0_4_load_26 | 36 | 0.0013174 | 0.00033017 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6181-12_0_4_load_27 | 37 | 0.0016661 | 0.00041757 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6181-12_0_4_load_28 | 38 | 0.0018041 | 0.00045215 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6181-12_0_4_load_30 | 39 | 0.0018525 | 0.00046428 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6181-12_0_4_load_29 | 40 | 0.0007694 | 0.00019283 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6181-12_0_4_load_31 | 41 | 0.0017183 | 0.00043065 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6181-12_0_4_load_32 | 42 | 0.0010896 | 0.00027307 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6181-12_0_4_load_33 | 43 | 0.0013489 | 0.00033806 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6181-12_0_4_load_34 | 44 | 0.0017557 | 0.00044001 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6181-12_0_4_load_35 | 45 | 0.0010555 | 0.00026454 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6181-12_0_4_load_36 | 46 | 0.00073371 | 0.00018388 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6181-12_0_4_load_47 | 47 | 0.00081263 | 0.00020366 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6181-12_0_4_load_48 | 48 | 0.0015528 | 0.00038916 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6181-12_0_4_load_37 | 49 | 0.0016947 | 0.00042473 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6181-12_0_4_load_39 | 50 | 0.0013875 | 0.00034773 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6181-12_0_4_load_41 | 51 | 0.0012953 | 0.00032464 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6181-12_0_4_load_42 | 52 | 0.0012941 | 0.00032432 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6181-12_0_4_load_52 | 53 | 0.0012675 | 0.00031766 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6181-12_0_4_load_51 | 54 | 0.0011762 | 0.00029478 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6181-12_0_4_load_49 | 55 | 0.0017127 | 0.00042925 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6181-12_0_4_load_50 | 56 | 0.0023405 | 0.00058657 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6181-12_0_4_load_55 | 57 | 0.0013555 | 0.00033971 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6181-12_0_4_load_57 | 59 | 0.0010093 | 0.00025296 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6181-12_0_4_load_58 | 60 | 0.0012051 | 0.00030202 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6181-12_0_4_load_63 | 61 | 0.00096733 | 0.00024243 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6181-12_0_4_load_60 | 63 | 0.00079664 | 0.00019966 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6181-12_0_4_load_61 | 64 | 0.0026412 | 0.00066194 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6181-12_0_4_load_62 | 65 | 0.0007617 | 0.0001909 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6181-12_0_4_load_64 | 66 | 0.00085434 | 0.00021412 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6181-12_0_4_load_65 | 67 | 0.0010096 | 0.00025302 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6181-12_0_4_load_67 | 68 | 0.00074681 | 0.00018717 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6181-12_0_4_load_66 | 69 | 0.0011578 | 0.00029018 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6181-12_0_4_load_69 | 71 | 0.0013929 | 0.00034909 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6181-12_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.074691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6181-12_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6181-12_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.003413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6181-12_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6181-12_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.15879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_6181-12_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.032531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6181-12_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.043057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6181-12_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.037343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_6181-12_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.023257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6181-12_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0084358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6181-12_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0049052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6181-12_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0012649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_6181-12_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.017136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6181-12_0_4_line_13 | NAYY 4x150 SE | 10 | 52 | 0.075448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6181-12_0_4_line_14 | NAYY 4x150 SE | 12 | 53 | 0.011586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6181-12_0_4_line_15 | NAYY 4x150 SE | 13 | 57 | 0.021906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_6181-12_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.10015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6181-12_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.035168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6181-12_0_4_line_18 | NAYY 4x150 SE | 16 | 19 | 0.055568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6181-12_0_4_line_19 | NAYY 4x150 SE | 16 | 20 | 0.048476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6181-12_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.099371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6181-12_0_4_line_21 | NAYY 4x150 SE | 18 | 27 | 0.042082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6181-12_0_4_line_22 | NAYY 4x150 SE | 19 | 24 | 0.19446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6181-12_0_4_line_23 | NAYY 4x150 SE | 19 | 25 | 0.20868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6181-12_0_4_line_24 | NAYY 4x150 SE | 20 | 26 | 0.010635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6181-12_0_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.77089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_6181-12_0_4_line_26 | NAYY 4x150 SE | 21 | 23 | 0.04529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_6181-12_0_4_line_27 | NAYY 4x150 SE | 22 | 31 | 0.036903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6181-12_0_4_line_28 | NAYY 4x150 SE | 23 | 36 | 0.21637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_6181-12_0_4_line_29 | NAYY 4x150 SE | 24 | 30 | 0.13366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6181-12_0_4_line_30 | NAYY 4x150 SE | 25 | 33 | 0.011809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6181-12_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.15461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6181-12_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.0037488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6181-12_0_4_line_33 | NAYY 4x150 SE | 29 | 34 | 0.017984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6181-12_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.010092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6181-12_0_4_line_35 | NAYY 4x150 SE | 31 | 32 | 0.052806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6181-12_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.010406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6181-12_0_4_line_37 | NAYY 4x150 SE | 35 | 49 | 0.0022631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6181-12_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0084175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6181-12_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.015073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_6181-12_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0073918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_6181-12_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0048602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_6181-12_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0020058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_6181-12_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0087844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_6181-12_0_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.017691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_6181-12_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0018032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_6181-12_0_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.023884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_6181-12_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0083601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_6181-12_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0021557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_6181-12_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.013044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_6181-12_0_4_line_50 | NAYY 4x150 SE | 48 | 55 | 0.0013704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_6181-12_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.013211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6181-12_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.030827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6181-12_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.021295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6181-12_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0021803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_6181-12_0_4_line_55 | NAYY 4x150 SE | 54 | 56 | 0.0018549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_6181-12_0_4_line_56 | NAYY 4x150 SE | 55 | 56 | 0.020086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_6181-12_0_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.18654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_6181-12_0_4_line_58 | NAYY 4x150 SE | 58 | 59 | 0.030804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6181-12_0_4_line_59 | NAYY 4x150 SE | 58 | 60 | 0.13246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_6181-12_0_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.10125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_6181-12_0_4_line_61 | NAYY 4x150 SE | 61 | 66 | 0.069426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6181-12_0_4_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6181-12_0_4_line_63 | NAYY 4x150 SE | 62 | 64 | 0.03564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6181-12_0_4_line_64 | NAYY 4x150 SE | 62 | 65 | 0.12803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6181-12_0_4_line_65 | NAYY 4x150 SE | 63 | 67 | 0.29114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6181-12_0_4_line_66 | NAYY 4x150 SE | 64 | 66 | 0.10814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6181-12_0_4_line_67 | NAYY 4x150 SE | 65 | 68 | 0.11556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6181-12_0_4_line_68 | NAYY 4x150 SE | 67 | 69 | 0.015289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6181-12_0_4_line_69 | NAYY 4x150 SE | 68 | 70 | 0.065003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6181-12_0_4_line_70 | NAYY 4x150 SE | 70 | 71 | 0.13228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6181-12_0_4_trafo_24 | 0.25 MVA 20/0.4 kV | 72 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2646315.2951 | 1135310.7419 | 2646302.6631 | 1135303.1746 | 2646291.1885 | 1135292.181 | 2646269.883 | 1135270.6179 | 2646262.7464 | 1135258.8516
1 | 2646255.7609 | 1135246.5753 | 2646258.3467 | 1135251.5976 | 2646262.7464 | 1135258.8516
2 | 2646315.2951 | 1135310.7419 | 2646313.5641 | 1135313.6857
3 | 2646255.7609 | 1135246.5753 | 2646248.3472 | 1135240.9156 | 2646243.6885 | 1135238.1096
4 | 2646255.7609 | 1135246.5753 | 2646261.1184 | 1135245.3934 | 2646264.1752 | 1135246.1839 | 2646265.4049 | 1135248.4055 | 2646265.8775 | 1135252.011 | 2646267.1444 | 1135256.4119 | 2646268.5583 | 1135258.7016 | 2646277.4595 | 1135267.0741 | 2646280.2488 | 1135267.6291 | 2646282.8527 | 1135267.2599 | 2646286.4071 | 1135264.3745 | 2646288.4525 | 1135260.5771 | 2646288.8024 | 1135257.0891 | 2646287.7206 | 1135251.6336 | 2646274.2666 | 1135228.7966 | 2646266.0204 | 1135213.2588 | 2646270.6005 | 1135206.068 | 2646274.0368 | 1135204.5379 | 2646281.14 | 1135200.5124 | 2646286.6626 | 1135191.8391 | 2646288.2588 | 1135186.4041 | 2646287.8986 | 1135183.1997 | 2646281.8444 | 1135177.8728 | 2646274.1929 | 1135172.6532
5 | 2646313.5641 | 1135313.6857 | 2646312.2738 | 1135314.3539 | 2646286.8585 | 1135296.4676
6 | 2646313.5641 | 1135313.6857 | 2646318.5972 | 1135324.6966 | 2646317.0087 | 1135343.1939 | 2646313.232 | 1135350.9913 | 2646310.3481 | 1135353.3427
7 | 2646243.6885 | 1135238.1096 | 2646241.7669 | 1135236.9521 | 2646231.9089 | 1135230.907 | 2646218.345 | 1135223.3994 | 2646212.1276 | 1135218.3135
8 | 2646274.1929 | 1135172.6532 | 2646261.4571 | 1135163.9652 | 2646257.9421 | 1135159.6916 | 2646257.3705 | 1135157.4568
9 | 2646286.8585 | 1135296.4676 | 2646282.7129 | 1135293.5502 | 2646279.5816 | 1135292.3139
10 | 2646306.5465 | 1135356.4424 | 2646310.3481 | 1135353.3427
11 | 2646212.1276 | 1135218.3135 | 2646211.1486 | 1135217.5126
12 | 2646250.5867 | 1135142.4807 | 2646254.5615 | 1135145.9031 | 2646256.1189 | 1135152.5629 | 2646257.3705 | 1135157.4568
13 | 2646212.0743 | 1135260.8184 | 2646220.2819 | 1135266.97 | 2646235.278 | 1135277.3789 | 2646243.5867 | 1135281.7336 | 2646263.0484 | 1135287.8189 | 2646275.9075 | 1135290.8634 | 2646279.5816 | 1135292.3139
14 | 2646211.1486 | 1135217.5126 | 2646202.1804 | 1135210.1765
15 | 2646232.9766 | 1135129.464 | 2646248.8427 | 1135140.9791 | 2646250.5867 | 1135142.4807
16 | 2645442.1949 | 1136006.707 | 2645425.9466 | 1135996.1016 | 2645407.7183 | 1135990.9398 | 2645387.7917 | 1135980.3402 | 2645381.5389 | 1135972.7783 | 2645374.2037 | 1135953.5912 | 2645370.2777 | 1135945.6243
17 | 2645338.4063 | 1135932.2672 | 2645360.3159 | 1135938.0678 | 2645370.2777 | 1135945.6243
18 | 2645338.4063 | 1135932.2672 | 2645313.7711 | 1135926.6907 | 2645308.5079 | 1135923.6163 | 2645303.8494 | 1135917.8785 | 2645300.3955 | 1135901.3219
19 | 2645338.4063 | 1135932.2672 | 2645360.2593 | 1135945.6046 | 2645364.3081 | 1135953.628 | 2645364.1384 | 1135967.5148
20 | 2646127.9025 | 1135453.327 | 2646126.1448 | 1135484.2851 | 2646153.7504 | 1135533.3321 | 2646154.9306 | 1135537.988 | 2646151.9513 | 1135544.6284
21 | 2646127.9025 | 1135453.327 | 2646130.2879 | 1135411.3124
22 | 2645179.8072 | 1135811.2064 | 2645185.921 | 1135823.0138 | 2645187.6217 | 1135845.6381 | 2645190.9732 | 1135851.2438 | 2645196.4362 | 1135853.3413 | 2645204.4637 | 1135853.1012 | 2645225.0541 | 1135846.0404 | 2645242.1357 | 1135841.0324 | 2645261.0131 | 1135839.7508 | 2645272.1439 | 1135842.3021 | 2645282.3914 | 1135849.7605 | 2645290.5412 | 1135860.9273 | 2645293.9776 | 1135870.5913 | 2645300.3955 | 1135901.3219
23 | 2645300.3955 | 1135901.3219 | 2645296.7699 | 1135900.472 | 2645293.7858 | 1135897.1924 | 2645291.1308 | 1135898.262 | 2645290.7198 | 1135903.8173 | 2645293.4424 | 1135922.4806 | 2645294.6551 | 1135929.0486 | 2645292.9813 | 1135933.694 | 2645296.0788 | 1135947.491 | 2645303.9909 | 1135964.6813 | 2645305.1568 | 1135977.4856 | 2645297.6124 | 1135991.3139 | 2645295.096 | 1135992.3734 | 2645292.348 | 1135996.6105 | 2645289.4117 | 1135992.0973 | 2645285.2309 | 1135990.3873 | 2645273.7159 | 1135981.6521 | 2645267.8569 | 1135981.0746 | 2645248.3064 | 1135972.635 | 2645232.1185 | 1135961.0968 | 2645230.1884 | 1135955.7797 | 2645223.6267 | 1135947.304 | 2645221.3073 | 1135951.0072
24 | 2645364.0085 | 1135978.1495 | 2645364.1384 | 1135967.5148
25 | 2645886.9516 | 1135255.1691 | 2645360.3088 | 1135818.1216
26 | 2645927.5105 | 1135241.0687 | 2645915.8312 | 1135252.4091 | 2645886.9516 | 1135255.1691
27 | 2645340.2063 | 1135846.2142 | 2645346.5488 | 1135832.6326 | 2645356.285 | 1135828.2367 | 2645357.5598 | 1135821.4094 | 2645360.3088 | 1135818.1216
28 | 2645927.5105 | 1135241.0687 | 2645932.1897 | 1135236.5252 | 2645954.1307 | 1135197.9832 | 2645965.2741 | 1135189.8749 | 2645978.8776 | 1135163.9205 | 2646017.346 | 1135154.1527 | 2646024.3925 | 1135143.4119 | 2646063.6893 | 1135126.9583 | 2646087.5532 | 1135140.1691 | 2646087.5532 | 1135140.1691
29 | 2645179.8072 | 1135811.2064 | 2645191.2784 | 1135809.4024 | 2645222.2544 | 1135820.184 | 2645242.9121 | 1135807.2319 | 2645250.128 | 1135798.2369 | 2645257.5563 | 1135795.8246 | 2645263.9966 | 1135795.8728 | 2645280.5186 | 1135792.6504 | 2645295.1583 | 1135794.172 | 2645301.2068 | 1135798.6619
30 | 2645212.664 | 1135955.2302 | 2645214.6779 | 1135954.4741 | 2645218.2142 | 1135955.9457 | 2645221.3073 | 1135951.0072
31 | 2646130.2879 | 1135411.3124 | 2646130.2879 | 1135411.3124 | 2646136.0362 | 1135403.2744 | 2646137.2673 | 1135393.2231 | 2646141.1609 | 1135384.1926 | 2646139.9038 | 1135378.5023 | 2646140.5644 | 1135370.6032 | 2646146.7951 | 1135352.8083 | 2646145.5994 | 1135314.9019 | 2646139.8353 | 1135260.9749
32 | 2646139.8353 | 1135260.9749 | 2646139.4368 | 1135257.2474 | 2646139.4368 | 1135257.2474
33 | 2646149.7719 | 1135242.5297 | 2646139.4368 | 1135257.2474
34 | 2645301.2068 | 1135798.6619 | 2645309.3105 | 1135804.6774
35 | 2645340.2063 | 1135846.2142 | 2645331.0919 | 1135826.1911 | 2645318.8499 | 1135811.7586 | 2645309.3105 | 1135804.6774
36 | 2646149.7719 | 1135242.5297 | 2646155.0907 | 1135234.9554 | 2646155.8612 | 1135234.1002
37 | 2646157.3761 | 1135232.4189 | 2646155.8612 | 1135234.1002
38 | 2646087.5532 | 1135140.1691 | 2646095.7373 | 1135142.1378
39 | 2646095.7373 | 1135142.1378 | 2646109.9376 | 1135145.5537 | 2646110.2183 | 1135145.9279
40 | 2646114.6544 | 1135151.8406 | 2646110.2183 | 1135145.9279
41 | 2646117.5711 | 1135155.7283 | 2646117.5711 | 1135155.7283 | 2646114.6544 | 1135151.8406
42 | 2646117.5711 | 1135155.7283 | 2646119.4822 | 1135156.3374
43 | 2646119.4822 | 1135156.3374 | 2646121.6093 | 1135157.0153 | 2646128.1445 | 1135157.4826
44 | 2646128.1445 | 1135157.4826 | 2646131.5314 | 1135157.7247 | 2646142.8537 | 1135161.5131 | 2646144.9868 | 1135162.5138
45 | 2646144.9868 | 1135162.5138 | 2646146.6192 | 1135163.2797
46 | 2646146.6192 | 1135163.2797 | 2646150.8747 | 1135165.2762 | 2646158.4579 | 1135172.9492 | 2646164.9716 | 1135178.2458
47 | 2646164.9716 | 1135178.2458 | 2646171.458 | 1135183.5202
48 | 2646171.458 | 1135183.5202 | 2646173.1306 | 1135184.8802
49 | 2646173.1306 | 1135184.8802 | 2646182.458 | 1135192.4648 | 2646183.2126 | 1135193.1538
50 | 2646184.2246 | 1135194.0778 | 2646183.2126 | 1135193.1538
51 | 2646157.3761 | 1135232.4189 | 2646157.9159 | 1135231.8198 | 2646162.0021 | 1135229.8278 | 2646164.6366 | 1135229.4921 | 2646168.7484 | 1135230.1906 | 2646169.5653 | 1135230.8208
52 | 2646169.5653 | 1135230.8208 | 2646186.9567 | 1135244.2369 | 2646194.6597 | 1135248.6186
53 | 2646194.6597 | 1135248.6186 | 2646199.3773 | 1135251.3021 | 2646212.0743 | 1135260.8184
54 | 2646200.4929 | 1135208.796 | 2646202.1804 | 1135210.1765
55 | 2646199.0572 | 1135207.6216 | 2646200.4929 | 1135208.796
56 | 2646184.2246 | 1135194.0778 | 2646199.0572 | 1135207.6216 | 2646199.0572 | 1135207.6216
57 | 2646318.9522 | 1135129.8101 | 2646320.9562 | 1135130.4035 | 2646327.8753 | 1135135.3479 | 2646329.296 | 1135139.7611 | 2646326.29 | 1135143.3733 | 2646319.3965 | 1135143.1314 | 2646308.0342 | 1135138.542 | 2646291.5666 | 1135133.3466 | 2646280.2116 | 1135127.8012 | 2646264.5259 | 1135125.0019 | 2646249.9653 | 1135122.0112 | 2646237.7282 | 1135118.0934 | 2646225.1009 | 1135113.8724 | 2646213.523 | 1135111.2937 | 2646206.3933 | 1135107.704 | 2646203.6018 | 1135108.4497 | 2646203.5791 | 1135111.4177 | 2646205.7058 | 1135114.0909 | 2646213.1611 | 1135117.3607 | 2646221.6277 | 1135121.2274 | 2646232.9766 | 1135129.464
58 | 2646318.9522 | 1135129.8101 | 2646326.4147 | 1135125.1093 | 2646313.472 | 1135107.3382
59 | 2646318.9522 | 1135129.8101 | 2646313.6772 | 1135128.2466 | 2646303.5758 | 1135122.8109 | 2646292.9112 | 1135113.5355 | 2646281.7207 | 1135103.5892 | 2646272.4995 | 1135095.759 | 2646257.9732 | 1135080.2399 | 2646219.1783 | 1135044.0853
60 | 2646219.1783 | 1135044.0853 | 2646171.304 | 1134999.4691 | 2646147.2811 | 1134983.8443 | 2646141.6877 | 1134979.3931
61 | 2646141.6877 | 1134979.3931 | 2646124.0649 | 1134965.3687 | 2646110.6523 | 1134960.1193 | 2646100.9722 | 1134956.9105 | 2646095.2739 | 1134952.2869 | 2646095.7697 | 1134947.8328 | 2646099.8188 | 1134944.6732 | 2646105.1407 | 1134944.1579
62 | 2646244.42 | 1134976.7607 | 2646253.2368 | 1134978.1399 | 2646264.7127 | 1134974.9594 | 2646271.6987 | 1134969.1877 | 2646276.9052 | 1134963.6358 | 2646284.2445 | 1134962.9917 | 2646294.7336 | 1134968.0857 | 2646322.2515 | 1134987.654
63 | 2646244.42 | 1134976.7607 | 2646231.3141 | 1134974.7038 | 2646210.3638 | 1134966.8521
64 | 2646244.42 | 1134976.7607 | 2646246.474 | 1134943.6816 | 2646239.5153 | 1134923.7737 | 2646200.0587 | 1134874.3132 | 2646192.2719 | 1134869.051 | 2646191.6698 | 1134868.0926
65 | 2646322.2515 | 1134987.654 | 2646385.1298 | 1135032.3673 | 2646396.8785 | 1135037.7602 | 2646409.1545 | 1135041.6342 | 2646419.8683 | 1135045.4962 | 2646430.807 | 1135053.1508 | 2646440.1747 | 1135061.9273 | 2646452.3779 | 1135075.2612 | 2646463.2107 | 1135097.6671 | 2646467.2713 | 1135103.0345 | 2646469.3695 | 1135103.3841 | 2646470.5846 | 1135101.4925 | 2646470.4856 | 1135099.3573 | 2646468.6549 | 1135095.2411 | 2646463.4287 | 1135086.3296 | 2646456.4408 | 1135067.3106 | 2646447.5136 | 1135050.2999 | 2646440.4046 | 1135039.0173 | 2646427.8771 | 1135022.8127 | 2646423.6334 | 1135018.1867
66 | 2646105.1407 | 1134944.1579 | 2646105.1407 | 1134944.1579 | 2646111.1468 | 1134947.7611 | 2646120.9149 | 1134950.5482 | 2646137.3746 | 1134952.8305 | 2646207.8163 | 1134965.8974 | 2646210.3638 | 1134966.8521
67 | 2646191.6698 | 1134868.0926 | 2646185.71 | 1134858.6066 | 2646177.5983 | 1134834.4322 | 2646175.5696 | 1134820.9431 | 2646176.695 | 1134797.5508 | 2646175.3561 | 1134786.4348 | 2646169.0345 | 1134775.7477 | 2646166.74 | 1134765.8028 | 2646171.7804 | 1134759.6166
68 | 2646413.2036 | 1135007.0122 | 2646414.8645 | 1135008.6277 | 2646423.6334 | 1135018.1867
69 | 2646234.307 | 1134754.5245 | 2646227.2692 | 1134757.9946 | 2646216.1383 | 1134756.2531 | 2646191.9504 | 1134756.0682 | 2646174.4004 | 1134756.4009 | 2646171.7804 | 1134759.6166
70 | 2646234.307 | 1134754.5245 | 2646229.5611 | 1134749.1409 | 2646221.8005 | 1134744.4792 | 2646218.0178 | 1134740.9485 | 2646218.052 | 1134736.4798 | 2646220.8773 | 1134734.3669 | 2646224.6712 | 1134735.4298 | 2646228.78 | 1134739.5856 | 2646234.5517 | 1134743.6763 | 2646250.2917 | 1134749.5664 | 2646266.8351 | 1134753.0392 | 2646297.8853 | 1134752.5878 | 2646318.7635 | 1134756.6

## bus_geodata
| x | y | coords
0 | 2646262.7464 | 1135258.8516
1 | 2646315.2951 | 1135310.7419
2 | 2646255.7609 | 1135246.5753
3 | 2646313.5641 | 1135313.6857
4 | 2646243.6885 | 1135238.1096
5 | 2646274.1929 | 1135172.6532
6 | 2646286.8585 | 1135296.4676
7 | 2646310.3481 | 1135353.3427
8 | 2646212.1276 | 1135218.3135
9 | 2646257.3705 | 1135157.4568
10 | 2646279.5816 | 1135292.3139
11 | 2646306.5465 | 1135356.4424
12 | 2646211.1486 | 1135217.5126
13 | 2646250.5867 | 1135142.4807
14 | 2645442.1949 | 1136006.707
15 | 2645370.2777 | 1135945.6243
16 | 2645338.4063 | 1135932.2672
17 | 2646151.9513 | 1135544.6284
18 | 2646127.9025 | 1135453.327
19 | 2645300.3955 | 1135901.3219
20 | 2645364.1384 | 1135967.5148
21 | 2645886.9516 | 1135255.1691
22 | 2645360.3088 | 1135818.1216
23 | 2645927.5105 | 1135241.0687
24 | 2645179.8072 | 1135811.2064
25 | 2645221.3073 | 1135951.0072
26 | 2645364.0085 | 1135978.1495
27 | 2646130.2879 | 1135411.3124
28 | 2646139.8353 | 1135260.9749
29 | 2646139.4368 | 1135257.2474
30 | 2645301.2068 | 1135798.6619
31 | 2645340.2063 | 1135846.2142
32 | 2645309.3105 | 1135804.6774
33 | 2645212.664 | 1135955.2302
34 | 2646149.7719 | 1135242.5297
35 | 2646155.8612 | 1135234.1002
36 | 2646087.5532 | 1135140.1692
37 | 2646095.7373 | 1135142.1378
38 | 2646110.2183 | 1135145.9279
39 | 2646114.6544 | 1135151.8406
40 | 2646117.5711 | 1135155.7283
41 | 2646119.4822 | 1135156.3374
42 | 2646128.1445 | 1135157.4826
43 | 2646144.9868 | 1135162.5138
44 | 2646146.6192 | 1135163.2797
45 | 2646164.9716 | 1135178.2458
46 | 2646171.458 | 1135183.5202
47 | 2646173.1306 | 1135184.8802
48 | 2646183.2126 | 1135193.1538
49 | 2646157.3761 | 1135232.4189
50 | 2646169.5653 | 1135230.8208
51 | 2646194.6597 | 1135248.6186
52 | 2646212.0743 | 1135260.8184
53 | 2646202.1804 | 1135210.1765
54 | 2646200.4929 | 1135208.796
55 | 2646184.2246 | 1135194.0778
56 | 2646199.0572 | 1135207.6216
57 | 2646232.9766 | 1135129.464
58 | 2646318.9522 | 1135129.8101
59 | 2646313.472 | 1135107.3382
60 | 2646219.1783 | 1135044.0853
61 | 2646141.6877 | 1134979.3931
62 | 2646244.42 | 1134976.7607
63 | 2646322.2515 | 1134987.654
64 | 2646210.3638 | 1134966.8521
65 | 2646191.6698 | 1134868.0926
66 | 2646105.1407 | 1134944.1579
67 | 2646423.6334 | 1135018.1867
68 | 2646171.7804 | 1134759.6166
69 | 2646413.2036 | 1135007.0122
70 | 2646234.307 | 1134754.5245
71 | 2646318.7635 | 1134756.6
72 | 2646255.7609 | 1135246.5753

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1