## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6192-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6192-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6192-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6192-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6192-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6192-3_0_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_6192-3_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_6192-3_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6192-3_0_4_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_6192-3_0_4_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_6192-3_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6192-3_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6192-3_0_4_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_6192-3_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6192-3_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6192-3_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_6192-3_0_4_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_6192-3_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_6192-3_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_6192-3_0_4_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_6192-3_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6192-3_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6192-3_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6192-3_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6192-3_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6192-3_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6192-3_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_6192-3_0_4_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_6192-3_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_6192-3_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6192-3_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6192-3_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_6192-3_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6192-3_0_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_6192-3_0_4_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_6192-3_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_6192-3_0_4_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_6192-3_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_6192-3_0_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_6192-3_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_6192-3_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_6192-3_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_6192-3_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_6192-3_0_4_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_6192-3_0_4_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_6192-3_0_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_6192-3_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_6192-3_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_6192-3_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6192-3_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_6192-3_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6192-3_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6192-3_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6192-3_0_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_6192-3_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_6192-3_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_6192-3_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_6192-3_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_6192-3_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6192-3_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_MV_205_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6192-3_0_4_load_0 | 0 | 0.0097004 | 0.0024311 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6192-3_0_4_load_1 | 1 | 0.0064869 | 0.0016258 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6192-3_0_4_load_3 | 3 | 0.0078811 | 0.0019752 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6192-3_0_4_load_4 | 4 | 0.0071088 | 0.0017816 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6192-3_0_4_load_19 | 5 | 0.008534 | 0.0021388 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6192-3_0_4_load_13 | 6 | 0.0078729 | 0.0019731 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6192-3_0_4_load_42 | 8 | 0.0056215 | 0.0014089 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6192-3_0_4_load_37 | 9 | 0.0031927 | 0.00080016 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6192-3_0_4_load_63 | 12 | 0.003607 | 0.000904 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6192-3_0_4_load_12 | 13 | 0.0044688 | 0.00112 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6192-3_0_4_load_9 | 14 | 0.0029342 | 0.00073537 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6192-3_0_4_load_25 | 16 | 0.0029433 | 0.00073766 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6192-3_0_4_load_48 | 17 | 0.0031244 | 0.00078305 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6192-3_0_4_load_64 | 19 | 0.004209 | 0.0010549 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6192-3_0_4_load_10 | 20 | 0.0019499 | 0.0004887 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6192-3_0_4_load_11 | 21 | 0.0068631 | 0.0017201 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6192-3_0_4_load_14 | 22 | 0.0062183 | 0.0015585 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6192-3_0_4_load_20 | 25 | 0.0066492 | 0.0016665 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6192-3_0_4_load_65 | 27 | 0.003869 | 0.00096965 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6192-3_0_4_load_33 | 28 | 0.0049125 | 0.0012312 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6192-3_0_4_load_21 | 29 | 0.015078 | 0.0037789 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6192-3_0_4_load_26 | 32 | 0.003088 | 0.00077394 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6192-3_0_4_load_46 | 33 | 0.0048487 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6192-3_0_4_load_44 | 35 | 0.0020747 | 0.00051996 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6192-3_0_4_load_45 | 36 | 0.0022549 | 0.00056513 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6192-3_0_4_load_59 | 39 | 0.0030439 | 0.00076286 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6192-3_0_4_load_28 | 40 | 0.0095564 | 0.002395 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6192-3_0_4_load_29 | 41 | 0.0088532 | 0.0022188 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6192-3_0_4_load_31 | 42 | 0.0056823 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6192-3_0_4_load_57 | 43 | 0.0080749 | 0.0020238 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6192-3_0_4_load_58 | 44 | 0.0046104 | 0.0011555 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6192-3_0_4_load_60 | 45 | 0.0017632 | 0.00044191 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6192-3_0_4_load_61 | 46 | 0.0019229 | 0.00048194 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6192-3_0_4_load_34 | 47 | 0.0054268 | 0.0013601 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6192-3_0_4_load_36 | 48 | 0.013203 | 0.003309 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6192-3_0_4_load_38 | 49 | 0.0057488 | 0.0014408 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6192-3_0_4_load_40 | 51 | 0.0024076 | 0.00060341 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6192-3_0_4_load_41 | 52 | 0.004656 | 0.0011669 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6192-3_0_4_load_62 | 53 | 0.0073228 | 0.0018353 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6192-3_0_4_load_50 | 55 | 0.0047319 | 0.0011859 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6192-3_0_4_load_51 | 56 | 0.0029539 | 0.00074032 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6192-3_0_4_load_52 | 57 | 0.0043876 | 0.0010996 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6192-3_0_4_load_53 | 58 | 0.0027885 | 0.00069886 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6192-3_0_4_load_56 | 59 | 0.002329 | 0.0005837 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6192-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6192-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6192-3_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6192-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6192-3_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_6192-3_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0028794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6192-3_0_4_line_6 | NAYY 4x150 SE | 5 | 15 | 0.029117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6192-3_0_4_line_7 | NAYY 4x150 SE | 6 | 13 | 0.018359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6192-3_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.017337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_6192-3_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.020403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6192-3_0_4_line_10 | NAYY 4x150 SE | 8 | 16 | 0.013553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_6192-3_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.098168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6192-3_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.074873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6192-3_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.019894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6192-3_0_4_line_14 | NAYY 4x150 SE | 11 | 14 | 0.014366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6192-3_0_4_line_15 | NAYY 4x150 SE | 12 | 19 | 0.052706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6192-3_0_4_line_16 | NAYY 4x150 SE | 14 | 20 | 0.02393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6192-3_0_4_line_17 | NAYY 4x150 SE | 15 | 25 | 0.01554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6192-3_0_4_line_18 | NAYY 4x150 SE | 15 | 22 | 0.014929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_6192-3_0_4_line_19 | NAYY 4x150 SE | 16 | 30 | 0.01222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_6192-3_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.011367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6192-3_0_4_line_21 | NAYY 4x150 SE | 18 | 33 | 0.018258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6192-3_0_4_line_22 | NAYY 4x150 SE | 18 | 30 | 0.013133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6192-3_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0043175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6192-3_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.028483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6192-3_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.044249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6192-3_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.02749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_6192-3_0_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.042762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6192-3_0_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.022534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_6192-3_0_4_line_29 | NAYY 4x150 SE | 28 | 47 | 0.009984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_6192-3_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.006359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_6192-3_0_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.020051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_6192-3_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0069601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_6192-3_0_4_line_33 | NAYY 4x150 SE | 32 | 34 | 0.016701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_6192-3_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.005603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6192-3_0_4_line_35 | NAYY 4x150 SE | 34 | 36 | 0.0025362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_6192-3_0_4_line_36 | NAYY 4x150 SE | 35 | 39 | 0.008884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6192-3_0_4_line_37 | NAYY 4x150 SE | 36 | 51 | 0.000879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_6192-3_0_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.006453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6192-3_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0099151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6192-3_0_4_line_40 | NAYY 4x150 SE | 38 | 53 | 0.043159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6192-3_0_4_line_41 | NAYY 4x150 SE | 38 | 54 | 0.009737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6192-3_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.02037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6192-3_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0091912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6192-3_0_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.00083047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6192-3_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.013503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6192-3_0_4_line_46 | NAYY 4x150 SE | 44 | 52 | 0.00015571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6192-3_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0047122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6192-3_0_4_line_48 | NAYY 4x150 SE | 46 | 59 | 0.0045022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6192-3_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0067322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_6192-3_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0062006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_6192-3_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.025623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_6192-3_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.010399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_6192-3_0_4_line_53 | NAYY 4x150 SE | 50 | 52 | 0.0018766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6192-3_0_4_line_54 | NAYY 4x150 SE | 54 | 59 | 0.010554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6192-3_0_4_line_55 | NAYY 4x150 SE | 54 | 58 | 0.011281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6192-3_0_4_line_56 | NAYY 4x150 SE | 55 | 56 | 0.015236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6192-3_0_4_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0097737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6192-3_0_4_line_58 | NAYY 4x150 SE | 57 | 58 | 0.021573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6192-3_0_4_trafo_5 | 0.25 MVA 20/0.4 kV | 60 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2629343.5633 | 1141034.5389 | 2629353.9772 | 1141031.3735 | 2629361.8635 | 1141029.2728
1 | 2629326.5829 | 1141039.7003 | 2629343.5633 | 1141034.5389
2 | 2629374.7998 | 1141027.6907 | 2629365.8629 | 1141028.2074 | 2629361.8635 | 1141029.2728
3 | 2629326.5829 | 1141039.7003 | 2629327.6692 | 1141021.8188
4 | 2629390.8913 | 1141028.8317 | 2629377.7442 | 1141027.5204 | 2629374.7998 | 1141027.6907
5 | 2629327.6692 | 1141021.8188 | 2629326.6653 | 1141019.1201
6 | 2629418.6891 | 1141037.2577 | 2629405.4133 | 1141032.2573 | 2629391.9216 | 1141028.9345 | 2629390.8913 | 1141028.8317
7 | 2629316.9092 | 1141003.6765 | 2629317.129 | 1141004.3701 | 2629319.7913 | 1141008.663 | 2629325.9085 | 1141017.0857 | 2629326.6653 | 1141019.1201
8 | 2629321.6889 | 1141078.6404 | 2629308.7671 | 1141075.1315 | 2629304.9539 | 1141074.1104
9 | 2629321.6889 | 1141078.6404 | 2629325.5068 | 1141082.4274 | 2629327.8741 | 1141084.1286 | 2629333.4899 | 1141088.1468 | 2629337.6905 | 1141091.221
10 | 2629304.9539 | 1141074.1104 | 2629296.3365 | 1141071.8029 | 2629292.0956 | 1141069.9402
11 | 2629322.0682 | 1140891.1711 | 2629308.9865 | 1140950.6706 | 2629306.4134 | 1140958.084 | 2629312.1136 | 1140962.1581 | 2629313.7887 | 1140967.1021 | 2629313.7192 | 1140971.9263 | 2629313.9068 | 1140974.4507 | 2629314.9325 | 1140976.9681 | 2629315.6231 | 1140980.4065 | 2629315.498 | 1140983.9965
12 | 2629322.0682 | 1140891.1711 | 2629328.1291 | 1140895.3915 | 2629344.3975 | 1140914.3354 | 2629378.46 | 1140939.7793
13 | 2629315.498 | 1140983.9965 | 2629315.1489 | 1140994.1666 | 2629315.7812 | 1141000.117 | 2629316.9092 | 1141003.6765
14 | 2629315.498 | 1140983.9965 | 2629329.728 | 1140982.0225
15 | 2629421.3519 | 1140970.3818 | 2629402.294 | 1140957.5827 | 2629378.46 | 1140939.7793
16 | 2629352.8468 | 1140984.2693 | 2629341.9782 | 1140980.3232 | 2629329.728 | 1140982.0225
17 | 2629418.6891 | 1141037.2577 | 2629422.5412 | 1141038.7661 | 2629433.035 | 1141043.2282
18 | 2629418.6891 | 1141037.2577 | 2629413.6902 | 1141051.3251
19 | 2629281.1109 | 1141064.5922 | 2629289.785 | 1141068.9253 | 2629292.0956 | 1141069.9402
20 | 2629269.92 | 1141057.6679 | 2629264.1851 | 1141054.4274 | 2629260.8788 | 1141050.9756
21 | 2629269.92 | 1141057.6679 | 2629264.2601 | 1141070.6914 | 2629262.5002 | 1141074.3472
22 | 2629281.1109 | 1141064.5922 | 2629269.92 | 1141057.6679
23 | 2629356.9051 | 1140985.7428 | 2629352.8468 | 1140984.2693
24 | 2629404.958 | 1141078.4114 | 2629407.379 | 1141069.0852 | 2629413.6902 | 1141051.3251
25 | 2629394.9308 | 1141121.5063 | 2629399.1673 | 1141102.4619 | 2629400.0163 | 1141098.6085 | 2629403.8346 | 1141083.3417 | 2629404.958 | 1141078.4114
26 | 2629369.2904 | 1141113.8779 | 2629376.262 | 1141118.9031 | 2629383.5435 | 1141120.2503 | 2629385.9937 | 1141120.7069 | 2629389.4425 | 1141121.3462 | 2629394.9308 | 1141121.5063
27 | 2629394.9308 | 1141121.5063 | 2629408.898 | 1141121.8633 | 2629417.1078 | 1141122.0367 | 2629420.5132 | 1141122.0977 | 2629436.9853 | 1141126.9521
28 | 2629369.2904 | 1141113.8779 | 2629366.1814 | 1141117.6758 | 2629355.7743 | 1141117.2139 | 2629348.8011 | 1141115.3866
29 | 2629348.8011 | 1141115.3866 | 2629342.591 | 1141113.7593 | 2629339.2405 | 1141112.5433
30 | 2629281.1109 | 1141064.5922 | 2629284.4974 | 1141069.9744
31 | 2629292.6209 | 1141088.1486 | 2629288.9689 | 1141077.081 | 2629284.4974 | 1141069.9744
32 | 2629292.6209 | 1141088.1486 | 2629290.5094 | 1141093.9413 | 2629291.1988 | 1141094.3363
33 | 2629292.7136 | 1141107.0807 | 2629296.6733 | 1141097.4729 | 2629291.1988 | 1141094.3363
34 | 2629292.7136 | 1141107.0807 | 2629287.5949 | 1141104.802
35 | 2629292.7136 | 1141107.0807 | 2629295.0332 | 1141108.1063
36 | 2629279.4788 | 1141101.189 | 2629287.5949 | 1141104.802
37 | 2629295.8372 | 1141108.4617 | 2629295.0332 | 1141108.1063
38 | 2629270.4206 | 1141097.1567 | 2629266.1227 | 1141098.8256 | 2629264.2765 | 1141099.0501
39 | 2629270.4206 | 1141097.1567 | 2629279.4788 | 1141101.189
40 | 2629264.2765 | 1141099.0501 | 2629262.3419 | 1141098.496 | 2629254.0305 | 1141090.7186 | 2629246.6677 | 1141083.8906 | 2629234.0623 | 1141072.2016 | 2629231.969 | 1141070.7785
41 | 2629264.2765 | 1141099.0501 | 2629260.6886 | 1141108.1039
42 | 2629342.4304 | 1141139.252 | 2629338.1335 | 1141134.0366 | 2629326.6871 | 1141126.669
43 | 2629326.6871 | 1141126.669 | 2629325.9172 | 1141126.1734 | 2629319.2186 | 1141121.314
44 | 2629319.2186 | 1141121.314 | 2629318.5463 | 1141120.8264
45 | 2629318.5463 | 1141120.8264 | 2629314.7169 | 1141118.0484 | 2629307.1107 | 1141113.6792
46 | 2629307.1107 | 1141113.6792 | 2629306.9757 | 1141113.6017
47 | 2629265.5823 | 1141127.1297 | 2629263.8046 | 1141122.7657
48 | 2629263.8046 | 1141122.7657 | 2629262.5544 | 1141119.6965 | 2629262.3656 | 1141118.5235
49 | 2629339.2405 | 1141112.5433 | 2629332.9122 | 1141110.2467
50 | 2629332.9122 | 1141110.2467 | 2629327.0835 | 1141108.1314
51 | 2629305.3485 | 1141112.6669 | 2629309.9484 | 1141105.7969 | 2629314.1766 | 1141105.8175 | 2629326.2292 | 1141107.8214 | 2629327.0835 | 1141108.1314
52 | 2629305.3485 | 1141112.6669 | 2629295.8372 | 1141108.4617
53 | 2629305.3485 | 1141112.6669 | 2629306.9757 | 1141113.6017
54 | 2629260.6886 | 1141108.1039 | 2629262.3656 | 1141118.5235
55 | 2629260.6886 | 1141108.1039 | 2629256.639 | 1141106.1166 | 2629251.9561 | 1141103.1258 | 2629250.9507 | 1141102.4456
56 | 2629209.4773 | 1141081.5733 | 2629218.844 | 1141085.7126 | 2629223.4738 | 1141087.5898
57 | 2629232.4578 | 1141091.425 | 2629230.4147 | 1141090.4042 | 2629223.4738 | 1141087.5898
58 | 2629232.4578 | 1141091.425 | 2629240.8834 | 1141095.6352 | 2629250.9507 | 1141102.4456

## bus_geodata
| x | y | coords
0 | 2629343.5633 | 1141034.5389
1 | 2629361.8635 | 1141029.2728
2 | 2629326.5829 | 1141039.7003
3 | 2629374.7998 | 1141027.6907
4 | 2629327.6692 | 1141021.8188
5 | 2629390.8913 | 1141028.8317
6 | 2629326.6653 | 1141019.1201
7 | 2629321.6889 | 1141078.6404
8 | 2629304.9539 | 1141074.1104
9 | 2629337.6905 | 1141091.221
10 | 2629322.0682 | 1140891.1711
11 | 2629315.498 | 1140983.9965
12 | 2629378.46 | 1140939.7793
13 | 2629316.9092 | 1141003.6765
14 | 2629329.728 | 1140982.0225
15 | 2629418.6891 | 1141037.2577
16 | 2629292.0956 | 1141069.9402
17 | 2629260.8788 | 1141050.9756
18 | 2629269.92 | 1141057.6679
19 | 2629421.3519 | 1140970.3818
20 | 2629352.8468 | 1140984.2693
21 | 2629356.9051 | 1140985.7428
22 | 2629413.6902 | 1141051.3251
23 | 2629404.958 | 1141078.4114
24 | 2629394.9308 | 1141121.5063
25 | 2629433.035 | 1141043.2282
26 | 2629369.2904 | 1141113.8779
27 | 2629436.9853 | 1141126.9521
28 | 2629348.8011 | 1141115.3866
29 | 2629284.4974 | 1141069.9744
30 | 2629281.1109 | 1141064.5922
31 | 2629292.6209 | 1141088.1486
32 | 2629291.1988 | 1141094.3363
33 | 2629262.5002 | 1141074.3472
34 | 2629292.7136 | 1141107.0807
35 | 2629287.5949 | 1141104.802
36 | 2629295.0332 | 1141108.1063
37 | 2629270.4206 | 1141097.1567
38 | 2629264.2765 | 1141099.0501
39 | 2629279.4788 | 1141101.189
40 | 2629342.4304 | 1141139.252
41 | 2629326.6871 | 1141126.669
42 | 2629319.2186 | 1141121.314
43 | 2629318.5463 | 1141120.8264
44 | 2629307.1107 | 1141113.6792
45 | 2629265.5823 | 1141127.1297
46 | 2629263.8046 | 1141122.7657
47 | 2629339.2405 | 1141112.5433
48 | 2629332.9122 | 1141110.2467
49 | 2629327.0835 | 1141108.1314
50 | 2629305.3485 | 1141112.6669
51 | 2629295.8372 | 1141108.4617
52 | 2629306.9757 | 1141113.6017
53 | 2629231.969 | 1141070.7785
54 | 2629260.6886 | 1141108.1039
55 | 2629209.4773 | 1141081.5733
56 | 2629223.4738 | 1141087.5898
57 | 2629232.4578 | 1141091.425
58 | 2629250.9507 | 1141102.4456
59 | 2629262.3656 | 1141118.5235
60 | 2629281.1109 | 1141064.5922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1