## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6202-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6202-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6202-14_0_4_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_6202-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6202-14_0_4_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_6202-14_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6202-14_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_6202-14_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6202-14_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_6202-14_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6202-14_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6202-14_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_6202-14_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_6202-14_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6202-14_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_6202-14_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_6202-14_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6202-14_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6202-14_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6202-14_0_4_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_6202-14_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_6202-14_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6202-14_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_6202-14_0_4_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_6202-14_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6202-14_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6202-14_0_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_6202-14_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_6202-14_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6202-14_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6202-14_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6202-14_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_6202-14_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6202-14_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_6202-14_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6202-14_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_6202-14_0_4_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_6202-14_0_4_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_6202-14_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6202-14_0_4_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_6202-14_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_6202-14_0_4_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_6202-14_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_6202-14_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6202-14_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6202-14_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6202-14_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_6202-14_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_6202-14_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_6202-14_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_6202-14_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_6202-14_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_6202-14_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_6202-14_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_6202-14_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_6202-14_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_6202-14_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6202-14_0_4_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_6202-14_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6202-14_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6202-14_0_4_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_6202-14_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6202-14_0_4_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6202-14_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_6202-14_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_6202-14_0_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_6202-14_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6202-14_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6202-14_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_MV_205_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6202-14_0_4_load_0 | 0 | 0.0040821 | 0.0010231 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6202-14_0_4_load_1 | 1 | 0.0037891 | 0.00094964 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6202-14_0_4_load_13 | 2 | 0.0035633 | 0.00089304 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6202-14_0_4_load_3 | 3 | 0.0036815 | 0.00092268 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6202-14_0_4_load_2 | 4 | 0.0041125 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6202-14_0_4_load_4 | 5 | 0.0047347 | 0.0011866 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6202-14_0_4_load_12 | 7 | 0.0032826 | 0.0008227 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6202-14_0_4_load_16 | 8 | 0.0034211 | 0.00085741 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6202-14_0_4_load_14 | 9 | 0.004629 | 0.0011601 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6202-14_0_4_load_10 | 10 | 0.0067813 | 0.0016996 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6202-14_0_4_load_28 | 11 | 0.0039026 | 0.00097808 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6202-14_0_4_load_17 | 12 | 0.0058434 | 0.0014645 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6202-14_0_4_load_5 | 14 | 0.0050202 | 0.0012582 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6202-14_0_4_load_9 | 17 | 0.003722 | 0.00093283 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6202-14_0_4_load_11 | 18 | 0.0028338 | 0.00071021 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6202-14_0_4_load_33 | 19 | 0.0040832 | 0.0010233 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6202-14_0_4_load_32 | 20 | 0.0036812 | 0.00092259 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6202-14_0_4_load_27 | 21 | 0.0037481 | 0.00093937 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6202-14_0_4_load_31 | 22 | 0.0035668 | 0.00089393 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6202-14_0_4_load_37 | 23 | 0.0026923 | 0.00067475 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6202-14_0_4_load_18 | 24 | 0.0036789 | 0.00092203 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6202-14_0_4_load_19 | 25 | 0.0084552 | 0.0021191 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6202-14_0_4_load_34 | 26 | 0.004593 | 0.0011511 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6202-14_0_4_load_20 | 28 | 0.0036136 | 0.00090566 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6202-14_0_4_load_21 | 29 | 0.0048206 | 0.0012082 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6202-14_0_4_load_23 | 31 | 0.0042064 | 0.0010542 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6202-14_0_4_load_25 | 33 | 0.0017495 | 0.00043846 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6202-14_0_4_load_29 | 34 | 0.0028575 | 0.00071617 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6202-14_0_4_load_49 | 35 | 0.0018694 | 0.00046852 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6202-14_0_4_load_48 | 36 | 0.0025465 | 0.00063821 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6202-14_0_4_load_59 | 37 | 0.0024134 | 0.00060484 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6202-14_0_4_load_30 | 38 | 0.0035129 | 0.00088041 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6202-14_0_4_load_70 | 39 | 0.0036018 | 0.00090268 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6202-14_0_4_load_44 | 40 | 0.0018005 | 0.00045125 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6202-14_0_4_load_58 | 41 | 0.0021959 | 0.00055036 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6202-14_0_4_load_39 | 42 | 0.0027997 | 0.00070166 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6202-14_0_4_load_36 | 43 | 0.0044722 | 0.0011208 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6202-14_0_4_load_38 | 44 | 0.0059471 | 0.0014905 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6202-14_0_4_load_40 | 45 | 0.0019956 | 0.00050014 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6202-14_0_4_load_41 | 46 | 0.0015921 | 0.00039903 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6202-14_0_4_load_42 | 47 | 0.0016737 | 0.00041948 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6202-14_0_4_load_46 | 49 | 0.0019488 | 0.00048842 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6202-14_0_4_load_45 | 50 | 0.002571 | 0.00064434 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6202-14_0_4_load_50 | 51 | 0.0056216 | 0.0014089 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6202-14_0_4_load_51 | 52 | 0.0031816 | 0.00079738 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6202-14_0_4_load_52 | 53 | 0.0040285 | 0.0010096 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6202-14_0_4_load_53 | 54 | 0.0040862 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6202-14_0_4_load_54 | 55 | 0.0042946 | 0.0010763 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6202-14_0_4_load_65 | 57 | 0.0035259 | 0.00088366 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6202-14_0_4_load_56 | 58 | 0.0040186 | 0.0010072 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6202-14_0_4_load_57 | 59 | 0.0041865 | 0.0010492 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6202-14_0_4_load_66 | 60 | 0.0043234 | 0.0010835 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6202-14_0_4_load_63 | 61 | 0.0052926 | 0.0013265 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6202-14_0_4_load_62 | 63 | 0.0023008 | 0.00057664 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6202-14_0_4_load_61 | 64 | 0.0035386 | 0.00088687 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6202-14_0_4_load_69 | 65 | 0.0050249 | 0.0012594 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6202-14_0_4_load_64 | 66 | 0.0021087 | 0.00052849 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6202-14_0_4_load_67 | 67 | 0.003547 | 0.00088897 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6202-14_0_4_load_68 | 68 | 0.0076553 | 0.0019186 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6202-14_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6202-14_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.026177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6202-14_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6202-14_0_4_line_3 | NAYY 4x150 SE | 2 | 6 | 0.029937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6202-14_0_4_line_4 | NAYY 4x150 SE | 2 | 7 | 0.0051834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6202-14_0_4_line_5 | NAYY 4x150 SE | 2 | 4 | 0.045679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6202-14_0_4_line_6 | NAYY 4x150 SE | 3 | 8 | 0.018245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6202-14_0_4_line_7 | NAYY 4x150 SE | 4 | 5 | 0.015219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6202-14_0_4_line_8 | NAYY 4x150 SE | 5 | 11 | 0.041446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6202-14_0_4_line_9 | NAYY 4x150 SE | 6 | 24 | 0.025287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6202-14_0_4_line_10 | NAYY 4x150 SE | 6 | 25 | 0.007548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6202-14_0_4_line_11 | NAYY 4x150 SE | 7 | 9 | 0.016367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6202-14_0_4_line_12 | NAYY 4x150 SE | 8 | 12 | 0.020272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6202-14_0_4_line_13 | NAYY 4x150 SE | 9 | 10 | 0.024118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6202-14_0_4_line_14 | NAYY 4x150 SE | 10 | 13 | 0.022192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6202-14_0_4_line_15 | NAYY 4x150 SE | 13 | 18 | 0.010678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6202-14_0_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.017708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6202-14_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.018263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6202-14_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0088968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6202-14_0_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.027032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6202-14_0_4_line_20 | NAYY 4x150 SE | 16 | 20 | 0.022518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6202-14_0_4_line_21 | NAYY 4x150 SE | 17 | 21 | 0.01504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6202-14_0_4_line_22 | NAYY 4x150 SE | 18 | 22 | 0.006015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6202-14_0_4_line_23 | NAYY 4x150 SE | 19 | 23 | 0.0018156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6202-14_0_4_line_24 | NAYY 4x150 SE | 23 | 43 | 0.014215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6202-14_0_4_line_25 | NAYY 4x150 SE | 24 | 26 | 0.019605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6202-14_0_4_line_26 | NAYY 4x150 SE | 26 | 27 | 0.028282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6202-14_0_4_line_27 | NAYY 4x150 SE | 27 | 42 | 0.00046101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6202-14_0_4_line_28 | NAYY 4x150 SE | 27 | 38 | 0.0011173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_6202-14_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0025915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6202-14_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.026265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6202-14_0_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.016394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6202-14_0_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.013021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6202-14_0_4_line_33 | NAYY 4x150 SE | 30 | 33 | 0.022175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6202-14_0_4_line_34 | NAYY 4x150 SE | 31 | 34 | 0.019972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_6202-14_0_4_line_35 | NAYY 4x150 SE | 32 | 35 | 0.0097212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6202-14_0_4_line_36 | NAYY 4x150 SE | 32 | 36 | 0.05544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6202-14_0_4_line_37 | NAYY 4x150 SE | 33 | 37 | 0.014542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6202-14_0_4_line_38 | NAYY 4x150 SE | 34 | 38 | 0.018438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6202-14_0_4_line_39 | NAYY 4x150 SE | 35 | 39 | 0.040822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6202-14_0_4_line_40 | NAYY 4x150 SE | 36 | 40 | 0.019241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6202-14_0_4_line_41 | NAYY 4x150 SE | 37 | 41 | 0.0037842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6202-14_0_4_line_42 | NAYY 4x150 SE | 40 | 47 | 0.016971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6202-14_0_4_line_43 | NAYY 4x150 SE | 41 | 62 | 0.013626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6202-14_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.017056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6202-14_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0051754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6202-14_0_4_line_46 | NAYY 4x150 SE | 45 | 46 | 0.0082947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6202-14_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.0050231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6202-14_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.027215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6202-14_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.0029032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6202-14_0_4_line_50 | NAYY 4x150 SE | 49 | 50 | 0.01157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6202-14_0_4_line_51 | NAYY 4x150 SE | 51 | 52 | 0.014732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6202-14_0_4_line_52 | NAYY 4x150 SE | 51 | 53 | 0.007949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6202-14_0_4_line_53 | NAYY 4x150 SE | 52 | 54 | 0.019613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6202-14_0_4_line_54 | NAYY 4x150 SE | 53 | 55 | 0.0031662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6202-14_0_4_line_55 | NAYY 4x150 SE | 54 | 56 | 0.0046388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6202-14_0_4_line_56 | NAYY 4x150 SE | 55 | 57 | 0.013201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6202-14_0_4_line_57 | NAYY 4x150 SE | 56 | 58 | 0.038741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6202-14_0_4_line_58 | NAYY 4x150 SE | 56 | 59 | 0.017063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6202-14_0_4_line_59 | NAYY 4x150 SE | 57 | 60 | 0.0040563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6202-14_0_4_line_60 | NAYY 4x150 SE | 58 | 61 | 0.020621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6202-14_0_4_line_61 | NAYY 4x150 SE | 59 | 62 | 0.013757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6202-14_0_4_line_62 | NAYY 4x150 SE | 60 | 67 | 0.0054212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6202-14_0_4_line_63 | NAYY 4x150 SE | 61 | 63 | 0.01472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6202-14_0_4_line_64 | NAYY 4x150 SE | 62 | 64 | 0.01601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6202-14_0_4_line_65 | NAYY 4x150 SE | 63 | 66 | 0.013247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6202-14_0_4_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0089499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6202-14_0_4_line_67 | NAYY 4x150 SE | 67 | 68 | 0.005098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6202-14_0_4_trafo_30 | 0.25 MVA 20/0.4 kV | 69 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2626091.2979 | 1140190.8173 | 2626082.939 | 1140184.6795 | 2626075.8793 | 1140180.9238
1 | 2626081.6619 | 1140215.1558 | 2626091.2979 | 1140190.8173
2 | 2626075.8793 | 1140180.9238 | 2626058.2951 | 1140171.5691
3 | 2626069.5643 | 1140242.5394 | 2626078.3618 | 1140222.6341 | 2626081.6619 | 1140215.1558
4 | 2626076.935 | 1140213.0286 | 2626081.6619 | 1140215.1558
5 | 2626081.6619 | 1140215.1558 | 2626108.3723 | 1140178.1
6 | 2626042.188 | 1140163.0003 | 2626058.2951 | 1140171.5691
7 | 2626099.938 | 1140165.4322 | 2626108.3723 | 1140178.1
8 | 2626099.938 | 1140165.4322 | 2626072.8463 | 1140134.0665
9 | 2626069.5643 | 1140242.5394 | 2626045.5913 | 1140234.4934
10 | 2626072.8335 | 1140249.3458 | 2626069.5643 | 1140242.5394
11 | 2626062.0098 | 1140206.3127 | 2626066.3981 | 1140208.2866 | 2626076.935 | 1140213.0286
12 | 2626042.188 | 1140163.0003 | 2626024.2906 | 1140153.479
13 | 2626062.0098 | 1140206.3127 | 2626046.8597 | 1140199.498 | 2626040.8693 | 1140194.9764
14 | 2626023.1546 | 1140181.6094 | 2626024.6338 | 1140182.7274 | 2626036.0764 | 1140191.3587 | 2626040.8693 | 1140194.9764
15 | 2626023.1546 | 1140181.6094 | 2626017.61 | 1140190.7345
16 | 2626023.1546 | 1140181.6094 | 2626021.7061 | 1140180.5137 | 2626006.5762 | 1140175.6523
17 | 2625974.6889 | 1140173.0634 | 2625961.7113 | 1140160.1791
18 | 2625961.7113 | 1140160.1791 | 2625955.3985 | 1140153.9101
19 | 2625974.6889 | 1140173.0634 | 2625981.6506 | 1140199.1841
20 | 2625974.6889 | 1140173.0634 | 2625981.779 | 1140178.2409 | 2625989.4477 | 1140189.6399
21 | 2625944.7268 | 1140143.3127 | 2625955.3985 | 1140153.9101
22 | 2626018.4071 | 1140196.6964 | 2626017.61 | 1140190.7345
23 | 2625981.6506 | 1140199.1841 | 2625981.6506 | 1140199.1841 | 2625982.5273 | 1140200.774
24 | 2625989.3909 | 1140213.2219 | 2625982.5273 | 1140200.774
25 | 2626045.5913 | 1140234.4934 | 2626027.0053 | 1140228.2555
26 | 2626000.6512 | 1140232.9046 | 2626018.6984 | 1140225.4675 | 2626027.0053 | 1140228.2555
27 | 2626000.6512 | 1140232.9046 | 2626000.3862 | 1140232.5274
28 | 2626000.6512 | 1140232.9046 | 2626001.2932 | 1140233.819
29 | 2626032.7857 | 1140278.6708 | 2626034.2749 | 1140280.7916
30 | 2626042.5087 | 1140302.786 | 2626044.9501 | 1140300.073 | 2626044.8279 | 1140296.3039 | 2626043.1369 | 1140292.617 | 2626039.3507 | 1140288.0207 | 2626034.2749 | 1140280.7916
31 | 2626023.365 | 1140265.2538 | 2626032.7857 | 1140278.6708
32 | 2626048.7569 | 1140314.1519 | 2626048.3866 | 1140312.6718 | 2626042.5087 | 1140302.786
33 | 2626042.5087 | 1140302.786 | 2626038.308 | 1140303.3793 | 2626025.1853 | 1140299.3097 | 2626021.1638 | 1140298.122
34 | 2626023.365 | 1140265.2538 | 2626011.8882 | 1140248.9085
35 | 2626048.7569 | 1140314.1519 | 2626049.4602 | 1140316.9007 | 2626048.1013 | 1140323.6491
36 | 2626048.7569 | 1140314.1519 | 2626056.9172 | 1140317.1663 | 2626073.7179 | 1140317.0387 | 2626088.9477 | 1140315.6815 | 2626093.8415 | 1140313.0568 | 2626102.0534 | 1140313.0145 | 2626102.8952 | 1140313.285
37 | 2626007.2175 | 1140294.0028 | 2626021.1638 | 1140298.122
38 | 2626011.8882 | 1140248.9085 | 2626001.2932 | 1140233.819
39 | 2626021.054 | 1140333.7757 | 2626027.3253 | 1140338.0159 | 2626033.3982 | 1140340.0986 | 2626039.0711 | 1140340.4232 | 2626042.0633 | 1140340.1359 | 2626043.9225 | 1140338.6988 | 2626045.5867 | 1140336.138 | 2626048.1013 | 1140323.6491
40 | 2626102.8952 | 1140313.285 | 2626105.7005 | 1140314.1863 | 2626108.2306 | 1140315.8648 | 2626109.272 | 1140318.6373 | 2626108.7839 | 1140328.9227
41 | 2626003.5883 | 1140292.9308 | 2626007.2175 | 1140294.0028
42 | 2626106.8501 | 1140345.5613 | 2626108.1047 | 1140343.2333 | 2626108.7839 | 1140328.9227
43 | 2625990.623 | 1140288.7447 | 2626000.4738 | 1140292.0109 | 2626003.5883 | 1140292.9308
44 | 2626000.3862 | 1140232.5274 | 2625998.7559 | 1140230.2063 | 2625991.8899 | 1140217.7541
45 | 2625989.3909 | 1140213.2219 | 2625991.8899 | 1140217.7541
46 | 2626104.467 | 1140349.9831 | 2626102.8806 | 1140352.9267 | 2626102.2543 | 1140357.8378
47 | 2626104.467 | 1140349.9831 | 2626106.8501 | 1140345.5613
48 | 2626089.9389 | 1140381.7629 | 2626097.7434 | 1140369.1904 | 2626101.7187 | 1140362.0373 | 2626102.2543 | 1140357.8378
49 | 2626089.9389 | 1140381.7629 | 2626088.2185 | 1140384.1015
50 | 2626081.3622 | 1140393.4213 | 2626088.2185 | 1140384.1015
51 | 2625941.2199 | 1140246.8551 | 2625941.8862 | 1140248.5934 | 2625945.723 | 1140260.8783
52 | 2625941.2199 | 1140246.8551 | 2625938.3744 | 1140239.4328
53 | 2625958.1405 | 1140275.6304 | 2625946.7708 | 1140264.2332 | 2625945.723 | 1140260.8783
54 | 2625938.3744 | 1140239.4328 | 2625937.3315 | 1140236.7124 | 2625937.1709 | 1140236.5173
55 | 2625961.4167 | 1140278.9144 | 2625958.1405 | 1140275.6304
56 | 2625928.7798 | 1140226.3261 | 2625937.1709 | 1140236.5173
57 | 2625961.4167 | 1140278.9144 | 2625925.7222 | 1140265.1656 | 2625925.2801 | 1140264.9537
58 | 2625961.4167 | 1140278.9144 | 2625964.1571 | 1140279.9712 | 2625977.5653 | 1140284.416
59 | 2625928.7798 | 1140226.3261 | 2625928.7798 | 1140226.3261 | 2625925.5205 | 1140223.9114
60 | 2625925.2801 | 1140264.9537 | 2625906.6838 | 1140256.0418
61 | 2625990.623 | 1140288.7447 | 2625977.5653 | 1140284.416
62 | 2625921.1646 | 1140220.6842 | 2625925.5205 | 1140223.9114
63 | 2625893.409 | 1140249.6801 | 2625906.6838 | 1140256.0418
64 | 2625990.623 | 1140288.7447 | 2625981.1077 | 1140301.6208
65 | 2625893.409 | 1140249.6801 | 2625889.0214 | 1140247.5775 | 2625881.4752 | 1140243.929
66 | 2625981.1077 | 1140301.6208 | 2625976.4314 | 1140307.9488 | 2625977.2072 | 1140308.7022
67 | 2625917.0683 | 1140217.6494 | 2625921.1646 | 1140220.6842

## bus_geodata
| x | y | coords
0 | 2626091.2979 | 1140190.8173
1 | 2626075.8793 | 1140180.9238
2 | 2626081.6619 | 1140215.1558
3 | 2626058.2951 | 1140171.5691
4 | 2626108.3723 | 1140178.1
5 | 2626099.938 | 1140165.4322
6 | 2626069.5643 | 1140242.5394
7 | 2626076.935 | 1140213.0286
8 | 2626042.188 | 1140163.0003
9 | 2626062.0098 | 1140206.3127
10 | 2626040.8693 | 1140194.9764
11 | 2626072.8463 | 1140134.0665
12 | 2626024.2906 | 1140153.479
13 | 2626023.1546 | 1140181.6094
14 | 2626006.5762 | 1140175.6523
15 | 2625961.7113 | 1140160.1791
16 | 2625974.6889 | 1140173.0634
17 | 2625955.3985 | 1140153.9101
18 | 2626017.61 | 1140190.7345
19 | 2625981.6506 | 1140199.1841
20 | 2625989.4477 | 1140189.6399
21 | 2625944.7268 | 1140143.3127
22 | 2626018.4071 | 1140196.6964
23 | 2625982.5273 | 1140200.774
24 | 2626045.5913 | 1140234.4934
25 | 2626072.8335 | 1140249.3458
26 | 2626027.0053 | 1140228.2555
27 | 2626000.6512 | 1140232.9046
28 | 2626034.2749 | 1140280.7916
29 | 2626032.7857 | 1140278.6708
30 | 2626042.5087 | 1140302.786
31 | 2626023.365 | 1140265.2538
32 | 2626048.7569 | 1140314.1519
33 | 2626021.1638 | 1140298.122
34 | 2626011.8882 | 1140248.9085
35 | 2626048.1013 | 1140323.6491
36 | 2626102.8952 | 1140313.285
37 | 2626007.2175 | 1140294.0028
38 | 2626001.2932 | 1140233.819
39 | 2626021.054 | 1140333.7757
40 | 2626108.7839 | 1140328.9227
41 | 2626003.5883 | 1140292.9308
42 | 2626000.3862 | 1140232.5274
43 | 2625989.3909 | 1140213.2219
44 | 2625991.8899 | 1140217.7541
45 | 2626104.467 | 1140349.9831
46 | 2626102.2543 | 1140357.8378
47 | 2626106.8501 | 1140345.5613
48 | 2626089.9389 | 1140381.7629
49 | 2626088.2185 | 1140384.1015
50 | 2626081.3622 | 1140393.4213
51 | 2625941.2199 | 1140246.8551
52 | 2625945.723 | 1140260.8783
53 | 2625938.3744 | 1140239.4328
54 | 2625958.1405 | 1140275.6304
55 | 2625937.1709 | 1140236.5173
56 | 2625961.4167 | 1140278.9144
57 | 2625928.7798 | 1140226.3261
58 | 2625925.2801 | 1140264.9537
59 | 2625977.5653 | 1140284.416
60 | 2625925.5205 | 1140223.9114
61 | 2625906.6838 | 1140256.0418
62 | 2625990.623 | 1140288.7447
63 | 2625893.409 | 1140249.6801
64 | 2625981.1077 | 1140301.6208
65 | 2625977.2072 | 1140308.7022
66 | 2625881.4752 | 1140243.929
67 | 2625921.1646 | 1140220.6842
68 | 2625917.0683 | 1140217.6494
69 | 2626000.8779 | 1140232.8112

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1