## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6205-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6205-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6205-11_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6205-11_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6205-11_0_6_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_6205-11_0_6_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_6205-11_0_6_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_6205-11_0_6_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_6205-11_0_6_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_6205-11_0_6_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6205-11_0_6_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6205-11_0_6_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6205-11_0_6_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_6205-11_0_6_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_6205-11_0_6_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_6205-11_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_6205-11_0_6_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_6205-11_0_6_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_6205-11_0_6_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_6205-11_0_6_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_6205-11_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_6205-11_0_6_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_6205-11_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6205-11_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6205-11_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6205-11_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6205-11_0_6_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_6205-11_0_6_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_6205-11_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_6205-11_0_6_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6205-11_0_6_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6205-11_0_6_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_6205-11_0_6_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_6205-11_0_6_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_6205-11_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_6205-11_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6205-11_0_6_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_6205-11_0_6_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_6205-11_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_6205-11_0_6_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_6205-11_0_6_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6205-11_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_6205-11_0_6_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_6205-11_0_6_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_6205-11_0_6_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_6205-11_0_6_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_6205-11_0_6_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_6205-11_0_6_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_6205-11_0_6_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_6205-11_0_6_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_6205-11_0_6_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_6205-11_0_6_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_6205-11_0_6_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_6205-11_0_6_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_6205-11_0_6_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_6205-11_0_6_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_6205-11_0_6_node_78 | 0.4 | n |  | TRUE
57 | bus_MV_87_1_node_220 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6205-11_0_6_load_0 | 0 | 0.0094831 | 0.0023767 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6205-11_0_6_load_1 | 1 | 0.0080644 | 0.0020211 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6205-11_0_6_load_3 | 2 | 0.0061453 | 0.0015402 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6205-11_0_6_load_74 | 4 | 0.0011144 | 0.0002793 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6205-11_0_6_load_72 | 6 | 0.00084602 | 0.00021203 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6205-11_0_6_load_56 | 7 | 0.0038942 | 0.00097597 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6205-11_0_6_load_14 | 9 | 0.0012575 | 0.00031516 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6205-11_0_6_load_15 | 10 | 0.00091673 | 0.00022975 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6205-11_0_6_load_17 | 11 | 0.00091881 | 0.00023028 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6205-11_0_6_load_35 | 12 | 0.00077637 | 0.00019458 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6205-11_0_6_load_36 | 13 | 0.00082853 | 0.00020765 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6205-11_0_6_load_37 | 14 | 0.001517 | 0.0003802 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6205-11_0_6_load_45 | 16 | 0.00054886 | 0.00013756 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6205-11_0_6_load_46 | 17 | 0.00062398 | 0.00015638 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6205-11_0_6_load_39 | 18 | 0.00063923 | 0.00016021 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6205-11_0_6_load_25 | 19 | 0.00084382 | 0.00021148 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6205-11_0_6_load_26 | 20 | 0.0010223 | 0.0002562 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6205-11_0_6_load_22 | 21 | 0.00090977 | 0.00022801 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6205-11_0_6_load_18 | 22 | 0.0011542 | 0.00028928 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6205-11_0_6_load_19 | 23 | 0.00097926 | 0.00024543 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6205-11_0_6_load_20 | 24 | 0.0011501 | 0.00028823 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6205-11_0_6_load_21 | 25 | 0.00091478 | 0.00022927 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6205-11_0_6_load_38 | 26 | 0.0006501 | 0.00016293 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6205-11_0_6_load_33 | 27 | 0.0010267 | 0.00025731 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6205-11_0_6_load_23 | 28 | 0.0010425 | 0.00026129 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6205-11_0_6_load_47 | 31 | 0.001134 | 0.0002842 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6205-11_0_6_load_82 | 32 | 0.0011997 | 0.00030068 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6205-11_0_6_load_32 | 34 | 0.0011165 | 0.00027983 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6205-11_0_6_load_31 | 35 | 0.0012849 | 0.00032204 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6205-11_0_6_load_34 | 36 | 0.0011238 | 0.00028166 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6205-11_0_6_load_51 | 38 | 0.00070937 | 0.00017778 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6205-11_0_6_load_48 | 39 | 0.00072037 | 0.00018054 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6205-11_0_6_load_40 | 40 | 0.0032228 | 0.00080771 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6205-11_0_6_load_41 | 41 | 0.0042504 | 0.0010652 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6205-11_0_6_load_55 | 42 | 0.0039498 | 0.00098992 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6205-11_0_6_load_54 | 44 | 0.003317 | 0.00083132 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6205-11_0_6_load_52 | 45 | 0.00053962 | 0.00013524 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6205-11_0_6_load_68 | 47 | 0.0015835 | 0.00039687 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6205-11_0_6_load_67 | 48 | 0.00092061 | 0.00023073 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6205-11_0_6_load_79 | 49 | 0.0076303 | 0.0019123 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6205-11_0_6_load_71 | 51 | 0.00073327 | 0.00018378 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6205-11_0_6_load_76 | 53 | 0.011679 | 0.002927 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6205-11_0_6_load_77 | 54 | 0.0072676 | 0.0018214 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6205-11_0_6_load_81 | 55 | 0.0063819 | 0.0015994 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6205-11_0_6_load_78 | 56 | 0.0059746 | 0.0014974 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6205-11_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0062415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6205-11_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.17474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6205-11_0_6_line_2 | NAYY 4x150 SE | 2 | 3 | 0.34411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6205-11_0_6_line_3 | NAYY 4x150 SE | 3 | 4 | 0.25786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6205-11_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.066423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_6205-11_0_6_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0092194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6205-11_0_6_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6205-11_0_6_line_7 | NAYY 4x150 SE | 5 | 8 | 0.12968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_6205-11_0_6_line_8 | NAYY 4x150 SE | 6 | 51 | 0.099096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6205-11_0_6_line_9 | NAYY 4x150 SE | 8 | 43 | 0.2459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6205-11_0_6_line_10 | NAYY 4x150 SE | 8 | 40 | 0.35854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_6205-11_0_6_line_11 | NAYY 4x150 SE | 9 | 10 | 0.26047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6205-11_0_6_line_12 | NAYY 4x150 SE | 10 | 11 | 0.00018712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6205-11_0_6_line_13 | NAYY 4x150 SE | 11 | 15 | 0.019801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6205-11_0_6_line_14 | NAYY 4x150 SE | 12 | 13 | 0.012216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6205-11_0_6_line_15 | NAYY 4x150 SE | 12 | 14 | 0.015809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6205-11_0_6_line_16 | NAYY 4x150 SE | 14 | 25 | 0.23783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6205-11_0_6_line_17 | NAYY 4x150 SE | 15 | 19 | 0.0079153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6205-11_0_6_line_18 | NAYY 4x150 SE | 15 | 20 | 0.022628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6205-11_0_6_line_19 | NAYY 4x150 SE | 15 | 21 | 0.087961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6205-11_0_6_line_20 | NAYY 4x150 SE | 16 | 17 | 0.05057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6205-11_0_6_line_21 | NAYY 4x150 SE | 16 | 18 | 0.066882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6205-11_0_6_line_22 | NAYY 4x150 SE | 17 | 31 | 0.028353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6205-11_0_6_line_23 | NAYY 4x150 SE | 18 | 37 | 0.20412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_6205-11_0_6_line_24 | NAYY 4x150 SE | 18 | 26 | 0.0057856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6205-11_0_6_line_25 | NAYY 4x150 SE | 20 | 29 | 0.09368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6205-11_0_6_line_26 | NAYY 4x150 SE | 21 | 24 | 0.0017129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6205-11_0_6_line_27 | NAYY 4x150 SE | 22 | 23 | 0.0023536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6205-11_0_6_line_28 | NAYY 4x150 SE | 22 | 24 | 0.023029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6205-11_0_6_line_29 | NAYY 4x150 SE | 23 | 25 | 0.20531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6205-11_0_6_line_30 | NAYY 4x150 SE | 25 | 28 | 0.015537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6205-11_0_6_line_31 | NAYY 4x150 SE | 26 | 27 | 0.1252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_6205-11_0_6_line_32 | NAYY 4x150 SE | 27 | 36 | 0.015221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6205-11_0_6_line_33 | NAYY 4x150 SE | 27 | 35 | 0.16939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_6205-11_0_6_line_34 | NAYY 4x150 SE | 29 | 30 | 0.11885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_6205-11_0_6_line_35 | NAYY 4x150 SE | 30 | 32 | 0.05091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6205-11_0_6_line_36 | NAYY 4x150 SE | 30 | 33 | 0.10144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_6205-11_0_6_line_37 | NAYY 4x150 SE | 33 | 34 | 0.059194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_6205-11_0_6_line_38 | NAYY 4x150 SE | 34 | 35 | 0.0058858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_6205-11_0_6_line_39 | NAYY 4x150 SE | 37 | 38 | 0.024585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_6205-11_0_6_line_40 | NAYY 4x150 SE | 37 | 39 | 0.04537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6205-11_0_6_line_41 | NAYY 4x150 SE | 38 | 46 | 0.038219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_6205-11_0_6_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0067083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_6205-11_0_6_line_43 | NAYY 4x150 SE | 41 | 42 | 0.11543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_6205-11_0_6_line_44 | NAYY 4x150 SE | 42 | 46 | 0.08017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_6205-11_0_6_line_45 | NAYY 4x150 SE | 43 | 47 | 0.15028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6205-11_0_6_line_46 | NAYY 4x150 SE | 44 | 45 | 0.081353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6205-11_0_6_line_47 | NAYY 4x150 SE | 45 | 46 | 0.054921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6205-11_0_6_line_48 | NAYY 4x150 SE | 47 | 48 | 0.17037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6205-11_0_6_line_49 | NAYY 4x150 SE | 49 | 50 | 0.17174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6205-11_0_6_line_50 | NAYY 4x150 SE | 50 | 54 | 0.031746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6205-11_0_6_line_51 | NAYY 4x150 SE | 50 | 52 | 0.003055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6205-11_0_6_line_52 | NAYY 4x150 SE | 51 | 52 | 0.097953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6205-11_0_6_line_53 | NAYY 4x150 SE | 52 | 53 | 0.023045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6205-11_0_6_line_54 | NAYY 4x150 SE | 53 | 55 | 0.19487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6205-11_0_6_line_55 | NAYY 4x150 SE | 54 | 56 | 0.016613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6205-11_0_6_trafo_4 | 0.25 MVA 20/0.4 kV | 57 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2647961.4439 | 1137164.2253 | 2647966.4738 | 1137160.5299
1 | 2647966.4738 | 1137160.5299 | 2647971.0985 | 1137129.395 | 2647983.5625 | 1137135.0969 | 2647998.7175 | 1137117.7638 | 2648040.6427 | 1137116.2295 | 2648053.2703 | 1137101.3555 | 2648064.8722 | 1137057.8031
2 | 2648215.0584 | 1137051.5184 | 2648203.7413 | 1137058.2872 | 2648195.6746 | 1137050.1186 | 2648191.2575 | 1137055.0748 | 2648178.7986 | 1137048.7389 | 2648163.3877 | 1137019.9345 | 2648153.1208 | 1137052.2694 | 2648146.8565 | 1137053.4645 | 2648138.3306 | 1137024.7151 | 2648134.194 | 1136993.5104 | 2648125.4593 | 1136990.9395 | 2648104.6155 | 1137016.3423 | 2648100.1687 | 1137025.0336 | 2648104.9804 | 1137048.7731 | 2648089.0628 | 1137083.5644 | 2648084.626 | 1137091.0107 | 2648071.1216 | 1137058.4753 | 2648064.8722 | 1137057.8031
3 | 2648215.0584 | 1137051.5184 | 2648212.369 | 1137041.4695 | 2648212.6095 | 1137037.3582 | 2648212.9042 | 1137026.466 | 2648213.944 | 1137012.8228 | 2648215.8678 | 1137005.0564 | 2648236.2424 | 1136985.4866 | 2648239.8244 | 1136976.2549 | 2648241.6691 | 1136963.941 | 2648242.0028 | 1136961.6647 | 2648243.9285 | 1136953.6648 | 2648250.0993 | 1136930.4687 | 2648254.5882 | 1136910.7611 | 2648258.4815 | 1136888.5695 | 2648255.4436 | 1136880.7301 | 2648237.118 | 1136875.848 | 2648219.6056 | 1136872.2174 | 2648195.6608 | 1136873.4604 | 2648184.2293 | 1136866.0069
4 | 2648280.9556 | 1137045.3079 | 2648245.7019 | 1137052.3856 | 2648215.0584 | 1137051.5184
5 | 2648184.2293 | 1136866.0069 | 2648184.1648 | 1136865.9649 | 2648175.9003 | 1136862.0557
6 | 2648280.9556 | 1137045.3079 | 2648292.4559 | 1137052.2145 | 2648300.534 | 1137059.9053 | 2648306.4499 | 1137072.4479 | 2648312.5948 | 1137077.5219 | 2648316.4573 | 1137083.2335
7 | 2648280.9556 | 1137045.3079 | 2648272.049 | 1137040.2119 | 2648265.5978 | 1137033.0234 | 2648259.2836 | 1137028.9152 | 2648257.3917 | 1137021.1183 | 2648277.7578 | 1137018.035 | 2648283.4933 | 1137012.7336 | 2648286.0576 | 1136997.9909 | 2648296.664 | 1136994.5072 | 2648298.4235 | 1136977.4791 | 2648309.4624 | 1136981.4694 | 2648320.4337 | 1136982.3909
8 | 2648078.8873 | 1136870.7479 | 2648092.4787 | 1136873.872 | 2648122.3955 | 1136874.3215 | 2648138.0937 | 1136871.9786 | 2648166.2321 | 1136862.9426 | 2648175.3198 | 1136861.7811 | 2648175.9003 | 1136862.0557
9 | 2648334.359 | 1136759.309 | 2648341.1872 | 1136759.7861 | 2648349.2017 | 1136763.9301 | 2648360.6185 | 1136772.6704 | 2648361.486 | 1136785.3951 | 2648355.0937 | 1136796.7832 | 2648346.6182 | 1136834.8684 | 2648340.7243 | 1136896.4643 | 2648333.9871 | 1136923.0797 | 2648327.8407 | 1136941.2622 | 2648323.2337 | 1136955.5105 | 2648319.4859 | 1136971.033 | 2648320.4337 | 1136982.3909
10 | 2648320.4337 | 1136982.3909 | 2648333.2397 | 1136998.2237 | 2648341.2725 | 1137000.0334 | 2648389.4328 | 1136968.4246 | 2648404.3544 | 1136965.0535 | 2648432.2893 | 1136944.9225 | 2648452.99 | 1136924.1443 | 2648473.9368 | 1136922.567 | 2648527.3512 | 1136938.126 | 2648547.9167 | 1136934.2113 | 2648620.5854 | 1136958.6526 | 2648639.3326 | 1136961.9341
11 | 2648780.4594 | 1137428.8971 | 2648777.7079 | 1137435.188 | 2648766.6095 | 1137437.7441 | 2648755.393 | 1137434.9188 | 2648728.2455 | 1137432.9211 | 2648674.6151 | 1137428.5532 | 2648637.9058 | 1137414.0613 | 2648596.2048 | 1137401.3525 | 2648554.2948 | 1137393.556 | 2648533.906 | 1137399.6065 | 2648531.3028 | 1137400.1622
12 | 2648780.4594 | 1137428.8971 | 2648780.5344 | 1137428.7256
13 | 2648788.469 | 1137410.5843 | 2648780.5344 | 1137428.7256
14 | 2648524.3314 | 1137044.9126 | 2648534.1091 | 1137044.9911 | 2648536.5312 | 1137044.7141
15 | 2648508.5225 | 1137044.7856 | 2648516.5693 | 1137044.8502 | 2648524.3314 | 1137044.9126
16 | 2648508.5225 | 1137044.7856 | 2648507.8203 | 1137282.6142
17 | 2648788.469 | 1137410.5843 | 2648791.9192 | 1137412.9801 | 2648793.9558 | 1137416.087
18 | 2648788.469 | 1137410.5843 | 2648791.8797 | 1137401.685 | 2648802.1544 | 1137393.563
19 | 2648788.469 | 1137410.5843 | 2648775.0467 | 1137407.4966 | 2648765.5808 | 1137404.1295 | 2648744.541 | 1137403.1371 | 2648723.0784 | 1137403.9977 | 2648718.5488 | 1137401.9046 | 2648704.4415 | 1137393.1399
20 | 2648849.3287 | 1137082.1968 | 2648874.0317 | 1137088.053 | 2648886.4139 | 1137088.5645 | 2648899.0248 | 1137086.4352
21 | 2648786.5678 | 1137073.2662 | 2648799.6394 | 1137076.3457 | 2648813.392 | 1137085.2948 | 2648819.7764 | 1137086.3802 | 2648841.697 | 1137080.3876 | 2648849.3287 | 1137082.1968
22 | 2648899.0248 | 1137086.4352 | 2648905.011 | 1137085.4245 | 2648926.1709 | 1137092.4076
23 | 2648786.5678 | 1137073.2662 | 2648830.4567 | 1136873.9231
24 | 2648780.8705 | 1137072.4523 | 2648783.3681 | 1137072.5124 | 2648786.5678 | 1137073.2662
25 | 2648893.4984 | 1137376.6489 | 2648888.7214 | 1137378.5113 | 2648864.6874 | 1137380.5513 | 2648806.0095 | 1137390.5155 | 2648802.1544 | 1137393.563
26 | 2648704.4415 | 1137393.1399 | 2648702.9865 | 1137392.2359
27 | 2648683.2426 | 1137381.3205 | 2648682.6648 | 1137379.0389
28 | 2648683.2426 | 1137381.3205 | 2648683.2426 | 1137381.3205 | 2648686.7189 | 1137385.2505 | 2648692.0716 | 1137387.3503 | 2648698.8612 | 1137389.6729 | 2648702.9865 | 1137392.2359
29 | 2648507.8203 | 1137282.6142 | 2648513.7836 | 1137285.3413 | 2648526.3092 | 1137292.8457 | 2648539.6706 | 1137299.7344 | 2648550.783 | 1137303.1143 | 2648566.6433 | 1137306.3323 | 2648580.2304 | 1137310.9661 | 2648588.0178 | 1137317.4099 | 2648599.097 | 1137324.9028 | 2648610.5437 | 1137338.3574 | 2648616.9157 | 1137341.9105 | 2648634.595 | 1137349.4567 | 2648670.7986 | 1137363.7334 | 2648677.3623 | 1137368.3108 | 2648680.8418 | 1137371.8407 | 2648682.6648 | 1137379.0389
30 | 2648492.3406 | 1137283.7239 | 2648503.6971 | 1137282.5811 | 2648507.8203 | 1137282.6142 | 2648507.8203 | 1137282.6142
31 | 2648780.8705 | 1137072.4523 | 2648739.1571 | 1137190.4976
32 | 2648724.9983 | 1137185.0215 | 2648725.8876 | 1137185.4738 | 2648736.2684 | 1137188.9593 | 2648739.1571 | 1137190.4976
33 | 2648873.0497 | 1137276.6086 | 2648872.5876 | 1137276.0276 | 2648873.2731 | 1137271.1751 | 2648870.7361 | 1137263.3616 | 2648863.6437 | 1137254.7109 | 2648856.5539 | 1137246.705 | 2648850.7419 | 1137240.4992 | 2648845.8833 | 1137237.2138 | 2648832.371 | 1137238.5609 | 2648819.2291 | 1137233.0963 | 2648812.7735 | 1137226.563 | 2648805.1624 | 1137222.1214 | 2648793.3216 | 1137217.479 | 2648780.8282 | 1137212.6756 | 2648768.8546 | 1137204.4747 | 2648759.451 | 1137200.0188 | 2648749.559 | 1137196.0369 | 2648739.1571 | 1137190.4976
34 | 2648805.982 | 1137310.1515 | 2648804.8367 | 1137311.932 | 2648805.0902 | 1137314.8356 | 2648807.4471 | 1137317.3448 | 2648811.9376 | 1137318.5706 | 2648821.4721 | 1137317.2692 | 2648826.8427 | 1137318.113 | 2648850.6425 | 1137328.8887 | 2648858.8993 | 1137337.1709 | 2648865.9292 | 1137347.8221 | 2648882.5788 | 1137362.7867 | 2648889.177 | 1137368.7877 | 2648893.4984 | 1137376.6489
35 | 2648805.982 | 1137310.1515 | 2648798.8465 | 1137302.0785 | 2648793.5203 | 1137296.6883 | 2648784.4929 | 1137290.4455 | 2648770.7109 | 1137285.1871 | 2648765.1746 | 1137281.0291
36 | 2648805.982 | 1137310.1515 | 2648809.91 | 1137308.6379 | 2648845.6308 | 1137307.4371 | 2648862.0183 | 1137309.1816 | 2648880.1026 | 1137313.241 | 2648905.2069 | 1137322.5156
37 | 2648905.2069 | 1137322.5156 | 2648905.6524 | 1137312.1472 | 2648908.3235 | 1137303.4087 | 2648905.286 | 1137297.5478 | 2648895.9037 | 1137290.4904 | 2648888.4556 | 1137285.8944 | 2648880.6609 | 1137283.23 | 2648876.9811 | 1137280.9159
38 | 2648873.0497 | 1137276.6086 | 2648875.9689 | 1137280.2794 | 2648876.9811 | 1137280.9159
39 | 2648830.4567 | 1136873.9231 | 2648811.8603 | 1136866.4245 | 2648807.4666 | 1136865.3082
40 | 2648830.4567 | 1136873.9231 | 2648831.8543 | 1136871.3886 | 2648835.2984 | 1136868.8707 | 2648858.9976 | 1136861.8586 | 2648872.4189 | 1136860.4553
41 | 2648769.8773 | 1136858.6593 | 2648795.9978 | 1136862.3943 | 2648807.4666 | 1136865.3082
42 | 2648639.3326 | 1136961.9341 | 2648641.4899 | 1136962.3116 | 2648645.9949 | 1136962.658
43 | 2648645.9949 | 1136962.658 | 2648689.5715 | 1136855.7659
44 | 2648689.5715 | 1136855.7659 | 2648762.4001 | 1136857.5873 | 2648769.8773 | 1136858.6593
45 | 2648334.359 | 1136759.309 | 2648322.2711 | 1136758.4786 | 2648271.3681 | 1136780.7611 | 2648260.1115 | 1136778.9258 | 2648246.1599 | 1136761.939 | 2648232.1681 | 1136749.0317 | 2648213.6921 | 1136743.6482 | 2648202.7718 | 1136743.2832
46 | 2648643.2901 | 1136811.3813 | 2648660.5947 | 1136815.0114 | 2648687.5639 | 1136823.2551 | 2648718.4388 | 1136832.7644 | 2648721.1292 | 1136834.4308
47 | 2648769.8773 | 1136858.6593 | 2648750.6854 | 1136851.5341 | 2648737.5255 | 1136846.2808 | 2648729.5315 | 1136839.6351 | 2648721.1292 | 1136834.4308
48 | 2648033.5881 | 1136739.5912 | 2648050.1293 | 1136745.7133 | 2648095.5707 | 1136743.5292 | 2648167.811 | 1136742.1149 | 2648202.7718 | 1136743.2832
49 | 2647984.031 | 1136839.8146 | 2647954.374 | 1136827.9397 | 2647935.0171 | 1136823.0503 | 2647920.9597 | 1136799.9046 | 2647912.0116 | 1136795.0978 | 2647893.4274 | 1136783.9559 | 2647873.6284 | 1136780.4639 | 2647856.4076 | 1136772.0009 | 2647842.5801 | 1136755.3709
50 | 2647984.031 | 1136839.8146 | 2648005.7126 | 1136833.8948 | 2648014.9831 | 1136833.9685
51 | 2647984.031 | 1136839.8146 | 2647986.8763 | 1136840.9489
52 | 2647986.8763 | 1136840.9489 | 2648007.48 | 1136844.8145 | 2648017.9682 | 1136849.4224 | 2648042.2074 | 1136863.4001 | 2648050.0238 | 1136866.3415 | 2648077.6495 | 1136870.4633 | 2648078.8873 | 1136870.7479
53 | 2647965.1487 | 1136848.8027 | 2647986.8763 | 1136840.9489
54 | 2647965.1487 | 1136848.8027 | 2647820.7726 | 1136979.6818
55 | 2648014.9831 | 1136833.9685 | 2648019.1218 | 1136834.0014 | 2648027.5842 | 1136834.0687 | 2648029.2322 | 1136830.4108

## bus_geodata
| x | y | coords
0 | 2647961.4439 | 1137164.2253
1 | 2647966.4738 | 1137160.5299
2 | 2648064.8722 | 1137057.8031
3 | 2648215.0584 | 1137051.5184
4 | 2648184.2293 | 1136866.0069
5 | 2648280.9556 | 1137045.3079
6 | 2648175.9003 | 1136862.0557
7 | 2648316.4573 | 1137083.2335
8 | 2648320.4337 | 1136982.3909
9 | 2648531.3028 | 1137400.1622
10 | 2648780.4594 | 1137428.8971
11 | 2648780.5344 | 1137428.7256
12 | 2648524.3314 | 1137044.9126
13 | 2648536.5312 | 1137044.7141
14 | 2648508.5225 | 1137044.7856
15 | 2648788.469 | 1137410.5843
16 | 2648849.3287 | 1137082.1968
17 | 2648899.0248 | 1137086.4352
18 | 2648786.5678 | 1137073.2662
19 | 2648793.9558 | 1137416.087
20 | 2648802.1544 | 1137393.563
21 | 2648704.4415 | 1137393.1399
22 | 2648683.2426 | 1137381.3205
23 | 2648682.6648 | 1137379.0389
24 | 2648702.9865 | 1137392.2359
25 | 2648507.8203 | 1137282.6142
26 | 2648780.8705 | 1137072.4523
27 | 2648739.1571 | 1137190.4976
28 | 2648492.3406 | 1137283.7239
29 | 2648893.4984 | 1137376.6489
30 | 2648805.982 | 1137310.1515
31 | 2648926.1709 | 1137092.4076
32 | 2648765.1746 | 1137281.0291
33 | 2648905.2069 | 1137322.5156
34 | 2648876.9811 | 1137280.9159
35 | 2648873.0497 | 1137276.6086
36 | 2648724.9983 | 1137185.0215
37 | 2648830.4567 | 1136873.9231
38 | 2648807.4666 | 1136865.3082
39 | 2648872.4189 | 1136860.4553
40 | 2648639.3326 | 1136961.9341
41 | 2648645.9949 | 1136962.658
42 | 2648689.5715 | 1136855.7659
43 | 2648334.359 | 1136759.309
44 | 2648643.2901 | 1136811.3813
45 | 2648721.1292 | 1136834.4308
46 | 2648769.8773 | 1136858.6593
47 | 2648202.7718 | 1136743.2832
48 | 2648033.5881 | 1136739.5912
49 | 2647842.5801 | 1136755.3709
50 | 2647984.031 | 1136839.8146
51 | 2648078.8873 | 1136870.7479
52 | 2647986.8763 | 1136840.9489
53 | 2647965.1487 | 1136848.8027
54 | 2648014.9831 | 1136833.9685
55 | 2647820.7726 | 1136979.6818
56 | 2648029.2322 | 1136830.4108
57 | 2648280.9556 | 1137045.3079

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1