## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6205-1_1_3_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_6205-1_1_3_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_6205-1_1_3_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_6205-1_1_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_6205-1_1_3_node_46 | 0.4 | n |  | TRUE
5 | bus_LV_6205-1_1_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6205-1_1_3_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_6205-1_1_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_6205-1_1_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_6205-1_1_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6205-1_1_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_6205-1_1_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6205-1_1_3_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_6205-1_1_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6205-1_1_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_6205-1_1_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_6205-1_1_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6205-1_1_3_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_6205-1_1_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6205-1_1_3_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_6205-1_1_3_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_6205-1_1_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_6205-1_1_3_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_6205-1_1_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_6205-1_1_3_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_6205-1_1_3_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_6205-1_1_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6205-1_1_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_6205-1_1_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_6205-1_1_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_6205-1_1_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6205-1_1_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6205-1_1_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_6205-1_1_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_6205-1_1_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_6205-1_1_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6205-1_1_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6205-1_1_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_6205-1_1_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6205-1_1_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6205-1_1_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_6205-1_1_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_6205-1_1_3_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_6205-1_1_3_node_48 | 0.4 | n |  | TRUE
44 | bus_MV_87_1_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6205-1_1_3_load_3 | 0 | 0.0078754 | 0.0019738 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6205-1_1_3_load_46 | 4 | 0.0014773 | 0.00037024 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6205-1_1_3_load_30 | 6 | 0.0043803 | 0.0010978 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6205-1_1_3_load_28 | 7 | 0.0067848 | 0.0017004 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6205-1_1_3_load_23 | 8 | 0.0020582 | 0.00051584 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6205-1_1_3_load_53 | 12 | 0.0071893 | 0.0018018 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6205-1_1_3_load_52 | 15 | 0.008076 | 0.002024 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6205-1_1_3_load_39 | 17 | 0.019994 | 0.005011 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6205-1_1_3_load_54 | 19 | 0.0035061 | 0.00087872 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6205-1_1_3_load_36 | 22 | 0.0021603 | 0.00054142 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6205-1_1_3_load_40 | 23 | 0.0034176 | 0.00085652 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6205-1_1_3_load_38 | 24 | 0.015806 | 0.0039615 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6205-1_1_3_load_37 | 25 | 0.0022294 | 0.00055875 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6205-1_1_3_load_50 | 27 | 0.0092975 | 0.0023302 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6205-1_1_3_load_49 | 28 | 0.001932 | 0.00048422 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6205-1_1_3_load_45 | 29 | 0.0049537 | 0.0012415 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6205-1_1_3_load_24 | 31 | 0.002307 | 0.00057818 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6205-1_1_3_load_34 | 32 | 0.006563 | 0.0016448 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6205-1_1_3_load_32 | 33 | 0.0043615 | 0.0010931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6205-1_1_3_load_27 | 35 | 0.0019764 | 0.00049534 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6205-1_1_3_load_26 | 36 | 0.0019837 | 0.00049715 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6205-1_1_3_load_25 | 38 | 0.0025388 | 0.00063628 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6205-1_1_3_load_35 | 39 | 0.0049688 | 0.0012453 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6205-1_1_3_load_42 | 40 | 0.0058485 | 0.0014658 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6205-1_1_3_load_43 | 41 | 0.039302 | 0.00985 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6205-1_1_3_load_51 | 42 | 0.0039706 | 0.00099513 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6205-1_1_3_load_48 | 43 | 0.0019283 | 0.00048328 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6205-1_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.092634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6205-1_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.071955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6205-1_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.027883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6205-1_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.038632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6205-1_1_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.090916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6205-1_1_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.2047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6205-1_1_3_line_6 | NAYY 4x150 SE | 4 | 29 | 0.0038028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6205-1_1_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.024933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6205-1_1_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.0115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6205-1_1_3_line_9 | NAYY 4x150 SE | 7 | 30 | 0.023673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6205-1_1_3_line_10 | NAYY 4x150 SE | 8 | 31 | 0.019012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6205-1_1_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.13881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6205-1_1_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.058791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6205-1_1_3_line_13 | NAYY 4x150 SE | 9 | 12 | 0.039696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6205-1_1_3_line_14 | NAYY 4x150 SE | 10 | 21 | 0.44314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6205-1_1_3_line_15 | NAYY 4x150 SE | 10 | 22 | 0.010255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6205-1_1_3_line_16 | NAYY 4x150 SE | 11 | 20 | 0.007754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6205-1_1_3_line_17 | NAYY 4x150 SE | 11 | 23 | 0.01317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6205-1_1_3_line_18 | NAYY 4x150 SE | 11 | 16 | 0.031824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6205-1_1_3_line_19 | NAYY 4x150 SE | 12 | 15 | 0.012641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6205-1_1_3_line_20 | NAYY 4x150 SE | 13 | 14 | 0.011174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6205-1_1_3_line_21 | NAYY 4x150 SE | 13 | 15 | 0.037232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6205-1_1_3_line_22 | NAYY 4x150 SE | 14 | 32 | 0.04537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6205-1_1_3_line_23 | NAYY 4x150 SE | 14 | 30 | 0.00985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6205-1_1_3_line_24 | NAYY 4x150 SE | 16 | 17 | 0.0077712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6205-1_1_3_line_25 | NAYY 4x150 SE | 18 | 19 | 0.005504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6205-1_1_3_line_26 | NAYY 4x150 SE | 18 | 20 | 0.049483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6205-1_1_3_line_27 | NAYY 4x150 SE | 21 | 24 | 0.053781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6205-1_1_3_line_28 | NAYY 4x150 SE | 21 | 25 | 0.039456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6205-1_1_3_line_29 | NAYY 4x150 SE | 23 | 34 | 0.0062825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6205-1_1_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.14937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6205-1_1_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.025516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6205-1_1_3_line_32 | NAYY 4x150 SE | 28 | 37 | 0.014095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6205-1_1_3_line_33 | NAYY 4x150 SE | 29 | 37 | 0.014551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6205-1_1_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.067871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6205-1_1_3_line_35 | NAYY 4x150 SE | 31 | 38 | 0.011207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6205-1_1_3_line_36 | NAYY 4x150 SE | 32 | 39 | 0.014043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6205-1_1_3_line_37 | NAYY 4x150 SE | 34 | 40 | 0.0024988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6205-1_1_3_line_38 | NAYY 4x150 SE | 34 | 41 | 0.027921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6205-1_1_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.03226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6205-1_1_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.028181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6205-1_1_3_line_41 | NAYY 4x150 SE | 37 | 43 | 0.01333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6205-1_1_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.0056991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6205-1_1_3_trafo_10 | 0.25 MVA 20/0.4 kV | 44 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2648406.813 | 1137890.7747 | 2648411.2461 | 1137878.9597 | 2648425.7449 | 1137860.8887 | 2648426.8891 | 1137856.34 | 2648426.3768 | 1137843.4848 | 2648427.3763 | 1137836.8338 | 2648431.7364 | 1137832.2219 | 2648456.1979 | 1137822.7868
1 | 2648406.7095 | 1137954.5402 | 2648409.0407 | 1137940.0959 | 2648408.8985 | 1137926.1653 | 2648405.6171 | 1137918.0904 | 2648395.9257 | 1137907.4183 | 2648403.3266 | 1137899.6291 | 2648406.813 | 1137890.7747
2 | 2648394.2869 | 1137979.4647 | 2648403.4831 | 1137962.6408 | 2648406.7095 | 1137954.5402
3 | 2648406.7095 | 1137954.5402 | 2648417.033 | 1137937.214 | 2648425.0412 | 1137920.5777
4 | 2648394.2869 | 1137979.4647 | 2648433.4812 | 1137986.8159 | 2648438.3462 | 1137985.4097 | 2648442.4523 | 1137981.763 | 2648452.6111 | 1137950.4504 | 2648457.326 | 1137944.5371
5 | 2648214.4716 | 1138013.5115 | 2648226.4613 | 1138015.7306 | 2648255.1347 | 1138021.8738 | 2648294.1981 | 1138031.1462 | 2648307.9209 | 1138032.1009 | 2648314.3501 | 1138031.3185 | 2648325.266 | 1138029.3048 | 2648334.7937 | 1138025.8125 | 2648349.432 | 1138018.1034 | 2648351.6674 | 1138020.4003 | 2648355.838 | 1138020.2225 | 2648365.0213 | 1138015.5602 | 2648367.8314 | 1138009.4907 | 2648373.7413 | 1138000.5556 | 2648387.2874 | 1137983.2551 | 2648394.2869 | 1137979.4647
6 | 2648426.6906 | 1137917.1513 | 2648425.0412 | 1137920.5777
7 | 2648214.4716 | 1138013.5115 | 2648199.9392 | 1138011.828 | 2648189.6362 | 1138011.7242
8 | 2648214.4716 | 1138013.5115 | 2648213.0703 | 1138020.415 | 2648213.3571 | 1138024.8611
9 | 2648197.2479 | 1138039.6543 | 2648211.6127 | 1138031.4869 | 2648213.5632 | 1138028.0562 | 2648213.3571 | 1138024.8611
10 | 2648465.3167 | 1137927.6961 | 2648462.3785 | 1137938.2002 | 2648457.326 | 1137944.5371
11 | 2648015.2579 | 1138125.0829 | 2648040.1933 | 1138135.0196 | 2648051.0488 | 1138132.8159 | 2648069.2064 | 1138122.5883 | 2648087.5443 | 1138115.8085 | 2648114.366 | 1138104.2605 | 2648133.6681 | 1138097.155 | 2648144.4002 | 1138096.9404
12 | 2648112.2937 | 1138054.4516 | 2648113.0344 | 1138057.0588 | 2648119.7003 | 1138073.8762 | 2648123.6906 | 1138082.7903 | 2648133.6681 | 1138097.155 | 2648144.4002 | 1138096.9404
13 | 2648144.4002 | 1138096.9404 | 2648161.6929 | 1138089.1075 | 2648167.7775 | 1138082.3303 | 2648174.0012 | 1138072.5364
14 | 2648015.2579 | 1138125.0829 | 2648021.427 | 1138132.8026 | 2648024.6527 | 1138139.2316 | 2648023.0123 | 1138143.354 | 2648023.6602 | 1138148.9398 | 2648025.7289 | 1138154.7926 | 2648032.4631 | 1138171.7327 | 2648049.2087 | 1138208.4404 | 2648057.8566 | 1138223.6281 | 2648064.3018 | 1138230.4607 | 2648072.6096 | 1138236.1853 | 2648078.8557 | 1138242.9163 | 2648083.3264 | 1138251.3896 | 2648096.5342 | 1138263.8344 | 2648109.9734 | 1138273.2908 | 2648122.2184 | 1138289.7412 | 2648127.444 | 1138294.2074 | 2648138.7322 | 1138301.3899 | 2648142.7088 | 1138307.1802 | 2648143.3965 | 1138311.6102 | 2648145.1345 | 1138326.1204 | 2648149.3256 | 1138344.5633 | 2648160.1821 | 1138379.8126 | 2648163.7179 | 1138388.7898 | 2648171.705 | 1138409.6198 | 2648175.7274 | 1138422.1917 | 2648182.5564 | 1138432.9407 | 2648194.1157 | 1138444.65 | 2648199.8532 | 1138449.5316 | 2648207.5633 | 1138452.9838 | 2648225.039 | 1138460.6384 | 2648238.9082 | 1138467.2192 | 2648244.4489 | 1138471.6879 | 2648248.4319 | 1138476.6556
15 | 2648015.2579 | 1138125.0829 | 2648008.7643 | 1138117.1452
16 | 2648112.2937 | 1138054.4516 | 2648112.3973 | 1138051.1062 | 2648115.2853 | 1138047.7719
17 | 2648112.2937 | 1138054.4516 | 2648124.1803 | 1138048.7802
18 | 2648087.0151 | 1138061.5096 | 2648093.3748 | 1138065.5845 | 2648103.1055 | 1138062.6605 | 2648113.0344 | 1138057.0588 | 2648112.2937 | 1138054.4516
19 | 2648182.9802 | 1138064.0555 | 2648176.915 | 1138067.9512 | 2648174.0012 | 1138072.5364
20 | 2648215.0655 | 1138050.88 | 2648205.4345 | 1138045.1669
21 | 2648215.0655 | 1138050.88 | 2648198.2192 | 1138050.9568 | 2648193.6294 | 1138053.5549 | 2648187.1208 | 1138061.3959 | 2648182.9802 | 1138064.0555
22 | 2648205.4345 | 1138045.1669 | 2648190.9154 | 1138043.7504 | 2648171.0856 | 1138035.9771 | 2648171.3627 | 1138032.0884 | 2648167.5418 | 1138028.0151
23 | 2648205.4345 | 1138045.1669 | 2648197.2479 | 1138039.6543
24 | 2648087.0151 | 1138061.5096 | 2648080.4969 | 1138057.2781
25 | 2648096.6231 | 1138014.106 | 2648101.95 | 1138015.5491
26 | 2648115.2853 | 1138047.7719 | 2648112.0281 | 1138043.3771 | 2648110.3391 | 1138039.1059 | 2648106.8385 | 1138034.3644 | 2648099.5543 | 1138027.5696 | 2648090.833 | 1138023.5092 | 2648088.5988 | 1138021.0457 | 2648091.0917 | 1138018.064 | 2648096.6231 | 1138014.106
27 | 2648248.4319 | 1138476.6556 | 2648260.0658 | 1138492.479 | 2648262.45 | 1138503.0924 | 2648261.7262 | 1138513.781 | 2648259.5877 | 1138524.3917 | 2648259.2818 | 1138526.1012
28 | 2648248.4319 | 1138476.6556 | 2648249.0238 | 1138487.2881 | 2648247.5094 | 1138508.3647 | 2648243.1591 | 1138514.6893
29 | 2648129.1929 | 1138047.7382 | 2648128.7481 | 1138046.6008 | 2648124.1803 | 1138048.7802
30 | 2648468.7645 | 1137891.0604 | 2648480.7211 | 1137894.5581 | 2648500.841 | 1137891.1178 | 2648507.051 | 1137890.8341 | 2648512.761 | 1137893.4147 | 2648520.8393 | 1137898.9824 | 2648532.9758 | 1137899.2244 | 2648550.8642 | 1137898.7568 | 2648569.6218 | 1137902.1204 | 2648593.0605 | 1137902.0755 | 2648606.1105 | 1137899.6903 | 2648614.2801 | 1137901.7117
31 | 2648468.7645 | 1137891.0604 | 2648460.8294 | 1137891.597 | 2648444.7181 | 1137898.5879
32 | 2648431.8789 | 1137903.6489 | 2648435.6928 | 1137900.9558 | 2648440.7056 | 1137900.329 | 2648444.7181 | 1137898.5879
33 | 2648431.8789 | 1137903.6489 | 2648430.7224 | 1137908.7756 | 2648426.6906 | 1137917.1513
34 | 2648197.2479 | 1138039.6543 | 2648189.0902 | 1138035.3426 | 2648182.7035 | 1138030.8004 | 2648163.0899 | 1138010.389 | 2648147.9196 | 1137993.7734
35 | 2648475.3602 | 1137922.7246 | 2648465.3167 | 1137927.6961 | 2648465.3167 | 1137927.6961
36 | 2648156.2062 | 1138019.928 | 2648164.6279 | 1138024.9088 | 2648167.5418 | 1138028.0151
37 | 2648129.1929 | 1138047.7382 | 2648131.4173 | 1138046.5998 | 2648131.4173 | 1138046.5998
38 | 2648128.7097 | 1138068.7897 | 2648120.8129 | 1138052.0182 | 2648129.1929 | 1138047.7382
39 | 2648487.3989 | 1137960.7361 | 2648493.1821 | 1137953.055 | 2648490.3212 | 1137945.317 | 2648489.2022 | 1137937.1482 | 2648492.6431 | 1137932.051 | 2648492.6431 | 1137932.051
40 | 2648475.3602 | 1137922.7246 | 2648477.295 | 1137921.7669 | 2648484.2015 | 1137919.9881 | 2648489.2457 | 1137920.2287 | 2648494.2434 | 1137926.2608 | 2648492.6431 | 1137932.051
41 | 2648431.8789 | 1137903.6489 | 2648429.8782 | 1137902.7769 | 2648428.5707 | 1137899.876 | 2648427.7959 | 1137891.9434
42 | 2648128.293 | 1138042.4363 | 2648129.5723 | 1138042.5942 | 2648131.4173 | 1138046.5998

## bus_geodata
| x | y | coords
0 | 2648456.1979 | 1137822.7868
1 | 2648406.813 | 1137890.7747
2 | 2648406.7095 | 1137954.5402
3 | 2648394.2869 | 1137979.4647
4 | 2648425.0412 | 1137920.5777
5 | 2648214.4716 | 1138013.5115
6 | 2648189.6362 | 1138011.7242
7 | 2648213.3571 | 1138024.8611
8 | 2648457.326 | 1137944.5371
9 | 2648144.4002 | 1138096.9404
10 | 2648015.2579 | 1138125.0829
11 | 2648112.2937 | 1138054.4516
12 | 2648174.0012 | 1138072.5364
13 | 2648215.0655 | 1138050.88
14 | 2648205.4345 | 1138045.1669
15 | 2648182.9802 | 1138064.0555
16 | 2648087.0151 | 1138061.5096
17 | 2648080.4969 | 1138057.2781
18 | 2648096.6231 | 1138014.106
19 | 2648101.95 | 1138015.5491
20 | 2648115.2853 | 1138047.7719
21 | 2648248.4319 | 1138476.6556
22 | 2648008.7643 | 1138117.1452
23 | 2648124.1803 | 1138048.7802
24 | 2648259.2818 | 1138526.1012
25 | 2648243.1591 | 1138514.6893
26 | 2648468.7645 | 1137891.0604
27 | 2648614.2801 | 1137901.7117
28 | 2648444.7181 | 1137898.5879
29 | 2648426.6906 | 1137917.1513
30 | 2648197.2479 | 1138039.6543
31 | 2648465.3167 | 1137927.6961
32 | 2648167.5418 | 1138028.0151
33 | 2648147.9196 | 1137993.7734
34 | 2648129.1929 | 1138047.7382
35 | 2648487.3989 | 1137960.7361
36 | 2648492.6431 | 1137932.051
37 | 2648431.8789 | 1137903.6489
38 | 2648475.3602 | 1137922.7246
39 | 2648156.2062 | 1138019.928
40 | 2648131.4173 | 1138046.5998
41 | 2648128.7097 | 1138068.7897
42 | 2648128.293 | 1138042.4363
43 | 2648427.7959 | 1137891.9434
44 | 2648205.4345 | 1138045.1669

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1