## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6212-1_2_2_node_146 | 0.4 | n |  | TRUE
1 | bus_LV_6212-1_2_2_node_97 | 0.4 | n |  | TRUE
2 | bus_LV_6212-1_2_2_node_19 | 0.4 | n |  | TRUE
3 | bus_LV_6212-1_2_2_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_6212-1_2_2_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_6212-1_2_2_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_6212-1_2_2_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_6212-1_2_2_node_126 | 0.4 | n |  | TRUE
8 | bus_LV_6212-1_2_2_node_111 | 0.4 | n |  | TRUE
9 | bus_LV_6212-1_2_2_node_94 | 0.4 | n |  | TRUE
10 | bus_LV_6212-1_2_2_node_95 | 0.4 | n |  | TRUE
11 | bus_LV_6212-1_2_2_node_96 | 0.4 | n |  | TRUE
12 | bus_LV_6212-1_2_2_node_118 | 0.4 | n |  | TRUE
13 | bus_LV_6212-1_2_2_node_120 | 0.4 | n |  | TRUE
14 | bus_LV_6212-1_2_2_node_117 | 0.4 | n |  | TRUE
15 | bus_LV_6212-1_2_2_node_101 | 0.4 | n |  | TRUE
16 | bus_LV_6212-1_2_2_node_98 | 0.4 | n |  | TRUE
17 | bus_LV_6212-1_2_2_node_99 | 0.4 | n |  | TRUE
18 | bus_LV_6212-1_2_2_node_100 | 0.4 | n |  | TRUE
19 | bus_LV_6212-1_2_2_node_103 | 0.4 | n |  | TRUE
20 | bus_LV_6212-1_2_2_node_102 | 0.4 | n |  | TRUE
21 | bus_LV_6212-1_2_2_node_104 | 0.4 | n |  | TRUE
22 | bus_LV_6212-1_2_2_node_105 | 0.4 | n |  | TRUE
23 | bus_LV_6212-1_2_2_node_106 | 0.4 | n |  | TRUE
24 | bus_LV_6212-1_2_2_node_122 | 0.4 | n |  | TRUE
25 | bus_LV_6212-1_2_2_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_6212-1_2_2_node_108 | 0.4 | n |  | TRUE
27 | bus_LV_6212-1_2_2_node_109 | 0.4 | n |  | TRUE
28 | bus_LV_6212-1_2_2_node_110 | 0.4 | n |  | TRUE
29 | bus_LV_6212-1_2_2_node_124 | 0.4 | n |  | TRUE
30 | bus_LV_6212-1_2_2_node_112 | 0.4 | n |  | TRUE
31 | bus_LV_6212-1_2_2_node_113 | 0.4 | n |  | TRUE
32 | bus_LV_6212-1_2_2_node_114 | 0.4 | n |  | TRUE
33 | bus_LV_6212-1_2_2_node_115 | 0.4 | n |  | TRUE
34 | bus_LV_6212-1_2_2_node_116 | 0.4 | n |  | TRUE
35 | bus_LV_6212-1_2_2_node_119 | 0.4 | n |  | TRUE
36 | bus_LV_6212-1_2_2_node_121 | 0.4 | n |  | TRUE
37 | bus_LV_6212-1_2_2_node_123 | 0.4 | n |  | TRUE
38 | bus_LV_6212-1_2_2_node_125 | 0.4 | n |  | TRUE
39 | bus_LV_6212-1_2_2_node_127 | 0.4 | n |  | TRUE
40 | bus_MV_112_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6212-1_2_2_load_146 | 0 | 0.001928 | 0.00048321 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6212-1_2_2_load_19 | 2 | 0.001351 | 0.0003386 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6212-1_2_2_load_20 | 3 | 0.00065897 | 0.00016515 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6212-1_2_2_load_22 | 5 | 0.0017391 | 0.00043586 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6212-1_2_2_load_126 | 7 | 0.00066292 | 0.00016614 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6212-1_2_2_load_111 | 8 | 0.0014622 | 0.00036646 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6212-1_2_2_load_95 | 10 | 0.0012954 | 0.00032465 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6212-1_2_2_load_120 | 13 | 0.0040486 | 0.0010147 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6212-1_2_2_load_117 | 14 | 0.0022685 | 0.00056855 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6212-1_2_2_load_98 | 16 | 0.0015876 | 0.00039788 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6212-1_2_2_load_100 | 18 | 0.0037811 | 0.00094764 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6212-1_2_2_load_103 | 19 | 0.0058246 | 0.0014598 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6212-1_2_2_load_102 | 20 | 0.0033999 | 0.00085209 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6212-1_2_2_load_105 | 22 | 0.0068486 | 0.0017164 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6212-1_2_2_load_122 | 24 | 0.0043754 | 0.0010966 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6212-1_2_2_load_107 | 25 | 0.011803 | 0.0029581 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6212-1_2_2_load_109 | 27 | 0.00174 | 0.00043609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6212-1_2_2_load_110 | 28 | 0.0030584 | 0.00076651 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6212-1_2_2_load_112 | 30 | 0.0054865 | 0.001375 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6212-1_2_2_load_113 | 31 | 0.0023682 | 0.00059353 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6212-1_2_2_load_115 | 33 | 0.0018864 | 0.00047277 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6212-1_2_2_load_116 | 34 | 0.0038136 | 0.00095578 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6212-1_2_2_load_119 | 35 | 0.002367 | 0.00059324 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6212-1_2_2_load_121 | 36 | 0.0051783 | 0.0012978 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6212-1_2_2_load_125 | 38 | 0.0086282 | 0.0021624 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6212-1_2_2_load_127 | 39 | 0.0015459 | 0.00038745 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6212-1_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6212-1_2_2_line_1 | NAYY 4x150 SE | 1 | 15 | 0.062829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6212-1_2_2_line_2 | NAYY 4x150 SE | 1 | 9 | 0.12531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6212-1_2_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.0115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6212-1_2_2_line_4 | NAYY 4x150 SE | 2 | 4 | 0.057365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6212-1_2_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.011227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6212-1_2_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.016662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6212-1_2_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.029845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6212-1_2_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.048543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6212-1_2_2_line_9 | NAYY 4x150 SE | 7 | 39 | 0.0091311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6212-1_2_2_line_10 | NAYY 4x150 SE | 8 | 26 | 0.18981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6212-1_2_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.095093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6212-1_2_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.15436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6212-1_2_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.013516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6212-1_2_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.044599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6212-1_2_2_line_15 | NAYY 4x150 SE | 11 | 14 | 0.054685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6212-1_2_2_line_16 | NAYY 4x150 SE | 12 | 35 | 0.017541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6212-1_2_2_line_17 | NAYY 4x150 SE | 14 | 33 | 0.027698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6212-1_2_2_line_18 | NAYY 4x150 SE | 15 | 19 | 0.016555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6212-1_2_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.023347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6212-1_2_2_line_20 | NAYY 4x150 SE | 16 | 17 | 0.035717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6212-1_2_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.014953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6212-1_2_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.081509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6212-1_2_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.011638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6212-1_2_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0038802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6212-1_2_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.10031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6212-1_2_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.03863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6212-1_2_2_line_27 | NAYY 4x150 SE | 24 | 36 | 0.041014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6212-1_2_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.029113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6212-1_2_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.051006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6212-1_2_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.02421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6212-1_2_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.035863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6212-1_2_2_line_32 | NAYY 4x150 SE | 29 | 38 | 0.036277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6212-1_2_2_line_33 | NAYY 4x150 SE | 29 | 37 | 0.002577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6212-1_2_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.052375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6212-1_2_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.0064299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6212-1_2_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.042912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6212-1_2_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.040169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6212-1_2_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.056553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6212-1_2_2_trafo_103 | 0.25 MVA 20/0.4 kV | 40 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2570639.1284 | 1110514.4366 | 2570638.9981 | 1110517.8167 | 2570636.7249 | 1110522.2967 | 2570633.3552 | 1110526.8932 | 2570631.9514 | 1110530.6019
1 | 2570687.3197 | 1110475.8833 | 2570680.8019 | 1110484.6304 | 2570665.1641 | 1110500.8589 | 2570656.3292 | 1110506.6158 | 2570646.842 | 1110511.6756 | 2570639.1284 | 1110514.4366
2 | 2570639.1284 | 1110514.4366 | 2570637.8943 | 1110514.8873 | 2570627.6326 | 1110517.9832 | 2570615.6704 | 1110525.7452 | 2570611.0755 | 1110531.0369 | 2570606.1854 | 1110537.5973 | 2570599.2562 | 1110552.2718 | 2570597.3942 | 1110557.0721 | 2570591.2588 | 1110572.8877 | 2570572.6797 | 1110608.6073 | 2570570.7252 | 1110613.4526
3 | 2570742.5282 | 1110673.6269 | 2570732.4214 | 1110679.1138
4 | 2570750.9072 | 1110712.6061 | 2570746.6457 | 1110708.5691 | 2570744.1367 | 1110704.2346 | 2570743.9041 | 1110699.2777 | 2570746.3551 | 1110693.2405 | 2570750.2469 | 1110684.7508 | 2570753.5226 | 1110676.6753 | 2570753.7092 | 1110672.1276 | 2570752.4582 | 1110670.6885 | 2570749.5687 | 1110670.747 | 2570742.5282 | 1110673.6269 | 2570742.5282 | 1110673.6269
5 | 2570722.6933 | 1110684.7175 | 2570730.5446 | 1110680.1327 | 2570732.4214 | 1110679.1138
6 | 2570750.9072 | 1110712.6061 | 2570755.5275 | 1110696.5979
7 | 2570755.5275 | 1110696.5979 | 2570757.2917 | 1110697.1229 | 2570759.402 | 1110695.712 | 2570765.2553 | 1110691.7817 | 2570772.8259 | 1110686.6648 | 2570776.1856 | 1110684.7809 | 2570779.697 | 1110683.9079 | 2570781.4227 | 1110684.4443
8 | 2570755.5275 | 1110696.5979 | 2570755.9379 | 1110695.1841 | 2570760.5926 | 1110683.0776 | 2570766.2784 | 1110670.088 | 2570769.1321 | 1110662.6149 | 2570770.1399 | 1110653.7278 | 2570770.2507 | 1110650.7525
9 | 2570784.9829 | 1110692.0754 | 2570784.6588 | 1110688.9532 | 2570783.8637 | 1110685.911 | 2570781.4227 | 1110684.4443
10 | 2570772.1205 | 1110462.566 | 2570773.7382 | 1110466.3267 | 2570775.1675 | 1110471.0889 | 2570775.8846 | 1110475.5655 | 2570776.5341 | 1110482.0323 | 2570776.1715 | 1110488.5484 | 2570775.5911 | 1110494.7655 | 2570774.7306 | 1110500.5726 | 2570773.2411 | 1110512.1301 | 2570769.8152 | 1110529.0997 | 2570766.8113 | 1110547.0455 | 2570766.0596 | 1110552.9855 | 2570765.6991 | 1110559.9352 | 2570766.0163 | 1110567.9933 | 2570766.5693 | 1110578.4848 | 2570768.601 | 1110607.1339 | 2570770.172 | 1110636.4077 | 2570770.434 | 1110645.8335 | 2570770.2507 | 1110650.7525
11 | 2570570.7252 | 1110613.4526 | 2570573.0914 | 1110613.8191 | 2570580.1691 | 1110607.4592 | 2570594.5422 | 1110596.606 | 2570610.0234 | 1110586.3922 | 2570621.8976 | 1110578.0525 | 2570629.2061 | 1110574.6375 | 2570634.4483 | 1110573.7449 | 2570639.5886 | 1110574.1535 | 2570644.3032 | 1110575.9871 | 2570650.7819 | 1110581.514
12 | 2570546.7048 | 1110501.3573 | 2570545.4095 | 1110508.2672 | 2570544.3397 | 1110512.3077 | 2570541.8441 | 1110517.1112 | 2570540.2225 | 1110520.4986 | 2570539.2556 | 1110523.4493 | 2570539.8103 | 1110526.2813 | 2570542.7767 | 1110529.3128 | 2570553.5245 | 1110535.5859 | 2570594.7292 | 1110555.651 | 2570597.3942 | 1110557.0721 | 2570591.2588 | 1110572.8877 | 2570572.6797 | 1110608.6073 | 2570570.7252 | 1110613.4526
13 | 2570659.263 | 1110592.0337 | 2570655.9503 | 1110587.692 | 2570650.7819 | 1110581.514
14 | 2570546.7048 | 1110501.3573 | 2570545.0494 | 1110500.9652 | 2570542.7604 | 1110502.177 | 2570537.7552 | 1110507.3262 | 2570531.6635 | 1110514.6596 | 2570524.1584 | 1110522.0999 | 2570520.462 | 1110526.2645 | 2570517.4357 | 1110533.1383
15 | 2570546.7048 | 1110501.3573 | 2570547.9702 | 1110494.6367 | 2570549.7816 | 1110485.8012 | 2570550.8262 | 1110475.0017 | 2570550.6729 | 1110465.7422 | 2570551.3047 | 1110460.6143 | 2570553.686 | 1110456.1338 | 2570556.6275 | 1110454.0518 | 2570561.2093 | 1110452.3953
16 | 2570659.263 | 1110592.0337 | 2570647.6129 | 1110605.1746
17 | 2570587.9325 | 1110446.2298 | 2570583.4981 | 1110448.4737 | 2570578.4763 | 1110450.2324 | 2570568.4229 | 1110451.7043 | 2570561.2093 | 1110452.3953 | 2570561.2093 | 1110452.3953
18 | 2570687.3197 | 1110475.8833 | 2570693.7991 | 1110467.1919 | 2570696.4938 | 1110462.1534
19 | 2570687.3197 | 1110475.8833 | 2570688.2269 | 1110478.1245 | 2570687.7965 | 1110480.2054 | 2570685.2221 | 1110489.4781 | 2570682.0882 | 1110498.1088
20 | 2570682.0882 | 1110498.1088 | 2570681.6612 | 1110499.3003 | 2570677.8653 | 1110506.8448 | 2570672.5363 | 1110516.9313 | 2570671.6941 | 1110518.5362 | 2570665.2955 | 1110529.6058
21 | 2570695.7362 | 1110493.7849 | 2570692.5808 | 1110496.4126 | 2570688.9799 | 1110497.9642 | 2570685.6987 | 1110498.5248 | 2570682.0882 | 1110498.1088
22 | 2570712.0062 | 1110383.1588 | 2570709.8472 | 1110400.0691 | 2570708.3757 | 1110423.288 | 2570706.2919 | 1110441.3405 | 2570700.7675 | 1110454.1627 | 2570696.4938 | 1110462.1534
23 | 2570713.4801 | 1110371.6149 | 2570712.0062 | 1110383.1588
24 | 2570713.4801 | 1110371.6149 | 2570710.993 | 1110368.6366 | 2570710.993 | 1110368.6366
25 | 2570713.4801 | 1110371.6149 | 2570714.6324 | 1110354.2783 | 2570716.3004 | 1110341.297 | 2570718.5118 | 1110332.0261 | 2570720.6908 | 1110322.444 | 2570722.4736 | 1110310.8295 | 2570722.663 | 1110290.9185 | 2570721.6286 | 1110284.7537 | 2570721.9283 | 1110281.2172 | 2570722.4187 | 1110278.7802 | 2570722.7923 | 1110277.7334 | 2570723.9042 | 1110275.9605 | 2570725.2909 | 1110275.0978 | 2570726.9742 | 1110274.8451
26 | 2570726.9742 | 1110274.8451 | 2570729.5504 | 1110275.4662 | 2570731.8767 | 1110277.1558 | 2570733.6223 | 1110280.1822 | 2570734.8522 | 1110285.2455 | 2570734.335 | 1110291.7291 | 2570733.4892 | 1110298.9813 | 2570732.3115 | 1110309.5105
27 | 2570733.2335 | 1110350.0499 | 2570731.5278 | 1110345.5032 | 2570730.3196 | 1110335.3706 | 2570730.6706 | 1110324.8747 | 2570731.9116 | 1110313.0849 | 2570732.3115 | 1110309.5105
28 | 2570772.1205 | 1110462.566 | 2570769.9582 | 1110464.4107 | 2570767.3443 | 1110468.7478 | 2570762.4397 | 1110477.1646 | 2570757.9951 | 1110484.8122 | 2570756.7891 | 1110487.1384
29 | 2570735.1106 | 1110533.2474 | 2570742.3908 | 1110519.1829 | 2570746.4356 | 1110508.758 | 2570749.5674 | 1110501.2724 | 2570753.708 | 1110493.0816 | 2570756.7891 | 1110487.1384
30 | 2570772.1205 | 1110462.566 | 2570767.0172 | 1110450.6513 | 2570762.6101 | 1110440.3025
31 | 2570750.847 | 1110406.4627 | 2570752.7271 | 1110413.3349 | 2570759.1935 | 1110432.2799 | 2570762.6101 | 1110440.3025
32 | 2570755.9384 | 1110372.7766 | 2570757.7436 | 1110378.5486 | 2570757.9231 | 1110383.7059 | 2570757.0305 | 1110390.8805 | 2570755.8282 | 1110397.901 | 2570755.157 | 1110402.9068 | 2570754.0746 | 1110404.3794 | 2570750.847 | 1110406.4627
33 | 2570750.1705 | 1110403.9759 | 2570750.847 | 1110406.4627
34 | 2570620.9799 | 1110410.7687 | 2570625.6744 | 1110406.0472 | 2570629.919 | 1110401.7688 | 2570633.616 | 1110397.7155 | 2570636.87 | 1110393.1307 | 2570638.711 | 1110388.764 | 2570638.6866 | 1110383.7505 | 2570637.8909 | 1110377.4289 | 2570636.7651 | 1110371.5536 | 2570634.4113 | 1110365.5208
35 | 2570616.4937 | 1110415.3743 | 2570618.2772 | 1110413.4869 | 2570620.7762 | 1110410.9735 | 2570620.9799 | 1110410.7687
36 | 2570616.4937 | 1110415.3743 | 2570612.9896 | 1110420.9719 | 2570610.2891 | 1110426.5434 | 2570606.158 | 1110431.8995 | 2570598.1067 | 1110439.8983 | 2570591.129 | 1110444.6124 | 2570587.9325 | 1110446.2298
37 | 2570617.0009 | 1110376.6634 | 2570618.5594 | 1110382.5365 | 2570619.2416 | 1110387.7692 | 2570619.4922 | 1110393.2152 | 2570618.2136 | 1110400.4139 | 2570616.0656 | 1110408.3728 | 2570614.6655 | 1110412.8486 | 2570616.4937 | 1110415.3743
38 | 2570750.1705 | 1110403.9759 | 2570746.843 | 1110391.808 | 2570740.1111 | 1110369.1403 | 2570735.5201 | 1110356.1448 | 2570733.2335 | 1110350.0499

## bus_geodata
| x | y | coords
0 | 2570631.9514 | 1110530.6019
1 | 2570639.1284 | 1110514.4366
2 | 2570742.5282 | 1110673.6269
3 | 2570732.4214 | 1110679.1138
4 | 2570750.9072 | 1110712.6061
5 | 2570722.6933 | 1110684.7175
6 | 2570755.5275 | 1110696.5979
7 | 2570781.4227 | 1110684.4443
8 | 2570770.2507 | 1110650.7525
9 | 2570570.7252 | 1110613.4526
10 | 2570650.7819 | 1110581.514
11 | 2570546.7048 | 1110501.3573
12 | 2570659.263 | 1110592.0337
13 | 2570517.4357 | 1110533.1383
14 | 2570561.2093 | 1110452.3953
15 | 2570687.3197 | 1110475.8833
16 | 2570665.2955 | 1110529.6058
17 | 2570682.0882 | 1110498.1088
18 | 2570695.7362 | 1110493.7849
19 | 2570696.4938 | 1110462.1534
20 | 2570712.0062 | 1110383.1588
21 | 2570713.4801 | 1110371.6149
22 | 2570710.993 | 1110368.6366
23 | 2570726.9742 | 1110274.8451
24 | 2570732.3115 | 1110309.5105
25 | 2570756.7891 | 1110487.1384
26 | 2570772.1205 | 1110462.566
27 | 2570735.1106 | 1110533.2474
28 | 2570762.6101 | 1110440.3025
29 | 2570750.847 | 1110406.4627
30 | 2570620.9799 | 1110410.7687
31 | 2570634.4113 | 1110365.5208
32 | 2570616.4937 | 1110415.3743
33 | 2570587.9325 | 1110446.2298
34 | 2570617.0009 | 1110376.6634
35 | 2570647.6129 | 1110605.1746
36 | 2570733.2335 | 1110350.0499
37 | 2570750.1705 | 1110403.9759
38 | 2570755.9384 | 1110372.7766
39 | 2570784.9829 | 1110692.0754
40 | 2570687.3197 | 1110475.8833

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1