## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6217-33_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6217-33_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6217-33_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6217-33_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6217-33_0_4_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_6217-33_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_6217-33_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6217-33_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_6217-33_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_6217-33_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6217-33_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6217-33_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6217-33_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6217-33_0_4_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_6217-33_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6217-33_0_4_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_6217-33_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_6217-33_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6217-33_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6217-33_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_6217-33_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6217-33_0_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_6217-33_0_4_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_6217-33_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_6217-33_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6217-33_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_6217-33_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_6217-33_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6217-33_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6217-33_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6217-33_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_6217-33_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_6217-33_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_6217-33_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_6217-33_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_6217-33_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6217-33_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_6217-33_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6217-33_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6217-33_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_6217-33_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6217-33_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_MV_110_1_node_274 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6217-33_0_4_load_0 | 0 | 0.035176 | 0.0088159 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6217-33_0_4_load_4 | 3 | 0.019379 | 0.0048568 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6217-33_0_4_load_16 | 4 | 0.017317 | 0.00434 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6217-33_0_4_load_19 | 8 | 0.0080541 | 0.0020185 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6217-33_0_4_load_15 | 10 | 0.013474 | 0.0033769 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6217-33_0_4_load_14 | 11 | 0.048871 | 0.012248 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6217-33_0_4_load_44 | 13 | 0.0075355 | 0.0018886 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6217-33_0_4_load_38 | 15 | 0.0023348 | 0.00058516 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6217-33_0_4_load_37 | 16 | 0.011456 | 0.0028712 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6217-33_0_4_load_40 | 19 | 0.0054986 | 0.0013781 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6217-33_0_4_load_35 | 22 | 0.000994 | 0.00024912 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6217-33_0_4_load_23 | 23 | 0.0010766 | 0.00026983 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6217-33_0_4_load_18 | 24 | 0.018991 | 0.0047596 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6217-33_0_4_load_39 | 25 | 0.0030595 | 0.00076679 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6217-33_0_4_load_42 | 26 | 0.0030507 | 0.00076459 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6217-33_0_4_load_20 | 27 | 0.0088812 | 0.0022258 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6217-33_0_4_load_21 | 28 | 0.0039634 | 0.00099333 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6217-33_0_4_load_22 | 29 | 0.0093073 | 0.0023326 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6217-33_0_4_load_24 | 30 | 0.0074391 | 0.0018644 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6217-33_0_4_load_34 | 31 | 0.0016267 | 0.00040768 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6217-33_0_4_load_29 | 32 | 0.0016279 | 0.000408 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6217-33_0_4_load_25 | 33 | 0.0020185 | 0.0005059 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6217-33_0_4_load_26 | 34 | 0.00036199 | 9.0724e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6217-33_0_4_load_27 | 35 | 0.00091941 | 0.00023042 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6217-33_0_4_load_28 | 36 | 0.00026411 | 6.6192e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6217-33_0_4_load_31 | 38 | 0.001664 | 0.00041704 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6217-33_0_4_load_43 | 41 | 0.00093027 | 0.00023315 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6217-33_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6217-33_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6217-33_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0097367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6217-33_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6217-33_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6217-33_0_4_line_5 | NAYY 4x150 SE | 5 | 24 | 0.018032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_6217-33_0_4_line_6 | NAYY 4x150 SE | 5 | 10 | 0.01503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_6217-33_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.011966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_6217-33_0_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.020268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_6217-33_0_4_line_9 | NAYY 4x150 SE | 7 | 17 | 0.43841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_6217-33_0_4_line_10 | NAYY 4x150 SE | 7 | 12 | 0.44669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6217-33_0_4_line_11 | NAYY 4x150 SE | 8 | 24 | 0.018184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6217-33_0_4_line_12 | NAYY 4x150 SE | 9 | 10 | 0.018726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_6217-33_0_4_line_13 | NAYY 4x150 SE | 9 | 11 | 0.028241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6217-33_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.039634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6217-33_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.028506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6217-33_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.034265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6217-33_0_4_line_17 | NAYY 4x150 SE | 15 | 18 | 0.020557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6217-33_0_4_line_18 | NAYY 4x150 SE | 17 | 23 | 0.024671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_6217-33_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.36617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6217-33_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.067634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6217-33_0_4_line_21 | NAYY 4x150 SE | 19 | 25 | 0.019489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6217-33_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.044695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_6217-33_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.013668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_6217-33_0_4_line_24 | NAYY 4x150 SE | 21 | 26 | 0.027113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6217-33_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.024699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6217-33_0_4_line_26 | NAYY 4x150 SE | 26 | 40 | 0.028647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_6217-33_0_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.047093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_6217-33_0_4_line_28 | NAYY 4x150 SE | 28 | 29 | 0.04743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_6217-33_0_4_line_29 | NAYY 4x150 SE | 29 | 30 | 0.063784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_6217-33_0_4_line_30 | NAYY 4x150 SE | 30 | 31 | 0.002937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_6217-33_0_4_line_31 | NAYY 4x150 SE | 31 | 32 | 0.00051327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_6217-33_0_4_line_32 | NAYY 4x150 SE | 32 | 35 | 0.028352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_6217-33_0_4_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0010307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_6217-33_0_4_line_34 | NAYY 4x150 SE | 33 | 35 | 0.013218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_6217-33_0_4_line_35 | NAYY 4x150 SE | 34 | 36 | 0.089083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_6217-33_0_4_line_36 | NAYY 4x150 SE | 36 | 37 | 0.012574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_6217-33_0_4_line_37 | NAYY 4x150 SE | 37 | 38 | 0.053652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6217-33_0_4_line_38 | NAYY 4x150 SE | 37 | 39 | 0.023389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_6217-33_0_4_line_39 | NAYY 4x150 SE | 39 | 41 | 0.030566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6217-33_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.081864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6217-33_0_4_trafo_6 | 0.25 MVA 20/0.4 kV | 42 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45
0 | 2566563.5543 | 1117700.2657 | 2566590.336 | 1117705.5723
1 | 2566563.5543 | 1117700.2657 | 2566560.5584 | 1117718.1135
2 | 2566563.5543 | 1117700.2657 | 2566565.1629 | 1117690.6628
3 | 2566560.5584 | 1117718.1135 | 2566543.5856 | 1117714.9525
4 | 2566567.1702 | 1117678.6792 | 2566565.1629 | 1117690.6628
5 | 2566567.1702 | 1117678.6792 | 2566574.7026 | 1117680.0271 | 2566585.0575 | 1117680.7448
6 | 2566567.1702 | 1117678.6792 | 2566569.6551 | 1117663.8558
7 | 2566621.8628 | 1117679.4104 | 2566624.0514 | 1117667.648
8 | 2566621.8628 | 1117679.4104 | 2566617.806 | 1117678.5102 | 2566610.4276 | 1117678.4843 | 2566606.4891 | 1117682.2302 | 2566603.1984 | 1117682.0021
9 | 2566624.0514 | 1117667.648 | 2566625.3767 | 1117658.8695 | 2566626.5525 | 1117652.382 | 2566629.2126 | 1117637.96 | 2566630.5243 | 1117632.3055 | 2566632.3165 | 1117622.8352 | 2566633.1222 | 1117617.7949 | 2566633.3074 | 1117612.2022 | 2566632.656 | 1117600.4776 | 2566630.8389 | 1117591.4831 | 2566628.6141 | 1117585.5257 | 2566624.8348 | 1117578.9877 | 2566622.6781 | 1117575.5868 | 2566624.3318 | 1117574.5661 | 2566627.5989 | 1117565.2211 | 2566628.3424 | 1117562.9047 | 2566619.8751 | 1117558.5826 | 2566616.9216 | 1117556.2533 | 2566614.2731 | 1117553.2331 | 2566612.0944 | 1117550.0324 | 2566607.8094 | 1117542.7858 | 2566605.8109 | 1117540.0843 | 2566598.0412 | 1117527.9434 | 2566595.3449 | 1117523.267 | 2566593.2948 | 1117518.2203 | 2566592.1488 | 1117513.3686 | 2566591.8243 | 1117507.7231 | 2566592.0638 | 1117503.5752 | 2566593.3394 | 1117498.3878 | 2566595.3909 | 1117493.9297 | 2566597.9203 | 1117489.3579 | 2566602.6549 | 1117483.0063 | 2566630.0937 | 1117449.66 | 2566634.8652 | 1117442.9969 | 2566638.4938 | 1117437.5964 | 2566643.2325 | 1117429.1771 | 2566665.4824 | 1117386.9663 | 2566682.3228 | 1117354.657 | 2566705.0244 | 1117310.2761 | 2566709.4069 | 1117301.6031 | 2566701.4064 | 1117292.4315 | 2566694.1128 | 1117286.8689
10 | 2566372.1967 | 1117562.6695 | 2566373.4154 | 1117559.7724 | 2566378.0845 | 1117548.6185 | 2566379.1584 | 1117546.0557 | 2566382.0649 | 1117533.0107 | 2566385.2604 | 1117527.5012 | 2566390.2293 | 1117524.461 | 2566395.2857 | 1117521.8871 | 2566404.0532 | 1117520.4598 | 2566413.0436 | 1117523.0333 | 2566419.1169 | 1117525.6565 | 2566426.4741 | 1117531.563 | 2566434.7538 | 1117546.5245 | 2566441.4909 | 1117554.7246 | 2566447.8913 | 1117556.501 | 2566459.3104 | 1117557.2602 | 2566483.5588 | 1117561.1609 | 2566551.3097 | 1117575.5149 | 2566556.723 | 1117576.063 | 2566560.2922 | 1117575.2984 | 2566563.649 | 1117573.8235 | 2566566.6923 | 1117571.4721 | 2566568.3104 | 1117568.1948 | 2566572.0259 | 1117540.8938 | 2566573.9317 | 1117536.6033 | 2566579.5946 | 1117537.617 | 2566581.4981 | 1117534.3047 | 2566584.2658 | 1117532.3662 | 2566587.3596 | 1117530.7594 | 2566590.5695 | 1117530.6305 | 2566594.9609 | 1117531.9958 | 2566605.425 | 1117548.4574 | 2566619.1201 | 1117570.0037 | 2566622.6781 | 1117575.5868 | 2566624.8348 | 1117578.9877 | 2566628.6141 | 1117585.5257 | 2566630.8389 | 1117591.4831 | 2566632.656 | 1117600.4776 | 2566633.3074 | 1117612.2022 | 2566633.1222 | 1117617.7949 | 2566632.3165 | 1117622.8352 | 2566630.5243 | 1117632.3055 | 2566629.2126 | 1117637.96 | 2566626.5525 | 1117652.382 | 2566625.3767 | 1117658.8695 | 2566624.0514 | 1117667.648
11 | 2566585.0575 | 1117680.7448 | 2566603.1984 | 1117682.0021
12 | 2566572.7511 | 1117645.3871 | 2566569.6551 | 1117663.8558
13 | 2566572.7511 | 1117645.3871 | 2566596.747 | 1117649.7565 | 2566600.3943 | 1117650.9914
14 | 2566393.2218 | 1117587.8541 | 2566394.9732 | 1117582.2193 | 2566395.3871 | 1117576.1473 | 2566392.3918 | 1117571.8618 | 2566387.7646 | 1117568.3413 | 2566381.5195 | 1117566.7419 | 2566377.5556 | 1117564.5295 | 2566372.1967 | 1117562.6695
15 | 2566384.8824 | 1117167.0878 | 2566391.2455 | 1117162.0943 | 2566394.1544 | 1117160.5329 | 2566397.5529 | 1117159.5691 | 2566401.9422 | 1117159.1222 | 2566411.082 | 1117158.3579
16 | 2566384.8824 | 1117167.0878 | 2566382.1269 | 1117157.3871 | 2566380.3645 | 1117143.0563 | 2566378.9472 | 1117133.4185
17 | 2566427.3075 | 1117147.0306 | 2566427.0048 | 1117148.1217 | 2566426.5092 | 1117149.2139 | 2566425.1964 | 1117150.4885 | 2566419.5074 | 1117154.5667 | 2566415.8702 | 1117157.0326 | 2566412.4808 | 1117158.2409 | 2566411.082 | 1117158.3579
18 | 2566694.1128 | 1117286.8689 | 2566705.2494 | 1117264.854
19 | 2566694.1128 | 1117286.8689 | 2566701.4064 | 1117292.4315 | 2566709.4069 | 1117301.6031 | 2566705.0244 | 1117310.2761 | 2566687.8319 | 1117302.5892 | 2566670.6174 | 1117299.3047 | 2566649.5596 | 1117294.7075 | 2566621.8759 | 1117289.48 | 2566609.1155 | 1117286.3267 | 2566601.3104 | 1117284.5912 | 2566597.1795 | 1117281.5125 | 2566593.0335 | 1117277.0998 | 2566589.0978 | 1117270.2404 | 2566583.3614 | 1117258.7885 | 2566576.178 | 1117248.0673 | 2566571.199 | 1117242.3697 | 2566560.9457 | 1117230.6317 | 2566552.6545 | 1117220.5836 | 2566533.6532 | 1117205.5368 | 2566515.2577 | 1117189.7752 | 2566508.0966 | 1117183.1115 | 2566507.5236 | 1117182.7812 | 2566501.9023 | 1117179.5885 | 2566496.8796 | 1117177.1818 | 2566487.0074 | 1117172.9567 | 2566464.0782 | 1117162.2674 | 2566439.3635 | 1117151.1546 | 2566431.3331 | 1117147.8086 | 2566427.3075 | 1117147.0306
20 | 2566427.3075 | 1117147.0306 | 2566430.4758 | 1117086.6269 | 2566430.7344 | 1117079.484
21 | 2566431.4393 | 1117060.0081 | 2566430.7344 | 1117079.484
22 | 2566753.8363 | 1117208.189 | 2566735.2118 | 1117248.8343
23 | 2566735.2118 | 1117248.8343 | 2566729.7032 | 1117246.4523 | 2566723.0101 | 1117249.0349 | 2566722.556 | 1117249.2241
24 | 2566753.8363 | 1117208.189 | 2566745.8541 | 1117203.7529 | 2566741.5272 | 1117200.1082 | 2566739.4689 | 1117187.9579
25 | 2566722.556 | 1117249.2241 | 2566716.195 | 1117251.8739 | 2566710.3145 | 1117254.8412 | 2566705.2494 | 1117264.854
26 | 2566740.3148 | 1117159.3721 | 2566740.7262 | 1117173.7993 | 2566739.4689 | 1117187.9579
27 | 2566644.8986 | 1117234.0902 | 2566644.9327 | 1117233.969 | 2566645.942 | 1117222.4688 | 2566644.5599 | 1117215.395 | 2566640.9231 | 1117212.3469 | 2566633.536 | 1117209.4418 | 2566618.6586 | 1117208.7236 | 2566618.0219 | 1117208.7081
28 | 2566596.4022 | 1117179.4362 | 2566594.9787 | 1117192.0239 | 2566595.02 | 1117199.5052 | 2566597.0549 | 1117204.5743 | 2566605.2499 | 1117208.3976 | 2566618.0219 | 1117208.7081
29 | 2566603.199 | 1117116.0541 | 2566600.6689 | 1117130.9393 | 2566596.6417 | 1117177.3183 | 2566596.4022 | 1117179.4362
30 | 2566603.199 | 1117116.0541 | 2566603.6912 | 1117113.1586
31 | 2566603.6912 | 1117113.1586 | 2566603.7772 | 1117112.6526
32 | 2566614.9022 | 1117087.4516 | 2566614.1031 | 1117088.388 | 2566608.112 | 1117095.1023 | 2566605.2139 | 1117104.2007 | 2566603.7772 | 1117112.6526
33 | 2566622.358 | 1117075.683 | 2566621.5466 | 1117076.3185 | 2566621.5466 | 1117076.3185
34 | 2566614.9022 | 1117087.4516 | 2566619.8318 | 1117081.6752 | 2566621.5466 | 1117076.3185
35 | 2566622.358 | 1117075.683 | 2566626.3499 | 1117072.5568 | 2566633.8477 | 1117071.7149 | 2566651.693 | 1117075.8851 | 2566684.1404 | 1117078.3852 | 2566706.7982 | 1117079.0606 | 2566709.7267 | 1117078.9646
36 | 2566722.2944 | 1117078.5527 | 2566709.7267 | 1117078.9646
37 | 2566722.2944 | 1117078.5527 | 2566721.6855 | 1117075.9214 | 2566718.0303 | 1117047.127 | 2566715.2088 | 1117025.3837
38 | 2566722.2944 | 1117078.5527 | 2566722.7136 | 1117080.3958 | 2566725.4273 | 1117079.8028 | 2566732.9496 | 1117080.5951 | 2566738.7079 | 1117082.0419 | 2566743.0845 | 1117084.8859
39 | 2566743.0845 | 1117084.8859 | 2566744.0376 | 1117077.1434 | 2566740.4519 | 1117054.6628
40 | 2566743.0845 | 1117084.8859 | 2566746.3631 | 1117090.1483 | 2566750.3566 | 1117107.5128 | 2566752.6743 | 1117123.3192 | 2566753.4107 | 1117139.3121 | 2566752.2484 | 1117146.9112 | 2566749.1293 | 1117153.7652 | 2566745.5289 | 1117157.309 | 2566740.3148 | 1117159.3721

## bus_geodata
| x | y | coords
0 | 2566590.336 | 1117705.5723
1 | 2566563.5543 | 1117700.2657
2 | 2566560.5584 | 1117718.1135
3 | 2566565.1629 | 1117690.6628
4 | 2566543.5856 | 1117714.9525
5 | 2566567.1702 | 1117678.6792
6 | 2566621.8628 | 1117679.4104
7 | 2566624.0514 | 1117667.648
8 | 2566603.1984 | 1117682.0021
9 | 2566572.7511 | 1117645.3871
10 | 2566569.6551 | 1117663.8558
11 | 2566600.3943 | 1117650.9914
12 | 2566372.1967 | 1117562.6695
13 | 2566393.2218 | 1117587.8541
14 | 2566384.8824 | 1117167.0878
15 | 2566411.082 | 1117158.3579
16 | 2566378.9472 | 1117133.4185
17 | 2566694.1128 | 1117286.8689
18 | 2566427.3075 | 1117147.0306
19 | 2566430.7344 | 1117079.484
20 | 2566735.2118 | 1117248.8343
21 | 2566753.8363 | 1117208.189
22 | 2566722.556 | 1117249.2241
23 | 2566705.2494 | 1117264.854
24 | 2566585.0575 | 1117680.7448
25 | 2566431.4393 | 1117060.0081
26 | 2566739.4689 | 1117187.9579
27 | 2566644.8986 | 1117234.0902
28 | 2566618.0219 | 1117208.7081
29 | 2566596.4022 | 1117179.4362
30 | 2566603.199 | 1117116.0541
31 | 2566603.6912 | 1117113.1586
32 | 2566603.7772 | 1117112.6526
33 | 2566621.5466 | 1117076.3185
34 | 2566622.358 | 1117075.683
35 | 2566614.9022 | 1117087.4516
36 | 2566709.7267 | 1117078.9646
37 | 2566722.2944 | 1117078.5527
38 | 2566715.2088 | 1117025.3837
39 | 2566743.0845 | 1117084.8859
40 | 2566740.3148 | 1117159.3721
41 | 2566740.4519 | 1117054.6628
42 | 2566567.1702 | 1117678.6792

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1