## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6217-41_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6217-41_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6217-41_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6217-41_0_5_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_6217-41_0_5_node_77 | 0.4 | n |  | TRUE
5 | bus_LV_6217-41_0_5_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_6217-41_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6217-41_0_5_node_99 | 0.4 | n |  | TRUE
8 | bus_LV_6217-41_0_5_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_6217-41_0_5_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_6217-41_0_5_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_6217-41_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6217-41_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6217-41_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6217-41_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6217-41_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6217-41_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_6217-41_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6217-41_0_5_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_6217-41_0_5_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_6217-41_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6217-41_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6217-41_0_5_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_6217-41_0_5_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_6217-41_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6217-41_0_5_node_98 | 0.4 | n |  | TRUE
26 | bus_LV_6217-41_0_5_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_6217-41_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6217-41_0_5_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_6217-41_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6217-41_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6217-41_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6217-41_0_5_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_6217-41_0_5_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_6217-41_0_5_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6217-41_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_6217-41_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_6217-41_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6217-41_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6217-41_0_5_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6217-41_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_6217-41_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_6217-41_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_6217-41_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6217-41_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6217-41_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6217-41_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_6217-41_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6217-41_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6217-41_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_6217-41_0_5_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_6217-41_0_5_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_6217-41_0_5_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_6217-41_0_5_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_6217-41_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_6217-41_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6217-41_0_5_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_6217-41_0_5_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_6217-41_0_5_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6217-41_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_6217-41_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6217-41_0_5_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_6217-41_0_5_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_6217-41_0_5_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_6217-41_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_6217-41_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_6217-41_0_5_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_6217-41_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_6217-41_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_6217-41_0_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6217-41_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6217-41_0_5_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_6217-41_0_5_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_6217-41_0_5_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_6217-41_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_6217-41_0_5_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_6217-41_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_6217-41_0_5_node_93 | 0.4 | n |  | TRUE
78 | bus_LV_6217-41_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_6217-41_0_5_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_6217-41_0_5_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_6217-41_0_5_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_6217-41_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_6217-41_0_5_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_6217-41_0_5_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_6217-41_0_5_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_6217-41_0_5_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_6217-41_0_5_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_6217-41_0_5_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_6217-41_0_5_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_6217-41_0_5_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_6217-41_0_5_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_6217-41_0_5_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_6217-41_0_5_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_6217-41_0_5_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_6217-41_0_5_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_6217-41_0_5_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_6217-41_0_5_node_88 | 0.4 | n |  | TRUE
98 | bus_MV_110_2_node_276 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6217-41_0_5_load_0 | 0 | 0.0052633 | 0.0013191 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6217-41_0_5_load_1 | 1 | 0.002784 | 0.00069772 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6217-41_0_5_load_91 | 5 | 0.0061074 | 0.0015306 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6217-41_0_5_load_99 | 7 | 0.0017607 | 0.00044127 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6217-41_0_5_load_3 | 9 | 0.0050379 | 0.0012626 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6217-41_0_5_load_4 | 10 | 0.0054123 | 0.0013565 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6217-41_0_5_load_12 | 14 | 0.0027804 | 0.00069683 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6217-41_0_5_load_10 | 15 | 0.0059582 | 0.0014933 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6217-41_0_5_load_15 | 17 | 0.0024952 | 0.00062536 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6217-41_0_5_load_90 | 18 | 0.002541 | 0.00063685 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6217-41_0_5_load_11 | 21 | 0.010222 | 0.002562 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6217-41_0_5_load_96 | 22 | 0.012601 | 0.0031582 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6217-41_0_5_load_16 | 24 | 0.0028714 | 0.00071965 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6217-41_0_5_load_98 | 25 | 0.0061043 | 0.0015299 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6217-41_0_5_load_89 | 28 | 0.0071325 | 0.0017876 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6217-41_0_5_load_17 | 29 | 0.0021579 | 0.00054081 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6217-41_0_5_load_22 | 30 | 0.0024946 | 0.00062521 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6217-41_0_5_load_20 | 31 | 0.0027657 | 0.00069315 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6217-41_0_5_load_33 | 34 | 0.0017018 | 0.0004265 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6217-41_0_5_load_19 | 35 | 0.0031403 | 0.00078703 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6217-41_0_5_load_21 | 36 | 0.0018583 | 0.00046573 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6217-41_0_5_load_23 | 37 | 0.0022357 | 0.00056032 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6217-41_0_5_load_30 | 38 | 0.0022019 | 0.00055185 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6217-41_0_5_load_31 | 39 | 0.0028492 | 0.00071407 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6217-41_0_5_load_24 | 40 | 0.0024263 | 0.00060809 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6217-41_0_5_load_25 | 41 | 0.0034723 | 0.00087024 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6217-41_0_5_load_26 | 42 | 0.0018114 | 0.00045399 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6217-41_0_5_load_27 | 43 | 0.0016447 | 0.00041221 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6217-41_0_5_load_28 | 44 | 0.001715 | 0.00042981 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6217-41_0_5_load_29 | 45 | 0.0033423 | 0.00083765 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6217-41_0_5_load_32 | 47 | 0.0014705 | 0.00036854 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6217-41_0_5_load_34 | 48 | 0.003257 | 0.00081628 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6217-41_0_5_load_36 | 49 | 0.002908 | 0.00072881 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6217-41_0_5_load_97 | 50 | 0.0013655 | 0.00034224 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6217-41_0_5_load_37 | 52 | 0.0075528 | 0.0018929 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6217-41_0_5_load_40 | 54 | 0.0016701 | 0.00041858 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6217-41_0_5_load_42 | 55 | 0.0023742 | 0.00059502 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6217-41_0_5_load_57 | 56 | 0.0025005 | 0.00062668 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6217-41_0_5_load_56 | 58 | 0.0022048 | 0.00055258 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6217-41_0_5_load_50 | 59 | 0.0015103 | 0.00037851 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6217-41_0_5_load_51 | 60 | 0.0017688 | 0.0004433 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6217-41_0_5_load_62 | 61 | 0.0013657 | 0.00034229 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6217-41_0_5_load_44 | 62 | 0.001762 | 0.00044161 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6217-41_0_5_load_46 | 64 | 0.0017702 | 0.00044366 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6217-41_0_5_load_47 | 65 | 0.0021627 | 0.00054202 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6217-41_0_5_load_48 | 66 | 0.0013657 | 0.00034229 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6217-41_0_5_load_61 | 67 | 0.0013648 | 0.00034206 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6217-41_0_5_load_64 | 68 | 0.0017402 | 0.00043614 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6217-41_0_5_load_65 | 69 | 0.0013655 | 0.00034224 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6217-41_0_5_load_60 | 70 | 0.0014521 | 0.00036393 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6217-41_0_5_load_54 | 71 | 0.0013656 | 0.00034226 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6217-41_0_5_load_52 | 72 | 0.0017046 | 0.00042721 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6217-41_0_5_load_53 | 73 | 0.0022728 | 0.00056963 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6217-41_0_5_load_55 | 74 | 0.0024374 | 0.00061088 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6217-41_0_5_load_59 | 75 | 0.0024852 | 0.00062285 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6217-41_0_5_load_58 | 76 | 0.0015912 | 0.00039879 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6217-41_0_5_load_93 | 77 | 0.0061965 | 0.001553 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6217-41_0_5_load_66 | 78 | 0.0013315 | 0.00033371 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6217-41_0_5_load_67 | 79 | 0.0056332 | 0.0014118 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6217-41_0_5_load_72 | 82 | 0.0028058 | 0.00070319 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6217-41_0_5_load_70 | 83 | 0.0045381 | 0.0011374 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6217-41_0_5_load_74 | 84 | 0.005136 | 0.0012872 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6217-41_0_5_load_75 | 85 | 0.0022894 | 0.00057378 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6217-41_0_5_load_80 | 88 | 0.0056169 | 0.0014077 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6217-41_0_5_load_83 | 90 | 0.0025471 | 0.00063837 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6217-41_0_5_load_79 | 91 | 0.0043132 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6217-41_0_5_load_81 | 92 | 0.0065336 | 0.0016375 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6217-41_0_5_load_87 | 93 | 0.0021098 | 0.00052877 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6217-41_0_5_load_85 | 95 | 0.0015761 | 0.00039501 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6217-41_0_5_load_94 | 96 | 0.0029163 | 0.0007309 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6217-41_0_5_load_88 | 97 | 0.0043938 | 0.0011012 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6217-41_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.039189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6217-41_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.015217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6217-41_0_5_line_2 | NAYY 4x150 SE | 2 | 3 | 0.022146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6217-41_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6217-41_0_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.031027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6217-41_0_5_line_5 | NAYY 4x150 SE | 3 | 6 | 0.042114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6217-41_0_5_line_6 | NAYY 4x150 SE | 4 | 7 | 0.022587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6217-41_0_5_line_7 | NAYY 4x150 SE | 4 | 8 | 0.018084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6217-41_0_5_line_8 | NAYY 4x150 SE | 6 | 12 | 0.025501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6217-41_0_5_line_9 | NAYY 4x150 SE | 6 | 13 | 0.024616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6217-41_0_5_line_10 | NAYY 4x150 SE | 6 | 9 | 0.064717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6217-41_0_5_line_11 | NAYY 4x150 SE | 8 | 86 | 0.005905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6217-41_0_5_line_12 | NAYY 4x150 SE | 8 | 85 | 0.035461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6217-41_0_5_line_13 | NAYY 4x150 SE | 9 | 10 | 0.030887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6217-41_0_5_line_14 | NAYY 4x150 SE | 10 | 11 | 0.026441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6217-41_0_5_line_15 | NAYY 4x150 SE | 11 | 14 | 0.020605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6217-41_0_5_line_16 | NAYY 4x150 SE | 11 | 15 | 0.015772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6217-41_0_5_line_17 | NAYY 4x150 SE | 12 | 16 | 0.015152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6217-41_0_5_line_18 | NAYY 4x150 SE | 12 | 17 | 0.011099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6217-41_0_5_line_19 | NAYY 4x150 SE | 13 | 18 | 0.031415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6217-41_0_5_line_20 | NAYY 4x150 SE | 13 | 19 | 0.003808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6217-41_0_5_line_21 | NAYY 4x150 SE | 14 | 20 | 0.015963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6217-41_0_5_line_22 | NAYY 4x150 SE | 15 | 21 | 0.034406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6217-41_0_5_line_23 | NAYY 4x150 SE | 16 | 22 | 0.017378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6217-41_0_5_line_24 | NAYY 4x150 SE | 16 | 23 | 0.012633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6217-41_0_5_line_25 | NAYY 4x150 SE | 17 | 24 | 0.0010892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6217-41_0_5_line_26 | NAYY 4x150 SE | 19 | 25 | 0.013392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6217-41_0_5_line_27 | NAYY 4x150 SE | 19 | 26 | 0.018671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6217-41_0_5_line_28 | NAYY 4x150 SE | 20 | 27 | 0.075022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6217-41_0_5_line_29 | NAYY 4x150 SE | 23 | 32 | 0.010203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6217-41_0_5_line_30 | NAYY 4x150 SE | 23 | 33 | 0.018732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6217-41_0_5_line_31 | NAYY 4x150 SE | 23 | 34 | 0.010968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6217-41_0_5_line_32 | NAYY 4x150 SE | 24 | 29 | 0.012008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6217-41_0_5_line_33 | NAYY 4x150 SE | 26 | 84 | 0.016674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6217-41_0_5_line_34 | NAYY 4x150 SE | 26 | 83 | 0.02208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6217-41_0_5_line_35 | NAYY 4x150 SE | 27 | 28 | 0.05542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6217-41_0_5_line_36 | NAYY 4x150 SE | 29 | 30 | 0.0024742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6217-41_0_5_line_37 | NAYY 4x150 SE | 30 | 31 | 0.01394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6217-41_0_5_line_38 | NAYY 4x150 SE | 31 | 35 | 0.00034379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6217-41_0_5_line_39 | NAYY 4x150 SE | 32 | 50 | 0.009685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6217-41_0_5_line_40 | NAYY 4x150 SE | 32 | 51 | 0.014094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6217-41_0_5_line_41 | NAYY 4x150 SE | 33 | 46 | 0.014655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6217-41_0_5_line_42 | NAYY 4x150 SE | 33 | 44 | 0.011888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6217-41_0_5_line_43 | NAYY 4x150 SE | 34 | 47 | 0.016536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6217-41_0_5_line_44 | NAYY 4x150 SE | 35 | 36 | 0.013655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6217-41_0_5_line_45 | NAYY 4x150 SE | 36 | 37 | 0.0082191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6217-41_0_5_line_46 | NAYY 4x150 SE | 37 | 38 | 0.0074522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6217-41_0_5_line_47 | NAYY 4x150 SE | 38 | 39 | 0.0092047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6217-41_0_5_line_48 | NAYY 4x150 SE | 40 | 41 | 0.016934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6217-41_0_5_line_49 | NAYY 4x150 SE | 40 | 42 | 0.015707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6217-41_0_5_line_50 | NAYY 4x150 SE | 41 | 43 | 0.012574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6217-41_0_5_line_51 | NAYY 4x150 SE | 42 | 44 | 0.012686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6217-41_0_5_line_52 | NAYY 4x150 SE | 43 | 45 | 0.0038583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6217-41_0_5_line_53 | NAYY 4x150 SE | 46 | 55 | 0.015089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6217-41_0_5_line_54 | NAYY 4x150 SE | 46 | 52 | 0.01917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6217-41_0_5_line_55 | NAYY 4x150 SE | 47 | 48 | 0.030883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6217-41_0_5_line_56 | NAYY 4x150 SE | 48 | 49 | 0.0020639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6217-41_0_5_line_57 | NAYY 4x150 SE | 51 | 61 | 0.0055563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6217-41_0_5_line_58 | NAYY 4x150 SE | 52 | 53 | 0.011957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6217-41_0_5_line_59 | NAYY 4x150 SE | 53 | 54 | 0.010874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6217-41_0_5_line_60 | NAYY 4x150 SE | 54 | 56 | 0.0083395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6217-41_0_5_line_61 | NAYY 4x150 SE | 55 | 57 | 0.0076953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6217-41_0_5_line_62 | NAYY 4x150 SE | 56 | 58 | 0.0044412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6217-41_0_5_line_63 | NAYY 4x150 SE | 57 | 59 | 0.0065303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6217-41_0_5_line_64 | NAYY 4x150 SE | 57 | 60 | 0.011889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6217-41_0_5_line_65 | NAYY 4x150 SE | 58 | 76 | 0.011131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6217-41_0_5_line_66 | NAYY 4x150 SE | 59 | 70 | 0.00037585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6217-41_0_5_line_67 | NAYY 4x150 SE | 60 | 71 | 0.01086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6217-41_0_5_line_68 | NAYY 4x150 SE | 61 | 67 | 0.014642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6217-41_0_5_line_69 | NAYY 4x150 SE | 62 | 63 | 0.0010155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6217-41_0_5_line_70 | NAYY 4x150 SE | 62 | 64 | 0.0010296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6217-41_0_5_line_71 | NAYY 4x150 SE | 63 | 65 | 0.013509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6217-41_0_5_line_72 | NAYY 4x150 SE | 63 | 66 | 0.010762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6217-41_0_5_line_73 | NAYY 4x150 SE | 65 | 67 | 0.0069989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6217-41_0_5_line_74 | NAYY 4x150 SE | 66 | 68 | 0.00035277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6217-41_0_5_line_75 | NAYY 4x150 SE | 68 | 69 | 0.01376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6217-41_0_5_line_76 | NAYY 4x150 SE | 69 | 77 | 0.051873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6217-41_0_5_line_77 | NAYY 4x150 SE | 71 | 72 | 0.020296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6217-41_0_5_line_78 | NAYY 4x150 SE | 73 | 74 | 0.0045273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6217-41_0_5_line_79 | NAYY 4x150 SE | 74 | 75 | 0.015208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6217-41_0_5_line_80 | NAYY 4x150 SE | 75 | 76 | 0.0015773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6217-41_0_5_line_81 | NAYY 4x150 SE | 78 | 79 | 0.0017179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6217-41_0_5_line_82 | NAYY 4x150 SE | 78 | 80 | 0.018759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6217-41_0_5_line_83 | NAYY 4x150 SE | 80 | 81 | 0.047119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6217-41_0_5_line_84 | NAYY 4x150 SE | 81 | 82 | 0.024231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6217-41_0_5_line_85 | NAYY 4x150 SE | 81 | 83 | 0.010244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6217-41_0_5_line_86 | NAYY 4x150 SE | 86 | 87 | 0.043455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6217-41_0_5_line_87 | NAYY 4x150 SE | 86 | 88 | 0.01876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6217-41_0_5_line_88 | NAYY 4x150 SE | 87 | 89 | 0.018783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6217-41_0_5_line_89 | NAYY 4x150 SE | 87 | 90 | 0.0033323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6217-41_0_5_line_90 | NAYY 4x150 SE | 88 | 91 | 0.0010638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_6217-41_0_5_line_91 | NAYY 4x150 SE | 89 | 93 | 0.0084152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_6217-41_0_5_line_92 | NAYY 4x150 SE | 90 | 94 | 0.023837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_6217-41_0_5_line_93 | NAYY 4x150 SE | 91 | 92 | 0.011581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_6217-41_0_5_line_94 | NAYY 4x150 SE | 93 | 97 | 0.0015063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_6217-41_0_5_line_95 | NAYY 4x150 SE | 94 | 95 | 0.021905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_6217-41_0_5_line_96 | NAYY 4x150 SE | 94 | 96 | 0.24028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6217-41_0_5_trafo_5 | 0.25 MVA 20/0.4 kV | 98 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2567323.4066 | 1116191.4885 | 2567327.1702 | 1116192.7702 | 2567331.7669 | 1116193.4123 | 2567338.3779 | 1116193.9546 | 2567346.1443 | 1116196.8697 | 2567354.5936 | 1116201.8821 | 2567359.8957 | 1116204.2799
1 | 2567372.7909 | 1116212.2446 | 2567364.3829 | 1116206.3092 | 2567359.8957 | 1116204.2799
2 | 2567372.7909 | 1116212.2446 | 2567361.1589 | 1116231.1058
3 | 2567381.2931 | 1116198.4695 | 2567372.7909 | 1116212.2446
4 | 2567361.1589 | 1116231.1058 | 2567374.2455 | 1116238.5723 | 2567382.4788 | 1116240.7734 | 2567386.1784 | 1116239.6973 | 2567388.6884 | 1116237.0379
5 | 2567339.0431 | 1116266.9768 | 2567361.1589 | 1116231.1058
6 | 2567381.2931 | 1116198.4695 | 2567401.9089 | 1116207.8296
7 | 2567390.79 | 1116183.066 | 2567381.2931 | 1116198.4695
8 | 2567339.0431 | 1116266.9768 | 2567325.992 | 1116288.9029
9 | 2567339.0431 | 1116266.9768 | 2567345.3207 | 1116270.1222 | 2567361.0732 | 1116278.0856
10 | 2567339.0431 | 1116266.9768 | 2567278.6004 | 1116243.8486
11 | 2567393.8894 | 1116178.0356 | 2567390.79 | 1116183.066
12 | 2567390.79 | 1116183.066 | 2567422.5522 | 1116198.8335
13 | 2567278.6004 | 1116243.8486 | 2567266.6527 | 1116239.2768 | 2567249.8695 | 1116232.5135
14 | 2567225.4994 | 1116222.258 | 2567245.8568 | 1116230.8964 | 2567249.8695 | 1116232.5135
15 | 2567225.4994 | 1116222.258 | 2567223.8049 | 1116221.5446 | 2567206.8088 | 1116213.5873
16 | 2567225.4994 | 1116222.258 | 2567233.1295 | 1116208.4548
17 | 2567325.992 | 1116288.9029 | 2567318.2349 | 1116301.9292
18 | 2567325.992 | 1116288.9029 | 2567322.9116 | 1116287.4188 | 2567315.8899 | 1116284.3083
19 | 2567361.0732 | 1116278.0856 | 2567355.1815 | 1116290.646 | 2567370.8033 | 1116298.7212
20 | 2567361.0732 | 1116278.0856 | 2567364.5096 | 1116279.7456
21 | 2567192.3521 | 1116206.819 | 2567206.8088 | 1116213.5873
22 | 2567256.2235 | 1116193.7325 | 2567245.8699 | 1116189.1975 | 2567234.7571 | 1116205.5104 | 2567233.1295 | 1116208.4548
23 | 2567318.2349 | 1116301.9292 | 2567334.655 | 1116307.7545
24 | 2567311.7706 | 1116312.7919 | 2567318.2349 | 1116301.9292
25 | 2567314.894 | 1116283.8672 | 2567315.8899 | 1116284.3083
26 | 2567370.8222 | 1116267.9278 | 2567364.5096 | 1116279.7456
27 | 2567364.5096 | 1116279.7456 | 2567373.9454 | 1116284.4748 | 2567381.2371 | 1116288.1373
28 | 2567192.3521 | 1116206.819 | 2567234.8994 | 1116144.9568
29 | 2567311.7706 | 1116312.7919 | 2567311.1356 | 1116313.8514 | 2567319.4599 | 1116317.1859
30 | 2567302.1852 | 1116328.8852 | 2567311.1356 | 1116313.8514 | 2567311.7706 | 1116312.7919
31 | 2567311.7706 | 1116312.7919 | 2567308.2558 | 1116310.9211 | 2567301.9694 | 1116307.8737
32 | 2567303.9152 | 1116279.0038 | 2567314.894 | 1116283.8672
33 | 2567388.4818 | 1116273.1128 | 2567381.2371 | 1116288.1373
34 | 2567381.2371 | 1116288.1373 | 2567400.9802 | 1116298.0239
35 | 2567234.8994 | 1116144.9568 | 2567262.7629 | 1116163.9821 | 2567279.6913 | 1116175.1849 | 2567280.8735 | 1116175.8994
36 | 2567303.9152 | 1116279.0038 | 2567301.653 | 1116278.0017
37 | 2567301.653 | 1116278.0017 | 2567294.9459 | 1116275.0305 | 2567288.8609 | 1116272.4646
38 | 2567288.5441 | 1116272.331 | 2567288.8609 | 1116272.4646
39 | 2567319.4599 | 1116317.1859 | 2567314.9441 | 1116325.7591
40 | 2567319.4599 | 1116317.1859 | 2567332.5807 | 1116322.4287
41 | 2567302.1852 | 1116328.8852 | 2567294.6883 | 1116341.4877
42 | 2567302.1852 | 1116328.8852 | 2567292.571 | 1116323.9904 | 2567291.5678 | 1116323.5402
43 | 2567287.0549 | 1116300.7356 | 2567288.7513 | 1116301.4663 | 2567301.9694 | 1116307.8737
44 | 2567275.9621 | 1116267.0253 | 2567288.5441 | 1116272.331
45 | 2567268.3888 | 1116263.8318 | 2567275.9621 | 1116267.0253
46 | 2567261.5221 | 1116260.9362 | 2567268.3888 | 1116263.8318
47 | 2567253.0406 | 1116257.3597 | 2567261.5221 | 1116260.9362
48 | 2567265.6633 | 1116311.9155 | 2567250.214 | 1116304.9826
49 | 2567279.9939 | 1116318.3464 | 2567265.6633 | 1116311.9155
50 | 2567238.7418 | 1116299.8344 | 2567250.214 | 1116304.9826
51 | 2567279.9939 | 1116318.3464 | 2567291.5678 | 1116323.5402
52 | 2567235.2217 | 1116298.2548 | 2567238.7418 | 1116299.8344
53 | 2567294.6883 | 1116341.4877 | 2567308.7461 | 1116346.97
54 | 2567294.6883 | 1116341.4877 | 2567284.8794 | 1116357.9584
55 | 2567287.0549 | 1116300.7356 | 2567258.6906 | 1116288.5185
56 | 2567256.7951 | 1116287.7021 | 2567258.6906 | 1116288.5185
57 | 2567332.5807 | 1116322.4287 | 2567337.7402 | 1116324.4905
58 | 2567278.7611 | 1116368.2319 | 2567284.8794 | 1116357.9584
59 | 2567278.7611 | 1116368.2319 | 2567288.7781 | 1116372.4637
60 | 2567288.7781 | 1116372.4637 | 2567296.4602 | 1116375.7091
61 | 2567315.9155 | 1116349.7659 | 2567308.7461 | 1116346.97
62 | 2567300.5512 | 1116377.4374 | 2567296.4602 | 1116375.7091
63 | 2567315.9155 | 1116349.7659 | 2567318.9206 | 1116343.9682
64 | 2567315.9155 | 1116349.7659 | 2567326.9917 | 1116354.0873
65 | 2567300.5512 | 1116377.4374 | 2567310.805 | 1116381.7692
66 | 2567319.0936 | 1116343.6345 | 2567318.9206 | 1116343.9682
67 | 2567326.9917 | 1116354.0873 | 2567337.1086 | 1116358.0344
68 | 2567351.3354 | 1116329.9264 | 2567350.9698 | 1116329.7774 | 2567337.7402 | 1116324.4905
69 | 2567370.3267 | 1116337.6657 | 2567371.2679 | 1116338.047
70 | 2567372.2221 | 1116338.4336 | 2567371.2679 | 1116338.047
71 | 2567370.3267 | 1116337.6657 | 2567357.8168 | 1116332.5677
72 | 2567370.3267 | 1116337.6657 | 2567364.7623 | 1116346.8772
73 | 2567351.3354 | 1116329.9264 | 2567357.8168 | 1116332.5677
74 | 2567364.5799 | 1116347.1791 | 2567364.7623 | 1116346.8772
75 | 2567357.4653 | 1116358.957 | 2567364.5799 | 1116347.1791
76 | 2567357.4653 | 1116358.957 | 2567398.4346 | 1116390.7741
77 | 2567347.5298 | 1116369.795 | 2567350.0438 | 1116365.5449 | 2567348.2162 | 1116363.0424 | 2567346.4643 | 1116361.6845 | 2567337.1086 | 1116358.0344
78 | 2567326.2674 | 1116388.3015 | 2567330.4377 | 1116390.0633 | 2567330.4377 | 1116390.0633
79 | 2567312.258 | 1116382.383 | 2567326.2674 | 1116388.3015
80 | 2567312.258 | 1116382.383 | 2567310.805 | 1116381.7692
81 | 2567455.9124 | 1116305.3023 | 2567456.386 | 1116303.651
82 | 2567452.4179 | 1116323.6603 | 2567454.2025 | 1116316.7472 | 2567455.4795 | 1116310.2036 | 2567455.5525 | 1116306.557 | 2567455.9124 | 1116305.3023
83 | 2567410.1401 | 1116302.6109 | 2567452.4179 | 1116323.6603
84 | 2567410.1401 | 1116302.6109 | 2567401.0399 | 1116319.991 | 2567396.7767 | 1116318.1797
85 | 2567410.1401 | 1116302.6109 | 2567400.9802 | 1116298.0239
86 | 2567393.8894 | 1116178.0356 | 2567416.7177 | 1116141.0271
87 | 2567393.8894 | 1116178.0356 | 2567377.041 | 1116169.7861
88 | 2567399.561 | 1116133.2713 | 2567405.4422 | 1116135.8853 | 2567416.7177 | 1116141.0271
89 | 2567416.7177 | 1116141.0271 | 2567417.1003 | 1116140.4025 | 2567418.5691 | 1116138.2573
90 | 2567376.0856 | 1116169.3183 | 2567377.041 | 1116169.7861
91 | 2567399.561 | 1116133.2713 | 2567402.4649 | 1116125.373
92 | 2567432.0362 | 1116118.5887 | 2567418.5691 | 1116138.2573
93 | 2567365.684 | 1116164.2254 | 2567376.0856 | 1116169.3183
94 | 2567402.9847 | 1116123.9592 | 2567402.4649 | 1116125.373
95 | 2567432.0362 | 1116118.5887 | 2567451.0505 | 1116129.4638
96 | 2567432.0362 | 1116118.5887 | 2567424.9199 | 1115878.4168

## bus_geodata
| x | y | coords
0 | 2567323.4066 | 1116191.4885
1 | 2567359.8957 | 1116204.2799
2 | 2567372.7909 | 1116212.2446
3 | 2567361.1589 | 1116231.1058
4 | 2567381.2931 | 1116198.4695
5 | 2567388.6884 | 1116237.0379
6 | 2567339.0431 | 1116266.9768
7 | 2567401.9089 | 1116207.8296
8 | 2567390.79 | 1116183.066
9 | 2567278.6004 | 1116243.8486
10 | 2567249.8695 | 1116232.5135
11 | 2567225.4994 | 1116222.258
12 | 2567325.992 | 1116288.9029
13 | 2567361.0732 | 1116278.0856
14 | 2567206.8088 | 1116213.5873
15 | 2567233.1295 | 1116208.4548
16 | 2567318.2349 | 1116301.9292
17 | 2567315.8899 | 1116284.3083
18 | 2567370.8033 | 1116298.7212
19 | 2567364.5096 | 1116279.7456
20 | 2567192.3521 | 1116206.819
21 | 2567256.2235 | 1116193.7325
22 | 2567334.655 | 1116307.7545
23 | 2567311.7706 | 1116312.7919
24 | 2567314.894 | 1116283.8672
25 | 2567370.8222 | 1116267.9278
26 | 2567381.237 | 1116288.1373
27 | 2567234.8994 | 1116144.9568
28 | 2567280.8735 | 1116175.8994
29 | 2567303.9152 | 1116279.0038
30 | 2567301.653 | 1116278.0017
31 | 2567288.8609 | 1116272.4646
32 | 2567319.4599 | 1116317.1859
33 | 2567302.1852 | 1116328.8852
34 | 2567301.9694 | 1116307.8737
35 | 2567288.5441 | 1116272.331
36 | 2567275.9621 | 1116267.0253
37 | 2567268.3888 | 1116263.8318
38 | 2567261.5221 | 1116260.9362
39 | 2567253.0406 | 1116257.3597
40 | 2567265.6633 | 1116311.9155
41 | 2567250.214 | 1116304.9826
42 | 2567279.9939 | 1116318.3464
43 | 2567238.7418 | 1116299.8344
44 | 2567291.5678 | 1116323.5402
45 | 2567235.2217 | 1116298.2548
46 | 2567294.6883 | 1116341.4877
47 | 2567287.0549 | 1116300.7356
48 | 2567258.6906 | 1116288.5185
49 | 2567256.7951 | 1116287.7021
50 | 2567314.9441 | 1116325.7591
51 | 2567332.5807 | 1116322.4287
52 | 2567284.8794 | 1116357.9584
53 | 2567278.7611 | 1116368.2319
54 | 2567288.7781 | 1116372.4637
55 | 2567308.7461 | 1116346.97
56 | 2567296.4602 | 1116375.7091
57 | 2567315.9155 | 1116349.7659
58 | 2567300.5512 | 1116377.4374
59 | 2567318.9206 | 1116343.9682
60 | 2567326.9917 | 1116354.0873
61 | 2567337.7402 | 1116324.4905
62 | 2567371.2679 | 1116338.047
63 | 2567370.3267 | 1116337.6657
64 | 2567372.2221 | 1116338.4336
65 | 2567357.8168 | 1116332.5677
66 | 2567364.7623 | 1116346.8772
67 | 2567351.3354 | 1116329.9264
68 | 2567364.5799 | 1116347.1791
69 | 2567357.4653 | 1116358.957
70 | 2567319.0936 | 1116343.6345
71 | 2567337.1086 | 1116358.0344
72 | 2567347.5298 | 1116369.795
73 | 2567330.4377 | 1116390.0633
74 | 2567326.2674 | 1116388.3015
75 | 2567312.258 | 1116382.383
76 | 2567310.805 | 1116381.7692
77 | 2567398.4346 | 1116390.7741
78 | 2567455.9124 | 1116305.3023
79 | 2567456.386 | 1116303.651
80 | 2567452.4179 | 1116323.6603
81 | 2567410.1401 | 1116302.6109
82 | 2567396.7767 | 1116318.1797
83 | 2567400.9802 | 1116298.0239
84 | 2567388.4818 | 1116273.1128
85 | 2567422.5522 | 1116198.8335
86 | 2567393.8894 | 1116178.0356
87 | 2567416.7177 | 1116141.0271
88 | 2567377.041 | 1116169.7861
89 | 2567399.561 | 1116133.2713
90 | 2567418.5691 | 1116138.2573
91 | 2567376.0856 | 1116169.3183
92 | 2567365.684 | 1116164.2254
93 | 2567402.4649 | 1116125.373
94 | 2567432.0362 | 1116118.5887
95 | 2567451.0505 | 1116129.4638
96 | 2567424.9199 | 1115878.4168
97 | 2567402.9847 | 1116123.9592
98 | 2567361.0732 | 1116278.0856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1