## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6217-43_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6217-43_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6217-43_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6217-43_0_6_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_6217-43_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6217-43_0_6_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_6217-43_0_6_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_6217-43_0_6_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_6217-43_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6217-43_0_6_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_6217-43_0_6_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_6217-43_0_6_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_6217-43_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6217-43_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6217-43_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6217-43_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6217-43_0_6_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_6217-43_0_6_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_6217-43_0_6_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_6217-43_0_6_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6217-43_0_6_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6217-43_0_6_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_6217-43_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6217-43_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6217-43_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6217-43_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6217-43_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_6217-43_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_6217-43_0_6_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_6217-43_0_6_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_6217-43_0_6_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_6217-43_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_6217-43_0_6_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_6217-43_0_6_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_6217-43_0_6_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6217-43_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_6217-43_0_6_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_6217-43_0_6_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_6217-43_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_6217-43_0_6_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_6217-43_0_6_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6217-43_0_6_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_6217-43_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_6217-43_0_6_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_6217-43_0_6_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6217-43_0_6_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6217-43_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_6217-43_0_6_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_6217-43_0_6_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_6217-43_0_6_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6217-43_0_6_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_6217-43_0_6_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_6217-43_0_6_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_6217-43_0_6_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_6217-43_0_6_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_6217-43_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_6217-43_0_6_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_6217-43_0_6_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_6217-43_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_6217-43_0_6_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_6217-43_0_6_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_6217-43_0_6_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_6217-43_0_6_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_6217-43_0_6_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_6217-43_0_6_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_6217-43_0_6_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_6217-43_0_6_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_6217-43_0_6_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6217-43_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_6217-43_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_6217-43_0_6_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_6217-43_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_6217-43_0_6_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_6217-43_0_6_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_6217-43_0_6_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_6217-43_0_6_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_6217-43_0_6_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_6217-43_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_6217-43_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_MV_110_2_node_268 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6217-43_0_6_load_0 | 0 | 0.019113 | 0.0047902 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6217-43_0_6_load_25 | 3 | 0.0028381 | 0.00071129 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6217-43_0_6_load_3 | 4 | 0.0010045 | 0.00025176 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6217-43_0_6_load_6 | 8 | 0.002099 | 0.00052606 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6217-43_0_6_load_24 | 9 | 0.0024209 | 0.00060675 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6217-43_0_6_load_22 | 10 | 0.0037535 | 0.00094072 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6217-43_0_6_load_4 | 11 | 0.0061908 | 0.0015516 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6217-43_0_6_load_5 | 12 | 0.0021336 | 0.00053472 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6217-43_0_6_load_10 | 15 | 0.0045769 | 0.0011471 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6217-43_0_6_load_74 | 17 | 0.0043293 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6217-43_0_6_load_19 | 18 | 0.0019778 | 0.00049568 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6217-43_0_6_load_20 | 19 | 0.0049152 | 0.0012319 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6217-43_0_6_load_9 | 21 | 0.001951 | 0.00048897 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6217-43_0_6_load_13 | 23 | 0.0040311 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6217-43_0_6_load_14 | 24 | 0.0055617 | 0.0013939 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6217-43_0_6_load_16 | 25 | 0.0074627 | 0.0018703 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6217-43_0_6_load_27 | 26 | 0.0055296 | 0.0013858 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6217-43_0_6_load_17 | 27 | 0.0036493 | 0.00091459 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6217-43_0_6_load_28 | 28 | 0.0068275 | 0.0017111 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6217-43_0_6_load_45 | 29 | 0.003717 | 0.00093157 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6217-43_0_6_load_75 | 30 | 0.003929 | 0.00098471 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6217-43_0_6_load_50 | 32 | 0.0057184 | 0.0014332 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6217-43_0_6_load_31 | 33 | 0.0038973 | 0.00097675 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6217-43_0_6_load_30 | 34 | 0.010149 | 0.0025436 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6217-43_0_6_load_37 | 36 | 0.0069924 | 0.0017525 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6217-43_0_6_load_34 | 37 | 0.0047204 | 0.001183 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6217-43_0_6_load_33 | 40 | 0.011676 | 0.0029262 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6217-43_0_6_load_51 | 41 | 0.0055543 | 0.001392 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6217-43_0_6_load_36 | 42 | 0.006146 | 0.0015403 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6217-43_0_6_load_38 | 43 | 0.0050828 | 0.0012739 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6217-43_0_6_load_43 | 48 | 0.0032531 | 0.00081531 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6217-43_0_6_load_72 | 51 | 0.0039172 | 0.00098174 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6217-43_0_6_load_77 | 52 | 0.0043719 | 0.0010957 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6217-43_0_6_load_76 | 53 | 0.0034189 | 0.00085685 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6217-43_0_6_load_79 | 54 | 0.0057532 | 0.0014419 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6217-43_0_6_load_78 | 56 | 0.0057353 | 0.0014374 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6217-43_0_6_load_48 | 58 | 0.00511 | 0.0012807 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6217-43_0_6_load_52 | 59 | 0.0021239 | 0.00053229 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6217-43_0_6_load_53 | 60 | 0.0032009 | 0.00080222 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6217-43_0_6_load_54 | 61 | 0.0030476 | 0.00076381 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6217-43_0_6_load_55 | 62 | 0.0042422 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6217-43_0_6_load_57 | 64 | 0.005354 | 0.0013418 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6217-43_0_6_load_58 | 65 | 0.0047037 | 0.0011789 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6217-43_0_6_load_59 | 69 | 0.0029315 | 0.00073471 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6217-43_0_6_load_80 | 70 | 0.0038581 | 0.00096694 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6217-43_0_6_load_63 | 72 | 0.00355 | 0.0008897 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6217-43_0_6_load_68 | 74 | 0.0038301 | 0.00095991 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6217-43_0_6_load_69 | 75 | 0.0028692 | 0.0007191 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6217-43_0_6_load_73 | 76 | 0.0036755 | 0.00092116 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6217-43_0_6_load_70 | 77 | 0.0047307 | 0.0011856 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6217-43_0_6_load_71 | 78 | 0.0037564 | 0.00094145 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6217-43_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.10391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6217-43_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.07974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6217-43_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.13765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6217-43_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.11805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6217-43_0_6_line_4 | NAYY 4x150 SE | 3 | 9 | 0.0068692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6217-43_0_6_line_5 | NAYY 4x150 SE | 4 | 7 | 0.048497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6217-43_0_6_line_6 | NAYY 4x150 SE | 5 | 6 | 0.1337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6217-43_0_6_line_7 | NAYY 4x150 SE | 5 | 7 | 0.6819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_6217-43_0_6_line_8 | NAYY 4x150 SE | 5 | 8 | 0.11685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6217-43_0_6_line_9 | NAYY 4x150 SE | 6 | 16 | 0.0044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_6217-43_0_6_line_10 | NAYY 4x150 SE | 6 | 17 | 0.01906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6217-43_0_6_line_11 | NAYY 4x150 SE | 7 | 10 | 0.030187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6217-43_0_6_line_12 | NAYY 4x150 SE | 8 | 11 | 0.015643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6217-43_0_6_line_13 | NAYY 4x150 SE | 10 | 20 | 0.0077438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6217-43_0_6_line_14 | NAYY 4x150 SE | 11 | 12 | 0.0091951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6217-43_0_6_line_15 | NAYY 4x150 SE | 12 | 13 | 0.011809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_6217-43_0_6_line_16 | NAYY 4x150 SE | 13 | 14 | 0.057817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6217-43_0_6_line_17 | NAYY 4x150 SE | 14 | 15 | 0.035883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6217-43_0_6_line_18 | NAYY 4x150 SE | 15 | 21 | 0.02069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6217-43_0_6_line_19 | NAYY 4x150 SE | 16 | 29 | 0.021019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6217-43_0_6_line_20 | NAYY 4x150 SE | 17 | 30 | 0.010886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6217-43_0_6_line_21 | NAYY 4x150 SE | 18 | 19 | 0.0037264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6217-43_0_6_line_22 | NAYY 4x150 SE | 18 | 20 | 0.019947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6217-43_0_6_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0036681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6217-43_0_6_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0035413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6217-43_0_6_line_25 | NAYY 4x150 SE | 22 | 24 | 0.017752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6217-43_0_6_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0062781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6217-43_0_6_line_27 | NAYY 4x150 SE | 24 | 26 | 0.022754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6217-43_0_6_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0054398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6217-43_0_6_line_29 | NAYY 4x150 SE | 26 | 28 | 0.032799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6217-43_0_6_line_30 | NAYY 4x150 SE | 27 | 31 | 0.016603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6217-43_0_6_line_31 | NAYY 4x150 SE | 28 | 35 | 0.033082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6217-43_0_6_line_32 | NAYY 4x150 SE | 29 | 55 | 0.018401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_6217-43_0_6_line_33 | NAYY 4x150 SE | 31 | 32 | 0.022078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6217-43_0_6_line_34 | NAYY 4x150 SE | 31 | 33 | 0.020145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6217-43_0_6_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0051376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6217-43_0_6_line_36 | NAYY 4x150 SE | 34 | 39 | 0.049162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6217-43_0_6_line_37 | NAYY 4x150 SE | 35 | 36 | 0.006012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6217-43_0_6_line_38 | NAYY 4x150 SE | 35 | 37 | 0.016453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6217-43_0_6_line_39 | NAYY 4x150 SE | 37 | 38 | 0.016459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6217-43_0_6_line_40 | NAYY 4x150 SE | 38 | 42 | 0.011172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6217-43_0_6_line_41 | NAYY 4x150 SE | 39 | 40 | 0.020268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6217-43_0_6_line_42 | NAYY 4x150 SE | 40 | 41 | 0.054172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6217-43_0_6_line_43 | NAYY 4x150 SE | 43 | 44 | 0.017075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_6217-43_0_6_line_44 | NAYY 4x150 SE | 43 | 45 | 0.018034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_6217-43_0_6_line_45 | NAYY 4x150 SE | 44 | 46 | 0.013723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_6217-43_0_6_line_46 | NAYY 4x150 SE | 44 | 47 | 0.002039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6217-43_0_6_line_47 | NAYY 4x150 SE | 45 | 48 | 0.047689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6217-43_0_6_line_48 | NAYY 4x150 SE | 45 | 49 | 0.004849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_6217-43_0_6_line_49 | NAYY 4x150 SE | 46 | 50 | 0.019198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6217-43_0_6_line_50 | NAYY 4x150 SE | 46 | 51 | 0.055459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_6217-43_0_6_line_51 | NAYY 4x150 SE | 47 | 52 | 0.049787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6217-43_0_6_line_52 | NAYY 4x150 SE | 47 | 53 | 0.010991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6217-43_0_6_line_53 | NAYY 4x150 SE | 49 | 54 | 0.017645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6217-43_0_6_line_54 | NAYY 4x150 SE | 49 | 55 | 0.05932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_6217-43_0_6_line_55 | NAYY 4x150 SE | 50 | 56 | 0.042138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6217-43_0_6_line_56 | NAYY 4x150 SE | 51 | 57 | 0.020593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6217-43_0_6_line_57 | NAYY 4x150 SE | 55 | 58 | 0.01429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6217-43_0_6_line_58 | NAYY 4x150 SE | 57 | 76 | 0.025295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6217-43_0_6_line_59 | NAYY 4x150 SE | 57 | 71 | 0.001906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6217-43_0_6_line_60 | NAYY 4x150 SE | 59 | 60 | 0.010801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6217-43_0_6_line_61 | NAYY 4x150 SE | 59 | 61 | 0.026691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6217-43_0_6_line_62 | NAYY 4x150 SE | 60 | 62 | 0.018597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6217-43_0_6_line_63 | NAYY 4x150 SE | 62 | 63 | 0.010946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6217-43_0_6_line_64 | NAYY 4x150 SE | 63 | 64 | 0.014456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6217-43_0_6_line_65 | NAYY 4x150 SE | 63 | 65 | 0.046367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6217-43_0_6_line_66 | NAYY 4x150 SE | 65 | 66 | 0.020088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6217-43_0_6_line_67 | NAYY 4x150 SE | 66 | 67 | 0.01919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6217-43_0_6_line_68 | NAYY 4x150 SE | 66 | 68 | 0.01022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6217-43_0_6_line_69 | NAYY 4x150 SE | 67 | 70 | 0.023872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6217-43_0_6_line_70 | NAYY 4x150 SE | 67 | 71 | 0.036346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6217-43_0_6_line_71 | NAYY 4x150 SE | 68 | 69 | 0.019798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6217-43_0_6_line_72 | NAYY 4x150 SE | 71 | 72 | 0.02332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6217-43_0_6_line_73 | NAYY 4x150 SE | 72 | 73 | 0.014417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6217-43_0_6_line_74 | NAYY 4x150 SE | 73 | 74 | 0.010337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6217-43_0_6_line_75 | NAYY 4x150 SE | 73 | 75 | 0.020372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6217-43_0_6_line_76 | NAYY 4x150 SE | 74 | 77 | 0.033343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6217-43_0_6_line_77 | NAYY 4x150 SE | 75 | 78 | 0.00056865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6217-43_0_6_trafo_8 | 0.25 MVA 20/0.4 kV | 79 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2566139.9677 | 1117336.5079 | 2566139.5549 | 1117319.3349 | 2566142.1684 | 1117299.5325 | 2566143.1516 | 1117284.9196 | 2566142.6698 | 1117266.4351 | 2566145.319 | 1117232.9211
1 | 2566150.094 | 1117153.3919 | 2566149.4238 | 1117157.7534 | 2566149.3653 | 1117181.7325 | 2566145.319 | 1117232.9211
2 | 2566139.9677 | 1117336.5079 | 2566012.6095 | 1117388.7392
3 | 2566150.094 | 1117153.3919 | 2566178.0769 | 1117153.9799 | 2566233.7049 | 1117155.4806 | 2566268.1206 | 1117155.2883
4 | 2566012.6095 | 1117388.7392 | 2566013.1847 | 1117390.9141 | 2566012.9893 | 1117395.5294
5 | 2566316.6049 | 1117156.0625 | 2566308.7612 | 1117155.7617 | 2566284.2981 | 1117155.1979 | 2566268.1206 | 1117155.2883
6 | 2566624.5757 | 1116547.6678 | 2566624.6464 | 1116521.343 | 2566624.6799 | 1116509.2478 | 2566626.9459 | 1116454.1519 | 2566629.0402 | 1116414.0645
7 | 2566624.5757 | 1116547.6678 | 2566316.6049 | 1117156.0625
8 | 2566624.5757 | 1116547.6678 | 2566737.2009 | 1116578.7897
9 | 2566629.2707 | 1116409.6721 | 2566629.0402 | 1116414.0645
10 | 2566629.0402 | 1116414.0645 | 2566626.2863 | 1116414.4243 | 2566610.1514 | 1116412.235
11 | 2566316.6049 | 1117156.0625 | 2566316.7347 | 1117166.8784 | 2566317.4686 | 1117176.6793 | 2566318.4786 | 1117186.1673
12 | 2566752.2791 | 1116582.9563 | 2566737.2009 | 1116578.7897
13 | 2566319.8024 | 1117193.7971 | 2566318.4786 | 1117186.1673
14 | 2566752.2791 | 1116582.9563 | 2566761.142 | 1116585.4054
15 | 2566772.5245 | 1116588.5508 | 2566761.142 | 1116585.4054
16 | 2566828.4038 | 1116603.9959 | 2566772.5245 | 1116588.5508
17 | 2566828.4038 | 1116603.9959 | 2566837.6576 | 1116569.327
18 | 2566837.6576 | 1116569.327 | 2566842.9935 | 1116549.3364
19 | 2566629.2707 | 1116409.6721 | 2566643.9331 | 1116411.6588 | 2566646.0529 | 1116405.8082
20 | 2566599.3639 | 1116410.7712 | 2566610.1514 | 1116412.235
21 | 2566325.0157 | 1117213.0511 | 2566325.9896 | 1117216.6479
22 | 2566319.8024 | 1117193.7971 | 2566325.0157 | 1117213.0511
23 | 2566843.9395 | 1116545.7924 | 2566842.9935 | 1116549.3364
24 | 2566843.9395 | 1116545.7924 | 2566844.8524 | 1116542.3707
25 | 2566843.9395 | 1116545.7924 | 2566860.7218 | 1116551.5794
26 | 2566846.4859 | 1116536.3089 | 2566845.7396 | 1116539.0457 | 2566844.8524 | 1116542.3707
27 | 2566882.2478 | 1116558.9526 | 2566862.091 | 1116552.0515 | 2566860.7218 | 1116551.5794
28 | 2566847.917 | 1116531.0607 | 2566846.4859 | 1116536.3089
29 | 2566882.2478 | 1116558.9526 | 2566882.6396 | 1116559.0868 | 2566888.0216 | 1116559.3908 | 2566900.3975 | 1116562.5468 | 2566903.5057 | 1116562.0629 | 2566907.0547 | 1116560.3203 | 2566907.5238 | 1116558.5946 | 2566908.6765 | 1116553.3865
30 | 2566852.285 | 1116515.0421 | 2566847.917 | 1116531.0607
31 | 2566915.825 | 1116521.0858 | 2566908.6765 | 1116553.3865
32 | 2566637.3262 | 1116392.2521 | 2566647.6057 | 1116401.5223 | 2566646.0529 | 1116405.8082
33 | 2566852.285 | 1116515.0421 | 2566873.2435 | 1116522.1641
34 | 2566852.285 | 1116515.0421 | 2566853.7605 | 1116509.6202 | 2566857.575 | 1116495.6041
35 | 2566858.9241 | 1116490.6468 | 2566857.575 | 1116495.6041
36 | 2566876.8578 | 1116445.072 | 2566874.8752 | 1116449.5295 | 2566866.9616 | 1116464.7918 | 2566862.3715 | 1116477.9792 | 2566858.9241 | 1116490.6468
37 | 2566915.0151 | 1116515.5652 | 2566914.59 | 1116519.703 | 2566915.825 | 1116521.0858
38 | 2566915.825 | 1116521.0858 | 2566917.0754 | 1116522.4796 | 2566931.4162 | 1116525.1113
39 | 2566947.605 | 1116528.082 | 2566931.4162 | 1116525.1113
40 | 2566949.3201 | 1116517.0448 | 2566947.605 | 1116528.082
41 | 2566876.8578 | 1116445.072 | 2566896.642 | 1116449.4744
42 | 2566896.642 | 1116449.4744 | 2566903.5763 | 1116451.0174 | 2566949.5459 | 1116461.1267
43 | 2566603.9031 | 1116315.887 | 2566603.4464 | 1116324.0381 | 2566604.0668 | 1116332.9281
44 | 2566613.1227 | 1116348.4526 | 2566607.66 | 1116340.5565 | 2566604.0668 | 1116332.9281
45 | 2566617.6141 | 1116314.6884 | 2566607.9076 | 1116315.5425 | 2566603.9031 | 1116315.887
46 | 2566603.9031 | 1116315.887 | 2566601.8661 | 1116316.0651
47 | 2566613.1227 | 1116348.4526 | 2566609.3 | 1116348.1736 | 2566604.0685 | 1116348.5916 | 2566597.1037 | 1116349.6639 | 2566592.2806 | 1116351.347 | 2566586.6773 | 1116355.7247 | 2566578.5583 | 1116364.4518 | 2566575.5859 | 1116371.3495
48 | 2566613.1227 | 1116348.4526 | 2566617.9726 | 1116348.8148
49 | 2566617.6141 | 1116314.6884 | 2566619.2488 | 1116319.9265 | 2566621.6701 | 1116333.42
50 | 2566617.6141 | 1116314.6884 | 2566611.5396 | 1116295.29 | 2566606.5905 | 1116278.3754 | 2566603.8354 | 1116268.7525 | 2566602.2938 | 1116261.4142
51 | 2566601.8661 | 1116316.0651 | 2566582.4608 | 1116317.7621 | 2566552.0291 | 1116318.9533
52 | 2566592.9528 | 1116309.6 | 2566601.8661 | 1116316.0651
53 | 2566617.9726 | 1116348.8148 | 2566617.4834 | 1116366.4487
54 | 2566617.9726 | 1116348.8148 | 2566619.1311 | 1116348.9085 | 2566621.6707 | 1116348.8944 | 2566624.2588 | 1116347.8685 | 2566626.0828 | 1116358.0414 | 2566628.3922 | 1116380.6178 | 2566629.089 | 1116392.1642 | 2566637.3262 | 1116392.2521
55 | 2566621.6701 | 1116333.42 | 2566625.0657 | 1116333.2344 | 2566634.033 | 1116334.1298 | 2566646.4099 | 1116337.3742 | 2566662.7633 | 1116342.1864
56 | 2566600.7638 | 1116240.9887 | 2566600.5426 | 1116244.2583 | 2566600.775 | 1116254.1842 | 2566602.2938 | 1116261.4142
57 | 2566646.1457 | 1116381.7759 | 2566645.3749 | 1116384.7817 | 2566644.1979 | 1116386.9226 | 2566642.1491 | 1116389.1462 | 2566637.3262 | 1116392.2521
58 | 2566600.7638 | 1116240.9887 | 2566598.1299 | 1116240.7143 | 2566578.3934 | 1116229.6075
59 | 2566600.8923 | 1116239.0871 | 2566600.7638 | 1116240.9887
60 | 2566709.1564 | 1116206.1173 | 2566698.5835 | 1116203.9082
61 | 2566733.3808 | 1116217.3229 | 2566709.1564 | 1116206.1173
62 | 2566680.4025 | 1116199.9983 | 2566687.3849 | 1116201.5684 | 2566698.5835 | 1116203.9082
63 | 2566669.7234 | 1116197.5971 | 2566680.4025 | 1116199.9983
64 | 2566669.7234 | 1116197.5971 | 2566668.5215 | 1116211.9999
65 | 2566669.7234 | 1116197.5971 | 2566668.309 | 1116197.2825 | 2566643.8338 | 1116191.0366 | 2566625.4626 | 1116185.7576 | 2566624.9449 | 1116185.5921
66 | 2566605.2498 | 1116183.9128 | 2566612.0938 | 1116183.2858 | 2566617.6364 | 1116183.2552 | 2566624.9449 | 1116185.5921
67 | 2566605.2498 | 1116183.9128 | 2566605.7579 | 1116192.0252 | 2566605.9241 | 1116201.14 | 2566605.6722 | 1116203.0646
68 | 2566604.1129 | 1116173.7584 | 2566605.2498 | 1116183.9128
69 | 2566582.0291 | 1116199.3046 | 2566605.6722 | 1116203.0646
70 | 2566605.6722 | 1116203.0646 | 2566600.8923 | 1116239.0871
71 | 2566604.1129 | 1116173.7584 | 2566584.3207 | 1116173.2718
72 | 2566600.8923 | 1116239.0871 | 2566605.2434 | 1116239.9857 | 2566610.5089 | 1116241.5129 | 2566623.5422 | 1116244.6018
73 | 2566637.3135 | 1116248.8352 | 2566626.8729 | 1116245.3911 | 2566623.5422 | 1116244.6018
74 | 2566637.3135 | 1116248.8352 | 2566647.1322 | 1116252.0685
75 | 2566637.3135 | 1116248.8352 | 2566630.8038 | 1116268.1387
76 | 2566679.8096 | 1116255.7264 | 2566664.0359 | 1116256.6695 | 2566655.2093 | 1116254.7283 | 2566647.1322 | 1116252.0685
77 | 2566630.622 | 1116268.6776 | 2566630.8038 | 1116268.1387

## bus_geodata
| x | y | coords
0 | 2566145.319 | 1117232.9211
1 | 2566139.9677 | 1117336.5079
2 | 2566150.094 | 1117153.3919
3 | 2566012.6095 | 1117388.7392
4 | 2566268.1206 | 1117155.2883
5 | 2566624.5757 | 1116547.6678
6 | 2566629.0402 | 1116414.0645
7 | 2566316.6049 | 1117156.0625
8 | 2566737.2009 | 1116578.7897
9 | 2566012.9893 | 1117395.5294
10 | 2566318.4786 | 1117186.1673
11 | 2566752.2791 | 1116582.9563
12 | 2566761.142 | 1116585.4054
13 | 2566772.5245 | 1116588.5508
14 | 2566828.4038 | 1116603.9959
15 | 2566837.6576 | 1116569.327
16 | 2566629.2707 | 1116409.6721
17 | 2566610.1514 | 1116412.235
18 | 2566325.0157 | 1117213.0511
19 | 2566325.9896 | 1117216.6479
20 | 2566319.8024 | 1117193.7971
21 | 2566842.9935 | 1116549.3364
22 | 2566843.9395 | 1116545.7924
23 | 2566844.8524 | 1116542.3707
24 | 2566860.7218 | 1116551.5794
25 | 2566846.4859 | 1116536.3089
26 | 2566882.2478 | 1116558.9526
27 | 2566847.917 | 1116531.0607
28 | 2566908.6765 | 1116553.3865
29 | 2566646.0529 | 1116405.8082
30 | 2566599.3639 | 1116410.7712
31 | 2566852.285 | 1116515.0421
32 | 2566873.2435 | 1116522.1641
33 | 2566857.575 | 1116495.6041
34 | 2566858.9241 | 1116490.6468
35 | 2566915.825 | 1116521.0858
36 | 2566915.0151 | 1116515.5652
37 | 2566931.4162 | 1116525.1113
38 | 2566947.605 | 1116528.082
39 | 2566876.8578 | 1116445.072
40 | 2566896.642 | 1116449.4744
41 | 2566949.5459 | 1116461.1267
42 | 2566949.3201 | 1116517.0448
43 | 2566604.0668 | 1116332.9281
44 | 2566603.9031 | 1116315.887
45 | 2566613.1227 | 1116348.4526
46 | 2566617.6141 | 1116314.6884
47 | 2566601.8661 | 1116316.0651
48 | 2566575.5859 | 1116371.3495
49 | 2566617.9726 | 1116348.8148
50 | 2566621.6701 | 1116333.42
51 | 2566602.2938 | 1116261.4142
52 | 2566552.0291 | 1116318.9533
53 | 2566592.9528 | 1116309.6
54 | 2566617.4834 | 1116366.4487
55 | 2566637.3262 | 1116392.2521
56 | 2566662.7633 | 1116342.1864
57 | 2566600.7638 | 1116240.9887
58 | 2566646.1457 | 1116381.7759
59 | 2566709.1564 | 1116206.1173
60 | 2566698.5835 | 1116203.9082
61 | 2566733.3808 | 1116217.3229
62 | 2566680.4025 | 1116199.9983
63 | 2566669.7234 | 1116197.5971
64 | 2566668.5215 | 1116211.9999
65 | 2566624.9449 | 1116185.5921
66 | 2566605.2498 | 1116183.9128
67 | 2566605.6722 | 1116203.0646
68 | 2566604.1129 | 1116173.7584
69 | 2566584.3207 | 1116173.2718
70 | 2566582.0291 | 1116199.3046
71 | 2566600.8923 | 1116239.0871
72 | 2566623.5422 | 1116244.6018
73 | 2566637.3135 | 1116248.8352
74 | 2566647.1322 | 1116252.0685
75 | 2566630.8038 | 1116268.1387
76 | 2566578.3934 | 1116229.6075
77 | 2566679.8096 | 1116255.7264
78 | 2566630.622 | 1116268.6776
79 | 2566624.6464 | 1116521.343

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1