## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6217-45_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6217-45_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6217-45_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6217-45_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6217-45_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6217-45_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6217-45_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_6217-45_0_2_node_84 | 0.4 | n |  | TRUE
8 | bus_LV_6217-45_0_2_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_6217-45_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6217-45_0_2_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_6217-45_0_2_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_6217-45_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6217-45_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6217-45_0_2_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_6217-45_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6217-45_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6217-45_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6217-45_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6217-45_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6217-45_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6217-45_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6217-45_0_2_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_6217-45_0_2_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_6217-45_0_2_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_6217-45_0_2_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_6217-45_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6217-45_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_6217-45_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6217-45_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_6217-45_0_2_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6217-45_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_6217-45_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6217-45_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6217-45_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_6217-45_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_6217-45_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_6217-45_0_2_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_6217-45_0_2_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_6217-45_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_6217-45_0_2_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_6217-45_0_2_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_6217-45_0_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_6217-45_0_2_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_6217-45_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6217-45_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6217-45_0_2_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_6217-45_0_2_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_6217-45_0_2_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_6217-45_0_2_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_6217-45_0_2_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_6217-45_0_2_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6217-45_0_2_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_6217-45_0_2_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6217-45_0_2_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6217-45_0_2_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6217-45_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6217-45_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_6217-45_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_MV_110_2_node_280 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6217-45_0_2_load_0 | 0 | 0.0025306 | 0.00063423 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6217-45_0_2_load_5 | 4 | 0.0026313 | 0.00065946 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6217-45_0_2_load_6 | 5 | 0.0074524 | 0.0018678 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6217-45_0_2_load_84 | 7 | 0.0062238 | 0.0015598 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6217-45_0_2_load_7 | 9 | 0.0058804 | 0.0014738 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6217-45_0_2_load_22 | 11 | 0.005389 | 0.0013506 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6217-45_0_2_load_83 | 14 | 0.0065427 | 0.0016398 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6217-45_0_2_load_11 | 17 | 0.0044314 | 0.0011106 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6217-45_0_2_load_10 | 18 | 0.0084334 | 0.0021136 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6217-45_0_2_load_89 | 22 | 0.0077097 | 0.0019322 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6217-45_0_2_load_34 | 23 | 0.0064215 | 0.0016094 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6217-45_0_2_load_32 | 24 | 0.0075055 | 0.0018811 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6217-45_0_2_load_85 | 25 | 0.0054357 | 0.0013623 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6217-45_0_2_load_21 | 27 | 0.0051888 | 0.0013004 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6217-45_0_2_load_17 | 28 | 0.0072034 | 0.0018053 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6217-45_0_2_load_20 | 30 | 0.0075382 | 0.0018893 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6217-45_0_2_load_31 | 31 | 0.015615 | 0.0039134 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6217-45_0_2_load_23 | 32 | 0.007573 | 0.001898 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6217-45_0_2_load_29 | 33 | 0.0059866 | 0.0015004 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6217-45_0_2_load_25 | 34 | 0.0026929 | 0.00067491 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6217-45_0_2_load_91 | 37 | 0.0040024 | 0.0010031 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6217-45_0_2_load_30 | 39 | 0.0073831 | 0.0018504 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6217-45_0_2_load_90 | 40 | 0.015318 | 0.003839 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6217-45_0_2_load_88 | 43 | 0.0039484 | 0.00098957 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6217-45_0_2_load_81 | 46 | 0.0036759 | 0.00092128 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6217-45_0_2_load_82 | 47 | 0.0011818 | 0.00029618 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6217-45_0_2_load_87 | 48 | 0.006727 | 0.0016859 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6217-45_0_2_load_49 | 49 | 0.0047348 | 0.0011867 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6217-45_0_2_load_47 | 51 | 0.0058086 | 0.0014558 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6217-45_0_2_load_41 | 54 | 0.0023623 | 0.00059205 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6217-45_0_2_load_43 | 56 | 0.0059315 | 0.0014866 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6217-45_0_2_load_44 | 57 | 0.002171 | 0.0005441 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6217-45_0_2_load_45 | 58 | 0.0024224 | 0.00060711 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6217-45_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6217-45_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6217-45_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.043539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6217-45_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.043413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6217-45_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.013994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6217-45_0_2_line_5 | NAYY 4x150 SE | 3 | 9 | 0.0022562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6217-45_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.022463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6217-45_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.029928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6217-45_0_2_line_8 | NAYY 4x150 SE | 8 | 10 | 0.034511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6217-45_0_2_line_9 | NAYY 4x150 SE | 8 | 11 | 0.042569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_6217-45_0_2_line_10 | NAYY 4x150 SE | 9 | 12 | 0.06345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6217-45_0_2_line_11 | NAYY 4x150 SE | 10 | 33 | 0.019733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6217-45_0_2_line_12 | NAYY 4x150 SE | 10 | 34 | 0.005178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6217-45_0_2_line_13 | NAYY 4x150 SE | 11 | 32 | 0.016701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6217-45_0_2_line_14 | NAYY 4x150 SE | 11 | 27 | 0.032083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6217-45_0_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.041784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6217-45_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.040177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6217-45_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.012653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6217-45_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.015504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6217-45_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.0183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6217-45_0_2_line_20 | NAYY 4x150 SE | 16 | 22 | 0.075635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6217-45_0_2_line_21 | NAYY 4x150 SE | 16 | 19 | 0.01402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6217-45_0_2_line_22 | NAYY 4x150 SE | 18 | 19 | 0.016522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6217-45_0_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.078923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6217-45_0_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.06354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6217-45_0_2_line_25 | NAYY 4x150 SE | 20 | 23 | 0.021635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6217-45_0_2_line_26 | NAYY 4x150 SE | 20 | 24 | 0.011855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6217-45_0_2_line_27 | NAYY 4x150 SE | 21 | 25 | 0.025684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6217-45_0_2_line_28 | NAYY 4x150 SE | 21 | 26 | 0.018957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6217-45_0_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.021297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_6217-45_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.015383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6217-45_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.020044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6217-45_0_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0095062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6217-45_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.040003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6217-45_0_2_line_34 | NAYY 4x150 SE | 33 | 39 | 0.034593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6217-45_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.0091346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_6217-45_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.016507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_6217-45_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.0197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6217-45_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.009473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6217-45_0_2_line_39 | NAYY 4x150 SE | 38 | 40 | 0.071225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6217-45_0_2_line_40 | NAYY 4x150 SE | 38 | 41 | 0.019827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_6217-45_0_2_line_41 | NAYY 4x150 SE | 41 | 48 | 0.024226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6217-45_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.31442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6217-45_0_2_line_43 | NAYY 4x150 SE | 41 | 44 | 0.26259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_6217-45_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.064614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6217-45_0_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.32666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_6217-45_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.10025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6217-45_0_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.1428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6217-45_0_2_line_48 | NAYY 4x150 SE | 47 | 52 | 0.11819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6217-45_0_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.04794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6217-45_0_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.022621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6217-45_0_2_line_51 | NAYY 4x150 SE | 51 | 53 | 0.080832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6217-45_0_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.10673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6217-45_0_2_line_53 | NAYY 4x150 SE | 53 | 57 | 0.022192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6217-45_0_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.026823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6217-45_0_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.014176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6217-45_0_2_line_56 | NAYY 4x150 SE | 55 | 57 | 0.010433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6217-45_0_2_line_57 | NAYY 4x150 SE | 56 | 58 | 0.049577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6217-45_0_2_trafo_91 | 0.25 MVA 20/0.4 kV | 59 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2567113.7434 | 1116535.846 | 2567121.8148 | 1116520.755
1 | 2567132.8961 | 1116502.0135 | 2567131.1727 | 1116503.079 | 2567129.8432 | 1116505.5764 | 2567126.8027 | 1116511.4292 | 2567121.8148 | 1116520.755
2 | 2567077.6876 | 1116511.9636 | 2567088.2462 | 1116517.3644 | 2567097.8378 | 1116525.2272 | 2567106.2052 | 1116532.2519 | 2567112.714 | 1116535.3513 | 2567113.7434 | 1116535.846
3 | 2567132.8961 | 1116502.0135 | 2567135.6889 | 1116503.1434 | 2567140.6025 | 1116505.3177 | 2567149.752 | 1116509.9703 | 2567155.5322 | 1116512.518 | 2567160.6294 | 1116512.9683 | 2567163.5082 | 1116512.8637 | 2567165.6258 | 1116513.3302 | 2567168.8051 | 1116514.558 | 2567173.0403 | 1116516.9657
4 | 2567132.8961 | 1116502.0135 | 2567121.2143 | 1116494.3091
5 | 2567077.6876 | 1116511.9636 | 2567075.6783 | 1116510.9375
6 | 2567209.6801 | 1116496.3045 | 2567189.0208 | 1116487.3455
7 | 2567219.508 | 1116468.0925 | 2567212.3792 | 1116485.8735 | 2567209.6801 | 1116496.3045
8 | 2567219.508 | 1116468.0925 | 2567237.1246 | 1116438.393
9 | 2567219.508 | 1116468.0925 | 2567209.2746 | 1116464.2794 | 2567180.646 | 1116450.5502
10 | 2567018.4108 | 1116483.6504 | 2567055.1152 | 1116500.4364 | 2567075.6783 | 1116510.9375
11 | 2567237.1246 | 1116438.393 | 2567219.1864 | 1116430.1693
12 | 2567237.1246 | 1116438.393 | 2567239.7647 | 1116433.9387
13 | 2567180.646 | 1116450.5502 | 2567175.3845 | 1116461.073 | 2567172.2016 | 1116464.8588
14 | 2567180.646 | 1116450.5502 | 2567151.7213 | 1116436.6696
15 | 2567018.4108 | 1116483.6504 | 2567040.7042 | 1116448.2775
16 | 2567040.7042 | 1116448.2775 | 2567076.1859 | 1116467.3159
17 | 2567047.5781 | 1116437.6458 | 2567044.2093 | 1116442.7111 | 2567040.7042 | 1116448.2775
18 | 2567056.1688 | 1116424.7257 | 2567047.5781 | 1116437.6458
19 | 2567047.5781 | 1116437.6458 | 2567037.5717 | 1116431.6084 | 2567032.0083 | 1116428.0322
20 | 2567056.1688 | 1116424.7257 | 2567073.6074 | 1116434.7024 | 2567123.074 | 1116460.3348
21 | 2567063.9403 | 1116413.0441 | 2567056.1688 | 1116424.7257
22 | 2567063.9403 | 1116413.0441 | 2567057.4848 | 1116409.8221 | 2567051.2932 | 1116406.8988 | 2567048.9219 | 1116406.2429
23 | 2567063.9403 | 1116413.0441 | 2567073.2586 | 1116399.0418 | 2567088.1269 | 1116373.6702 | 2567104.7789 | 1116345.5319
24 | 2567063.9403 | 1116413.0441 | 2567073.2586 | 1116399.0418 | 2567115.3856 | 1116419.2448
25 | 2567104.7789 | 1116345.5319 | 2567084.4299 | 1116338.1835
26 | 2567104.7789 | 1116345.5319 | 2567111.1163 | 1116335.5134
27 | 2567115.3856 | 1116419.2448 | 2567110.2107 | 1116430.0562 | 2567107.4838 | 1116433.9508 | 2567104.1732 | 1116435.5585 | 2567098.9056 | 1116435.0203
28 | 2567115.3856 | 1116419.2448 | 2567132.5211 | 1116427.4557
29 | 2567132.5211 | 1116427.4557 | 2567151.7213 | 1116436.6696
30 | 2567132.5211 | 1116427.4557 | 2567138.7636 | 1116413.3967
31 | 2567144.8647 | 1116394.8721 | 2567145.5692 | 1116398.0699 | 2567138.7636 | 1116413.3967
32 | 2567144.8647 | 1116394.8721 | 2567144.0396 | 1116390.7745 | 2567139.6769 | 1116387.7189
33 | 2567109.9306 | 1116368.7156 | 2567107.6597 | 1116372.7189 | 2567131.416 | 1116384.6845 | 2567139.6769 | 1116387.7189
34 | 2567219.1864 | 1116430.1693 | 2567208.8939 | 1116425.4508 | 2567187.7871 | 1116415.6516
35 | 2567244.4221 | 1116426.0806 | 2567239.7647 | 1116433.9387
36 | 2567252.8441 | 1116411.8722 | 2567244.4221 | 1116426.0806
37 | 2567234.6464 | 1116404.2003 | 2567252.8441 | 1116411.8722
38 | 2567257.6786 | 1116403.7196 | 2567252.8441 | 1116411.8722
39 | 2567192.8655 | 1116373.7783 | 2567257.6786 | 1116403.7196
40 | 2567257.6786 | 1116403.7196 | 2567267.799 | 1116386.6562
41 | 2567261.6819 | 1116370.4033 | 2567256.2517 | 1116379.7375 | 2567267.799 | 1116386.6562
42 | 2567267.799 | 1116386.6562 | 2567268.5257 | 1116385.4294 | 2567278.7611 | 1116368.2319 | 2567294.6883 | 1116341.4877 | 2567302.1852 | 1116328.8852 | 2567311.1356 | 1116313.8514 | 2567311.7706 | 1116312.7919 | 2567318.2349 | 1116301.9292 | 2567325.992 | 1116288.9029 | 2567339.0431 | 1116266.9768 | 2567361.1589 | 1116231.1058 | 2567372.7909 | 1116212.2446 | 2567381.2931 | 1116198.4695 | 2567390.79 | 1116183.066 | 2567393.8894 | 1116178.0356 | 2567416.7177 | 1116141.0271 | 2567417.1003 | 1116140.4025 | 2567432.0362 | 1116118.5887
43 | 2567267.799 | 1116386.6562 | 2567268.5257 | 1116385.4294 | 2567277.9816 | 1116391.0588 | 2567288.9271 | 1116396.6134 | 2567315.1072 | 1116408.6667 | 2567328.6147 | 1116411.2283 | 2567343.4224 | 1116412.9936 | 2567414.4645 | 1116410.153 | 2567427.711 | 1116410.1371 | 2567436.0544 | 1116409.9031 | 2567441.3202 | 1116408.6741 | 2567442.5584 | 1116407.8226 | 2567444.7042 | 1116406.3547 | 2567448.0274 | 1116401.3343 | 2567479.1937 | 1116350.274 | 2567485.0665 | 1116339.9149 | 2567485.4691 | 1116340.1239
44 | 2567432.0362 | 1116118.5887 | 2567460.0141 | 1116134.5905 | 2567471.3505 | 1116139.5875 | 2567474.8596 | 1116140.3913 | 2567478.7049 | 1116140.5373 | 2567483.5465 | 1116139.3551 | 2567490.4293 | 1116135.8719
45 | 2567485.4691 | 1116340.1239 | 2567510.6581 | 1116353.0727 | 2567542.4965 | 1116369.4543 | 2567602.6661 | 1116400.3914 | 2567617.7979 | 1116412.2274 | 2567532.5899 | 1116513.9917 | 2567519.2987 | 1116527.1809 | 2567501.6956 | 1116543.8062
46 | 2567485.4691 | 1116340.1239 | 2567486.2577 | 1116338.9302 | 2567490.1659 | 1116333.5731 | 2567519.2723 | 1116284.0471 | 2567525.9497 | 1116269.6817 | 2567528.0225 | 1116266.1132 | 2567531.9396 | 1116262.4125 | 2567537.8594 | 1116255.1319
47 | 2567501.6956 | 1116543.8062 | 2567581.397 | 1116519.3656 | 2567600.6593 | 1116498.2738 | 2567616.6765 | 1116471.8834
48 | 2567677.9964 | 1116370.8508 | 2567616.6765 | 1116471.8834
49 | 2567774.569 | 1116201.9385 | 2567774.1526 | 1116199.1393 | 2567766.628 | 1116182.182 | 2567746.2425 | 1116165.1598
50 | 2567774.569 | 1116201.9385 | 2567776.7119 | 1116215.823 | 2567772.8138 | 1116223.4579
51 | 2567751.7076 | 1116296.7194 | 2567746.427 | 1116287.9654 | 2567746.1718 | 1116280.6631 | 2567749.0636 | 1116269.9756 | 2567772.8138 | 1116223.4579
52 | 2567751.7076 | 1116296.7194 | 2567723.5157 | 1116325.6068 | 2567711.6382 | 1116331.9179 | 2567687.4427 | 1116367.5208 | 2567677.9964 | 1116370.8508
53 | 2567751.7076 | 1116296.7194 | 2567754.8642 | 1116298.0255 | 2567767.3415 | 1116295.591 | 2567772.9793 | 1116293.3605
54 | 2567782.0625 | 1116288.3199 | 2567789.0621 | 1116289.372 | 2567794.7446 | 1116289.5529 | 2567800.9666 | 1116288.1079 | 2567808.2335 | 1116285.6477
55 | 2567782.0625 | 1116288.3199 | 2567784.2191 | 1116283.0724 | 2567786.1643 | 1116278.7043 | 2567789.3188 | 1116276.7309
56 | 2567782.0625 | 1116288.3199 | 2567776.285 | 1116292.0526 | 2567772.9793 | 1116293.3605
57 | 2567836.598 | 1116262.4616 | 2567829.1546 | 1116265.6242 | 2567823.6963 | 1116266.965 | 2567811.2476 | 1116268.9879 | 2567797.5023 | 1116273.9637 | 2567789.3188 | 1116276.7309 | 2567789.3188 | 1116276.7309

## bus_geodata
| x | y | coords
0 | 2567121.8148 | 1116520.755
1 | 2567113.7434 | 1116535.846
2 | 2567132.8961 | 1116502.0135
3 | 2567077.6876 | 1116511.9636
4 | 2567173.0403 | 1116516.9657
5 | 2567121.2143 | 1116494.3091
6 | 2567209.6801 | 1116496.3045
7 | 2567189.0208 | 1116487.3455
8 | 2567219.508 | 1116468.0925
9 | 2567075.6783 | 1116510.9375
10 | 2567237.1246 | 1116438.393
11 | 2567180.646 | 1116450.5502
12 | 2567018.4108 | 1116483.6504
13 | 2567040.7041 | 1116448.2775
14 | 2567076.1859 | 1116467.3159
15 | 2567047.5781 | 1116437.6458
16 | 2567056.1688 | 1116424.7257
17 | 2567032.0083 | 1116428.0322
18 | 2567048.9219 | 1116406.2429
19 | 2567063.9403 | 1116413.0441
20 | 2567104.7789 | 1116345.5319
21 | 2567115.3856 | 1116419.2448
22 | 2567123.074 | 1116460.3348
23 | 2567084.4299 | 1116338.1835
24 | 2567111.1163 | 1116335.5134
25 | 2567098.9056 | 1116435.0203
26 | 2567132.5211 | 1116427.4557
27 | 2567151.7213 | 1116436.6696
28 | 2567138.7636 | 1116413.3967
29 | 2567144.8647 | 1116394.8721
30 | 2567139.6769 | 1116387.7189
31 | 2567109.9306 | 1116368.7156
32 | 2567172.2016 | 1116464.8588
33 | 2567219.1864 | 1116430.1693
34 | 2567239.7647 | 1116433.9387
35 | 2567244.4221 | 1116426.0806
36 | 2567252.8441 | 1116411.8722
37 | 2567234.6464 | 1116404.2003
38 | 2567257.6786 | 1116403.7196
39 | 2567187.7871 | 1116415.6516
40 | 2567192.8655 | 1116373.7783
41 | 2567267.799 | 1116386.6562
42 | 2567432.0362 | 1116118.5887
43 | 2567490.4293 | 1116135.8719
44 | 2567485.4691 | 1116340.1239
45 | 2567501.6956 | 1116543.8062
46 | 2567537.8594 | 1116255.1319
47 | 2567616.6765 | 1116471.8834
48 | 2567261.6819 | 1116370.4033
49 | 2567746.2425 | 1116165.1598
50 | 2567774.569 | 1116201.9385
51 | 2567772.8138 | 1116223.4579
52 | 2567677.9964 | 1116370.8508
53 | 2567751.7076 | 1116296.7194
54 | 2567808.2335 | 1116285.6477
55 | 2567782.0625 | 1116288.3199
56 | 2567789.3188 | 1116276.7309
57 | 2567772.9793 | 1116293.3605
58 | 2567836.598 | 1116262.4616
59 | 2567252.8441 | 1116411.8722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1