## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6218-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6218-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6218-23_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6218-23_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6218-23_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6218-23_0_4_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_6218-23_0_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_6218-23_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_6218-23_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_6218-23_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6218-23_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6218-23_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6218-23_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6218-23_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6218-23_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6218-23_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6218-23_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_6218-23_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_6218-23_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6218-23_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6218-23_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6218-23_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6218-23_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_6218-23_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_6218-23_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6218-23_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6218-23_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6218-23_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6218-23_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6218-23_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_6218-23_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_6218-23_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_6218-23_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_6218-23_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_6218-23_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_6218-23_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_6218-23_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_6218-23_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_6218-23_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_MV_203_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6218-23_0_4_load_0 | 0 | 0.0066157 | 0.0016581 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6218-23_0_4_load_1 | 1 | 0.010961 | 0.002747 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6218-23_0_4_load_2 | 2 | 0.0037086 | 0.00092946 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6218-23_0_4_load_3 | 3 | 0.0044214 | 0.0011081 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6218-23_0_4_load_4 | 4 | 0.0052909 | 0.001326 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6218-23_0_4_load_14 | 5 | 0.0089253 | 0.0022369 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6218-23_0_4_load_29 | 6 | 0.0055708 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6218-23_0_4_load_13 | 7 | 0.0068393 | 0.0017141 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6218-23_0_4_load_28 | 8 | 0.00445 | 0.0011153 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6218-23_0_4_load_5 | 9 | 0.0029507 | 0.00073953 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6218-23_0_4_load_6 | 10 | 0.0035929 | 0.00090048 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6218-23_0_4_load_9 | 12 | 0.0071309 | 0.0017872 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6218-23_0_4_load_10 | 13 | 0.0059768 | 0.0014979 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6218-23_0_4_load_11 | 14 | 0.010281 | 0.0025765 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6218-23_0_4_load_12 | 15 | 0.0053319 | 0.0013363 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6218-23_0_4_load_27 | 16 | 0.0070941 | 0.0017779 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6218-23_0_4_load_15 | 18 | 0.005507 | 0.0013802 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6218-23_0_4_load_16 | 19 | 0.013859 | 0.0034734 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6218-23_0_4_load_18 | 21 | 0.010827 | 0.0027136 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6218-23_0_4_load_20 | 24 | 0.0053907 | 0.001351 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6218-23_0_4_load_21 | 25 | 0.006242 | 0.0015644 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6218-23_0_4_load_23 | 27 | 0.007401 | 0.0018549 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6218-23_0_4_load_24 | 28 | 0.011283 | 0.0028278 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6218-23_0_4_load_34 | 29 | 0.0040507 | 0.0010152 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6218-23_0_4_load_33 | 31 | 0.0031652 | 0.00079328 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6218-23_0_4_load_30 | 32 | 0.0041724 | 0.0010457 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6218-23_0_4_load_35 | 35 | 0.013711 | 0.0034362 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6218-23_0_4_load_38 | 36 | 0.0016121 | 0.00040403 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6218-23_0_4_load_37 | 38 | 0.042764 | 0.010718 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6218-23_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0019256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_6218-23_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_6218-23_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6218-23_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00097835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6218-23_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.00059719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_6218-23_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.00819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_6218-23_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0012277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6218-23_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.00095736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_6218-23_0_4_line_8 | NAYY 4x150 SE | 7 | 13 | 0.01449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6218-23_0_4_line_9 | NAYY 4x150 SE | 8 | 27 | 0.0042508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_6218-23_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.045672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6218-23_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.017434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6218-23_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.022198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6218-23_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0017234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_6218-23_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.01336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6218-23_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.00047352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_6218-23_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.011073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6218-23_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.25287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6218-23_0_4_line_18 | NAYY 4x150 SE | 17 | 20 | 0.12641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_6218-23_0_4_line_19 | NAYY 4x150 SE | 18 | 19 | 0.038607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6218-23_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.15032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_6218-23_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.024598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6218-23_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.08842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_6218-23_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.18433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_6218-23_0_4_line_24 | NAYY 4x150 SE | 23 | 31 | 0.065991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6218-23_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.012323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_6218-23_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.056296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_6218-23_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0077577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_6218-23_0_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.15354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_6218-23_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0014688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6218-23_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.09131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6218-23_0_4_line_31 | NAYY 4x150 SE | 30 | 35 | 0.038768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6218-23_0_4_line_32 | NAYY 4x150 SE | 30 | 33 | 0.16122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6218-23_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.13108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6218-23_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.12951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6218-23_0_4_line_35 | NAYY 4x150 SE | 34 | 36 | 0.055354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6218-23_0_4_line_36 | NAYY 4x150 SE | 35 | 37 | 0.029815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6218-23_0_4_line_37 | NAYY 4x150 SE | 37 | 38 | 0.054434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6218-23_0_4_trafo_22 | 0.25 MVA 20/0.4 kV | 39 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2567410.5028 | 1107481.1573 | 2567411.5587 | 1107482.7676
1 | 2567410.5028 | 1107481.1573 | 2567407.7402 | 1107476.9442 | 2567404.5478 | 1107472.5577
2 | 2567422.2189 | 1107499.0247 | 2567411.5587 | 1107482.7676
3 | 2567403.9721 | 1107471.7666 | 2567404.5478 | 1107472.5577
4 | 2567422.2189 | 1107499.0247 | 2567422.5464 | 1107499.5241
5 | 2567399.1529 | 1107465.1447 | 2567403.9721 | 1107471.7666
6 | 2567423.2196 | 1107500.5507 | 2567422.5464 | 1107499.5241
7 | 2567398.5895 | 1107464.3706 | 2567399.1529 | 1107465.1447
8 | 2567423.2196 | 1107500.5507 | 2567426.4011 | 1107505.4027 | 2567431.5288 | 1107512.416
9 | 2567395.729 | 1107461.2539 | 2567397.5216 | 1107462.9032 | 2567398.5895 | 1107464.3706
10 | 2567420.6487 | 1107525.6374 | 2567412.5344 | 1107527.3663 | 2567404.1558 | 1107530.5131 | 2567398.5829 | 1107536.435 | 2567397.1562 | 1107539.9556 | 2567396.4647 | 1107546.4737 | 2567397.313 | 1107550.3934 | 2567397.7483 | 1107553.7039 | 2567397.6131 | 1107556.2913
11 | 2567432.5459 | 1107513.8072 | 2567429.3827 | 1107517.8707 | 2567426.8181 | 1107522.5425 | 2567421.9552 | 1107525.359 | 2567420.6487 | 1107525.6374
12 | 2567432.5459 | 1107513.8072 | 2567442.1331 | 1107526.9178 | 2567445.4057 | 1107531.8943
13 | 2567432.5459 | 1107513.8072 | 2567431.5288 | 1107512.416
14 | 2567452.7461 | 1107543.0567 | 2567445.4057 | 1107531.8943
15 | 2567453.0062 | 1107543.4523 | 2567452.7461 | 1107543.0567
16 | 2567459.8495 | 1107552.1242 | 2567455.3839 | 1107547.0679 | 2567453.0062 | 1107543.4523
17 | 2567653.0139 | 1107704.8219 | 2567648.6788 | 1107706.6015 | 2567645.6901 | 1107707.1622 | 2567642.3558 | 1107706.702 | 2567634.9448 | 1107704.3071 | 2567620.8717 | 1107696.4229 | 2567582.8964 | 1107675.7045 | 2567559.4599 | 1107651.6957 | 2567534.0539 | 1107623.7511 | 2567521.5399 | 1107609.7111 | 2567507.3213 | 1107596.414 | 2567478.1405 | 1107571.0022 | 2567467.0122 | 1107560.2343 | 2567459.8495 | 1107552.1242
18 | 2567653.0139 | 1107704.8219 | 2567636.4023 | 1107693.5272 | 2567633.1351 | 1107692.6108 | 2567629.9955 | 1107690.9713 | 2567627.1145 | 1107687.1069 | 2567618.387 | 1107677.0596 | 2567606.1576 | 1107661.2615 | 2567602.0365 | 1107655.3583 | 2567600.2062 | 1107651.3772 | 2567598.1081 | 1107645.0185 | 2567597.0039 | 1107639.4883 | 2567590.2944 | 1107628.0851 | 2567580.6587 | 1107605.8365
19 | 2567467.6448 | 1107461.6313 | 2567480.188 | 1107481.6567 | 2567488.7492 | 1107493.9468
20 | 2567580.6587 | 1107605.8365 | 2567554.2802 | 1107591.1481 | 2567549.1021 | 1107588.5524 | 2567544.1231 | 1107585.5776 | 2567529.5713 | 1107566.3792 | 2567515.744 | 1107546.7767 | 2567501.4886 | 1107523.786 | 2567497.133 | 1107518.8736 | 2567493.9923 | 1107512.7429 | 2567491.7195 | 1107505.5736 | 2567491.2667 | 1107497.5609 | 2567488.7492 | 1107493.9468
21 | 2567467.6448 | 1107461.6313 | 2567465.8088 | 1107458.7001 | 2567457.3725 | 1107439.3171
22 | 2567451.1994 | 1107352.7691 | 2567446.3874 | 1107372.2494 | 2567447.0641 | 1107397.4363 | 2567454.2666 | 1107427.0905 | 2567456.6661 | 1107437.6941 | 2567457.3725 | 1107439.3171
23 | 2567451.1994 | 1107352.7691 | 2567452.3948 | 1107347.9268 | 2567456.4655 | 1107331.4521 | 2567462.3247 | 1107315.4902 | 2567472.4993 | 1107286.832 | 2567483.5368 | 1107264.817 | 2567501.3801 | 1107250.4026 | 2567489.1159 | 1107218.2744 | 2567476.7901 | 1107187.6583
24 | 2567476.7901 | 1107187.6583 | 2567480.872 | 1107174.6853 | 2567476.3835 | 1107127.8633 | 2567475.053 | 1107122.6774
25 | 2567390.0201 | 1107456.0014 | 2567380.9512 | 1107447.6575
26 | 2567337.9016 | 1107411.4429 | 2567363.6469 | 1107431.7366 | 2567380.9512 | 1107447.6575
27 | 2567390.0201 | 1107456.0014 | 2567395.729 | 1107461.2539
28 | 2567337.9016 | 1107411.4429 | 2567334.4311 | 1107408.7047 | 2567318.6351 | 1107392.6374 | 2567308.6475 | 1107381.3411 | 2567300.2213 | 1107368.5801 | 2567290.7714 | 1107350.9444 | 2567287.7667 | 1107344.2795 | 2567285.4032 | 1107334.6874 | 2567280.034 | 1107311.1155 | 2567278.1053 | 1107304.7115 | 2567274.9637 | 1107298.4809 | 2567271.4593 | 1107292.3634 | 2567266.0241 | 1107285.178 | 2567262.346 | 1107281.6166
29 | 2567262.346 | 1107281.6166 | 2567261.2908 | 1107280.5949
30 | 2567206.3252 | 1107213.9872 | 2567210.1985 | 1107213.9773 | 2567214.0329 | 1107215.3572 | 2567217.6601 | 1107218.4391 | 2567218.8812 | 1107222.6458 | 2567220.3333 | 1107232.3873 | 2567222.5007 | 1107240.0128 | 2567226.4893 | 1107247.017 | 2567231.296 | 1107252.3492 | 2567240.7545 | 1107261.5249 | 2567255.1436 | 1107274.6426 | 2567261.2908 | 1107280.5949
31 | 2567206.3252 | 1107213.9872 | 2567205.2285 | 1107209.9133 | 2567206.2197 | 1107204.5162 | 2567211.6097 | 1107200.485 | 2567215.2404 | 1107199.9428 | 2567233.7464 | 1107202.3327
32 | 2567206.3252 | 1107213.9872 | 2567201.2056 | 1107216.5496 | 2567198.7964 | 1107219.9421 | 2567197.9695 | 1107224.2822 | 2567197.8558 | 1107227.54 | 2567198.8766 | 1107236.15 | 2567200.947 | 1107242.9978 | 2567203.3371 | 1107247.4871 | 2567207.4297 | 1107253.7015 | 2567214.112 | 1107261.3247 | 2567221.2207 | 1107267.7339 | 2567223.3833 | 1107270.2012 | 2567224.6886 | 1107272.8177 | 2567224.7949 | 1107276.7302 | 2567223.6225 | 1107280.0939 | 2567221.8033 | 1107282.505 | 2567219.3141 | 1107283.9747 | 2567215.3721 | 1107284.1295 | 2567213.491 | 1107283.6728 | 2567210.4706 | 1107281.2657 | 2567205.8951 | 1107275.8211 | 2567197.0875 | 1107262.6399 | 2567190.2804 | 1107250.5595 | 2567186.2589 | 1107243.1775 | 2567182.7506 | 1107239.2056 | 2567177.5931 | 1107234.7869 | 2567170.9756 | 1107230.5873 | 2567169.9436 | 1107229.8926
33 | 2567169.9436 | 1107229.8926 | 2567170.764 | 1107238.6037 | 2567179.6247 | 1107260.1111 | 2567186.5638 | 1107272.3019 | 2567196.3291 | 1107292.4259 | 2567203.2791 | 1107306.6399 | 2567207.8051 | 1107318.6548 | 2567209.9052 | 1107329.5601 | 2567210.51 | 1107338.4503 | 2567213.8626 | 1107352.0406
34 | 2567169.9436 | 1107229.8926 | 2567042.0579 | 1107250.3094
35 | 2567042.0579 | 1107250.3094 | 2567037.4068 | 1107252.2802 | 2567036.8961 | 1107253.6281 | 2567036.8504 | 1107255.1736 | 2567036.7521 | 1107256.9861 | 2567036.2969 | 1107258.5894 | 2567035.6884 | 1107260.4048 | 2567034.5585 | 1107263.0456 | 2567034.0558 | 1107265.8387 | 2567033.7601 | 1107268.3193 | 2567033.6227 | 1107271.4773 | 2567033.5862 | 1107274.7236 | 2567033.4559 | 1107279.171 | 2567033.8313 | 1107281.3923 | 2567034.6706 | 1107283.6111 | 2567035.3537 | 1107285.5194 | 2567036.1452 | 1107287.4828 | 2567036.9831 | 1107289.4348 | 2567036.5265 | 1107290.7824 | 2567035.3875 | 1107291.7224 | 2567033.8882 | 1107291.8306 | 2567032.6399 | 1107291.1704 | 2567030.0349 | 1107288.3943 | 2567028.3972 | 1107286.7257
36 | 2567249.0005 | 1107176.7148 | 2567233.7464 | 1107202.3327
37 | 2567249.0005 | 1107176.7148 | 2567266.9653 | 1107173.3936 | 2567271.2275 | 1107173.8264 | 2567275.7193 | 1107175.2361 | 2567288.4257 | 1107184.5611 | 2567295.7842 | 1107175.6834

## bus_geodata
| x | y | coords
0 | 2567410.5028 | 1107481.1573
1 | 2567411.5587 | 1107482.7676
2 | 2567404.5478 | 1107472.5577
3 | 2567422.2189 | 1107499.0247
4 | 2567403.9721 | 1107471.7666
5 | 2567422.5464 | 1107499.5241
6 | 2567399.1529 | 1107465.1447
7 | 2567423.2196 | 1107500.5507
8 | 2567398.5895 | 1107464.3706
9 | 2567420.6487 | 1107525.6374
10 | 2567397.6131 | 1107556.2913
11 | 2567432.5459 | 1107513.8072
12 | 2567445.4057 | 1107531.8943
13 | 2567431.5288 | 1107512.416
14 | 2567452.7461 | 1107543.0567
15 | 2567453.0062 | 1107543.4523
16 | 2567459.8495 | 1107552.1242
17 | 2567653.0139 | 1107704.8219
18 | 2567488.7492 | 1107493.9468
19 | 2567467.6448 | 1107461.6313
20 | 2567580.6587 | 1107605.8365
21 | 2567457.3725 | 1107439.3171
22 | 2567451.1994 | 1107352.7691
23 | 2567476.7901 | 1107187.6583
24 | 2567380.9512 | 1107447.6575
25 | 2567390.0201 | 1107456.0013
26 | 2567337.9016 | 1107411.4429
27 | 2567395.729 | 1107461.2539
28 | 2567262.346 | 1107281.6166
29 | 2567261.2908 | 1107280.5949
30 | 2567206.3252 | 1107213.9872
31 | 2567475.053 | 1107122.6774
32 | 2567213.8626 | 1107352.0406
33 | 2567169.9436 | 1107229.8926
34 | 2567042.0579 | 1107250.3094
35 | 2567233.7464 | 1107202.3327
36 | 2567028.3972 | 1107286.7257
37 | 2567249.0005 | 1107176.7148
38 | 2567295.7842 | 1107175.6834
39 | 2567338.7283 | 1107289.6763

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1