## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6220-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6220-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6220-2_0_3_node_37 | 0.4 | n |  | TRUE
3 | bus_LV_6220-2_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6220-2_0_3_node_35 | 0.4 | n |  | TRUE
5 | bus_LV_6220-2_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_6220-2_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_6220-2_0_3_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_6220-2_0_3_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_6220-2_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_6220-2_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_6220-2_0_3_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_6220-2_0_3_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_6220-2_0_3_node_3 | 0.4 | n |  | TRUE
14 | bus_LV_6220-2_0_3_node_4 | 0.4 | n |  | TRUE
15 | bus_LV_6220-2_0_3_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_6220-2_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_6220-2_0_3_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_6220-2_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6220-2_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_6220-2_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_6220-2_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_6220-2_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_6220-2_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_6220-2_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_6220-2_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_6220-2_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6220-2_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_6220-2_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6220-2_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6220-2_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6220-2_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6220-2_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6220-2_0_3_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_6220-2_0_3_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_6220-2_0_3_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_6220-2_0_3_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_6220-2_0_3_node_82 | 0.4 | n |  | TRUE
38 | bus_LV_6220-2_0_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_6220-2_0_3_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_6220-2_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_6220-2_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_6220-2_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6220-2_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_6220-2_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6220-2_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_6220-2_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_6220-2_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_6220-2_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_6220-2_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_6220-2_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6220-2_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6220-2_0_3_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_6220-2_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_6220-2_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_6220-2_0_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_6220-2_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_6220-2_0_3_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_6220-2_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_6220-2_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_6220-2_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_6220-2_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_6220-2_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_6220-2_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_6220-2_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_6220-2_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_6220-2_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_6220-2_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_6220-2_0_3_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_6220-2_0_3_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_6220-2_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6220-2_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6220-2_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6220-2_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_6220-2_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_6220-2_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_6220-2_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_6220-2_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_6220-2_0_3_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_6220-2_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_6220-2_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_6220-2_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_MV_110_1_node_205 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6220-2_0_3_load_0 | 0 | 0.0034339 | 0.00086061 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6220-2_0_3_load_37 | 2 | 0.0040592 | 0.0010173 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6220-2_0_3_load_14 | 5 | 0.0024798 | 0.00062149 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6220-2_0_3_load_17 | 6 | 0.002706 | 0.0006782 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6220-2_0_3_load_33 | 7 | 0.0045054 | 0.0011292 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6220-2_0_3_load_34 | 8 | 0.0029214 | 0.00073218 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6220-2_0_3_load_13 | 9 | 0.0037214 | 0.00093267 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6220-2_0_3_load_18 | 10 | 0.0027294 | 0.00068405 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6220-2_0_3_load_52 | 11 | 0.0016994 | 0.00042591 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6220-2_0_3_load_3 | 13 | 0.00098416 | 0.00024665 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6220-2_0_3_load_4 | 14 | 0.0033662 | 0.00084364 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6220-2_0_3_load_5 | 15 | 0.0025598 | 0.00064155 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6220-2_0_3_load_7 | 16 | 0.0014332 | 0.00035919 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6220-2_0_3_load_6 | 17 | 0.001006 | 0.00025212 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6220-2_0_3_load_8 | 18 | 0.0012677 | 0.00031773 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6220-2_0_3_load_9 | 19 | 0.0012659 | 0.00031726 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6220-2_0_3_load_27 | 20 | 0.0018361 | 0.00046018 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6220-2_0_3_load_25 | 21 | 0.00089467 | 0.00022422 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6220-2_0_3_load_10 | 22 | 0.0034166 | 0.00085627 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6220-2_0_3_load_11 | 23 | 0.0021541 | 0.00053987 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6220-2_0_3_load_12 | 24 | 0.00098744 | 0.00024748 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6220-2_0_3_load_26 | 25 | 0.0017828 | 0.0004468 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6220-2_0_3_load_16 | 28 | 0.0010357 | 0.00025956 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6220-2_0_3_load_24 | 31 | 0.0018793 | 0.000471 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6220-2_0_3_load_56 | 34 | 0.0020514 | 0.00051412 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6220-2_0_3_load_82 | 37 | 0.003483 | 0.00087292 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6220-2_0_3_load_55 | 39 | 0.0033288 | 0.00083429 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6220-2_0_3_load_21 | 40 | 0.0021228 | 0.00053203 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6220-2_0_3_load_22 | 41 | 0.0024193 | 0.00060634 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6220-2_0_3_load_32 | 42 | 0.0029454 | 0.00073818 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6220-2_0_3_load_30 | 43 | 0.0011165 | 0.00027982 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6220-2_0_3_load_31 | 44 | 0.0042478 | 0.0010646 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6220-2_0_3_load_49 | 45 | 0.0021854 | 0.00054771 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6220-2_0_3_load_50 | 46 | 0.0034497 | 0.00086458 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6220-2_0_3_load_38 | 47 | 0.010331 | 0.0025893 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6220-2_0_3_load_40 | 49 | 0.0011585 | 0.00029034 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6220-2_0_3_load_47 | 51 | 0.0026837 | 0.0006726 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6220-2_0_3_load_65 | 54 | 0.019109 | 0.0047891 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6220-2_0_3_load_62 | 55 | 0.0028225 | 0.00070739 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6220-2_0_3_load_46 | 56 | 0.0028306 | 0.00070943 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6220-2_0_3_load_42 | 57 | 0.0023713 | 0.0005943 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6220-2_0_3_load_64 | 58 | 0.0191 | 0.0047868 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6220-2_0_3_load_43 | 59 | 0.0035425 | 0.00088784 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6220-2_0_3_load_54 | 61 | 0.0018537 | 0.00046458 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6220-2_0_3_load_48 | 62 | 0.0018508 | 0.00046385 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6220-2_0_3_load_59 | 64 | 0.0034071 | 0.0008539 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6220-2_0_3_load_60 | 65 | 0.0034965 | 0.00087631 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6220-2_0_3_load_61 | 66 | 0.0088763 | 0.0022246 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6220-2_0_3_load_53 | 67 | 0.0021708 | 0.00054406 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6220-2_0_3_load_77 | 68 | 0.0019278 | 0.00048315 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6220-2_0_3_load_70 | 69 | 0.0030976 | 0.00077634 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6220-2_0_3_load_66 | 70 | 0.0045841 | 0.0011489 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6220-2_0_3_load_67 | 71 | 0.0025313 | 0.00063439 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6220-2_0_3_load_68 | 72 | 0.0071816 | 0.0017999 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6220-2_0_3_load_69 | 73 | 0.0043646 | 0.0010939 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6220-2_0_3_load_71 | 74 | 0.0022378 | 0.00056084 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6220-2_0_3_load_72 | 75 | 0.0029221 | 0.00073235 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6220-2_0_3_load_73 | 76 | 0.0041221 | 0.0010331 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6220-2_0_3_load_74 | 77 | 0.0050792 | 0.001273 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6220-2_0_3_load_79 | 78 | 0.0046628 | 0.0011686 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6220-2_0_3_load_80 | 79 | 0.012872 | 0.003226 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6220-2_0_3_load_75 | 80 | 0.0019291 | 0.00048347 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6220-2_0_3_load_76 | 81 | 0.004506 | 0.0011293 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6220-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6220-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.06996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6220-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.005293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6220-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.053184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6220-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0088852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6220-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.006058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6220-2_0_3_line_6 | NAYY 4x150 SE | 4 | 12 | 0.016851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6220-2_0_3_line_7 | NAYY 4x150 SE | 4 | 7 | 0.015455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6220-2_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.014073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6220-2_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.014218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6220-2_0_3_line_10 | NAYY 4x150 SE | 7 | 8 | 0.028535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6220-2_0_3_line_11 | NAYY 4x150 SE | 9 | 27 | 0.021002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6220-2_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.022149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6220-2_0_3_line_13 | NAYY 4x150 SE | 12 | 45 | 0.01288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6220-2_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0091766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6220-2_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.010141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6220-2_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.00075422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6220-2_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.017817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6220-2_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.015815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6220-2_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0059399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6220-2_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.0066953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6220-2_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0011364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6220-2_0_3_line_22 | NAYY 4x150 SE | 21 | 26 | 0.0026853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6220-2_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.028221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6220-2_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0096598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6220-2_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.011169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6220-2_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.018808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6220-2_0_3_line_27 | NAYY 4x150 SE | 26 | 40 | 0.0059727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6220-2_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.010164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6220-2_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.020943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6220-2_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.014127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6220-2_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.015501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6220-2_0_3_line_32 | NAYY 4x150 SE | 30 | 42 | 0.0069698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6220-2_0_3_line_33 | NAYY 4x150 SE | 31 | 41 | 0.0057533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6220-2_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.078278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6220-2_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.076716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6220-2_0_3_line_36 | NAYY 4x150 SE | 33 | 38 | 0.014264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6220-2_0_3_line_37 | NAYY 4x150 SE | 33 | 37 | 0.017463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6220-2_0_3_line_38 | NAYY 4x150 SE | 34 | 39 | 0.015434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6220-2_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.048755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6220-2_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.031313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6220-2_0_3_line_41 | NAYY 4x150 SE | 36 | 68 | 0.0072348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6220-2_0_3_line_42 | NAYY 4x150 SE | 38 | 69 | 0.022883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6220-2_0_3_line_43 | NAYY 4x150 SE | 39 | 60 | 0.045728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_6220-2_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.0058878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6220-2_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.017651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6220-2_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0059055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6220-2_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.014855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6220-2_0_3_line_48 | NAYY 4x150 SE | 46 | 63 | 0.0010599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6220-2_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.021455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6220-2_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.027729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6220-2_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.019348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6220-2_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.036719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6220-2_0_3_line_53 | NAYY 4x150 SE | 49 | 52 | 0.21257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6220-2_0_3_line_54 | NAYY 4x150 SE | 50 | 53 | 0.002121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6220-2_0_3_line_55 | NAYY 4x150 SE | 50 | 54 | 0.035592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6220-2_0_3_line_56 | NAYY 4x150 SE | 52 | 55 | 0.029052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6220-2_0_3_line_57 | NAYY 4x150 SE | 53 | 56 | 0.041593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6220-2_0_3_line_58 | NAYY 4x150 SE | 53 | 57 | 0.0089177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6220-2_0_3_line_59 | NAYY 4x150 SE | 54 | 58 | 0.041205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6220-2_0_3_line_60 | NAYY 4x150 SE | 55 | 66 | 0.030076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6220-2_0_3_line_61 | NAYY 4x150 SE | 56 | 62 | 0.004924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6220-2_0_3_line_62 | NAYY 4x150 SE | 57 | 59 | 0.028135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6220-2_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.013114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6220-2_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.011003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_6220-2_0_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.010705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_6220-2_0_3_line_66 | NAYY 4x150 SE | 63 | 67 | 0.027541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_6220-2_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.027234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6220-2_0_3_line_68 | NAYY 4x150 SE | 64 | 66 | 0.038382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6220-2_0_3_line_69 | NAYY 4x150 SE | 68 | 80 | 0.065212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6220-2_0_3_line_70 | NAYY 4x150 SE | 69 | 72 | 0.0045545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6220-2_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0088477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6220-2_0_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.010198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6220-2_0_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.0043852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6220-2_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0017074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6220-2_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.0040251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6220-2_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.010587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6220-2_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.0082707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6220-2_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0037125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6220-2_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.022407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6220-2_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.024671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6220-2_0_3_trafo_53 | 0.25 MVA 20/0.4 kV | 82 | 67 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2565371.8431 | 1117696.9891 | 2565371.6365 | 1117698.6355 | 2565369.8546 | 1117712.2638 | 2565369.4725 | 1117733.0765
1 | 2565299.7937 | 1117739.3462 | 2565369.4725 | 1117733.0765
2 | 2565372.4999 | 1117691.7382 | 2565371.8431 | 1117696.9891
3 | 2565299.7937 | 1117739.3462 | 2565296.2806 | 1117722.9692 | 2565294.939 | 1117704.4008 | 2565293.0198 | 1117695.4406 | 2565291.551 | 1117692.3475 | 2565290.3008 | 1117691.0207 | 2565286.9947 | 1117691.8623
4 | 2565372.4999 | 1117691.7382 | 2565374.149 | 1117683.0074
5 | 2565372.4999 | 1117691.7382 | 2565366.5958 | 1117693.095 | 2565366.5958 | 1117693.095
6 | 2565273.7139 | 1117684.0903 | 2565274.342 | 1117687.2883 | 2565276.0073 | 1117688.3126 | 2565279.9415 | 1117689.3238 | 2565283.4643 | 1117689.9261 | 2565285.0196 | 1117690.6397 | 2565286.9947 | 1117691.8623
7 | 2565286.9947 | 1117691.8623 | 2565288.5608 | 1117694.4324 | 2565289.4239 | 1117699.5856 | 2565289.6774 | 1117706.8017
8 | 2565377.8761 | 1117669.5183 | 2565376.8057 | 1117671.4143 | 2565374.6272 | 1117680.4759 | 2565374.149 | 1117683.0074
9 | 2565366.5958 | 1117693.095 | 2565364.8227 | 1117698.8191 | 2565363.2762 | 1117703.686 | 2565362.2605 | 1117706.6346
10 | 2565289.6774 | 1117706.8017 | 2565289.913 | 1117713.5121 | 2565290.9003 | 1117735.3101
11 | 2565388.2747 | 1117651.2717 | 2565386.4019 | 1117654.4174 | 2565377.8761 | 1117669.5183
12 | 2565290.9691 | 1117678.3771 | 2565289.7535 | 1117684.4094 | 2565273.7139 | 1117684.0903
13 | 2565273.7139 | 1117684.0903 | 2565270.8504 | 1117684.0512 | 2565260.8361 | 1117683.8812
14 | 2565474.2638 | 1117712.4984 | 2565472.1949 | 1117709.9434 | 2565467.6733 | 1117706.1705
15 | 2565459.6195 | 1117700.0114 | 2565466.2935 | 1117705.0191 | 2565467.6733 | 1117706.1705
16 | 2565459.6195 | 1117700.0114 | 2565459.0162 | 1117699.5587
17 | 2565446.3634 | 1117687.0612 | 2565447.9771 | 1117688.471 | 2565453.7117 | 1117693.9188 | 2565458.0154 | 1117698.8077 | 2565459.0162 | 1117699.5587
18 | 2565446.3634 | 1117687.0612 | 2565444.3237 | 1117685.2792 | 2565440.2785 | 1117681.0446 | 2565437.293 | 1117677.2265 | 2565436.4281 | 1117674.9841
19 | 2565434.4679 | 1117669.3777 | 2565436.0395 | 1117673.9764 | 2565436.4281 | 1117674.9841
20 | 2565432.1076 | 1117663.1127 | 2565434.2498 | 1117668.7396 | 2565434.4679 | 1117669.3777
21 | 2565431.7033 | 1117662.0507 | 2565432.1076 | 1117663.1127
22 | 2565430.2932 | 1117659.7688 | 2565431.6484 | 1117661.9066 | 2565431.7033 | 1117662.0507
23 | 2565430.3705 | 1117714.3933 | 2565429.9626 | 1117713.8981 | 2565425.3808 | 1117710.3114 | 2565423.5681 | 1117709.1323 | 2565421.9578 | 1117708.2633 | 2565419.8845 | 1117707.3969 | 2565417.7002 | 1117706.0198 | 2565416.2974 | 1117704.994 | 2565414.9929 | 1117703.6119 | 2565414.214 | 1117702.3824 | 2565413.8914 | 1117699.9497 | 2565413.8787 | 1117697.7375 | 2565414.3991 | 1117694.6016
24 | 2565415.6514 | 1117685.0243 | 2565415.4656 | 1117686.4338 | 2565414.6247 | 1117693.2421 | 2565414.3991 | 1117694.6016
25 | 2565418.5871 | 1117674.3541 | 2565418.3012 | 1117674.8562 | 2565416.762 | 1117678.3223 | 2565416.1609 | 1117681.1605 | 2565415.6514 | 1117685.0243
26 | 2565430.2932 | 1117659.7688 | 2565425.3815 | 1117664.5993 | 2565420.8609 | 1117670.3615 | 2565418.5871 | 1117674.3541
27 | 2565430.2932 | 1117659.7688 | 2565428.0737 | 1117656.2797 | 2565426.9513 | 1117654.8248
28 | 2565388.2747 | 1117651.2717 | 2565393.4986 | 1117642.5525
29 | 2565409.6319 | 1117634.074 | 2565406.1503 | 1117632.571 | 2565401.9077 | 1117632.9733 | 2565397.9661 | 1117636.053 | 2565393.6413 | 1117642.3142 | 2565393.4986 | 1117642.5525
30 | 2565409.6319 | 1117634.074 | 2565412.0837 | 1117620.1641
31 | 2565409.6319 | 1117634.074 | 2565412.2049 | 1117635.9269 | 2565415.961 | 1117640.8746 | 2565419.6377 | 1117645.4447 | 2565419.794 | 1117645.6441
32 | 2565412.0837 | 1117620.1641 | 2565410.5332 | 1117613.369
33 | 2565423.3434 | 1117650.172 | 2565419.794 | 1117645.6441
34 | 2565234.7704 | 1117818.2489 | 2565219.3677 | 1117813.2017 | 2565205.9811 | 1117809.8104 | 2565190.8309 | 1117805.7178 | 2565192.3221 | 1117796.6491 | 2565193.3891 | 1117780.9127 | 2565193.7466 | 1117773.3179
35 | 2565234.7704 | 1117818.2489 | 2565238.1425 | 1117803.4109 | 2565238.0045 | 1117786.1473 | 2565237.3284 | 1117777.2912 | 2565237.5998 | 1117772.1648 | 2565235.1107 | 1117767.4434 | 2565233.4443 | 1117763.5399 | 2565232.1336 | 1117761.0795 | 2565231.7219 | 1117753.9227 | 2565232.9413 | 1117744.5332 | 2565232.9733 | 1117743.3197
36 | 2565194.4208 | 1117759.0735 | 2565193.7466 | 1117773.3179
37 | 2565193.7466 | 1117773.3179 | 2565191.9859 | 1117773.1391 | 2565178.198 | 1117768.4273 | 2565177.0785 | 1117768.3448
38 | 2565232.8455 | 1117727.892 | 2565233.1313 | 1117737.3284 | 2565232.9733 | 1117743.3197
39 | 2565117.0947 | 1117769.4247 | 2565119.8466 | 1117770.1759 | 2565122.0049 | 1117771.0528 | 2565126.1851 | 1117773.2297 | 2565130.7979 | 1117775.4932 | 2565132.3529 | 1117776.1401 | 2565134.2793 | 1117776.9516 | 2565135.5284 | 1117778.0894 | 2565136.0094 | 1117778.5202 | 2565138.5454 | 1117780.651 | 2565143.5564 | 1117785.0355 | 2565145.9465 | 1117787.3006 | 2565148.1928 | 1117788.7217 | 2565151.8427 | 1117789.9568 | 2565154.6432 | 1117791.1079 | 2565159.175 | 1117792.7159
40 | 2565159.175 | 1117792.7159 | 2565161.3329 | 1117786.8338 | 2565163.4588 | 1117783.431 | 2565164.6616 | 1117781.8899 | 2565166.1422 | 1117780.3473 | 2565167.5915 | 1117780.061 | 2565168.5692 | 1117779.6329 | 2565169.1645 | 1117778.4733 | 2565170.8287 | 1117775.3066 | 2565171.4248 | 1117774.2804 | 2565173.465 | 1117772.0786 | 2565175.0416 | 1117769.7906 | 2565176.0544 | 1117768.762 | 2565177.0785 | 1117768.3448
41 | 2565117.0947 | 1117769.4247 | 2565116.0749 | 1117766.5625 | 2565113.9182 | 1117762.9629
42 | 2565194.4208 | 1117759.0735 | 2565194.6822 | 1117753.5358 | 2565194.2718 | 1117739.9091 | 2565193.737 | 1117736.2421
43 | 2565223.2189 | 1117683.247 | 2565224.8014 | 1117695.3662 | 2565229.4385 | 1117713.8934 | 2565232.8455 | 1117727.892 | 2565232.8455 | 1117727.892
44 | 2565423.3434 | 1117650.172 | 2565424.5047 | 1117651.6534 | 2565426.9513 | 1117654.8248
45 | 2565400.3992 | 1117600.6442 | 2565402.9749 | 1117602.3628 | 2565408.7904 | 1117605.7312 | 2565410.5332 | 1117613.369
46 | 2565400.3992 | 1117600.6442 | 2565395.8549 | 1117597.6123 | 2565395.7676 | 1117597.1784
47 | 2565260.8361 | 1117683.8812 | 2565245.9833 | 1117683.6291
48 | 2565244.9236 | 1117683.6112 | 2565245.9833 | 1117683.6291
49 | 2565217.7484 | 1117612.4871 | 2565216.102 | 1117612.0519 | 2565210.9326 | 1117612.3374 | 2565209.7367 | 1117612.3998 | 2565207.5164 | 1117612.824 | 2565205.0898 | 1117613.6161 | 2565202.152 | 1117615.434 | 2565198.6293 | 1117619.1349
50 | 2565217.7484 | 1117612.4871 | 2565218.4825 | 1117603.2671 | 2565221.4761 | 1117596.3908 | 2565224.112 | 1117591.7399 | 2565227.6983 | 1117587.3938
51 | 2565215.8912 | 1117631.7409 | 2565217.5468 | 1117615.0006 | 2565217.7484 | 1117612.4871
52 | 2565256.1141 | 1117564.1752 | 2565242.9232 | 1117574.7453 | 2565228.4347 | 1117586.5013 | 2565227.6983 | 1117587.3938
53 | 2565227.6983 | 1117587.3938 | 2565086.744 | 1117428.2717
54 | 2565215.8912 | 1117631.7409 | 2565215.7448 | 1117633.1091 | 2565215.7259 | 1117633.854
55 | 2565215.8912 | 1117631.7409 | 2565206.3795 | 1117627.16 | 2565200.1345 | 1117626.9514 | 2565195.4493 | 1117628.2124 | 2565190.2867 | 1117630.9991 | 2565186.9097 | 1117634.2758 | 2565185.4762 | 1117637.3171
56 | 2565086.744 | 1117428.2717 | 2565091.0806 | 1117426.7458 | 2565094.0644 | 1117423.5381 | 2565099.9193 | 1117414.9777 | 2565106.0617 | 1117407.4673
57 | 2565215.7259 | 1117633.854 | 2565240.1308 | 1117642.0399 | 2565255.776 | 1117644.5914
58 | 2565215.7259 | 1117633.854 | 2565215.6881 | 1117642.025 | 2565215.7512 | 1117642.769
59 | 2565159.5239 | 1117662.568 | 2565159.769 | 1117661.5905 | 2565161.054 | 1117659.571 | 2565162.0807 | 1117658.2755 | 2565163.6785 | 1117656.9767 | 2565165.3814 | 1117656.5 | 2565167.2485 | 1117656.3892 | 2565168.6469 | 1117656.6368 | 2565171.0245 | 1117656.7343 | 2565173.2457 | 1117656.4547 | 2565175.5726 | 1117655.7742 | 2565177.7875 | 1117654.4163 | 2565179.7017 | 1117653.1157 | 2565181.288 | 1117651.15 | 2565182.8731 | 1117647.6391 | 2565184.2492 | 1117642.6954 | 2565184.7976 | 1117638.7569 | 2565185.4762 | 1117637.3171
60 | 2565125.8476 | 1117384.8343 | 2565121.0679 | 1117389.7205 | 2565107.6293 | 1117405.5506 | 2565106.0617 | 1117407.4673
61 | 2565255.776 | 1117644.5914 | 2565260.6358 | 1117645.3839
62 | 2565215.7512 | 1117642.769 | 2565216.7397 | 1117654.4253 | 2565219.8977 | 1117666.7244 | 2565220.6345 | 1117670.39
63 | 2565223.2189 | 1117683.247 | 2565220.6345 | 1117670.39
64 | 2565223.2189 | 1117683.247 | 2565234.2199 | 1117683.4316
65 | 2565244.9236 | 1117683.6112 | 2565234.2199 | 1117683.4316
66 | 2565244.9236 | 1117683.6112 | 2565244.4766 | 1117656.074
67 | 2565150.4863 | 1117355.5377 | 2565151.5791 | 1117353.7929 | 2565154.9242 | 1117350.3163 | 2565158.7068 | 1117347.7599 | 2565162.1416 | 1117347.7845 | 2565165.554 | 1117349.2767 | 2565166.8388 | 1117352.571 | 2565167.1226 | 1117357.6163 | 2565167.11 | 1117357.6511
68 | 2565150.4863 | 1117355.5377 | 2565147.8546 | 1117359.7396 | 2565141.543 | 1117368.0914 | 2565134.4648 | 1117376.0251 | 2565125.8476 | 1117384.8343
69 | 2565077.6199 | 1117709.2879 | 2565078.2963 | 1117711.8197 | 2565081.17 | 1117717.606 | 2565084.9713 | 1117722.3309 | 2565091.8757 | 1117729.817 | 2565100.941 | 1117741.3038 | 2565113.9182 | 1117762.9629
70 | 2565193.0797 | 1117731.7352 | 2565193.737 | 1117736.2421
71 | 2565188.8454 | 1117723.018 | 2565186.1536 | 1117721.3242 | 2565180.8781 | 1117719.2536 | 2565180.8781 | 1117719.2536
72 | 2565188.8454 | 1117723.018 | 2565190.4603 | 1117724.0341 | 2565192.4477 | 1117727.4021 | 2565193.0797 | 1117731.7352
73 | 2565180.8781 | 1117719.2536 | 2565176.5793 | 1117718.3871
74 | 2565174.9056 | 1117718.0498 | 2565176.5793 | 1117718.3871
75 | 2565170.9265 | 1117717.4975 | 2565172.8886 | 1117717.6433 | 2565174.9056 | 1117718.0498
76 | 2565170.9265 | 1117717.4975 | 2565166.0863 | 1117717.1378 | 2565160.3958 | 1117717.8421
77 | 2565160.3958 | 1117717.8421 | 2565159.9627 | 1117717.8957 | 2565155.3748 | 1117718.6225 | 2565152.1859 | 1117718.6649
78 | 2565148.5041 | 1117718.2953 | 2565150.9297 | 1117718.6815 | 2565152.1859 | 1117718.6649
79 | 2565156.9099 | 1117703.7728 | 2565154.2572 | 1117704.1661 | 2565150.6107 | 1117704.8653 | 2565149.7829 | 1117705.8594 | 2565148.7716 | 1117707.1437 | 2565146.5763 | 1117710.5692 | 2565145.569 | 1117713.8878 | 2565146.364 | 1117716.5735 | 2565148.5041 | 1117718.2953 | 2565148.5041 | 1117718.2953
80 | 2565077.6199 | 1117709.2879 | 2565075.9534 | 1117703.051 | 2565074.8828 | 1117690.0729 | 2565073.8563 | 1117684.9826

## bus_geodata
| x | y | coords
0 | 2565369.4725 | 1117733.0765
1 | 2565371.8431 | 1117696.9891
2 | 2565299.7937 | 1117739.3462
3 | 2565372.4999 | 1117691.7382
4 | 2565286.9947 | 1117691.8623
5 | 2565374.149 | 1117683.0074
6 | 2565366.5958 | 1117693.095
7 | 2565289.6774 | 1117706.8017
8 | 2565290.9003 | 1117735.3101
9 | 2565377.8761 | 1117669.5183
10 | 2565362.2605 | 1117706.6346
11 | 2565290.9691 | 1117678.3771
12 | 2565273.7139 | 1117684.0903
13 | 2565474.2638 | 1117712.4984
14 | 2565467.6733 | 1117706.1705
15 | 2565459.6195 | 1117700.0114
16 | 2565459.0162 | 1117699.5587
17 | 2565446.3634 | 1117687.0612
18 | 2565436.4281 | 1117674.9841
19 | 2565434.4679 | 1117669.3777
20 | 2565432.1076 | 1117663.1127
21 | 2565431.7033 | 1117662.0507
22 | 2565430.3705 | 1117714.3933
23 | 2565414.3991 | 1117694.6016
24 | 2565415.6514 | 1117685.0243
25 | 2565418.5871 | 1117674.3541
26 | 2565430.2932 | 1117659.7688
27 | 2565388.2747 | 1117651.2717
28 | 2565393.4986 | 1117642.5525
29 | 2565409.6319 | 1117634.074
30 | 2565412.0837 | 1117620.1641
31 | 2565419.794 | 1117645.6441
32 | 2565234.7704 | 1117818.2489
33 | 2565193.7466 | 1117773.3179
34 | 2565232.9733 | 1117743.3197
35 | 2565159.175 | 1117792.7159
36 | 2565117.0947 | 1117769.4247
37 | 2565177.0785 | 1117768.3448
38 | 2565194.4208 | 1117759.0735
39 | 2565232.8455 | 1117727.892
40 | 2565426.9513 | 1117654.8248
41 | 2565423.3434 | 1117650.172
42 | 2565410.5332 | 1117613.369
43 | 2565400.3992 | 1117600.6442
44 | 2565395.7676 | 1117597.1784
45 | 2565260.8361 | 1117683.8812
46 | 2565245.9833 | 1117683.6291
47 | 2565198.6293 | 1117619.1349
48 | 2565217.7484 | 1117612.4871
49 | 2565227.6983 | 1117587.3938
50 | 2565215.8912 | 1117631.7409
51 | 2565256.1141 | 1117564.1752
52 | 2565086.744 | 1117428.2717
53 | 2565215.7259 | 1117633.854
54 | 2565185.4762 | 1117637.3171
55 | 2565106.0617 | 1117407.4673
56 | 2565255.776 | 1117644.5914
57 | 2565215.7512 | 1117642.769
58 | 2565159.5239 | 1117662.568
59 | 2565220.6345 | 1117670.39
60 | 2565223.2189 | 1117683.247
61 | 2565234.2199 | 1117683.4316
62 | 2565260.6358 | 1117645.3839
63 | 2565244.9236 | 1117683.6112
64 | 2565150.4863 | 1117355.5377
65 | 2565167.11 | 1117357.6511
66 | 2565125.8476 | 1117384.8343
67 | 2565244.4766 | 1117656.074
68 | 2565113.9182 | 1117762.9629
69 | 2565193.737 | 1117736.2421
70 | 2565188.8454 | 1117723.018
71 | 2565180.8781 | 1117719.2536
72 | 2565193.0797 | 1117731.7352
73 | 2565176.5793 | 1117718.3871
74 | 2565174.9056 | 1117718.0498
75 | 2565170.9265 | 1117717.4975
76 | 2565160.3958 | 1117717.8421
77 | 2565152.1859 | 1117718.6649
78 | 2565148.5041 | 1117718.2953
79 | 2565156.9099 | 1117703.7728
80 | 2565077.6199 | 1117709.2879
81 | 2565073.8563 | 1117684.9826
82 | 2565244.4453 | 1117654.1434

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1