## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6240-81_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6240-81_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6240-81_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6240-81_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6240-81_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6240-81_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6240-81_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6240-81_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6240-81_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6240-81_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6240-81_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_6240-81_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_6240-81_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_6240-81_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_6240-81_0_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_6240-81_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_6240-81_0_4_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_6240-81_0_4_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_6240-81_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6240-81_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6240-81_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6240-81_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6240-81_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_6240-81_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6240-81_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_6240-81_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6240-81_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6240-81_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6240-81_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6240-81_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_6240-81_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6240-81_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_6240-81_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_6240-81_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6240-81_0_4_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_6240-81_0_4_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_6240-81_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_6240-81_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_6240-81_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_6240-81_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_6240-81_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_6240-81_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_6240-81_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_6240-81_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6240-81_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_6240-81_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_6240-81_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_MV_113_1_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6240-81_0_4_load_0 | 0 | 0.0031505 | 0.00078959 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6240-81_0_4_load_3 | 2 | 0.0072854 | 0.0018259 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6240-81_0_4_load_2 | 3 | 0.0039908 | 0.0010002 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6240-81_0_4_load_5 | 5 | 0.0052583 | 0.0013179 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6240-81_0_4_load_6 | 6 | 0.0052279 | 0.0013102 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6240-81_0_4_load_7 | 7 | 0.0085815 | 0.0021507 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6240-81_0_4_load_8 | 8 | 0.0029554 | 0.00074069 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6240-81_0_4_load_9 | 9 | 0.0038219 | 0.00095785 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6240-81_0_4_load_16 | 10 | 0.0049608 | 0.0012433 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6240-81_0_4_load_17 | 12 | 0.0030414 | 0.00076225 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6240-81_0_4_load_15 | 13 | 0.0021866 | 0.00054801 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6240-81_0_4_load_14 | 15 | 0.0028298 | 0.0007092 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6240-81_0_4_load_30 | 16 | 0.0048017 | 0.0012034 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6240-81_0_4_load_27 | 17 | 0.0046016 | 0.0011533 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6240-81_0_4_load_11 | 18 | 0.0049072 | 0.0012299 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6240-81_0_4_load_12 | 19 | 0.0053549 | 0.0013421 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6240-81_0_4_load_13 | 20 | 0.0064975 | 0.0016284 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6240-81_0_4_load_18 | 21 | 0.0051941 | 0.0013018 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6240-81_0_4_load_19 | 22 | 0.0020313 | 0.0005091 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6240-81_0_4_load_20 | 23 | 0.0049898 | 0.0012506 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6240-81_0_4_load_28 | 24 | 0.0029189 | 0.00073155 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6240-81_0_4_load_21 | 25 | 0.0038136 | 0.00095579 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6240-81_0_4_load_22 | 26 | 0.0034427 | 0.00086282 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6240-81_0_4_load_26 | 27 | 0.004839 | 0.0012128 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6240-81_0_4_load_31 | 28 | 0.0047923 | 0.0012011 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6240-81_0_4_load_25 | 30 | 0.0043545 | 0.0010913 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6240-81_0_4_load_34 | 31 | 0.0028153 | 0.00070559 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6240-81_0_4_load_32 | 32 | 0.0046256 | 0.0011593 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6240-81_0_4_load_33 | 33 | 0.0046622 | 0.0011685 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6240-81_0_4_load_45 | 34 | 0.005489 | 0.0013757 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6240-81_0_4_load_46 | 35 | 0.01061 | 0.0026592 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6240-81_0_4_load_44 | 36 | 0.030465 | 0.0076353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6240-81_0_4_load_35 | 37 | 0.0084097 | 0.0021077 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6240-81_0_4_load_36 | 38 | 0.0058858 | 0.0014751 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6240-81_0_4_load_37 | 39 | 0.0054307 | 0.0013611 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6240-81_0_4_load_38 | 40 | 0.0049595 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6240-81_0_4_load_39 | 41 | 0.0086684 | 0.0021725 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6240-81_0_4_load_40 | 42 | 0.011903 | 0.0029831 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6240-81_0_4_load_41 | 43 | 0.0046468 | 0.0011646 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6240-81_0_4_load_43 | 45 | 0.0083998 | 0.0021052 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6240-81_0_4_load_47 | 46 | 0.0065823 | 0.0016497 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6240-81_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6240-81_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.14438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6240-81_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6240-81_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.025447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6240-81_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.005717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6240-81_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.032362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6240-81_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.034392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6240-81_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.016928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6240-81_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.016155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6240-81_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0034113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6240-81_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.038839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6240-81_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.019595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6240-81_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.036616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6240-81_0_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.092091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6240-81_0_4_line_14 | NAYY 4x150 SE | 12 | 21 | 0.0028449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6240-81_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.029901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6240-81_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.079978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6240-81_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.068922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6240-81_0_4_line_18 | NAYY 4x150 SE | 15 | 20 | 0.020792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6240-81_0_4_line_19 | NAYY 4x150 SE | 17 | 24 | 0.0063707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6240-81_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.01423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6240-81_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0086373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6240-81_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.015736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6240-81_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.017418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6240-81_0_4_line_24 | NAYY 4x150 SE | 24 | 32 | 0.092512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_6240-81_0_4_line_25 | NAYY 4x150 SE | 25 | 26 | 0.013885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6240-81_0_4_line_26 | NAYY 4x150 SE | 25 | 27 | 0.063118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6240-81_0_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.075847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6240-81_0_4_line_28 | NAYY 4x150 SE | 27 | 29 | 0.021417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6240-81_0_4_line_29 | NAYY 4x150 SE | 28 | 32 | 0.01483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6240-81_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.042183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6240-81_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.066954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6240-81_0_4_line_32 | NAYY 4x150 SE | 32 | 33 | 0.0098462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_6240-81_0_4_line_33 | NAYY 4x150 SE | 33 | 37 | 0.017942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_6240-81_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.0001852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6240-81_0_4_line_35 | NAYY 4x150 SE | 34 | 36 | 0.0095199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6240-81_0_4_line_36 | NAYY 4x150 SE | 35 | 46 | 0.031596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6240-81_0_4_line_37 | NAYY 4x150 SE | 36 | 45 | 0.017441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6240-81_0_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.00638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6240-81_0_4_line_39 | NAYY 4x150 SE | 38 | 39 | 0.0043063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_6240-81_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.029373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_6240-81_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0053078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_6240-81_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.016908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_6240-81_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.017381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_6240-81_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.072952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6240-81_0_4_line_45 | NAYY 4x150 SE | 44 | 45 | 0.043813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6240-81_0_4_trafo_28 | 0.25 MVA 20/0.4 kV | 47 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2600866.9524 | 1126518.1388 | 2600815.1844 | 1126391.0309
1 | 2600959.1234 | 1126402.3596 | 2600815.1844 | 1126391.0309
2 | 2600866.9524 | 1126518.1388 | 2600865.2643 | 1126521.6959 | 2600863.4603 | 1126527.1872 | 2600862.1044 | 1126534.4719
3 | 2600982.2348 | 1126392.8496 | 2600978.0039 | 1126393.2825 | 2600974.0966 | 1126394.0156 | 2600969.0716 | 1126396.0047 | 2600965.3722 | 1126398.1163 | 2600960.509 | 1126401.3505 | 2600959.1234 | 1126402.3596
4 | 2600982.2348 | 1126392.8496 | 2600982.3972 | 1126389.2145 | 2600983.2375 | 1126387.3137 | 2600983.2375 | 1126387.3137
5 | 2600982.2348 | 1126392.8496 | 2600986.8048 | 1126392.6057 | 2600999.5899 | 1126392.2075 | 2601014.5775 | 1126391.7776
6 | 2600983.2375 | 1126387.3137 | 2600985.7348 | 1126384.5906 | 2601008.9026 | 1126371.0653 | 2601012.0096 | 1126368.7585
7 | 2601031.4982 | 1126391.2923 | 2601014.5775 | 1126391.7776
8 | 2601024.9805 | 1126359.1282 | 2601012.0096 | 1126368.7585
9 | 2601031.4982 | 1126391.2923 | 2601034.9081 | 1126391.1945
10 | 2601052.4892 | 1126332.1866 | 2601039.9944 | 1126347.9812 | 2601024.9805 | 1126359.1282
11 | 2601054.4968 | 1126390.7082 | 2601040.8352 | 1126391.0245 | 2601034.9081 | 1126391.1945
12 | 2601052.4892 | 1126332.1866 | 2601051.5736 | 1126323.082 | 2601039.9998 | 1126314.2648 | 2601029.6746 | 1126306.5054
13 | 2601052.4892 | 1126332.1866 | 2601119.6089 | 1126269.1338
14 | 2601057.3409 | 1126390.6424 | 2601054.4968 | 1126390.7082
15 | 2601002.669 | 1126296.1131 | 2601007.0878 | 1126295.7283 | 2601020.1885 | 1126299.3766 | 2601029.6746 | 1126306.5054
16 | 2601148.1968 | 1126203.4068 | 2601132.3507 | 1126209.4848 | 2601125.9531 | 1126215.8645 | 2601125.033 | 1126232.5725 | 2601124.4206 | 1126253.2269 | 2601119.6089 | 1126269.1338
17 | 2601119.6089 | 1126269.1338 | 2601118.6296 | 1126272.3575 | 2601117.4106 | 1126279.9498 | 2601122.5871 | 1126293.6241 | 2601135.3852 | 1126308.2112 | 2601147.8766 | 1126313.6827 | 2601155.8732 | 1126320.0135
18 | 2600985.2672 | 1126304.6679 | 2600986.3637 | 1126302.4173 | 2600993.0693 | 1126296.949 | 2601002.669 | 1126296.1131
19 | 2601160.8681 | 1126323.9678 | 2601155.8732 | 1126320.0135
20 | 2600967.756 | 1126310.7306 | 2600975.3956 | 1126313.3432 | 2600981.484 | 1126312.4326 | 2600981.484 | 1126312.4326
21 | 2600985.2672 | 1126304.6679 | 2600981.484 | 1126312.4326
22 | 2601057.3409 | 1126390.6424 | 2601062.7679 | 1126390.5167 | 2601073.0752 | 1126390.6143
23 | 2601073.0752 | 1126390.6143 | 2601073.5262 | 1126390.6185 | 2601083.1053 | 1126390.9092 | 2601090.4871 | 1126390.7756
24 | 2601229.6455 | 1126385.8394 | 2601160.8681 | 1126323.9678
25 | 2601138.823 | 1126449.0743 | 2601138.1807 | 1126450.5921 | 2601136.8467 | 1126455.1608 | 2601136.0754 | 1126459.0626 | 2601135.7333 | 1126462.5458
26 | 2601198.6239 | 1126469.2665 | 2601138.823 | 1126449.0743
27 | 2601198.6239 | 1126469.2665 | 2601197.0865 | 1126461.4637 | 2601198.5674 | 1126454.2604 | 2601208.6596 | 1126430.3618 | 2601214.4189 | 1126416.7229 | 2601222.1196 | 1126398.4888
28 | 2601211.909 | 1126485.8005 | 2601202.6554 | 1126476.5943 | 2601198.6263 | 1126469.2789 | 2601198.6239 | 1126469.2665
29 | 2601222.1196 | 1126398.4888 | 2601224.6808 | 1126392.4241 | 2601229.6455 | 1126385.8394
30 | 2601211.909 | 1126485.8005 | 2601218.7769 | 1126477.7312 | 2601231.3858 | 1126471.0304 | 2601241.4123 | 1126468.4088 | 2601248.3169 | 1126467.6685
31 | 2601248.3169 | 1126467.6685 | 2601251.7622 | 1126467.2992 | 2601295.4943 | 1126475.7008 | 2601312.8354 | 1126483.36
32 | 2601229.6455 | 1126385.8394 | 2601231.7957 | 1126382.9876 | 2601236.6535 | 1126379.0162
33 | 2601236.6535 | 1126379.0162 | 2601242.6713 | 1126374.0964 | 2601251.4861 | 1126369.0265
34 | 2601283.3933 | 1126219.253 | 2601283.3679 | 1126219.4365
35 | 2601282.0653 | 1126228.8668 | 2601283.3679 | 1126219.4365
36 | 2601283.3933 | 1126219.253 | 2601287.7167 | 1126187.9539
37 | 2601282.0653 | 1126228.8668 | 2601282.0653 | 1126228.8668 | 2601298.3809 | 1126235.0295
38 | 2601257.0165 | 1126365.8456 | 2601251.4861 | 1126369.0265
39 | 2601257.0165 | 1126365.8456 | 2601260.7494 | 1126363.6986
40 | 2601260.7494 | 1126363.6986 | 2601278.1253 | 1126353.7046 | 2601284.9128 | 1126347.3064
41 | 2601284.9128 | 1126347.3064 | 2601288.7751 | 1126343.6656
42 | 2601288.7751 | 1126343.6656 | 2601291.4602 | 1126341.1345 | 2601299.9317 | 1126331.0424 | 2601299.9549 | 1126331.0076
43 | 2601299.9549 | 1126331.0076 | 2601307.4788 | 1126319.7162 | 2601309.071 | 1126316.2519
44 | 2601339.5373 | 1126249.9666 | 2601309.071 | 1126316.2519
45 | 2601339.5373 | 1126249.9666 | 2601333.0256 | 1126248.22 | 2601325.3812 | 1126245.228 | 2601298.3809 | 1126235.0295

## bus_geodata
| x | y | coords
0 | 2600815.1844 | 1126391.0309
1 | 2600866.9524 | 1126518.1388
2 | 2600959.1234 | 1126402.3596
3 | 2600862.1044 | 1126534.4719
4 | 2600982.2348 | 1126392.8496
5 | 2600983.2375 | 1126387.3137
6 | 2601014.5775 | 1126391.7776
7 | 2601012.0096 | 1126368.7585
8 | 2601031.4982 | 1126391.2923
9 | 2601024.9805 | 1126359.1282
10 | 2601034.9081 | 1126391.1945
11 | 2601052.4892 | 1126332.1866
12 | 2601054.4968 | 1126390.7082
13 | 2601029.6746 | 1126306.5054
14 | 2601119.6089 | 1126269.1338
15 | 2601002.669 | 1126296.1131
16 | 2601148.1968 | 1126203.4068
17 | 2601155.8732 | 1126320.0135
18 | 2600967.756 | 1126310.7306
19 | 2600981.484 | 1126312.4326
20 | 2600985.2672 | 1126304.6679
21 | 2601057.3409 | 1126390.6424
22 | 2601073.0752 | 1126390.6143
23 | 2601090.4871 | 1126390.7756
24 | 2601160.8681 | 1126323.9678
25 | 2601138.823 | 1126449.0743
26 | 2601135.7333 | 1126462.5458
27 | 2601198.6239 | 1126469.2665
28 | 2601222.1196 | 1126398.4888
29 | 2601211.909 | 1126485.8005
30 | 2601248.3169 | 1126467.6685
31 | 2601312.8354 | 1126483.36
32 | 2601229.6455 | 1126385.8394
33 | 2601236.6535 | 1126379.0162
34 | 2601283.3679 | 1126219.4365
35 | 2601283.3932 | 1126219.253
36 | 2601282.0653 | 1126228.8668
37 | 2601251.4861 | 1126369.0265
38 | 2601257.0165 | 1126365.8456
39 | 2601260.7494 | 1126363.6986
40 | 2601284.9128 | 1126347.3064
41 | 2601288.7751 | 1126343.6656
42 | 2601299.9549 | 1126331.0076
43 | 2601309.071 | 1126316.2519
44 | 2601339.5373 | 1126249.9666
45 | 2601298.3809 | 1126235.0295
46 | 2601287.7167 | 1126187.9539
47 | 2601160.8681 | 1126323.9678

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1