## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6252-47_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6252-47_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6252-47_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6252-47_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6252-47_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6252-47_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6252-47_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_6252-47_0_4_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_6252-47_0_4_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_6252-47_0_4_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_6252-47_0_4_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_6252-47_0_4_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_6252-47_0_4_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_6252-47_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6252-47_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6252-47_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6252-47_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6252-47_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6252-47_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6252-47_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6252-47_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6252-47_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6252-47_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6252-47_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6252-47_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6252-47_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_6252-47_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6252-47_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6252-47_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6252-47_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6252-47_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_6252-47_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6252-47_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_6252-47_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_6252-47_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6252-47_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6252-47_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_6252-47_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_6252-47_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_6252-47_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_6252-47_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_6252-47_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_6252-47_0_4_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_6252-47_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_6252-47_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_6252-47_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_6252-47_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_6252-47_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_6252-47_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_6252-47_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_6252-47_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_6252-47_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6252-47_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_6252-47_0_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_6252-47_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_6252-47_0_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_6252-47_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6252-47_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_6252-47_0_4_node_60 | 0.4 | n |  | TRUE
59 | bus_MV_114_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6252-47_0_4_load_0 | 0 | 0.0086697 | 0.0021728 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6252-47_0_4_load_1 | 1 | 0.0033706 | 0.00084474 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6252-47_0_4_load_4 | 4 | 0.0026069 | 0.00065336 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6252-47_0_4_load_5 | 5 | 0.0032249 | 0.00080823 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6252-47_0_4_load_35 | 7 | 0.0037949 | 0.0009511 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6252-47_0_4_load_38 | 8 | 0.0023661 | 0.00059299 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6252-47_0_4_load_32 | 9 | 0.0040465 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6252-47_0_4_load_34 | 11 | 0.0031749 | 0.00079569 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6252-47_0_4_load_39 | 12 | 0.0019295 | 0.00048357 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6252-47_0_4_load_6 | 13 | 0.0057877 | 0.0014505 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6252-47_0_4_load_8 | 15 | 0.0097254 | 0.0024374 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6252-47_0_4_load_9 | 16 | 0.010537 | 0.0026408 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6252-47_0_4_load_16 | 19 | 0.016062 | 0.0040254 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6252-47_0_4_load_13 | 20 | 0.0053818 | 0.0013488 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6252-47_0_4_load_18 | 22 | 0.0052388 | 0.001313 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6252-47_0_4_load_21 | 23 | 0.0065107 | 0.0016317 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6252-47_0_4_load_17 | 24 | 0.0040094 | 0.0010048 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6252-47_0_4_load_22 | 25 | 0.0030151 | 0.00075567 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6252-47_0_4_load_19 | 26 | 0.0088121 | 0.0022085 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6252-47_0_4_load_20 | 27 | 0.0059678 | 0.0014957 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6252-47_0_4_load_26 | 28 | 0.0052163 | 0.0013073 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6252-47_0_4_load_24 | 30 | 0.0025131 | 0.00062984 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6252-47_0_4_load_25 | 31 | 0.001122 | 0.00028119 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6252-47_0_4_load_29 | 32 | 0.0034045 | 0.00085326 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6252-47_0_4_load_28 | 33 | 0.0024227 | 0.00060719 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6252-47_0_4_load_33 | 34 | 0.0049136 | 0.0012315 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6252-47_0_4_load_36 | 35 | 0.0026582 | 0.00066622 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6252-47_0_4_load_37 | 36 | 0.0025228 | 0.00063228 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6252-47_0_4_load_43 | 37 | 0.0035833 | 0.00089806 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6252-47_0_4_load_40 | 39 | 0.0030073 | 0.0007537 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6252-47_0_4_load_41 | 40 | 0.002567 | 0.00064334 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6252-47_0_4_load_42 | 41 | 0.002352 | 0.00058948 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6252-47_0_4_load_53 | 43 | 0.018143 | 0.0045471 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6252-47_0_4_load_50 | 45 | 0.0058912 | 0.0014765 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6252-47_0_4_load_46 | 47 | 0.0087323 | 0.0021885 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6252-47_0_4_load_47 | 48 | 0.0028073 | 0.00070358 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6252-47_0_4_load_49 | 49 | 0.0037558 | 0.0009413 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6252-47_0_4_load_56 | 51 | 0.0034624 | 0.00086776 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6252-47_0_4_load_63 | 52 | 0.005832 | 0.0014616 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6252-47_0_4_load_54 | 54 | 0.0020329 | 0.00050949 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6252-47_0_4_load_61 | 55 | 0.0023984 | 0.0006011 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6252-47_0_4_load_55 | 56 | 0.008865 | 0.0022218 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6252-47_0_4_load_59 | 57 | 0.0020488 | 0.00051347 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6252-47_0_4_load_60 | 58 | 0.0015537 | 0.00038939 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6252-47_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.077446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_6252-47_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.040928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_6252-47_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6252-47_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0075757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6252-47_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.015186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6252-47_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.036205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_6252-47_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.02043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6252-47_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0030705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6252-47_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0038848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6252-47_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.004702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_6252-47_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.00045542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_6252-47_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0071281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6252-47_0_4_line_12 | NAYY 4x150 SE | 9 | 34 | 0.0098998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6252-47_0_4_line_13 | NAYY 4x150 SE | 10 | 32 | 0.03477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_6252-47_0_4_line_14 | NAYY 4x150 SE | 11 | 35 | 0.046242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6252-47_0_4_line_15 | NAYY 4x150 SE | 12 | 39 | 0.010269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6252-47_0_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.0075155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6252-47_0_4_line_17 | NAYY 4x150 SE | 13 | 15 | 0.021874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6252-47_0_4_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0044327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6252-47_0_4_line_19 | NAYY 4x150 SE | 14 | 17 | 0.030721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6252-47_0_4_line_20 | NAYY 4x150 SE | 16 | 18 | 0.011578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6252-47_0_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.036864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6252-47_0_4_line_22 | NAYY 4x150 SE | 17 | 20 | 0.069501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6252-47_0_4_line_23 | NAYY 4x150 SE | 18 | 21 | 0.015545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6252-47_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.039626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6252-47_0_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.022959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6252-47_0_4_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0039719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6252-47_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.026222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_6252-47_0_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.018797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6252-47_0_4_line_29 | NAYY 4x150 SE | 25 | 29 | 0.022742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_6252-47_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0062445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6252-47_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0072224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6252-47_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.039765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_6252-47_0_4_line_33 | NAYY 4x150 SE | 29 | 31 | 0.063406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6252-47_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.04931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_6252-47_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0062963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6252-47_0_4_line_36 | NAYY 4x150 SE | 35 | 36 | 0.018956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_6252-47_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.05497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6252-47_0_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.010036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6252-47_0_4_line_39 | NAYY 4x150 SE | 38 | 44 | 0.083558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6252-47_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.018757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6252-47_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0038072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6252-47_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.07946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6252-47_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.080734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6252-47_0_4_line_44 | NAYY 4x150 SE | 44 | 45 | 0.113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6252-47_0_4_line_45 | NAYY 4x150 SE | 45 | 46 | 0.019145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6252-47_0_4_line_46 | NAYY 4x150 SE | 46 | 50 | 0.099967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6252-47_0_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.054726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6252-47_0_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.08135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6252-47_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.0091052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6252-47_0_4_line_50 | NAYY 4x150 SE | 49 | 51 | 0.0086843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6252-47_0_4_line_51 | NAYY 4x150 SE | 50 | 52 | 0.012116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6252-47_0_4_line_52 | NAYY 4x150 SE | 50 | 53 | 0.010156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6252-47_0_4_line_53 | NAYY 4x150 SE | 51 | 54 | 0.017346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6252-47_0_4_line_54 | NAYY 4x150 SE | 53 | 55 | 0.027586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6252-47_0_4_line_55 | NAYY 4x150 SE | 54 | 56 | 0.0018496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6252-47_0_4_line_56 | NAYY 4x150 SE | 55 | 58 | 0.0080558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6252-47_0_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.010081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6252-47_0_4_trafo_0 | 0.25 MVA 20/0.4 kV | 59 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2611662.9685 | 1122357.5682 | 2611660.5575 | 1122357.7155 | 2611641.0527 | 1122354.7433 | 2611631.0517 | 1122350.1998 | 2611624.0555 | 1122347.0182 | 2611607.5022 | 1122341.1059 | 2611588.6009 | 1122338.7125
1 | 2611692.8694 | 1122337.6343 | 2611678.7282 | 1122344.6328 | 2611677.5776 | 1122353.4571 | 2611674.8489 | 1122356.8424 | 2611662.9685 | 1122357.5682
2 | 2611559.4162 | 1122338.98 | 2611564.1863 | 1122336.7324 | 2611576.6629 | 1122337.2008 | 2611588.6009 | 1122338.7125
3 | 2611692.8694 | 1122337.6343 | 2611700.4374 | 1122337.2919
4 | 2611692.8694 | 1122337.6343 | 2611678.7662 | 1122332.0034
5 | 2611559.4162 | 1122338.98 | 2611563.4887 | 1122342.6117 | 2611573.4685 | 1122346.2436 | 2611582.7579 | 1122351.9196 | 2611585.4246 | 1122360.8291
6 | 2611700.4374 | 1122337.2919 | 2611713.6079 | 1122336.6959 | 2611720.1454 | 1122333.5716
7 | 2611678.7662 | 1122332.0034 | 2611675.9146 | 1122330.8649
8 | 2611585.4246 | 1122360.8291 | 2611589.1676 | 1122361.8689
9 | 2611580.978 | 1122359.2643 | 2611585.4246 | 1122360.8291
10 | 2611720.1454 | 1122333.5716 | 2611720.5564 | 1122333.3753
11 | 2611669.1792 | 1122328.5324 | 2611675.7472 | 1122330.7981 | 2611675.9146 | 1122330.8649
12 | 2611589.1676 | 1122361.8689 | 2611598.7061 | 1122364.5189
13 | 2611580.978 | 1122359.2643 | 2611572.2273 | 1122374.3884 | 2611566.2034 | 1122387.161 | 2611563.4426 | 1122388.7279
14 | 2611720.5564 | 1122333.3753 | 2611729.2462 | 1122329.2224 | 2611761.0441 | 1122311.0775
15 | 2611659.4719 | 1122325.1838 | 2611669.1792 | 1122328.5324
16 | 2611628.7521 | 1122471.9773 | 2611636.0986 | 1122470.392
17 | 2611657.1448 | 1122464.5279 | 2611644.8373 | 1122468.5063 | 2611636.0986 | 1122470.392
18 | 2611628.7521 | 1122471.9773 | 2611625.4959 | 1122468.9696
19 | 2611611.1413 | 1122490.9752 | 2611609.8925 | 1122486.7151 | 2611612.4044 | 1122483.7185 | 2611622.4582 | 1122480.7251 | 2611626.981 | 1122478.7327 | 2611628.7521 | 1122471.9773
20 | 2611614.1956 | 1122466.4468 | 2611625.4959 | 1122468.9696
21 | 2611611.1413 | 1122490.9752 | 2611604.6078 | 1122491.9632 | 2611596.0655 | 1122494.9484 | 2611574.9613 | 1122497.9096
22 | 2611611.1413 | 1122490.9752 | 2611614.1455 | 1122492.7262 | 2611627.7118 | 1122491.7516 | 2611648.5631 | 1122488.0452 | 2611668.4186 | 1122480.8131 | 2611678.5295 | 1122480.623
23 | 2611614.1956 | 1122466.4468 | 2611598.7144 | 1122464.6052
24 | 2611598.7144 | 1122464.6052 | 2611613.4968 | 1122448.7923 | 2611623.2371 | 1122440.3512 | 2611624.8283 | 1122435.5155
25 | 2611598.7144 | 1122464.6052 | 2611587.5738 | 1122463.2833 | 2611575.9877 | 1122461.3888
26 | 2611626.0697 | 1122431.7426 | 2611624.8283 | 1122435.5155
27 | 2611575.9877 | 1122461.3888 | 2611569.0025 | 1122460.2465 | 2611560.694 | 1122457.874 | 2611550.4932 | 1122455.3722
28 | 2611624.9394 | 1122413.1411 | 2611624.9394 | 1122413.1411 | 2611626.3762 | 1122419.9472 | 2611626.3553 | 1122430.8748 | 2611626.0697 | 1122431.7426
29 | 2611528.4831 | 1122449.6533 | 2611544.569 | 1122453.9193 | 2611550.4932 | 1122455.3722
30 | 2611629.7859 | 1122409.2034 | 2611624.9394 | 1122413.1411
31 | 2611636.12 | 1122405.7367 | 2611629.8671 | 1122409.1375 | 2611629.7859 | 1122409.2034
32 | 2611528.4831 | 1122449.6533 | 2611521.6775 | 1122439.5466 | 2611520.2652 | 1122419.7454 | 2611523.0882 | 1122412.5504
33 | 2611528.4831 | 1122449.6533 | 2611529.0637 | 1122452.5559 | 2611534.526 | 1122463.3826 | 2611535.0079 | 1122481.737 | 2611531.8729 | 1122500.1845 | 2611532.3727 | 1122511.4202
34 | 2611563.4426 | 1122388.7279 | 2611563.1386 | 1122388.9004 | 2611547.6247 | 1122391.9614 | 2611532.8816 | 1122399.2703 | 2611524.6279 | 1122408.6259 | 2611523.0882 | 1122412.5504
35 | 2611604.7727 | 1122366.2042 | 2611598.7061 | 1122364.5189
36 | 2611761.0441 | 1122311.0775 | 2611764.4658 | 1122309.125 | 2611777.306 | 1122301.3398
37 | 2611828.077 | 1122281.9939 | 2611809.1783 | 1122285.3221 | 2611792.392 | 1122292.1929 | 2611777.306 | 1122301.3398
38 | 2611837.9607 | 1122280.2533 | 2611828.077 | 1122281.9939
39 | 2611920.9993 | 1122277.1806 | 2611913.6347 | 1122277.1106 | 2611895.6426 | 1122281.3219 | 2611878.0995 | 1122280.7429 | 2611854.6144 | 1122278.2292 | 2611849.4468 | 1122278.6082 | 2611837.9607 | 1122280.2533
40 | 2611659.4719 | 1122325.1838 | 2611650.9242 | 1122322.2352 | 2611641.9419 | 1122318.535
41 | 2611638.4217 | 1122317.0849 | 2611641.9419 | 1122318.535
42 | 2611564.2541 | 1122288.8535 | 2611592.9635 | 1122297.7347 | 2611618.5528 | 1122308.9001 | 2611638.4217 | 1122317.0849
43 | 2611564.2541 | 1122288.8535 | 2611566.1146 | 1122287.8343 | 2611569.2228 | 1122287.629 | 2611602.6213 | 1122288.2151 | 2611625.8013 | 1122284.9578 | 2611644.317 | 1122281.069
44 | 2611920.9993 | 1122277.1806 | 2611918.7068 | 1122258.567 | 2611916.7031 | 1122246.0792 | 2611911.9186 | 1122239.7889 | 2611902.0129 | 1122229.8758 | 2611893.3852 | 1122221.088 | 2611888.6479 | 1122210.3623 | 2611881.8394 | 1122197.9763 | 2611879.3291 | 1122192.1019 | 2611871.9057 | 1122182.6049 | 2611869.3648 | 1122180.8925
45 | 2611856.5349 | 1122167.2897 | 2611861.6162 | 1122175.6704 | 2611869.3648 | 1122180.8925
46 | 2611767.9932 | 1122124.13 | 2611785.3245 | 1122134.8021 | 2611790.2913 | 1122134.6116 | 2611795.8628 | 1122140.8032 | 2611809.289 | 1122148.8554 | 2611822.9364 | 1122154.2513 | 2611840.0938 | 1122159.0203 | 2611856.5349 | 1122167.2897
47 | 2611856.5349 | 1122167.2897 | 2611845.0272 | 1122168.1121 | 2611811.4416 | 1122176.1841 | 2611802.9452 | 1122177.79
48 | 2611802.9452 | 1122177.79 | 2611795.1404 | 1122179.2651 | 2611787.9768 | 1122182.8308 | 2611771.6283 | 1122202.4421 | 2611759.6552 | 1122208.6442 | 2611734.7778 | 1122217.4492
49 | 2611726.1944 | 1122220.4872 | 2611734.7778 | 1122217.4492
50 | 2611726.1944 | 1122220.4872 | 2611718.0078 | 1122223.3847
51 | 2611767.9932 | 1122124.13 | 2611770.0672 | 1122120.4211 | 2611776.4694 | 1122115.8201
52 | 2611758.677 | 1122128.2362 | 2611767.9932 | 1122124.13
53 | 2611701.2739 | 1122227.5354 | 2611708.7995 | 1122226.6439 | 2611718.0078 | 1122223.3847
54 | 2611758.677 | 1122128.2362 | 2611742.5225 | 1122139.1326 | 2611740.2291 | 1122144.6976 | 2611739.0932 | 1122146.442
55 | 2611701.2739 | 1122227.5354 | 2611699.4371 | 1122227.753
56 | 2611739.0932 | 1122146.442 | 2611734.6975 | 1122153.1928
57 | 2611729.197 | 1122161.6404 | 2611734.6975 | 1122153.1928

## bus_geodata
| x | y | coords
0 | 2611662.9685 | 1122357.5682
1 | 2611588.6009 | 1122338.7125
2 | 2611692.8694 | 1122337.6343
3 | 2611559.4162 | 1122338.98
4 | 2611700.4374 | 1122337.2919
5 | 2611678.7662 | 1122332.0034
6 | 2611585.4246 | 1122360.8291
7 | 2611720.1454 | 1122333.5716
8 | 2611675.9146 | 1122330.8649
9 | 2611589.1676 | 1122361.8689
10 | 2611580.978 | 1122359.2643
11 | 2611720.5564 | 1122333.3753
12 | 2611669.1792 | 1122328.5324
13 | 2611636.0986 | 1122470.392
14 | 2611628.7521 | 1122471.9773
15 | 2611657.1448 | 1122464.5279
16 | 2611625.4959 | 1122468.9696
17 | 2611611.1413 | 1122490.9752
18 | 2611614.1956 | 1122466.4468
19 | 2611574.9613 | 1122497.9096
20 | 2611678.5295 | 1122480.623
21 | 2611598.7144 | 1122464.6052
22 | 2611624.8283 | 1122435.5155
23 | 2611575.9877 | 1122461.3888
24 | 2611626.0697 | 1122431.7426
25 | 2611550.4932 | 1122455.3722
26 | 2611624.9394 | 1122413.1411
27 | 2611629.7859 | 1122409.2034
28 | 2611636.12 | 1122405.7367
29 | 2611528.4831 | 1122449.6533
30 | 2611523.0882 | 1122412.5504
31 | 2611532.3727 | 1122511.4202
32 | 2611563.4426 | 1122388.7279
33 | 2611604.7727 | 1122366.2042
34 | 2611598.7061 | 1122364.5189
35 | 2611761.0441 | 1122311.0775
36 | 2611777.306 | 1122301.3398
37 | 2611828.077 | 1122281.9939
38 | 2611837.9607 | 1122280.2533
39 | 2611659.4719 | 1122325.1838
40 | 2611641.9419 | 1122318.535
41 | 2611638.4217 | 1122317.0849
42 | 2611564.2541 | 1122288.8535
43 | 2611644.317 | 1122281.069
44 | 2611920.9993 | 1122277.1806
45 | 2611869.3648 | 1122180.8925
46 | 2611856.5349 | 1122167.2897
47 | 2611802.9452 | 1122177.79
48 | 2611734.7778 | 1122217.4492
49 | 2611726.1944 | 1122220.4872
50 | 2611767.9932 | 1122124.13
51 | 2611718.0078 | 1122223.3847
52 | 2611776.4694 | 1122115.8201
53 | 2611758.677 | 1122128.2362
54 | 2611701.2739 | 1122227.5354
55 | 2611739.0932 | 1122146.442
56 | 2611699.4371 | 1122227.753
57 | 2611729.197 | 1122161.6404
58 | 2611734.6975 | 1122153.1928
59 | 2611692.8694 | 1122337.6343

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1