## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6252-54_2_2_node_34 | 0.4 | n |  | TRUE
1 | bus_LV_6252-54_2_2_node_35 | 0.4 | n |  | TRUE
2 | bus_LV_6252-54_2_2_node_111 | 0.4 | n |  | TRUE
3 | bus_LV_6252-54_2_2_node_43 | 0.4 | n |  | TRUE
4 | bus_LV_6252-54_2_2_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_6252-54_2_2_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_6252-54_2_2_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_6252-54_2_2_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_6252-54_2_2_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_6252-54_2_2_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_6252-54_2_2_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_6252-54_2_2_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_6252-54_2_2_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_6252-54_2_2_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_6252-54_2_2_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_6252-54_2_2_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_6252-54_2_2_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_6252-54_2_2_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_6252-54_2_2_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_6252-54_2_2_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_6252-54_2_2_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_6252-54_2_2_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_6252-54_2_2_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_6252-54_2_2_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_6252-54_2_2_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_6252-54_2_2_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_6252-54_2_2_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_6252-54_2_2_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_6252-54_2_2_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_6252-54_2_2_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_6252-54_2_2_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_6252-54_2_2_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_6252-54_2_2_node_94 | 0.4 | n |  | TRUE
33 | bus_LV_6252-54_2_2_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_6252-54_2_2_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_6252-54_2_2_node_106 | 0.4 | n |  | TRUE
36 | bus_LV_6252-54_2_2_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_6252-54_2_2_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_6252-54_2_2_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_6252-54_2_2_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_6252-54_2_2_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_6252-54_2_2_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_6252-54_2_2_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_6252-54_2_2_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_6252-54_2_2_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_6252-54_2_2_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_6252-54_2_2_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_6252-54_2_2_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_6252-54_2_2_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_6252-54_2_2_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_6252-54_2_2_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_6252-54_2_2_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_6252-54_2_2_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_6252-54_2_2_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_6252-54_2_2_node_98 | 0.4 | n |  | TRUE
55 | bus_LV_6252-54_2_2_node_99 | 0.4 | n |  | TRUE
56 | bus_LV_6252-54_2_2_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_6252-54_2_2_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_6252-54_2_2_node_102 | 0.4 | n |  | TRUE
59 | bus_LV_6252-54_2_2_node_107 | 0.4 | n |  | TRUE
60 | bus_LV_6252-54_2_2_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_6252-54_2_2_node_105 | 0.4 | n |  | TRUE
62 | bus_LV_6252-54_2_2_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_6252-54_2_2_node_119 | 0.4 | n |  | TRUE
64 | bus_MV_206_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6252-54_2_2_load_34 | 0 | 0.00054506 | 0.0001366 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6252-54_2_2_load_111 | 2 | 0.00093448 | 0.0002342 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6252-54_2_2_load_43 | 3 | 0.00038795 | 9.7228e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6252-54_2_2_load_49 | 4 | 0.0031252 | 0.00078325 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6252-54_2_2_load_52 | 6 | 0.0040861 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6252-54_2_2_load_53 | 7 | 0.0019761 | 0.00049525 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6252-54_2_2_load_55 | 8 | 0.0015756 | 0.00039489 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6252-54_2_2_load_74 | 10 | 0.0016592 | 0.00041585 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6252-54_2_2_load_75 | 15 | 0.0018779 | 0.00047065 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6252-54_2_2_load_68 | 18 | 0.001696 | 0.00042506 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6252-54_2_2_load_59 | 19 | 0.0022771 | 0.00057069 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6252-54_2_2_load_60 | 20 | 0.0030531 | 0.00076518 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6252-54_2_2_load_61 | 21 | 0.0019917 | 0.00049916 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6252-54_2_2_load_63 | 22 | 0.0036841 | 0.00092331 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6252-54_2_2_load_65 | 24 | 0.0026643 | 0.00066773 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6252-54_2_2_load_66 | 25 | 0.0019106 | 0.00047885 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6252-54_2_2_load_67 | 26 | 0.0032224 | 0.00080761 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6252-54_2_2_load_71 | 27 | 0.0052398 | 0.0013132 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6252-54_2_2_load_72 | 28 | 0.0067613 | 0.0016946 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6252-54_2_2_load_73 | 29 | 0.004215 | 0.0010564 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6252-54_2_2_load_92 | 30 | 0.0046113 | 0.0011557 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6252-54_2_2_load_94 | 32 | 0.0031536 | 0.00079036 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6252-54_2_2_load_90 | 33 | 0.0024785 | 0.00062118 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6252-54_2_2_load_76 | 34 | 0.0012368 | 0.00030997 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6252-54_2_2_load_106 | 35 | 0.0003638 | 9.1176e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6252-54_2_2_load_77 | 36 | 0.0048328 | 0.0012112 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6252-54_2_2_load_78 | 37 | 0.0042923 | 0.0010758 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6252-54_2_2_load_80 | 38 | 0.0051659 | 0.0012947 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6252-54_2_2_load_83 | 41 | 0.0065475 | 0.001641 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6252-54_2_2_load_85 | 42 | 0.0041111 | 0.0010303 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6252-54_2_2_load_84 | 43 | 0.0054244 | 0.0013595 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6252-54_2_2_load_93 | 44 | 0.010192 | 0.0025544 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6252-54_2_2_load_86 | 45 | 0.0032351 | 0.00081078 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6252-54_2_2_load_87 | 46 | 0.0038673 | 0.00096924 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6252-54_2_2_load_88 | 47 | 0.0026689 | 0.00066888 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6252-54_2_2_load_89 | 48 | 0.0026528 | 0.00066485 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6252-54_2_2_load_91 | 49 | 0.00034869 | 8.739e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6252-54_2_2_load_103 | 50 | 0.0016898 | 0.00042349 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6252-54_2_2_load_95 | 51 | 0.0044074 | 0.0011046 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6252-54_2_2_load_96 | 52 | 0.00034593 | 8.6699e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6252-54_2_2_load_97 | 53 | 0.00058694 | 0.0001471 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6252-54_2_2_load_98 | 54 | 0.00064359 | 0.0001613 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6252-54_2_2_load_99 | 55 | 0.0004444 | 0.00011138 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6252-54_2_2_load_104 | 60 | 0.0044317 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6252-54_2_2_load_105 | 61 | 0.00039606 | 9.9262e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6252-54_2_2_load_112 | 62 | 0.00076421 | 0.00019153 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6252-54_2_2_load_119 | 63 | 0.00062462 | 0.00015654 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6252-54_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.1156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6252-54_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.53918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6252-54_2_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.1184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6252-54_2_2_line_3 | NAYY 4x150 SE | 2 | 59 | 0.034009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6252-54_2_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.035843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6252-54_2_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.020157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6252-54_2_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0066199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6252-54_2_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0093399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6252-54_2_2_line_8 | NAYY 4x150 SE | 8 | 12 | 0.0060512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6252-54_2_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.030996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6252-54_2_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.034779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6252-54_2_2_line_11 | NAYY 4x150 SE | 10 | 32 | 0.0026205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6252-54_2_2_line_12 | NAYY 4x150 SE | 11 | 27 | 0.026262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6252-54_2_2_line_13 | NAYY 4x150 SE | 11 | 18 | 0.028292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6252-54_2_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.025618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6252-54_2_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.015989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6252-54_2_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.022682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6252-54_2_2_line_17 | NAYY 4x150 SE | 13 | 16 | 0.003131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6252-54_2_2_line_18 | NAYY 4x150 SE | 14 | 17 | 0.035152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6252-54_2_2_line_19 | NAYY 4x150 SE | 14 | 18 | 0.0079382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6252-54_2_2_line_20 | NAYY 4x150 SE | 15 | 33 | 0.00091027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6252-54_2_2_line_21 | NAYY 4x150 SE | 16 | 24 | 0.032835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6252-54_2_2_line_22 | NAYY 4x150 SE | 16 | 20 | 0.017778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6252-54_2_2_line_23 | NAYY 4x150 SE | 17 | 28 | 0.04917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6252-54_2_2_line_24 | NAYY 4x150 SE | 17 | 29 | 0.015747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6252-54_2_2_line_25 | NAYY 4x150 SE | 19 | 20 | 0.023766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6252-54_2_2_line_26 | NAYY 4x150 SE | 19 | 21 | 0.01171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6252-54_2_2_line_27 | NAYY 4x150 SE | 21 | 22 | 0.011398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6252-54_2_2_line_28 | NAYY 4x150 SE | 21 | 23 | 0.015195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6252-54_2_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.006901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6252-54_2_2_line_30 | NAYY 4x150 SE | 23 | 26 | 0.029886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6252-54_2_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.019784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6252-54_2_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.025099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6252-54_2_2_line_33 | NAYY 4x150 SE | 31 | 39 | 0.043921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6252-54_2_2_line_34 | NAYY 4x150 SE | 31 | 36 | 0.006186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6252-54_2_2_line_35 | NAYY 4x150 SE | 32 | 51 | 0.027251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6252-54_2_2_line_36 | NAYY 4x150 SE | 33 | 47 | 0.04315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6252-54_2_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.014469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6252-54_2_2_line_38 | NAYY 4x150 SE | 35 | 57 | 0.078292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6252-54_2_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.013657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6252-54_2_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.01487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6252-54_2_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.035455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6252-54_2_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.023893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6252-54_2_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.038121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6252-54_2_2_line_44 | NAYY 4x150 SE | 40 | 43 | 0.014626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6252-54_2_2_line_45 | NAYY 4x150 SE | 41 | 44 | 0.052013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6252-54_2_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.025003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6252-54_2_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.010456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6252-54_2_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.069726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6252-54_2_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.04894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6252-54_2_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.049899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6252-54_2_2_line_51 | NAYY 4x150 SE | 50 | 56 | 0.10218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6252-54_2_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.021082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6252-54_2_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.033834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6252-54_2_2_line_54 | NAYY 4x150 SE | 53 | 55 | 0.0018729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6252-54_2_2_line_55 | NAYY 4x150 SE | 54 | 56 | 0.13585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6252-54_2_2_line_56 | NAYY 4x150 SE | 55 | 57 | 0.014556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6252-54_2_2_line_57 | NAYY 4x150 SE | 56 | 58 | 0.011154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6252-54_2_2_line_58 | NAYY 4x150 SE | 57 | 59 | 0.075849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6252-54_2_2_line_59 | NAYY 4x150 SE | 58 | 60 | 0.099634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6252-54_2_2_line_60 | NAYY 4x150 SE | 58 | 61 | 0.06244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6252-54_2_2_line_61 | NAYY 4x150 SE | 59 | 62 | 0.2788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6252-54_2_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.07566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6252-54_2_2_trafo_75 | 0.25 MVA 20/0.4 kV | 64 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2610155.0465 | 1117769.5904 | 2610168.9292 | 1117760.9537 | 2610184.6727 | 1117751.8978 | 2610195.0322 | 1117741.1432 | 2610202.8172 | 1117733.1078 | 2610216.8271 | 1117713.1548 | 2610233.6326 | 1117687.6037
1 | 2610707.8996 | 1117944.089 | 2610233.6326 | 1117687.6037
2 | 2610038.7168 | 1117747.5252 | 2610155.0465 | 1117769.5904
3 | 2610706.4585 | 1117978.0587 | 2610707.8996 | 1117944.089
4 | 2611016.9043 | 1117758.0929 | 2611031.814 | 1117737.1096 | 2611037.9483 | 1117729.0829
5 | 2611016.9043 | 1117758.0929 | 2611008.4254 | 1117748.0949 | 2611009.6342 | 1117741.1381
6 | 2611016.9043 | 1117758.0929 | 2611013.2322 | 1117763.601
7 | 2611013.2322 | 1117763.601 | 2611008.0514 | 1117771.3723
8 | 2611008.465 | 1117777.4094 | 2611008.0514 | 1117771.3723
9 | 2611078.9259 | 1117726.3898 | 2611067.9375 | 1117755.373 | 2611067.9375 | 1117755.373
10 | 2611078.9259 | 1117726.3898 | 2611051.1278 | 1117747.3941
11 | 2611067.9375 | 1117755.373 | 2611068.2936 | 1117757.9691
12 | 2611051.1278 | 1117747.3941 | 2611050.1826 | 1117757.8753 | 2611039.5191 | 1117769.4728
13 | 2611051.1278 | 1117747.3941 | 2611028.5513 | 1117764.4459
14 | 2611008.465 | 1117777.4094 | 2610985.6539 | 1117789.1962
15 | 2611022.2169 | 1117769.2302 | 2611014.6447 | 1117774.219 | 2611008.465 | 1117777.4094
16 | 2610985.6539 | 1117789.1962 | 2610985.1405 | 1117795.7318 | 2610979.6308 | 1117803.9815 | 2610973.9487 | 1117806.4766
17 | 2610982.8653 | 1117790.6363 | 2610985.6539 | 1117789.1962
18 | 2611022.2169 | 1117769.2302 | 2611025.0777 | 1117774.827 | 2611025.3422 | 1117782.1867 | 2611016.8577 | 1117792.3763 | 2611010.797 | 1117798.0015
19 | 2611022.2169 | 1117769.2302 | 2611028.5513 | 1117764.4459
20 | 2610973.1153 | 1117806.8425 | 2610973.9487 | 1117806.4766
21 | 2610982.8653 | 1117790.6363 | 2610976.9173 | 1117793.7049 | 2610962.8768 | 1117795.047 | 2610950.8783 | 1117794.078
22 | 2610982.8653 | 1117790.6363 | 2610971.215 | 1117780.3992 | 2610969.4018 | 1117779.0345
23 | 2611010.797 | 1117798.0015 | 2611015.222 | 1117804.9462 | 2611023.7633 | 1117810.2865 | 2611033.7194 | 1117814.2065 | 2611041.8758 | 1117814.766 | 2611053.0722 | 1117810.4876
24 | 2611010.797 | 1117798.0015 | 2611008.5088 | 1117800.1206 | 2611006.458 | 1117803.2518 | 2611011.6311 | 1117810.4758
25 | 2610950.4134 | 1117764.7426 | 2610969.4018 | 1117779.0345
26 | 2610941.0572 | 1117757.7005 | 2610950.4134 | 1117764.7426
27 | 2610941.0572 | 1117757.7005 | 2610944.3929 | 1117748.1462 | 2610945.3539 | 1117747.3038
28 | 2610928.7097 | 1117748.7962 | 2610941.0572 | 1117757.7005
29 | 2610928.7097 | 1117748.7962 | 2610922.3994 | 1117751.6307
30 | 2610927.6905 | 1117718.9352 | 2610928.7097 | 1117748.7962
31 | 2611072.3162 | 1117808.9628 | 2611060.0012 | 1117807.8399 | 2611053.0722 | 1117810.4876
32 | 2611028.5383 | 1117828.4708 | 2611022.2743 | 1117818.5212 | 2611011.6311 | 1117810.4758
33 | 2611028.5383 | 1117828.4708 | 2611072.1607 | 1117822.358
34 | 2611028.5383 | 1117828.4708 | 2611031.8736 | 1117833.6807
35 | 2611088.9478 | 1117770.5742 | 2611069.1866 | 1117764.4797 | 2611068.2936 | 1117757.9691
36 | 2610973.1153 | 1117806.8425 | 2610964.7552 | 1117810.5135 | 2610950.781 | 1117813.6343 | 2610940.5791 | 1117826.1889 | 2610938.647 | 1117829.1366
37 | 2610830.585 | 1117874.589 | 2610823.9736 | 1117879.8959 | 2610818.2016 | 1117881.5016
38 | 2610750.9643 | 1117916.5624 | 2610762.6166 | 1117903.9657 | 2610774.1026 | 1117893.7699 | 2610818.2016 | 1117881.5016
39 | 2611031.8736 | 1117833.6807 | 2611039.237 | 1117845.183
40 | 2611039.237 | 1117845.183 | 2611040.9283 | 1117847.825 | 2611044.4677 | 1117853.6898 | 2611042.7992 | 1117858.279
41 | 2611027.9245 | 1117890.4223 | 2611035.6844 | 1117875.4513 | 2611041.4506 | 1117861.9884 | 2611042.7992 | 1117858.279
42 | 2611072.1607 | 1117822.358 | 2611087.7989 | 1117825.1322 | 2611095.8011 | 1117824.7584
43 | 2610995.2128 | 1117902.0578 | 2611002.4482 | 1117903.9718 | 2611011.8723 | 1117903.3107 | 2611019.8043 | 1117899.79 | 2611025.818 | 1117894.4872 | 2611027.9245 | 1117890.4223
44 | 2611027.9245 | 1117890.4223 | 2611022.4344 | 1117892.1355 | 2611013.5669 | 1117891.7809
45 | 2611094.3546 | 1117861.2731 | 2611107.072 | 1117849.0124 | 2611110.9495 | 1117838.7478 | 2611107.6571 | 1117828.659 | 2611099.021 | 1117824.608 | 2611095.8011 | 1117824.7584
46 | 2610932.9151 | 1117837.8815 | 2610929.8224 | 1117842.5998 | 2610920.3506 | 1117859.4866
47 | 2610932.9151 | 1117837.8815 | 2610938.647 | 1117829.1366
48 | 2610920.3506 | 1117859.4866 | 2610918.3486 | 1117863.056 | 2610908.7639 | 1117880.1028 | 2610894.2214 | 1117903.3437 | 2610885.4705 | 1117919.8262
49 | 2610885.4705 | 1117919.8262 | 2610884.457 | 1117921.7353 | 2610875.5129 | 1117934.559 | 2610865.94 | 1117945.136 | 2610859.7292 | 1117960.8295
50 | 2610835.0373 | 1118003.4715 | 2610844.5025 | 1117992.1653 | 2610851.7278 | 1117982.3845 | 2610857.5211 | 1117966.4092 | 2610859.7292 | 1117960.8295
51 | 2610790.0331 | 1118093.0515 | 2610795.6048 | 1118079.9995 | 2610799.58 | 1118075.1597 | 2610813.1295 | 1118054.4291 | 2610821.2638 | 1118041.1592 | 2610825.2456 | 1118032.6288 | 2610824.2643 | 1118024.6342 | 2610831.595 | 1118007.5833 | 2610835.0373 | 1118003.4715
52 | 2610770.513 | 1117940.1121 | 2610773.9362 | 1117931.1102 | 2610772.6058 | 1117928.4509 | 2610766.8342 | 1117923.5717 | 2610765.9926 | 1117923.2
53 | 2610770.513 | 1117940.1121 | 2610760.2361 | 1117967.137 | 2610757.6149 | 1117971.3015
54 | 2610765.9926 | 1117923.2 | 2610764.2793 | 1117922.4433
55 | 2610790.0331 | 1118093.0515 | 2610778.5542 | 1118086.3724 | 2610767.3312 | 1118065.8647 | 2610752.1214 | 1118030.4982 | 2610750.8312 | 1118005.0835 | 2610752.8067 | 1117978.9408 | 2610757.6149 | 1117971.3015
56 | 2610750.9643 | 1117916.5624 | 2610764.2793 | 1117922.4433
57 | 2610786.4877 | 1118103.6171 | 2610787.1012 | 1118101.4505 | 2610789.0954 | 1118095.251 | 2610790.0331 | 1118093.0515
58 | 2610750.9643 | 1117916.5624 | 2610708.3152 | 1117975.4718 | 2610706.4585 | 1117978.0587
59 | 2610786.4877 | 1118103.6171 | 2610788.9777 | 1118109.4133 | 2610792.9016 | 1118129.1633 | 2610798.3312 | 1118148.3601 | 2610807.0466 | 1118159.8145 | 2610819.5929 | 1118169.3637 | 2610824.7688 | 1118179.3111 | 2610826.9318 | 1118191.0207
60 | 2610786.4877 | 1118103.6171 | 2610785.0199 | 1118108.8616 | 2610783.762 | 1118121.9324 | 2610784.5398 | 1118149.0138 | 2610783.739 | 1118165.7649
61 | 2610706.4585 | 1117978.0587 | 2610666.2226 | 1118034.2936 | 2610638.2632 | 1118069.6954 | 2610614.2742 | 1118089.8079 | 2610597.0048 | 1118106.7418 | 2610589.661 | 1118127.2613 | 2610586.3006 | 1118147.043 | 2610588.973 | 1118163.4557 | 2610596.1769 | 1118187.8135 | 2610603.0963 | 1118212.0062
62 | 2610603.0963 | 1118212.0062 | 2610532.7691 | 1118239.9069

## bus_geodata
| x | y | coords
0 | 2610233.6326 | 1117687.6037
1 | 2610155.0465 | 1117769.5904
2 | 2610707.8996 | 1117944.089
3 | 2610038.7168 | 1117747.5252
4 | 2611037.9483 | 1117729.0829
5 | 2611016.9043 | 1117758.0929
6 | 2611009.6342 | 1117741.1381
7 | 2611013.2322 | 1117763.601
8 | 2611008.0514 | 1117771.3723
9 | 2611078.9259 | 1117726.3898
10 | 2611067.9375 | 1117755.373
11 | 2611051.1278 | 1117747.3941
12 | 2611008.465 | 1117777.4094
13 | 2610985.6539 | 1117789.1962
14 | 2611022.2169 | 1117769.2302
15 | 2610973.9487 | 1117806.4766
16 | 2610982.8653 | 1117790.6363
17 | 2611010.797 | 1117798.0015
18 | 2611028.5513 | 1117764.4459
19 | 2610950.4134 | 1117764.7426
20 | 2610969.4018 | 1117779.0345
21 | 2610941.0572 | 1117757.7005
22 | 2610945.3539 | 1117747.3038
23 | 2610928.7097 | 1117748.7962
24 | 2610950.8783 | 1117794.078
25 | 2610922.3994 | 1117751.6307
26 | 2610927.6905 | 1117718.9352
27 | 2611039.5191 | 1117769.4728
28 | 2611053.0722 | 1117810.4876
29 | 2611011.6311 | 1117810.4758
30 | 2611072.3162 | 1117808.9628
31 | 2611028.5383 | 1117828.4708
32 | 2611068.2936 | 1117757.9691
33 | 2610973.1153 | 1117806.8425
34 | 2610830.585 | 1117874.589
35 | 2610818.2016 | 1117881.5016
36 | 2611031.8736 | 1117833.6807
37 | 2611039.237 | 1117845.183
38 | 2611042.7992 | 1117858.279
39 | 2611072.1607 | 1117822.358
40 | 2611027.9245 | 1117890.4223
41 | 2611095.8011 | 1117824.7584
42 | 2610995.2128 | 1117902.0578
43 | 2611013.5669 | 1117891.7809
44 | 2611094.3546 | 1117861.2731
45 | 2610932.9151 | 1117837.8815
46 | 2610920.3506 | 1117859.4866
47 | 2610938.647 | 1117829.1366
48 | 2610885.4705 | 1117919.8262
49 | 2610859.7292 | 1117960.8295
50 | 2610835.0373 | 1118003.4715
51 | 2611088.9478 | 1117770.5742
52 | 2610770.513 | 1117940.1121
53 | 2610765.9926 | 1117923.2
54 | 2610757.6149 | 1117971.3015
55 | 2610764.2793 | 1117922.4433
56 | 2610790.0331 | 1118093.0516
57 | 2610750.9643 | 1117916.5624
58 | 2610786.4877 | 1118103.6171
59 | 2610706.4585 | 1117978.0587
60 | 2610826.9319 | 1118191.0207
61 | 2610783.739 | 1118165.7649
62 | 2610603.0963 | 1118212.0062
63 | 2610532.7691 | 1118239.9069
64 | 2610973.9487 | 1117806.4766

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1