## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6252-65_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6252-65_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6252-65_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6252-65_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6252-65_0_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_6252-65_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_6252-65_0_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_6252-65_0_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_6252-65_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_6252-65_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_6252-65_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_6252-65_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6252-65_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6252-65_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6252-65_0_3_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_6252-65_0_3_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_6252-65_0_3_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_6252-65_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6252-65_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6252-65_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6252-65_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6252-65_0_3_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_6252-65_0_3_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_6252-65_0_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_6252-65_0_3_node_80 | 0.4 | n |  | TRUE
25 | bus_LV_6252-65_0_3_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_6252-65_0_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_6252-65_0_3_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_6252-65_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6252-65_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6252-65_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6252-65_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6252-65_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6252-65_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6252-65_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6252-65_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6252-65_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_6252-65_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6252-65_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_6252-65_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6252-65_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_6252-65_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6252-65_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_6252-65_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_6252-65_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_6252-65_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_6252-65_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6252-65_0_3_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_6252-65_0_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_6252-65_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_6252-65_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_6252-65_0_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_6252-65_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_6252-65_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_6252-65_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_6252-65_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_6252-65_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_6252-65_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6252-65_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_6252-65_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_6252-65_0_3_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_6252-65_0_3_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_6252-65_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6252-65_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_6252-65_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_6252-65_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6252-65_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_6252-65_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_6252-65_0_3_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_6252-65_0_3_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_6252-65_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_6252-65_0_3_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_6252-65_0_3_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_6252-65_0_3_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_6252-65_0_3_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_6252-65_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6252-65_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_6252-65_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6252-65_0_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_6252-65_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_6252-65_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_6252-65_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_6252-65_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_6252-65_0_3_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_6252-65_0_3_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_6252-65_0_3_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_6252-65_0_3_node_89 | 0.4 | n |  | TRUE
87 | bus_MV_206_0_node_149 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6252-65_0_3_load_0 | 0 | 0.0050831 | 0.0012739 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6252-65_0_3_load_1 | 1 | 0.00075639 | 0.00018957 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6252-65_0_3_load_3 | 2 | 0.00081595 | 0.0002045 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6252-65_0_3_load_2 | 3 | 0.00076723 | 0.00019229 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6252-65_0_3_load_8 | 4 | 0.00076994 | 0.00019297 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6252-65_0_3_load_24 | 5 | 0.0034269 | 0.00085886 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6252-65_0_3_load_35 | 6 | 0.00083877 | 0.00021021 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6252-65_0_3_load_41 | 7 | 0.0017019 | 0.00042653 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6252-65_0_3_load_4 | 10 | 0.00077816 | 0.00019502 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6252-65_0_3_load_7 | 13 | 0.010887 | 0.0027284 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6252-65_0_3_load_58 | 15 | 0.0016306 | 0.00040867 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6252-65_0_3_load_11 | 17 | 0.0039744 | 0.00099607 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6252-65_0_3_load_63 | 21 | 0.0029824 | 0.00074746 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6252-65_0_3_load_62 | 22 | 0.0026476 | 0.00066356 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6252-65_0_3_load_46 | 23 | 0.0039586 | 0.00099211 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6252-65_0_3_load_80 | 24 | 0.0021625 | 0.00054196 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6252-65_0_3_load_64 | 25 | 0.0058288 | 0.0014608 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6252-65_0_3_load_44 | 26 | 0.0033367 | 0.00083625 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6252-65_0_3_load_15 | 28 | 0.0025845 | 0.00064773 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6252-65_0_3_load_16 | 29 | 0.00098534 | 0.00024695 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6252-65_0_3_load_17 | 30 | 0.0010977 | 0.0002751 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6252-65_0_3_load_23 | 33 | 0.0028642 | 0.00071785 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6252-65_0_3_load_20 | 34 | 0.0015923 | 0.00039907 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6252-65_0_3_load_40 | 36 | 0.0015146 | 0.00037961 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6252-65_0_3_load_21 | 37 | 0.0031264 | 0.00078355 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6252-65_0_3_load_22 | 38 | 0.0036723 | 0.00092035 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6252-65_0_3_load_30 | 42 | 0.0017641 | 0.00044214 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6252-65_0_3_load_26 | 43 | 0.0021916 | 0.00054927 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6252-65_0_3_load_27 | 44 | 0.0028176 | 0.00070616 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6252-65_0_3_load_37 | 46 | 0.0014636 | 0.00036682 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6252-65_0_3_load_61 | 47 | 0.0051045 | 0.0012793 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6252-65_0_3_load_66 | 48 | 0.0043663 | 0.0010943 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6252-65_0_3_load_32 | 49 | 0.0013852 | 0.00034717 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6252-65_0_3_load_45 | 50 | 0.0035249 | 0.00088343 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6252-65_0_3_load_82 | 51 | 0.0055457 | 0.0013899 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6252-65_0_3_load_50 | 53 | 0.0057422 | 0.0014391 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6252-65_0_3_load_47 | 54 | 0.0019387 | 0.00048588 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6252-65_0_3_load_54 | 55 | 0.002304 | 0.00057744 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6252-65_0_3_load_67 | 56 | 0.0071255 | 0.0017858 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6252-65_0_3_load_56 | 57 | 0.0022022 | 0.00055193 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6252-65_0_3_load_65 | 61 | 0.0030325 | 0.00076 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6252-65_0_3_load_49 | 62 | 0.00058285 | 0.00014608 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6252-65_0_3_load_53 | 64 | 0.00071613 | 0.00017948 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6252-65_0_3_load_51 | 65 | 0.0020579 | 0.00051575 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6252-65_0_3_load_52 | 66 | 0.0036751 | 0.00092106 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6252-65_0_3_load_84 | 68 | 0.0034364 | 0.00086124 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6252-65_0_3_load_83 | 69 | 0.0027565 | 0.00069086 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6252-65_0_3_load_59 | 70 | 0.0061352 | 0.0015376 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6252-65_0_3_load_90 | 71 | 0.0048202 | 0.0012081 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6252-65_0_3_load_85 | 72 | 0.001951 | 0.00048898 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6252-65_0_3_load_78 | 73 | 0.0039238 | 0.00098339 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6252-65_0_3_load_81 | 74 | 0.0083198 | 0.0020851 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6252-65_0_3_load_71 | 75 | 0.0028657 | 0.00071822 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6252-65_0_3_load_69 | 78 | 0.0042356 | 0.0010615 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6252-65_0_3_load_74 | 80 | 0.0039142 | 0.000981 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6252-65_0_3_load_79 | 81 | 0.0015999 | 0.00040097 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6252-65_0_3_load_76 | 82 | 0.0057674 | 0.0014454 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6252-65_0_3_load_73 | 83 | 0.004559 | 0.0011426 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6252-65_0_3_load_75 | 84 | 0.0033493 | 0.00083942 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6252-65_0_3_load_88 | 85 | 0.0025624 | 0.00064219 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6252-65_0_3_load_89 | 86 | 0.0044886 | 0.0011249 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6252-65_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.10897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6252-65_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.18435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6252-65_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.047463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6252-65_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.1522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6252-65_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.20133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6252-65_0_3_line_5 | NAYY 4x150 SE | 5 | 9 | 0.094621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6252-65_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.09557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6252-65_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.022423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6252-65_0_3_line_8 | NAYY 4x150 SE | 8 | 45 | 0.049283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6252-65_0_3_line_9 | NAYY 4x150 SE | 8 | 44 | 0.013166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6252-65_0_3_line_10 | NAYY 4x150 SE | 9 | 32 | 0.009344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6252-65_0_3_line_11 | NAYY 4x150 SE | 9 | 29 | 0.003195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6252-65_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.13814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6252-65_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.005546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6252-65_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.047464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6252-65_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.11843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6252-65_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.004462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6252-65_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.087084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6252-65_0_3_line_18 | NAYY 4x150 SE | 16 | 52 | 0.074424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6252-65_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.055192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6252-65_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.00586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6252-65_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.018841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6252-65_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.010423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6252-65_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.026852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6252-65_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.020955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6252-65_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.015931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6252-65_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0039723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6252-65_0_3_line_27 | NAYY 4x150 SE | 24 | 74 | 0.00024188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6252-65_0_3_line_28 | NAYY 4x150 SE | 25 | 61 | 0.005844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6252-65_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.0049312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6252-65_0_3_line_30 | NAYY 4x150 SE | 27 | 41 | 0.015504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6252-65_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.014092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6252-65_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.012539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6252-65_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.019681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6252-65_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.044844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6252-65_0_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.047753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6252-65_0_3_line_36 | NAYY 4x150 SE | 32 | 35 | 0.047734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6252-65_0_3_line_37 | NAYY 4x150 SE | 32 | 36 | 0.025764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6252-65_0_3_line_38 | NAYY 4x150 SE | 34 | 37 | 0.027178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6252-65_0_3_line_39 | NAYY 4x150 SE | 35 | 42 | 0.00712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6252-65_0_3_line_40 | NAYY 4x150 SE | 35 | 43 | 0.011809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6252-65_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.049339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6252-65_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.021385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6252-65_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.017782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6252-65_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.006886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6252-65_0_3_line_45 | NAYY 4x150 SE | 40 | 47 | 0.013972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_6252-65_0_3_line_46 | NAYY 4x150 SE | 40 | 48 | 0.024306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6252-65_0_3_line_47 | NAYY 4x150 SE | 41 | 49 | 0.13222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6252-65_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.0087603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6252-65_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.020134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6252-65_0_3_line_50 | NAYY 4x150 SE | 47 | 55 | 0.0099266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6252-65_0_3_line_51 | NAYY 4x150 SE | 48 | 56 | 0.0081773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6252-65_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.00041869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6252-65_0_3_line_53 | NAYY 4x150 SE | 51 | 60 | 0.012966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6252-65_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.047012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6252-65_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.042812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6252-65_0_3_line_56 | NAYY 4x150 SE | 54 | 59 | 0.016983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6252-65_0_3_line_57 | NAYY 4x150 SE | 55 | 66 | 0.0074592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6252-65_0_3_line_58 | NAYY 4x150 SE | 56 | 77 | 0.0027791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6252-65_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.044961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6252-65_0_3_line_60 | NAYY 4x150 SE | 58 | 70 | 0.016104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6252-65_0_3_line_61 | NAYY 4x150 SE | 58 | 63 | 0.016201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6252-65_0_3_line_62 | NAYY 4x150 SE | 59 | 62 | 0.050492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6252-65_0_3_line_63 | NAYY 4x150 SE | 60 | 80 | 0.011012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6252-65_0_3_line_64 | NAYY 4x150 SE | 61 | 75 | 0.0079613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6252-65_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.023436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6252-65_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.018212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6252-65_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.01432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6252-65_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.026366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6252-65_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.022116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6252-65_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.010182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6252-65_0_3_line_71 | NAYY 4x150 SE | 68 | 72 | 0.006734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6252-65_0_3_line_72 | NAYY 4x150 SE | 69 | 73 | 0.015078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6252-65_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.0019048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6252-65_0_3_line_74 | NAYY 4x150 SE | 73 | 79 | 0.016782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6252-65_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.015025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6252-65_0_3_line_76 | NAYY 4x150 SE | 76 | 83 | 0.013781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6252-65_0_3_line_77 | NAYY 4x150 SE | 76 | 80 | 0.0070333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6252-65_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.014412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6252-65_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.0059798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6252-65_0_3_line_80 | NAYY 4x150 SE | 79 | 81 | 0.011458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6252-65_0_3_line_81 | NAYY 4x150 SE | 79 | 82 | 0.0084197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6252-65_0_3_line_82 | NAYY 4x150 SE | 81 | 85 | 0.0095534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6252-65_0_3_line_83 | NAYY 4x150 SE | 82 | 84 | 0.0013259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6252-65_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.021252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6252-65_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.013607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6252-65_0_3_trafo_61 | 0.25 MVA 20/0.4 kV | 87 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2611054.2963 | 1117123.909 | 2611051.1805 | 1117114.3829 | 2611046.7662 | 1117097.0219 | 2611047.5327 | 1117082.983 | 2611057.2081 | 1117059.3556 | 2611069.4897 | 1117028.7184 | 2611072.8382 | 1117020.9762
1 | 2611054.2963 | 1117123.909 | 2611017.5527 | 1117304.5643
2 | 2611079.3601 | 1116974.0376 | 2611076.2407 | 1116987.7327 | 2611072.8382 | 1117020.9762 | 2611072.8382 | 1117020.9762
3 | 2611072.8382 | 1117020.9762 | 2611223.354 | 1117043.5283
4 | 2611148.6682 | 1117457.3403 | 2611017.5527 | 1117304.5643
5 | 2611163.106 | 1117475.4756 | 2611161.9678 | 1117469.1037 | 2611164.8426 | 1117454.4129 | 2611172.1298 | 1117436.762 | 2611175.2416 | 1117427.5298 | 2611171.6722 | 1117425.3889 | 2611167.0375 | 1117427.5148 | 2611164.5321 | 1117430.1115 | 2611148.6682 | 1117457.3403
6 | 2611218.1437 | 1117385.5402 | 2611300.8228 | 1117337.6056
7 | 2611216.3927 | 1117407.151 | 2611219.0086 | 1117403.2205 | 2611218.1437 | 1117385.5402
8 | 2611216.3927 | 1117407.151 | 2611218.0348 | 1117416.5253 | 2611220.0239 | 1117434.4155 | 2611221.0672 | 1117450.4253 | 2611219.5289 | 1117455.9252
9 | 2611216.3927 | 1117407.151 | 2611205.3518 | 1117414.3241
10 | 2611166.487 | 1117466.7887 | 2611164.6243 | 1117472.4436 | 2611163.106 | 1117475.4756
11 | 2611163.106 | 1117475.4756 | 2611161.6771 | 1117478.3333
12 | 2611321.0479 | 1117631.5438 | 2611323.6702 | 1117628.3249 | 2611324.3878 | 1117624.2687 | 2611324.5837 | 1117618.4995 | 2611322.9474 | 1117606.1126 | 2611323.383 | 1117596.0085 | 2611329.4074 | 1117585.2811 | 2611336.4559 | 1117579.936 | 2611352.621 | 1117569.4387 | 2611361.5295 | 1117564.0971 | 2611361.3766 | 1117534.3822 | 2611361.7542 | 1117513.4282
13 | 2611321.0479 | 1117631.5438 | 2611319.2595 | 1117626.2935
14 | 2611321.0479 | 1117631.5438 | 2611326.8075 | 1117646.9399 | 2611330.4294 | 1117654.0056 | 2611335.1504 | 1117659.3282 | 2611339.5354 | 1117662.7491 | 2611348.4412 | 1117668.1399
15 | 2611238.3017 | 1117625.8323 | 2611240.3556 | 1117625.3136 | 2611242.0198 | 1117622.6375 | 2611243.0589 | 1117619.9604 | 2611246.7847 | 1117621.0011 | 2611251.3358 | 1117622.2434 | 2611255.887 | 1117623.4858 | 2611260.6415 | 1117627.4187 | 2611264.3634 | 1117630.516 | 2611266.6352 | 1117633.2104 | 2611268.6966 | 1117636.9272 | 2611269.2581 | 1117637.9287 | 2611269.7273 | 1117638.7856 | 2611272.4135 | 1117642.7147 | 2611273.8595 | 1117645.3965 | 2611276.1354 | 1117645.812 | 2611277.3775 | 1117641.8901 | 2611277.5924 | 1117638.3888 | 2611278.0168 | 1117634.2653 | 2611278.2351 | 1117628.8964 | 2611279.2773 | 1117624.5629 | 2611279.4926 | 1117620.8504 | 2611282.389 | 1117619.6218 | 2611286.3246 | 1117619.8292 | 2611290.8773 | 1117620.2489 | 2611295.4284 | 1117621.5024 | 2611301.6407 | 1117621.7141 | 2611308.0514 | 1117623.1711 | 2611314.052 | 1117625.25 | 2611319.2595 | 1117626.2935
16 | 2611238.3017 | 1117625.8323 | 2611238.4933 | 1117626.5552 | 2611238.4865 | 1117630.2681
17 | 2611224.0634 | 1117550.0465 | 2611225.5798 | 1117556.3746 | 2611225.9791 | 1117565.8689 | 2611224.9304 | 1117573.7042 | 2611223.8807 | 1117582.162 | 2611223.2453 | 1117587.7302 | 2611219.9226 | 1117594.1272 | 2611217.8451 | 1117599.0703 | 2611217.2108 | 1117604.0271 | 2611220.3154 | 1117607.1232 | 2611226.1053 | 1117610.4355 | 2611231.478 | 1117613.9583 | 2611235.4068 | 1117617.8786 | 2611237.6733 | 1117623.4521 | 2611238.3017 | 1117625.8323
18 | 2611224.0634 | 1117550.0465 | 2611211.6153 | 1117574.7691 | 2611206.4376 | 1117578.4947 | 2611198.5223 | 1117580.9703 | 2611182.9874 | 1117584.7102 | 2611167.4737 | 1117589.4619
19 | 2610972.2412 | 1117643.4004 | 2610973.4872 | 1117637.244 | 2610981.7775 | 1117632.1009 | 2610988.8173 | 1117627.1 | 2610989.866 | 1117619.0535 | 2610979.2812 | 1117616.9223 | 2610983.4837 | 1117606.1023
20 | 2610972.2412 | 1117643.4004 | 2610966.4704 | 1117642.2894
21 | 2610990.9522 | 1117645.8575 | 2610980.0102 | 1117644.8929 | 2610972.2412 | 1117643.4004
22 | 2610966.4704 | 1117642.2894 | 2610972.5072 | 1117650.7865
23 | 2610966.4704 | 1117642.2894 | 2610940.102 | 1117637.2176
24 | 2610990.9522 | 1117645.8575 | 2611002.6467 | 1117653.1155 | 2611008.3462 | 1117657.5012
25 | 2610972.5072 | 1117650.7865 | 2610976.0469 | 1117655.7689 | 2610980.2791 | 1117664.6295
26 | 2611008.3462 | 1117657.5012 | 2611011.4943 | 1117659.9238 | 2611011.4943 | 1117659.9238
27 | 2610980.3833 | 1117664.8478 | 2610980.2791 | 1117664.6295
28 | 2611011.4943 | 1117659.9238 | 2611017.3157 | 1117659.4096
29 | 2611035.1037 | 1117637.989 | 2611031.0851 | 1117640.847
30 | 2611047.7693 | 1117628.9964 | 2611035.1037 | 1117637.989
31 | 2611161.6771 | 1117478.3333 | 2611158.6519 | 1117484.383 | 2611153.9252 | 1117489.983
32 | 2611145.9576 | 1117499.6651 | 2611151.1571 | 1117493.2625 | 2611153.9252 | 1117489.983
33 | 2611132.966 | 1117514.4285 | 2611139.8713 | 1117507.1598 | 2611145.9576 | 1117499.6651
34 | 2611173.3487 | 1117533.8231 | 2611166.5759 | 1117531.9208 | 2611135.579 | 1117516.2119 | 2611132.966 | 1117514.4285
35 | 2611132.966 | 1117514.4285 | 2611129.2156 | 1117518.368 | 2611117.3882 | 1117533.0759 | 2611104.6491 | 1117548.3268 | 2611102.3796 | 1117551.0816
36 | 2611166.487 | 1117466.7887 | 2611174.4319 | 1117443.9809 | 2611179.6165 | 1117432.4069 | 2611188.1034 | 1117425.5302
37 | 2611166.487 | 1117466.7887 | 2611173.7033 | 1117462.5442 | 2611190.1672 | 1117456.9378
38 | 2611085.2545 | 1117572.1841 | 2611090.8037 | 1117565.1321 | 2611102.3796 | 1117551.0816
39 | 2611182.8409 | 1117420.7182 | 2611188.1034 | 1117425.5302
40 | 2611188.1034 | 1117425.5302 | 2611198.0058 | 1117419.0968
41 | 2611085.2545 | 1117572.1841 | 2611083.772 | 1117574.0681 | 2611079.6602 | 1117581.5866 | 2611075.1823 | 1117590.9386 | 2611066.306 | 1117599.938 | 2611056.4811 | 1117608.5689 | 2611055.1528 | 1117610.4294
42 | 2611054.473 | 1117630.6539 | 2611053.8446 | 1117623.9717 | 2611052.3037 | 1117618.2216 | 2611052.2565 | 1117614.4863 | 2611055.1528 | 1117610.4294
43 | 2611071.7837 | 1117634.9318 | 2611054.473 | 1117630.6539
44 | 2611047.7693 | 1117628.9964 | 2611054.473 | 1117630.6539
45 | 2611071.7837 | 1117634.9318 | 2611081.097 | 1117635.9826 | 2611084.8877 | 1117638.5876
46 | 2611071.7837 | 1117634.9318 | 2611070.6281 | 1117646.5577 | 2611072.4232 | 1117659.0525
47 | 2611047.7693 | 1117628.9964 | 2611040.9926 | 1117625.0933 | 2611037.376 | 1117619.1505 | 2611037.1887 | 1117611.7799 | 2611039.7531 | 1117606.3374 | 2611047.6898 | 1117587.7538 | 2611054.6559 | 1117568.1679 | 2611071.2978 | 1117507.3435
48 | 2611198.0058 | 1117419.0968 | 2611205.3518 | 1117414.3241
49 | 2611219.5289 | 1117455.9252 | 2611214.8441 | 1117472.6915 | 2611215.0534 | 1117475.4086
50 | 2611093.0688 | 1117644.2097 | 2611084.8877 | 1117638.5876
51 | 2611072.4232 | 1117659.0525 | 2611073.5862 | 1117667.1466
52 | 2611056.4708 | 1117647.4476 | 2611056.6392 | 1117647.0643
53 | 2611055.724 | 1117660.0261 | 2611054.8371 | 1117651.1646 | 2611056.4708 | 1117647.4476
54 | 2611167.4737 | 1117589.4619 | 2611164.7791 | 1117602.719 | 2611166.7699 | 1117611.338 | 2611172.0062 | 1117613.4931 | 2611189.7542 | 1117606.6112
55 | 2611167.4737 | 1117589.4619 | 2611161.103 | 1117591.4179 | 2611153.1147 | 1117600.063 | 2611150.9797 | 1117611.1979 | 2611156.1097 | 1117623.186
56 | 2611162.7912 | 1117638.7998 | 2611156.1097 | 1117623.186
57 | 2611093.0688 | 1117644.2097 | 2611094.9483 | 1117645.5014 | 2611098.3836 | 1117649.3765
58 | 2611073.9814 | 1117669.8975 | 2611073.5862 | 1117667.1466
59 | 2611130.0779 | 1117709.5081 | 2611133.5656 | 1117709.9035 | 2611135.6647 | 1117709.9296 | 2611139.809 | 1117709.9372 | 2611142.6723 | 1117709.9202 | 2611145.8056 | 1117709.9481 | 2611152.4034 | 1117710.3493 | 2611158.8167 | 1117710.361 | 2611166.095 | 1117709.9853 | 2611170.6484 | 1117709.9937 | 2611174.9853 | 1117709.7145
60 | 2611130.0779 | 1117709.5081 | 2611128.2041 | 1117717.1417 | 2611125.9142 | 1117724.3522 | 2611125.7285 | 1117725.0042
61 | 2611136.0477 | 1117694.6339 | 2611135.0342 | 1117700.2125 | 2611132.5713 | 1117704.977 | 2611130.0779 | 1117709.5081
62 | 2611162.7912 | 1117638.7998 | 2611166.9391 | 1117649.5016 | 2611167.2632 | 1117657.9507 | 2611159.8773 | 1117674.8566 | 2611154.2225 | 1117685.5655
63 | 2611055.724 | 1117660.0261 | 2611050.6551 | 1117663.3741 | 2611045.7866 | 1117664.1952
64 | 2611025.1782 | 1117659.5559 | 2611022.7176 | 1117658.9324 | 2611017.3157 | 1117659.4096
65 | 2611136.0477 | 1117694.6339 | 2611144.7113 | 1117696.4061 | 2611152.1715 | 1117689.4497 | 2611154.2225 | 1117685.5655
66 | 2611136.0477 | 1117694.6339 | 2611128.8166 | 1117686.0053 | 2611124.4982 | 1117680.555
67 | 2611115.6052 | 1117669.3313 | 2611124.4982 | 1117680.555
68 | 2611115.6052 | 1117669.3313 | 2611111.669 | 1117664.3634 | 2611098.3836 | 1117649.3765
69 | 2611104.5418 | 1117708.75 | 2611091.6929 | 1117716.7527 | 2611086.1228 | 1117720.9573
70 | 2611104.5418 | 1117708.75 | 2611094.7912 | 1117705.8175
71 | 2611080.7481 | 1117725.0143 | 2611086.1228 | 1117720.9573
72 | 2611094.7912 | 1117705.8175 | 2611080.352 | 1117701.4748
73 | 2611125.7285 | 1117725.0042 | 2611125.2067 | 1117726.8362
74 | 2611070.9278 | 1117689.7128 | 2611074.3826 | 1117699.6795 | 2611080.352 | 1117701.4748
75 | 2611038.8512 | 1117665.3648 | 2611032.3062 | 1117661.3621 | 2611025.1782 | 1117659.5559
76 | 2611038.8512 | 1117665.3648 | 2611043.8083 | 1117672.5885 | 2611044.9929 | 1117677.4664
77 | 2611038.8512 | 1117665.3648 | 2611045.7866 | 1117664.1952
78 | 2611073.9814 | 1117669.8975 | 2611074.3625 | 1117672.5217 | 2611073.2325 | 1117684.2276
79 | 2611070.9278 | 1117689.7128 | 2611073.1748 | 1117684.8256 | 2611073.2325 | 1117684.2276
80 | 2611070.9278 | 1117689.7128 | 2611064.6772 | 1117697.8276 | 2611063.8391 | 1117698.7071
81 | 2611070.9278 | 1117689.7128 | 2611063.3158 | 1117686.1143
82 | 2611063.8391 | 1117698.7071 | 2611057.2484 | 1117705.6229
83 | 2611062.0134 | 1117685.8854 | 2611063.2322 | 1117686.0748 | 2611063.3158 | 1117686.1143
84 | 2611062.0134 | 1117685.8854 | 2611048.8969 | 1117683.8477 | 2611046.0528 | 1117681.8304 | 2611044.9929 | 1117677.4664
85 | 2611057.2484 | 1117705.6229 | 2611050.326 | 1117712.8868 | 2611048.1563 | 1117715.7257

## bus_geodata
| x | y | coords
0 | 2611054.2963 | 1117123.909
1 | 2611072.8382 | 1117020.9762
2 | 2611017.5527 | 1117304.5643
3 | 2611079.3601 | 1116974.0376
4 | 2611223.354 | 1117043.5283
5 | 2611148.6682 | 1117457.3403
6 | 2611218.1437 | 1117385.5402
7 | 2611300.8228 | 1117337.6056
8 | 2611216.3927 | 1117407.151
9 | 2611163.106 | 1117475.4756
10 | 2611361.7542 | 1117513.4282
11 | 2611321.0479 | 1117631.5438
12 | 2611319.2595 | 1117626.2935
13 | 2611348.4412 | 1117668.1399
14 | 2611238.3017 | 1117625.8323
15 | 2611238.4865 | 1117630.2681
16 | 2611224.0634 | 1117550.0465
17 | 2610983.4837 | 1117606.1023
18 | 2610972.2412 | 1117643.4004
19 | 2610966.4704 | 1117642.2894
20 | 2610990.9522 | 1117645.8575
21 | 2610972.5072 | 1117650.7865
22 | 2610940.102 | 1117637.2176
23 | 2611008.3462 | 1117657.5012
24 | 2610980.2791 | 1117664.6295
25 | 2611011.4943 | 1117659.9238
26 | 2611031.0851 | 1117640.847
27 | 2611035.1037 | 1117637.989
28 | 2611153.9252 | 1117489.983
29 | 2611161.6771 | 1117478.3333
30 | 2611145.9576 | 1117499.6651
31 | 2611132.966 | 1117514.4285
32 | 2611166.487 | 1117466.7887
33 | 2611173.3487 | 1117533.8231
34 | 2611102.3796 | 1117551.0816
35 | 2611188.1034 | 1117425.5302
36 | 2611190.1672 | 1117456.9378
37 | 2611085.2545 | 1117572.1841
38 | 2611055.1528 | 1117610.4294
39 | 2611054.473 | 1117630.6539
40 | 2611071.7837 | 1117634.9318
41 | 2611047.7693 | 1117628.9964
42 | 2611182.8409 | 1117420.7182
43 | 2611198.0058 | 1117419.0968
44 | 2611205.3518 | 1117414.3241
45 | 2611219.5289 | 1117455.9252
46 | 2611215.0534 | 1117475.4086
47 | 2611084.8877 | 1117638.5876
48 | 2611072.4232 | 1117659.0525
49 | 2611071.2978 | 1117507.3435
50 | 2611056.6392 | 1117647.0643
51 | 2611056.4708 | 1117647.4476
52 | 2611167.4737 | 1117589.4619
53 | 2611189.7542 | 1117606.6112
54 | 2611156.1097 | 1117623.186
55 | 2611093.0688 | 1117644.2097
56 | 2611073.5862 | 1117667.1466
57 | 2611174.9853 | 1117709.7145
58 | 2611130.0779 | 1117709.5081
59 | 2611162.7912 | 1117638.7998
60 | 2611055.724 | 1117660.0261
61 | 2611017.3157 | 1117659.4096
62 | 2611154.2225 | 1117685.5655
63 | 2611136.0477 | 1117694.6339
64 | 2611124.4982 | 1117680.555
65 | 2611115.6052 | 1117669.3313
66 | 2611098.3836 | 1117649.3765
67 | 2611104.5418 | 1117708.75
68 | 2611086.1228 | 1117720.9573
69 | 2611094.7912 | 1117705.8175
70 | 2611125.7285 | 1117725.0042
71 | 2611125.2067 | 1117726.8362
72 | 2611080.7481 | 1117725.0143
73 | 2611080.352 | 1117701.4748
74 | 2610980.3833 | 1117664.8478
75 | 2611025.1782 | 1117659.5559
76 | 2611038.8512 | 1117665.3648
77 | 2611073.9814 | 1117669.8975
78 | 2611073.2325 | 1117684.2276
79 | 2611070.9278 | 1117689.7128
80 | 2611045.7866 | 1117664.1952
81 | 2611063.8391 | 1117698.7071
82 | 2611063.3158 | 1117686.1143
83 | 2611044.9929 | 1117677.4664
84 | 2611062.0134 | 1117685.8854
85 | 2611057.2484 | 1117705.6229
86 | 2611048.1563 | 1117715.7257
87 | 2611071.7837 | 1117634.9318

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1