## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6252-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6252-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6252-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6252-6_0_6_node_58 | 0.4 | n |  | TRUE
4 | bus_LV_6252-6_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6252-6_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6252-6_0_6_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6252-6_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_6252-6_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6252-6_0_6_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_6252-6_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6252-6_0_6_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_6252-6_0_6_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_6252-6_0_6_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_6252-6_0_6_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_6252-6_0_6_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_6252-6_0_6_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_6252-6_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6252-6_0_6_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_6252-6_0_6_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_6252-6_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6252-6_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6252-6_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6252-6_0_6_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_6252-6_0_6_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_6252-6_0_6_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_6252-6_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6252-6_0_6_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6252-6_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_6252-6_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6252-6_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6252-6_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_6252-6_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_6252-6_0_6_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_6252-6_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6252-6_0_6_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_6252-6_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6252-6_0_6_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_6252-6_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_6252-6_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_6252-6_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_6252-6_0_6_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_6252-6_0_6_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_6252-6_0_6_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_6252-6_0_6_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_6252-6_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_6252-6_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_6252-6_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_6252-6_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_6252-6_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6252-6_0_6_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_6252-6_0_6_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_6252-6_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_6252-6_0_6_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_6252-6_0_6_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_6252-6_0_6_node_57 | 0.4 | n |  | TRUE
56 | bus_MV_206_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6252-6_0_6_load_0 | 0 | 0.0091192 | 0.0022855 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6252-6_0_6_load_4 | 4 | 0.0040699 | 0.00102 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6252-6_0_6_load_6 | 5 | 0.021197 | 0.0053124 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6252-6_0_6_load_5 | 8 | 0.0034005 | 0.00085225 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6252-6_0_6_load_59 | 9 | 0.0026651 | 0.00066794 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6252-6_0_6_load_24 | 12 | 0.002591 | 0.00064938 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6252-6_0_6_load_52 | 14 | 0.00083316 | 0.00020881 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6252-6_0_6_load_51 | 15 | 0.00068768 | 0.00017235 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6252-6_0_6_load_17 | 16 | 0.002194 | 0.00054987 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6252-6_0_6_load_53 | 18 | 0.00068199 | 0.00017092 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6252-6_0_6_load_50 | 19 | 0.002253 | 0.00056465 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6252-6_0_6_load_10 | 20 | 0.0012031 | 0.00030151 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6252-6_0_6_load_13 | 21 | 0.0018568 | 0.00046537 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6252-6_0_6_load_36 | 24 | 0.0012224 | 0.00030637 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6252-6_0_6_load_26 | 27 | 0.001831 | 0.0004589 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6252-6_0_6_load_22 | 28 | 0.0036065 | 0.00090388 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6252-6_0_6_load_27 | 30 | 0.0026578 | 0.0006661 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6252-6_0_6_load_18 | 31 | 0.0023851 | 0.00059776 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6252-6_0_6_load_19 | 32 | 0.0014121 | 0.00035392 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6252-6_0_6_load_60 | 33 | 0.0033364 | 0.00083617 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6252-6_0_6_load_29 | 34 | 0.0011974 | 0.0003001 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6252-6_0_6_load_30 | 35 | 0.0011987 | 0.00030042 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6252-6_0_6_load_34 | 37 | 0.0010466 | 0.0002623 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6252-6_0_6_load_35 | 38 | 0.0013368 | 0.00033502 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6252-6_0_6_load_37 | 39 | 0.001169 | 0.00029298 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6252-6_0_6_load_38 | 40 | 0.0020358 | 0.00051023 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6252-6_0_6_load_40 | 42 | 0.00061039 | 0.00015298 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6252-6_0_6_load_47 | 44 | 0.00063936 | 0.00016024 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6252-6_0_6_load_41 | 45 | 0.0011915 | 0.00029862 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6252-6_0_6_load_42 | 46 | 0.001119 | 0.00028046 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6252-6_0_6_load_54 | 50 | 0.00070612 | 0.00017697 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6252-6_0_6_load_55 | 51 | 0.00068848 | 0.00017255 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6252-6_0_6_load_48 | 52 | 0.00060268 | 0.00015104 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6252-6_0_6_load_49 | 53 | 0.0015197 | 0.00038088 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6252-6_0_6_load_56 | 54 | 0.00064551 | 0.00016178 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6252-6_0_6_load_57 | 55 | 0.00082303 | 0.00020627 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6252-6_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.055856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6252-6_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.033767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6252-6_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.68217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6252-6_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.001596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6252-6_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.44513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6252-6_0_6_line_5 | NAYY 4x150 SE | 3 | 9 | 0.34057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6252-6_0_6_line_6 | NAYY 4x150 SE | 5 | 10 | 0.063103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_6252-6_0_6_line_7 | NAYY 4x150 SE | 5 | 8 | 0.30201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_6252-6_0_6_line_8 | NAYY 4x150 SE | 6 | 7 | 0.2184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_6252-6_0_6_line_9 | NAYY 4x150 SE | 6 | 8 | 1.1312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_6252-6_0_6_line_10 | NAYY 4x150 SE | 7 | 14 | 0.029626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6252-6_0_6_line_11 | NAYY 4x150 SE | 7 | 15 | 0.29261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6252-6_0_6_line_12 | NAYY 4x150 SE | 10 | 11 | 0.45845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_6252-6_0_6_line_13 | NAYY 4x150 SE | 11 | 12 | 0.13417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6252-6_0_6_line_14 | NAYY 4x150 SE | 11 | 13 | 0.040386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_6252-6_0_6_line_15 | NAYY 4x150 SE | 13 | 16 | 0.062064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6252-6_0_6_line_16 | NAYY 4x150 SE | 13 | 17 | 0.42111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6252-6_0_6_line_17 | NAYY 4x150 SE | 14 | 18 | 0.016363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6252-6_0_6_line_18 | NAYY 4x150 SE | 15 | 19 | 0.1656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_6252-6_0_6_line_19 | NAYY 4x150 SE | 16 | 31 | 0.11044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6252-6_0_6_line_20 | NAYY 4x150 SE | 17 | 21 | 0.11764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6252-6_0_6_line_21 | NAYY 4x150 SE | 17 | 22 | 0.16192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6252-6_0_6_line_22 | NAYY 4x150 SE | 17 | 20 | 0.38838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6252-6_0_6_line_23 | NAYY 4x150 SE | 18 | 48 | 0.12768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6252-6_0_6_line_24 | NAYY 4x150 SE | 19 | 53 | 0.062929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6252-6_0_6_line_25 | NAYY 4x150 SE | 21 | 26 | 0.072445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6252-6_0_6_line_26 | NAYY 4x150 SE | 22 | 27 | 0.087897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6252-6_0_6_line_27 | NAYY 4x150 SE | 23 | 24 | 0.25647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_6252-6_0_6_line_28 | NAYY 4x150 SE | 23 | 25 | 0.70137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_6252-6_0_6_line_29 | NAYY 4x150 SE | 24 | 39 | 0.1135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_6252-6_0_6_line_30 | NAYY 4x150 SE | 25 | 36 | 0.065828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6252-6_0_6_line_31 | NAYY 4x150 SE | 25 | 34 | 0.10039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6252-6_0_6_line_32 | NAYY 4x150 SE | 26 | 28 | 0.026672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6252-6_0_6_line_33 | NAYY 4x150 SE | 26 | 29 | 0.012586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6252-6_0_6_line_34 | NAYY 4x150 SE | 27 | 30 | 0.063562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6252-6_0_6_line_35 | NAYY 4x150 SE | 29 | 33 | 0.090922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6252-6_0_6_line_36 | NAYY 4x150 SE | 31 | 32 | 0.040491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6252-6_0_6_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0049426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6252-6_0_6_line_38 | NAYY 4x150 SE | 36 | 37 | 0.067483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6252-6_0_6_line_39 | NAYY 4x150 SE | 37 | 38 | 0.078979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6252-6_0_6_line_40 | NAYY 4x150 SE | 39 | 40 | 0.52257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_6252-6_0_6_line_41 | NAYY 4x150 SE | 40 | 41 | 0.23526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_6252-6_0_6_line_42 | NAYY 4x150 SE | 41 | 42 | 0.38745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_6252-6_0_6_line_43 | NAYY 4x150 SE | 42 | 43 | 0.057057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_6252-6_0_6_line_44 | NAYY 4x150 SE | 43 | 44 | 0.33557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_6252-6_0_6_line_45 | NAYY 4x150 SE | 44 | 52 | 0.0049558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_6252-6_0_6_line_46 | NAYY 4x150 SE | 45 | 46 | 0.2629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6252-6_0_6_line_47 | NAYY 4x150 SE | 45 | 47 | 0.19632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6252-6_0_6_line_48 | NAYY 4x150 SE | 46 | 48 | 0.062453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6252-6_0_6_line_49 | NAYY 4x150 SE | 47 | 49 | 0.1227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6252-6_0_6_line_50 | NAYY 4x150 SE | 49 | 50 | 0.066819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6252-6_0_6_line_51 | NAYY 4x150 SE | 50 | 51 | 0.070457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6252-6_0_6_line_52 | NAYY 4x150 SE | 51 | 54 | 0.096341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6252-6_0_6_line_53 | NAYY 4x150 SE | 52 | 53 | 0.028658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_6252-6_0_6_line_54 | NAYY 4x150 SE | 54 | 55 | 0.052145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6252-6_0_6_trafo_5 | 0.25 MVA 20/0.4 kV | 56 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46
0 | 2613866.7631 | 1117464.0164 | 2613856.9009 | 1117463.4715 | 2613853.2457 | 1117462.0958 | 2613849.1303 | 1117459.5074 | 2613847.4593 | 1117457.825 | 2613836.513 | 1117438.4795 | 2613832.7076 | 1117435.2803 | 2613825.8463 | 1117431.9186
1 | 2613815.7291 | 1117400.8581 | 2613816.771 | 1117417.8578 | 2613825.8463 | 1117431.9186
2 | 2613866.7631 | 1117464.0164 | 2614537.2336 | 1117338.1973
3 | 2613815.7291 | 1117400.8581 | 2613817.293 | 1117401.1767
4 | 2613815.7291 | 1117400.8581 | 2613378.9463 | 1117315.0765
5 | 2614537.2336 | 1117338.1973 | 2614536.0274 | 1117332.625 | 2614525.1702 | 1117322.0605 | 2614524.4519 | 1117315.8001 | 2614525.4257 | 1117302.3403 | 2614524.3915 | 1117295.8679 | 2614513.6514 | 1117278.2114 | 2614506.8575 | 1117272.5591 | 2614503.7224 | 1117269.9392 | 2614503.3141 | 1117266.392 | 2614504.374 | 1117262.1147 | 2614512.23 | 1117259.3209 | 2614521.0202 | 1117259.6531 | 2614556.7747 | 1117280.6156 | 2614563.9991 | 1117280.5217 | 2614565.3645 | 1117277.6013 | 2614566.9489 | 1117273.4364 | 2614564.4498 | 1117266.338 | 2614552.7078 | 1117231.9708 | 2614552.6118 | 1117226.9681 | 2614555.6787 | 1117212.8907 | 2614554.654 | 1117205.6847 | 2614551.6325 | 1117197.5401 | 2614535.8728 | 1117177.7816 | 2614519.7964 | 1117161.2573 | 2614514.2538 | 1117158.4204 | 2614489.142 | 1117150.4344 | 2614472.3116 | 1117142.5682
6 | 2613347.2773 | 1117369.475 | 2613370.6185 | 1117333.5196 | 2613378.9463 | 1117315.0765
7 | 2613338.9728 | 1117045.6195 | 2613348.6411 | 1117061.026 | 2613373.0474 | 1117074.7419 | 2613383.6006 | 1117084.3254 | 2613393.2337 | 1117098.0645 | 2613396.2797 | 1117116.8693 | 2613402.4706 | 1117134.0025 | 2613406.8352 | 1117160.3584 | 2613408.0496 | 1117173.1785 | 2613401.3605 | 1117199.9659 | 2613393.8623 | 1117222.7384 | 2613388.8003 | 1117232.7099 | 2613386.1598 | 1117250.6574 | 2613388.5869 | 1117266.5484 | 2613389.9849 | 1117290.63 | 2613378.9463 | 1117315.0765
8 | 2613033.4169 | 1115956.4319 | 2613047.7072 | 1115945.2236 | 2613076.2399 | 1115844.5241 | 2613077.3131 | 1115840.8801 | 2613082.7412 | 1115822.5161 | 2613090.5755 | 1115801.6671 | 2613107.5536 | 1115754.258
9 | 2613033.4169 | 1115956.4319 | 2613338.9728 | 1117045.6195
10 | 2613107.5536 | 1115754.258 | 2613113.3651 | 1115726.4012 | 2613113.887 | 1115725.3547
11 | 2613107.5536 | 1115754.258 | 2613062.5664 | 1115755.284 | 2613029.4888 | 1115768.3418 | 2612997.3349 | 1115797.154 | 2612984.3925 | 1115802.4623 | 2612980.5786 | 1115798.9524 | 2612965.3232 | 1115755.7653 | 2612968.039 | 1115738.4403 | 2612973.406 | 1115730.4478 | 2612976.1246 | 1115708.2427 | 2612975.2727 | 1115691.3547 | 2612956.6128 | 1115658.8768
12 | 2612892.7426 | 1117309.7214 | 2613347.2773 | 1117369.475
13 | 2612892.7426 | 1117309.7214 | 2612885.4887 | 1117316.4982 | 2612871.3128 | 1117322.738 | 2612853.5268 | 1117331.7048 | 2612829.7806 | 1117348.9188 | 2612805.8026 | 1117366.3102 | 2612793.493 | 1117380.6691 | 2612787.8836 | 1117390.1028
14 | 2612892.7426 | 1117309.7214 | 2612879.689 | 1117277.9892 | 2612876.2284 | 1117282.9955
15 | 2612876.2284 | 1117282.9955 | 2612866.3986 | 1117292.4794 | 2612849.2373 | 1117301.6365 | 2612835.8492 | 1117307.6001 | 2612823.1215 | 1117314.1119
16 | 2612556.6246 | 1117348.2823 | 2612566.8585 | 1117348.3701 | 2612579.3025 | 1117339.7249 | 2612595.2833 | 1117318.9143 | 2612607.9327 | 1117308.0018 | 2612614.7624 | 1117308.4273 | 2612614.1321 | 1117314.6179 | 2612616.4038 | 1117317.1016 | 2612625.3053 | 1117315.8861 | 2612638.9894 | 1117304.7646 | 2612646.9958 | 1117292.3307 | 2612658.8986 | 1117287.8865 | 2612670.2054 | 1117280.6176 | 2612681.7147 | 1117268.7468 | 2612697.3733 | 1117258.3855 | 2612713.8348 | 1117251.6832 | 2612726.2722 | 1117242.6381 | 2612737.8817 | 1117238.3269 | 2612746.0622 | 1117238.6775 | 2612749.0494 | 1117242.2633 | 2612752.4686 | 1117245.9167 | 2612758.0613 | 1117243.6607 | 2612762.4118 | 1117241.1908 | 2612765.9274 | 1117243.0546 | 2612770.066 | 1117245.9536 | 2612774.9253 | 1117243.7627 | 2612777.7341 | 1117240.4003 | 2612779.7917 | 1117245.5627 | 2612783.4024 | 1117246.2595 | 2612787.2531 | 1117242.8993 | 2612793.6656 | 1117243.5242 | 2612801.9458 | 1117244.1641 | 2612816.6641 | 1117236.9693 | 2612827.8614 | 1117226.888 | 2612835.1087 | 1117226.9032 | 2612835.2949 | 1117237.4199 | 2612841.9036 | 1117243.837 | 2612850.4686 | 1117252.1814 | 2612863.5991 | 1117262.2475 | 2612876.2284 | 1117282.9955
17 | 2613113.887 | 1115725.3547 | 2613121.1907 | 1115710.7118
18 | 2612981.0986 | 1115507.5068 | 2612982.4137 | 1115514.1159 | 2612992.1256 | 1115528.7327 | 2612992.4849 | 1115562.9726 | 2612993.3272 | 1115584.296 | 2612982.6604 | 1115597.502 | 2612954.3845 | 1115650.2789 | 2612956.6128 | 1115658.8768
19 | 2612823.1215 | 1117314.1119 | 2612821.6326 | 1117314.8737 | 2612803.6062 | 1117324.4183 | 2612799.6757 | 1117325.3771 | 2612793.0346 | 1117330.6991 | 2612767.3081 | 1117357.4694 | 2612744.886 | 1117387.5483 | 2612744.427 | 1117388.6208
20 | 2612556.6246 | 1117348.2823 | 2612568.6457 | 1117342.5376 | 2612571.5707 | 1117327.6807 | 2612573.2237 | 1117312.0876 | 2612581.5897 | 1117293.618 | 2612596.8894 | 1117273.8288 | 2612599.8817 | 1117252.6245 | 2612597.9042 | 1117246.134
21 | 2612486.7805 | 1117252.158 | 2612501.5509 | 1117256.9573 | 2612508.1141 | 1117266.909 | 2612512.5704 | 1117280.4693 | 2612509.0506 | 1117291.9121 | 2612519.155 | 1117294.9789 | 2612536.9269 | 1117288.9124 | 2612536.0848 | 1117308.0646 | 2612530.5353 | 1117326.8735 | 2612536.7204 | 1117344.2059 | 2612543.3314 | 1117349.5777 | 2612556.6246 | 1117348.2823
22 | 2612556.6246 | 1117348.2823 | 2612549.4654 | 1117376.6815 | 2612550.247 | 1117401.8622 | 2612553.0953 | 1117424.1457 | 2612556.3458 | 1117453.4557 | 2612549.2211 | 1117495.1282 | 2612563.6479 | 1117527.7518 | 2612564.8462 | 1117549.2204 | 2612566.4663 | 1117568.1997 | 2612562.2818 | 1117587.5895 | 2612565.9796 | 1117602.0487 | 2612567.1907 | 1117617.3143 | 2612567.5794 | 1117649.5643 | 2612567.9467 | 1117669.7861 | 2612572.8852 | 1117685.0705 | 2612573.2406 | 1117714.7858 | 2612572.2628 | 1117729.868
23 | 2613202.2228 | 1115616.5279 | 2613177.9237 | 1115628.7813 | 2613174.7643 | 1115633.1878 | 2613172.7384 | 1115638.2414 | 2613152.1571 | 1115673.581 | 2613125.7942 | 1115701.4824 | 2613121.1907 | 1115710.7118
24 | 2612981.0986 | 1115507.5068 | 2612979.0833 | 1115497.3783 | 2612984.581 | 1115475.3125 | 2612966.5412 | 1115451.5161
25 | 2612633.1431 | 1117195.0318 | 2612619.3808 | 1117199.0497 | 2612609.7322 | 1117203.1873 | 2612599.6278 | 1117214.9388 | 2612595.4384 | 1117229.0704 | 2612595.903 | 1117239.5654 | 2612597.9042 | 1117246.134
26 | 2612486.7805 | 1117252.158 | 2612479.0898 | 1117265.0819 | 2612467.8658 | 1117277.276 | 2612458.2219 | 1117294.2757 | 2612448.6734 | 1117309.9417 | 2612437.9764 | 1117324.905
27 | 2612526.0896 | 1115980.5234 | 2612528.7928 | 1115968.6898 | 2612533.8738 | 1115952.9925 | 2612533.2732 | 1115937.2835 | 2612529.8503 | 1115916.2217 | 2612529.2341 | 1115908.0497 | 2612534.6053 | 1115901.4575 | 2612547.6065 | 1115893.5248 | 2612554.5672 | 1115883.5676 | 2612554.8369 | 1115872.5961 | 2612559.2974 | 1115850.9279 | 2612568.8289 | 1115814.8187 | 2612570.4375 | 1115798.4806 | 2612567.9747 | 1115772.396 | 2612563.0544 | 1115739.1185
28 | 2612402.1663 | 1115736.783 | 2612399.669 | 1115742.3473 | 2612397.1138 | 1115776.4033 | 2612395.4296 | 1115788.3725 | 2612402.0334 | 1115802.0037 | 2612405.7283 | 1115814.8065 | 2612406.1099 | 1115832.1491 | 2612405.4645 | 1115845.7656 | 2612401.5063 | 1115856.0849 | 2612397.9183 | 1115874.1531 | 2612401.6168 | 1115889.0236 | 2612402.6188 | 1115904.9223 | 2612399.1885 | 1115910.0178 | 2612408.9956 | 1115923.8113 | 2612423.5378 | 1115939.9267 | 2612436.7329 | 1115965.4662 | 2612445.3815 | 1115998.2333 | 2612468.7765 | 1116030.1525 | 2612485.1397 | 1116046.5163 | 2612503.398 | 1116057.2368 | 2612508.4189 | 1116066.9853 | 2612512.0595 | 1116079.7657 | 2612511.1648 | 1116105.6655 | 2612507.5506 | 1116121.3658 | 2612503.7015 | 1116134.9202 | 2612502.4829 | 1116149.4248 | 2612501.9286 | 1116163.7196 | 2612504.3501 | 1116168.7048 | 2612507.6868 | 1116171.5575 | 2612511.7551 | 1116171.4881 | 2612514.6794 | 1116168.4259 | 2612515.4518 | 1116164.47 | 2612513.4484 | 1116155.1613 | 2612513.2233 | 1116148.2574 | 2612517.064 | 1116138.7495 | 2612537.6398 | 1116114.7689 | 2612543.3879 | 1116105.0204 | 2612546.1045 | 1116094.1428 | 2612554.3146 | 1116062.1773 | 2612553.8394 | 1116053.0274 | 2612552.1582 | 1116048.4661 | 2612542.5422 | 1116028.4142 | 2612533.4253 | 1116017.0899 | 2612525.2406 | 1116010.4697 | 2612522.4191 | 1116004.8056 | 2612524.3447 | 1115988.1569 | 2612526.0896 | 1115980.5234
29 | 2612563.0544 | 1115739.1185 | 2612560.8177 | 1115723.9907 | 2612562.1 | 1115716.1339 | 2612570.33 | 1115697.3083 | 2612572.8869 | 1115681.5947 | 2612578.2583 | 1115675.0137 | 2612589.3086 | 1115666.2322 | 2612598.1555 | 1115655.2561 | 2612605.8959 | 1115640.0405
30 | 2612454.0083 | 1115698.292 | 2612440.9259 | 1115715.6071 | 2612423.309 | 1115726.71 | 2612402.1663 | 1115736.783
31 | 2612402.1663 | 1115736.783 | 2612406.7346 | 1115730.189 | 2612418.9696 | 1115719.4753 | 2612427.49 | 1115705.6637 | 2612431.2479 | 1115691.431 | 2612427.5574 | 1115672.6475 | 2612424.8925 | 1115658.1905 | 2612429.8134 | 1115648.0038
32 | 2612633.1431 | 1117195.0318 | 2612623.3755 | 1117204.3828 | 2612620.2385 | 1117217.1715
33 | 2612643.5082 | 1117187.8498 | 2612633.1431 | 1117195.0318
34 | 2612437.9764 | 1117324.905 | 2612437.9764 | 1117324.905 | 2612432.8936 | 1117342.1253 | 2612429.2292 | 1117360.1934 | 2612421.9312 | 1117377.5092 | 2612418.364 | 1117385.0919
35 | 2612678.3826 | 1117115.8535 | 2612675.8681 | 1117129.8885 | 2612675.461 | 1117147.4519 | 2612678.0292 | 1117163.2205 | 2612671.7674 | 1117171.7117 | 2612652.871 | 1117183.8339 | 2612643.5082 | 1117187.8498
36 | 2612726.8667 | 1117424.9968 | 2612733.2366 | 1117414.7707 | 2612744.427 | 1117388.6208
37 | 2612431.9633 | 1115643.5533 | 2612429.8134 | 1115648.0038
38 | 2612454.0083 | 1115698.292 | 2612460.4349 | 1115696.6488 | 2612462.4647 | 1115700.6994 | 2612450.444 | 1115719.7508 | 2612440.4543 | 1115746.1434 | 2612439.8008 | 1115751.6776
39 | 2612439.8008 | 1115751.6776 | 2612437.0526 | 1115774.9507 | 2612442.6221 | 1115784.6669 | 2612456.4777 | 1115793.1549 | 2612476.9732 | 1115808.7601 | 2612478.5402 | 1115810.4927
40 | 2612605.8959 | 1115640.0405 | 2612616.8374 | 1115618.5323 | 2612626.3651 | 1115580.8445 | 2612634.3237 | 1115566.4762 | 2612641.8669 | 1115555.1085 | 2612644.411 | 1115545.6869 | 2612644.445 | 1115529.3567 | 2612646.3521 | 1115521.8125 | 2612652.3804 | 1115503.9162 | 2612655.5767 | 1115481.6118 | 2612662.8634 | 1115463.7181 | 2612696.4183 | 1115396.2325 | 2612713.8603 | 1115347.556 | 2612723.2476 | 1115307.378 | 2612728.1737 | 1115303.553 | 2612733.9824 | 1115302.1979 | 2612744.9783 | 1115305.1112 | 2612753.0685 | 1115305.5839 | 2612759.9498 | 1115304.5311 | 2612765.9185 | 1115300.5861 | 2612770.752 | 1115289.3463 | 2612777.98 | 1115262.9373 | 2612778.4392 | 1115253.8227 | 2612777.8046 | 1115239.8255 | 2612780.2815 | 1115225.8349 | 2612784.091 | 1115216.9497 | 2612801.9824 | 1115190.1073 | 2612803.4826 | 1115188.9902
41 | 2613013.4869 | 1115124.7901 | 2613005.6392 | 1115126.3185 | 2612990.0193 | 1115133.8445 | 2612976.4167 | 1115136.7058 | 2612960.3641 | 1115137.1162 | 2612953.2282 | 1115137.9904 | 2612948.3207 | 1115140.1921 | 2612942.9565 | 1115146.6283 | 2612934.2383 | 1115158.1599 | 2612914.5838 | 1115175.0154 | 2612901.4198 | 1115182.3134 | 2612865.2843 | 1115194.2317 | 2612850.5629 | 1115196.8686 | 2612840.3107 | 1115196.4023 | 2612819.1542 | 1115186.1415 | 2612814.2538 | 1115185.0195 | 2612807.3414 | 1115186.1166 | 2612803.4826 | 1115188.9902
42 | 2613013.4869 | 1115124.7901 | 2613015.5915 | 1115129.9082 | 2613013.5865 | 1115136.007 | 2613008.8774 | 1115139.3208 | 2613001.8712 | 1115140.8955 | 2612983.5299 | 1115146.4924 | 2612965.4477 | 1115157.337 | 2612959.1927 | 1115165.1053 | 2612950.2194 | 1115191.3103 | 2612943.2828 | 1115203.735 | 2612936.3567 | 1115211.2795 | 2612918.4864 | 1115227.9054 | 2612905.0764 | 1115245.6524 | 2612889.1718 | 1115282.0589 | 2612884.2259 | 1115302.4918 | 2612883.0763 | 1115316.7075 | 2612884.381 | 1115331.373 | 2612884.3462 | 1115347.8144 | 2612884.3306 | 1115355.1513 | 2612891.1806 | 1115368.8726 | 2612890.9965 | 1115379.2329 | 2612887.5916 | 1115386.6182 | 2612881.5596 | 1115402.2465 | 2612875.96 | 1115414.2294 | 2612862.9899 | 1115435.9794 | 2612860.4375 | 1115446.5313
43 | 2612862.8519 | 1115501.3002 | 2612859.0673 | 1115498.4019 | 2612859.7472 | 1115490.8552 | 2612859.7735 | 1115478.4158 | 2612857.8105 | 1115461.0809 | 2612858.2623 | 1115455.5235 | 2612860.4375 | 1115446.5313
44 | 2612862.8519 | 1115501.3002 | 2612858.4952 | 1115560.9093 | 2612858.3381 | 1115635.2234 | 2612861.2587 | 1115637.7864 | 2612865.7257 | 1115635.5725 | 2612866.6285 | 1115628.471 | 2612869.3458 | 1115606.6993 | 2612899.8858 | 1115570.9018 | 2612929.8005 | 1115528.033 | 2612954.6621 | 1115519.8374 | 2612956.2114 | 1115481.8605
45 | 2612956.2114 | 1115481.8605 | 2612956.4134 | 1115476.9088
46 | 2613155.5138 | 1115320.7476 | 2613181.0852 | 1115370.3384 | 2613195.026 | 1115435.6008 | 2613222.0409 | 1115453.0014 | 2613195.7143 | 1115499.1781 | 2613198.0821 | 1115553.6768 | 2613198.1172 | 1115554.2099
47 | 2613215.9528 | 1115149.2605 | 2613206.3277 | 1115187.1027 | 2613197.1491 | 1115218.4538 | 2613200.4094 | 1115242.4061 | 2613192.9249 | 1115258.0754 | 2613193.6704 | 1115295.2398 | 2613155.5138 | 1115320.7476 | 2613155.5138 | 1115320.7476
48 | 2613202.2228 | 1115616.5279 | 2613198.1172 | 1115554.2099
49 | 2613215.9528 | 1115149.2605 | 2613216.4775 | 1115145.8599 | 2613217.1404 | 1115139.247 | 2613211.7464 | 1115130.7978 | 2613210.2427 | 1115122.835 | 2613207.022 | 1115112.6341 | 2613202.0891 | 1115101.6291 | 2613200.3296 | 1115090.5198 | 2613201.922 | 1115075.4158 | 2613206.1801 | 1115062.9745 | 2613219.678 | 1115033.8005
50 | 2613219.678 | 1115033.8005 | 2613216.1582 | 1115015.5727 | 2613215.8441 | 1115007.2902 | 2613202.8335 | 1115004.0381 | 2613195.1406 | 1115012.4367 | 2613189.2963 | 1115026.4309
51 | 2613189.2963 | 1115026.4309 | 2613189.2963 | 1115026.4309 | 2613187.0109 | 1115044.257 | 2613184.4726 | 1115054.0786 | 2613177.8647 | 1115057.0435 | 2613165.6578 | 1115053.5043 | 2613149.5185 | 1115047.4775 | 2613144.4079 | 1115046.763
52 | 2613144.4079 | 1115046.763 | 2613110.5933 | 1115042.0353 | 2613098.8004 | 1115036.2293 | 2613091.7864 | 1115023.4079 | 2613090.7922 | 1115004.6298 | 2613092.9006 | 1114989.9716 | 2613093.3401 | 1114989.2732
53 | 2612966.5412 | 1115451.5161 | 2612966.0192 | 1115450.8275 | 2612956.4134 | 1115476.9088 | 2612956.4134 | 1115476.9088
54 | 2613093.3401 | 1114989.2732 | 2613098.0915 | 1114981.7231 | 2613102.0452 | 1114974.3057 | 2613101.8474 | 1114969.3473 | 2613095.4533 | 1114955.5045 | 2613096.3018 | 1114948.6918 | 2613099.6664 | 1114941.7185

## bus_geodata
| x | y | coords
0 | 2613825.8463 | 1117431.9186
1 | 2613866.7631 | 1117464.0164
2 | 2613815.7291 | 1117400.8581
3 | 2614537.2336 | 1117338.1973
4 | 2613817.293 | 1117401.1767
5 | 2613378.9463 | 1117315.0765
6 | 2613033.4169 | 1115956.4319
7 | 2613107.5536 | 1115754.258
8 | 2613338.9728 | 1117045.6195
9 | 2614472.3116 | 1117142.5682
10 | 2613347.2773 | 1117369.475
11 | 2612892.7426 | 1117309.7214
12 | 2612787.8836 | 1117390.1028
13 | 2612876.2284 | 1117282.9955
14 | 2613113.887 | 1115725.3547
15 | 2612956.6128 | 1115658.8768
16 | 2612823.1215 | 1117314.1119
17 | 2612556.6246 | 1117348.2823
18 | 2613121.1907 | 1115710.7118
19 | 2612981.0986 | 1115507.5068
20 | 2612572.2628 | 1117729.868
21 | 2612597.9042 | 1117246.134
22 | 2612486.7805 | 1117252.158
23 | 2612526.0896 | 1115980.5234
24 | 2612563.0544 | 1115739.1185
25 | 2612402.1663 | 1115736.783
26 | 2612633.1431 | 1117195.0318
27 | 2612437.9764 | 1117324.905
28 | 2612620.2385 | 1117217.1715
29 | 2612643.5082 | 1117187.8498
30 | 2612418.364 | 1117385.0919
31 | 2612744.427 | 1117388.6208
32 | 2612726.8667 | 1117424.9968
33 | 2612678.3826 | 1117115.8535
34 | 2612429.8134 | 1115648.0038
35 | 2612431.9633 | 1115643.5533
36 | 2612454.0083 | 1115698.292
37 | 2612439.8008 | 1115751.6776
38 | 2612478.5402 | 1115810.4927
39 | 2612605.8959 | 1115640.0405
40 | 2612803.4826 | 1115188.9902
41 | 2613013.4869 | 1115124.7901
42 | 2612860.4375 | 1115446.5313
43 | 2612862.8519 | 1115501.3002
44 | 2612956.2114 | 1115481.8605
45 | 2613155.5138 | 1115320.7476
46 | 2613198.1172 | 1115554.2099
47 | 2613215.9528 | 1115149.2605
48 | 2613202.2228 | 1115616.5279
49 | 2613219.678 | 1115033.8005
50 | 2613189.2963 | 1115026.4309
51 | 2613144.4079 | 1115046.763
52 | 2612956.4134 | 1115476.9088
53 | 2612966.5412 | 1115451.5161
54 | 2613093.3401 | 1114989.2732
55 | 2613099.6664 | 1114941.7185
56 | 2613347.2773 | 1117369.475

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1