## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6252-72_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6252-72_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6252-72_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6252-72_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6252-72_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6252-72_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6252-72_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6252-72_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_6252-72_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_6252-72_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6252-72_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6252-72_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6252-72_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6252-72_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6252-72_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6252-72_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_6252-72_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_6252-72_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_6252-72_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_6252-72_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6252-72_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_6252-72_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_6252-72_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_6252-72_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_6252-72_0_3_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_6252-72_0_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_6252-72_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_6252-72_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_6252-72_0_3_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_6252-72_0_3_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_6252-72_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_6252-72_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_6252-72_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6252-72_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6252-72_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6252-72_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6252-72_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_6252-72_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_6252-72_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_6252-72_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_6252-72_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_6252-72_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_6252-72_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_6252-72_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_6252-72_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_6252-72_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_6252-72_0_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_6252-72_0_3_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_6252-72_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_6252-72_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_6252-72_0_3_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_6252-72_0_3_node_54 | 0.4 | n |  | TRUE
52 | bus_MV_206_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6252-72_0_3_load_0 | 0 | 0.0034935 | 0.00087556 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6252-72_0_3_load_1 | 1 | 0.0044301 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6252-72_0_3_load_5 | 5 | 0.0029013 | 0.00072714 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6252-72_0_3_load_9 | 8 | 0.0047434 | 0.0011888 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6252-72_0_3_load_6 | 9 | 0.0018759 | 0.00047015 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6252-72_0_3_load_15 | 10 | 0.0098228 | 0.0024618 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6252-72_0_3_load_14 | 11 | 0.0024213 | 0.00060683 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6252-72_0_3_load_10 | 12 | 0.0097353 | 0.0024399 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6252-72_0_3_load_13 | 14 | 0.0045457 | 0.0011393 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6252-72_0_3_load_17 | 15 | 0.0019176 | 0.0004806 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6252-72_0_3_load_18 | 16 | 0.0026385 | 0.00066127 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6252-72_0_3_load_20 | 17 | 0.0048646 | 0.0012192 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6252-72_0_3_load_23 | 18 | 0.0027869 | 0.00069845 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6252-72_0_3_load_19 | 19 | 0.0048604 | 0.0012181 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6252-72_0_3_load_21 | 21 | 0.0020738 | 0.00051975 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6252-72_0_3_load_22 | 22 | 0.004335 | 0.0010864 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6252-72_0_3_load_25 | 23 | 0.0035805 | 0.00089737 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6252-72_0_3_load_47 | 26 | 0.0023143 | 0.00058002 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6252-72_0_3_load_32 | 27 | 0.0045905 | 0.0011505 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6252-72_0_3_load_51 | 29 | 0.0023505 | 0.00058908 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6252-72_0_3_load_33 | 30 | 0.0024533 | 0.00061485 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6252-72_0_3_load_34 | 31 | 0.0036474 | 0.00091412 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6252-72_0_3_load_28 | 32 | 0.0058899 | 0.0014762 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6252-72_0_3_load_29 | 33 | 0.0019417 | 0.00048663 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6252-72_0_3_load_30 | 34 | 0.0046653 | 0.0011692 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6252-72_0_3_load_31 | 35 | 0.002466 | 0.00061804 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6252-72_0_3_load_36 | 36 | 0.0067263 | 0.0016858 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6252-72_0_3_load_35 | 37 | 0.0044131 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6252-72_0_3_load_37 | 38 | 0.0025479 | 0.00063857 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6252-72_0_3_load_38 | 39 | 0.002474 | 0.00062004 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6252-72_0_3_load_39 | 40 | 0.0057475 | 0.0014405 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6252-72_0_3_load_40 | 41 | 0.00309 | 0.00077443 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6252-72_0_3_load_41 | 42 | 0.0031778 | 0.00079643 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6252-72_0_3_load_42 | 43 | 0.0035228 | 0.00088291 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6252-72_0_3_load_45 | 45 | 0.0029681 | 0.00074388 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6252-72_0_3_load_46 | 46 | 0.003775 | 0.0009461 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6252-72_0_3_load_48 | 47 | 0.006342 | 0.0015895 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6252-72_0_3_load_49 | 48 | 0.0031343 | 0.00078553 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6252-72_0_3_load_50 | 49 | 0.0027603 | 0.00069179 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6252-72_0_3_load_53 | 50 | 0.0027906 | 0.0006994 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6252-72_0_3_load_54 | 51 | 0.0050832 | 0.001274 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6252-72_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.059213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6252-72_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6252-72_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.026717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6252-72_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.067297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6252-72_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.013839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6252-72_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.049959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6252-72_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.003264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6252-72_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.027331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6252-72_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.031322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6252-72_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.019554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6252-72_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.027121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6252-72_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.017556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6252-72_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.039057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6252-72_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.035819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6252-72_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.029521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6252-72_0_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.03597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6252-72_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.012001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6252-72_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.035552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6252-72_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.00080672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6252-72_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.12249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_6252-72_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.012548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6252-72_0_3_line_21 | NAYY 4x150 SE | 20 | 24 | 0.028162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6252-72_0_3_line_22 | NAYY 4x150 SE | 20 | 25 | 0.065809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6252-72_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.026497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6252-72_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0057718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6252-72_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.087087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_6252-72_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.14306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6252-72_0_3_line_27 | NAYY 4x150 SE | 25 | 28 | 0.17059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6252-72_0_3_line_28 | NAYY 4x150 SE | 25 | 29 | 0.079901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6252-72_0_3_line_29 | NAYY 4x150 SE | 26 | 45 | 0.031304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6252-72_0_3_line_30 | NAYY 4x150 SE | 27 | 34 | 0.028656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6252-72_0_3_line_31 | NAYY 4x150 SE | 28 | 51 | 0.031343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6252-72_0_3_line_32 | NAYY 4x150 SE | 29 | 50 | 0.011891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6252-72_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.01877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6252-72_0_3_line_34 | NAYY 4x150 SE | 31 | 37 | 0.0016377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6252-72_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.00034592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6252-72_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.051972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6252-72_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.019992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6252-72_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.01104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6252-72_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0098603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6252-72_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.049722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6252-72_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.021721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6252-72_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.019701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6252-72_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0052158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6252-72_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.027884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6252-72_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.018196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6252-72_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.017702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6252-72_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.023676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6252-72_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.020383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6252-72_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.018299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6252-72_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0020836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6252-72_0_3_trafo_47 | 0.25 MVA 20/0.4 kV | 52 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2611638.1993 | 1118155.8968 | 2611626.7041 | 1118154.2544 | 2611610.8122 | 1118151.5116 | 2611600.5011 | 1118148.068 | 2611593.2136 | 1118141.3509 | 2611584.5398 | 1118135.0986
1 | 2611654.7672 | 1118156.1645 | 2611639.8734 | 1118156.136 | 2611638.1993 | 1118155.8968
2 | 2611559.3811 | 1118129.7031 | 2611570.0396 | 1118129.023 | 2611578.9104 | 1118131.0408 | 2611584.5398 | 1118135.0986
3 | 2611654.7672 | 1118156.1645 | 2611639.578 | 1118161.2824 | 2611631.1258 | 1118162.4002 | 2611616.5173 | 1118162.5168 | 2611595.604 | 1118162.6214 | 2611588.3013 | 1118163.897
4 | 2611654.7672 | 1118156.1645 | 2611663.0547 | 1118152.4341 | 2611666.0841 | 1118148.7754
5 | 2611559.3811 | 1118129.7031 | 2611568.2679 | 1118123.2946 | 2611577.2971 | 1118123.1672 | 2611585.7421 | 1118125.8957 | 2611594.3252 | 1118129.0469 | 2611602.9216 | 1118129.2078 | 2611606.0192 | 1118127.6129
6 | 2611588.3013 | 1118163.897 | 2611586.5442 | 1118166.6506
7 | 2611588.3013 | 1118163.897 | 2611572.9472 | 1118170.5711 | 2611562.8172 | 1118173.6553
8 | 2611606.0192 | 1118127.6129 | 2611616.6961 | 1118121.3858 | 2611624.5574 | 1118114.5196 | 2611626.1822 | 1118106.1518
9 | 2611586.5442 | 1118166.6506 | 2611584.5628 | 1118169.7373 | 2611576.5207 | 1118182.4282 | 2611575.9571 | 1118183.0801
10 | 2611586.5442 | 1118166.6506 | 2611596.9687 | 1118167.3152 | 2611613.2352 | 1118170.9854
11 | 2611546.0224 | 1118178.7685 | 2611562.8172 | 1118173.6553
12 | 2611547.0223 | 1118209.0075 | 2611551.4114 | 1118205.9365 | 2611566.0412 | 1118194.5476 | 2611575.9571 | 1118183.0801
13 | 2611648.1762 | 1118178.869 | 2611613.2352 | 1118170.9854
14 | 2611547.0223 | 1118209.0075 | 2611537.3633 | 1118215.7592 | 2611528.3244 | 1118225.1578 | 2611527.174 | 1118229.7108
15 | 2611547.0223 | 1118209.0075 | 2611557.2071 | 1118209.8272 | 2611564.8604 | 1118210.8645 | 2611570.6234 | 1118211.6869 | 2611577.8672 | 1118212.9346 | 2611582.6361 | 1118213.8538
16 | 2611525.7741 | 1118241.5313 | 2611525.7275 | 1118235.4357 | 2611527.174 | 1118229.7108
17 | 2611582.6361 | 1118213.8538 | 2611587.5947 | 1118214.8096 | 2611596.9051 | 1118216.895 | 2611604.7643 | 1118219.1778 | 2611610.9725 | 1118221.2462 | 2611617.0051 | 1118222.3138 | 2611617.1068 | 1118222.3458
18 | 2611525.7741 | 1118241.5313 | 2611525.7803 | 1118242.338
19 | 2611704.0377 | 1118233.8083 | 2611698.9161 | 1118232.5645 | 2611694.9882 | 1118232.557 | 2611688.7765 | 1118232.3338 | 2611683.6293 | 1118232.3462 | 2611681.7703 | 1118231.9313 | 2611682.6007 | 1118229.4539 | 2611687.5427 | 1118227.7959 | 2611693.1322 | 1118226.5616 | 2611695.8609 | 1118224.1212 | 2611693.7988 | 1118221.0157 | 2611685.6949 | 1118221.6004 | 2611679.6856 | 1118224.4792 | 2611670.9839 | 1118226.9415 | 2611660.8383 | 1118229.8012 | 2611654.2477 | 1118230.0221 | 2611644.3107 | 1118228.758 | 2611635.8233 | 1118228.1303 | 2611623.6222 | 1118224.3941 | 2611617.1068 | 1118222.3458
20 | 2611525.7296 | 1118254.8842 | 2611525.8388 | 1118249.9986 | 2611525.7803 | 1118242.338
21 | 2611704.0377 | 1118233.8083 | 2611682.8176 | 1118237.0914 | 2611676.8386 | 1118240.2593
22 | 2611704.0377 | 1118233.8083 | 2611753.8263 | 1118226.3005 | 2611769.3792 | 1118224.5852
23 | 2611525.7296 | 1118254.8842 | 2611525.3667 | 1118271.1192 | 2611524.4958 | 1118281.3397
24 | 2611522.9585 | 1118286.902 | 2611524.4907 | 1118281.4004 | 2611524.4958 | 1118281.3397
25 | 2611676.8386 | 1118240.2593 | 2611678.8077 | 1118247.6222 | 2611672.7545 | 1118253.3245 | 2611664.0397 | 1118258.6215 | 2611647.4729 | 1118265.9379 | 2611640.4045 | 1118273.8949 | 2611631.6805 | 1118284.0388 | 2611624.3623 | 1118293.485 | 2611623.3176 | 1118300.2741
26 | 2611676.8386 | 1118240.2593 | 2611662.5556 | 1118247.8245 | 2611635.2175 | 1118258.4219 | 2611585.2404 | 1118292.1876 | 2611570.793 | 1118305.1443 | 2611564.812 | 1118317.5724 | 2611563.7434 | 1118321.493
27 | 2611769.3792 | 1118224.5852 | 2611938.2727 | 1118200.6022
28 | 2611769.3792 | 1118224.5852 | 2611769.22 | 1118227.1195 | 2611765.3832 | 1118231.8811 | 2611739.1584 | 1118237.2776 | 2611728.4899 | 1118243.2378 | 2611718.237 | 1118249.7545 | 2611708.6674 | 1118254.0938 | 2611700.3317 | 1118258.8468
29 | 2611624.8016 | 1118331.3528 | 2611623.6057 | 1118321.942 | 2611622.2213 | 1118307.3989 | 2611623.3176 | 1118300.2741
30 | 2611555.5769 | 1118348.7845 | 2611558.7994 | 1118342.5733 | 2611561.8745 | 1118328.3499 | 2611563.7434 | 1118321.493
31 | 2611938.2727 | 1118200.6022 | 2611945.2574 | 1118204.1288 | 2611966.9512 | 1118207.2951 | 2611968.5295 | 1118207.5257
32 | 2611690.757 | 1118265.8986 | 2611700.3317 | 1118258.8468
33 | 2611484.8571 | 1118436.6907 | 2611495.1589 | 1118421.0007
34 | 2611495.1589 | 1118421.0007 | 2611496.0577 | 1118419.6318
35 | 2611523.5924 | 1118389.2327 | 2611523.3477 | 1118389.4773
36 | 2611523.5924 | 1118389.2327 | 2611539.1862 | 1118373.6402 | 2611549.0561 | 1118361.3529 | 2611555.5769 | 1118348.7845
37 | 2611508.9598 | 1118403.3563 | 2611519.046 | 1118393.7787 | 2611523.3477 | 1118389.4773
38 | 2611508.9598 | 1118403.3563 | 2611503.0746 | 1118408.9448 | 2611501.4696 | 1118411.3894
39 | 2611496.0577 | 1118419.6318 | 2611501.4696 | 1118411.3894
40 | 2611549.6516 | 1118442.6371 | 2611552.119 | 1118438.919 | 2611568.5094 | 1118418.529 | 2611581.445 | 1118404.478
41 | 2611549.6516 | 1118442.6371 | 2611543.5058 | 1118451.898 | 2611545.5553 | 1118462.3043
42 | 2611581.445 | 1118404.478 | 2611592.8751 | 1118392.0624 | 2611594.863 | 1118390.0547
43 | 2611594.863 | 1118390.0547 | 2611598.5329 | 1118386.3484
44 | 2611598.5329 | 1118386.3484 | 2611604.9054 | 1118379.9126 | 2611617.2485 | 1118365.6958
45 | 2611623.9014 | 1118348.9336 | 2611623.4854 | 1118352.6124 | 2611617.2485 | 1118365.6958 | 2611617.2485 | 1118365.6958
46 | 2611623.9014 | 1118348.9336 | 2611625.3847 | 1118335.9412 | 2611624.8016 | 1118331.3528
47 | 2611623.9014 | 1118348.9336 | 2611629.5206 | 1118344.1865 | 2611634.9594 | 1118332.8691 | 2611636.7464 | 1118329.5573
48 | 2611646.4597 | 1118311.6374 | 2611643.2225 | 1118317.5551 | 2611636.7464 | 1118329.5573
49 | 2611646.4597 | 1118311.6374 | 2611652.7475 | 1118300.1425 | 2611656.1294 | 1118296.1969
50 | 2611657.4854 | 1118294.6149 | 2611656.1294 | 1118296.1969

## bus_geodata
| x | y | coords
0 | 2611638.1993 | 1118155.8968
1 | 2611584.5398 | 1118135.0986
2 | 2611654.7672 | 1118156.1645
3 | 2611559.3811 | 1118129.7031
4 | 2611588.3013 | 1118163.897
5 | 2611666.0841 | 1118148.7754
6 | 2611606.0192 | 1118127.6129
7 | 2611586.5442 | 1118166.6506
8 | 2611562.8172 | 1118173.6553
9 | 2611626.1822 | 1118106.1518
10 | 2611575.9571 | 1118183.0801
11 | 2611613.2352 | 1118170.9854
12 | 2611546.0224 | 1118178.7685
13 | 2611547.0223 | 1118209.0075
14 | 2611648.1762 | 1118178.869
15 | 2611527.174 | 1118229.7108
16 | 2611582.6361 | 1118213.8538
17 | 2611525.7741 | 1118241.5313
18 | 2611617.1068 | 1118222.3458
19 | 2611525.7803 | 1118242.338
20 | 2611704.0377 | 1118233.8083
21 | 2611525.7296 | 1118254.8842
22 | 2611524.4958 | 1118281.3397
23 | 2611522.9585 | 1118286.902
24 | 2611676.8386 | 1118240.2593
25 | 2611769.3792 | 1118224.5852
26 | 2611623.3176 | 1118300.2741
27 | 2611563.7434 | 1118321.493
28 | 2611938.2727 | 1118200.6022
29 | 2611700.3317 | 1118258.8468
30 | 2611484.8571 | 1118436.6907
31 | 2611495.1589 | 1118421.0007
32 | 2611523.5924 | 1118389.2327
33 | 2611523.3477 | 1118389.4773
34 | 2611555.5769 | 1118348.7845
35 | 2611508.9598 | 1118403.3563
36 | 2611501.4696 | 1118411.3894
37 | 2611496.0577 | 1118419.6318
38 | 2611549.6516 | 1118442.6371
39 | 2611581.445 | 1118404.478
40 | 2611545.5553 | 1118462.3043
41 | 2611594.863 | 1118390.0547
42 | 2611598.5329 | 1118386.3484
43 | 2611617.2485 | 1118365.6958
44 | 2611623.9014 | 1118348.9336
45 | 2611624.8016 | 1118331.3528
46 | 2611636.7464 | 1118329.5573
47 | 2611646.4597 | 1118311.6374
48 | 2611656.1294 | 1118296.1969
49 | 2611657.4854 | 1118294.6149
50 | 2611690.757 | 1118265.8986
51 | 2611968.5295 | 1118207.5257
52 | 2611623.9014 | 1118348.9336

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1