## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6252-74_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6252-74_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6252-74_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6252-74_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6252-74_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6252-74_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6252-74_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6252-74_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6252-74_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_6252-74_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6252-74_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6252-74_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_6252-74_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6252-74_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6252-74_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_6252-74_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6252-74_0_4_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_6252-74_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6252-74_0_4_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_6252-74_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_6252-74_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6252-74_0_4_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_6252-74_0_4_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_6252-74_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6252-74_0_4_node_86 | 0.4 | n |  | TRUE
25 | bus_LV_6252-74_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6252-74_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_6252-74_0_4_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_6252-74_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_6252-74_0_4_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_6252-74_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_6252-74_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6252-74_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6252-74_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6252-74_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6252-74_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_6252-74_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_6252-74_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_6252-74_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_6252-74_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_6252-74_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6252-74_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6252-74_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_6252-74_0_4_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_6252-74_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6252-74_0_4_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_6252-74_0_4_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_6252-74_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_6252-74_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_6252-74_0_4_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_6252-74_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6252-74_0_4_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_6252-74_0_4_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_6252-74_0_4_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_6252-74_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_6252-74_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_6252-74_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6252-74_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6252-74_0_4_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_6252-74_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6252-74_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_6252-74_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_6252-74_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_6252-74_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_6252-74_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_6252-74_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_6252-74_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_6252-74_0_4_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_6252-74_0_4_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_6252-74_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_6252-74_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_6252-74_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_6252-74_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_6252-74_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_6252-74_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_6252-74_0_4_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_6252-74_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_6252-74_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_6252-74_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_6252-74_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6252-74_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_6252-74_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_6252-74_0_4_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_6252-74_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_6252-74_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_6252-74_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_6252-74_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_6252-74_0_4_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_6252-74_0_4_node_88 | 0.4 | n |  | TRUE
89 | bus_MV_114_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6252-74_0_4_load_0 | 0 | 0.0050868 | 0.0012749 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6252-74_0_4_load_1 | 1 | 0.005834 | 0.0014622 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6252-74_0_4_load_3 | 3 | 0.0017593 | 0.00044092 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6252-74_0_4_load_4 | 4 | 0.0075682 | 0.0018968 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6252-74_0_4_load_6 | 6 | 0.0031312 | 0.00078474 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6252-74_0_4_load_7 | 7 | 0.0053746 | 0.001347 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6252-74_0_4_load_13 | 8 | 0.0019636 | 0.00049211 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6252-74_0_4_load_14 | 9 | 0.0021618 | 0.0005418 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6252-74_0_4_load_10 | 10 | 0.0018934 | 0.00047452 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6252-74_0_4_load_8 | 12 | 0.0043933 | 0.0011011 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6252-74_0_4_load_16 | 13 | 0.0018571 | 0.00046542 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6252-74_0_4_load_17 | 14 | 0.0048053 | 0.0012043 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6252-74_0_4_load_11 | 15 | 0.0027228 | 0.0006824 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6252-74_0_4_load_78 | 16 | 0.0028668 | 0.00071848 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6252-74_0_4_load_9 | 17 | 0.0040278 | 0.0010095 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6252-74_0_4_load_12 | 20 | 0.0052605 | 0.0013184 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6252-74_0_4_load_28 | 21 | 0.0020793 | 0.00052112 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6252-74_0_4_load_29 | 22 | 0.0044659 | 0.0011193 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6252-74_0_4_load_86 | 24 | 0.0027289 | 0.00068393 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6252-74_0_4_load_19 | 25 | 0.0018431 | 0.00046194 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6252-74_0_4_load_20 | 26 | 0.0018693 | 0.0004685 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6252-74_0_4_load_83 | 27 | 0.0024419 | 0.00061199 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6252-74_0_4_load_27 | 28 | 0.0024275 | 0.0006084 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6252-74_0_4_load_84 | 29 | 0.002584 | 0.0006476 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6252-74_0_4_load_26 | 30 | 0.003919 | 0.00098219 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6252-74_0_4_load_21 | 31 | 0.0048036 | 0.0012039 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6252-74_0_4_load_22 | 32 | 0.0068448 | 0.0017155 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6252-74_0_4_load_25 | 35 | 0.0043042 | 0.0010787 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6252-74_0_4_load_30 | 36 | 0.0035775 | 0.00089661 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6252-74_0_4_load_31 | 37 | 0.0019483 | 0.0004883 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6252-74_0_4_load_38 | 38 | 0.0027223 | 0.00068227 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6252-74_0_4_load_39 | 39 | 0.0026155 | 0.0006555 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6252-74_0_4_load_36 | 41 | 0.004711 | 0.0011807 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6252-74_0_4_load_66 | 46 | 0.0024637 | 0.00061746 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6252-74_0_4_load_40 | 48 | 0.0035202 | 0.00088224 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6252-74_0_4_load_92 | 49 | 0.0022264 | 0.00055799 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6252-74_0_4_load_72 | 52 | 0.0027233 | 0.00068252 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6252-74_0_4_load_77 | 53 | 0.0026458 | 0.0006631 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6252-74_0_4_load_44 | 54 | 0.0022555 | 0.00056528 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6252-74_0_4_load_43 | 56 | 0.0016392 | 0.00041081 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6252-74_0_4_load_56 | 57 | 0.0012437 | 0.0003117 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6252-74_0_4_load_71 | 58 | 0.0042275 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6252-74_0_4_load_57 | 59 | 0.0029348 | 0.00073554 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6252-74_0_4_load_45 | 60 | 0.001382 | 0.00034635 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6252-74_0_4_load_46 | 61 | 0.0073268 | 0.0018363 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6252-74_0_4_load_49 | 64 | 0.0013233 | 0.00033165 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6252-74_0_4_load_50 | 65 | 0.0025027 | 0.00062724 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6252-74_0_4_load_51 | 66 | 0.0025067 | 0.00062824 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6252-74_0_4_load_73 | 67 | 0.004909 | 0.0012303 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6252-74_0_4_load_52 | 69 | 0.0031831 | 0.00079776 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6252-74_0_4_load_53 | 70 | 0.0019972 | 0.00050054 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6252-74_0_4_load_58 | 71 | 0.0061914 | 0.0015517 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6252-74_0_4_load_61 | 74 | 0.00338 | 0.00084712 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6252-74_0_4_load_62 | 75 | 0.0026591 | 0.00066645 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6252-74_0_4_load_63 | 76 | 0.0042426 | 0.0010633 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6252-74_0_4_load_64 | 77 | 0.0084166 | 0.0021094 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6252-74_0_4_load_68 | 78 | 0.0010334 | 0.000259 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6252-74_0_4_load_69 | 79 | 0.0027126 | 0.00067985 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6252-74_0_4_load_70 | 80 | 0.0026334 | 0.00066 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6252-74_0_4_load_75 | 81 | 0.0028851 | 0.00072307 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6252-74_0_4_load_87 | 82 | 0.0020512 | 0.00051407 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6252-74_0_4_load_79 | 83 | 0.0023696 | 0.00059388 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6252-74_0_4_load_80 | 84 | 0.003042 | 0.00076239 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6252-74_0_4_load_81 | 85 | 0.003369 | 0.00084436 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6252-74_0_4_load_82 | 86 | 0.0022568 | 0.00056562 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6252-74_0_4_load_85 | 87 | 0.0020178 | 0.00050571 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6252-74_0_4_load_88 | 88 | 0.0019339 | 0.00048469 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6252-74_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.057726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6252-74_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0052692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6252-74_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6252-74_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_6252-74_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.030554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_6252-74_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.042696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6252-74_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.016649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_6252-74_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.02323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6252-74_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.014986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6252-74_0_4_line_9 | NAYY 4x150 SE | 5 | 10 | 0.016922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_6252-74_0_4_line_10 | NAYY 4x150 SE | 6 | 11 | 0.014932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6252-74_0_4_line_11 | NAYY 4x150 SE | 7 | 12 | 0.048031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6252-74_0_4_line_12 | NAYY 4x150 SE | 8 | 13 | 0.037179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6252-74_0_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.011448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6252-74_0_4_line_14 | NAYY 4x150 SE | 10 | 15 | 0.019236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_6252-74_0_4_line_15 | NAYY 4x150 SE | 11 | 16 | 0.011634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6252-74_0_4_line_16 | NAYY 4x150 SE | 12 | 17 | 0.022001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_6252-74_0_4_line_17 | NAYY 4x150 SE | 14 | 23 | 0.010954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6252-74_0_4_line_18 | NAYY 4x150 SE | 15 | 20 | 0.032993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_6252-74_0_4_line_19 | NAYY 4x150 SE | 16 | 24 | 0.026214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6252-74_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.016483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_6252-74_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.02456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_6252-74_0_4_line_22 | NAYY 4x150 SE | 19 | 47 | 0.057232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_6252-74_0_4_line_23 | NAYY 4x150 SE | 19 | 48 | 0.060692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6252-74_0_4_line_24 | NAYY 4x150 SE | 20 | 21 | 0.019369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6252-74_0_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.034058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6252-74_0_4_line_26 | NAYY 4x150 SE | 22 | 38 | 0.053755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_6252-74_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0056034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6252-74_0_4_line_28 | NAYY 4x150 SE | 23 | 26 | 0.019636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6252-74_0_4_line_29 | NAYY 4x150 SE | 24 | 82 | 0.0016142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6252-74_0_4_line_30 | NAYY 4x150 SE | 25 | 27 | 0.00078236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6252-74_0_4_line_31 | NAYY 4x150 SE | 26 | 28 | 0.014695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6252-74_0_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.0091119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6252-74_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.0076514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6252-74_0_4_line_34 | NAYY 4x150 SE | 29 | 87 | 0.025555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6252-74_0_4_line_35 | NAYY 4x150 SE | 30 | 35 | 0.017545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6252-74_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.02011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6252-74_0_4_line_37 | NAYY 4x150 SE | 31 | 33 | 0.073734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6252-74_0_4_line_38 | NAYY 4x150 SE | 32 | 34 | 0.006661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6252-74_0_4_line_39 | NAYY 4x150 SE | 33 | 35 | 0.0080202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6252-74_0_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.02248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6252-74_0_4_line_41 | NAYY 4x150 SE | 36 | 37 | 0.053375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6252-74_0_4_line_42 | NAYY 4x150 SE | 37 | 40 | 0.018906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6252-74_0_4_line_43 | NAYY 4x150 SE | 38 | 39 | 0.066227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6252-74_0_4_line_44 | NAYY 4x150 SE | 39 | 42 | 0.028108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6252-74_0_4_line_45 | NAYY 4x150 SE | 40 | 41 | 0.043899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6252-74_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.011283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6252-74_0_4_line_47 | NAYY 4x150 SE | 43 | 53 | 0.05571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6252-74_0_4_line_48 | NAYY 4x150 SE | 43 | 54 | 0.041716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6252-74_0_4_line_49 | NAYY 4x150 SE | 44 | 45 | 0.00979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6252-74_0_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.025149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6252-74_0_4_line_51 | NAYY 4x150 SE | 45 | 49 | 0.045466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6252-74_0_4_line_52 | NAYY 4x150 SE | 45 | 50 | 0.05959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6252-74_0_4_line_53 | NAYY 4x150 SE | 46 | 51 | 0.019856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6252-74_0_4_line_54 | NAYY 4x150 SE | 47 | 51 | 0.045919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6252-74_0_4_line_55 | NAYY 4x150 SE | 47 | 52 | 0.031451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_6252-74_0_4_line_56 | NAYY 4x150 SE | 50 | 70 | 0.0098743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6252-74_0_4_line_57 | NAYY 4x150 SE | 52 | 58 | 0.030491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_6252-74_0_4_line_58 | NAYY 4x150 SE | 53 | 64 | 0.080203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6252-74_0_4_line_59 | NAYY 4x150 SE | 54 | 55 | 0.021704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6252-74_0_4_line_60 | NAYY 4x150 SE | 55 | 56 | 0.01969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6252-74_0_4_line_61 | NAYY 4x150 SE | 56 | 57 | 0.011376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6252-74_0_4_line_62 | NAYY 4x150 SE | 57 | 59 | 0.030904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6252-74_0_4_line_63 | NAYY 4x150 SE | 58 | 80 | 0.021283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_6252-74_0_4_line_64 | NAYY 4x150 SE | 60 | 61 | 0.059085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6252-74_0_4_line_65 | NAYY 4x150 SE | 60 | 62 | 0.010656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6252-74_0_4_line_66 | NAYY 4x150 SE | 61 | 63 | 0.012076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6252-74_0_4_line_67 | NAYY 4x150 SE | 62 | 64 | 0.017274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6252-74_0_4_line_68 | NAYY 4x150 SE | 62 | 65 | 0.045288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6252-74_0_4_line_69 | NAYY 4x150 SE | 62 | 66 | 0.019362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6252-74_0_4_line_70 | NAYY 4x150 SE | 63 | 67 | 0.0045916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6252-74_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.0088722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6252-74_0_4_line_72 | NAYY 4x150 SE | 68 | 81 | 0.0087048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6252-74_0_4_line_73 | NAYY 4x150 SE | 69 | 70 | 0.0026331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6252-74_0_4_line_74 | NAYY 4x150 SE | 71 | 72 | 0.051314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6252-74_0_4_line_75 | NAYY 4x150 SE | 71 | 73 | 0.013535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6252-74_0_4_line_76 | NAYY 4x150 SE | 72 | 74 | 0.059325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6252-74_0_4_line_77 | NAYY 4x150 SE | 72 | 75 | 0.04177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6252-74_0_4_line_78 | NAYY 4x150 SE | 73 | 76 | 0.027293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6252-74_0_4_line_79 | NAYY 4x150 SE | 73 | 77 | 0.019879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6252-74_0_4_line_80 | NAYY 4x150 SE | 75 | 78 | 0.025882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6252-74_0_4_line_81 | NAYY 4x150 SE | 78 | 79 | 0.009381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_6252-74_0_4_line_82 | NAYY 4x150 SE | 79 | 80 | 0.01852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_6252-74_0_4_line_83 | NAYY 4x150 SE | 82 | 88 | 0.017184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6252-74_0_4_line_84 | NAYY 4x150 SE | 83 | 84 | 0.04041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6252-74_0_4_line_85 | NAYY 4x150 SE | 83 | 85 | 0.014105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6252-74_0_4_line_86 | NAYY 4x150 SE | 85 | 86 | 0.016245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6252-74_0_4_line_87 | NAYY 4x150 SE | 86 | 87 | 0.0017646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6252-74_0_4_trafo_38 | 0.25 MVA 20/0.4 kV | 89 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2608715.7191 | 1124386.8834 | 2608717.5675 | 1124379.2366 | 2608721.4805 | 1124365.3466 | 2608727.5592 | 1124351.8375 | 2608734.3223 | 1124339.4856 | 2608739.1748 | 1124335.1121
1 | 2608714.481 | 1124392.0051 | 2608715.7191 | 1124386.8834
2 | 2608739.1748 | 1124335.1121 | 2608742.7207 | 1124331.9162 | 2608748.6877 | 1124327.2345
3 | 2608714.481 | 1124392.0051 | 2608712.6623 | 1124413.9998
4 | 2608706.9871 | 1124365.5259 | 2608710.9971 | 1124370.0339 | 2608711.5945 | 1124372.7472 | 2608709.6841 | 1124387.9296 | 2608710.1759 | 1124389.0753 | 2608714.481 | 1124392.0051
5 | 2608748.6877 | 1124327.2345 | 2608753.6954 | 1124323.3055 | 2608768.9834 | 1124312.0776 | 2608776.7393 | 1124306.3748 | 2608782.8104 | 1124301.5807
6 | 2608712.6623 | 1124413.9998 | 2608711.2903 | 1124430.5926
7 | 2608706.9871 | 1124365.5259 | 2608709.2821 | 1124361.7718 | 2608715.5996 | 1124353.7436 | 2608719.749 | 1124346.1952
8 | 2608706.9871 | 1124365.5259 | 2608703.8082 | 1124362.0641 | 2608700.4169 | 1124356.1675 | 2608700.6497 | 1124352.6915
9 | 2608706.9871 | 1124365.5259 | 2608702.11 | 1124368.9984 | 2608698.0717 | 1124378.9309 | 2608698.0022 | 1124379.1319
10 | 2608794.5292 | 1124292.3269 | 2608782.8104 | 1124301.5807
11 | 2608708.2339 | 1124478.5259 | 2608711.1235 | 1124432.6091 | 2608711.2903 | 1124430.5926
12 | 2608743.3646 | 1124318.1917 | 2608737.2537 | 1124322.0258 | 2608729.0767 | 1124331.0851 | 2608721.0951 | 1124343.7466 | 2608719.749 | 1124346.1952
13 | 2608700.6497 | 1124352.6915 | 2608701.4147 | 1124341.2692
14 | 2608694.4626 | 1124397.7823 | 2608694.5186 | 1124389.2086 | 2608698.0022 | 1124379.1319
15 | 2608794.5292 | 1124292.3269 | 2608798.9208 | 1124288.8538 | 2608803.6117 | 1124285.0569
16 | 2608706.8521 | 1124500.4831 | 2608708.2339 | 1124478.5259
17 | 2608703.1518 | 1124330.4589 | 2608701.4882 | 1124340.1724 | 2608701.4147 | 1124341.2692
18 | 2608693.4068 | 1124430.7492 | 2608694.3608 | 1124413.3646 | 2608694.4626 | 1124397.7823
19 | 2608803.6117 | 1124285.0569 | 2608817.1821 | 1124274.073 | 2608822.7092 | 1124267.2823
20 | 2608704.8822 | 1124516.8413 | 2608706.6431 | 1124503.8041 | 2608706.8521 | 1124500.4831
21 | 2608697.5871 | 1124540.2534 | 2608702.122 | 1124527.9761 | 2608704.8822 | 1124516.8413
22 | 2608697.5871 | 1124540.2534 | 2608699.6781 | 1124544.3251 | 2608697.9155 | 1124563.9655 | 2608696.8021 | 1124571.7233 | 2608697.2381 | 1124590.3218 | 2608696.3578 | 1124596.746
23 | 2608697.5871 | 1124540.2534 | 2608685.2547 | 1124565.9818 | 2608671.3466 | 1124594.0423 | 2608670.9854 | 1124594.8036
24 | 2608693.4068 | 1124430.7492 | 2608693.0232 | 1124437.7413 | 2608693.0148 | 1124450.1073
25 | 2608693.0148 | 1124450.1073 | 2608693.0093 | 1124458.2846 | 2608695.9462 | 1124483.9979
26 | 2608695.9462 | 1124483.9979 | 2608696.4051 | 1124488.0151 | 2608696.4094 | 1124501.1882 | 2608693.4966 | 1124516.536 | 2608688.9237 | 1124528.4687 | 2608684.6955 | 1124535.4225
27 | 2608703.1518 | 1124330.4589 | 2608705.6999 | 1124327.6389 | 2608706.8125 | 1124326.2205
28 | 2608703.1518 | 1124330.4589 | 2608684.0259 | 1124326.0126
29 | 2608822.7092 | 1124267.2823 | 2608823.7282 | 1124266.0304
30 | 2608706.8125 | 1124326.2205 | 2608707.2954 | 1124325.605
31 | 2608669.713 | 1124322.6852 | 2608684.0259 | 1124326.0126
32 | 2608712.9194 | 1124318.4357 | 2608707.2954 | 1124325.605
33 | 2608663.2106 | 1124326.6473 | 2608665.3915 | 1124325.725 | 2608669.713 | 1124322.6852 | 2608669.713 | 1124322.6852
34 | 2608712.9194 | 1124318.4357 | 2608712.9211 | 1124318.4336 | 2608725.3731 | 1124301.054 | 2608726.9509 | 1124297.1915
35 | 2608663.2106 | 1124326.6473 | 2608656.9295 | 1124329.3036 | 2608649.5455 | 1124328.3927 | 2608646.3024 | 1124327.868
36 | 2608612.1768 | 1124405.4113 | 2608612.3581 | 1124403.6991 | 2608614.538 | 1124388.6281 | 2608614.5057 | 1124385.4681
37 | 2608638.3852 | 1124326.5871 | 2608627.9405 | 1124331.2301 | 2608614.9706 | 1124338.9267 | 2608612.0762 | 1124346.8264 | 2608611.888 | 1124354.5411 | 2608614.3822 | 1124373.376 | 2608614.5057 | 1124385.4681
38 | 2608611.4752 | 1124412.0352 | 2608612.1768 | 1124405.4113
39 | 2608638.3852 | 1124326.5871 | 2608646.3024 | 1124327.868
40 | 2608611.4752 | 1124412.0352 | 2608609.4359 | 1124431.3307 | 2608609.3391 | 1124434.4067
41 | 2608609.3391 | 1124434.4067 | 2608608.8709 | 1124449.272 | 2608610.272 | 1124477.9769 | 2608610.2582 | 1124487.7402
42 | 2608610.2315 | 1124506.6464 | 2608610.2582 | 1124487.7402
43 | 2608684.6955 | 1124535.4225 | 2608680.4008 | 1124542.4856 | 2608666.2456 | 1124559.9851 | 2608650.1882 | 1124576.1813 | 2608640.6931 | 1124584.5334
44 | 2608621.5338 | 1124603.9654 | 2608625.9451 | 1124602.6266 | 2608630.5656 | 1124595.0961 | 2608636.7504 | 1124588.0014 | 2608640.6931 | 1124584.5334
45 | 2608652.0354 | 1124513.0865 | 2608649.6551 | 1124511.8491 | 2608644.5402 | 1124509.1628 | 2608638.4472 | 1124505.8526 | 2608633.6392 | 1124504.2005 | 2608621.7504 | 1124505.3175 | 2608610.2315 | 1124506.6464
46 | 2608621.5338 | 1124603.9654 | 2608622.6048 | 1124615.1947
47 | 2608622.6048 | 1124615.1947 | 2608617.2562 | 1124630.6724 | 2608616.8593 | 1124649.67 | 2608614.7231 | 1124669.8902
48 | 2608622.6048 | 1124615.1947 | 2608626.5784 | 1124656.7207
49 | 2608724.5938 | 1124603.0116 | 2608726.2827 | 1124602.5805 | 2608728.5247 | 1124603.4174 | 2608730.3256 | 1124605.4877 | 2608731.8021 | 1124608.0132
50 | 2608724.5938 | 1124603.0116 | 2608722.379 | 1124604.7204 | 2608721.0577 | 1124606.8862 | 2608714.5274 | 1124623.7073 | 2608713.7419 | 1124625.2943
51 | 2608715.0759 | 1124649.8542 | 2608718.4989 | 1124638.8315 | 2608725.0321 | 1124625.3453 | 2608727.0107 | 1124616.3882 | 2608729.1845 | 1124611.0332 | 2608731.8021 | 1124608.0132
52 | 2608751.2255 | 1124663.5905 | 2608749.7813 | 1124660.0867 | 2608747.8418 | 1124647.1442 | 2608745.5699 | 1124634.935 | 2608743.8349 | 1124629.9301 | 2608734.1399 | 1124611.9852 | 2608731.8021 | 1124608.0132
53 | 2608702.7159 | 1124641.11 | 2608704.428 | 1124640.5455 | 2608706.0331 | 1124639.3584 | 2608709.7109 | 1124633.4385 | 2608713.7419 | 1124625.2943
54 | 2608696.3578 | 1124596.746 | 2608695.8951 | 1124607.6617 | 2608700.0035 | 1124624.1534 | 2608700.3008 | 1124637.2936 | 2608700.9599 | 1124639.9736 | 2608702.7159 | 1124641.11
55 | 2608696.3578 | 1124596.746 | 2608689.9891 | 1124613.823 | 2608686.2288 | 1124626.5017
56 | 2608751.2255 | 1124663.5905 | 2608759.2308 | 1124669.371
57 | 2608679.3456 | 1124656.1426 | 2608681.6777 | 1124641.8471 | 2608686.2288 | 1124626.5017
58 | 2608612.087 | 1124749.7245 | 2608612.6835 | 1124729.8366 | 2608610.4857 | 1124703.1649 | 2608614.6482 | 1124670.5994 | 2608614.7231 | 1124669.8902
59 | 2608639.223 | 1124670.9232 | 2608635.5231 | 1124670.729 | 2608631.4561 | 1124668.511 | 2608628.3151 | 1124665.5496 | 2608627.0411 | 1124661.5569 | 2608626.5784 | 1124656.7207
60 | 2608639.223 | 1124670.9232 | 2608640.1345 | 1124680.5181 | 2608641.6017 | 1124689.5579 | 2608641.6272 | 1124690.451
61 | 2608641.9524 | 1124701.8227 | 2608641.6272 | 1124690.451
62 | 2608642.8356 | 1124732.714 | 2608641.9524 | 1124701.8227
63 | 2608677.8546 | 1124677.2707 | 2608677.5094 | 1124667.3981 | 2608679.3456 | 1124656.1426
64 | 2608610.3858 | 1124776.6981 | 2608611.1012 | 1124780.3813 | 2608610.4388 | 1124801.8464 | 2608611.0786 | 1124807.2722 | 2608612.6657 | 1124813.3441 | 2608620.094 | 1124826.1386 | 2608623.5345 | 1124829.8119 | 2608624.3854 | 1124831.939
65 | 2608608.3538 | 1124766.2372 | 2608610.3858 | 1124776.6981
66 | 2608627.0766 | 1124843.4458 | 2608627.5034 | 1124841.3787 | 2608626.4534 | 1124837.1085 | 2608624.3854 | 1124831.939
67 | 2608608.3538 | 1124766.2372 | 2608611.8179 | 1124758.694 | 2608612.087 | 1124749.7245
68 | 2608608.3538 | 1124766.2372 | 2608603.9833 | 1124760.5949 | 2608591.0896 | 1124742.2344 | 2608582.0914 | 1124729.3504
69 | 2608608.3538 | 1124766.2372 | 2608604.4426 | 1124779.2825 | 2608602.4469 | 1124784.6678
70 | 2608627.0766 | 1124843.4458 | 2608628.4685 | 1124845.7489 | 2608628.6399 | 1124847.6416
71 | 2608629.44 | 1124856.4777 | 2608628.6399 | 1124847.6416
72 | 2608629.44 | 1124856.4777 | 2608630.225 | 1124865.1471
73 | 2608761.3655 | 1124670.9125 | 2608759.2308 | 1124669.371
74 | 2608673.9305 | 1124771.7551 | 2608672.6568 | 1124778.4009 | 2608672.3168 | 1124784.4256 | 2608673.5848 | 1124792.5758 | 2608682.5753 | 1124812.5984 | 2608684.8786 | 1124820.5895
75 | 2608688.6274 | 1124833.5951 | 2608684.8786 | 1124820.5895
76 | 2608673.9305 | 1124771.7551 | 2608676.8327 | 1124785.3658 | 2608678.0654 | 1124791.2371 | 2608680.6407 | 1124796.1876 | 2608688.2834 | 1124804.5471 | 2608690.4545 | 1124806.4066 | 2608692.0033 | 1124806.8201 | 2608694.0699 | 1124806.3117 | 2608695.2046 | 1124805.2795 | 2608695.415 | 1124803.6346 | 2608688.5081 | 1124792.9084
77 | 2608673.9305 | 1124771.7551 | 2608677.7912 | 1124756.4308 | 2608681.7272 | 1124736.938 | 2608681.6222 | 1124730.8583
78 | 2608688.6274 | 1124833.5951 | 2608695.051 | 1124842.6865 | 2608696.8064 | 1124844.1341 | 2608700.0132 | 1124844.1387 | 2608701.8731 | 1124842.5961 | 2608702.6006 | 1124840.5295 | 2608701.3681 | 1124834.5582
79 | 2608688.6274 | 1124833.5951 | 2608691.2702 | 1124845.2156 | 2608694.045 | 1124852.6777
80 | 2608680.1271 | 1124705.0528 | 2608681.3498 | 1124715.0935 | 2608681.6222 | 1124730.8583
81 | 2608680.1271 | 1124705.0528 | 2608678.993 | 1124695.7406
82 | 2608677.8546 | 1124677.2707 | 2608678.302 | 1124690.0658 | 2608678.993 | 1124695.7406
83 | 2608834.2404 | 1124252.4389 | 2608826.5268 | 1124262.592 | 2608823.7282 | 1124266.0304
84 | 2608739.5765 | 1124267.6741 | 2608748.6686 | 1124248.5062 | 2608760.0125 | 1124233.0224
85 | 2608739.5765 | 1124267.6741 | 2608735.4845 | 1124276.3009 | 2608733.7613 | 1124280.5192
86 | 2608727.6182 | 1124295.5579 | 2608733.7613 | 1124280.5192
87 | 2608727.6182 | 1124295.5579 | 2608726.9509 | 1124297.1915

## bus_geodata
| x | y | coords
0 | 2608715.7191 | 1124386.8834
1 | 2608739.1748 | 1124335.1121
2 | 2608714.481 | 1124392.0051
3 | 2608748.6877 | 1124327.2345
4 | 2608712.6623 | 1124413.9998
5 | 2608706.9871 | 1124365.5259
6 | 2608782.8104 | 1124301.5807
7 | 2608711.2903 | 1124430.5926
8 | 2608719.749 | 1124346.1952
9 | 2608700.6497 | 1124352.6915
10 | 2608698.0022 | 1124379.1319
11 | 2608794.5292 | 1124292.3269
12 | 2608708.2339 | 1124478.5259
13 | 2608743.3646 | 1124318.1917
14 | 2608701.4147 | 1124341.2693
15 | 2608694.4626 | 1124397.7823
16 | 2608803.6117 | 1124285.0569
17 | 2608706.8521 | 1124500.4831
18 | 2608704.8822 | 1124516.8413
19 | 2608697.5871 | 1124540.2534
20 | 2608693.4068 | 1124430.7492
21 | 2608693.0148 | 1124450.1073
22 | 2608695.9462 | 1124483.9979
23 | 2608703.1518 | 1124330.4589
24 | 2608822.7092 | 1124267.2823
25 | 2608706.8125 | 1124326.2205
26 | 2608684.0259 | 1124326.0126
27 | 2608707.2954 | 1124325.605
28 | 2608669.713 | 1124322.6852
29 | 2608712.9194 | 1124318.4357
30 | 2608663.2106 | 1124326.6473
31 | 2608614.5057 | 1124385.4681
32 | 2608612.1768 | 1124405.4113
33 | 2608638.3852 | 1124326.5871
34 | 2608611.4752 | 1124412.0352
35 | 2608646.3024 | 1124327.868
36 | 2608609.3391 | 1124434.4067
37 | 2608610.2582 | 1124487.7402
38 | 2608684.6955 | 1124535.4225
39 | 2608640.6931 | 1124584.5334
40 | 2608610.2315 | 1124506.6464
41 | 2608652.0354 | 1124513.0865
42 | 2608621.5338 | 1124603.9654
43 | 2608622.6048 | 1124615.1947
44 | 2608724.5938 | 1124603.0116
45 | 2608731.8021 | 1124608.0132
46 | 2608713.7419 | 1124625.2943
47 | 2608696.3578 | 1124596.746
48 | 2608670.9854 | 1124594.8036
49 | 2608715.0759 | 1124649.8542
50 | 2608751.2255 | 1124663.5905
51 | 2608702.7159 | 1124641.11
52 | 2608686.2288 | 1124626.5017
53 | 2608614.7231 | 1124669.8902
54 | 2608626.5784 | 1124656.7207
55 | 2608639.223 | 1124670.9232
56 | 2608641.6272 | 1124690.451
57 | 2608641.9524 | 1124701.8227
58 | 2608679.3456 | 1124656.1426
59 | 2608642.8356 | 1124732.714
60 | 2608610.3858 | 1124776.6981
61 | 2608624.3854 | 1124831.939
62 | 2608608.3538 | 1124766.2372
63 | 2608627.0766 | 1124843.4458
64 | 2608612.087 | 1124749.7245
65 | 2608582.0914 | 1124729.3504
66 | 2608602.4469 | 1124784.6678
67 | 2608628.6399 | 1124847.6416
68 | 2608629.44 | 1124856.4777
69 | 2608761.3655 | 1124670.9125
70 | 2608759.2308 | 1124669.371
71 | 2608684.8786 | 1124820.5895
72 | 2608673.9305 | 1124771.7551
73 | 2608688.6274 | 1124833.5951
74 | 2608688.5081 | 1124792.9084
75 | 2608681.6222 | 1124730.8583
76 | 2608701.3681 | 1124834.5582
77 | 2608694.045 | 1124852.6777
78 | 2608680.1271 | 1124705.0528
79 | 2608678.993 | 1124695.7406
80 | 2608677.8546 | 1124677.2707
81 | 2608630.225 | 1124865.1471
82 | 2608823.7282 | 1124266.0304
83 | 2608739.5765 | 1124267.6741
84 | 2608760.0125 | 1124233.0224
85 | 2608733.7613 | 1124280.5192
86 | 2608727.6182 | 1124295.5579
87 | 2608726.9509 | 1124297.1915
88 | 2608834.2404 | 1124252.4389
89 | 2608621.5338 | 1124603.9654

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1