## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6252-88_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6252-88_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6252-88_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6252-88_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6252-88_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6252-88_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6252-88_0_7_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_6252-88_0_7_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_6252-88_0_7_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_6252-88_0_7_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6252-88_0_7_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6252-88_0_7_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6252-88_0_7_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6252-88_0_7_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_6252-88_0_7_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_6252-88_0_7_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6252-88_0_7_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6252-88_0_7_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_6252-88_0_7_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6252-88_0_7_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6252-88_0_7_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6252-88_0_7_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_6252-88_0_7_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_6252-88_0_7_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_6252-88_0_7_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6252-88_0_7_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_6252-88_0_7_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_6252-88_0_7_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_6252-88_0_7_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_6252-88_0_7_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6252-88_0_7_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6252-88_0_7_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6252-88_0_7_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6252-88_0_7_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6252-88_0_7_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_6252-88_0_7_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_6252-88_0_7_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_6252-88_0_7_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_6252-88_0_7_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_6252-88_0_7_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_6252-88_0_7_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_6252-88_0_7_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6252-88_0_7_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_6252-88_0_7_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_6252-88_0_7_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6252-88_0_7_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_6252-88_0_7_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_6252-88_0_7_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6252-88_0_7_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_6252-88_0_7_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_6252-88_0_7_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6252-88_0_7_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6252-88_0_7_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_6252-88_0_7_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_6252-88_0_7_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_6252-88_0_7_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_6252-88_0_7_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6252-88_0_7_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_6252-88_0_7_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_6252-88_0_7_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_6252-88_0_7_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_6252-88_0_7_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_6252-88_0_7_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_6252-88_0_7_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_6252-88_0_7_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6252-88_0_7_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_6252-88_0_7_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_6252-88_0_7_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_6252-88_0_7_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_6252-88_0_7_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_6252-88_0_7_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_6252-88_0_7_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_6252-88_0_7_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_6252-88_0_7_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_6252-88_0_7_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_6252-88_0_7_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_6252-88_0_7_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_6252-88_0_7_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_6252-88_0_7_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_6252-88_0_7_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_6252-88_0_7_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_6252-88_0_7_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_6252-88_0_7_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_6252-88_0_7_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_6252-88_0_7_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_6252-88_0_7_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_6252-88_0_7_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_6252-88_0_7_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_6252-88_0_7_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_6252-88_0_7_node_90 | 0.4 | n |  | TRUE
90 | bus_MV_206_0_node_185 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6252-88_0_7_load_0 | 0 | 0.0031628 | 0.00079267 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6252-88_0_7_load_1 | 1 | 0.010821 | 0.0027121 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6252-88_0_7_load_3 | 3 | 0.0023505 | 0.00058909 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6252-88_0_7_load_5 | 5 | 0.0030526 | 0.00076505 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6252-88_0_7_load_48 | 6 | 0.0060203 | 0.0015088 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6252-88_0_7_load_29 | 7 | 0.0016075 | 0.00040288 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6252-88_0_7_load_6 | 9 | 0.0010283 | 0.00025773 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6252-88_0_7_load_8 | 10 | 0.0042369 | 0.0010619 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6252-88_0_7_load_9 | 11 | 0.0036226 | 0.00090791 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6252-88_0_7_load_45 | 13 | 0.0035225 | 0.00088281 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6252-88_0_7_load_21 | 14 | 0.0039981 | 0.001002 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6252-88_0_7_load_11 | 15 | 0.00082254 | 0.00020615 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6252-88_0_7_load_19 | 17 | 0.0047667 | 0.0011947 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6252-88_0_7_load_13 | 18 | 0.00099492 | 0.00024935 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6252-88_0_7_load_14 | 19 | 0.0023057 | 0.00057786 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6252-88_0_7_load_15 | 20 | 0.00060582 | 0.00015183 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6252-88_0_7_load_44 | 21 | 0.00081701 | 0.00020476 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6252-88_0_7_load_27 | 22 | 0.00072982 | 0.00018291 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6252-88_0_7_load_43 | 23 | 0.0013038 | 0.00032675 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6252-88_0_7_load_16 | 24 | 0.0011298 | 0.00028316 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6252-88_0_7_load_42 | 25 | 0.0017284 | 0.00043317 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6252-88_0_7_load_41 | 26 | 0.0010643 | 0.00026673 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6252-88_0_7_load_39 | 27 | 0.00074422 | 0.00018652 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6252-88_0_7_load_23 | 28 | 0.0018991 | 0.00047596 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6252-88_0_7_load_22 | 29 | 0.00084848 | 0.00021265 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6252-88_0_7_load_20 | 30 | 0.0021433 | 0.00053717 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6252-88_0_7_load_24 | 31 | 0.00096257 | 0.00024124 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6252-88_0_7_load_25 | 32 | 0.00099107 | 0.00024839 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6252-88_0_7_load_33 | 33 | 0.00090265 | 0.00022623 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6252-88_0_7_load_26 | 35 | 0.001182 | 0.00029623 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6252-88_0_7_load_54 | 36 | 0.0012149 | 0.00030448 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6252-88_0_7_load_53 | 38 | 0.0014567 | 0.00036508 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6252-88_0_7_load_28 | 39 | 0.00076409 | 0.0001915 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6252-88_0_7_load_64 | 40 | 0.0010228 | 0.00025634 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6252-88_0_7_load_36 | 41 | 0.0083645 | 0.0020963 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6252-88_0_7_load_30 | 42 | 0.0018582 | 0.00046571 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6252-88_0_7_load_38 | 44 | 0.00064503 | 0.00016166 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6252-88_0_7_load_47 | 45 | 0.00084708 | 0.0002123 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6252-88_0_7_load_49 | 46 | 0.00081651 | 0.00020464 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6252-88_0_7_load_35 | 47 | 0.0028878 | 0.00072376 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6252-88_0_7_load_40 | 48 | 0.0056197 | 0.0014084 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6252-88_0_7_load_55 | 50 | 0.001374 | 0.00034436 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6252-88_0_7_load_56 | 51 | 0.0048175 | 0.0012074 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6252-88_0_7_load_46 | 52 | 0.0045426 | 0.0011385 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6252-88_0_7_load_50 | 53 | 0.00064783 | 0.00016236 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6252-88_0_7_load_60 | 54 | 0.0016696 | 0.00041843 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6252-88_0_7_load_57 | 57 | 0.0016044 | 0.00040211 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6252-88_0_7_load_77 | 58 | 0.0024593 | 0.00061636 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6252-88_0_7_load_58 | 59 | 0.00079124 | 0.0001983 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6252-88_0_7_load_61 | 60 | 0.0010355 | 0.00025953 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6252-88_0_7_load_73 | 61 | 0.0010699 | 0.00026813 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6252-88_0_7_load_70 | 63 | 0.00083116 | 0.00020831 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6252-88_0_7_load_62 | 64 | 0.0012046 | 0.00030191 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6252-88_0_7_load_68 | 65 | 0.0033635 | 0.00084297 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6252-88_0_7_load_71 | 66 | 0.00064945 | 0.00016277 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6252-88_0_7_load_63 | 67 | 0.0060522 | 0.0015168 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6252-88_0_7_load_75 | 68 | 0.0028252 | 0.00070805 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6252-88_0_7_load_80 | 69 | 0.002822 | 0.00070725 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6252-88_0_7_load_74 | 70 | 0.00096404 | 0.00024161 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6252-88_0_7_load_65 | 71 | 0.0035695 | 0.00089461 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6252-88_0_7_load_66 | 72 | 0.0032818 | 0.0008225 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6252-88_0_7_load_67 | 73 | 0.0018836 | 0.00047209 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6252-88_0_7_load_76 | 74 | 0.0045461 | 0.0011394 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6252-88_0_7_load_81 | 75 | 0.0028717 | 0.00071972 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6252-88_0_7_load_78 | 76 | 0.0031264 | 0.00078355 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6252-88_0_7_load_82 | 77 | 0.0021529 | 0.00053956 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6252-88_0_7_load_79 | 78 | 0.0028153 | 0.00070559 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6252-88_0_7_load_83 | 79 | 0.0040945 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6252-88_0_7_load_92 | 80 | 0.007603 | 0.0019055 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6252-88_0_7_load_93 | 81 | 0.0032233 | 0.00080783 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6252-88_0_7_load_91 | 82 | 0.0047024 | 0.0011785 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6252-88_0_7_load_85 | 83 | 0.0024379 | 0.00061101 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6252-88_0_7_load_84 | 84 | 0.0029722 | 0.0007449 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6252-88_0_7_load_88 | 87 | 0.0025394 | 0.00063643 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6252-88_0_7_load_89 | 88 | 0.002746 | 0.00068822 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6252-88_0_7_load_90 | 89 | 0.0037492 | 0.00093963 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6252-88_0_7_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6252-88_0_7_line_1 | NAYY 4x150 SE | 0 | 2 | 0.049157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6252-88_0_7_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0060045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6252-88_0_7_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6252-88_0_7_line_4 | NAYY 4x150 SE | 2 | 5 | 0.055368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6252-88_0_7_line_5 | NAYY 4x150 SE | 3 | 9 | 0.012973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6252-88_0_7_line_6 | NAYY 4x150 SE | 4 | 10 | 0.050862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_6252-88_0_7_line_7 | NAYY 4x150 SE | 5 | 11 | 0.0038032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6252-88_0_7_line_8 | NAYY 4x150 SE | 6 | 7 | 0.051306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6252-88_0_7_line_9 | NAYY 4x150 SE | 6 | 8 | 0.091112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6252-88_0_7_line_10 | NAYY 4x150 SE | 7 | 13 | 0.028951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_6252-88_0_7_line_11 | NAYY 4x150 SE | 7 | 22 | 0.067125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6252-88_0_7_line_12 | NAYY 4x150 SE | 8 | 45 | 0.071515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6252-88_0_7_line_13 | NAYY 4x150 SE | 9 | 12 | 0.020823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6252-88_0_7_line_14 | NAYY 4x150 SE | 10 | 13 | 0.02622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_6252-88_0_7_line_15 | NAYY 4x150 SE | 11 | 14 | 0.012723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6252-88_0_7_line_16 | NAYY 4x150 SE | 12 | 15 | 0.095246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6252-88_0_7_line_17 | NAYY 4x150 SE | 12 | 16 | 0.039585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6252-88_0_7_line_18 | NAYY 4x150 SE | 14 | 17 | 0.012146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6252-88_0_7_line_19 | NAYY 4x150 SE | 15 | 18 | 0.033988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6252-88_0_7_line_20 | NAYY 4x150 SE | 16 | 19 | 0.014283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6252-88_0_7_line_21 | NAYY 4x150 SE | 16 | 20 | 0.0003845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6252-88_0_7_line_22 | NAYY 4x150 SE | 17 | 30 | 0.036604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6252-88_0_7_line_23 | NAYY 4x150 SE | 20 | 24 | 0.069432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6252-88_0_7_line_24 | NAYY 4x150 SE | 21 | 22 | 0.044376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6252-88_0_7_line_25 | NAYY 4x150 SE | 21 | 23 | 0.019357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6252-88_0_7_line_26 | NAYY 4x150 SE | 23 | 25 | 0.048802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_6252-88_0_7_line_27 | NAYY 4x150 SE | 25 | 26 | 0.018341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_6252-88_0_7_line_28 | NAYY 4x150 SE | 26 | 27 | 0.049751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_6252-88_0_7_line_29 | NAYY 4x150 SE | 27 | 32 | 0.06421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6252-88_0_7_line_30 | NAYY 4x150 SE | 27 | 33 | 0.013904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_6252-88_0_7_line_31 | NAYY 4x150 SE | 28 | 29 | 0.038483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6252-88_0_7_line_32 | NAYY 4x150 SE | 29 | 30 | 0.021427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6252-88_0_7_line_33 | NAYY 4x150 SE | 31 | 32 | 0.04597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6252-88_0_7_line_34 | NAYY 4x150 SE | 33 | 34 | 0.021033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_6252-88_0_7_line_35 | NAYY 4x150 SE | 34 | 43 | 0.011348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_6252-88_0_7_line_36 | NAYY 4x150 SE | 34 | 42 | 0.03142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6252-88_0_7_line_37 | NAYY 4x150 SE | 35 | 36 | 0.14092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6252-88_0_7_line_38 | NAYY 4x150 SE | 36 | 37 | 0.15767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_6252-88_0_7_line_39 | NAYY 4x150 SE | 36 | 38 | 0.08722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_6252-88_0_7_line_40 | NAYY 4x150 SE | 37 | 47 | 0.086653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_6252-88_0_7_line_41 | NAYY 4x150 SE | 37 | 41 | 0.06209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6252-88_0_7_line_42 | NAYY 4x150 SE | 38 | 44 | 0.043576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_6252-88_0_7_line_43 | NAYY 4x150 SE | 39 | 40 | 0.097823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6252-88_0_7_line_44 | NAYY 4x150 SE | 39 | 41 | 0.13713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6252-88_0_7_line_45 | NAYY 4x150 SE | 43 | 44 | 0.015259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_6252-88_0_7_line_46 | NAYY 4x150 SE | 44 | 46 | 0.21474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6252-88_0_7_line_47 | NAYY 4x150 SE | 45 | 52 | 0.02098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6252-88_0_7_line_48 | NAYY 4x150 SE | 46 | 53 | 0.040394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6252-88_0_7_line_49 | NAYY 4x150 SE | 47 | 48 | 0.037522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_6252-88_0_7_line_50 | NAYY 4x150 SE | 48 | 49 | 0.050833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_6252-88_0_7_line_51 | NAYY 4x150 SE | 49 | 54 | 0.039415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_6252-88_0_7_line_52 | NAYY 4x150 SE | 50 | 51 | 0.011064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6252-88_0_7_line_53 | NAYY 4x150 SE | 51 | 59 | 0.02024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6252-88_0_7_line_54 | NAYY 4x150 SE | 53 | 55 | 0.057721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6252-88_0_7_line_55 | NAYY 4x150 SE | 54 | 60 | 0.05611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_6252-88_0_7_line_56 | NAYY 4x150 SE | 55 | 56 | 0.12775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6252-88_0_7_line_57 | NAYY 4x150 SE | 56 | 57 | 0.062955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6252-88_0_7_line_58 | NAYY 4x150 SE | 56 | 58 | 0.23788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6252-88_0_7_line_59 | NAYY 4x150 SE | 59 | 61 | 6.0069e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6252-88_0_7_line_60 | NAYY 4x150 SE | 60 | 63 | 0.045676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_6252-88_0_7_line_61 | NAYY 4x150 SE | 61 | 62 | 0.03661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6252-88_0_7_line_62 | NAYY 4x150 SE | 62 | 70 | 0.027643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6252-88_0_7_line_63 | NAYY 4x150 SE | 62 | 66 | 0.010866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6252-88_0_7_line_64 | NAYY 4x150 SE | 63 | 64 | 0.066035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6252-88_0_7_line_65 | NAYY 4x150 SE | 63 | 65 | 0.014892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_6252-88_0_7_line_66 | NAYY 4x150 SE | 64 | 67 | 0.034128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6252-88_0_7_line_67 | NAYY 4x150 SE | 65 | 68 | 0.067288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_6252-88_0_7_line_68 | NAYY 4x150 SE | 65 | 72 | 0.034335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6252-88_0_7_line_69 | NAYY 4x150 SE | 68 | 69 | 0.066218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_6252-88_0_7_line_70 | NAYY 4x150 SE | 68 | 70 | 0.044892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6252-88_0_7_line_71 | NAYY 4x150 SE | 69 | 76 | 0.030213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_6252-88_0_7_line_72 | NAYY 4x150 SE | 71 | 72 | 0.023431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6252-88_0_7_line_73 | NAYY 4x150 SE | 71 | 73 | 0.07129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6252-88_0_7_line_74 | NAYY 4x150 SE | 74 | 75 | 0.059517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6252-88_0_7_line_75 | NAYY 4x150 SE | 75 | 77 | 0.013057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6252-88_0_7_line_76 | NAYY 4x150 SE | 75 | 78 | 0.029642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6252-88_0_7_line_77 | NAYY 4x150 SE | 76 | 78 | 0.032184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_6252-88_0_7_line_78 | NAYY 4x150 SE | 77 | 79 | 0.00072115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6252-88_0_7_line_79 | NAYY 4x150 SE | 78 | 83 | 0.049756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_6252-88_0_7_line_80 | NAYY 4x150 SE | 80 | 81 | 0.014574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6252-88_0_7_line_81 | NAYY 4x150 SE | 80 | 82 | 0.0032648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6252-88_0_7_line_82 | NAYY 4x150 SE | 82 | 89 | 0.0036593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6252-88_0_7_line_83 | NAYY 4x150 SE | 83 | 85 | 0.060618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_6252-88_0_7_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0018342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6252-88_0_7_line_85 | NAYY 4x150 SE | 85 | 86 | 0.027275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6252-88_0_7_line_86 | NAYY 4x150 SE | 86 | 87 | 0.051957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6252-88_0_7_line_87 | NAYY 4x150 SE | 87 | 88 | 0.095164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6252-88_0_7_line_88 | NAYY 4x150 SE | 88 | 89 | 0.004424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6252-88_0_7_trafo_34 | 0.25 MVA 20/0.4 kV | 90 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2611817.8134 | 1115351.247 | 2611817.9689 | 1115335.8016 | 2611817.8356 | 1115328.8757 | 2611818.4786 | 1115319.7947 | 2611817.7594 | 1115314.739
1 | 2611839.1398 | 1115386.8901 | 2611831.951 | 1115387.4209 | 2611826.9818 | 1115385.9661 | 2611825.1263 | 1115383.2945 | 2611823.5344 | 1115380.0787 | 2611822.6527 | 1115376.8865 | 2611820.1767 | 1115371.7236 | 2611818.3857 | 1115367.6848 | 2611817.7107 | 1115361.4026 | 2611817.7871 | 1115353.8546 | 2611817.8134 | 1115351.247
2 | 2611817.4181 | 1115308.7472 | 2611817.656 | 1115314.0125 | 2611817.7594 | 1115314.739
3 | 2611839.1398 | 1115386.8901 | 2611856.0155 | 1115379.7305 | 2611865.2524 | 1115378.0922
4 | 2611839.1398 | 1115386.8901 | 2611837.807 | 1115381.4515 | 2611837.2209 | 1115373.1797 | 2611838.7144 | 1115363.4667 | 2611848.3035 | 1115333.3059
5 | 2611817.4181 | 1115308.7472 | 2611817.2044 | 1115304.0178 | 2611818.1074 | 1115296.2713 | 2611818.1235 | 1115295.8314
6 | 2611865.2524 | 1115378.0922 | 2611867.4534 | 1115373.8499 | 2611873.7812 | 1115367.4813 | 2611879.5616 | 1115360.7559 | 2611887.1332 | 1115357.9805 | 2611890.5725 | 1115352.151 | 2611895.7319 | 1115343.1788 | 2611897.0106 | 1115340.4048
7 | 2611849.4447 | 1115329.6789 | 2611849.4344 | 1115329.7486 | 2611848.3035 | 1115333.3059
8 | 2611960.7009 | 1115301.0644 | 2611911.2591 | 1115287.3579
9 | 2611995.6435 | 1115218.1909 | 2611994.9999 | 1115227.4497 | 2611987.7374 | 1115253.4927 | 2611969.1102 | 1115283.4598 | 2611960.7009 | 1115301.0644
10 | 2611904.7921 | 1115315.5299 | 2611907.2806 | 1115304.4045 | 2611910.8262 | 1115291.6051 | 2611911.2591 | 1115287.3579
11 | 2611923.6918 | 1115222.424 | 2611923.9982 | 1115224.3422 | 2611924.811 | 1115235.0713 | 2611923.5216 | 1115242.9838 | 2611917.31 | 1115256.9452 | 2611912.6919 | 1115273.2997 | 2611911.2591 | 1115287.3579
12 | 2611995.6435 | 1115218.1909 | 2612006.1826 | 1115229.784 | 2612011.3203 | 1115259.3977 | 2612008.6244 | 1115285.0474
13 | 2611818.0866 | 1115275.1164 | 2611818.9055 | 1115278.8309 | 2611818.6968 | 1115282.9659 | 2611818.3274 | 1115290.2799 | 2611818.1235 | 1115295.8314
14 | 2611897.0106 | 1115340.4048 | 2611901.6091 | 1115330.4285 | 2611903.7289 | 1115320.2832 | 2611904.7921 | 1115315.5299
15 | 2611849.4447 | 1115329.6789 | 2611851.2919 | 1115317.0907
16 | 2611818.0866 | 1115275.1164 | 2611820.0258 | 1115270.4623 | 2611822.1062 | 1115264.6968 | 2611823.0908 | 1115258.618 | 2611824.7591 | 1115250.3616 | 2611826.4375 | 1115240.8713 | 2611828.7939 | 1115232.0937 | 2611833.0983 | 1115222.0972 | 2611839.7541 | 1115209.9374 | 2611845.1475 | 1115203.7449 | 2611851.5767 | 1115196.954 | 2611852.2142 | 1115190.7633 | 2611852.0779 | 1115188.533
17 | 2611781.293 | 1115289.43 | 2611784.9309 | 1115288.6811 | 2611791.8301 | 1115286.3044 | 2611802.1907 | 1115282.6115 | 2611809.1763 | 1115279.4346 | 2611814.5612 | 1115277.5885 | 2611818.0866 | 1115275.1164
18 | 2611851.2919 | 1115317.0907 | 2611853.0554 | 1115305.0733
19 | 2611853.9114 | 1115155.108 | 2611851.233 | 1115163.3034 | 2611850.3859 | 1115170.1162 | 2611851.6081 | 1115180.8461 | 2611852.0779 | 1115188.533
20 | 2611781.293 | 1115289.43 | 2611777.9317 | 1115298.8726 | 2611775.7966 | 1115302.5594
21 | 2611781.3769 | 1115289.0547 | 2611781.293 | 1115289.43
22 | 2611858.3698 | 1115268.857 | 2611853.0554 | 1115305.0733
23 | 2611799.0989 | 1115221.9598 | 2611797.2304 | 1115228.6753 | 2611787.5624 | 1115261.3838 | 2611781.3769 | 1115289.0547
24 | 2611967.7507 | 1115227.7204 | 2611923.6918 | 1115222.424
25 | 2611975.002 | 1115209.7959 | 2611974.6099 | 1115211.4462 | 2611967.7507 | 1115227.7204
26 | 2611975.002 | 1115209.7959 | 2611979.8494 | 1115189.3901 | 2611984.9523 | 1115166.122 | 2611986.3495 | 1115162.3663
27 | 2611992.7202 | 1115145.168 | 2611992.0933 | 1115146.9265 | 2611986.3495 | 1115162.3663
28 | 2611992.7202 | 1115145.168 | 2612000.3384 | 1115123.798 | 2612008.716 | 1115100.114 | 2612009.2023 | 1115098.2338
29 | 2612009.2023 | 1115098.2338 | 2611945.5626 | 1115089.6948
30 | 2612012.6842 | 1115084.7724 | 2612009.2023 | 1115098.2338
31 | 2611864.4033 | 1115248.361 | 2611872.679 | 1115223.9862 | 2611872.9114 | 1115211.2471
32 | 2611858.3698 | 1115268.857 | 2611859.0742 | 1115264.0572 | 2611864.4033 | 1115248.361
33 | 2611959.9751 | 1115046.4984 | 2611959.7598 | 1115047.9141 | 2611958.7033 | 1115059.062 | 2611950.5573 | 1115078.9225 | 2611945.5626 | 1115089.6948
34 | 2612023.9379 | 1115070.7295 | 2612018.3408 | 1115070.4405 | 2612013.2597 | 1115082.5476 | 2612012.6842 | 1115084.7724
35 | 2612023.9379 | 1115070.7295 | 2612020.8588 | 1115081.651
36 | 2612023.9379 | 1115070.7295 | 2612028.0431 | 1115056.2749 | 2612032.8555 | 1115040.6032
37 | 2612090.9494 | 1114958.0086 | 2611981.935 | 1114868.7124
38 | 2612090.9494 | 1114958.0086 | 2612141.0395 | 1114808.5102
39 | 2612046.692 | 1115032.2965 | 2612053.0228 | 1115016.1045 | 2612058.8462 | 1115003.532 | 2612064.4566 | 1114993.2158 | 2612076.4109 | 1114980.511 | 2612090.9494 | 1114958.0086
40 | 2612141.0395 | 1114808.5102 | 2612152.2395 | 1114790.9238 | 2612178.6036 | 1114750.5455 | 2612183.0354 | 1114733.5336
41 | 2612141.0395 | 1114808.5102 | 2612142.2326 | 1114790.9595 | 2612152.6101 | 1114767.7576 | 2612154.4613 | 1114753.2208 | 2612154.3992 | 1114748.7935
42 | 2612046.692 | 1115032.2965 | 2612044.0674 | 1115039.0092 | 2612035.7351 | 1115063.1379 | 2612031.6719 | 1115073.1897
43 | 2612050.6304 | 1114659.1526 | 2611962.4432 | 1114616.8164
44 | 2612154.3992 | 1114748.7935 | 2612050.6304 | 1114659.1526
45 | 2612020.8588 | 1115081.651 | 2612029.2021 | 1115079.2997 | 2612031.6719 | 1115073.1897
46 | 2612031.6719 | 1115073.1897 | 2612230.4276 | 1115154.4949
47 | 2612006.4244 | 1115305.9119 | 2612006.678 | 1115303.5658 | 2612008.6244 | 1115285.0474
48 | 2612230.4276 | 1115154.4949 | 2612233.346 | 1115147.4287 | 2612250.9898 | 1115119.8387
49 | 2612193.2976 | 1114697.4434 | 2612183.7703 | 1114730.7127 | 2612183.0354 | 1114733.5336
50 | 2612207.2922 | 1114648.5748 | 2612193.2976 | 1114697.4434
51 | 2612207.2922 | 1114648.5748 | 2612215.7676 | 1114626.8922 | 2612225.1123 | 1114613.7387
52 | 2612287.3542 | 1114674.0952 | 2612277.8402 | 1114679.7437
53 | 2612287.3542 | 1114674.0952 | 2612294.4867 | 1114669.8606 | 2612302.7703 | 1114661.2538
54 | 2612282.0871 | 1115071.2114 | 2612250.9898 | 1115119.8387
55 | 2612225.1123 | 1114613.7387 | 2612227.7234 | 1114610.0634 | 2612245.0408 | 1114591.867 | 2612262.0287 | 1114580.1398 | 2612266.776 | 1114576.7395
56 | 2612282.0871 | 1115071.2114 | 2612294.1179 | 1115066.6112 | 2612294.1073 | 1115048.9136 | 2612288.6173 | 1115018.5208 | 2612291.9154 | 1115006.4104 | 2612298.8857 | 1114999.6767 | 2612310.5204 | 1114996.2874 | 2612328.9226 | 1114991.022 | 2612332.9399 | 1114989.8629 | 2612340.9615 | 1114986.3441
57 | 2612340.9615 | 1114986.3441 | 2612345.1578 | 1114984.4961 | 2612351.4736 | 1114984.5089 | 2612356.4238 | 1114987.8429 | 2612356.3226 | 1114992.067 | 2612353.9763 | 1114995.3861 | 2612339.6238 | 1115002.5494 | 2612333.9369 | 1115008.463 | 2612331.2925 | 1115021.7531
58 | 2612340.9615 | 1114986.3441 | 2612576.7519 | 1115017.7864
59 | 2612302.8119 | 1114661.2106 | 2612302.7703 | 1114661.2538
60 | 2612303.9094 | 1114550.1428 | 2612303.9094 | 1114550.1428 | 2612266.776 | 1114576.7395
61 | 2612325.5021 | 1114632.5382 | 2612320.0211 | 1114639.5639 | 2612307.9735 | 1114655.8476 | 2612302.8119 | 1114661.2106
62 | 2612325.5021 | 1114632.5382 | 2612328.1472 | 1114634.2 | 2612332.9309 | 1114635.9994 | 2612337.6806 | 1114635.531 | 2612344.29 | 1114631.8315 | 2612348.1946 | 1114625.9481
63 | 2612325.5021 | 1114632.5382 | 2612323.1387 | 1114625.2521 | 2612323.908 | 1114622.1397
64 | 2612303.9094 | 1114550.1428 | 2612265.0484 | 1114496.7533
65 | 2612303.9094 | 1114550.1428 | 2612314.7706 | 1114540.2154 | 2612314.8858 | 1114540.081
66 | 2612264.088 | 1114463.6397 | 2612266.7778 | 1114472.6408 | 2612266.3143 | 1114495.7624 | 2612265.0484 | 1114496.7533
67 | 2612365.4168 | 1114584.5141 | 2612314.8858 | 1114540.081
68 | 2612329.9622 | 1114510.0536 | 2612329.543 | 1114513.0874 | 2612327.0985 | 1114522.9096 | 2612321.4579 | 1114532.414 | 2612314.8858 | 1114540.081
69 | 2612365.4168 | 1114584.5141 | 2612431.6179 | 1114586.0237
70 | 2612348.1946 | 1114625.9481 | 2612348.3717 | 1114625.6812 | 2612360.7509 | 1114594.4798 | 2612365.4168 | 1114584.5141
71 | 2612442.7281 | 1114557.957 | 2612436.9344 | 1114574.3138 | 2612431.6179 | 1114586.0237
72 | 2612332.8258 | 1114486.801 | 2612331.7372 | 1114497.2063 | 2612329.9622 | 1114510.0536
73 | 2612332.8258 | 1114486.801 | 2612334.0522 | 1114475.0778 | 2612336.4975 | 1114449.6258 | 2612337.4072 | 1114431.3186 | 2612339.0485 | 1114421.5615 | 2612341.5994 | 1114416.453 | 2612341.5994 | 1114416.453
74 | 2612407.1112 | 1114488.598 | 2612465.4249 | 1114500.5034
75 | 2612468.9108 | 1114487.9204 | 2612465.4249 | 1114500.5034
76 | 2612454.5147 | 1114528.0242 | 2612464.0002 | 1114505.6463 | 2612465.4249 | 1114500.5034
77 | 2612442.7281 | 1114557.957 | 2612447.3104 | 1114545.0205 | 2612454.5147 | 1114528.0242
78 | 2612468.9108 | 1114487.9204 | 2612469.1033 | 1114487.2254
79 | 2612498.2222 | 1114551.8006 | 2612454.5147 | 1114528.0242
80 | 2612606.0435 | 1114610.0432 | 2612605.0897 | 1114610.5551 | 2612597.9534 | 1114615.0425 | 2612594.1783 | 1114618.4142
81 | 2612594.1783 | 1114618.4142 | 2612594.1783 | 1114618.4142 | 2612590.9986 | 1114617.6739 | 2612590.9986 | 1114617.6739
82 | 2612588.804 | 1114614.7457 | 2612590.9986 | 1114617.6739
83 | 2612530.5325 | 1114500.747 | 2612520.5283 | 1114514.2998 | 2612503.9687 | 1114538.9558 | 2612498.2222 | 1114551.8006
84 | 2612497.4731 | 1114553.4749 | 2612498.2222 | 1114551.8006
85 | 2612545.1 | 1114487.3704 | 2612545.0824 | 1114495.9079 | 2612543.1639 | 1114501.3734 | 2612538.1501 | 1114502.5525 | 2612530.5325 | 1114500.747
86 | 2612545.1 | 1114487.3704 | 2612550.5095 | 1114489.0379 | 2612553.4443 | 1114492.5457 | 2612554.467 | 1114498.3285 | 2612553.583 | 1114503.9072 | 2612550.9217 | 1114510.0936 | 2612546.7714 | 1114515.6545 | 2612544.4443 | 1114520.8189 | 2612542.1875 | 1114525.5611 | 2612539.4593 | 1114530.5023
87 | 2612539.4593 | 1114530.5023 | 2612590.6501 | 1114610.7253
88 | 2612590.6501 | 1114610.7253 | 2612588.804 | 1114614.7457 | 2612588.804 | 1114614.7457

## bus_geodata
| x | y | coords
0 | 2611817.8134 | 1115351.247
1 | 2611817.7594 | 1115314.739
2 | 2611839.1398 | 1115386.8901
3 | 2611817.4181 | 1115308.7472
4 | 2611865.2524 | 1115378.0922
5 | 2611848.3035 | 1115333.3059
6 | 2611960.7009 | 1115301.0644
7 | 2611911.2591 | 1115287.3579
8 | 2611995.6435 | 1115218.1909
9 | 2611818.1235 | 1115295.8314
10 | 2611897.0106 | 1115340.4048
11 | 2611849.4447 | 1115329.6789
12 | 2611818.0866 | 1115275.1164
13 | 2611904.7921 | 1115315.5299
14 | 2611851.2919 | 1115317.0907
15 | 2611852.0779 | 1115188.533
16 | 2611781.293 | 1115289.43
17 | 2611853.0554 | 1115305.0733
18 | 2611853.9114 | 1115155.108
19 | 2611775.7966 | 1115302.5594
20 | 2611781.3769 | 1115289.0547
21 | 2611967.7507 | 1115227.7204
22 | 2611923.6918 | 1115222.424
23 | 2611975.002 | 1115209.7959
24 | 2611799.0989 | 1115221.9598
25 | 2611986.3495 | 1115162.3663
26 | 2611992.7202 | 1115145.168
27 | 2612009.2023 | 1115098.2338
28 | 2611872.9114 | 1115211.2471
29 | 2611864.4033 | 1115248.361
30 | 2611858.3699 | 1115268.857
31 | 2611959.9751 | 1115046.4984
32 | 2611945.5626 | 1115089.6948
33 | 2612012.6842 | 1115084.7724
34 | 2612023.9379 | 1115070.7295
35 | 2611981.935 | 1114868.7124
36 | 2612090.9494 | 1114958.0086
37 | 2612141.0395 | 1114808.5102
38 | 2612046.692 | 1115032.2965
39 | 2612050.6304 | 1114659.1526
40 | 2611962.4432 | 1114616.8164
41 | 2612154.3992 | 1114748.7935
42 | 2612032.8555 | 1115040.6032
43 | 2612020.8588 | 1115081.651
44 | 2612031.6719 | 1115073.1897
45 | 2612008.6244 | 1115285.0474
46 | 2612230.4276 | 1115154.4949
47 | 2612183.0354 | 1114733.5336
48 | 2612193.2976 | 1114697.4434
49 | 2612207.2922 | 1114648.5748
50 | 2612277.8402 | 1114679.7437
51 | 2612287.3542 | 1114674.0952
52 | 2612006.4244 | 1115305.9119
53 | 2612250.9898 | 1115119.8387
54 | 2612225.1123 | 1114613.7387
55 | 2612282.0871 | 1115071.2114
56 | 2612340.9615 | 1114986.3441
57 | 2612331.2925 | 1115021.7531
58 | 2612576.7519 | 1115017.7864
59 | 2612302.7703 | 1114661.2538
60 | 2612266.776 | 1114576.7395
61 | 2612302.8119 | 1114661.2106
62 | 2612325.5021 | 1114632.5382
63 | 2612303.9094 | 1114550.1428
64 | 2612265.0484 | 1114496.7533
65 | 2612314.8858 | 1114540.081
66 | 2612323.908 | 1114622.1397
67 | 2612264.088 | 1114463.6397
68 | 2612365.4168 | 1114584.5141
69 | 2612431.6179 | 1114586.0237
70 | 2612348.1946 | 1114625.9481
71 | 2612332.8258 | 1114486.8009
72 | 2612329.9622 | 1114510.0536
73 | 2612341.5994 | 1114416.453
74 | 2612407.1112 | 1114488.598
75 | 2612465.4249 | 1114500.5034
76 | 2612442.7282 | 1114557.957
77 | 2612468.9108 | 1114487.9204
78 | 2612454.5147 | 1114528.0242
79 | 2612469.1033 | 1114487.2254
80 | 2612594.1783 | 1114618.4142
81 | 2612606.0435 | 1114610.0432
82 | 2612590.9986 | 1114617.6739
83 | 2612498.2222 | 1114551.8006
84 | 2612497.4731 | 1114553.4749
85 | 2612530.5325 | 1114500.747
86 | 2612545.1 | 1114487.3704
87 | 2612539.4593 | 1114530.5023
88 | 2612590.6501 | 1114610.7253
89 | 2612588.804 | 1114614.7457
90 | 2612154.2856 | 1114740.692

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1