## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6252-89_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6252-89_0_6_node_11 | 0.4 | n |  | TRUE
2 | bus_LV_6252-89_0_6_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_6252-89_0_6_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_6252-89_0_6_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_6252-89_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6252-89_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6252-89_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6252-89_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6252-89_0_6_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6252-89_0_6_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_6252-89_0_6_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_6252-89_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_6252-89_0_6_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_6252-89_0_6_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_6252-89_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6252-89_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6252-89_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6252-89_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6252-89_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6252-89_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6252-89_0_6_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6252-89_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6252-89_0_6_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_6252-89_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6252-89_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6252-89_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6252-89_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_6252-89_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_6252-89_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_6252-89_0_6_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6252-89_0_6_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_6252-89_0_6_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_6252-89_0_6_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_6252-89_0_6_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_6252-89_0_6_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_6252-89_0_6_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_6252-89_0_6_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_6252-89_0_6_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_6252-89_0_6_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_6252-89_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_6252-89_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_6252-89_0_6_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_6252-89_0_6_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_6252-89_0_6_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6252-89_0_6_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_6252-89_0_6_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_6252-89_0_6_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_6252-89_0_6_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_6252-89_0_6_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_6252-89_0_6_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_6252-89_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_6252-89_0_6_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_6252-89_0_6_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_6252-89_0_6_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_6252-89_0_6_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_6252-89_0_6_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6252-89_0_6_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_6252-89_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_6252-89_0_6_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_6252-89_0_6_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_6252-89_0_6_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_6252-89_0_6_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_6252-89_0_6_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_6252-89_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_6252-89_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_6252-89_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_6252-89_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_6252-89_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_6252-89_0_6_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_6252-89_0_6_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_6252-89_0_6_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_6252-89_0_6_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_6252-89_0_6_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_6252-89_0_6_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_6252-89_0_6_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_6252-89_0_6_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_6252-89_0_6_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_6252-89_0_6_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_6252-89_0_6_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_6252-89_0_6_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_6252-89_0_6_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_6252-89_0_6_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_6252-89_0_6_node_85 | 0.4 | n |  | TRUE
84 | bus_MV_206_0_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6252-89_0_6_load_0 | 0 | 0.0018867 | 0.00047286 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6252-89_0_6_load_1 | 3 | 0.0020691 | 0.00051856 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6252-89_0_6_load_2 | 4 | 0.0011762 | 0.00029479 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6252-89_0_6_load_4 | 6 | 0.0010381 | 0.00026017 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6252-89_0_6_load_5 | 7 | 0.0014361 | 0.00035992 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6252-89_0_6_load_6 | 8 | 0.0015436 | 0.00038685 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6252-89_0_6_load_12 | 9 | 0.0012729 | 0.00031901 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6252-89_0_6_load_25 | 10 | 0.00091459 | 0.00022922 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6252-89_0_6_load_28 | 11 | 0.0014439 | 0.00036188 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6252-89_0_6_load_17 | 12 | 0.0013744 | 0.00034447 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6252-89_0_6_load_27 | 14 | 0.0014622 | 0.00036647 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6252-89_0_6_load_7 | 15 | 0.0018969 | 0.0004754 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6252-89_0_6_load_8 | 16 | 0.0018894 | 0.00047354 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6252-89_0_6_load_13 | 18 | 0.0020841 | 0.00052232 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6252-89_0_6_load_14 | 19 | 0.001791 | 0.00044887 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6252-89_0_6_load_15 | 20 | 0.0021124 | 0.00052943 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6252-89_0_6_load_18 | 21 | 0.0025996 | 0.00065153 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6252-89_0_6_load_16 | 22 | 0.0029517 | 0.00073977 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6252-89_0_6_load_30 | 23 | 0.0030303 | 0.00075947 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6252-89_0_6_load_19 | 24 | 0.0016281 | 0.00040803 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6252-89_0_6_load_20 | 25 | 0.0013714 | 0.00034371 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6252-89_0_6_load_21 | 26 | 0.00090622 | 0.00022712 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6252-89_0_6_load_22 | 27 | 0.0010775 | 0.00027004 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6252-89_0_6_load_23 | 28 | 0.0012579 | 0.00031526 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6252-89_0_6_load_24 | 29 | 0.0010235 | 0.00025651 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6252-89_0_6_load_29 | 30 | 0.0012225 | 0.00030638 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6252-89_0_6_load_31 | 31 | 0.002082 | 0.0005218 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6252-89_0_6_load_34 | 32 | 0.0027005 | 0.0006768 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6252-89_0_6_load_32 | 33 | 0.0026083 | 0.00065371 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6252-89_0_6_load_33 | 35 | 0.0022709 | 0.00056914 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6252-89_0_6_load_44 | 36 | 0.0029412 | 0.00073714 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6252-89_0_6_load_41 | 37 | 0.0021936 | 0.00054976 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6252-89_0_6_load_43 | 39 | 0.0024634 | 0.00061739 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6252-89_0_6_load_36 | 40 | 0.0030171 | 0.00075615 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6252-89_0_6_load_37 | 41 | 0.001625 | 0.00040726 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6252-89_0_6_load_40 | 42 | 0.0032556 | 0.00081593 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6252-89_0_6_load_45 | 43 | 0.0021581 | 0.00054088 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6252-89_0_6_load_39 | 44 | 0.0028954 | 0.00072566 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6252-89_0_6_load_38 | 46 | 0.0038459 | 0.00096387 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6252-89_0_6_load_47 | 48 | 0.0041284 | 0.0010347 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6252-89_0_6_load_48 | 49 | 0.0054109 | 0.0013561 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6252-89_0_6_load_49 | 50 | 0.0035787 | 0.0008969 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6252-89_0_6_load_50 | 51 | 0.0032452 | 0.00081332 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6252-89_0_6_load_51 | 52 | 0.0034312 | 0.00085994 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6252-89_0_6_load_57 | 53 | 0.007635 | 0.0019135 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6252-89_0_6_load_75 | 54 | 0.0037139 | 0.0009308 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6252-89_0_6_load_74 | 55 | 0.0050987 | 0.0012779 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6252-89_0_6_load_52 | 56 | 0.0033963 | 0.00085119 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6252-89_0_6_load_53 | 57 | 0.0049806 | 0.0012483 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6252-89_0_6_load_54 | 58 | 0.0033692 | 0.00084439 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6252-89_0_6_load_56 | 60 | 0.003514 | 0.00088069 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6252-89_0_6_load_62 | 62 | 0.0050744 | 0.0012718 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6252-89_0_6_load_65 | 63 | 0.011611 | 0.00291 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6252-89_0_6_load_58 | 64 | 0.0097701 | 0.0024486 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6252-89_0_6_load_59 | 65 | 0.0022807 | 0.00057159 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6252-89_0_6_load_60 | 66 | 0.0044473 | 0.0011146 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6252-89_0_6_load_61 | 67 | 0.0036688 | 0.00091949 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6252-89_0_6_load_68 | 70 | 0.0032969 | 0.00082627 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6252-89_0_6_load_69 | 71 | 0.0036341 | 0.00091078 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6252-89_0_6_load_84 | 72 | 0.0043608 | 0.0010929 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6252-89_0_6_load_71 | 73 | 0.0042696 | 0.0010701 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6252-89_0_6_load_72 | 74 | 0.0055372 | 0.0013877 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6252-89_0_6_load_76 | 75 | 0.0029736 | 0.00074524 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6252-89_0_6_load_77 | 76 | 0.0044346 | 0.0011114 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6252-89_0_6_load_79 | 77 | 0.0038885 | 0.00097454 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6252-89_0_6_load_78 | 78 | 0.0041705 | 0.0010452 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6252-89_0_6_load_80 | 79 | 0.0042327 | 0.0010608 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6252-89_0_6_load_81 | 80 | 0.00297 | 0.00074435 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6252-89_0_6_load_82 | 81 | 0.003621 | 0.0009075 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6252-89_0_6_load_86 | 82 | 0.0058965 | 0.0014778 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6252-89_0_6_load_85 | 83 | 0.0074198 | 0.0018596 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6252-89_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.37926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6252-89_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.089647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6252-89_0_6_line_2 | NAYY 4x150 SE | 2 | 15 | 0.094506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6252-89_0_6_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0017705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6252-89_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.020989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6252-89_0_6_line_5 | NAYY 4x150 SE | 4 | 6 | 0.011593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6252-89_0_6_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0033113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6252-89_0_6_line_7 | NAYY 4x150 SE | 5 | 8 | 0.013949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6252-89_0_6_line_8 | NAYY 4x150 SE | 6 | 9 | 0.023721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6252-89_0_6_line_9 | NAYY 4x150 SE | 7 | 10 | 0.023501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6252-89_0_6_line_10 | NAYY 4x150 SE | 8 | 11 | 0.018388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6252-89_0_6_line_11 | NAYY 4x150 SE | 9 | 12 | 0.0014647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6252-89_0_6_line_12 | NAYY 4x150 SE | 10 | 13 | 0.036998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6252-89_0_6_line_13 | NAYY 4x150 SE | 11 | 14 | 0.0096348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6252-89_0_6_line_14 | NAYY 4x150 SE | 12 | 21 | 0.028922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6252-89_0_6_line_15 | NAYY 4x150 SE | 13 | 23 | 0.027134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6252-89_0_6_line_16 | NAYY 4x150 SE | 13 | 22 | 0.015635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6252-89_0_6_line_17 | NAYY 4x150 SE | 14 | 28 | 0.0012001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6252-89_0_6_line_18 | NAYY 4x150 SE | 15 | 16 | 0.063341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6252-89_0_6_line_19 | NAYY 4x150 SE | 16 | 17 | 0.02399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6252-89_0_6_line_20 | NAYY 4x150 SE | 17 | 18 | 0.021362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6252-89_0_6_line_21 | NAYY 4x150 SE | 17 | 19 | 0.042871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6252-89_0_6_line_22 | NAYY 4x150 SE | 18 | 20 | 0.045132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6252-89_0_6_line_23 | NAYY 4x150 SE | 20 | 22 | 0.041696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6252-89_0_6_line_24 | NAYY 4x150 SE | 21 | 24 | 0.034041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6252-89_0_6_line_25 | NAYY 4x150 SE | 23 | 32 | 0.028247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6252-89_0_6_line_26 | NAYY 4x150 SE | 25 | 26 | 0.016549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6252-89_0_6_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0087082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6252-89_0_6_line_28 | NAYY 4x150 SE | 26 | 28 | 0.015673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6252-89_0_6_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0051262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6252-89_0_6_line_30 | NAYY 4x150 SE | 29 | 30 | 0.02418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6252-89_0_6_line_31 | NAYY 4x150 SE | 30 | 31 | 0.0098786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6252-89_0_6_line_32 | NAYY 4x150 SE | 31 | 33 | 0.014649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6252-89_0_6_line_33 | NAYY 4x150 SE | 32 | 34 | 0.0044936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_6252-89_0_6_line_34 | NAYY 4x150 SE | 33 | 35 | 0.015741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6252-89_0_6_line_35 | NAYY 4x150 SE | 34 | 40 | 0.0099229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6252-89_0_6_line_36 | NAYY 4x150 SE | 34 | 41 | 0.042175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_6252-89_0_6_line_37 | NAYY 4x150 SE | 35 | 36 | 0.087397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6252-89_0_6_line_38 | NAYY 4x150 SE | 36 | 39 | 0.01842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6252-89_0_6_line_39 | NAYY 4x150 SE | 37 | 38 | 0.022691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6252-89_0_6_line_40 | NAYY 4x150 SE | 38 | 39 | 0.040215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6252-89_0_6_line_41 | NAYY 4x150 SE | 40 | 42 | 0.033947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6252-89_0_6_line_42 | NAYY 4x150 SE | 41 | 43 | 0.03306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_6252-89_0_6_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0011755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6252-89_0_6_line_44 | NAYY 4x150 SE | 43 | 45 | 0.088056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_6252-89_0_6_line_45 | NAYY 4x150 SE | 44 | 46 | 0.028213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6252-89_0_6_line_46 | NAYY 4x150 SE | 45 | 47 | 0.28141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_6252-89_0_6_line_47 | NAYY 4x150 SE | 47 | 76 | 0.088645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_6252-89_0_6_line_48 | NAYY 4x150 SE | 48 | 49 | 0.013233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_6252-89_0_6_line_49 | NAYY 4x150 SE | 48 | 50 | 0.011987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_6252-89_0_6_line_50 | NAYY 4x150 SE | 49 | 51 | 0.01452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_6252-89_0_6_line_51 | NAYY 4x150 SE | 50 | 52 | 0.0053125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_6252-89_0_6_line_52 | NAYY 4x150 SE | 51 | 53 | 0.035396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6252-89_0_6_line_53 | NAYY 4x150 SE | 51 | 54 | 0.049159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_6252-89_0_6_line_54 | NAYY 4x150 SE | 52 | 55 | 0.0032867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_6252-89_0_6_line_55 | NAYY 4x150 SE | 53 | 63 | 0.058669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6252-89_0_6_line_56 | NAYY 4x150 SE | 54 | 75 | 0.026875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_6252-89_0_6_line_57 | NAYY 4x150 SE | 55 | 61 | 0.055687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_6252-89_0_6_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0029037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6252-89_0_6_line_59 | NAYY 4x150 SE | 56 | 58 | 0.0090746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6252-89_0_6_line_60 | NAYY 4x150 SE | 57 | 59 | 0.0085703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6252-89_0_6_line_61 | NAYY 4x150 SE | 58 | 60 | 0.0049257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6252-89_0_6_line_62 | NAYY 4x150 SE | 59 | 61 | 0.046024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6252-89_0_6_line_63 | NAYY 4x150 SE | 60 | 62 | 0.0077467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6252-89_0_6_line_64 | NAYY 4x150 SE | 62 | 66 | 0.038869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6252-89_0_6_line_65 | NAYY 4x150 SE | 64 | 65 | 0.00032067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6252-89_0_6_line_66 | NAYY 4x150 SE | 64 | 66 | 0.022552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6252-89_0_6_line_67 | NAYY 4x150 SE | 65 | 67 | 0.036409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6252-89_0_6_line_68 | NAYY 4x150 SE | 67 | 68 | 0.11386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6252-89_0_6_line_69 | NAYY 4x150 SE | 68 | 69 | 0.06541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6252-89_0_6_line_70 | NAYY 4x150 SE | 69 | 73 | 0.11798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6252-89_0_6_line_71 | NAYY 4x150 SE | 70 | 71 | 0.035159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6252-89_0_6_line_72 | NAYY 4x150 SE | 71 | 72 | 0.068088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6252-89_0_6_line_73 | NAYY 4x150 SE | 72 | 83 | 0.03045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6252-89_0_6_line_74 | NAYY 4x150 SE | 72 | 82 | 0.025991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6252-89_0_6_line_75 | NAYY 4x150 SE | 73 | 74 | 0.024126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6252-89_0_6_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0051821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_6252-89_0_6_line_77 | NAYY 4x150 SE | 76 | 77 | 0.042678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6252-89_0_6_line_78 | NAYY 4x150 SE | 77 | 80 | 0.0092927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6252-89_0_6_line_79 | NAYY 4x150 SE | 77 | 78 | 0.017645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6252-89_0_6_line_80 | NAYY 4x150 SE | 78 | 79 | 0.034851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6252-89_0_6_line_81 | NAYY 4x150 SE | 79 | 81 | 0.025647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6252-89_0_6_line_82 | NAYY 4x150 SE | 81 | 82 | 0.0046711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6252-89_0_6_trafo_83 | 0.25 MVA 20/0.4 kV | 84 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2614793.6137 | 1109813.9128 | 2615099.8087 | 1110037.6977
1 | 2614844.9887 | 1109746.7933 | 2614842.3681 | 1109750.3109 | 2614812.6881 | 1109768.4254 | 2614802.0845 | 1109781.6173 | 2614794.991 | 1109800.4539 | 2614793.6137 | 1109813.9128
2 | 2614844.9887 | 1109746.7933 | 2614848.1908 | 1109742.4767 | 2614842.414 | 1109731.5127 | 2614826.4763 | 1109723.2031 | 2614817.7883 | 1109714.511 | 2614821.8033 | 1109684.1946 | 2614826.4832 | 1109669.0052
3 | 2614917.7739 | 1109584.2163 | 2614918.482 | 1109585.839
4 | 2614906.9746 | 1109566.2771 | 2614911.7261 | 1109573.1033 | 2614916.2668 | 1109580.7626 | 2614917.7739 | 1109584.2163
5 | 2614918.482 | 1109585.839 | 2614919.1563 | 1109587.3841 | 2614920.3868 | 1109592.9566 | 2614920.899 | 1109597.1261
6 | 2614906.9746 | 1109566.2771 | 2614905.4362 | 1109563.3449
7 | 2614906.9746 | 1109566.2771 | 2614920.9225 | 1109566.1199
8 | 2614920.899 | 1109597.1261 | 2614921.6067 | 1109602.8867 | 2614923.2321 | 1109614.452 | 2614924.5061 | 1109620.5586
9 | 2614905.4362 | 1109563.3449 | 2614902.8517 | 1109558.4187 | 2614902.448 | 1109552.8371 | 2614904.9511 | 1109546.8514 | 2614908.4819 | 1109542.182
10 | 2614939.0207 | 1109563.91 | 2614939.0207 | 1109563.91 | 2614935.3701 | 1109565.1128 | 2614931.2798 | 1109566.0032 | 2614920.9225 | 1109566.1199
11 | 2614924.8052 | 1109621.9924 | 2614924.5061 | 1109620.5586
12 | 2614920.7954 | 1109508.2488 | 2614920.9904 | 1109513.8298 | 2614919.1087 | 1109521.6735 | 2614917.0194 | 1109529.1055 | 2614910.5643 | 1109539.4281 | 2614908.4819 | 1109542.182
13 | 2614939.0207 | 1109563.91 | 2614942.9486 | 1109559.9066 | 2614945.5318 | 1109556.8183
14 | 2614924.8052 | 1109621.9924 | 2614925.6916 | 1109626.2417 | 2614930.4222 | 1109641.5387 | 2614930.7723 | 1109650.1007
15 | 2614920.7954 | 1109508.2488 | 2614925.3319 | 1109501.8901 | 2614930.5863 | 1109483.2952
16 | 2614920.7954 | 1109508.2488 | 2614918.1151 | 1109504.5292 | 2614914.1815 | 1109501.4181 | 2614908.3818 | 1109499.7475
17 | 2614946.3017 | 1109555.8978 | 2614945.5318 | 1109556.8183
18 | 2614826.4832 | 1109669.0052 | 2614832.2489 | 1109650.292 | 2614844.0462 | 1109608.1527
19 | 2614850.9083 | 1109585.1718 | 2614848.1445 | 1109593.5136 | 2614844.0462 | 1109608.1527
20 | 2614850.9083 | 1109585.1718 | 2614853.4483 | 1109586.1896 | 2614858.2225 | 1109583.7222 | 2614861.7641 | 1109576.4939 | 2614864.1078 | 1109571.849
21 | 2614850.9083 | 1109585.1718 | 2614849.3102 | 1109584.5231 | 2614847.6578 | 1109580.8061 | 2614847.2551 | 1109574.8133 | 2614851.0472 | 1109550.4326 | 2614851.9818 | 1109544.103
22 | 2614887.2221 | 1109533.1673 | 2614881.9535 | 1109543.2823 | 2614875.2915 | 1109552.9708 | 2614867.596 | 1109564.9358 | 2614864.1078 | 1109571.849
23 | 2614887.2221 | 1109533.1673 | 2614888.6154 | 1109530.4922 | 2614892.9931 | 1109519.553 | 2614898.0013 | 1109506.7478 | 2614902.3653 | 1109501.3891 | 2614908.3818 | 1109499.7475
24 | 2614926.7677 | 1109683.5153 | 2614929.9223 | 1109675.2209 | 2614929.937 | 1109669.229 | 2614931.0055 | 1109655.8027 | 2614930.7723 | 1109650.1007
25 | 2614930.5863 | 1109483.2952 | 2614938.2671 | 1109456.1131
26 | 2614956.3574 | 1109543.8759 | 2614967.8617 | 1109531.9802
27 | 2614975.1652 | 1109527.5345 | 2614974.1787 | 1109528.0007 | 2614970.0322 | 1109529.7358 | 2614967.8617 | 1109531.9802
28 | 2614946.3017 | 1109555.8978 | 2614956.3574 | 1109543.8759 | 2614956.3574 | 1109543.8759
29 | 2614975.1652 | 1109527.5345 | 2614978.9524 | 1109525.7447 | 2614979.6537 | 1109525.1227
30 | 2614991.7627 | 1109504.4149 | 2614988.213 | 1109512.2274 | 2614981.8645 | 1109523.1617 | 2614979.6537 | 1109525.1227
31 | 2614995.8492 | 1109495.4212 | 2614991.7627 | 1109504.4149
32 | 2614995.8492 | 1109495.4212 | 2615001.9093 | 1109482.0839
33 | 2614939.489 | 1109451.7887 | 2614938.2671 | 1109456.1131
34 | 2615012.5944 | 1109478.0038 | 2615005.0899 | 1109475.0838 | 2615001.9093 | 1109482.0839
35 | 2614939.489 | 1109451.7887 | 2614943.3339 | 1109447.0402 | 2614946.1324 | 1109446.6358 | 2614947.0766 | 1109446.9177
36 | 2614939.489 | 1109451.7887 | 2614939.4994 | 1109447.5867 | 2614939.2507 | 1109444.9848 | 2614937.9142 | 1109441.6354 | 2614934.4087 | 1109434.0897 | 2614931.8169 | 1109428.9808 | 2614930.9921 | 1109424.9657 | 2614930.9163 | 1109421.1969 | 2614931.7626 | 1109416.43 | 2614932.442 | 1109413.5858 | 2614933.0054 | 1109411.5944
37 | 2615012.5944 | 1109478.0038 | 2615097.8815 | 1109458.9165
38 | 2615106.7942 | 1109442.9748 | 2615101.5833 | 1109450.0543 | 2615098.0454 | 1109458.7832 | 2615097.8815 | 1109458.9165
39 | 2615145.6357 | 1109443.0491 | 2615133.3092 | 1109449.3216 | 2615127.61 | 1109456.1052
40 | 2615145.6357 | 1109443.0491 | 2615135.5173 | 1109440.8673 | 2615122.6688 | 1109439.4791 | 2615114.1924 | 1109438.9023 | 2615106.7942 | 1109442.9748
41 | 2614976.1746 | 1109443.9585 | 2614974.9452 | 1109445.7283 | 2614970.6027 | 1109451.7318 | 2614967.8808 | 1109452.3698 | 2614964.9753 | 1109452.2626 | 2614947.0766 | 1109446.9177
42 | 2614933.0054 | 1109411.5944 | 2614933.6269 | 1109409.3977 | 2614934.8117 | 1109405.2986 | 2614936.7538 | 1109401.2013 | 2614939.198 | 1109397.1942 | 2614940.8899 | 1109394.2747 | 2614942.4045 | 1109391.1768 | 2614944.0952 | 1109388.7576 | 2614947.2908 | 1109387.1757 | 2614950.8192 | 1109385.4168
43 | 2614976.8452 | 1109442.9931 | 2614976.1746 | 1109443.9585
44 | 2615022.5422 | 1109345.7736 | 2615022.6182 | 1109349.4423 | 2615021.6085 | 1109351.4519 | 2615020.2209 | 1109353.1827 | 2615017.8191 | 1109355.6224 | 2615014.706 | 1109358.2049 | 2615012.9315 | 1109360.1348 | 2615010.3296 | 1109362.2183 | 2615008.0505 | 1109365.0586 | 2615005.6944 | 1109367.8097 | 2615003.927 | 1109369.9842 | 2615001.8197 | 1109372.0689 | 2614996.273 | 1109374.3231 | 2614989.5529 | 1109376.063 | 2614983.1649 | 1109377.8815 | 2614977.2805 | 1109379.2121 | 2614971.9073 | 1109380.0326 | 2614967.7951 | 1109380.356 | 2614964.1006 | 1109380.5137 | 2614959.3092 | 1109380.5019 | 2614957.1269 | 1109381.6749 | 2614953.8454 | 1109383.59 | 2614950.8192 | 1109385.4168
45 | 2614998.9389 | 1109436.7493 | 2614998.246 | 1109436.1476 | 2614988.6576 | 1109432.0775 | 2614984.2266 | 1109433.2005 | 2614982.6465 | 1109434.6418 | 2614976.8452 | 1109442.9931
46 | 2615022.5422 | 1109345.7736 | 2615069.7532 | 1109068.3522
47 | 2615069.7532 | 1109068.3522 | 2615072.0643 | 1109065.1118 | 2615076.6585 | 1109054.3734 | 2615083.0704 | 1109043.0725 | 2615088.1463 | 1109018.862 | 2615088.4719 | 1108983.6084
48 | 2615031.639 | 1108932.9111 | 2615042.3395 | 1108925.1264
49 | 2615031.639 | 1108932.9111 | 2615031.1189 | 1108933.2895 | 2615022.0576 | 1108940.1133
50 | 2615042.3395 | 1108925.1264 | 2615054.081 | 1108916.5844
51 | 2615022.0576 | 1108940.1133 | 2615017.8139 | 1108943.3092
52 | 2615071.8063 | 1108886.3952 | 2615068.0617 | 1108896.1734 | 2615056.3834 | 1108914.9094 | 2615054.081 | 1108916.5844
53 | 2615054.081 | 1108916.5844 | 2615088.6324 | 1108951.5534
54 | 2615015.1884 | 1108945.2864 | 2615017.8139 | 1108943.3092
55 | 2615084.0067 | 1108829.6254 | 2615082.4746 | 1108843.7163 | 2615078.3399 | 1108859.2137 | 2615078.6647 | 1108868.4858 | 2615071.8063 | 1108886.3952
56 | 2615088.6324 | 1108951.5534 | 2615088.7168 | 1108957.0882 | 2615088.5197 | 1108978.4265
57 | 2614975.9725 | 1108981.0107 | 2614979.8276 | 1108981.6094 | 2614983.276 | 1108981.0731 | 2614987.4024 | 1108978.2152 | 2614991.3451 | 1108974.6565 | 2614996.4377 | 1108968.6327 | 2615000.9148 | 1108961.5068 | 2615006.0076 | 1108955.4275 | 2615013.2864 | 1108946.7188 | 2615015.1884 | 1108945.2864
58 | 2614975.5172 | 1108927.9524 | 2614974.8703 | 1108930.7831
59 | 2614975.5172 | 1108927.9524 | 2614977.5391 | 1108919.106 | 2614977.5391 | 1108919.106
60 | 2614972.9608 | 1108939.138 | 2614974.8703 | 1108930.7831
61 | 2614979.135 | 1108914.446 | 2614977.5391 | 1108919.106
62 | 2614972.9608 | 1108939.138 | 2614968.6212 | 1108950.0661 | 2614968.4637 | 1108970.109 | 2614969.2705 | 1108975.1913 | 2614971.851 | 1108978.6883 | 2614975.9725 | 1108981.0107
63 | 2614979.135 | 1108914.446 | 2614981.6449 | 1108907.1172
64 | 2614981.6449 | 1108907.1172 | 2614984.9035 | 1108897.6023 | 2614988.557 | 1108885.961 | 2614997.2347 | 1108871.7971
65 | 2615009.1834 | 1108852.2941 | 2615009.0159 | 1108852.5675
66 | 2615009.0159 | 1108852.5675 | 2614997.2347 | 1108871.7971
67 | 2615009.1834 | 1108852.2941 | 2615012.6986 | 1108846.5564 | 2615018.8519 | 1108833.6096 | 2615020.0121 | 1108823.8409 | 2615019.8761 | 1108819.4495 | 2615019.842 | 1108818.3359
68 | 2614995.5739 | 1108713.7259 | 2615006.5686 | 1108718.4219 | 2615013.0473 | 1108730.2549 | 2615014.915 | 1108759.5741 | 2615019.0534 | 1108792.6341 | 2615019.842 | 1108818.3359
69 | 2614995.5739 | 1108713.7259 | 2614979.7258 | 1108727.7383 | 2614975.8471 | 1108752.3299 | 2614960.3525 | 1108764.0421
70 | 2614960.3525 | 1108764.0421 | 2614977.0396 | 1108764.0164 | 2614987.8021 | 1108771.8912 | 2614992.5495 | 1108780.585 | 2614993.3587 | 1108787.8128 | 2614983.5546 | 1108811.3449 | 2614977.6324 | 1108821.502 | 2614968.1554 | 1108837.7535 | 2614964.4165 | 1108851.9884
71 | 2615114.8967 | 1108807.8713 | 2615113.9161 | 1108824.9071 | 2615113.1403 | 1108842.9857
72 | 2615113.1403 | 1108842.9857 | 2615168.3028 | 1108882.8986
73 | 2615168.3028 | 1108882.8986 | 2615175.3753 | 1108868.8595 | 2615178.827 | 1108860.8086 | 2615181.18 | 1108855.321
74 | 2615168.3028 | 1108882.8986 | 2615161.6272 | 1108896.15 | 2615156.2762 | 1108905.9352
75 | 2614964.4165 | 1108851.9884 | 2614962.2961 | 1108860.0613 | 2614956.0325 | 1108874.5443
76 | 2615088.5197 | 1108978.4265 | 2615088.4719 | 1108983.6084
77 | 2615131.1488 | 1108983.3798 | 2615088.4719 | 1108983.6084
78 | 2615131.1488 | 1108983.3798 | 2615130.4245 | 1108992.6442
79 | 2615132.5241 | 1108965.7885 | 2615131.1488 | 1108983.3798
80 | 2615132.5241 | 1108965.7885 | 2615133.4989 | 1108953.3196 | 2615141.8883 | 1108932.6105
81 | 2615141.8883 | 1108932.6105 | 2615142.4652 | 1108931.1864 | 2615147.8768 | 1108921.295 | 2615154.0351 | 1108910.0335
82 | 2615156.2762 | 1108905.9352 | 2615154.0351 | 1108910.0335

## bus_geodata
| x | y | coords
0 | 2615099.8087 | 1110037.6977
1 | 2614793.6137 | 1109813.9128
2 | 2614844.9887 | 1109746.7933
3 | 2614917.7739 | 1109584.2163
4 | 2614918.482 | 1109585.839
5 | 2614906.9746 | 1109566.2771
6 | 2614920.899 | 1109597.1261
7 | 2614905.4362 | 1109563.3449
8 | 2614920.9225 | 1109566.1199
9 | 2614924.5061 | 1109620.5586
10 | 2614908.4819 | 1109542.182
11 | 2614939.0207 | 1109563.91
12 | 2614924.8052 | 1109621.9924
13 | 2614920.7954 | 1109508.2488
14 | 2614945.5318 | 1109556.8183
15 | 2614826.4832 | 1109669.0052
16 | 2614844.0462 | 1109608.1527
17 | 2614850.9083 | 1109585.1718
18 | 2614864.1078 | 1109571.849
19 | 2614851.9818 | 1109544.103
20 | 2614887.2221 | 1109533.1673
21 | 2614930.7723 | 1109650.1007
22 | 2614908.3818 | 1109499.7475
23 | 2614930.5863 | 1109483.2952
24 | 2614926.7677 | 1109683.5153
25 | 2614967.8617 | 1109531.9802
26 | 2614956.3574 | 1109543.8759
27 | 2614975.1652 | 1109527.5345
28 | 2614946.3017 | 1109555.8978
29 | 2614979.6537 | 1109525.1227
30 | 2614991.7627 | 1109504.4149
31 | 2614995.8492 | 1109495.4212
32 | 2614938.2671 | 1109456.1131
33 | 2615001.9093 | 1109482.0839
34 | 2614939.489 | 1109451.7887
35 | 2615012.5944 | 1109478.0038
36 | 2615097.8815 | 1109458.9165
37 | 2615127.61 | 1109456.1052
38 | 2615145.6357 | 1109443.0491
39 | 2615106.7942 | 1109442.9748
40 | 2614947.0766 | 1109446.9177
41 | 2614933.0054 | 1109411.5944
42 | 2614976.1746 | 1109443.9585
43 | 2614950.8192 | 1109385.4168
44 | 2614976.8452 | 1109442.9931
45 | 2615022.5422 | 1109345.7736
46 | 2614998.9389 | 1109436.7493
47 | 2615069.7532 | 1109068.3522
48 | 2615031.639 | 1108932.9111
49 | 2615042.3395 | 1108925.1264
50 | 2615022.0576 | 1108940.1133
51 | 2615054.081 | 1108916.5844
52 | 2615017.8139 | 1108943.3092
53 | 2615071.8063 | 1108886.3952
54 | 2615088.6324 | 1108951.5534
55 | 2615015.1884 | 1108945.2864
56 | 2614975.5172 | 1108927.9524
57 | 2614974.8703 | 1108930.7831
58 | 2614977.5391 | 1108919.106
59 | 2614972.9608 | 1108939.138
60 | 2614979.135 | 1108914.446
61 | 2614975.9725 | 1108981.0107
62 | 2614981.6449 | 1108907.1172
63 | 2615084.0067 | 1108829.6254
64 | 2615009.0159 | 1108852.5675
65 | 2615009.1834 | 1108852.2941
66 | 2614997.2347 | 1108871.7971
67 | 2615019.842 | 1108818.3359
68 | 2614995.5739 | 1108713.7259
69 | 2614960.3525 | 1108764.0421
70 | 2615114.8967 | 1108807.8713
71 | 2615113.1403 | 1108842.9857
72 | 2615168.3028 | 1108882.8986
73 | 2614964.4165 | 1108851.9884
74 | 2614956.0325 | 1108874.5443
75 | 2615088.5197 | 1108978.4265
76 | 2615088.4719 | 1108983.6084
77 | 2615131.1488 | 1108983.3798
78 | 2615132.5241 | 1108965.7885
79 | 2615141.8883 | 1108932.6105
80 | 2615130.4245 | 1108992.6442
81 | 2615154.0351 | 1108910.0335
82 | 2615156.2762 | 1108905.9352
83 | 2615181.18 | 1108855.321
84 | 2614928.3293 | 1109023.3037

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1