## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6289-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6289-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6289-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6289-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6289-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6289-3_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6289-3_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_6289-3_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6289-3_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6289-3_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_6289-3_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_6289-3_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_6289-3_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6289-3_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6289-3_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6289-3_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_6289-3_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_6289-3_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_6289-3_0_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_6289-3_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_6289-3_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6289-3_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6289-3_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6289-3_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6289-3_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6289-3_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6289-3_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_6289-3_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_6289-3_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_6289-3_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_6289-3_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_6289-3_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_6289-3_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_6289-3_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6289-3_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_6289-3_0_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_6289-3_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_6289-3_0_4_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_6289-3_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_6289-3_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_6289-3_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_6289-3_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_6289-3_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_6289-3_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6289-3_0_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_6289-3_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_6289-3_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_6289-3_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_6289-3_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_6289-3_0_4_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_6289-3_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_6289-3_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_6289-3_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_MV_88_0_node_214 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6289-3_0_4_load_0 | 0 | 0.0026641 | 0.00066768 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6289-3_0_4_load_1 | 1 | 0.0044781 | 0.0011223 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6289-3_0_4_load_3 | 3 | 0.0026562 | 0.0006657 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6289-3_0_4_load_6 | 5 | 0.0025759 | 0.00064558 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6289-3_0_4_load_10 | 7 | 0.0072627 | 0.0018202 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6289-3_0_4_load_5 | 8 | 0.0036075 | 0.00090413 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6289-3_0_4_load_11 | 9 | 0.010993 | 0.0027551 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6289-3_0_4_load_23 | 10 | 0.015514 | 0.0038882 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6289-3_0_4_load_28 | 11 | 0.0053476 | 0.0013402 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6289-3_0_4_load_8 | 13 | 0.0052713 | 0.0013211 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6289-3_0_4_load_9 | 14 | 0.0064821 | 0.0016246 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6289-3_0_4_load_20 | 15 | 0.010994 | 0.0027553 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6289-3_0_4_load_21 | 16 | 0.0058005 | 0.0014537 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6289-3_0_4_load_19 | 18 | 0.019507 | 0.004889 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6289-3_0_4_load_24 | 19 | 0.0043003 | 0.0010778 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6289-3_0_4_load_13 | 20 | 0.0063433 | 0.0015898 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6289-3_0_4_load_14 | 21 | 0.0071151 | 0.0017832 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6289-3_0_4_load_15 | 22 | 0.0079843 | 0.0020011 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6289-3_0_4_load_16 | 23 | 0.017004 | 0.0042615 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6289-3_0_4_load_18 | 25 | 0.005695 | 0.0014273 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6289-3_0_4_load_25 | 27 | 0.039394 | 0.0098731 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6289-3_0_4_load_30 | 31 | 0.0069447 | 0.0017405 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6289-3_0_4_load_31 | 32 | 0.00102 | 0.00025563 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6289-3_0_4_load_53 | 35 | 0.0062704 | 0.0015715 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6289-3_0_4_load_47 | 38 | 0.00084641 | 0.00021213 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6289-3_0_4_load_39 | 39 | 0.00088072 | 0.00022073 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6289-3_0_4_load_37 | 40 | 0.00084834 | 0.00021261 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6289-3_0_4_load_40 | 42 | 0.0009416 | 0.00023599 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6289-3_0_4_load_41 | 43 | 0.00092551 | 0.00023195 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6289-3_0_4_load_44 | 44 | 0.00077197 | 0.00019347 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6289-3_0_4_load_42 | 45 | 0.0019743 | 0.0004948 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6289-3_0_4_load_43 | 46 | 0.00094306 | 0.00023635 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6289-3_0_4_load_45 | 47 | 0.00083337 | 0.00020886 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6289-3_0_4_load_46 | 48 | 0.0009935 | 0.000249 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6289-3_0_4_load_54 | 49 | 0.00089822 | 0.00022512 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6289-3_0_4_load_49 | 50 | 0.00382 | 0.00095738 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6289-3_0_4_load_51 | 52 | 0.0047004 | 0.001178 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6289-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6289-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6289-3_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.023923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6289-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6289-3_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.067442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6289-3_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.13239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6289-3_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.01934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6289-3_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.011754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6289-3_0_4_line_8 | NAYY 4x150 SE | 6 | 11 | 0.012462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6289-3_0_4_line_9 | NAYY 4x150 SE | 8 | 12 | 0.019214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6289-3_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.013005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6289-3_0_4_line_11 | NAYY 4x150 SE | 10 | 19 | 0.084597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6289-3_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.063345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6289-3_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.078678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6289-3_0_4_line_14 | NAYY 4x150 SE | 14 | 15 | 0.025983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6289-3_0_4_line_15 | NAYY 4x150 SE | 15 | 18 | 0.021871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6289-3_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.010639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6289-3_0_4_line_17 | NAYY 4x150 SE | 17 | 28 | 0.35812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6289-3_0_4_line_18 | NAYY 4x150 SE | 17 | 24 | 0.076293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_6289-3_0_4_line_19 | NAYY 4x150 SE | 18 | 25 | 0.0044043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6289-3_0_4_line_20 | NAYY 4x150 SE | 19 | 27 | 0.0090264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6289-3_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.017998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6289-3_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0018549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_6289-3_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.00073057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_6289-3_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.038326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_6289-3_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.019578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_6289-3_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.028516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6289-3_0_4_line_27 | NAYY 4x150 SE | 26 | 27 | 0.067155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6289-3_0_4_line_28 | NAYY 4x150 SE | 28 | 29 | 0.1576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6289-3_0_4_line_29 | NAYY 4x150 SE | 28 | 30 | 0.13525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6289-3_0_4_line_30 | NAYY 4x150 SE | 29 | 31 | 0.034144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6289-3_0_4_line_31 | NAYY 4x150 SE | 30 | 35 | 0.062915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6289-3_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.027066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6289-3_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.020185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6289-3_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.019941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6289-3_0_4_line_35 | NAYY 4x150 SE | 34 | 39 | 0.015154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6289-3_0_4_line_36 | NAYY 4x150 SE | 35 | 52 | 0.017702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6289-3_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.34376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6289-3_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6289-3_0_4_line_39 | NAYY 4x150 SE | 37 | 49 | 0.15747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6289-3_0_4_line_40 | NAYY 4x150 SE | 38 | 48 | 0.010105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6289-3_0_4_line_41 | NAYY 4x150 SE | 39 | 44 | 0.0068615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6289-3_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.015211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6289-3_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0089239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6289-3_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.009065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6289-3_0_4_line_45 | NAYY 4x150 SE | 42 | 45 | 0.0055635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6289-3_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.028608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6289-3_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.016498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6289-3_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0069639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6289-3_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0059798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6289-3_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.035476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6289-3_0_4_line_51 | NAYY 4x150 SE | 51 | 52 | 0.039723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6289-3_0_4_trafo_22 | 0.25 MVA 20/0.4 kV | 53 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2637554.8811 | 1111711.5974 | 2637550.951 | 1111741.5818
1 | 2637556.8954 | 1111695.035 | 2637556.2146 | 1111701.4229 | 2637554.8811 | 1111711.5974
2 | 2637556.8954 | 1111695.035 | 2637560.2833 | 1111671.3532
3 | 2637579.3637 | 1111698.3757 | 2637556.8954 | 1111695.035
4 | 2637560.2833 | 1111671.3532 | 2637560.836 | 1111667.4897 | 2637566.1738 | 1111652.604 | 2637574.2341 | 1111639.7251 | 2637584.9835 | 1111625.4954 | 2637595.9951 | 1111615.7594
5 | 2637670.6639 | 1111633.664 | 2637670.0504 | 1111636.6728 | 2637668.1826 | 1111642.5976 | 2637667.3098 | 1111645.0601 | 2637666.6414 | 1111646.957 | 2637657.7115 | 1111649.3028 | 2637625.3125 | 1111657.6839 | 2637617.8535 | 1111662.0399 | 2637613.36 | 1111669.0601 | 2637605.531 | 1111683.2634 | 2637602.5989 | 1111693.8951 | 2637601.3403 | 1111701.28 | 2637598.2162 | 1111704.251 | 2637594.4219 | 1111703.1714 | 2637582.1254 | 1111699.0265 | 2637579.3637 | 1111698.3757
6 | 2637579.3637 | 1111698.3757 | 2637576.7401 | 1111707.8532 | 2637575.5706 | 1111717.2868
7 | 2637604.8005 | 1111607.9741 | 2637595.9951 | 1111615.7594
8 | 2637670.6639 | 1111633.664 | 2637673.1701 | 1111621.4569
9 | 2637619.1947 | 1111595.2474 | 2637604.8005 | 1111607.9741
10 | 2637728.6302 | 1111581.04 | 2637741.3615 | 1111578.3877
11 | 2637741.3615 | 1111578.3877 | 2637746.8108 | 1111577.2525 | 2637768.2951 | 1111572.417 | 2637780.7192 | 1111564.7793 | 2637787.1914 | 1111555.1702 | 2637790.9443 | 1111541.8089 | 2637793.7544 | 1111525.0825
12 | 2637619.1947 | 1111595.2474 | 2637622.6805 | 1111586.2644 | 2637637.0519 | 1111561.085 | 2637649.6566 | 1111539.823
13 | 2637619.1947 | 1111595.2474 | 2637678.9224 | 1111544.0331
14 | 2637678.9224 | 1111544.0331 | 2637698.6472 | 1111527.1198
15 | 2637698.6472 | 1111527.1198 | 2637704.4689 | 1111522.1278 | 2637715.2487 | 1111512.8822
16 | 2637706.2281 | 1111437.9623 | 2637701.9982 | 1111447.7244
17 | 2637706.2281 | 1111437.9623 | 2637710.8738 | 1111421.3938 | 2637719.6097 | 1111388.1755 | 2637750.3872 | 1111260.6681 | 2637757.1384 | 1111241.0333 | 2637762.9352 | 1111227.0178 | 2637758.4333 | 1111216.6956 | 2637762.0702 | 1111205.8571 | 2637768.2693 | 1111200.4484 | 2637765.3344 | 1111186.6231 | 2637762.9529 | 1111172.023 | 2637760.8489 | 1111145.1073 | 2637759.7291 | 1111126.4018 | 2637759.8441 | 1111107.9153 | 2637760.666 | 1111092.5458
18 | 2637706.2281 | 1111437.9623 | 2637722.1889 | 1111443.0529 | 2637775.4234 | 1111457.4024 | 2637779.0757 | 1111460.2155
19 | 2637715.2487 | 1111512.8822 | 2637718.3023 | 1111510.2632 | 2637718.5866 | 1111510.0089
20 | 2637795.25 | 1111516.1809 | 2637793.7544 | 1111525.0825
21 | 2637747.1419 | 1111484.4736 | 2637733.7254 | 1111496.4712
22 | 2637748.5245 | 1111483.2372 | 2637747.1419 | 1111484.4736
23 | 2637733.1808 | 1111496.9582 | 2637733.7254 | 1111496.4712
24 | 2637779.0757 | 1111460.2155 | 2637777.7734 | 1111460.9188 | 2637767.5795 | 1111467.6922 | 2637755.438 | 1111477.0548 | 2637748.5245 | 1111483.2372
25 | 2637733.1808 | 1111496.9582 | 2637718.5866 | 1111510.0089
26 | 2637805.7016 | 1111449.8648 | 2637801.5283 | 1111451.3173 | 2637789.7049 | 1111455.5014 | 2637779.0757 | 1111460.2155
27 | 2637805.7016 | 1111449.8648 | 2637804.7844 | 1111459.4307 | 2637795.25 | 1111516.1809
28 | 2637760.666 | 1111092.5458 | 2637773.0171 | 1110935.431
29 | 2637760.666 | 1111092.5458 | 2637824.1094 | 1110973.1017
30 | 2637773.0171 | 1110935.431 | 2637767.1648 | 1110902.4555 | 2637767.1 | 1110901.806
31 | 2637824.1094 | 1110973.1017 | 2637828.9872 | 1110955.3675 | 2637834.2577 | 1110941.5599 | 2637840.7567 | 1110929.0051 | 2637844.7914 | 1110915.1453 | 2637845.2418 | 1110914.0644
32 | 2637767.1 | 1110901.806 | 2637766.4157 | 1110894.947 | 2637765.6456 | 1110875.8991 | 2637765.6096 | 1110874.7897
33 | 2637766.4423 | 1110854.6598 | 2637765.3408 | 1110866.5257 | 2637765.6096 | 1110874.7897
34 | 2637766.4423 | 1110854.6598 | 2637761.2832 | 1110846.8459 | 2637754.1512 | 1110843.1775 | 2637751.5624 | 1110843.2281
35 | 2637751.5624 | 1110843.2281 | 2637745.8595 | 1110843.3371 | 2637739.9611 | 1110842.5778 | 2637737.583 | 1110840.0057
36 | 2637845.2418 | 1110914.0644 | 2637851.7255 | 1110898.5022 | 2637851.9642 | 1110897.6936
37 | 2637777.0184 | 1110782.9221 | 2637780.8228 | 1110753.9198 | 2637785.8869 | 1110709.9844 | 2637789.1209 | 1110684.4914 | 2637795.5714 | 1110662.3869 | 2637800.434 | 1110649.5995 | 2637816.8366 | 1110612.6382 | 2637821.1468 | 1110594.2668 | 2637831.9382 | 1110545.1866 | 2637834.1663 | 1110534.8396 | 2637840.8151 | 1110503.2871 | 2637833.6552 | 1110507.7448 | 2637827.6515 | 1110526.3169 | 2637823.34 | 1110528.7691 | 2637803.9016 | 1110525.8354 | 2637801.2354 | 1110524.6515
38 | 2637777.0184 | 1110782.9221 | 2637772.8869 | 1110780.0839 | 2637770.4336 | 1110774.4991 | 2637768.1793 | 1110754.3414 | 2637765.7389 | 1110746.6778 | 2637760.1566 | 1110744.7866 | 2637755.6553 | 1110746.0225
39 | 2637801.2354 | 1110524.6515 | 2637797.289 | 1110559.0557 | 2637793.9918 | 1110576.0661 | 2637787.7383 | 1110592.5912 | 2637777.1352 | 1110612.7356 | 2637763.3517 | 1110632.3933 | 2637750.7294 | 1110647.9783 | 2637737.6166 | 1110664.4002
40 | 2637751.3694 | 1110754.7009 | 2637752.0304 | 1110751.8619 | 2637754.6534 | 1110746.2976 | 2637755.6553 | 1110746.0225
41 | 2637737.583 | 1110840.0057 | 2637735.6401 | 1110837.9041 | 2637734.3753 | 1110834.11
42 | 2637741.4083 | 1110797.4859 | 2637750.2829 | 1110799.2642 | 2637756.0725 | 1110801.368
43 | 2637741.4083 | 1110797.4859 | 2637743.4318 | 1110788.7945
44 | 2637741.4083 | 1110797.4859 | 2637739.355 | 1110806.3154
45 | 2637743.4318 | 1110788.7945 | 2637744.6933 | 1110783.376
46 | 2637734.3753 | 1110834.11 | 2637733.5011 | 1110831.4876 | 2637739.355 | 1110806.3154
47 | 2637748.4344 | 1110767.3074 | 2637744.6933 | 1110783.376
48 | 2637748.4344 | 1110767.3074 | 2637750.0135 | 1110760.5249
49 | 2637750.0135 | 1110760.5249 | 2637751.3694 | 1110754.7009
50 | 2637856.6324 | 1110860.0242 | 2637845.5929 | 1110858.4879 | 2637837.6839 | 1110864.1971 | 2637831.8074 | 1110877.5359
51 | 2637856.6324 | 1110860.0242 | 2637860.2181 | 1110866.1164 | 2637856.5957 | 1110882.0019 | 2637851.9642 | 1110897.6936

## bus_geodata
| x | y | coords
0 | 2637554.8811 | 1111711.5974
1 | 2637550.951 | 1111741.5818
2 | 2637556.8954 | 1111695.035
3 | 2637560.2833 | 1111671.3532
4 | 2637579.3637 | 1111698.3757
5 | 2637595.9951 | 1111615.7594
6 | 2637670.6639 | 1111633.664
7 | 2637575.5706 | 1111717.2868
8 | 2637604.8005 | 1111607.9741
9 | 2637728.6302 | 1111581.04
10 | 2637741.3615 | 1111578.3877
11 | 2637673.1701 | 1111621.4569
12 | 2637619.1947 | 1111595.2474
13 | 2637649.6566 | 1111539.823
14 | 2637678.9224 | 1111544.0331
15 | 2637698.6472 | 1111527.1198
16 | 2637701.9982 | 1111447.7244
17 | 2637706.2281 | 1111437.9623
18 | 2637715.2487 | 1111512.8822
19 | 2637793.7544 | 1111525.0825
20 | 2637747.1419 | 1111484.4736
21 | 2637733.7254 | 1111496.4712
22 | 2637748.5245 | 1111483.2372
23 | 2637733.1808 | 1111496.9582
24 | 2637779.0757 | 1111460.2155
25 | 2637718.5866 | 1111510.0089
26 | 2637805.7016 | 1111449.8648
27 | 2637795.25 | 1111516.1809
28 | 2637760.666 | 1111092.5458
29 | 2637773.0171 | 1110935.431
30 | 2637824.1094 | 1110973.1017
31 | 2637767.1 | 1110901.806
32 | 2637765.6096 | 1110874.7897
33 | 2637766.4423 | 1110854.6598
34 | 2637751.5624 | 1110843.2281
35 | 2637845.2418 | 1110914.0644
36 | 2637777.0184 | 1110782.9221
37 | 2637801.2354 | 1110524.6515
38 | 2637755.6553 | 1110746.0225
39 | 2637737.583 | 1110840.0057
40 | 2637756.0725 | 1110801.368
41 | 2637741.4083 | 1110797.4859
42 | 2637743.4318 | 1110788.7945
43 | 2637739.355 | 1110806.3154
44 | 2637734.3753 | 1110834.11
45 | 2637744.6933 | 1110783.376
46 | 2637748.4344 | 1110767.3074
47 | 2637750.0135 | 1110760.5249
48 | 2637751.3694 | 1110754.7009
49 | 2637737.6166 | 1110664.4002
50 | 2637831.8074 | 1110877.5359
51 | 2637856.6324 | 1110860.0242
52 | 2637851.9642 | 1110897.6936
53 | 2637779.0757 | 1111460.2155

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1