## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6289-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6289-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6289-4_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6289-4_0_4_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_6289-4_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_6289-4_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_6289-4_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_6289-4_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6289-4_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6289-4_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6289-4_0_4_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_6289-4_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_6289-4_0_4_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_6289-4_0_4_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_6289-4_0_4_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_6289-4_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_6289-4_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_6289-4_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_6289-4_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_6289-4_0_4_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_6289-4_0_4_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_6289-4_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_6289-4_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6289-4_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6289-4_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_6289-4_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_6289-4_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6289-4_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6289-4_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_6289-4_0_4_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_6289-4_0_4_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_6289-4_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_6289-4_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_6289-4_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6289-4_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6289-4_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_6289-4_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_6289-4_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_6289-4_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_6289-4_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_6289-4_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6289-4_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_6289-4_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_6289-4_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_6289-4_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6289-4_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_MV_88_0_node_224 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6289-4_0_4_load_0 | 0 | 0.0039467 | 0.00098914 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6289-4_0_4_load_11 | 3 | 0.0077461 | 0.0019413 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6289-4_0_4_load_9 | 5 | 0.0064034 | 0.0016048 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6289-4_0_4_load_30 | 6 | 0.005076 | 0.0012722 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6289-4_0_4_load_8 | 7 | 0.0027514 | 0.00068956 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6289-4_0_4_load_5 | 8 | 0.0019266 | 0.00048286 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6289-4_0_4_load_10 | 9 | 0.0057011 | 0.0014288 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6289-4_0_4_load_53 | 10 | 0.0029424 | 0.00073744 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6289-4_0_4_load_50 | 12 | 0.0034906 | 0.00087483 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6289-4_0_4_load_51 | 13 | 0.0031615 | 0.00079236 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6289-4_0_4_load_44 | 14 | 0.0040071 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6289-4_0_4_load_29 | 18 | 0.039182 | 0.0098199 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6289-4_0_4_load_48 | 20 | 0.0043075 | 0.0010796 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6289-4_0_4_load_24 | 21 | 0.018283 | 0.0045822 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6289-4_0_4_load_15 | 22 | 0.0062874 | 0.0015758 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6289-4_0_4_load_16 | 23 | 0.0066859 | 0.0016756 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6289-4_0_4_load_31 | 24 | 0.0087195 | 0.0021853 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6289-4_0_4_load_32 | 25 | 0.0064068 | 0.0016057 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6289-4_0_4_load_17 | 26 | 0.016786 | 0.0042071 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6289-4_0_4_load_52 | 29 | 0.0049375 | 0.0012375 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6289-4_0_4_load_47 | 30 | 0.0059153 | 0.0014825 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6289-4_0_4_load_42 | 31 | 0.0085581 | 0.0021449 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6289-4_0_4_load_41 | 32 | 0.0086261 | 0.0021619 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6289-4_0_4_load_26 | 33 | 0.005947 | 0.0014905 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6289-4_0_4_load_27 | 34 | 0.0069875 | 0.0017512 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6289-4_0_4_load_43 | 36 | 0.014626 | 0.0036656 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6289-4_0_4_load_45 | 38 | 0.0028398 | 0.00071171 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6289-4_0_4_load_33 | 39 | 0.0026678 | 0.00066862 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6289-4_0_4_load_35 | 41 | 0.005954 | 0.0014922 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6289-4_0_4_load_37 | 42 | 0.0018761 | 0.0004702 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6289-4_0_4_load_40 | 43 | 0.0018139 | 0.00045461 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6289-4_0_4_load_39 | 44 | 0.0044017 | 0.0011032 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6289-4_0_4_load_46 | 45 | 0.0036524 | 0.00091538 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6289-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.055534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6289-4_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.10509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6289-4_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.029364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6289-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.049338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6289-4_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.036887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6289-4_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6289-4_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.021411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6289-4_0_4_line_7 | NAYY 4x150 SE | 6 | 14 | 0.011265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6289-4_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.067609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6289-4_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.019809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6289-4_0_4_line_10 | NAYY 4x150 SE | 10 | 11 | 0.046828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6289-4_0_4_line_11 | NAYY 4x150 SE | 11 | 19 | 0.047792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6289-4_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.00068795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6289-4_0_4_line_13 | NAYY 4x150 SE | 13 | 29 | 0.021856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6289-4_0_4_line_14 | NAYY 4x150 SE | 14 | 38 | 0.013023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6289-4_0_4_line_15 | NAYY 4x150 SE | 15 | 16 | 0.01938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6289-4_0_4_line_16 | NAYY 4x150 SE | 15 | 17 | 0.093958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6289-4_0_4_line_17 | NAYY 4x150 SE | 15 | 18 | 0.031459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6289-4_0_4_line_18 | NAYY 4x150 SE | 16 | 19 | 0.032278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6289-4_0_4_line_19 | NAYY 4x150 SE | 16 | 20 | 0.025081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6289-4_0_4_line_20 | NAYY 4x150 SE | 17 | 21 | 0.039018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_6289-4_0_4_line_21 | NAYY 4x150 SE | 19 | 29 | 0.016929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6289-4_0_4_line_22 | NAYY 4x150 SE | 20 | 30 | 0.0032277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6289-4_0_4_line_23 | NAYY 4x150 SE | 21 | 27 | 0.0021405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_6289-4_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.056799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6289-4_0_4_line_25 | NAYY 4x150 SE | 23 | 26 | 0.019907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6289-4_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.030046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6289-4_0_4_line_27 | NAYY 4x150 SE | 25 | 39 | 0.012866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6289-4_0_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.014111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6289-4_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.021628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6289-4_0_4_line_30 | NAYY 4x150 SE | 28 | 33 | 0.014574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6289-4_0_4_line_31 | NAYY 4x150 SE | 28 | 34 | 0.0093015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6289-4_0_4_line_32 | NAYY 4x150 SE | 30 | 45 | 0.013642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6289-4_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.02378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6289-4_0_4_line_34 | NAYY 4x150 SE | 32 | 36 | 0.015068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6289-4_0_4_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0016562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6289-4_0_4_line_36 | NAYY 4x150 SE | 34 | 36 | 0.01021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6289-4_0_4_line_37 | NAYY 4x150 SE | 35 | 37 | 0.006537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6289-4_0_4_line_38 | NAYY 4x150 SE | 37 | 42 | 0.0076444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6289-4_0_4_line_39 | NAYY 4x150 SE | 37 | 40 | 0.019561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6289-4_0_4_line_40 | NAYY 4x150 SE | 38 | 45 | 0.011613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6289-4_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.031406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6289-4_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.014105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6289-4_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.00068352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6289-4_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.013386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6289-4_0_4_trafo_21 | 0.25 MVA 20/0.4 kV | 46 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2637706.2281 | 1111437.9623 | 2637710.8738 | 1111421.3938 | 2637719.6097 | 1111388.1755 | 2637720.5433 | 1111384.3075
1 | 2637706.2281 | 1111437.9623 | 2637722.1889 | 1111443.0529 | 2637775.4234 | 1111457.4024 | 2637779.0757 | 1111460.2155 | 2637789.7049 | 1111455.5014 | 2637801.5283 | 1111451.3173 | 2637805.7016 | 1111449.8648
2 | 2637805.7016 | 1111449.8648 | 2637804.7844 | 1111459.4307 | 2637801.5114 | 1111478.912
3 | 2637805.7016 | 1111449.8648 | 2637808.0781 | 1111449.1125 | 2637818.0151 | 1111445.1391 | 2637825.9134 | 1111441.0306 | 2637835.5747 | 1111435.4324 | 2637835.4693 | 1111444.9033 | 2637835.3972 | 1111451.5062
4 | 2637805.7016 | 1111449.8648 | 2637807.1994 | 1111416.5348 | 2637807.318 | 1111413.0138
5 | 2637835.3972 | 1111451.5062 | 2637842.4022 | 1111451.8723 | 2637847.5988 | 1111452.1389
6 | 2637808.0383 | 1111391.6152 | 2637807.318 | 1111413.0138
7 | 2637847.5988 | 1111452.1389 | 2637849.3069 | 1111452.2266 | 2637852.4788 | 1111454.0251 | 2637853.6411 | 1111459.8181
8 | 2637808.0383 | 1111391.6152 | 2637809.4274 | 1111350.3481 | 2637810.0004 | 1111324.0356
9 | 2637810.0004 | 1111324.0356 | 2637810.4317 | 1111304.2313
10 | 2637915.534 | 1111526.2222 | 2637914.2953 | 1111522.9239 | 2637911.087 | 1111502.2377 | 2637906.516 | 1111489.447 | 2637899.4685 | 1111484.1971
11 | 2637876.5112 | 1111508.9142 | 2637877.9734 | 1111513.5368 | 2637880.6717 | 1111516.922 | 2637882.7062 | 1111521.4593 | 2637886.6708 | 1111521.2395 | 2637891.1325 | 1111520.6114 | 2637895.997 | 1111521.0531 | 2637901.0243 | 1111522.6409 | 2637906.791 | 1111524.5779 | 2637909.5887 | 1111525.6626 | 2637912.4739 | 1111526.3365 | 2637915.534 | 1111526.2222
12 | 2637873.4932 | 1111469.8102 | 2637873.5274 | 1111470.4973
13 | 2637873.5274 | 1111470.4973 | 2637873.6046 | 1111472.0438 | 2637875.2194 | 1111478.2237 | 2637876.1805 | 1111482.6653 | 2637876.4711 | 1111489.3372 | 2637876.5486 | 1111492.0338
14 | 2637853.6411 | 1111459.8181 | 2637854.2096 | 1111462.6514 | 2637855.4228 | 1111471.2856 | 2637855.5259 | 1111472.6962
15 | 2637846.0061 | 1111531.8023 | 2637848.7216 | 1111531.2079 | 2637853.4351 | 1111529.8365 | 2637853.5335 | 1111527.6916 | 2637857.597 | 1111530.2071 | 2637855.9406 | 1111525.739
16 | 2637846.0061 | 1111531.8023 | 2637849.4184 | 1111548.2987 | 2637850.4031 | 1111561.3671 | 2637846.6565 | 1111573.6945 | 2637846.0824 | 1111576.548 | 2637846.1915 | 1111592.5013 | 2637840.2594 | 1111602.2248 | 2637833.4622 | 1111615.6227 | 2637831.4272 | 1111621.1017
17 | 2637846.0061 | 1111531.8023 | 2637844.9413 | 1111526.6375 | 2637842.5682 | 1111500.5602
18 | 2637855.9406 | 1111525.739 | 2637856.9511 | 1111522.2879 | 2637859.3613 | 1111519.835 | 2637861.3549 | 1111517.3017 | 2637862.3521 | 1111515.9851 | 2637864.8298 | 1111516.334 | 2637867.0374 | 1111519.1381 | 2637868.1122 | 1111518.9892 | 2637870.026 | 1111516.8556 | 2637872.6953 | 1111512.5145 | 2637875.0217 | 1111509.8943 | 2637876.5112 | 1111508.9142
19 | 2637855.9406 | 1111525.739 | 2637854.6091 | 1111519.9721 | 2637853.6407 | 1111512.9847 | 2637853.4348 | 1111505.1239 | 2637853.4089 | 1111500.879
20 | 2637831.4272 | 1111621.1017 | 2637827.5301 | 1111630.3043 | 2637819.4707 | 1111658.1872
21 | 2637876.5112 | 1111508.9142 | 2637876.0537 | 1111502.9861 | 2637876.6742 | 1111496.4088 | 2637876.5486 | 1111492.0338
22 | 2637853.3892 | 1111497.6513 | 2637853.4089 | 1111500.879
23 | 2637818.8763 | 1111660.2435 | 2637819.4707 | 1111658.1872
24 | 2637730.2697 | 1111647.0879 | 2637785.8127 | 1111658.9662
25 | 2637785.8127 | 1111658.9662 | 2637791.829 | 1111660.2529 | 2637798.49 | 1111657.5263 | 2637805.0449 | 1111657.7145
26 | 2637731.6775 | 1111690.094 | 2637731.6775 | 1111690.094 | 2637731.816 | 1111692.674 | 2637734.6934 | 1111698.3281 | 2637737.7272 | 1111702.4157 | 2637742.9672 | 1111705.8167 | 2637750.3214 | 1111709.6199 | 2637751.7554 | 1111710.0635
27 | 2637751.7554 | 1111710.0635 | 2637758.3173 | 1111712.0931 | 2637764.1174 | 1111713.6189
28 | 2637818.8763 | 1111660.2435 | 2637808.3769 | 1111657.8102 | 2637805.0449 | 1111657.7145
29 | 2637819.1674 | 1111681.7119 | 2637819.1425 | 1111675.7865 | 2637819.2011 | 1111668.8611 | 2637818.316 | 1111665.8429 | 2637818.8763 | 1111660.2435
30 | 2637819.1674 | 1111681.7119 | 2637809.7666 | 1111683.999 | 2637809.4391 | 1111685.72 | 2637809.1108 | 1111688.85
31 | 2637819.1674 | 1111681.7119 | 2637822.5185 | 1111684.4675 | 2637826.9283 | 1111686.7444
32 | 2637855.4861 | 1111484.2258 | 2637854.9462 | 1111487.0018 | 2637853.3699 | 1111494.4736 | 2637853.3892 | 1111497.6513
33 | 2637848.611 | 1111698.793 | 2637848.611 | 1111698.793 | 2637854.8219 | 1111700.1102 | 2637861.6118 | 1111702.7206 | 2637868.2681 | 1111705.6858 | 2637870.7547 | 1111707.1186
34 | 2637848.611 | 1111698.793 | 2637843.7483 | 1111696.8506 | 2637841.5429 | 1111694.9581 | 2637838.4896 | 1111691.5151 | 2637836.3928 | 1111690.5126
35 | 2637808.9381 | 1111690.4971 | 2637809.1108 | 1111688.85
36 | 2637836.3928 | 1111690.5126 | 2637833.6601 | 1111689.206 | 2637828.1632 | 1111687.382 | 2637826.9283 | 1111686.7444
37 | 2637808.9381 | 1111690.4971 | 2637807.8104 | 1111695.4149 | 2637807.8552 | 1111696.9048
38 | 2637807.8552 | 1111696.9048 | 2637807.9376 | 1111699.7957 | 2637808.437 | 1111704.5217
39 | 2637807.8552 | 1111696.9048 | 2637803.8709 | 1111697.8138 | 2637801.8203 | 1111698.3568 | 2637799.4079 | 1111699.9204 | 2637797.7932 | 1111702.4005 | 2637795.2382 | 1111709.4993
40 | 2637855.5259 | 1111472.6962 | 2637856.1275 | 1111480.9283 | 2637855.4861 | 1111484.2258
41 | 2637795.2382 | 1111709.4993 | 2637782.6644 | 1111711.4554 | 2637771.4217 | 1111713.0307 | 2637764.1174 | 1111713.6189
42 | 2637795.2382 | 1111709.4993 | 2637791.8995 | 1111715.9041 | 2637790.0743 | 1111718.7052 | 2637788.0168 | 1111721.5939
43 | 2637808.5088 | 1111705.2014 | 2637808.437 | 1111704.5217
44 | 2637809.8275 | 1111718.4936 | 2637809.6414 | 1111716.4815 | 2637808.7316 | 1111711.2287 | 2637808.6088 | 1111706.1475 | 2637808.5088 | 1111705.2014

## bus_geodata
| x | y | coords
0 | 2637720.5433 | 1111384.3075
1 | 2637706.2281 | 1111437.9623
2 | 2637805.7016 | 1111449.8648
3 | 2637801.5114 | 1111478.912
4 | 2637835.3972 | 1111451.5062
5 | 2637807.318 | 1111413.0138
6 | 2637847.5988 | 1111452.1389
7 | 2637808.0383 | 1111391.6152
8 | 2637810.4317 | 1111304.2313
9 | 2637810.0004 | 1111324.0356
10 | 2637899.4685 | 1111484.1971
11 | 2637915.534 | 1111526.2222
12 | 2637873.4932 | 1111469.8102
13 | 2637873.5274 | 1111470.4973
14 | 2637853.6411 | 1111459.8181
15 | 2637846.0061 | 1111531.8023
16 | 2637855.9406 | 1111525.739
17 | 2637831.4272 | 1111621.1017
18 | 2637842.5682 | 1111500.5602
19 | 2637876.5111 | 1111508.9142
20 | 2637853.4089 | 1111500.879
21 | 2637819.4707 | 1111658.1872
22 | 2637730.2697 | 1111647.0879
23 | 2637785.8127 | 1111658.9662
24 | 2637731.6775 | 1111690.094
25 | 2637751.7554 | 1111710.0635
26 | 2637805.0449 | 1111657.7145
27 | 2637818.8763 | 1111660.2435
28 | 2637819.1674 | 1111681.7119
29 | 2637876.5486 | 1111492.0338
30 | 2637853.3892 | 1111497.6513
31 | 2637870.7547 | 1111707.1186
32 | 2637848.611 | 1111698.793
33 | 2637809.1108 | 1111688.85
34 | 2637826.9283 | 1111686.7444
35 | 2637808.9381 | 1111690.4971
36 | 2637836.3928 | 1111690.5126
37 | 2637807.8552 | 1111696.9048
38 | 2637855.5259 | 1111472.6962
39 | 2637764.1174 | 1111713.6189
40 | 2637795.2382 | 1111709.4993
41 | 2637788.0168 | 1111721.5939
42 | 2637808.437 | 1111704.5217
43 | 2637808.5088 | 1111705.2014
44 | 2637809.8275 | 1111718.4936
45 | 2637855.4861 | 1111484.2258
46 | 2637846.058 | 1111625.0505

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1