## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_629-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_629-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_629-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_629-1_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_629-1_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_629-1_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_629-1_0_2_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_629-1_0_2_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_629-1_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_629-1_0_2_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_629-1_0_2_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_629-1_0_2_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_629-1_0_2_node_93 | 0.4 | n |  | TRUE
13 | bus_LV_629-1_0_2_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_629-1_0_2_node_94 | 0.4 | n |  | TRUE
15 | bus_LV_629-1_0_2_node_95 | 0.4 | n |  | TRUE
16 | bus_LV_629-1_0_2_node_96 | 0.4 | n |  | TRUE
17 | bus_LV_629-1_0_2_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_629-1_0_2_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_629-1_0_2_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_629-1_0_2_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_629-1_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_629-1_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_629-1_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_629-1_0_2_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_629-1_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_629-1_0_2_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_629-1_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_629-1_0_2_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_629-1_0_2_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_629-1_0_2_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_629-1_0_2_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_629-1_0_2_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_629-1_0_2_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_629-1_0_2_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_629-1_0_2_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_629-1_0_2_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_629-1_0_2_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_629-1_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_629-1_0_2_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_629-1_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_629-1_0_2_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_629-1_0_2_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_629-1_0_2_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_629-1_0_2_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_629-1_0_2_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_629-1_0_2_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_629-1_0_2_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_629-1_0_2_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_629-1_0_2_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_629-1_0_2_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_629-1_0_2_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_629-1_0_2_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_629-1_0_2_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_629-1_0_2_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_629-1_0_2_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_629-1_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_629-1_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_629-1_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_629-1_0_2_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_629-1_0_2_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_629-1_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_629-1_0_2_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_629-1_0_2_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_629-1_0_2_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_629-1_0_2_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_629-1_0_2_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_629-1_0_2_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_629-1_0_2_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_629-1_0_2_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_629-1_0_2_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_629-1_0_2_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_629-1_0_2_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_629-1_0_2_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_629-1_0_2_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_629-1_0_2_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_629-1_0_2_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_629-1_0_2_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_629-1_0_2_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_629-1_0_2_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_629-1_0_2_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_629-1_0_2_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_629-1_0_2_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_629-1_0_2_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_629-1_0_2_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_629-1_0_2_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_629-1_0_2_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_629-1_0_2_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_629-1_0_2_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_629-1_0_2_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_629-1_0_2_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_629-1_0_2_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_629-1_0_2_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_629-1_0_2_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_629-1_0_2_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_629-1_0_2_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_629-1_0_2_node_89 | 0.4 | n |  | TRUE
97 | bus_MV_94_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_629-1_0_2_load_0 | 0 | 0.0013846 | 0.00034701 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_629-1_0_2_load_4 | 3 | 0.0063438 | 0.0015899 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_629-1_0_2_load_5 | 4 | 0.0024199 | 0.00060649 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_629-1_0_2_load_3 | 5 | 0.00045475 | 0.00011397 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_629-1_0_2_load_61 | 6 | 0.0030026 | 0.00075252 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_629-1_0_2_load_32 | 7 | 0.0016916 | 0.00042396 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_629-1_0_2_load_6 | 8 | 0.0042694 | 0.00107 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_629-1_0_2_load_23 | 11 | 0.0016137 | 0.00040443 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_629-1_0_2_load_93 | 12 | 0.0084896 | 0.0021277 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_629-1_0_2_load_22 | 13 | 0.0079238 | 0.0019859 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_629-1_0_2_load_94 | 14 | 0.0041901 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_629-1_0_2_load_96 | 16 | 0.00084292 | 0.00021126 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_629-1_0_2_load_7 | 17 | 0.00040577 | 0.0001017 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_629-1_0_2_load_9 | 19 | 0.0011235 | 0.00028157 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_629-1_0_2_load_10 | 20 | 0.00022333 | 5.5972e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_629-1_0_2_load_21 | 22 | 0.0011322 | 0.00028375 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_629-1_0_2_load_18 | 23 | 0.0056174 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_629-1_0_2_load_68 | 24 | 0.0026817 | 0.00067209 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_629-1_0_2_load_19 | 25 | 0.0019022 | 0.00047675 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_629-1_0_2_load_12 | 26 | 0.0046136 | 0.0011563 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_629-1_0_2_load_14 | 28 | 0.0011438 | 0.00028665 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_629-1_0_2_load_74 | 30 | 0.0016359 | 0.00041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_629-1_0_2_load_72 | 31 | 0.00040631 | 0.00010183 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_629-1_0_2_load_16 | 32 | 0.0019684 | 0.00049333 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_629-1_0_2_load_17 | 34 | 0.001353 | 0.00033909 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_629-1_0_2_load_69 | 35 | 0.00089138 | 0.0002234 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_629-1_0_2_load_25 | 37 | 0.00065339 | 0.00016376 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_629-1_0_2_load_26 | 38 | 0.0012505 | 0.0003134 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_629-1_0_2_load_63 | 39 | 0.0010708 | 0.00026836 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_629-1_0_2_load_27 | 40 | 0.0015194 | 0.0003808 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_629-1_0_2_load_30 | 42 | 0.0014315 | 0.00035878 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_629-1_0_2_load_31 | 43 | 0.0013979 | 0.00035034 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_629-1_0_2_load_35 | 44 | 0.00077962 | 0.00019539 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_629-1_0_2_load_97 | 45 | 0.0013452 | 0.00033713 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_629-1_0_2_load_33 | 46 | 0.0013164 | 0.00032993 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_629-1_0_2_load_56 | 47 | 0.00069205 | 0.00017344 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_629-1_0_2_load_34 | 48 | 0.0019204 | 0.0004813 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_629-1_0_2_load_36 | 49 | 0.0028691 | 0.00071907 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_629-1_0_2_load_37 | 50 | 0.00073839 | 0.00018506 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_629-1_0_2_load_38 | 51 | 0.0016711 | 0.00041882 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_629-1_0_2_load_39 | 52 | 0.0025544 | 0.0006402 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_629-1_0_2_load_40 | 53 | 0.0011084 | 0.00027779 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_629-1_0_2_load_41 | 54 | 0.0022603 | 0.00056647 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_629-1_0_2_load_42 | 55 | 0.0022492 | 0.00056371 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_629-1_0_2_load_44 | 57 | 0.0023209 | 0.00058168 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_629-1_0_2_load_45 | 58 | 0.0023439 | 0.00058744 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_629-1_0_2_load_46 | 59 | 0.00070809 | 0.00017746 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_629-1_0_2_load_53 | 60 | 0.0023216 | 0.00058185 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_629-1_0_2_load_57 | 61 | 0.0028996 | 0.0007267 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_629-1_0_2_load_58 | 63 | 0.0065796 | 0.001649 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_629-1_0_2_load_47 | 64 | 0.0070466 | 0.001766 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_629-1_0_2_load_50 | 66 | 0.0025022 | 0.0006271 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_629-1_0_2_load_51 | 67 | 0.0019803 | 0.00049632 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_629-1_0_2_load_52 | 68 | 0.0027054 | 0.00067803 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_629-1_0_2_load_54 | 69 | 0.0010903 | 0.00027325 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_629-1_0_2_load_59 | 70 | 0.00050948 | 0.00012769 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_629-1_0_2_load_55 | 71 | 0.0024893 | 0.00062388 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_629-1_0_2_load_70 | 73 | 0.0012358 | 0.00030971 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_629-1_0_2_load_71 | 74 | 0.00071983 | 0.00018041 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_629-1_0_2_load_64 | 75 | 0.0010247 | 0.00025681 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_629-1_0_2_load_65 | 76 | 0.0022931 | 0.00057471 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_629-1_0_2_load_67 | 77 | 0.0030404 | 0.000762 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_629-1_0_2_load_73 | 78 | 0.00020146 | 5.0491e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_629-1_0_2_load_75 | 79 | 0.00024396 | 6.1141e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_629-1_0_2_load_76 | 80 | 0.00021279 | 5.3329e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_629-1_0_2_load_79 | 82 | 0.00046596 | 0.00011678 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_629-1_0_2_load_77 | 84 | 0.0012283 | 0.00030784 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_629-1_0_2_load_81 | 85 | 0.00069293 | 0.00017366 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_629-1_0_2_load_91 | 86 | 0.0016705 | 0.00041867 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_629-1_0_2_load_82 | 87 | 0.0047617 | 0.0011934 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_629-1_0_2_load_92 | 88 | 0.00039636 | 9.9338e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_629-1_0_2_load_84 | 90 | 0.00074394 | 0.00018645 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_629-1_0_2_load_86 | 92 | 0.0010866 | 0.00027232 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_629-1_0_2_load_90 | 93 | 0.0020285 | 0.00050839 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_629-1_0_2_load_87 | 94 | 0.00055452 | 0.00013897 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_629-1_0_2_load_88 | 95 | 0.0035687 | 0.00089439 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_629-1_0_2_load_89 | 96 | 0.00086383 | 0.0002165 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_629-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.08123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_629-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_629-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.07526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_629-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.047593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_629-1_0_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.014176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_629-1_0_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.022429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_629-1_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.012084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_629-1_0_2_line_7 | NAYY 4x150 SE | 6 | 9 | 0.0015438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_629-1_0_2_line_8 | NAYY 4x150 SE | 7 | 10 | 0.021188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_629-1_0_2_line_9 | NAYY 4x150 SE | 8 | 11 | 0.25512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_629-1_0_2_line_10 | NAYY 4x150 SE | 8 | 12 | 0.28255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_629-1_0_2_line_11 | NAYY 4x150 SE | 9 | 39 | 0.025662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_629-1_0_2_line_12 | NAYY 4x150 SE | 9 | 72 | 0.026608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_629-1_0_2_line_13 | NAYY 4x150 SE | 10 | 43 | 0.026354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_629-1_0_2_line_14 | NAYY 4x150 SE | 10 | 40 | 0.039076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_629-1_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.022264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_629-1_0_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.048339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_629-1_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.0045251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_629-1_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.01114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_629-1_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.028133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_629-1_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0059408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_629-1_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.010589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_629-1_0_2_line_22 | NAYY 4x150 SE | 18 | 21 | 0.082174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_629-1_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.057953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_629-1_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.10597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_629-1_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.055978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_629-1_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.036477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_629-1_0_2_line_27 | NAYY 4x150 SE | 24 | 36 | 0.029313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_629-1_0_2_line_28 | NAYY 4x150 SE | 25 | 33 | 0.068375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_629-1_0_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.05874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_629-1_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.0332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_629-1_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.053902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_629-1_0_2_line_32 | NAYY 4x150 SE | 27 | 30 | 0.19937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_629-1_0_2_line_33 | NAYY 4x150 SE | 28 | 32 | 0.035823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_629-1_0_2_line_34 | NAYY 4x150 SE | 29 | 33 | 0.15592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_629-1_0_2_line_35 | NAYY 4x150 SE | 30 | 31 | 0.0036512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_629-1_0_2_line_36 | NAYY 4x150 SE | 31 | 78 | 0.0035042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_629-1_0_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.0034906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_629-1_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.075501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_629-1_0_2_line_39 | NAYY 4x150 SE | 36 | 75 | 0.0060431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_629-1_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0041077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_629-1_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.01697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_629-1_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.032288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_629-1_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.049022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_629-1_0_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0013454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_629-1_0_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.046396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_629-1_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.017112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_629-1_0_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.003859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_629-1_0_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0066591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_629-1_0_2_line_49 | NAYY 4x150 SE | 47 | 71 | 0.025071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_629-1_0_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.030267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_629-1_0_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0041409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_629-1_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.013422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_629-1_0_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.012514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_629-1_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.004546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_629-1_0_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.0071108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_629-1_0_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0032996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_629-1_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.0041296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_629-1_0_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.010261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_629-1_0_2_line_59 | NAYY 4x150 SE | 56 | 59 | 0.014128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_629-1_0_2_line_60 | NAYY 4x150 SE | 57 | 60 | 0.013948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_629-1_0_2_line_61 | NAYY 4x150 SE | 58 | 61 | 0.011564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_629-1_0_2_line_62 | NAYY 4x150 SE | 60 | 62 | 0.027208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_629-1_0_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.011237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_629-1_0_2_line_64 | NAYY 4x150 SE | 62 | 68 | 0.030222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_629-1_0_2_line_65 | NAYY 4x150 SE | 62 | 64 | 0.02276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_629-1_0_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.021562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_629-1_0_2_line_67 | NAYY 4x150 SE | 65 | 66 | 0.013461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_629-1_0_2_line_68 | NAYY 4x150 SE | 65 | 67 | 0.05367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_629-1_0_2_line_69 | NAYY 4x150 SE | 66 | 69 | 0.016204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_629-1_0_2_line_70 | NAYY 4x150 SE | 67 | 70 | 0.0010228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_629-1_0_2_line_71 | NAYY 4x150 SE | 69 | 71 | 0.020003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_629-1_0_2_line_72 | NAYY 4x150 SE | 70 | 72 | 0.027345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_629-1_0_2_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0094355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_629-1_0_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.012392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_629-1_0_2_line_75 | NAYY 4x150 SE | 74 | 77 | 0.0072918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_629-1_0_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.012533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_629-1_0_2_line_77 | NAYY 4x150 SE | 76 | 77 | 0.0094572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_629-1_0_2_line_78 | NAYY 4x150 SE | 78 | 79 | 0.020825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_629-1_0_2_line_79 | NAYY 4x150 SE | 79 | 80 | 0.020467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_629-1_0_2_line_80 | NAYY 4x150 SE | 80 | 81 | 0.015159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_629-1_0_2_line_81 | NAYY 4x150 SE | 81 | 82 | 0.023602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_629-1_0_2_line_82 | NAYY 4x150 SE | 81 | 83 | 0.004134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_629-1_0_2_line_83 | NAYY 4x150 SE | 81 | 84 | 0.022391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_629-1_0_2_line_84 | NAYY 4x150 SE | 82 | 85 | 0.013658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_629-1_0_2_line_85 | NAYY 4x150 SE | 83 | 86 | 0.047228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_629-1_0_2_line_86 | NAYY 4x150 SE | 85 | 87 | 0.0089866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_629-1_0_2_line_87 | NAYY 4x150 SE | 86 | 88 | 0.021294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_629-1_0_2_line_88 | NAYY 4x150 SE | 87 | 89 | 0.017557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_629-1_0_2_line_89 | NAYY 4x150 SE | 89 | 90 | 0.019751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_629-1_0_2_line_90 | NAYY 4x150 SE | 89 | 91 | 0.057004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_629-1_0_2_line_91 | NAYY 4x150 SE | 90 | 92 | 0.0031636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_629-1_0_2_line_92 | NAYY 4x150 SE | 91 | 93 | 0.055597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_629-1_0_2_line_93 | NAYY 4x150 SE | 91 | 94 | 0.023207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_629-1_0_2_line_94 | NAYY 4x150 SE | 94 | 95 | 0.01537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_629-1_0_2_line_95 | NAYY 4x150 SE | 95 | 96 | 0.015846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_629-1_0_2_trafo_25 | 0.25 MVA 20/0.4 kV | 97 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2616589.8024 | 1192050.5333 | 2616559.6931 | 1192036.4316 | 2616531.4855 | 1192020.9902 | 2616518.2364 | 1192012.3368
1 | 2616501.4075 | 1192000.9858 | 2616512.4778 | 1192008.5758 | 2616518.2364 | 1192012.3368
2 | 2616589.8024 | 1192050.5333 | 2616556.7548 | 1192109.5844 | 2616553.4688 | 1192116.4264
3 | 2616501.4075 | 1192000.9858 | 2616511.138 | 1191955.255 | 2616511.2582 | 1191954.4249
4 | 2616548.9189 | 1192129.52 | 2616548.7354 | 1192126.2822 | 2616553.4688 | 1192116.4264
5 | 2616514.4711 | 1191932.2268 | 2616511.2582 | 1191954.4249
6 | 2616698.8638 | 1192100.6924 | 2616687.7541 | 1192095.9394
7 | 2616700.2832 | 1192101.2996 | 2616698.8638 | 1192100.6924
8 | 2616539.232 | 1192147.634 | 2616549.1279 | 1192133.2092 | 2616548.9189 | 1192129.52
9 | 2616514.4711 | 1191932.2268 | 2616686.7577 | 1191744.0646
10 | 2616514.4711 | 1191932.2268 | 2616267.8535 | 1191794.3292
11 | 2616700.2832 | 1192101.2996 | 2616700.1442 | 1192075.6384
12 | 2616723.3274 | 1192114.7153 | 2616700.2832 | 1192101.2996
13 | 2616539.232 | 1192147.634 | 2616563.5604 | 1192157.7665
14 | 2616539.232 | 1192147.634 | 2616531.877 | 1192144.5677 | 2616503.3485 | 1192132.1657
15 | 2616686.5734 | 1191721.9116 | 2616687.5977 | 1191739.8067 | 2616686.7577 | 1191744.0646
16 | 2616267.8535 | 1191794.3292 | 2616231.7917 | 1191762.1387
17 | 2616228.4159 | 1191759.1254 | 2616231.7917 | 1191762.1387
18 | 2616228.4159 | 1191759.1254 | 2616237.3022 | 1191752.4072
19 | 2616927.9194 | 1192196.3761 | 2616940.0826 | 1192221.7438
20 | 2616942.6511 | 1192227.1006 | 2616940.0826 | 1192221.7438
21 | 2616917.3738 | 1192197.6249 | 2616927.9194 | 1192196.3761
22 | 2616895.0453 | 1192122.4667 | 2616899.7496 | 1192124.8145 | 2616919.3413 | 1192172.9952 | 2616927.9194 | 1192196.3761
23 | 2616895.0453 | 1192122.4667 | 2616874.8377 | 1192117.007 | 2616863.1339 | 1192112.594 | 2616848.6083 | 1192103.2816 | 2616842.9469 | 1192098.7388
24 | 2616895.0453 | 1192122.4667 | 2616890.0477 | 1192118.7618 | 2616885.6991 | 1192114.6363 | 2616871.4145 | 1192087.3928 | 2616856.0727 | 1192048.3625 | 2616854.8238 | 1192045.2128 | 2616850.5357 | 1192038.5195 | 2616847.0605 | 1192029.4381
25 | 2616794.7601 | 1192072.2737 | 2616798.203 | 1192071.9795 | 2616804.989 | 1192074.0551 | 2616814.2368 | 1192079.0058 | 2616829.1303 | 1192087.6521 | 2616842.9469 | 1192098.7388
26 | 2616847.0605 | 1192029.4381 | 2616844.9057 | 1192023.807 | 2616843.6534 | 1192008.262 | 2616844.6806 | 1191993.4454
27 | 2616765.976 | 1192076.6808 | 2616775.1689 | 1192076.7287 | 2616792.1567 | 1192072.4961 | 2616794.7601 | 1192072.2737
28 | 2616885.3506 | 1191953.9837 | 2616886.8174 | 1191958.2901 | 2616886.9371 | 1191961.7923 | 2616885.896 | 1191966.0583 | 2616883.3252 | 1191969.4306 | 2616878.347 | 1191972.2959 | 2616869.955 | 1191974.7181 | 2616859.9165 | 1191974.4119 | 2616851.5484 | 1191976.5007 | 2616848.3879 | 1191980.8608 | 2616844.7815 | 1191991.9899 | 2616844.6806 | 1191993.4454
29 | 2617044.7667 | 1191817.8177 | 2617050.9697 | 1191810.5203 | 2617066.4077 | 1191788.6748 | 2617075.259 | 1191774.9705 | 2617078.3248 | 1191769.6992
30 | 2617044.7667 | 1191817.8177 | 2617032.218 | 1191791.3458 | 2617030.7185 | 1191787.7406
31 | 2617006.5737 | 1191855.9295 | 2617019.9738 | 1191842.9273 | 2617030.4148 | 1191833.0739 | 2617044.7667 | 1191817.8177
32 | 2617070.2524 | 1192015.5501 | 2617044.7667 | 1191817.8177
33 | 2617030.7185 | 1191787.7406 | 2617021.4967 | 1191765.5685 | 2617018.4999 | 1191760.5018 | 2617014.8344 | 1191755.8492
34 | 2616885.3506 | 1191953.9837 | 2617006.5737 | 1191855.9295
35 | 2617070.2524 | 1192015.5501 | 2617070.3727 | 1192019.1993
36 | 2617070.3727 | 1192019.1993 | 2617070.4881 | 1192022.7016
37 | 2617012.6743 | 1191753.1073 | 2617014.8344 | 1191755.8492
38 | 2616765.976 | 1192076.6808 | 2616768.3835 | 1192071.6848 | 2616770.2704 | 1192064.7754 | 2616773.6093 | 1192048.3538 | 2616782.1474 | 1192003.1172
39 | 2616765.976 | 1192076.6808 | 2616761.3954 | 1192080.6225
40 | 2616699.7571 | 1192054.5644 | 2616699.8454 | 1192058.6711
41 | 2616700.1442 | 1192075.6384 | 2616700.122 | 1192071.539 | 2616699.8454 | 1192058.6711
42 | 2616472.3406 | 1192123.5374 | 2616496.0018 | 1192128.9719 | 2616503.3485 | 1192132.1657
43 | 2616472.3406 | 1192123.5374 | 2616473.5283 | 1192135.1913 | 2616481.7546 | 1192148.5431 | 2616501.1264 | 1192158.1555
44 | 2616501.1264 | 1192158.1555 | 2616502.3315 | 1192158.7535
45 | 2616607.7966 | 1192171.583 | 2616603.2975 | 1192170.7786 | 2616566.9619 | 1192159.1832 | 2616563.5604 | 1192157.7665
46 | 2616517.6602 | 1192166.3596 | 2616502.3315 | 1192158.7535
47 | 2616607.7966 | 1192171.583 | 2616611.5954 | 1192172.2623
48 | 2616517.6602 | 1192166.3596 | 2616523.6253 | 1192169.3196
49 | 2616636.2748 | 1192176.6752 | 2616611.5954 | 1192172.2623
50 | 2616523.6253 | 1192169.3196 | 2616536.3421 | 1192175.6297 | 2616550.6542 | 1192182.9398
51 | 2616550.6542 | 1192182.9398 | 2616554.3419 | 1192184.8233
52 | 2616554.3419 | 1192184.8233 | 2616566.2952 | 1192190.9286
53 | 2616577.4398 | 1192196.6208 | 2616566.2952 | 1192190.9286
54 | 2616581.4883 | 1192198.6886 | 2616577.4398 | 1192196.6208
55 | 2616626.8831 | 1192216.3276 | 2616633.6731 | 1192218.4395
56 | 2616623.7324 | 1192215.3475 | 2616626.8831 | 1192216.3276
57 | 2616633.6731 | 1192218.4395 | 2616637.6164 | 1192219.6661
58 | 2616623.7324 | 1192215.3475 | 2616618.8372 | 1192224.3654
59 | 2616613.7364 | 1192205.3368 | 2616623.7324 | 1192215.3475
60 | 2616637.6164 | 1192219.6661 | 2616637.6164 | 1192219.6661 | 2616645.7987 | 1192218.4659 | 2616651.1106 | 1192220.4732
61 | 2616613.3202 | 1192234.5289 | 2616618.8372 | 1192224.3654
62 | 2616676.5617 | 1192230.0907 | 2616651.1106 | 1192220.4732
63 | 2616602.4199 | 1192231.7973 | 2616613.3202 | 1192234.5289
64 | 2616676.5617 | 1192230.0907 | 2616674.0909 | 1192255.1638 | 2616673.3259 | 1192260.133
65 | 2616676.5617 | 1192230.0907 | 2616680.8669 | 1192207.7413
66 | 2616684.9455 | 1192186.5687 | 2616680.8669 | 1192207.7413
67 | 2616684.9455 | 1192186.5687 | 2616671.7641 | 1192183.8385
68 | 2616684.9455 | 1192186.5687 | 2616698.8057 | 1192152.8783 | 2616706.753 | 1192137.5795
69 | 2616671.7641 | 1192183.8385 | 2616655.8972 | 1192180.5521
70 | 2616706.753 | 1192137.5795 | 2616707.2245 | 1192136.6718
71 | 2616655.8972 | 1192180.5521 | 2616642.8928 | 1192177.8586 | 2616636.2748 | 1192176.6752
72 | 2616723.3274 | 1192114.7153 | 2616710.5695 | 1192130.2324 | 2616707.2245 | 1192136.6718
73 | 2616723.3274 | 1192114.7153 | 2616730.2823 | 1192108.3389
74 | 2616730.2823 | 1192108.3389 | 2616739.4161 | 1192099.9649
75 | 2616744.7909 | 1192095.0372 | 2616739.4161 | 1192099.9649
76 | 2616761.3954 | 1192080.6225 | 2616751.8958 | 1192088.797
77 | 2616751.8958 | 1192088.797 | 2616747.0337 | 1192092.981 | 2616744.7909 | 1192095.0372
78 | 2617070.4881 | 1192022.7016 | 2617070.6173 | 1192026.6237 | 2617070.8688 | 1192042.7107 | 2617070.8927 | 1192043.5221
79 | 2617071.4939 | 1192063.9807 | 2617070.8927 | 1192043.5221
80 | 2617071.9392 | 1192079.133 | 2617071.4939 | 1192063.9807
81 | 2617071.9392 | 1192079.133 | 2617081.3509 | 1192077.3032 | 2617091.7037 | 1192079.6005 | 2617094.9783 | 1192080.5515
82 | 2617068.9353 | 1192081.9815 | 2617071.9392 | 1192079.133
83 | 2617071.9392 | 1192079.133 | 2617057.7102 | 1192078.1698 | 2617049.6108 | 1192077.4658
84 | 2617094.9783 | 1192080.5515 | 2617104.9639 | 1192083.4514 | 2617108.1594 | 1192084.0953
85 | 2617068.9353 | 1192081.9815 | 2617061.4272 | 1192095.2783 | 2617061.4971 | 1192108.2187 | 2617063.3944 | 1192121.898 | 2617063.5928 | 1192127.1012
86 | 2617116.969 | 1192085.8702 | 2617108.1594 | 1192084.0953
87 | 2617063.5928 | 1192127.1012 | 2617063.9052 | 1192135.2954 | 2617061.9175 | 1192145.384 | 2617061.8636 | 1192148.1945
88 | 2617134.1804 | 1192089.3379 | 2617116.969 | 1192085.8702
89 | 2617134.1804 | 1192089.3379 | 2617137.8259 | 1192094.0285 | 2617143.9588 | 1192103.2398 | 2617145.4424 | 1192105.5479
90 | 2617183.7249 | 1192061.209 | 2617160.2399 | 1192076.939 | 2617134.1804 | 1192089.3379
91 | 2617147.153 | 1192108.2092 | 2617145.4424 | 1192105.5479
92 | 2617183.7249 | 1192061.209 | 2617194.3611 | 1192052.3903 | 2617199.5224 | 1192044.1674 | 2617210.4848 | 1192014.027
93 | 2617183.7249 | 1192061.209 | 2617183.0914 | 1192072.1352 | 2617178.549 | 1192082.5499 | 2617178.5554 | 1192083.4497
94 | 2617178.5554 | 1192083.4497 | 2617178.6654 | 1192098.8194
95 | 2617180.2944 | 1192114.5607 | 2617178.6905 | 1192102.3274 | 2617178.6654 | 1192098.8194

## bus_geodata
| x | y | coords
0 | 2616518.2364 | 1192012.3368
1 | 2616589.8024 | 1192050.5333
2 | 2616501.4075 | 1192000.9858
3 | 2616553.4688 | 1192116.4264
4 | 2616511.2582 | 1191954.4249
5 | 2616687.7541 | 1192095.9394
6 | 2616698.8638 | 1192100.6924
7 | 2616548.9188 | 1192129.52
8 | 2616514.4711 | 1191932.2268
9 | 2616700.2832 | 1192101.2996
10 | 2616539.232 | 1192147.634
11 | 2616686.7577 | 1191744.0646
12 | 2616267.8535 | 1191794.3292
13 | 2616686.5734 | 1191721.9116
14 | 2616231.7917 | 1191762.1387
15 | 2616228.4159 | 1191759.1253
16 | 2616237.3022 | 1191752.4072
17 | 2616940.0826 | 1192221.7438
18 | 2616927.9194 | 1192196.3761
19 | 2616942.6511 | 1192227.1006
20 | 2616917.3738 | 1192197.6249
21 | 2616895.0453 | 1192122.4667
22 | 2616842.9469 | 1192098.7388
23 | 2616847.0605 | 1192029.4381
24 | 2616794.7601 | 1192072.2737
25 | 2616844.6806 | 1191993.4454
26 | 2617078.3248 | 1191769.6992
27 | 2617044.7667 | 1191817.8176
28 | 2617030.7185 | 1191787.7406
29 | 2617006.5737 | 1191855.9295
30 | 2617070.2524 | 1192015.5501
31 | 2617070.3727 | 1192019.1993
32 | 2617014.8344 | 1191755.8492
33 | 2616885.3506 | 1191953.9837
34 | 2617012.6743 | 1191753.1073
35 | 2616782.1474 | 1192003.1172
36 | 2616765.976 | 1192076.6808
37 | 2616699.7571 | 1192054.5644
38 | 2616699.8454 | 1192058.6711
39 | 2616700.1442 | 1192075.6384
40 | 2616503.3485 | 1192132.1657
41 | 2616472.3406 | 1192123.5374
42 | 2616501.1264 | 1192158.1555
43 | 2616563.5604 | 1192157.7665
44 | 2616502.3315 | 1192158.7535
45 | 2616607.7966 | 1192171.583
46 | 2616517.6602 | 1192166.3596
47 | 2616611.5954 | 1192172.2623
48 | 2616523.6253 | 1192169.3196
49 | 2616550.6542 | 1192182.9398
50 | 2616554.3419 | 1192184.8233
51 | 2616566.2952 | 1192190.9286
52 | 2616577.4398 | 1192196.6208
53 | 2616581.4883 | 1192198.6886
54 | 2616626.8831 | 1192216.3276
55 | 2616633.6731 | 1192218.4395
56 | 2616623.7324 | 1192215.3475
57 | 2616637.6164 | 1192219.6661
58 | 2616618.8372 | 1192224.3654
59 | 2616613.7364 | 1192205.3368
60 | 2616651.1106 | 1192220.4732
61 | 2616613.3202 | 1192234.5289
62 | 2616676.5617 | 1192230.0907
63 | 2616602.4199 | 1192231.7973
64 | 2616680.8669 | 1192207.7413
65 | 2616684.9455 | 1192186.5687
66 | 2616671.7641 | 1192183.8385
67 | 2616706.753 | 1192137.5795
68 | 2616673.3259 | 1192260.133
69 | 2616655.8972 | 1192180.5521
70 | 2616707.2245 | 1192136.6718
71 | 2616636.2748 | 1192176.6752
72 | 2616723.3274 | 1192114.7153
73 | 2616730.2823 | 1192108.3389
74 | 2616739.4161 | 1192099.9649
75 | 2616761.3954 | 1192080.6225
76 | 2616751.8958 | 1192088.797
77 | 2616744.7909 | 1192095.0372
78 | 2617070.4881 | 1192022.7016
79 | 2617070.8927 | 1192043.5221
80 | 2617071.4939 | 1192063.9807
81 | 2617071.9392 | 1192079.133
82 | 2617094.9783 | 1192080.5515
83 | 2617068.9353 | 1192081.9815
84 | 2617049.6108 | 1192077.4658
85 | 2617108.1594 | 1192084.0953
86 | 2617063.5928 | 1192127.1012
87 | 2617116.969 | 1192085.8702
88 | 2617061.8636 | 1192148.1945
89 | 2617134.1804 | 1192089.3379
90 | 2617145.4424 | 1192105.5479
91 | 2617183.7249 | 1192061.209
92 | 2617147.153 | 1192108.2092
93 | 2617210.4848 | 1192014.027
94 | 2617178.5554 | 1192083.4497
95 | 2617178.6654 | 1192098.8194
96 | 2617180.2944 | 1192114.5607
97 | 2616700.2832 | 1192101.2996

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1