## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_761-1_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_761-1_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_761-1_0_1_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_761-1_0_1_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_761-1_0_1_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_761-1_0_1_node_62 | 0.4 | n |  | TRUE
6 | bus_LV_761-1_0_1_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_761-1_0_1_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_761-1_0_1_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_761-1_0_1_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_761-1_0_1_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_761-1_0_1_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_761-1_0_1_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_761-1_0_1_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_761-1_0_1_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_761-1_0_1_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_761-1_0_1_node_108 | 0.4 | n |  | TRUE
17 | bus_LV_761-1_0_1_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_761-1_0_1_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_761-1_0_1_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_761-1_0_1_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_761-1_0_1_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_761-1_0_1_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_761-1_0_1_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_761-1_0_1_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_761-1_0_1_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_761-1_0_1_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_761-1_0_1_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_761-1_0_1_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_761-1_0_1_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_761-1_0_1_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_761-1_0_1_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_761-1_0_1_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_761-1_0_1_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_761-1_0_1_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_761-1_0_1_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_761-1_0_1_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_761-1_0_1_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_761-1_0_1_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_761-1_0_1_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_761-1_0_1_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_761-1_0_1_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_761-1_0_1_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_761-1_0_1_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_761-1_0_1_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_761-1_0_1_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_761-1_0_1_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_761-1_0_1_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_761-1_0_1_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_761-1_0_1_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_761-1_0_1_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_761-1_0_1_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_761-1_0_1_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_761-1_0_1_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_761-1_0_1_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_761-1_0_1_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_761-1_0_1_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_761-1_0_1_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_761-1_0_1_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_761-1_0_1_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_761-1_0_1_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_761-1_0_1_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_761-1_0_1_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_761-1_0_1_node_112 | 0.4 | n |  | TRUE
64 | bus_LV_761-1_0_1_node_114 | 0.4 | n |  | TRUE
65 | bus_MV_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_761-1_0_1_load_0 | 0 | 0.0022693 | 0.00056874 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_761-1_0_1_load_4 | 2 | 0.00071011 | 0.00017797 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_761-1_0_1_load_3 | 6 | 0.00099017 | 0.00024816 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_761-1_0_1_load_10 | 8 | 0.00062502 | 0.00015664 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_761-1_0_1_load_6 | 9 | 0.00071982 | 0.0001804 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_761-1_0_1_load_7 | 11 | 0.00068076 | 0.00017062 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_761-1_0_1_load_61 | 12 | 0.0022494 | 0.00056375 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_761-1_0_1_load_30 | 13 | 0.0032213 | 0.00080733 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_761-1_0_1_load_31 | 14 | 0.00036601 | 9.173e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_761-1_0_1_load_37 | 15 | 0.00088291 | 0.00022128 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_761-1_0_1_load_108 | 16 | 0.00089642 | 0.00022466 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_761-1_0_1_load_18 | 17 | 0.00053428 | 0.0001339 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_761-1_0_1_load_11 | 19 | 0.00075073 | 0.00018815 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_761-1_0_1_load_12 | 20 | 0.00089952 | 0.00022544 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_761-1_0_1_load_13 | 21 | 0.0024362 | 0.00061058 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_761-1_0_1_load_14 | 22 | 0.0013824 | 0.00034647 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_761-1_0_1_load_15 | 23 | 0.0025441 | 0.00063761 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_761-1_0_1_load_23 | 24 | 0.0021296 | 0.00053374 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_761-1_0_1_load_16 | 26 | 0.00067152 | 0.0001683 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_761-1_0_1_load_17 | 27 | 0.00078611 | 0.00019702 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_761-1_0_1_load_38 | 28 | 0.00090783 | 0.00022752 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_761-1_0_1_load_59 | 29 | 0.0014461 | 0.00036243 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_761-1_0_1_load_36 | 30 | 0.0011741 | 0.00029427 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_761-1_0_1_load_20 | 31 | 0.003227 | 0.00080877 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_761-1_0_1_load_21 | 32 | 0.0019371 | 0.00048549 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_761-1_0_1_load_24 | 33 | 0.0059189 | 0.0014834 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_761-1_0_1_load_40 | 34 | 0.0016662 | 0.00041759 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_761-1_0_1_load_39 | 35 | 0.00046439 | 0.00011639 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_761-1_0_1_load_25 | 36 | 0.0015129 | 0.00037917 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_761-1_0_1_load_26 | 37 | 0.0022593 | 0.00056622 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_761-1_0_1_load_27 | 38 | 0.00047635 | 0.00011938 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_761-1_0_1_load_60 | 41 | 0.0012406 | 0.00031093 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_761-1_0_1_load_58 | 42 | 0.0050977 | 0.0012776 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_761-1_0_1_load_34 | 45 | 0.0019649 | 0.00049246 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_761-1_0_1_load_33 | 47 | 0.00089529 | 0.00022438 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_761-1_0_1_load_49 | 48 | 0.00044248 | 0.00011089 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_761-1_0_1_load_47 | 49 | 0.00049213 | 0.00012334 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_761-1_0_1_load_43 | 52 | 0.0028288 | 0.00070897 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_761-1_0_1_load_46 | 54 | 0.00039163 | 9.8153e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_761-1_0_1_load_54 | 55 | 0.000549 | 0.00013759 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_761-1_0_1_load_51 | 58 | 0.00086645 | 0.00021715 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_761-1_0_1_load_55 | 59 | 0.00026605 | 6.6677e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_761-1_0_1_load_56 | 60 | 0.00036738 | 9.2075e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_761-1_0_1_load_52 | 61 | 0.0012895 | 0.00032318 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_761-1_0_1_load_114 | 64 | 0.00041333 | 0.00010359 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_761-1_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.040454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_761-1_0_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.13032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_761-1_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.093995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_761-1_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_761-1_0_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.15649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_761-1_0_1_line_5 | NAYY 4x150 SE | 4 | 10 | 0.078814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_761-1_0_1_line_6 | NAYY 4x150 SE | 4 | 11 | 0.005698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_761-1_0_1_line_7 | NAYY 4x150 SE | 5 | 12 | 0.16094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_761-1_0_1_line_8 | NAYY 4x150 SE | 6 | 7 | 0.030203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_761-1_0_1_line_9 | NAYY 4x150 SE | 7 | 8 | 0.035052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_761-1_0_1_line_10 | NAYY 4x150 SE | 7 | 9 | 0.0062825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_761-1_0_1_line_11 | NAYY 4x150 SE | 8 | 13 | 0.064077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_761-1_0_1_line_12 | NAYY 4x150 SE | 8 | 14 | 0.080947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_761-1_0_1_line_13 | NAYY 4x150 SE | 9 | 11 | 0.030124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_761-1_0_1_line_14 | NAYY 4x150 SE | 10 | 15 | 0.029299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_761-1_0_1_line_15 | NAYY 4x150 SE | 13 | 16 | 0.18392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_761-1_0_1_line_16 | NAYY 4x150 SE | 13 | 17 | 0.039704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_761-1_0_1_line_17 | NAYY 4x150 SE | 14 | 18 | 0.11326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_761-1_0_1_line_18 | NAYY 4x150 SE | 15 | 30 | 0.013981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_761-1_0_1_line_19 | NAYY 4x150 SE | 17 | 27 | 0.062923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_761-1_0_1_line_20 | NAYY 4x150 SE | 18 | 47 | 0.058842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_761-1_0_1_line_21 | NAYY 4x150 SE | 19 | 20 | 0.018802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_761-1_0_1_line_22 | NAYY 4x150 SE | 19 | 21 | 0.014531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_761-1_0_1_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0067841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_761-1_0_1_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0038163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_761-1_0_1_line_25 | NAYY 4x150 SE | 23 | 24 | 0.014548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_761-1_0_1_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0098101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_761-1_0_1_line_27 | NAYY 4x150 SE | 25 | 33 | 0.0065306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_761-1_0_1_line_28 | NAYY 4x150 SE | 25 | 31 | 0.042402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_761-1_0_1_line_29 | NAYY 4x150 SE | 26 | 27 | 0.027039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_761-1_0_1_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0095289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_761-1_0_1_line_31 | NAYY 4x150 SE | 29 | 42 | 0.001226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_761-1_0_1_line_32 | NAYY 4x150 SE | 30 | 43 | 0.016569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_761-1_0_1_line_33 | NAYY 4x150 SE | 31 | 32 | 0.021559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_761-1_0_1_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0090165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_761-1_0_1_line_35 | NAYY 4x150 SE | 34 | 35 | 0.015463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_761-1_0_1_line_36 | NAYY 4x150 SE | 35 | 44 | 0.010495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_761-1_0_1_line_37 | NAYY 4x150 SE | 36 | 37 | 0.0028304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_761-1_0_1_line_38 | NAYY 4x150 SE | 36 | 38 | 0.014686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_761-1_0_1_line_39 | NAYY 4x150 SE | 37 | 39 | 0.014194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_761-1_0_1_line_40 | NAYY 4x150 SE | 38 | 40 | 0.015793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_761-1_0_1_line_41 | NAYY 4x150 SE | 39 | 41 | 0.048688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_761-1_0_1_line_42 | NAYY 4x150 SE | 39 | 42 | 0.013818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_761-1_0_1_line_43 | NAYY 4x150 SE | 40 | 43 | 0.006213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_761-1_0_1_line_44 | NAYY 4x150 SE | 40 | 44 | 0.03366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_761-1_0_1_line_45 | NAYY 4x150 SE | 43 | 45 | 0.027898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_761-1_0_1_line_46 | NAYY 4x150 SE | 44 | 46 | 0.18763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_761-1_0_1_line_47 | NAYY 4x150 SE | 46 | 48 | 0.018932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_761-1_0_1_line_48 | NAYY 4x150 SE | 46 | 49 | 0.16471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_761-1_0_1_line_49 | NAYY 4x150 SE | 48 | 50 | 0.015969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_761-1_0_1_line_50 | NAYY 4x150 SE | 49 | 51 | 0.018803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_761-1_0_1_line_51 | NAYY 4x150 SE | 50 | 55 | 0.077069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_761-1_0_1_line_52 | NAYY 4x150 SE | 50 | 53 | 0.017361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_761-1_0_1_line_53 | NAYY 4x150 SE | 51 | 57 | 0.019562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_761-1_0_1_line_54 | NAYY 4x150 SE | 51 | 58 | 0.10903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_761-1_0_1_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0017475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_761-1_0_1_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0071161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_761-1_0_1_line_57 | NAYY 4x150 SE | 55 | 56 | 0.13558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_761-1_0_1_line_58 | NAYY 4x150 SE | 56 | 61 | 0.087555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_761-1_0_1_line_59 | NAYY 4x150 SE | 57 | 59 | 0.077985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_761-1_0_1_line_60 | NAYY 4x150 SE | 58 | 60 | 0.020175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_761-1_0_1_line_61 | NAYY 4x150 SE | 60 | 62 | 0.021984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_761-1_0_1_line_62 | NAYY 4x150 SE | 62 | 63 | 0.077451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_761-1_0_1_line_63 | NAYY 4x150 SE | 63 | 64 | 0.098426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_761-1_0_1_trafo_34 | 0.25 MVA 20/0.4 kV | 65 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2602817.2477 | 1167562.4064 | 2602822.2469 | 1167559.8963 | 2602829.2442 | 1167556.3866 | 2602841.4922 | 1167552.8238 | 2602854.833 | 1167553.0412 | 2602855.7631 | 1167553.1174
1 | 2602817.2477 | 1167562.4064 | 2602811.3103 | 1167557.8792 | 2602797.128 | 1167556.5832 | 2602797.8567 | 1167553.2152 | 2602815.547 | 1167548.9655 | 2602837.4772 | 1167529.0768 | 2602855.1421 | 1167513.6773 | 2602870.0758 | 1167495.842 | 2602879.8844 | 1167491.6514
2 | 2602817.2477 | 1167562.4064 | 2602813.4188 | 1167566.6067 | 2602812.2471 | 1167567.8957 | 2602808.6789 | 1167571.0734 | 2602807.4988 | 1167574.1522 | 2602806.2506 | 1167575.3967 | 2602786.0001 | 1167588.4051 | 2602774.003 | 1167595.9034 | 2602766.5018 | 1167596.656 | 2602763.9986 | 1167597.3997 | 2602762.222 | 1167599.2887 | 2602765.2526 | 1167600.1461 | 2602767.7469 | 1167602.1482 | 2602767.9989 | 1167603.4045 | 2602767.9976 | 1167606.406 | 2602767.2543 | 1167608.151 | 2602765.5009 | 1167609.6509 | 2602761.7501 | 1167610.6497 | 2602757.7468 | 1167611.1482 | 2602754.9985 | 1167612.4031
3 | 2602894.996 | 1167482.6471 | 2602891.4661 | 1167485.4357 | 2602880.7324 | 1167491.2892 | 2602879.8844 | 1167491.6514
4 | 2602678.0526 | 1167738.4543 | 2602684.515 | 1167697.3477 | 2602694.7971 | 1167672.7955 | 2602725.7521 | 1167648.8972 | 2602728.9992 | 1167644.6521 | 2602731.2511 | 1167640.8957 | 2602732.5003 | 1167637.4056 | 2602733.2527 | 1167632.1477 | 2602735.0004 | 1167626.1455 | 2602741.0031 | 1167621.646 | 2602754.9985 | 1167612.4031
5 | 2602821.758 | 1167507.5811 | 2602836.7462 | 1167504.1752 | 2602853.2442 | 1167496.5679 | 2602865.5403 | 1167488.6141 | 2602876.5183 | 1167484.1392 | 2602888.4601 | 1167481.2433 | 2602894.996 | 1167482.6471
6 | 2602894.996 | 1167482.6471 | 2602900.5662 | 1167483.8471
7 | 2602678.0526 | 1167738.4543 | 2602688.754 | 1167735.0462 | 2602700.7501 | 1167728.9484 | 2602704.8529 | 1167728.0497 | 2602738.3471 | 1167725.1519 | 2602750.7536 | 1167725.7466 | 2602771.6486 | 1167725.2557 | 2602776.0492 | 1167725.8469 | 2602778.3526 | 1167726.6483 | 2602780.7476 | 1167728.1502 | 2602786.6481 | 1167729.2534 | 2602797.2537 | 1167734.8499 | 2602796.6484 | 1167736.3504 | 2602791.3497 | 1167741.3504 | 2602787.7507 | 1167745.3508 | 2602783.154 | 1167755.1536 | 2602776.8651 | 1167765.7285
8 | 2602935.956 | 1167492.2935 | 2602931.4394 | 1167493.7254 | 2602929.7919 | 1167497.6155 | 2602929.9969 | 1167501.0951 | 2602932.0466 | 1167504.5756 | 2602936.8207 | 1167508.6354 | 2602943.6213 | 1167511.6732
9 | 2602970.8565 | 1167496.4012 | 2602946.4263 | 1167493.1212 | 2602935.956 | 1167492.2935
10 | 2602935.956 | 1167492.2935 | 2602929.937 | 1167490.493
11 | 2602970.8565 | 1167496.4012 | 2602994.5115 | 1167503.9609 | 2603024.0221 | 1167510.9566 | 2603032.8152 | 1167512.4232
12 | 2602970.8565 | 1167496.4012 | 2602983.5852 | 1167496.4074 | 2602998.2121 | 1167496.3923 | 2603018.9469 | 1167496.6025 | 2603048.66 | 1167496.4393 | 2603051.802 | 1167496.4409
13 | 2602929.937 | 1167490.493 | 2602926.1296 | 1167489.3541 | 2602900.5662 | 1167483.8471
14 | 2602821.758 | 1167507.5811 | 2602836.673 | 1167497.0049 | 2602838.8952 | 1167491.3809 | 2602833.9373 | 1167491.685
15 | 2603032.8152 | 1167512.4232 | 2602992.9313 | 1167691.9683
16 | 2603032.8152 | 1167512.4232 | 2603050.9621 | 1167515.4499 | 2603052.707 | 1167515.8399 | 2603064.049 | 1167518.3468 | 2603071.7651 | 1167520.0555
17 | 2603159.7349 | 1167527.5776 | 2603145.1394 | 1167526.3695 | 2603113.3206 | 1167513.2579 | 2603097.3115 | 1167506.9022 | 2603086.6972 | 1167503.2506 | 2603081.7612 | 1167501.5472 | 2603068.0086 | 1167498.0608 | 2603058.3117 | 1167496.4441 | 2603051.802 | 1167496.4409
18 | 2602833.9373 | 1167491.685 | 2602824.5052 | 1167492.2636 | 2602821.7437 | 1167488.6717 | 2602821.7437 | 1167488.6717
19 | 2603071.7651 | 1167520.0555 | 2603087.0927 | 1167523.4497 | 2603119.4262 | 1167532.9041 | 2603124.2398 | 1167534.3072 | 2603132.1981 | 1167537.3574
20 | 2603159.7349 | 1167527.5776 | 2603154.011 | 1167525.0845 | 2603106.5717 | 1167502.3662
21 | 2602732.2699 | 1167447.766 | 2602723.7902 | 1167446.7734 | 2602717.7356 | 1167447.182 | 2602713.5707 | 1167446.6699
22 | 2602746.7025 | 1167449.4554 | 2602732.2699 | 1167447.766
23 | 2602707.0841 | 1167444.7693 | 2602712.1101 | 1167446.4903 | 2602713.5707 | 1167446.6699
24 | 2602746.7025 | 1167449.4554 | 2602750.4929 | 1167449.8991
25 | 2602762.2955 | 1167442.7672 | 2602760.4392 | 1167444.2329 | 2602757.0468 | 1167448.0221 | 2602753.8695 | 1167449.955 | 2602750.5782 | 1167449.9091 | 2602750.4929 | 1167449.8991
26 | 2602770.6069 | 1167437.6341 | 2602765.2937 | 1167440.3998 | 2602762.2955 | 1167442.7672
27 | 2602770.6069 | 1167437.6341 | 2602776.4024 | 1167434.6241
28 | 2602770.6069 | 1167437.6341 | 2602751.2538 | 1167428.2986 | 2602751.5472 | 1167422.4958 | 2602743.9492 | 1167416.8007 | 2602738.9615 | 1167414.2354
29 | 2603157.0689 | 1167547.9261 | 2603144.1058 | 1167541.9212 | 2603140.1265 | 1167540.3961 | 2603132.1981 | 1167537.3574
30 | 2602776.4932 | 1167504.3618 | 2602778.3216 | 1167507.0277 | 2602784.3622 | 1167508.8034
31 | 2602775.7998 | 1167503.3507 | 2602776.4932 | 1167504.3618
32 | 2602822.7004 | 1167472.1305 | 2602821.7437 | 1167488.6717
33 | 2602718.6321 | 1167408.0335 | 2602729.9529 | 1167409.602 | 2602738.9615 | 1167414.2354
34 | 2602785.4122 | 1167434.2743 | 2602776.4024 | 1167434.6241
35 | 2602800.6751 | 1167436.4101 | 2602799.8003 | 1167436.4801 | 2602786.8735 | 1167434.2175 | 2602785.4122 | 1167434.2743
36 | 2602811.1365 | 1167435.5737 | 2602800.6751 | 1167436.4101
37 | 2602790.0217 | 1167485.9458 | 2602792.6556 | 1167484.9097
38 | 2602804.1101 | 1167476.012 | 2602795.8676 | 1167483.6463 | 2602792.6556 | 1167484.9097
39 | 2602776.8132 | 1167491.1414 | 2602790.0217 | 1167485.9458
40 | 2602817.6734 | 1167468.4597 | 2602808.4639 | 1167471.9795 | 2602804.1101 | 1167476.012
41 | 2602776.8132 | 1167491.1414 | 2602760.4499 | 1167488.7662 | 2602749.5176 | 1167493.9416 | 2602732.8106 | 1167505.0398
42 | 2602776.8132 | 1167491.1414 | 2602773.1279 | 1167499.455 | 2602775.7998 | 1167503.3507
43 | 2602822.7004 | 1167472.1305 | 2602817.6734 | 1167468.4597
44 | 2602817.6734 | 1167468.4597 | 2602815.5709 | 1167463.1005 | 2602814.3869 | 1167457.8529 | 2602812.5397 | 1167446.7354 | 2602811.1365 | 1167435.5737
45 | 2602822.7004 | 1167472.1305 | 2602829.2053 | 1167474.468 | 2602843.136 | 1167473.8297 | 2602849.8703 | 1167471.7744
46 | 2602811.1365 | 1167435.5737 | 2602818.9229 | 1167430.7526 | 2602826.1124 | 1167425.9313 | 2602844.2044 | 1167414.5117 | 2602850.9416 | 1167411.1465 | 2602870.4539 | 1167407.1758 | 2602904.0528 | 1167397.2088 | 2602909.6879 | 1167393.8098 | 2602936.0768 | 1167367.5314 | 2602951.0322 | 1167353.5316 | 2602953.0523 | 1167354.7887 | 2602955.6621 | 1167355.3792 | 2602972.2257 | 1167355.6651
47 | 2602972.2257 | 1167355.6651 | 2602980.561 | 1167356.1138 | 2602991.1205 | 1167356.8412
48 | 2602972.2257 | 1167355.6651 | 2602975.7082 | 1167340.2924 | 2602964.5128 | 1167318.654 | 2602967.8244 | 1167292.5648 | 2602972.07 | 1167297.7361 | 2602987.5319 | 1167265.8944 | 2603008.0614 | 1167249.0961 | 2603030.7047 | 1167230.2978 | 2603030.9136 | 1167230.1704
49 | 2603007.0514 | 1167357.9387 | 2602991.1205 | 1167356.8412
50 | 2603038.0837 | 1167214.3935 | 2603036.0031 | 1167227.0655 | 2603030.9136 | 1167230.1704
51 | 2603007.0514 | 1167357.9387 | 2603026.4549 | 1167357.9482 | 2603044.7631 | 1167359.2801 | 2603083.5627 | 1167365.5884
52 | 2603010.763 | 1167374.8934 | 2603008.6861 | 1167364.6428 | 2603007.0514 | 1167357.9387
53 | 2603038.0837 | 1167214.3935 | 2603040.7208 | 1167221.8319 | 2603045.443 | 1167222.9459 | 2603047.9122 | 1167229.3169
54 | 2603038.0837 | 1167214.3935 | 2603037.9141 | 1167185.8904 | 2603044.3426 | 1167172.9871 | 2603057.5197 | 1167165.3343 | 2603062.1685 | 1167160.3674 | 2603066.6577 | 1167152.9104 | 2603068.8424 | 1167146.5083 | 2603068.7547 | 1167138.3264 | 2603066.9701 | 1167125.0189 | 2603065.1265 | 1167122.7724 | 2603063.8961 | 1167118.881 | 2603063.8961 | 1167118.881
55 | 2603010.763 | 1167374.8934 | 2603010.6964 | 1167376.6396
56 | 2603010.763 | 1167374.8934 | 2603017.8785 | 1167374.992
57 | 2603202.9566 | 1167396.6903 | 2603193.2331 | 1167401.7767 | 2603182.4534 | 1167406.9181 | 2603172.4796 | 1167407.68 | 2603165.2462 | 1167408.0097 | 2603156.9824 | 1167402.7584 | 2603133.5421 | 1167379.0124 | 2603117.3269 | 1167371.0779 | 2603083.5627 | 1167365.5884
58 | 2603202.9566 | 1167396.6903 | 2603190.9814 | 1167375.0622 | 2603178.1326 | 1167355.2123 | 2603166.7804 | 1167342.2111 | 2603158.7161 | 1167335.8926 | 2603150.8386 | 1167327.2654
59 | 2603047.9122 | 1167229.3169 | 2603051.1073 | 1167222.9153 | 2603058.8096 | 1167218.9172 | 2603066.7403 | 1167217.4537 | 2603083.9037 | 1167213.0268 | 2603113.4587 | 1167210.5738 | 2603119.9212 | 1167208.7824
60 | 2603063.8961 | 1167118.881 | 2603063.6934 | 1167110.8991 | 2603063.8051 | 1167098.7086
61 | 2603067.3308 | 1167077.1619 | 2603067.1372 | 1167081.6307 | 2603064.6682 | 1167090.2338 | 2603063.8472 | 1167094.1131 | 2603063.8051 | 1167098.7086
62 | 2603040.9658 | 1167005.1463 | 2603044.2469 | 1167010.6062 | 2603051.9252 | 1167024.7059 | 2603057.3009 | 1167035.7807 | 2603061.0533 | 1167048.0109 | 2603065.5011 | 1167062.387 | 2603067.3308 | 1167077.1619
63 | 2603040.9658 | 1167005.1463 | 2603018.5054 | 1167008.3257 | 2603011.9358 | 1167012.2133 | 2603006.803 | 1167020.6039 | 2603006.3873 | 1167025.5061 | 2603011.0841 | 1167078.7238

## bus_geodata
| x | y | coords
0 | 2602855.7631 | 1167553.1174
1 | 2602817.2477 | 1167562.4064
2 | 2602879.8844 | 1167491.6514
3 | 2602754.9985 | 1167612.4031
4 | 2602894.996 | 1167482.6471
5 | 2602678.0526 | 1167738.4543
6 | 2602943.6213 | 1167511.6732
7 | 2602935.956 | 1167492.2935
8 | 2602970.8565 | 1167496.4012
9 | 2602929.937 | 1167490.493
10 | 2602821.758 | 1167507.5811
11 | 2602900.5662 | 1167483.8471
12 | 2602776.8651 | 1167765.7285
13 | 2603032.8152 | 1167512.4232
14 | 2603051.802 | 1167496.4409
15 | 2602833.9373 | 1167491.685
16 | 2602992.9313 | 1167691.9683
17 | 2603071.7651 | 1167520.0555
18 | 2603159.7349 | 1167527.5776
19 | 2602732.2699 | 1167447.766
20 | 2602713.5707 | 1167446.6699
21 | 2602746.7025 | 1167449.4554
22 | 2602707.0841 | 1167444.7693
23 | 2602750.4929 | 1167449.8991
24 | 2602762.2955 | 1167442.7672
25 | 2602770.6069 | 1167437.6341
26 | 2603157.0689 | 1167547.9261
27 | 2603132.1981 | 1167537.3574
28 | 2602784.3622 | 1167508.8034
29 | 2602776.4932 | 1167504.3618
30 | 2602821.7437 | 1167488.6717
31 | 2602738.9615 | 1167414.2354
32 | 2602718.6321 | 1167408.0335
33 | 2602776.4024 | 1167434.6241
34 | 2602785.4122 | 1167434.2743
35 | 2602800.6751 | 1167436.4101
36 | 2602792.6556 | 1167484.9097
37 | 2602790.0217 | 1167485.9458
38 | 2602804.1101 | 1167476.012
39 | 2602776.8132 | 1167491.1414
40 | 2602817.6734 | 1167468.4597
41 | 2602732.8106 | 1167505.0398
42 | 2602775.7998 | 1167503.3507
43 | 2602822.7004 | 1167472.1305
44 | 2602811.1365 | 1167435.5737
45 | 2602849.8703 | 1167471.7744
46 | 2602972.2257 | 1167355.6651
47 | 2603106.5717 | 1167502.3662
48 | 2602991.1205 | 1167356.8412
49 | 2603030.9136 | 1167230.1704
50 | 2603007.0514 | 1167357.9387
51 | 2603038.0837 | 1167214.3935
52 | 2603010.6964 | 1167376.6396
53 | 2603010.763 | 1167374.8934
54 | 2603017.8785 | 1167374.992
55 | 2603083.5627 | 1167365.5884
56 | 2603202.9566 | 1167396.6903
57 | 2603047.9122 | 1167229.3169
58 | 2603063.8961 | 1167118.881
59 | 2603119.9212 | 1167208.7824
60 | 2603063.8051 | 1167098.7086
61 | 2603150.8386 | 1167327.2654
62 | 2603067.3308 | 1167077.1619
63 | 2603040.9658 | 1167005.1463
64 | 2603011.0841 | 1167078.7238
65 | 2602849.8703 | 1167471.7744

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1