## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_761-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_761-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_761-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_761-2_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_761-2_0_6_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_761-2_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_761-2_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_761-2_0_6_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_761-2_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_761-2_0_6_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_761-2_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_761-2_0_6_node_295 | 0.4 | n |  | TRUE
12 | bus_LV_761-2_0_6_node_296 | 0.4 | n |  | TRUE
13 | bus_LV_761-2_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_761-2_0_6_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_761-2_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_761-2_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_761-2_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_761-2_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_761-2_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_761-2_0_6_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_761-2_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_761-2_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_761-2_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_761-2_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_761-2_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_761-2_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_761-2_0_6_node_286 | 0.4 | n |  | TRUE
28 | bus_LV_761-2_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_761-2_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_761-2_0_6_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_761-2_0_6_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_761-2_0_6_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_761-2_0_6_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_761-2_0_6_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_761-2_0_6_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_761-2_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_761-2_0_6_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_761-2_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_761-2_0_6_node_136 | 0.4 | n |  | TRUE
40 | bus_LV_761-2_0_6_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_761-2_0_6_node_297 | 0.4 | n |  | TRUE
42 | bus_LV_761-2_0_6_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_761-2_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_761-2_0_6_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_761-2_0_6_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_761-2_0_6_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_761-2_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_761-2_0_6_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_761-2_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_761-2_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_761-2_0_6_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_761-2_0_6_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_761-2_0_6_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_761-2_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_761-2_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_761-2_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_761-2_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_761-2_0_6_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_761-2_0_6_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_761-2_0_6_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_761-2_0_6_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_761-2_0_6_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_761-2_0_6_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_761-2_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_761-2_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_761-2_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_761-2_0_6_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_761-2_0_6_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_761-2_0_6_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_761-2_0_6_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_761-2_0_6_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_761-2_0_6_node_292 | 0.4 | n |  | TRUE
73 | bus_LV_761-2_0_6_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_761-2_0_6_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_761-2_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_761-2_0_6_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_761-2_0_6_node_291 | 0.4 | n |  | TRUE
78 | bus_LV_761-2_0_6_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_761-2_0_6_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_761-2_0_6_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_761-2_0_6_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_761-2_0_6_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_761-2_0_6_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_761-2_0_6_node_120 | 0.4 | n |  | TRUE
85 | bus_LV_761-2_0_6_node_121 | 0.4 | n |  | TRUE
86 | bus_LV_761-2_0_6_node_290 | 0.4 | n |  | TRUE
87 | bus_LV_761-2_0_6_node_288 | 0.4 | n |  | TRUE
88 | bus_LV_761-2_0_6_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_761-2_0_6_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_761-2_0_6_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_761-2_0_6_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_761-2_0_6_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_761-2_0_6_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_761-2_0_6_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_761-2_0_6_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_761-2_0_6_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_761-2_0_6_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_761-2_0_6_node_145 | 0.4 | n |  | TRUE
99 | bus_LV_761-2_0_6_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_761-2_0_6_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_761-2_0_6_node_88 | 0.4 | n |  | TRUE
102 | bus_LV_761-2_0_6_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_761-2_0_6_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_761-2_0_6_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_761-2_0_6_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_761-2_0_6_node_98 | 0.4 | n |  | TRUE
107 | bus_LV_761-2_0_6_node_99 | 0.4 | n |  | TRUE
108 | bus_LV_761-2_0_6_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_761-2_0_6_node_100 | 0.4 | n |  | TRUE
110 | bus_LV_761-2_0_6_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_761-2_0_6_node_102 | 0.4 | n |  | TRUE
112 | bus_LV_761-2_0_6_node_103 | 0.4 | n |  | TRUE
113 | bus_LV_761-2_0_6_node_107 | 0.4 | n |  | TRUE
114 | bus_LV_761-2_0_6_node_108 | 0.4 | n |  | TRUE
115 | bus_LV_761-2_0_6_node_105 | 0.4 | n |  | TRUE
116 | bus_LV_761-2_0_6_node_106 | 0.4 | n |  | TRUE
117 | bus_LV_761-2_0_6_node_109 | 0.4 | n |  | TRUE
118 | bus_LV_761-2_0_6_node_110 | 0.4 | n |  | TRUE
119 | bus_LV_761-2_0_6_node_117 | 0.4 | n |  | TRUE
120 | bus_LV_761-2_0_6_node_118 | 0.4 | n |  | TRUE
121 | bus_LV_761-2_0_6_node_119 | 0.4 | n |  | TRUE
122 | bus_LV_761-2_0_6_node_140 | 0.4 | n |  | TRUE
123 | bus_LV_761-2_0_6_node_277 | 0.4 | n |  | TRUE
124 | bus_LV_761-2_0_6_node_146 | 0.4 | n |  | TRUE
125 | bus_LV_761-2_0_6_node_141 | 0.4 | n |  | TRUE
126 | bus_LV_761-2_0_6_node_142 | 0.4 | n |  | TRUE
127 | bus_LV_761-2_0_6_node_143 | 0.4 | n |  | TRUE
128 | bus_LV_761-2_0_6_node_144 | 0.4 | n |  | TRUE
129 | bus_LV_761-2_0_6_node_264 | 0.4 | n |  | TRUE
130 | bus_LV_761-2_0_6_node_267 | 0.4 | n |  | TRUE
131 | bus_LV_761-2_0_6_node_266 | 0.4 | n |  | TRUE
132 | bus_LV_761-2_0_6_node_269 | 0.4 | n |  | TRUE
133 | bus_LV_761-2_0_6_node_270 | 0.4 | n |  | TRUE
134 | bus_LV_761-2_0_6_node_274 | 0.4 | n |  | TRUE
135 | bus_LV_761-2_0_6_node_271 | 0.4 | n |  | TRUE
136 | bus_LV_761-2_0_6_node_272 | 0.4 | n |  | TRUE
137 | bus_LV_761-2_0_6_node_273 | 0.4 | n |  | TRUE
138 | bus_LV_761-2_0_6_node_275 | 0.4 | n |  | TRUE
139 | bus_LV_761-2_0_6_node_289 | 0.4 | n |  | TRUE
140 | bus_LV_761-2_0_6_node_299 | 0.4 | n |  | TRUE
141 | bus_MV_208_0_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_761-2_0_6_load_0 | 0 | 0.00074851 | 0.0001876 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_761-2_0_6_load_1 | 1 | 0.0010766 | 0.00026981 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_761-2_0_6_load_27 | 4 | 0.0010386 | 0.00026031 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_761-2_0_6_load_3 | 5 | 0.0016841 | 0.00042208 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_761-2_0_6_load_4 | 6 | 0.0011064 | 0.00027728 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_761-2_0_6_load_20 | 7 | 0.0011189 | 0.00028043 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_761-2_0_6_load_6 | 8 | 0.0019102 | 0.00047875 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_761-2_0_6_load_295 | 11 | 0.01331 | 0.0033359 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_761-2_0_6_load_296 | 12 | 0.00083043 | 0.00020813 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_761-2_0_6_load_28 | 14 | 0.006166 | 0.0015453 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_761-2_0_6_load_26 | 15 | 0.0019471 | 0.000488 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_761-2_0_6_load_10 | 16 | 0.00078045 | 0.0001956 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_761-2_0_6_load_11 | 17 | 0.00073817 | 0.000185 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_761-2_0_6_load_13 | 19 | 0.00061514 | 0.00015417 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_761-2_0_6_load_42 | 20 | 0.0012358 | 0.00030972 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_761-2_0_6_load_15 | 21 | 0.00012807 | 3.2098e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_761-2_0_6_load_16 | 22 | 0.00012482 | 3.1282e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_761-2_0_6_load_18 | 24 | 0.00046609 | 0.00011681 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_761-2_0_6_load_19 | 25 | 8.8387e-05 | 2.2152e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_761-2_0_6_load_21 | 26 | 0.00042173 | 0.0001057 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_761-2_0_6_load_286 | 27 | 0.0022753 | 0.00057026 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_761-2_0_6_load_22 | 28 | 0.00022255 | 5.5776e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_761-2_0_6_load_23 | 29 | 0.00028483 | 7.1386e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_761-2_0_6_load_44 | 30 | 0.00045289 | 0.0001135 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_761-2_0_6_load_36 | 31 | 0.002698 | 0.00067618 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_761-2_0_6_load_29 | 32 | 0.0010374 | 0.00026001 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_761-2_0_6_load_32 | 35 | 0.00039219 | 9.8291e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_761-2_0_6_load_33 | 36 | 0.00046208 | 0.00011581 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_761-2_0_6_load_34 | 37 | 0.00019383 | 4.858e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_761-2_0_6_load_136 | 39 | 0.00049166 | 0.00012322 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_761-2_0_6_load_72 | 40 | 0.00066298 | 0.00016616 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_761-2_0_6_load_297 | 41 | 0.00048082 | 0.00012051 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_761-2_0_6_load_46 | 45 | 0.00048632 | 0.00012188 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_761-2_0_6_load_38 | 46 | 0.00066787 | 0.00016738 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_761-2_0_6_load_39 | 47 | 0.00053347 | 0.0001337 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_761-2_0_6_load_40 | 48 | 0.00078784 | 0.00019745 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_761-2_0_6_load_41 | 49 | 0.00045413 | 0.00011382 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_761-2_0_6_load_43 | 50 | 0.00063405 | 0.00015891 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_761-2_0_6_load_64 | 51 | 0.0007925 | 0.00019862 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_761-2_0_6_load_63 | 52 | 0.0030799 | 0.00077189 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_761-2_0_6_load_57 | 53 | 0.0027746 | 0.00069537 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_761-2_0_6_load_47 | 54 | 0.00038734 | 9.7077e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_761-2_0_6_load_48 | 55 | 0.00093997 | 0.00023558 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_761-2_0_6_load_50 | 57 | 0.0011397 | 0.00028563 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_761-2_0_6_load_51 | 58 | 0.00093502 | 0.00023434 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_761-2_0_6_load_52 | 59 | 0.0012852 | 0.0003221 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_761-2_0_6_load_73 | 61 | 0.0004079 | 0.00010223 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_761-2_0_6_load_74 | 62 | 0.00062905 | 0.00015766 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_761-2_0_6_load_53 | 63 | 0.0020982 | 0.00052587 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_761-2_0_6_load_54 | 64 | 0.0012761 | 0.00031982 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_761-2_0_6_load_56 | 66 | 0.00034426 | 8.628e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_761-2_0_6_load_58 | 67 | 0.0012832 | 0.00032161 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_761-2_0_6_load_59 | 68 | 0.0018017 | 0.00045155 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_761-2_0_6_load_61 | 69 | 0.0017051 | 0.00042735 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_761-2_0_6_load_62 | 70 | 0.00028915 | 7.2468e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_761-2_0_6_load_292 | 72 | 0.00030893 | 7.7424e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_761-2_0_6_load_66 | 74 | 0.00012063 | 3.0232e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_761-2_0_6_load_67 | 75 | 0.00011048 | 2.7688e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_761-2_0_6_load_75 | 76 | 7.8249e-05 | 1.9611e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_761-2_0_6_load_291 | 77 | 0.00028853 | 7.2313e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_761-2_0_6_load_70 | 79 | 0.0005842 | 0.00014642 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_761-2_0_6_load_71 | 80 | 0.0057676 | 0.0014455 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_761-2_0_6_load_76 | 81 | 0.0002124 | 5.3233e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_761-2_0_6_load_77 | 82 | 0.00047925 | 0.00012011 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_761-2_0_6_load_120 | 84 | 0.00030017 | 7.523e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_761-2_0_6_load_121 | 85 | 0.00058631 | 0.00014694 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_761-2_0_6_load_288 | 87 | 0.00087154 | 0.00021843 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_761-2_0_6_load_80 | 88 | 0.00058383 | 0.00014632 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_761-2_0_6_load_82 | 91 | 0.00060997 | 0.00015287 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_761-2_0_6_load_83 | 92 | 0.00031403 | 7.8703e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_761-2_0_6_load_86 | 95 | 0.0060446 | 0.0015149 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_761-2_0_6_load_92 | 96 | 0.00036892 | 9.2459e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_761-2_0_6_load_93 | 100 | 0.00034368 | 8.6135e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_761-2_0_6_load_88 | 101 | 0.0007254 | 0.0001818 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_761-2_0_6_load_104 | 105 | 0.00031096 | 7.7935e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_761-2_0_6_load_98 | 106 | 0.00040346 | 0.00010112 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_761-2_0_6_load_99 | 107 | 0.0003689 | 9.2454e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_761-2_0_6_load_97 | 108 | 0.00015016 | 3.7634e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_761-2_0_6_load_100 | 109 | 0.00016606 | 4.1619e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_761-2_0_6_load_101 | 110 | 0.00025477 | 6.3851e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_761-2_0_6_load_102 | 111 | 0.00023765 | 5.9561e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_761-2_0_6_load_103 | 112 | 0.00066037 | 0.0001655 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_761-2_0_6_load_107 | 113 | 0.00013979 | 3.5035e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_761-2_0_6_load_105 | 115 | 0.0003133 | 7.8521e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_761-2_0_6_load_106 | 116 | 0.00034164 | 8.5623e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_761-2_0_6_load_109 | 117 | 0.00025622 | 6.4214e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_761-2_0_6_load_110 | 118 | 0.00017816 | 4.465e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_761-2_0_6_load_117 | 119 | 0.00092831 | 0.00023266 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_761-2_0_6_load_118 | 120 | 0.0013258 | 0.00033229 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_761-2_0_6_load_140 | 122 | 0.0032279 | 0.000809 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_761-2_0_6_load_277 | 123 | 0.0005694 | 0.00014271 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_761-2_0_6_load_146 | 124 | 0.0037332 | 0.00093563 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_761-2_0_6_load_141 | 125 | 0.0010332 | 0.00025894 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_761-2_0_6_load_142 | 126 | 0.0014537 | 0.00036434 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_761-2_0_6_load_143 | 127 | 0.0009727 | 0.00024378 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_761-2_0_6_load_264 | 129 | 0.0030673 | 0.00076874 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_761-2_0_6_load_267 | 130 | 0.0033143 | 0.00083065 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_761-2_0_6_load_266 | 131 | 0.0078176 | 0.0019593 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_761-2_0_6_load_269 | 132 | 0.0041785 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_761-2_0_6_load_270 | 133 | 0.00019486 | 4.8836e-05 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_761-2_0_6_load_274 | 134 | 0.0042152 | 0.0010564 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_761-2_0_6_load_271 | 135 | 0.0074486 | 0.0018668 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_761-2_0_6_load_273 | 137 | 0.0020572 | 0.00051557 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_761-2_0_6_load_275 | 138 | 0.0012542 | 0.00031432 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_761-2_0_6_load_289 | 139 | 0.00067088 | 0.00016814 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_761-2_0_6_load_299 | 140 | 0.0019366 | 0.00048536 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_761-2_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_761-2_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.007209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_761-2_0_6_line_2 | NAYY 4x150 SE | 2 | 3 | 0.030563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_761-2_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_761-2_0_6_line_4 | NAYY 4x150 SE | 3 | 8 | 0.021692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_761-2_0_6_line_5 | NAYY 4x150 SE | 3 | 5 | 0.017945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_761-2_0_6_line_6 | NAYY 4x150 SE | 4 | 15 | 0.040816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_761-2_0_6_line_7 | NAYY 4x150 SE | 5 | 6 | 0.046415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_761-2_0_6_line_8 | NAYY 4x150 SE | 6 | 7 | 0.15002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_761-2_0_6_line_9 | NAYY 4x150 SE | 7 | 27 | 0.14658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_761-2_0_6_line_10 | NAYY 4x150 SE | 8 | 9 | 0.010419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_761-2_0_6_line_11 | NAYY 4x150 SE | 9 | 18 | 0.039781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_761-2_0_6_line_12 | NAYY 4x150 SE | 10 | 11 | 0.010937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_761-2_0_6_line_13 | NAYY 4x150 SE | 10 | 12 | 0.02971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_761-2_0_6_line_14 | NAYY 4x150 SE | 10 | 13 | 0.015727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_761-2_0_6_line_15 | NAYY 4x150 SE | 13 | 14 | 0.054962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_761-2_0_6_line_16 | NAYY 4x150 SE | 13 | 15 | 0.014691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_761-2_0_6_line_17 | NAYY 4x150 SE | 14 | 31 | 0.018423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_761-2_0_6_line_18 | NAYY 4x150 SE | 16 | 17 | 0.025972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_761-2_0_6_line_19 | NAYY 4x150 SE | 16 | 18 | 0.032765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_761-2_0_6_line_20 | NAYY 4x150 SE | 18 | 19 | 0.013708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_761-2_0_6_line_21 | NAYY 4x150 SE | 19 | 20 | 0.031692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_761-2_0_6_line_22 | NAYY 4x150 SE | 20 | 48 | 0.014904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_761-2_0_6_line_23 | NAYY 4x150 SE | 21 | 22 | 0.011533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_761-2_0_6_line_24 | NAYY 4x150 SE | 21 | 23 | 0.03297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_761-2_0_6_line_25 | NAYY 4x150 SE | 22 | 24 | 0.013708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_761-2_0_6_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0085416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_761-2_0_6_line_27 | NAYY 4x150 SE | 25 | 26 | 0.02312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_761-2_0_6_line_28 | NAYY 4x150 SE | 26 | 28 | 0.031471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_761-2_0_6_line_29 | NAYY 4x150 SE | 27 | 98 | 0.03597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_761-2_0_6_line_30 | NAYY 4x150 SE | 28 | 29 | 0.012509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_761-2_0_6_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0088396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_761-2_0_6_line_32 | NAYY 4x150 SE | 30 | 50 | 0.016214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_761-2_0_6_line_33 | NAYY 4x150 SE | 31 | 43 | 0.0049003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_761-2_0_6_line_34 | NAYY 4x150 SE | 32 | 33 | 0.034776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_761-2_0_6_line_35 | NAYY 4x150 SE | 32 | 34 | 0.018357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_761-2_0_6_line_36 | NAYY 4x150 SE | 33 | 35 | 0.018793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_761-2_0_6_line_37 | NAYY 4x150 SE | 34 | 36 | 0.023327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_761-2_0_6_line_38 | NAYY 4x150 SE | 34 | 37 | 0.023869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_761-2_0_6_line_39 | NAYY 4x150 SE | 34 | 38 | 0.0506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_761-2_0_6_line_40 | NAYY 4x150 SE | 35 | 39 | 0.063365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_761-2_0_6_line_41 | NAYY 4x150 SE | 37 | 40 | 0.026532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_761-2_0_6_line_42 | NAYY 4x150 SE | 38 | 41 | 0.018151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_761-2_0_6_line_43 | NAYY 4x150 SE | 38 | 42 | 0.014087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_761-2_0_6_line_44 | NAYY 4x150 SE | 39 | 123 | 0.12627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_761-2_0_6_line_45 | NAYY 4x150 SE | 42 | 70 | 0.027833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_761-2_0_6_line_46 | NAYY 4x150 SE | 42 | 67 | 0.043349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_761-2_0_6_line_47 | NAYY 4x150 SE | 43 | 44 | 0.008522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_761-2_0_6_line_48 | NAYY 4x150 SE | 43 | 45 | 0.016015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_761-2_0_6_line_49 | NAYY 4x150 SE | 44 | 52 | 0.025258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_761-2_0_6_line_50 | NAYY 4x150 SE | 44 | 53 | 0.0289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_761-2_0_6_line_51 | NAYY 4x150 SE | 46 | 47 | 0.014862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_761-2_0_6_line_52 | NAYY 4x150 SE | 46 | 48 | 0.043836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_761-2_0_6_line_53 | NAYY 4x150 SE | 47 | 49 | 0.02128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_761-2_0_6_line_54 | NAYY 4x150 SE | 49 | 50 | 0.022394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_761-2_0_6_line_55 | NAYY 4x150 SE | 49 | 51 | 0.049365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_761-2_0_6_line_56 | NAYY 4x150 SE | 51 | 73 | 0.046336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_761-2_0_6_line_57 | NAYY 4x150 SE | 52 | 61 | 0.0037046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_761-2_0_6_line_58 | NAYY 4x150 SE | 53 | 65 | 0.018658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_761-2_0_6_line_59 | NAYY 4x150 SE | 54 | 55 | 0.02629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_761-2_0_6_line_60 | NAYY 4x150 SE | 54 | 56 | 0.046579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_761-2_0_6_line_61 | NAYY 4x150 SE | 55 | 57 | 0.022612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_761-2_0_6_line_62 | NAYY 4x150 SE | 56 | 58 | 0.0085973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_761-2_0_6_line_63 | NAYY 4x150 SE | 56 | 59 | 0.017263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_761-2_0_6_line_64 | NAYY 4x150 SE | 57 | 60 | 0.043792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_761-2_0_6_line_65 | NAYY 4x150 SE | 58 | 61 | 0.010029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_761-2_0_6_line_66 | NAYY 4x150 SE | 59 | 62 | 0.0074476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_761-2_0_6_line_67 | NAYY 4x150 SE | 60 | 78 | 0.084926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_761-2_0_6_line_68 | NAYY 4x150 SE | 62 | 79 | 0.02303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_761-2_0_6_line_69 | NAYY 4x150 SE | 63 | 64 | 0.015673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_761-2_0_6_line_70 | NAYY 4x150 SE | 63 | 65 | 0.012521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_761-2_0_6_line_71 | NAYY 4x150 SE | 64 | 66 | 0.015933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_761-2_0_6_line_72 | NAYY 4x150 SE | 67 | 68 | 0.02967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_761-2_0_6_line_73 | NAYY 4x150 SE | 68 | 69 | 0.069355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_761-2_0_6_line_74 | NAYY 4x150 SE | 69 | 71 | 0.042991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_761-2_0_6_line_75 | NAYY 4x150 SE | 70 | 72 | 0.0034991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_761-2_0_6_line_76 | NAYY 4x150 SE | 71 | 79 | 0.047706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_761-2_0_6_line_77 | NAYY 4x150 SE | 71 | 80 | 0.021361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_761-2_0_6_line_78 | NAYY 4x150 SE | 73 | 74 | 0.045824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_761-2_0_6_line_79 | NAYY 4x150 SE | 73 | 75 | 0.033308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_761-2_0_6_line_80 | NAYY 4x150 SE | 74 | 76 | 0.019394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_761-2_0_6_line_81 | NAYY 4x150 SE | 75 | 77 | 0.03587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_761-2_0_6_line_82 | NAYY 4x150 SE | 76 | 81 | 0.021299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_761-2_0_6_line_83 | NAYY 4x150 SE | 78 | 86 | 0.017737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_761-2_0_6_line_84 | NAYY 4x150 SE | 78 | 87 | 0.094673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_761-2_0_6_line_85 | NAYY 4x150 SE | 81 | 82 | 0.01883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_761-2_0_6_line_86 | NAYY 4x150 SE | 82 | 83 | 0.025195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_761-2_0_6_line_87 | NAYY 4x150 SE | 83 | 84 | 0.10543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_761-2_0_6_line_88 | NAYY 4x150 SE | 83 | 85 | 0.022021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_761-2_0_6_line_89 | NAYY 4x150 SE | 86 | 140 | 0.088809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_761-2_0_6_line_90 | NAYY 4x150 SE | 87 | 139 | 0.053556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_761-2_0_6_line_91 | NAYY 4x150 SE | 88 | 89 | 0.028484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_761-2_0_6_line_92 | NAYY 4x150 SE | 89 | 90 | 0.073058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_761-2_0_6_line_93 | NAYY 4x150 SE | 90 | 101 | 0.041239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_761-2_0_6_line_94 | NAYY 4x150 SE | 91 | 92 | 0.019542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_761-2_0_6_line_95 | NAYY 4x150 SE | 91 | 93 | 0.038242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_761-2_0_6_line_96 | NAYY 4x150 SE | 92 | 94 | 0.025756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_761-2_0_6_line_97 | NAYY 4x150 SE | 93 | 95 | 0.074559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_761-2_0_6_line_98 | NAYY 4x150 SE | 94 | 96 | 0.065889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_761-2_0_6_line_99 | NAYY 4x150 SE | 94 | 97 | 0.014032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_761-2_0_6_line_100 | NAYY 4x150 SE | 95 | 98 | 0.2562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_761-2_0_6_line_101 | NAYY 4x150 SE | 97 | 99 | 0.077509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_761-2_0_6_line_102 | NAYY 4x150 SE | 97 | 101 | 0.024131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_761-2_0_6_line_103 | NAYY 4x150 SE | 98 | 128 | 0.019322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_761-2_0_6_line_104 | NAYY 4x150 SE | 99 | 100 | 0.05208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_761-2_0_6_line_105 | NAYY 4x150 SE | 100 | 102 | 0.0041539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_761-2_0_6_line_106 | NAYY 4x150 SE | 102 | 103 | 0.025295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_761-2_0_6_line_107 | NAYY 4x150 SE | 103 | 107 | 0.021696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_761-2_0_6_line_108 | NAYY 4x150 SE | 103 | 108 | 0.023029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_761-2_0_6_line_109 | NAYY 4x150 SE | 104 | 105 | 0.0099918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_761-2_0_6_line_110 | NAYY 4x150 SE | 104 | 106 | 0.0044582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_761-2_0_6_line_111 | NAYY 4x150 SE | 105 | 115 | 0.010094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_761-2_0_6_line_112 | NAYY 4x150 SE | 106 | 108 | 0.019174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_761-2_0_6_line_113 | NAYY 4x150 SE | 109 | 110 | 0.0042168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_761-2_0_6_line_114 | NAYY 4x150 SE | 109 | 111 | 0.0088847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_761-2_0_6_line_115 | NAYY 4x150 SE | 110 | 112 | 0.021382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_761-2_0_6_line_116 | NAYY 4x150 SE | 111 | 113 | 0.14412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_761-2_0_6_line_117 | NAYY 4x150 SE | 112 | 114 | 0.019672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_761-2_0_6_line_118 | NAYY 4x150 SE | 113 | 116 | 0.038033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_761-2_0_6_line_119 | NAYY 4x150 SE | 114 | 117 | 0.039037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_761-2_0_6_line_120 | NAYY 4x150 SE | 114 | 118 | 0.04871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_761-2_0_6_line_121 | NAYY 4x150 SE | 115 | 116 | 0.015806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_761-2_0_6_line_122 | NAYY 4x150 SE | 119 | 120 | 0.033089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_761-2_0_6_line_123 | NAYY 4x150 SE | 120 | 121 | 0.02809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_761-2_0_6_line_124 | NAYY 4x150 SE | 121 | 122 | 0.022868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_761-2_0_6_line_125 | NAYY 4x150 SE | 122 | 124 | 0.018126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_761-2_0_6_line_126 | NAYY 4x150 SE | 123 | 131 | 0.12033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_761-2_0_6_line_127 | NAYY 4x150 SE | 124 | 128 | 0.030601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_761-2_0_6_line_128 | NAYY 4x150 SE | 125 | 126 | 0.010519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_761-2_0_6_line_129 | NAYY 4x150 SE | 125 | 127 | 0.0073475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_761-2_0_6_line_130 | NAYY 4x150 SE | 126 | 128 | 0.022326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_761-2_0_6_line_131 | NAYY 4x150 SE | 129 | 130 | 0.16852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_761-2_0_6_line_132 | NAYY 4x150 SE | 129 | 131 | 0.11681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_761-2_0_6_line_133 | NAYY 4x150 SE | 131 | 132 | 0.12108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_761-2_0_6_line_134 | NAYY 4x150 SE | 132 | 133 | 0.040271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_761-2_0_6_line_135 | NAYY 4x150 SE | 132 | 134 | 0.13557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_761-2_0_6_line_136 | NAYY 4x150 SE | 134 | 138 | 0.02112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_761-2_0_6_line_137 | NAYY 4x150 SE | 134 | 137 | 0.0076065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_761-2_0_6_line_138 | NAYY 4x150 SE | 135 | 136 | 0.034484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_761-2_0_6_line_139 | NAYY 4x150 SE | 136 | 137 | 0.0059691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_761-2_0_6_trafo_61 | 0.25 MVA 20/0.4 kV | 141 | 69 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2604362.4705 | 1167511.7179 | 2604372.4296 | 1167506.6355 | 2604366.1619 | 1167494.6584 | 2604364.757 | 1167491.8129
1 | 2604361.7905 | 1167485.2506 | 2604362.7302 | 1167487.708 | 2604364.757 | 1167491.8129
2 | 2604357.6076 | 1167469.084 | 2604360.6799 | 1167475.6228 | 2604367.4931 | 1167474.1158 | 2604368.9258 | 1167482.8211 | 2604361.7905 | 1167485.2506
3 | 2604361.7905 | 1167485.2506 | 2604356.6151 | 1167487.0033 | 2604346.7919 | 1167492.007
4 | 2604357.6076 | 1167469.084 | 2604364.6357 | 1167466.7545 | 2604376.9265 | 1167459.4692
5 | 2604357.6076 | 1167469.084 | 2604349.9809 | 1167452.84
6 | 2604310.3782 | 1167506.747 | 2604314.2269 | 1167508.5951 | 2604346.7919 | 1167492.007
7 | 2604349.9809 | 1167452.84 | 2604347.8023 | 1167448.1999 | 2604346.8037 | 1167442.4519 | 2604344.8019 | 1167437.448 | 2604339.5488 | 1167429.9516 | 2604333.5524 | 1167423.6998 | 2604326.3026 | 1167414.7013 | 2604325.9302 | 1167414.1162
8 | 2604325.9302 | 1167414.1162 | 2604231.3037 | 1167297.6986
9 | 2604109.8237 | 1167215.6748 | 2604231.3037 | 1167297.6986
10 | 2604386.5264 | 1167456.176 | 2604381.8878 | 1167456.5284 | 2604376.9265 | 1167459.4692
11 | 2604422.0769 | 1167438.9486 | 2604408.723 | 1167445.9647 | 2604390.6547 | 1167452.366 | 2604386.5264 | 1167456.176
12 | 2604297.1636 | 1167479.4129 | 2604293.4739 | 1167469.1163
13 | 2604324.8867 | 1167468.5271 | 2604297.1636 | 1167479.4129
14 | 2604297.1636 | 1167479.4129 | 2604299.1345 | 1167484.9171 | 2604300.9614 | 1167488.3201 | 2604303.805 | 1167493.6247
15 | 2604303.805 | 1167493.6247 | 2604265.047 | 1167512.3846 | 2604254.6672 | 1167518.2102
16 | 2604303.805 | 1167493.6247 | 2604306.7558 | 1167498.8071 | 2604310.3782 | 1167506.747
17 | 2604254.6672 | 1167518.2102 | 2604245.759 | 1167523.2099 | 2604238.4287 | 1167526.9009
18 | 2604421.9214 | 1167406.2588 | 2604421.692 | 1167399.7399 | 2604421.0085 | 1167380.3032
19 | 2604422.0769 | 1167438.9486 | 2604422.9625 | 1167431.5901 | 2604422.352 | 1167418.4942 | 2604421.9214 | 1167406.2588
20 | 2604422.0769 | 1167438.9486 | 2604434.1 | 1167432.3636
21 | 2604461.8958 | 1167417.1398 | 2604434.1 | 1167432.3636
22 | 2604461.8958 | 1167417.1398 | 2604474.9677 | 1167409.9803
23 | 2604716.021 | 1167375.4038 | 2604709.1017 | 1167376.3656 | 2604704.6125 | 1167375.6411
24 | 2604671.9675 | 1167371.0344 | 2604697.9585 | 1167374.5672 | 2604704.6125 | 1167375.6411
25 | 2604716.021 | 1167375.4038 | 2604721.7478 | 1167374.6078 | 2604729.2331 | 1167372.0007
26 | 2604671.9675 | 1167371.0344 | 2604663.4298 | 1167370.7786
27 | 2604663.4298 | 1167370.7786 | 2604646.8316 | 1167370.2815 | 2604640.3649 | 1167371.0649
28 | 2604609.146 | 1167375.0271 | 2604616.4646 | 1167373.9602 | 2604640.3649 | 1167371.0649
29 | 2604099.9037 | 1167181.4066 | 2604103.6877 | 1167188.6572 | 2604106.552 | 1167197.8749 | 2604108.6058 | 1167205.6468 | 2604109.8237 | 1167215.6748
30 | 2604609.146 | 1167375.0271 | 2604597.8015 | 1167376.6808 | 2604596.7678 | 1167376.8329
31 | 2604588.021 | 1167378.1105 | 2604588.0413 | 1167378.1075 | 2604591.4095 | 1167377.6209 | 2604596.7678 | 1167376.8329
32 | 2604571.9843 | 1167380.4987 | 2604588.021 | 1167378.1105
33 | 2604234.0519 | 1167529.1047 | 2604238.4287 | 1167526.9009
34 | 2604543.7822 | 1167658.781 | 2604538.3134 | 1167653.7855 | 2604517.9658 | 1167635.4819
35 | 2604503.9239 | 1167623.6673 | 2604512.7359 | 1167630.7773 | 2604517.9658 | 1167635.4819
36 | 2604543.7822 | 1167658.781 | 2604536.7239 | 1167660.6767 | 2604529.3361 | 1167663.128 | 2604526.2501 | 1167665.1712
37 | 2604503.9239 | 1167623.6673 | 2604484.8022 | 1167637.1043
38 | 2604503.9239 | 1167623.6673 | 2604509.5444 | 1167620.3031 | 2604513.2436 | 1167617.0264 | 2604516.3255 | 1167610.2809 | 2604516.6346 | 1167605.3298
39 | 2604455.1392 | 1167621.9751 | 2604479.0918 | 1167617.1235 | 2604490.4269 | 1167617.6099 | 2604501.1166 | 1167621.3974 | 2604503.9239 | 1167623.6673
40 | 2604521.0866 | 1167713.0579 | 2604529.7035 | 1167714.6984 | 2604532.375 | 1167714.2891 | 2604533.816 | 1167711.4221 | 2604534.0262 | 1167706.7199 | 2604532.3839 | 1167702.2164 | 2604527.0561 | 1167693.0079 | 2604524.5957 | 1167687.481 | 2604524.188 | 1167679.8992 | 2604525.2213 | 1167669.4725 | 2604526.2501 | 1167665.1712
41 | 2604537.3896 | 1167599.2799 | 2604524.4557 | 1167597.6361 | 2604518.7073 | 1167598.0432 | 2604516.8599 | 1167601.7214 | 2604516.6346 | 1167605.3298
42 | 2604455.1392 | 1167621.9751 | 2604463.0414 | 1167638.3223
43 | 2604455.1392 | 1167621.9751 | 2604441.1845 | 1167624.1771
44 | 2604521.0866 | 1167713.0579 | 2604408.0225 | 1167769.2698
45 | 2604441.1845 | 1167624.1771 | 2604444.3724 | 1167618.8657 | 2604450.4293 | 1167604.7074 | 2604451.8321 | 1167598.6279
46 | 2604441.1845 | 1167624.1771 | 2604427.7886 | 1167626.4018 | 2604417.0425 | 1167626.4496 | 2604411.9756 | 1167626.4793 | 2604401.0543 | 1167625.3708 | 2604398.162 | 1167624.6589
47 | 2604234.0519 | 1167529.1047 | 2604226.2424 | 1167532.5677
48 | 2604234.0519 | 1167529.1047 | 2604240.791 | 1167543.633
49 | 2604226.2424 | 1167532.5677 | 2604208.4949 | 1167540.4483 | 2604203.0436 | 1167542.5415
50 | 2604226.2424 | 1167532.5677 | 2604217.8123 | 1167514.7419 | 2604216.3738 | 1167505.6742
51 | 2604514.7785 | 1167391.7822 | 2604525.1928 | 1167388.1878 | 2604528.9094 | 1167387.2014
52 | 2604514.7785 | 1167391.7822 | 2604509.7656 | 1167393.5124 | 2604501.3742 | 1167396.819 | 2604490.9763 | 1167401.6248 | 2604488.8017 | 1167402.7571 | 2604481.8873 | 1167406.3316 | 2604477.1705 | 1167408.7738 | 2604474.9677 | 1167409.9803
53 | 2604528.9094 | 1167387.2014 | 2604538.9348 | 1167384.5407 | 2604549.777 | 1167383.3525
54 | 2604571.9843 | 1167380.4987 | 2604561.3022 | 1167382.0895 | 2604549.777 | 1167383.3525
55 | 2604549.777 | 1167383.3525 | 2604551.8379 | 1167432.6741
56 | 2604597.8655 | 1167433.965 | 2604588.3834 | 1167432.1681 | 2604574.5455 | 1167431.1238 | 2604560.2243 | 1167431.391 | 2604551.8379 | 1167432.6741
57 | 2604203.0436 | 1167542.5415 | 2604199.5852 | 1167543.8695
58 | 2604210.6437 | 1167487.9347 | 2604216.1738 | 1167504.4134 | 2604216.3738 | 1167505.6742
59 | 2604136.2558 | 1167557.6408 | 2604120.5074 | 1167558.8086 | 2604110.015 | 1167558.4513
60 | 2604182.1965 | 1167550.5464 | 2604165.401 | 1167554.5035 | 2604152.6942 | 1167556.1402 | 2604148.8133 | 1167556.6378 | 2604147.3972 | 1167556.8147 | 2604136.2558 | 1167557.6408
61 | 2604110.015 | 1167558.4513 | 2604089.5325 | 1167557.7539 | 2604087.4434 | 1167557.4048
62 | 2604182.1965 | 1167550.5464 | 2604190.2225 | 1167547.4646
63 | 2604182.1965 | 1167550.5464 | 2604186.737 | 1167559.3205 | 2604191.6317 | 1167564.8489 | 2604191.6317 | 1167564.8489
64 | 2604044.2489 | 1167550.1978 | 2604072.4354 | 1167554.8966 | 2604087.4434 | 1167557.4048
65 | 2604190.2225 | 1167547.4646 | 2604199.5852 | 1167543.8695
66 | 2604191.6317 | 1167564.8489 | 2604198.4494 | 1167567.755 | 2604198.4844 | 1167567.7648
67 | 2603992.5955 | 1167615.2741 | 2603997.245 | 1167609.7744 | 2604002.897 | 1167604.5644 | 2604014.1531 | 1167597.2459 | 2604023.9562 | 1167588.0588 | 2604033.4792 | 1167574.2138 | 2604035.341 | 1167571.4136 | 2604044.2489 | 1167550.1978
68 | 2604219.5472 | 1167576.5001 | 2604210.8157 | 1167571.4542 | 2604206.6915 | 1167569.5838 | 2604202.2297 | 1167568.8137 | 2604198.4844 | 1167567.7648
69 | 2604198.9318 | 1167492.3625 | 2604185.7998 | 1167497.3334 | 2604185.0528 | 1167498.7843
70 | 2604210.6437 | 1167487.9347 | 2604209.9546 | 1167488.1899 | 2604198.9318 | 1167492.3625
71 | 2604173.882 | 1167509.0867 | 2604177.2736 | 1167507.8662 | 2604181.3779 | 1167505.3122 | 2604183.7457 | 1167501.3229 | 2604185.0528 | 1167498.7843
72 | 2604398.162 | 1167624.6589 | 2604392.0855 | 1167623.1633 | 2604387.4941 | 1167621.8816 | 2604378.0511 | 1167619.2401 | 2604369.9214 | 1167615.7702
73 | 2604305.9039 | 1167589.1021 | 2604314.4584 | 1167592.4815 | 2604327.5812 | 1167597.7045 | 2604356.8409 | 1167610.1871 | 2604369.9214 | 1167615.7702
74 | 2604264.0502 | 1167580.6958 | 2604274.2372 | 1167581.2143 | 2604286.0462 | 1167582.8011 | 2604296.8134 | 1167585.5212 | 2604299.4609 | 1167586.5569 | 2604305.9039 | 1167589.1021
75 | 2604452.6187 | 1167595.2183 | 2604451.8321 | 1167598.6279
76 | 2604264.0502 | 1167580.6958 | 2604261.624 | 1167580.5718 | 2604259.3738 | 1167580.448 | 2604252.706 | 1167582.1997 | 2604244.154 | 1167585.7956 | 2604237.2809 | 1167585.6908 | 2604229.3159 | 1167581.661 | 2604222.5063 | 1167578.2101 | 2604219.5472 | 1167576.5001
77 | 2604277.9078 | 1167596.8469 | 2604270.1159 | 1167586.2028 | 2604264.0502 | 1167580.6958
78 | 2604597.8655 | 1167433.965 | 2604603.5058 | 1167435.0364 | 2604617.6631 | 1167438.8157 | 2604632.0713 | 1167444.7296 | 2604640.6828 | 1167449.5209
79 | 2604597.8655 | 1167433.965 | 2604597.2405 | 1167440.5345 | 2604599.7416 | 1167442.9375 | 2604607.1401 | 1167446.934 | 2604609.3426 | 1167449.4369 | 2604609.1405 | 1167453.6389 | 2604605.6418 | 1167454.6367 | 2604603.2846 | 1167457.4269
80 | 2604657.7342 | 1167458.7595 | 2604645.3762 | 1167452.1323 | 2604640.6828 | 1167449.5209
81 | 2604591.0438 | 1167487.242 | 2604589.3403 | 1167482.7384 | 2604588.5394 | 1167479.136 | 2604588.7412 | 1167475.4343 | 2604589.6393 | 1167471.9444 | 2604591.3406 | 1167469.1443 | 2604599.1376 | 1167462.3356 | 2604603.2846 | 1167457.4269
82 | 2604657.7342 | 1167458.7595 | 2604668.6887 | 1167464.6341 | 2604676.3847 | 1167469.0419
83 | 2603983.6305 | 1167630.5758 | 2603986.0286 | 1167626.7755 | 2603988.7716 | 1167622.4307 | 2603992.5955 | 1167615.2741
84 | 2603992.5955 | 1167615.2741 | 2604010.0249 | 1167613.0288 | 2604023.3206 | 1167611.7814 | 2604084.1491 | 1167607.5196 | 2604086.9036 | 1167607.2529
85 | 2604676.3847 | 1167469.0419 | 2604683.8678 | 1167473.3278 | 2604689.0779 | 1167476.3111 | 2604692.8025 | 1167478.2585
86 | 2604715.3135 | 1167489.5602 | 2604712.0693 | 1167488.0458 | 2604706.767 | 1167485.5627 | 2604703.5995 | 1167483.9038 | 2604692.8025 | 1167478.2585
87 | 2604715.3135 | 1167489.5602 | 2604714.3225 | 1167494.195 | 2604706.2122 | 1167510.1856 | 2604692.238 | 1167527.3612 | 2604679.2912 | 1167542.292 | 2604661.4143 | 1167558.6532 | 2604647.0412 | 1167567.2354
88 | 2604715.3135 | 1167489.5602 | 2604719.5727 | 1167485.0279 | 2604727.4685 | 1167479.2644 | 2604732.3082 | 1167476.2334 | 2604732.4577 | 1167475.9558
89 | 2603983.6305 | 1167630.5758 | 2604000.0253 | 1167630.2419 | 2604043.7336 | 1167634.873 | 2604061.6022 | 1167639.754 | 2604069.5503 | 1167646.1069
90 | 2604086.9036 | 1167607.2529 | 2604118.4715 | 1167604.1965 | 2604125.9502 | 1167603.0121 | 2604123.8112 | 1167588.9049
91 | 2604501.2673 | 1167240.8745 | 2604497.4233 | 1167242.9616 | 2604493.6174 | 1167245.2266 | 2604478.3175 | 1167254.0086 | 2604476.6379 | 1167255.1658
92 | 2604457.7951 | 1167182.1578 | 2604501.2673 | 1167240.8745
93 | 2604457.7951 | 1167182.1578 | 2604458.6748 | 1167161.8927 | 2604460.6969 | 1167160.16 | 2604461.3193 | 1167156.8811 | 2604476.251 | 1167157.7009
94 | 2604425.0347 | 1167117.8685 | 2604425.0347 | 1167117.8685 | 2604439.2007 | 1167121.3584 | 2604443.3748 | 1167124.0241
95 | 2604414.8349 | 1167081.0206 | 2604417.4527 | 1167091.6722 | 2604420.2934 | 1167100.99 | 2604422.5838 | 1167109.2736 | 2604425.0347 | 1167117.8685
96 | 2604464.8157 | 1167138.2521 | 2604461.9776 | 1167135.9044 | 2604443.3748 | 1167124.0241
97 | 2604414.8349 | 1167081.0206 | 2604401.8642 | 1167086.2694 | 2604343.0037 | 1167100.5441
98 | 2604464.8157 | 1167138.2521 | 2604463.208 | 1167138.5622 | 2604458.8972 | 1167140.4044 | 2604456.4298 | 1167144.0822 | 2604455.1951 | 1167147.1606 | 2604454.7793 | 1167150.6398 | 2604454.5699 | 1167154.3193 | 2604452.722 | 1167158.6201 | 2604450.4619 | 1167161.4754 | 2604447.3833 | 1167163.5186 | 2604443.8912 | 1167165.7728 | 2604438.9605 | 1167167.4033 | 2604434.6505 | 1167168.2228 | 2604429.7205 | 1167168.8307 | 2604424.9973 | 1167169.4387 | 2604420.4797 | 1167171.4808 | 2604417.7064 | 1167174.7583
99 | 2604464.8157 | 1167138.2521 | 2604468.345 | 1167137.5432 | 2604473.2674 | 1167136.7353 | 2604478.6112 | 1167135.5053
100 | 2604343.0037 | 1167100.5441 | 2604099.9037 | 1167181.4066
101 | 2604478.6112 | 1167135.5053 | 2604478.7894 | 1167122.0988 | 2604477.7872 | 1167090.171 | 2604477.6201 | 1167077.9537 | 2604480.6815 | 1167078.4451 | 2604489.5751 | 1167079.8745 | 2604496.8602 | 1167082.748
102 | 2604478.6112 | 1167135.5053 | 2604481.6818 | 1167144.3119 | 2604481.2656 | 1167148.2025 | 2604476.5052 | 1167157.7148 | 2604476.251 | 1167157.7009
103 | 2604084.0745 | 1167192.4682 | 2604092.0153 | 1167187.7378 | 2604099.9037 | 1167181.4066
104 | 2604496.8602 | 1167082.748 | 2604490.3513 | 1167034.0967 | 2604490.1098 | 1167031.1109
105 | 2604489.7748 | 1167026.9705 | 2604490.1098 | 1167031.1109
106 | 2604488.1476 | 1167001.7346 | 2604489.7748 | 1167026.9705
107 | 2604488.1476 | 1167001.7346 | 2604484.3117 | 1166980.3808
108 | 2604488.1476 | 1167001.7346 | 2604495.335 | 1167002.2846 | 2604497.7998 | 1167002.2086 | 2604501.9105 | 1167002.0893 | 2604506.2192 | 1167003.3153 | 2604509.7423 | 1167006.5201
109 | 2604527.0716 | 1167022.5626 | 2604537.0633 | 1167022.5933
110 | 2604527.0716 | 1167022.5626 | 2604524.0433 | 1167019.2907
111 | 2604547.157 | 1167022.5614 | 2604541.4011 | 1167022.6066 | 2604537.0633 | 1167022.5933
112 | 2604509.7423 | 1167006.5201 | 2604510.7324 | 1167007.4207 | 2604523.8592 | 1167019.0918 | 2604524.0433 | 1167019.2907
113 | 2604733.1379 | 1167089.8156 | 2604733.3969 | 1167094.0245
114 | 2604732.5922 | 1167080.9477 | 2604733.1379 | 1167089.8156
115 | 2604733.6923 | 1167115.3577 | 2604733.3877 | 1167111.2412 | 2604733.827 | 1167107.4618 | 2604733.8017 | 1167100.6028 | 2604733.3969 | 1167094.0245
116 | 2604600.9947 | 1167022.1892 | 2604732.5922 | 1167080.9477
117 | 2604739.9685 | 1167133.6574 | 2604737.6828 | 1167129.7982 | 2604734.4581 | 1167122.7811 | 2604733.8195 | 1167117.0777 | 2604733.6923 | 1167115.3577
118 | 2604600.9947 | 1167022.1892 | 2604599.6228 | 1167022.15 | 2604562.963 | 1167022.4375
119 | 2604739.9685 | 1167133.6574 | 2604744.4844 | 1167134.0723 | 2604749.6206 | 1167134.0763 | 2604759.8864 | 1167132.6502 | 2604766.8696 | 1167129.7876 | 2604772.2128 | 1167119.5645
120 | 2604739.9685 | 1167133.6574 | 2604725.1786 | 1167145.3184 | 2604699.4707 | 1167160.5395
121 | 2604547.157 | 1167022.5614 | 2604562.963 | 1167022.4375
122 | 2603987.7422 | 1167251.0393 | 2603990.5299 | 1167238.7295 | 2603995.8336 | 1167228.1944 | 2603999.7863 | 1167220.4753
123 | 2604013.5364 | 1167196.0677 | 2604011.4524 | 1167199.1346 | 2604007.1366 | 1167208.7587 | 2604000.1869 | 1167219.693 | 2603999.7863 | 1167220.4753
124 | 2604013.5364 | 1167196.0677 | 2604024.8634 | 1167198.443 | 2604036.1021 | 1167199.5666
125 | 2604036.1021 | 1167199.5666 | 2604037.9593 | 1167199.7523 | 2604054.1886 | 1167198.7541
126 | 2604317.2013 | 1167848.1999 | 2604408.0225 | 1167769.2698
127 | 2604084.0745 | 1167192.4682 | 2604074.0605 | 1167195.4297 | 2604066.3056 | 1167196.8141 | 2604055.8408 | 1167198.6525 | 2604054.1886 | 1167198.7541
128 | 2604079.7906 | 1167224.9874 | 2604081.4761 | 1167214.6041
129 | 2604078.6133 | 1167232.2399 | 2604079.7906 | 1167224.9874
130 | 2604084.0745 | 1167192.4682 | 2604083.7629 | 1167200.5165 | 2604081.4761 | 1167214.6041
131 | 2604200.405 | 1167850.1214 | 2604181.7296 | 1168017.5991
132 | 2604200.405 | 1167850.1214 | 2604317.2013 | 1167848.1999
133 | 2604317.2013 | 1167848.1999 | 2604412.3102 | 1167923.1253
134 | 2604412.3102 | 1167923.1253 | 2604416.5495 | 1167916.2049 | 2604429.093 | 1167917.0366 | 2604446.9775 | 1167909.0567
135 | 2604395.2418 | 1168057.6159 | 2604412.3102 | 1167923.1253
136 | 2604412.4643 | 1168065.6553 | 2604408.8766 | 1168059.5041 | 2604400.2454 | 1168057.0745 | 2604395.2418 | 1168057.6159
137 | 2604387.6811 | 1168058.1516 | 2604388.9176 | 1168058.3003 | 2604395.2418 | 1168057.6159
138 | 2604381.7547 | 1168057.4391 | 2604348.2592 | 1168065.636
139 | 2604381.7547 | 1168057.4391 | 2604387.6811 | 1168058.1516

## bus_geodata
| x | y | coords
0 | 2604362.4705 | 1167511.7179
1 | 2604364.757 | 1167491.8129
2 | 2604361.7905 | 1167485.2506
3 | 2604357.6076 | 1167469.084
4 | 2604346.7919 | 1167492.007
5 | 2604349.9809 | 1167452.84
6 | 2604325.9302 | 1167414.1162
7 | 2604231.3037 | 1167297.6986
8 | 2604376.9265 | 1167459.4692
9 | 2604386.5264 | 1167456.176
10 | 2604297.1636 | 1167479.4129
11 | 2604293.4739 | 1167469.1163
12 | 2604324.8867 | 1167468.5271
13 | 2604303.805 | 1167493.6247
14 | 2604254.6672 | 1167518.2102
15 | 2604310.3782 | 1167506.747
16 | 2604421.9214 | 1167406.2588
17 | 2604421.0085 | 1167380.3032
18 | 2604422.0769 | 1167438.9486
19 | 2604434.1 | 1167432.3636
20 | 2604461.8958 | 1167417.1398
21 | 2604704.6125 | 1167375.6411
22 | 2604716.021 | 1167375.4038
23 | 2604671.9675 | 1167371.0344
24 | 2604729.2331 | 1167372.0007
25 | 2604663.4298 | 1167370.7786
26 | 2604640.3649 | 1167371.0649
27 | 2604109.8237 | 1167215.6748
28 | 2604609.146 | 1167375.0271
29 | 2604596.7678 | 1167376.8329
30 | 2604588.021 | 1167378.1105
31 | 2604238.4287 | 1167526.9009
32 | 2604517.9658 | 1167635.4819
33 | 2604543.7822 | 1167658.781
34 | 2604503.9239 | 1167623.6673
35 | 2604526.2501 | 1167665.1711
36 | 2604484.8022 | 1167637.1043
37 | 2604516.6346 | 1167605.3298
38 | 2604455.1392 | 1167621.9751
39 | 2604521.0865 | 1167713.0579
40 | 2604537.3896 | 1167599.2799
41 | 2604463.0414 | 1167638.3223
42 | 2604441.1845 | 1167624.1771
43 | 2604234.0519 | 1167529.1047
44 | 2604226.2424 | 1167532.5677
45 | 2604240.791 | 1167543.633
46 | 2604514.7785 | 1167391.7822
47 | 2604528.9094 | 1167387.2014
48 | 2604474.9677 | 1167409.9803
49 | 2604549.777 | 1167383.3525
50 | 2604571.9843 | 1167380.4987
51 | 2604551.8379 | 1167432.6741
52 | 2604203.0436 | 1167542.5415
53 | 2604216.3738 | 1167505.6742
54 | 2604136.2558 | 1167557.6408
55 | 2604110.015 | 1167558.4513
56 | 2604182.1965 | 1167550.5464
57 | 2604087.4434 | 1167557.4048
58 | 2604190.2225 | 1167547.4646
59 | 2604191.6317 | 1167564.8489
60 | 2604044.2489 | 1167550.1978
61 | 2604199.5852 | 1167543.8695
62 | 2604198.4844 | 1167567.7648
63 | 2604198.9318 | 1167492.3625
64 | 2604185.0528 | 1167498.7843
65 | 2604210.6437 | 1167487.9347
66 | 2604173.882 | 1167509.0867
67 | 2604398.162 | 1167624.6589
68 | 2604369.9214 | 1167615.7702
69 | 2604305.9039 | 1167589.1021
70 | 2604451.8321 | 1167598.6279
71 | 2604264.0502 | 1167580.6958
72 | 2604452.6187 | 1167595.2183
73 | 2604597.8655 | 1167433.965
74 | 2604640.6828 | 1167449.5209
75 | 2604603.2846 | 1167457.4269
76 | 2604657.7342 | 1167458.7595
77 | 2604591.0438 | 1167487.242
78 | 2603992.5955 | 1167615.2741
79 | 2604219.5472 | 1167576.5001
80 | 2604277.9078 | 1167596.8469
81 | 2604676.3847 | 1167469.0419
82 | 2604692.8025 | 1167478.2585
83 | 2604715.3135 | 1167489.5602
84 | 2604647.0412 | 1167567.2354
85 | 2604732.4577 | 1167475.9558
86 | 2603983.6305 | 1167630.5758
87 | 2604086.9036 | 1167607.2529
88 | 2604476.6379 | 1167255.1658
89 | 2604501.2673 | 1167240.8745
90 | 2604457.7951 | 1167182.1578
91 | 2604425.0347 | 1167117.8685
92 | 2604443.3748 | 1167124.0241
93 | 2604414.8349 | 1167081.0206
94 | 2604464.8157 | 1167138.2521
95 | 2604343.0037 | 1167100.5441
96 | 2604417.7064 | 1167174.7583
97 | 2604478.6112 | 1167135.5053
98 | 2604099.9037 | 1167181.4066
99 | 2604496.8602 | 1167082.748
100 | 2604490.1098 | 1167031.1109
101 | 2604476.251 | 1167157.7009
102 | 2604489.7748 | 1167026.9705
103 | 2604488.1476 | 1167001.7346
104 | 2604527.0716 | 1167022.5626
105 | 2604537.0633 | 1167022.5933
106 | 2604524.0433 | 1167019.2907
107 | 2604484.3117 | 1166980.3808
108 | 2604509.7423 | 1167006.5201
109 | 2604733.1379 | 1167089.8156
110 | 2604733.3969 | 1167094.0245
111 | 2604732.5922 | 1167080.9477
112 | 2604733.6923 | 1167115.3577
113 | 2604600.9947 | 1167022.1892
114 | 2604739.9685 | 1167133.6574
115 | 2604547.157 | 1167022.5614
116 | 2604562.963 | 1167022.4375
117 | 2604772.2128 | 1167119.5645
118 | 2604699.4707 | 1167160.5395
119 | 2603987.7422 | 1167251.0393
120 | 2603999.7863 | 1167220.4753
121 | 2604013.5364 | 1167196.0677
122 | 2604036.1021 | 1167199.5666
123 | 2604408.0225 | 1167769.2698
124 | 2604054.1886 | 1167198.7541
125 | 2604079.7906 | 1167224.9874
126 | 2604081.4761 | 1167214.6041
127 | 2604078.6133 | 1167232.2399
128 | 2604084.0745 | 1167192.4682
129 | 2604200.405 | 1167850.1214
130 | 2604181.7296 | 1168017.5991
131 | 2604317.2013 | 1167848.1999
132 | 2604412.3102 | 1167923.1253
133 | 2604446.9775 | 1167909.0567
134 | 2604395.2418 | 1168057.6159
135 | 2604348.2592 | 1168065.636
136 | 2604381.7547 | 1168057.4391
137 | 2604387.6811 | 1168058.1516
138 | 2604412.4643 | 1168065.6553
139 | 2604123.8112 | 1167588.9049
140 | 2604069.5503 | 1167646.1069
141 | 2604264.0502 | 1167580.6958

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1