## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_762-11_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_762-11_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_762-11_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_762-11_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_762-11_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_762-11_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_762-11_0_2_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_762-11_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_762-11_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_762-11_0_2_node_89 | 0.4 | n |  | TRUE
10 | bus_LV_762-11_0_2_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_762-11_0_2_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_762-11_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_762-11_0_2_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_762-11_0_2_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_762-11_0_2_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_762-11_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_762-11_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_762-11_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_762-11_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_762-11_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_762-11_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_762-11_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_762-11_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_762-11_0_2_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_762-11_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_762-11_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_762-11_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_762-11_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_762-11_0_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_762-11_0_2_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_762-11_0_2_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_762-11_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_762-11_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_762-11_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_762-11_0_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_762-11_0_2_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_762-11_0_2_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_762-11_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_762-11_0_2_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_762-11_0_2_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_762-11_0_2_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_762-11_0_2_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_762-11_0_2_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_762-11_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_762-11_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_762-11_0_2_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_762-11_0_2_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_762-11_0_2_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_762-11_0_2_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_762-11_0_2_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_762-11_0_2_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_762-11_0_2_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_762-11_0_2_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_762-11_0_2_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_762-11_0_2_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_762-11_0_2_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_762-11_0_2_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_762-11_0_2_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_762-11_0_2_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_762-11_0_2_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_762-11_0_2_node_94 | 0.4 | n |  | TRUE
62 | bus_LV_762-11_0_2_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_762-11_0_2_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_762-11_0_2_node_96 | 0.4 | n |  | TRUE
65 | bus_LV_762-11_0_2_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_762-11_0_2_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_762-11_0_2_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_762-11_0_2_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_762-11_0_2_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_762-11_0_2_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_762-11_0_2_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_762-11_0_2_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_762-11_0_2_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_762-11_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_762-11_0_2_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_762-11_0_2_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_762-11_0_2_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_762-11_0_2_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_762-11_0_2_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_762-11_0_2_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_762-11_0_2_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_762-11_0_2_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_762-11_0_2_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_762-11_0_2_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_762-11_0_2_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_762-11_0_2_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_762-11_0_2_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_762-11_0_2_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_762-11_0_2_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_762-11_0_2_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_762-11_0_2_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_762-11_0_2_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_762-11_0_2_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_762-11_0_2_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_762-11_0_2_node_88 | 0.4 | n |  | TRUE
96 | bus_MV_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_762-11_0_2_load_0 | 0 | 0.0017002 | 0.00042612 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_762-11_0_2_load_1 | 1 | 0.0011951 | 0.00029953 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_762-11_0_2_load_3 | 3 | 0.0017691 | 0.00044338 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_762-11_0_2_load_5 | 5 | 0.00036893 | 9.2463e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_762-11_0_2_load_67 | 6 | 0.0016531 | 0.0004143 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_762-11_0_2_load_8 | 7 | 0.00090354 | 0.00022645 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_762-11_0_2_load_6 | 8 | 0.0018752 | 0.00046998 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_762-11_0_2_load_66 | 10 | 0.0011251 | 0.00028196 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_762-11_0_2_load_61 | 11 | 0.0012713 | 0.00031863 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_762-11_0_2_load_7 | 12 | 0.0012888 | 0.000323 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_762-11_0_2_load_90 | 13 | 0.00041844 | 0.00010487 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_762-11_0_2_load_87 | 14 | 0.0014474 | 0.00036275 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_762-11_0_2_load_9 | 16 | 0.0001419 | 3.5564e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_762-11_0_2_load_10 | 17 | 0.0001761 | 4.4135e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_762-11_0_2_load_11 | 18 | 0.00048307 | 0.00012107 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_762-11_0_2_load_12 | 19 | 0.00025203 | 6.3165e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_762-11_0_2_load_13 | 20 | 0.00044388 | 0.00011125 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_762-11_0_2_load_41 | 24 | 0.00019252 | 4.8251e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_762-11_0_2_load_20 | 26 | 0.00029735 | 7.4524e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_762-11_0_2_load_17 | 27 | 0.00054308 | 0.00013611 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_762-11_0_2_load_18 | 28 | 0.00026075 | 6.535e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_762-11_0_2_load_42 | 29 | 0.00057678 | 0.00014456 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_762-11_0_2_load_38 | 30 | 0.00011259 | 2.8218e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_762-11_0_2_load_21 | 32 | 0.00014316 | 3.5878e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_762-11_0_2_load_22 | 33 | 0.00066072 | 0.00016559 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_762-11_0_2_load_24 | 35 | 0.00038567 | 9.6659e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_762-11_0_2_load_25 | 36 | 0.00050805 | 0.00012733 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_762-11_0_2_load_30 | 38 | 0.00026587 | 6.6632e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_762-11_0_2_load_26 | 40 | 0.00012628 | 3.165e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_762-11_0_2_load_27 | 41 | 0.00016929 | 4.2429e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_762-11_0_2_load_28 | 42 | 0.00087116 | 0.00021833 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_762-11_0_2_load_29 | 43 | 0.00016175 | 4.0538e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_762-11_0_2_load_37 | 45 | 0.00012495 | 3.1315e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_762-11_0_2_load_32 | 46 | 0.00023452 | 5.8776e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_762-11_0_2_load_43 | 47 | 0.0001932 | 4.8419e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_762-11_0_2_load_46 | 49 | 0.00035897 | 8.9966e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_762-11_0_2_load_97 | 50 | 0.00061926 | 0.0001552 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_762-11_0_2_load_49 | 52 | 0.00014432 | 3.6171e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_762-11_0_2_load_48 | 53 | 0.00017926 | 4.4926e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_762-11_0_2_load_100 | 56 | 0.00021342 | 5.3489e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_762-11_0_2_load_40 | 57 | 0.00030772 | 7.7123e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_762-11_0_2_load_95 | 58 | 7.8894e-05 | 1.9773e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_762-11_0_2_load_93 | 59 | 0.00013447 | 3.3702e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_762-11_0_2_load_82 | 60 | 0.0010913 | 0.00027351 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_762-11_0_2_load_83 | 62 | 0.00087035 | 0.00021813 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_762-11_0_2_load_92 | 63 | 0.00028497 | 7.1421e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_762-11_0_2_load_96 | 64 | 0.00047758 | 0.00011969 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_762-11_0_2_load_50 | 65 | 0.00010851 | 2.7194e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_762-11_0_2_load_51 | 66 | 0.00064351 | 0.00016128 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_762-11_0_2_load_53 | 67 | 0.00019406 | 4.8636e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_762-11_0_2_load_52 | 68 | 0.00042061 | 0.00010542 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_762-11_0_2_load_55 | 69 | 0.00024697 | 6.1895e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_762-11_0_2_load_56 | 71 | 0.00098517 | 0.00024691 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_762-11_0_2_load_59 | 73 | 0.0020751 | 0.00052006 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_762-11_0_2_load_60 | 74 | 0.00039402 | 9.875e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_762-11_0_2_load_62 | 75 | 0.00045882 | 0.00011499 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_762-11_0_2_load_63 | 76 | 0.00064243 | 0.00016101 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_762-11_0_2_load_65 | 77 | 0.0011298 | 0.00028316 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_762-11_0_2_load_69 | 78 | 0.00010978 | 2.7514e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_762-11_0_2_load_70 | 79 | 0.00011919 | 2.9873e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_762-11_0_2_load_71 | 80 | 0.00017948 | 4.4983e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_762-11_0_2_load_98 | 81 | 0.00013494 | 3.3819e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_762-11_0_2_load_72 | 82 | 0.00034414 | 8.625e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_762-11_0_2_load_75 | 83 | 0.00046075 | 0.00011547 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_762-11_0_2_load_76 | 84 | 0.00020948 | 5.2502e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_762-11_0_2_load_74 | 87 | 0.0001923 | 4.8194e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_762-11_0_2_load_78 | 88 | 0.00017054 | 4.2742e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_762-11_0_2_load_79 | 89 | 0.00022021 | 5.519e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_762-11_0_2_load_80 | 90 | 7.6457e-05 | 1.9162e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_762-11_0_2_load_81 | 91 | 8.9739e-05 | 2.2491e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_762-11_0_2_load_84 | 92 | 0.00043738 | 0.00010962 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_762-11_0_2_load_85 | 93 | 0.00044223 | 0.00011083 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_762-11_0_2_load_86 | 94 | 0.0021022 | 0.00052685 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_762-11_0_2_load_88 | 95 | 0.0013569 | 0.00034007 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_762-11_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.14267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_762-11_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_762-11_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.037282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_762-11_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.05152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_762-11_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.032471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_762-11_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.06981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_762-11_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.046697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_762-11_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.035998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_762-11_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.19718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_762-11_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.060532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_762-11_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.086504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_762-11_0_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.053382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_762-11_0_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.011744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_762-11_0_2_line_13 | NAYY 4x150 SE | 9 | 14 | 0.015403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_762-11_0_2_line_14 | NAYY 4x150 SE | 10 | 70 | 0.13927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_762-11_0_2_line_15 | NAYY 4x150 SE | 11 | 15 | 0.1016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_762-11_0_2_line_16 | NAYY 4x150 SE | 13 | 93 | 0.019487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_762-11_0_2_line_17 | NAYY 4x150 SE | 14 | 94 | 0.025505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_762-11_0_2_line_18 | NAYY 4x150 SE | 15 | 75 | 0.029178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_762-11_0_2_line_19 | NAYY 4x150 SE | 15 | 71 | 0.016806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_762-11_0_2_line_20 | NAYY 4x150 SE | 16 | 17 | 0.075787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_762-11_0_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.011889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_762-11_0_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.0077754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_762-11_0_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.016326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_762-11_0_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.0044508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_762-11_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.033294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_762-11_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.047434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_762-11_0_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.051253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_762-11_0_2_line_28 | NAYY 4x150 SE | 23 | 28 | 0.008512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_762-11_0_2_line_29 | NAYY 4x150 SE | 24 | 29 | 0.020315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_762-11_0_2_line_30 | NAYY 4x150 SE | 25 | 26 | 0.0021231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_762-11_0_2_line_31 | NAYY 4x150 SE | 25 | 27 | 0.044658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_762-11_0_2_line_32 | NAYY 4x150 SE | 26 | 30 | 0.065488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_762-11_0_2_line_33 | NAYY 4x150 SE | 27 | 28 | 0.010152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_762-11_0_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.0045208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_762-11_0_2_line_35 | NAYY 4x150 SE | 31 | 37 | 0.0354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_762-11_0_2_line_36 | NAYY 4x150 SE | 31 | 54 | 0.04871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_762-11_0_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.0017232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_762-11_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.19779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_762-11_0_2_line_39 | NAYY 4x150 SE | 33 | 35 | 0.2199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_762-11_0_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.051079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_762-11_0_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.062413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_762-11_0_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.084735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_762-11_0_2_line_43 | NAYY 4x150 SE | 38 | 39 | 0.028108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_762-11_0_2_line_44 | NAYY 4x150 SE | 39 | 47 | 0.10689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_762-11_0_2_line_45 | NAYY 4x150 SE | 39 | 48 | 0.15106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_762-11_0_2_line_46 | NAYY 4x150 SE | 40 | 41 | 0.0029119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_762-11_0_2_line_47 | NAYY 4x150 SE | 40 | 42 | 0.028779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_762-11_0_2_line_48 | NAYY 4x150 SE | 42 | 43 | 0.05385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_762-11_0_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.020722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_762-11_0_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.017229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_762-11_0_2_line_51 | NAYY 4x150 SE | 44 | 46 | 0.11303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_762-11_0_2_line_52 | NAYY 4x150 SE | 45 | 57 | 0.05699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_762-11_0_2_line_53 | NAYY 4x150 SE | 46 | 54 | 0.11407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_762-11_0_2_line_54 | NAYY 4x150 SE | 48 | 49 | 0.021119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_762-11_0_2_line_55 | NAYY 4x150 SE | 48 | 50 | 0.10898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_762-11_0_2_line_56 | NAYY 4x150 SE | 50 | 58 | 0.029301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_762-11_0_2_line_57 | NAYY 4x150 SE | 51 | 52 | 0.12142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_762-11_0_2_line_58 | NAYY 4x150 SE | 51 | 53 | 0.17742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_762-11_0_2_line_59 | NAYY 4x150 SE | 52 | 60 | 0.16871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_762-11_0_2_line_60 | NAYY 4x150 SE | 52 | 61 | 0.081417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_762-11_0_2_line_61 | NAYY 4x150 SE | 54 | 55 | 0.041853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_762-11_0_2_line_62 | NAYY 4x150 SE | 55 | 56 | 0.023525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_762-11_0_2_line_63 | NAYY 4x150 SE | 58 | 59 | 0.097631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_762-11_0_2_line_64 | NAYY 4x150 SE | 59 | 63 | 0.16518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_762-11_0_2_line_65 | NAYY 4x150 SE | 59 | 91 | 0.14909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_762-11_0_2_line_66 | NAYY 4x150 SE | 60 | 62 | 0.031234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_762-11_0_2_line_67 | NAYY 4x150 SE | 61 | 64 | 0.015308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_762-11_0_2_line_68 | NAYY 4x150 SE | 61 | 63 | 0.064056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_762-11_0_2_line_69 | NAYY 4x150 SE | 62 | 92 | 6.8041e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_762-11_0_2_line_70 | NAYY 4x150 SE | 65 | 66 | 0.0027508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_762-11_0_2_line_71 | NAYY 4x150 SE | 65 | 67 | 0.5467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_762-11_0_2_line_72 | NAYY 4x150 SE | 66 | 68 | 0.48239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_762-11_0_2_line_73 | NAYY 4x150 SE | 68 | 69 | 1.3779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_762-11_0_2_line_74 | NAYY 4x150 SE | 69 | 70 | 1.4159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_762-11_0_2_line_75 | NAYY 4x150 SE | 71 | 72 | 0.027514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_762-11_0_2_line_76 | NAYY 4x150 SE | 72 | 73 | 0.038951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_762-11_0_2_line_77 | NAYY 4x150 SE | 72 | 74 | 0.18311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_762-11_0_2_line_78 | NAYY 4x150 SE | 73 | 76 | 0.038846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_762-11_0_2_line_79 | NAYY 4x150 SE | 75 | 77 | 0.015671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_762-11_0_2_line_80 | NAYY 4x150 SE | 78 | 79 | 0.037926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_762-11_0_2_line_81 | NAYY 4x150 SE | 78 | 80 | 0.020232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_762-11_0_2_line_82 | NAYY 4x150 SE | 79 | 81 | 0.20417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_762-11_0_2_line_83 | NAYY 4x150 SE | 80 | 82 | 0.025691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_762-11_0_2_line_84 | NAYY 4x150 SE | 81 | 86 | 0.037525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_762-11_0_2_line_85 | NAYY 4x150 SE | 81 | 87 | 0.0074298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_762-11_0_2_line_86 | NAYY 4x150 SE | 83 | 84 | 0.048234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_762-11_0_2_line_87 | NAYY 4x150 SE | 83 | 85 | 0.041818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_762-11_0_2_line_88 | NAYY 4x150 SE | 85 | 88 | 0.013239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_762-11_0_2_line_89 | NAYY 4x150 SE | 85 | 89 | 0.079742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_762-11_0_2_line_90 | NAYY 4x150 SE | 86 | 89 | 0.023334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_762-11_0_2_line_91 | NAYY 4x150 SE | 88 | 90 | 0.013533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_762-11_0_2_line_92 | NAYY 4x150 SE | 90 | 91 | 0.091602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_762-11_0_2_line_93 | NAYY 4x150 SE | 92 | 93 | 0.00080929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_762-11_0_2_line_94 | NAYY 4x150 SE | 94 | 95 | 0.032213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_762-11_0_2_trafo_7 | 0.25 MVA 20/0.4 kV | 96 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2605866.3021 | 1161733.1434 | 2605834.7674 | 1161697.1314 | 2605819.7331 | 1161683.7326 | 2605806.6314 | 1161676.3831 | 2605792.4696 | 1161671.9008 | 2605782.0277 | 1161671.1016 | 2605747.979 | 1161675.3807
1 | 2605880.7424 | 1161746.1555 | 2605867.0938 | 1161734.0474 | 2605866.3021 | 1161733.1434
2 | 2605747.979 | 1161675.3807 | 2605745.9454 | 1161675.6363 | 2605734.1464 | 1161676.0698 | 2605721.9891 | 1161674.4242 | 2605711.1891 | 1161671.6238
3 | 2605880.7424 | 1161746.1555 | 2605866.5263 | 1161766.3851 | 2605853.0123 | 1161789.5614
4 | 2605880.7424 | 1161746.1555 | 2605902.1925 | 1161755.9367 | 2605910.7781 | 1161758.2647
5 | 2605711.1891 | 1161671.6238 | 2605711.1891 | 1161671.6238 | 2605696.2104 | 1161663.8726 | 2605652.0267 | 1161634.7021
6 | 2605853.0123 | 1161789.5614 | 2605848.4932 | 1161796.4382 | 2605843.8305 | 1161801.2472 | 2605838.4267 | 1161803.9211 | 2605831.002 | 1161804.8033 | 2605821.9173 | 1161803.1271 | 2605813.3623 | 1161800.2508
7 | 2605853.0123 | 1161789.5614 | 2605885.5741 | 1161804.9095
8 | 2606104.6092 | 1161791.1316 | 2606084.3402 | 1161788.221 | 2606033.5899 | 1161774.3747 | 2605931.7346 | 1161763.9471 | 2605910.7781 | 1161758.2647
9 | 2605602.2623 | 1161600.2932 | 2605617.5671 | 1161611.9516 | 2605652.0267 | 1161634.7021
10 | 2605813.3623 | 1161800.2508 | 2605805.0002 | 1161796.063 | 2605796.2479 | 1161791.1522 | 2605741.5951 | 1161752.1965
11 | 2605885.5741 | 1161804.9095 | 2605895.0079 | 1161809.3561 | 2605916.1648 | 1161821.0602 | 2605930.5693 | 1161833.1013
12 | 2606116.2681 | 1161792.7997 | 2606104.6092 | 1161791.1316
13 | 2606104.6092 | 1161791.1316 | 2606102.9736 | 1161802.4467 | 2606101.4504 | 1161806.1132
14 | 2605503.6004 | 1161502.7269 | 2605521.7763 | 1161517.1393 | 2605582.7926 | 1161585.4621 | 2605602.2623 | 1161600.2932
15 | 2605659.1341 | 1161765.2326 | 2605658.0971 | 1161759.9068 | 2605658.7376 | 1161754.9049 | 2605661.1248 | 1161750.1159 | 2605665.4957 | 1161745.9401 | 2605669.9648 | 1161743.2096 | 2605675.5053 | 1161741.814 | 2605686.9065 | 1161740.7575 | 2605707.3702 | 1161740.621 | 2605717.4287 | 1161741.5643 | 2605726.7507 | 1161743.663 | 2605734.1868 | 1161746.916 | 2605741.5951 | 1161752.1965
16 | 2606116.2681 | 1161792.7997 | 2606135.7521 | 1161793.1514
17 | 2606089.1732 | 1161828.4504 | 2606100.5084 | 1161808.3805 | 2606101.4504 | 1161806.1132
18 | 2605659.1341 | 1161765.2326 | 2605651.7479 | 1161765.9039 | 2605648.0476 | 1161765.7003 | 2605631.3809 | 1161758.7572
19 | 2605659.1341 | 1161765.2326 | 2605661.1229 | 1161768.6473 | 2605665.1113 | 1161771.9971 | 2605671.6277 | 1161775.9961
20 | 2605892.4033 | 1162109.1312 | 2605888.0425 | 1162103.4616 | 2605874.7611 | 1162092.7101 | 2605854.2971 | 1162086.4206 | 2605826.9966 | 1162083.1705 | 2605824.5956 | 1162082.0616
21 | 2605899.6521 | 1162118.5553 | 2605892.4033 | 1162109.1312
22 | 2605824.5956 | 1162082.0616 | 2605817.5368 | 1162078.8013
23 | 2605899.6521 | 1162118.5553 | 2605907.0559 | 1162128.1811 | 2605910.1002 | 1162131.0492
24 | 2605913.3398 | 1162134.1013 | 2605910.1002 | 1162131.0492
25 | 2605913.3398 | 1162134.1013 | 2605935.1027 | 1162159.3461
26 | 2605935.1027 | 1162159.3461 | 2605955.1275 | 1162183.5776 | 2605964.4893 | 1162191.0794 | 2605967.206 | 1162194.0947
27 | 2605935.1027 | 1162159.3461 | 2605931.2086 | 1162169.6696 | 2605926.7435 | 1162191.9874 | 2605922.2967 | 1162195.6738 | 2605916.7502 | 1162195.6684 | 2605911.9342 | 1162191.8653
28 | 2605967.206 | 1162194.0947 | 2605973.1172 | 1162189.2537 | 2605973.627 | 1162188.5469
29 | 2605894.1869 | 1162182.1843 | 2605907.8705 | 1162188.6563 | 2605911.9342 | 1162191.8653
30 | 2606002.9717 | 1162142.4932 | 2606004.6669 | 1162143.7715
31 | 2606002.9717 | 1162142.4932 | 2605997.1959 | 1162149.7467 | 2605990.0003 | 1162159.5667 | 2605984.4359 | 1162170.0108 | 2605979.3985 | 1162180.213
32 | 2606022.9136 | 1162204.5262 | 2606022.4887 | 1162184.1554 | 2606017.4798 | 1162167.3199 | 2606009.7771 | 1162147.6247 | 2606004.6669 | 1162143.7715
33 | 2605973.627 | 1162188.5469 | 2605978.8783 | 1162181.2665 | 2605979.3985 | 1162180.213
34 | 2606023.0079 | 1162209.046 | 2606022.9136 | 1162204.5262
35 | 2606023.0079 | 1162209.046 | 2606027.0728 | 1162219.7664 | 2606028.7387 | 1162239.4111 | 2606031.0718 | 1162242.9263
36 | 2606023.0079 | 1162209.046 | 2606022.9932 | 1162223.9089 | 2606019.3703 | 1162254.1536 | 2606019.9493 | 1162257.478
37 | 2606299.9083 | 1162189.9375 | 2606301.6301 | 1162189.8692
38 | 2606463.6509 | 1162236.8567 | 2606460.3751 | 1162226.8261 | 2606450.5144 | 1162220.8682 | 2606439.0168 | 1162212.463 | 2606429.3683 | 1162208.5619 | 2606414.1627 | 1162207.5231 | 2606407.5942 | 1162203.214 | 2606380.6761 | 1162201.3404 | 2606372.8788 | 1162192.7279 | 2606364.0538 | 1162177.7668 | 2606349.886 | 1162173.2498 | 2606341.6678 | 1162171.3958 | 2606329.5373 | 1162174.6626 | 2606319.9805 | 1162178.2322 | 2606320.7955 | 1162182.7352 | 2606317.0911 | 1162186.8334 | 2606306.4166 | 1162189.6793 | 2606301.6301 | 1162189.8692
39 | 2606083.6863 | 1162225.4639 | 2606135.8316 | 1162221.2204 | 2606165.8071 | 1162214.8809 | 2606200.4995 | 1162203.1659 | 2606228.9642 | 1162198.4927 | 2606294.1281 | 1162190.1668 | 2606299.9083 | 1162189.9375
40 | 2606463.6509 | 1162236.8567 | 2606473.919 | 1162241.5811 | 2606482.751 | 1162242.4132 | 2606485.8452 | 1162235.8577 | 2606489.1409 | 1162227.2569 | 2606494.29 | 1162219.0695 | 2606498.6053 | 1162217.0286 | 2606498.6053 | 1162217.0286
41 | 2606031.0718 | 1162242.9263 | 2606032.9459 | 1162245.7518 | 2606037.7003 | 1162248.6468 | 2606045.2303 | 1162249.1546 | 2606054.321 | 1162244.1389 | 2606073.3656 | 1162228.8837 | 2606078.7541 | 1162225.8653 | 2606083.6863 | 1162225.4639
42 | 2606453.4787 | 1162166.1034 | 2606454.267 | 1162171.5144 | 2606475.4136 | 1162190.5797 | 2606488.5515 | 1162198.1752 | 2606496.5679 | 1162202.2858 | 2606502.108 | 1162208.228 | 2606493.2666 | 1162209.0412 | 2606498.6053 | 1162217.0286
43 | 2606458.4131 | 1162141.2038 | 2606455.3142 | 1162152.0503 | 2606452.2334 | 1162153.0698 | 2606454.0758 | 1162156.7625 | 2606453.0425 | 1162163.109 | 2606453.4787 | 1162166.1034
44 | 2606458.4131 | 1162141.2038 | 2606450.8784 | 1162144.9977 | 2606438.0697 | 1162137.4915 | 2606422.6781 | 1162123.7573 | 2606407.6887 | 1162113.7032 | 2606393.7274 | 1162102.0049 | 2606380.9925 | 1162097.078 | 2606368.6532 | 1162101.9786
45 | 2606458.4131 | 1162141.2038 | 2606461.5106 | 1162131.6135 | 2606466.1516 | 1162140.2782 | 2606480.4442 | 1162157.0573 | 2606494.7211 | 1162167.022 | 2606509.637 | 1162173.9747 | 2606529.1976 | 1162178.787 | 2606554.0093 | 1162180.4367 | 2606570.1749 | 1162179.3314 | 2606584.2024 | 1162178.9019
46 | 2606319.9658 | 1162344.8439 | 2606317.0833 | 1162344.4309
47 | 2606289.5295 | 1162336.6619 | 2606306.3954 | 1162342.8996 | 2606317.0833 | 1162344.4309
48 | 2606241.7547 | 1162312.7109 | 2606255.4606 | 1162319.9022 | 2606276.8181 | 1162327.7059 | 2606287.4962 | 1162335.9099 | 2606289.5295 | 1162336.6619
49 | 2606223.7096 | 1162302.5277 | 2606239.0296 | 1162311.2811 | 2606241.7547 | 1162312.7109
50 | 2606223.7096 | 1162302.5277 | 2606220.1125 | 1162306.6372 | 2606208.6113 | 1162309.1266 | 2606208.6113 | 1162309.1266
51 | 2606223.7096 | 1162302.5277 | 2606221.7375 | 1162298.2236 | 2606197.8701 | 1162279.9346 | 2606186.5651 | 1162270.2627 | 2606176.152 | 1162264.8828 | 2606163.5838 | 1162261.8241 | 2606146.6994 | 1162261.9848 | 2606125.7115 | 1162267.9096
52 | 2606208.6113 | 1162309.1266 | 2606182.533 | 1162310.4118 | 2606169.8083 | 1162310.7546 | 2606154.1213 | 1162316.297 | 2606152.6506 | 1162316.6552
53 | 2606019.9493 | 1162257.478 | 2606023.332 | 1162260.8164 | 2606026.4115 | 1162260.8861 | 2606029.9602 | 1162259.1777 | 2606036.7871 | 1162257.9394 | 2606043.61 | 1162260.8032 | 2606059.0433 | 1162271.5683 | 2606074.4814 | 1162277.4866 | 2606090.469 | 1162277.8583 | 2606125.7115 | 1162267.9096
54 | 2606584.2024 | 1162178.9019 | 2606601.2105 | 1162185.0012 | 2606603.6084 | 1162186.8869
55 | 2606584.2024 | 1162178.9019 | 2606587.4773 | 1162069.9756
56 | 2606585.051 | 1162040.9115 | 2606586.4005 | 1162045.2381 | 2606587.3197 | 1162059.4462 | 2606587.4773 | 1162069.9756
57 | 2606344.2492 | 1162017.6335 | 2606329.0415 | 1162010.8365 | 2606309.224 | 1162001.8003 | 2606299.042 | 1161994.8641 | 2606292.3552 | 1161986.1862 | 2606286.543 | 1161976.342 | 2606266.2936 | 1161932.5155
58 | 2606344.2492 | 1162017.6335 | 2606341.5837 | 1162024.523 | 2606340.7224 | 1162034.9162 | 2606342.6241 | 1162047.9579 | 2606345.0615 | 1162054.108 | 2606346.5484 | 1162060.7906 | 2606344.8353 | 1162065.3466 | 2606340.1511 | 1162068.5322 | 2606319.9346 | 1162075.0811 | 2606299.7135 | 1162086.0877 | 2606276.5065 | 1162102.8165 | 2606260.8597 | 1162113.2944 | 2606235.2154 | 1162123.8733 | 2606232.5224 | 1162125.1493
59 | 2606266.2936 | 1161932.5155 | 2606238.0181 | 1161871.3178 | 2606220.5983 | 1161846.9991 | 2606191.2562 | 1161816.3539 | 2606166.3993 | 1161801.5057
60 | 2606266.2936 | 1161932.5155 | 2606315.5459 | 1161867.685
61 | 2606019.9493 | 1162257.478 | 2606013.5342 | 1162260.4954 | 2605997.0821 | 1162265.0703 | 2605980.8724 | 1162272.4024
62 | 2605980.8724 | 1162272.4024 | 2605982.9738 | 1162277.7738 | 2605987.6885 | 1162282.1806 | 2605998.0489 | 1162286.7931
63 | 2606585.051 | 1162040.9115 | 2606582.3007 | 1162032.0939 | 2606570.9327 | 1162017.1075 | 2606537.2759 | 1161990.2912 | 2606524.1605 | 1161982.7401 | 2606513.2303 | 1161979.4424
64 | 2606366.1373 | 1161906.935 | 2606406.245 | 1161935.2911 | 2606436.8642 | 1161952.0873 | 2606471.4248 | 1161965.3195 | 2606510.5895 | 1161978.6457 | 2606513.2303 | 1161979.4424
65 | 2606639.665 | 1161900.4356 | 2606513.2303 | 1161979.4424
66 | 2606136.6293 | 1161793.1672 | 2606140.4085 | 1161793.2354 | 2606161.7092 | 1161798.7041 | 2606166.3993 | 1161801.5057
67 | 2606315.5459 | 1161867.685 | 2606319.9052 | 1161867.6895 | 2606324.5798 | 1161866.4493 | 2606330.4961 | 1161864.7546
68 | 2606315.5459 | 1161867.685 | 2606351.5082 | 1161896.5923 | 2606366.1373 | 1161906.935
69 | 2606136.6293 | 1161793.1672 | 2606136.5613 | 1161793.166
70 | 2606594.5645 | 1160133.9558 | 2606592.0688 | 1160132.7988
71 | 2606594.5645 | 1160133.9558 | 2607052.9386 | 1160431.8984
72 | 2606592.0688 | 1160132.7988 | 2606250.4829 | 1159792.1802
73 | 2606250.4829 | 1159792.1802 | 2604936.0164 | 1160205.5143
74 | 2605503.6004 | 1161502.7269 | 2604936.0164 | 1160205.5143
75 | 2605693.6846 | 1161792.167 | 2605690.6693 | 1161788.7403 | 2605684.7591 | 1161784.0547 | 2605671.6277 | 1161775.9961
76 | 2605693.6846 | 1161792.167 | 2605709.2665 | 1161785.4227 | 2605716.4626 | 1161783.1728 | 2605719.7489 | 1161783.5872 | 2605724.6811 | 1161785.4372 | 2605729.8168 | 1161788.2428
77 | 2605693.6846 | 1161792.167 | 2605700.4862 | 1161802.1561 | 2605709.5935 | 1161820.596 | 2605727.2491 | 1161881.5205 | 2605731.7442 | 1161900.0006 | 2605734.6728 | 1161905.8951 | 2605739.648 | 1161910.7467 | 2605745.7195 | 1161914.8766 | 2605760.7822 | 1161922.0722 | 2605766.7999 | 1161926.2244 | 2605770.0369 | 1161930.1517 | 2605772.46 | 1161935.9346 | 2605773.2507 | 1161942.2496 | 2605771.683 | 1161947.4284
78 | 2605760.4115 | 1161811.8951 | 2605749.121 | 1161801.4348 | 2605737.8288 | 1161792.6198 | 2605729.8168 | 1161788.2428
79 | 2605631.3809 | 1161758.7572 | 2605617.2378 | 1161752.8655 | 2605616.9082 | 1161752.7472
80 | 2606634.577 | 1161589.3382 | 2606623.4208 | 1161586.5403 | 2606619.2046 | 1161595.7291 | 2606608.4987 | 1161608.0389
81 | 2606634.577 | 1161589.3382 | 2606638.602 | 1161590.3476 | 2606644.2955 | 1161589.4089 | 2606647.6852 | 1161586.4334 | 2606648.6025 | 1161580.7049
82 | 2606463.7988 | 1161752.0786 | 2606608.4987 | 1161608.0389
83 | 2606667.6307 | 1161570.3695 | 2606651.9077 | 1161571.5751 | 2606649.4595 | 1161575.3521 | 2606648.6025 | 1161580.7049
84 | 2606479.6 | 1161785.0167 | 2606478.368 | 1161776.5001 | 2606475.3435 | 1161767.6147 | 2606468.9041 | 1161756.8359 | 2606463.7988 | 1161752.0786
85 | 2606463.7988 | 1161752.0786 | 2606458.3631 | 1161747.0135
86 | 2606618.2674 | 1161820.9601 | 2606644.126 | 1161821.3791 | 2606666.4757 | 1161820.3726
87 | 2606576.4549 | 1161820.2827 | 2606618.2674 | 1161820.9601
88 | 2606576.4549 | 1161820.2827 | 2606583.6827 | 1161824.4593 | 2606588.2064 | 1161826.3194
89 | 2606576.4549 | 1161820.2827 | 2606501.5257 | 1161793.0001
90 | 2606479.6 | 1161785.0167 | 2606501.5257 | 1161793.0001
91 | 2606599.402 | 1161833.0139 | 2606599.402 | 1161833.0139 | 2606597.6966 | 1161830.2218 | 2606588.2064 | 1161826.3194
92 | 2606599.402 | 1161833.0139 | 2606601.1095 | 1161840.9308 | 2606604.8433 | 1161845.437 | 2606623.3607 | 1161859.4308 | 2606644.0554 | 1161871.8707 | 2606645.1408 | 1161874.2063 | 2606645.2971 | 1161878.3975 | 2606644.1978 | 1161881.8091 | 2606639.9916 | 1161888.9413 | 2606638.8907 | 1161893.9093 | 2606639.665 | 1161900.4356
93 | 2606136.5613 | 1161793.166 | 2606135.7521 | 1161793.1514
94 | 2606073.3316 | 1161856.4993 | 2606089.1732 | 1161828.4504

## bus_geodata
| x | y | coords
0 | 2605866.3021 | 1161733.1434
1 | 2605747.979 | 1161675.3807
2 | 2605880.7424 | 1161746.1555
3 | 2605711.1891 | 1161671.6238
4 | 2605853.0123 | 1161789.5614
5 | 2605910.7781 | 1161758.2647
6 | 2605652.0267 | 1161634.7021
7 | 2605813.3623 | 1161800.2508
8 | 2605885.5741 | 1161804.9095
9 | 2606104.6092 | 1161791.1316
10 | 2605602.2623 | 1161600.2932
11 | 2605741.595 | 1161752.1965
12 | 2605930.5693 | 1161833.1013
13 | 2606116.2681 | 1161792.7997
14 | 2606101.4504 | 1161806.1132
15 | 2605659.1341 | 1161765.2326
16 | 2605892.4033 | 1162109.1312
17 | 2605824.5956 | 1162082.0616
18 | 2605899.6521 | 1162118.5553
19 | 2605817.5368 | 1162078.8013
20 | 2605910.1002 | 1162131.0492
21 | 2605913.3398 | 1162134.1013
22 | 2605935.1027 | 1162159.3461
23 | 2605967.206 | 1162194.0947
24 | 2605911.9342 | 1162191.8653
25 | 2606002.9717 | 1162142.4932
26 | 2606004.6669 | 1162143.7715
27 | 2605979.3985 | 1162180.213
28 | 2605973.627 | 1162188.5469
29 | 2605894.1869 | 1162182.1843
30 | 2606022.9136 | 1162204.5262
31 | 2606023.0079 | 1162209.046
32 | 2606301.6301 | 1162189.8692
33 | 2606299.9083 | 1162189.9375
34 | 2606463.6509 | 1162236.8567
35 | 2606083.6863 | 1162225.4639
36 | 2606498.6053 | 1162217.0286
37 | 2606031.0718 | 1162242.9263
38 | 2606453.4787 | 1162166.1034
39 | 2606458.4131 | 1162141.2038
40 | 2606317.0833 | 1162344.4309
41 | 2606319.9658 | 1162344.8439
42 | 2606289.5295 | 1162336.6619
43 | 2606241.7547 | 1162312.7109
44 | 2606223.7096 | 1162302.5277
45 | 2606208.6113 | 1162309.1266
46 | 2606125.7115 | 1162267.9096
47 | 2606368.6532 | 1162101.9786
48 | 2606584.2024 | 1162178.9019
49 | 2606603.6084 | 1162186.8869
50 | 2606587.4773 | 1162069.9756
51 | 2606344.2492 | 1162017.6335
52 | 2606266.2936 | 1161932.5155
53 | 2606232.5224 | 1162125.1493
54 | 2606019.9493 | 1162257.478
55 | 2605980.8724 | 1162272.4024
56 | 2605998.0489 | 1162286.7931
57 | 2606152.6506 | 1162316.6552
58 | 2606585.051 | 1162040.9115
59 | 2606513.2303 | 1161979.4424
60 | 2606166.3993 | 1161801.5057
61 | 2606315.5459 | 1161867.685
62 | 2606136.6293 | 1161793.1672
63 | 2606366.1373 | 1161906.935
64 | 2606330.4961 | 1161864.7546
65 | 2606594.5645 | 1160133.9558
66 | 2606592.0688 | 1160132.7988
67 | 2607052.9386 | 1160431.8984
68 | 2606250.4829 | 1159792.1802
69 | 2604936.0164 | 1160205.5143
70 | 2605503.6004 | 1161502.7269
71 | 2605671.6277 | 1161775.9961
72 | 2605693.6846 | 1161792.167
73 | 2605729.8168 | 1161788.2428
74 | 2605771.683 | 1161947.4284
75 | 2605631.3809 | 1161758.7572
76 | 2605760.4115 | 1161811.8951
77 | 2605616.9082 | 1161752.7472
78 | 2606634.577 | 1161589.3382
79 | 2606608.4987 | 1161608.0389
80 | 2606648.6025 | 1161580.7049
81 | 2606463.7988 | 1161752.0786
82 | 2606667.6307 | 1161570.3695
83 | 2606618.2674 | 1161820.9601
84 | 2606666.4757 | 1161820.3726
85 | 2606576.4549 | 1161820.2827
86 | 2606479.6 | 1161785.0167
87 | 2606458.3631 | 1161747.0135
88 | 2606588.2064 | 1161826.3194
89 | 2606501.5257 | 1161793.0001
90 | 2606599.402 | 1161833.0139
91 | 2606639.665 | 1161900.4356
92 | 2606136.5613 | 1161793.166
93 | 2606135.7521 | 1161793.1514
94 | 2606089.1732 | 1161828.4504
95 | 2606073.3316 | 1161856.4993
96 | 2605930.5693 | 1161833.1013

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1