## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_762-12_1_2_node_81 | 0.4 | n |  | TRUE
1 | bus_LV_762-12_1_2_node_79 | 0.4 | n |  | TRUE
2 | bus_LV_762-12_1_2_node_36 | 0.4 | n |  | TRUE
3 | bus_LV_762-12_1_2_node_37 | 0.4 | n |  | TRUE
4 | bus_LV_762-12_1_2_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_762-12_1_2_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_762-12_1_2_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_762-12_1_2_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_762-12_1_2_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_762-12_1_2_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_762-12_1_2_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_762-12_1_2_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_762-12_1_2_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_762-12_1_2_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_762-12_1_2_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_762-12_1_2_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_762-12_1_2_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_762-12_1_2_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_762-12_1_2_node_120 | 0.4 | n |  | TRUE
19 | bus_LV_762-12_1_2_node_110 | 0.4 | n |  | TRUE
20 | bus_LV_762-12_1_2_node_124 | 0.4 | n |  | TRUE
21 | bus_LV_762-12_1_2_node_121 | 0.4 | n |  | TRUE
22 | bus_LV_762-12_1_2_node_112 | 0.4 | n |  | TRUE
23 | bus_LV_762-12_1_2_node_122 | 0.4 | n |  | TRUE
24 | bus_LV_762-12_1_2_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_762-12_1_2_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_762-12_1_2_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_762-12_1_2_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_762-12_1_2_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_762-12_1_2_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_762-12_1_2_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_762-12_1_2_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_762-12_1_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_762-12_1_2_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_762-12_1_2_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_762-12_1_2_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_762-12_1_2_node_156 | 0.4 | n |  | TRUE
37 | bus_LV_762-12_1_2_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_762-12_1_2_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_762-12_1_2_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_762-12_1_2_node_164 | 0.4 | n |  | TRUE
41 | bus_LV_762-12_1_2_node_154 | 0.4 | n |  | TRUE
42 | bus_LV_762-12_1_2_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_762-12_1_2_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_762-12_1_2_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_762-12_1_2_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_762-12_1_2_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_762-12_1_2_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_762-12_1_2_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_762-12_1_2_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_762-12_1_2_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_762-12_1_2_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_762-12_1_2_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_762-12_1_2_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_762-12_1_2_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_762-12_1_2_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_762-12_1_2_node_128 | 0.4 | n |  | TRUE
57 | bus_LV_762-12_1_2_node_129 | 0.4 | n |  | TRUE
58 | bus_LV_762-12_1_2_node_96 | 0.4 | n |  | TRUE
59 | bus_LV_762-12_1_2_node_97 | 0.4 | n |  | TRUE
60 | bus_LV_762-12_1_2_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_762-12_1_2_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_762-12_1_2_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_762-12_1_2_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_762-12_1_2_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_762-12_1_2_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_762-12_1_2_node_138 | 0.4 | n |  | TRUE
67 | bus_LV_762-12_1_2_node_137 | 0.4 | n |  | TRUE
68 | bus_LV_762-12_1_2_node_101 | 0.4 | n |  | TRUE
69 | bus_LV_762-12_1_2_node_103 | 0.4 | n |  | TRUE
70 | bus_LV_762-12_1_2_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_762-12_1_2_node_105 | 0.4 | n |  | TRUE
72 | bus_LV_762-12_1_2_node_114 | 0.4 | n |  | TRUE
73 | bus_LV_762-12_1_2_node_139 | 0.4 | n |  | TRUE
74 | bus_LV_762-12_1_2_node_150 | 0.4 | n |  | TRUE
75 | bus_LV_762-12_1_2_node_113 | 0.4 | n |  | TRUE
76 | bus_LV_762-12_1_2_node_108 | 0.4 | n |  | TRUE
77 | bus_LV_762-12_1_2_node_109 | 0.4 | n |  | TRUE
78 | bus_LV_762-12_1_2_node_111 | 0.4 | n |  | TRUE
79 | bus_LV_762-12_1_2_node_117 | 0.4 | n |  | TRUE
80 | bus_LV_762-12_1_2_node_151 | 0.4 | n |  | TRUE
81 | bus_LV_762-12_1_2_node_119 | 0.4 | n |  | TRUE
82 | bus_LV_762-12_1_2_node_144 | 0.4 | n |  | TRUE
83 | bus_LV_762-12_1_2_node_115 | 0.4 | n |  | TRUE
84 | bus_LV_762-12_1_2_node_116 | 0.4 | n |  | TRUE
85 | bus_LV_762-12_1_2_node_123 | 0.4 | n |  | TRUE
86 | bus_LV_762-12_1_2_node_125 | 0.4 | n |  | TRUE
87 | bus_LV_762-12_1_2_node_126 | 0.4 | n |  | TRUE
88 | bus_LV_762-12_1_2_node_127 | 0.4 | n |  | TRUE
89 | bus_LV_762-12_1_2_node_130 | 0.4 | n |  | TRUE
90 | bus_LV_762-12_1_2_node_131 | 0.4 | n |  | TRUE
91 | bus_LV_762-12_1_2_node_132 | 0.4 | n |  | TRUE
92 | bus_LV_762-12_1_2_node_133 | 0.4 | n |  | TRUE
93 | bus_LV_762-12_1_2_node_134 | 0.4 | n |  | TRUE
94 | bus_LV_762-12_1_2_node_135 | 0.4 | n |  | TRUE
95 | bus_LV_762-12_1_2_node_136 | 0.4 | n |  | TRUE
96 | bus_LV_762-12_1_2_node_149 | 0.4 | n |  | TRUE
97 | bus_LV_762-12_1_2_node_148 | 0.4 | n |  | TRUE
98 | bus_LV_762-12_1_2_node_141 | 0.4 | n |  | TRUE
99 | bus_LV_762-12_1_2_node_142 | 0.4 | n |  | TRUE
100 | bus_LV_762-12_1_2_node_143 | 0.4 | n |  | TRUE
101 | bus_LV_762-12_1_2_node_145 | 0.4 | n |  | TRUE
102 | bus_LV_762-12_1_2_node_146 | 0.4 | n |  | TRUE
103 | bus_LV_762-12_1_2_node_147 | 0.4 | n |  | TRUE
104 | bus_LV_762-12_1_2_node_152 | 0.4 | n |  | TRUE
105 | bus_LV_762-12_1_2_node_153 | 0.4 | n |  | TRUE
106 | bus_LV_762-12_1_2_node_155 | 0.4 | n |  | TRUE
107 | bus_LV_762-12_1_2_node_157 | 0.4 | n |  | TRUE
108 | bus_LV_762-12_1_2_node_160 | 0.4 | n |  | TRUE
109 | bus_LV_762-12_1_2_node_161 | 0.4 | n |  | TRUE
110 | bus_LV_762-12_1_2_node_159 | 0.4 | n |  | TRUE
111 | bus_LV_762-12_1_2_node_162 | 0.4 | n |  | TRUE
112 | bus_MV_208_0_node_210 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_762-12_1_2_load_81 | 0 | 0.0041452 | 0.0010389 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_762-12_1_2_load_79 | 1 | 0.0023698 | 0.00059394 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_762-12_1_2_load_36 | 2 | 0.0044665 | 0.0011194 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_762-12_1_2_load_37 | 3 | 0.00074729 | 0.00018729 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_762-12_1_2_load_40 | 5 | 0.0025816 | 0.00064702 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_762-12_1_2_load_41 | 6 | 0.0016645 | 0.00041715 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_762-12_1_2_load_56 | 8 | 0.00308 | 0.00077192 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_762-12_1_2_load_76 | 11 | 0.0025132 | 0.00062986 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_762-12_1_2_load_45 | 12 | 0.00030993 | 7.7676e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_762-12_1_2_load_42 | 14 | 0.0035385 | 0.00088682 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_762-12_1_2_load_66 | 16 | 0.0016564 | 0.00041514 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_762-12_1_2_load_43 | 17 | 0.0059881 | 0.0015008 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_762-12_1_2_load_124 | 20 | 0.00037774 | 9.467e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_762-12_1_2_load_121 | 21 | 0.00066253 | 0.00016605 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_762-12_1_2_load_112 | 22 | 0.00032313 | 8.0984e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_762-12_1_2_load_122 | 23 | 0.00068798 | 0.00017242 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_762-12_1_2_load_47 | 24 | 0.0030366 | 0.00076104 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_762-12_1_2_load_49 | 26 | 0.0038271 | 0.00095917 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_762-12_1_2_load_50 | 27 | 0.0029972 | 0.00075117 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_762-12_1_2_load_53 | 28 | 0.0019437 | 0.00048712 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_762-12_1_2_load_51 | 30 | 0.0034592 | 0.00086696 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_762-12_1_2_load_52 | 32 | 0.0011285 | 0.00028284 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_762-12_1_2_load_80 | 34 | 0.0018212 | 0.00045645 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_762-12_1_2_load_70 | 37 | 0.0010848 | 0.00027189 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_762-12_1_2_load_78 | 38 | 0.0012519 | 0.00031375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_762-12_1_2_load_82 | 39 | 0.0025196 | 0.00063147 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_762-12_1_2_load_164 | 40 | 0.0046701 | 0.0011704 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_762-12_1_2_load_69 | 42 | 0.0028085 | 0.00070388 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_762-12_1_2_load_57 | 44 | 0.0010259 | 0.00025712 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_762-12_1_2_load_58 | 45 | 0.001755 | 0.00043985 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_762-12_1_2_load_60 | 47 | 0.0016642 | 0.00041709 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_762-12_1_2_load_62 | 48 | 0.00033648 | 8.4329e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_762-12_1_2_load_63 | 49 | 0.0051907 | 0.0013009 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_762-12_1_2_load_64 | 50 | 0.0029945 | 0.0007505 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_762-12_1_2_load_75 | 51 | 0.00021733 | 5.4468e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_762-12_1_2_load_67 | 52 | 0.0039474 | 0.0009893 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_762-12_1_2_load_71 | 53 | 0.00038739 | 9.709e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_762-12_1_2_load_72 | 54 | 0.00069424 | 0.00017399 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_762-12_1_2_load_73 | 55 | 0.00038717 | 9.7034e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_762-12_1_2_load_128 | 56 | 0.00028092 | 7.0405e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_762-12_1_2_load_129 | 57 | 0.00047955 | 0.00012019 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_762-12_1_2_load_96 | 58 | 0.00024885 | 6.2367e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_762-12_1_2_load_97 | 59 | 7.0338e-05 | 1.7628e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_762-12_1_2_load_98 | 60 | 0.00015784 | 3.9558e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_762-12_1_2_load_99 | 61 | 0.00011739 | 2.9421e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_762-12_1_2_load_100 | 62 | 0.00018867 | 4.7286e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_762-12_1_2_load_104 | 63 | 8.8751e-05 | 2.2243e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_762-12_1_2_load_137 | 67 | 9.497e-05 | 2.3802e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_762-12_1_2_load_101 | 68 | 0.00016829 | 4.2179e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_762-12_1_2_load_106 | 70 | 0.00057141 | 0.00014321 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_762-12_1_2_load_114 | 72 | 0.00012687 | 3.1796e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_762-12_1_2_load_139 | 73 | 7.2721e-05 | 1.8226e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_762-12_1_2_load_150 | 74 | 0.00013286 | 3.3298e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_762-12_1_2_load_113 | 75 | 0.00048684 | 0.00012201 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_762-12_1_2_load_108 | 76 | 0.00052231 | 0.0001309 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_762-12_1_2_load_109 | 77 | 0.00048692 | 0.00012203 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_762-12_1_2_load_111 | 78 | 8.4022e-05 | 2.1058e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_762-12_1_2_load_151 | 80 | 0.00032313 | 8.0984e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_762-12_1_2_load_119 | 81 | 0.00010956 | 2.7459e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_762-12_1_2_load_144 | 82 | 0.00032324 | 8.1012e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_762-12_1_2_load_115 | 83 | 0.00016768 | 4.2025e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_762-12_1_2_load_123 | 85 | 0.00075959 | 0.00019037 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_762-12_1_2_load_125 | 86 | 0.00060096 | 0.00015061 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_762-12_1_2_load_126 | 87 | 0.00046633 | 0.00011687 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_762-12_1_2_load_127 | 88 | 0.00046566 | 0.0001167 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_762-12_1_2_load_130 | 89 | 0.0002956 | 7.4084e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_762-12_1_2_load_131 | 90 | 0.0016978 | 0.0004255 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_762-12_1_2_load_132 | 91 | 0.0027389 | 0.00068644 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_762-12_1_2_load_133 | 92 | 0.00077965 | 0.0001954 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_762-12_1_2_load_134 | 93 | 0.0030439 | 0.00076288 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_762-12_1_2_load_135 | 94 | 0.00038378 | 9.6185e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_762-12_1_2_load_136 | 95 | 0.00037802 | 9.474e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_762-12_1_2_load_148 | 97 | 0.00049106 | 0.00012307 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_762-12_1_2_load_141 | 98 | 0.00032334 | 8.1036e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_762-12_1_2_load_142 | 99 | 0.00032324 | 8.1012e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_762-12_1_2_load_143 | 100 | 0.00032312 | 8.0981e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_762-12_1_2_load_145 | 101 | 0.0004662 | 0.00011684 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_762-12_1_2_load_146 | 102 | 0.00055417 | 0.00013889 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_762-12_1_2_load_147 | 103 | 0.00046646 | 0.00011691 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_762-12_1_2_load_152 | 104 | 0.0010827 | 0.00027136 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_762-12_1_2_load_153 | 105 | 0.0010827 | 0.00027136 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_762-12_1_2_load_155 | 106 | 0.0003875 | 9.7116e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_762-12_1_2_load_157 | 107 | 0.0010899 | 0.00027316 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_762-12_1_2_load_161 | 109 | 0.0013598 | 0.00034081 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_762-12_1_2_load_159 | 110 | 0.0010798 | 0.00027062 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_762-12_1_2_load_162 | 111 | 0.0012207 | 0.00030593 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_762-12_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0071346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_762-12_1_2_line_1 | NAYY 4x150 SE | 1 | 38 | 0.011733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_762-12_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.03196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_762-12_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0045649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_762-12_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.017196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_762-12_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.033029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_762-12_1_2_line_6 | NAYY 4x150 SE | 6 | 10 | 0.0090527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_762-12_1_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.03011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_762-12_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.001489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_762-12_1_2_line_9 | NAYY 4x150 SE | 8 | 11 | 0.054318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_762-12_1_2_line_10 | NAYY 4x150 SE | 9 | 12 | 0.014767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_762-12_1_2_line_11 | NAYY 4x150 SE | 9 | 13 | 0.099186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_762-12_1_2_line_12 | NAYY 4x150 SE | 9 | 14 | 0.052665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_762-12_1_2_line_13 | NAYY 4x150 SE | 10 | 15 | 0.004043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_762-12_1_2_line_14 | NAYY 4x150 SE | 10 | 16 | 0.023371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_762-12_1_2_line_15 | NAYY 4x150 SE | 11 | 43 | 0.041679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_762-12_1_2_line_16 | NAYY 4x150 SE | 12 | 18 | 0.034296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_762-12_1_2_line_17 | NAYY 4x150 SE | 13 | 19 | 0.005592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_762-12_1_2_line_18 | NAYY 4x150 SE | 13 | 20 | 0.054205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_762-12_1_2_line_19 | NAYY 4x150 SE | 14 | 17 | 0.025034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_762-12_1_2_line_20 | NAYY 4x150 SE | 15 | 31 | 0.033568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_762-12_1_2_line_21 | NAYY 4x150 SE | 15 | 27 | 0.028028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_762-12_1_2_line_22 | NAYY 4x150 SE | 16 | 52 | 0.0024984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_762-12_1_2_line_23 | NAYY 4x150 SE | 18 | 21 | 0.028542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_762-12_1_2_line_24 | NAYY 4x150 SE | 19 | 22 | 0.015366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_762-12_1_2_line_25 | NAYY 4x150 SE | 20 | 23 | 0.013281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_762-12_1_2_line_26 | NAYY 4x150 SE | 22 | 80 | 0.0058878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_762-12_1_2_line_27 | NAYY 4x150 SE | 23 | 85 | 0.008766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_762-12_1_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0076375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_762-12_1_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.014205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_762-12_1_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.016526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_762-12_1_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.024935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_762-12_1_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.037172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_762-12_1_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.012293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_762-12_1_2_line_34 | NAYY 4x150 SE | 29 | 36 | 0.009977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_762-12_1_2_line_35 | NAYY 4x150 SE | 29 | 37 | 0.0127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_762-12_1_2_line_36 | NAYY 4x150 SE | 30 | 32 | 0.10452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_762-12_1_2_line_37 | NAYY 4x150 SE | 31 | 49 | 0.018405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_762-12_1_2_line_38 | NAYY 4x150 SE | 31 | 46 | 0.011899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_762-12_1_2_line_39 | NAYY 4x150 SE | 32 | 33 | 0.022606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_762-12_1_2_line_40 | NAYY 4x150 SE | 33 | 34 | 0.014562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_762-12_1_2_line_41 | NAYY 4x150 SE | 33 | 35 | 0.018159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_762-12_1_2_line_42 | NAYY 4x150 SE | 34 | 38 | 0.0028606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_762-12_1_2_line_43 | NAYY 4x150 SE | 35 | 39 | 0.01298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_762-12_1_2_line_44 | NAYY 4x150 SE | 36 | 40 | 0.019458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_762-12_1_2_line_45 | NAYY 4x150 SE | 36 | 41 | 0.015751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_762-12_1_2_line_46 | NAYY 4x150 SE | 37 | 42 | 0.0038073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_762-12_1_2_line_47 | NAYY 4x150 SE | 41 | 107 | 0.022667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_762-12_1_2_line_48 | NAYY 4x150 SE | 41 | 104 | 0.010065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_762-12_1_2_line_49 | NAYY 4x150 SE | 42 | 53 | 0.012588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_762-12_1_2_line_50 | NAYY 4x150 SE | 43 | 51 | 0.023147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_762-12_1_2_line_51 | NAYY 4x150 SE | 43 | 48 | 0.0092035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_762-12_1_2_line_52 | NAYY 4x150 SE | 44 | 45 | 0.017743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_762-12_1_2_line_53 | NAYY 4x150 SE | 44 | 46 | 0.0055402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_762-12_1_2_line_54 | NAYY 4x150 SE | 45 | 47 | 0.032009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_762-12_1_2_line_55 | NAYY 4x150 SE | 46 | 48 | 0.032833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_762-12_1_2_line_56 | NAYY 4x150 SE | 49 | 50 | 0.010733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_762-12_1_2_line_57 | NAYY 4x150 SE | 51 | 56 | 0.0066835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_762-12_1_2_line_58 | NAYY 4x150 SE | 53 | 54 | 0.017272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_762-12_1_2_line_59 | NAYY 4x150 SE | 54 | 55 | 0.0037098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_762-12_1_2_line_60 | NAYY 4x150 SE | 56 | 57 | 0.033049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_762-12_1_2_line_61 | NAYY 4x150 SE | 57 | 89 | 0.022044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_762-12_1_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.018972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_762-12_1_2_line_63 | NAYY 4x150 SE | 58 | 60 | 0.0091325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_762-12_1_2_line_64 | NAYY 4x150 SE | 59 | 61 | 0.0030712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_762-12_1_2_line_65 | NAYY 4x150 SE | 60 | 62 | 0.00037987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_762-12_1_2_line_66 | NAYY 4x150 SE | 61 | 63 | 0.02892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_762-12_1_2_line_67 | NAYY 4x150 SE | 62 | 64 | 0.081248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_762-12_1_2_line_68 | NAYY 4x150 SE | 63 | 65 | 0.013579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_762-12_1_2_line_69 | NAYY 4x150 SE | 64 | 66 | 0.096599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_762-12_1_2_line_70 | NAYY 4x150 SE | 64 | 67 | 0.09895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_762-12_1_2_line_71 | NAYY 4x150 SE | 65 | 68 | 0.022852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_762-12_1_2_line_72 | NAYY 4x150 SE | 66 | 74 | 0.10935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_762-12_1_2_line_73 | NAYY 4x150 SE | 66 | 71 | 0.01832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_762-12_1_2_line_74 | NAYY 4x150 SE | 68 | 69 | 0.019806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_762-12_1_2_line_75 | NAYY 4x150 SE | 69 | 70 | 0.10206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_762-12_1_2_line_76 | NAYY 4x150 SE | 70 | 73 | 0.13657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_762-12_1_2_line_77 | NAYY 4x150 SE | 71 | 72 | 0.02248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_762-12_1_2_line_78 | NAYY 4x150 SE | 72 | 75 | 0.014668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_762-12_1_2_line_79 | NAYY 4x150 SE | 74 | 96 | 0.14981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_762-12_1_2_line_80 | NAYY 4x150 SE | 75 | 83 | 0.0010533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_762-12_1_2_line_81 | NAYY 4x150 SE | 76 | 77 | 0.014514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_762-12_1_2_line_82 | NAYY 4x150 SE | 77 | 78 | 0.012741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_762-12_1_2_line_83 | NAYY 4x150 SE | 78 | 79 | 0.039289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_762-12_1_2_line_84 | NAYY 4x150 SE | 79 | 81 | 0.11329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_762-12_1_2_line_85 | NAYY 4x150 SE | 80 | 82 | 0.015528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_762-12_1_2_line_86 | NAYY 4x150 SE | 81 | 84 | 0.047189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_762-12_1_2_line_87 | NAYY 4x150 SE | 82 | 99 | 0.0098874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_762-12_1_2_line_88 | NAYY 4x150 SE | 83 | 84 | 0.035558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_762-12_1_2_line_89 | NAYY 4x150 SE | 85 | 86 | 0.0020746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_762-12_1_2_line_90 | NAYY 4x150 SE | 86 | 87 | 0.004879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_762-12_1_2_line_91 | NAYY 4x150 SE | 87 | 88 | 0.007589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_762-12_1_2_line_92 | NAYY 4x150 SE | 89 | 90 | 0.0095777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_762-12_1_2_line_93 | NAYY 4x150 SE | 90 | 91 | 0.035134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_762-12_1_2_line_94 | NAYY 4x150 SE | 92 | 93 | 0.042949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_762-12_1_2_line_95 | NAYY 4x150 SE | 92 | 94 | 0.043927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_762-12_1_2_line_96 | NAYY 4x150 SE | 94 | 95 | 0.015095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_762-12_1_2_line_97 | NAYY 4x150 SE | 95 | 96 | 0.0078104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_762-12_1_2_line_98 | NAYY 4x150 SE | 96 | 97 | 0.0024724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_762-12_1_2_line_99 | NAYY 4x150 SE | 97 | 103 | 0.0080075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_762-12_1_2_line_100 | NAYY 4x150 SE | 98 | 99 | 0.028581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_762-12_1_2_line_101 | NAYY 4x150 SE | 98 | 100 | 0.0064695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_762-12_1_2_line_102 | NAYY 4x150 SE | 100 | 101 | 0.014923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_762-12_1_2_line_103 | NAYY 4x150 SE | 101 | 102 | 0.0015296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_762-12_1_2_line_104 | NAYY 4x150 SE | 102 | 103 | 0.0095297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_762-12_1_2_line_105 | NAYY 4x150 SE | 104 | 105 | 0.020856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_762-12_1_2_line_106 | NAYY 4x150 SE | 105 | 106 | 0.0082276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_762-12_1_2_line_107 | NAYY 4x150 SE | 107 | 108 | 0.0030654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_762-12_1_2_line_108 | NAYY 4x150 SE | 108 | 109 | 0.010245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_762-12_1_2_line_109 | NAYY 4x150 SE | 108 | 110 | 0.029361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_762-12_1_2_line_110 | NAYY 4x150 SE | 109 | 111 | 0.0055153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_762-12_1_2_trafo_40 | 0.25 MVA 20/0.4 kV | 112 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2610530.9944 | 1167142.4987 | 2610531.4879 | 1167149.6161
1 | 2610532.2995 | 1167161.3208 | 2610531.4879 | 1167149.6161
2 | 2610714.6876 | 1167226.2113 | 2610726.601 | 1167210.6902 | 2610730.7478 | 1167203.1271 | 2610731.9679 | 1167199.5617
3 | 2610712.1229 | 1167229.9853 | 2610714.1261 | 1167226.9429 | 2610714.6876 | 1167226.2113
4 | 2610712.1229 | 1167229.9853 | 2610725.3991 | 1167240.9588
5 | 2610712.1229 | 1167229.9853 | 2610693.9946 | 1167257.5943
6 | 2610689.2808 | 1167265.3181 | 2610691.7378 | 1167261.0314 | 2610693.9946 | 1167257.5943
7 | 2610785.6708 | 1167210.4619 | 2610770.8883 | 1167228.6001 | 2610765.7174 | 1167232.8784
8 | 2610787.1634 | 1167210.4201 | 2610785.6708 | 1167210.4619
9 | 2610730.9854 | 1167273.5585 | 2610744.5566 | 1167250.3864 | 2610765.7174 | 1167232.8784
10 | 2610787.1634 | 1167210.4201 | 2610787.2634 | 1167201.5714 | 2610787.8781 | 1167195.6852
11 | 2610787.1634 | 1167210.4201 | 2610799.4034 | 1167210.1307 | 2610810.9292 | 1167215.3984 | 2610831.2734 | 1167233.2215 | 2610842.1672 | 1167245.1692 | 2610843.2373 | 1167254.5313 | 2610835.3842 | 1167267.168 | 2610833.497 | 1167273.7902
12 | 2610787.1634 | 1167210.4201 | 2610789.2918 | 1167214.4703 | 2610794.1755 | 1167240.0585 | 2610793.259 | 1167247.505 | 2610783.3759 | 1167258.1652
13 | 2610687.2691 | 1167268.8274 | 2610689.2808 | 1167265.3181
14 | 2610689.2808 | 1167265.3181 | 2610695.9978 | 1167267.3087 | 2610700.3134 | 1167268.1279 | 2610707.8423 | 1167277.4372
15 | 2610711.7198 | 1167310.5137 | 2610729.5391 | 1167276.0281 | 2610730.9854 | 1167273.5585
16 | 2610807.7593 | 1167168.8694 | 2610800.9745 | 1167174.7936 | 2610797.2719 | 1167177.8552 | 2610790.988 | 1167186.2259 | 2610788.0967 | 1167193.5911 | 2610787.8781 | 1167195.6852
17 | 2610833.497 | 1167273.7902 | 2610835.8761 | 1167278.8525
18 | 2610833.497 | 1167273.7902 | 2610823.6821 | 1167283.4441 | 2610820.2539 | 1167291.4419 | 2610819.39 | 1167303.7243 | 2610820.4412 | 1167323.1196
19 | 2610768.9934 | 1167278.2104 | 2610774.456 | 1167271.0833 | 2610775.9421 | 1167266.1835 | 2610783.3759 | 1167258.1652
20 | 2610687.2691 | 1167268.8274 | 2610682.754 | 1167281.2701 | 2610674.9058 | 1167300.0322
21 | 2610687.2691 | 1167268.8274 | 2610677.7097 | 1167263.997 | 2610662.8105 | 1167255.1708
22 | 2610709.4134 | 1167279.3798 | 2610707.8423 | 1167277.4372
23 | 2610810.3625 | 1167142.8722 | 2610812.3048 | 1167152.5027 | 2610813.7306 | 1167159.8756 | 2610812.2828 | 1167164.7866 | 2610807.7593 | 1167168.8694
24 | 2610835.8761 | 1167278.8525 | 2610838.4915 | 1167284.4267 | 2610846.2211 | 1167289.4319
25 | 2610821.6814 | 1167336.3336 | 2610820.7681 | 1167329.1506 | 2610820.4412 | 1167323.1196
26 | 2610846.2211 | 1167289.4319 | 2610851.7396 | 1167291.4843
27 | 2610821.6814 | 1167336.3336 | 2610821.6814 | 1167336.3336 | 2610828.9845 | 1167341.182
28 | 2610648.5923 | 1167246.7481 | 2610641.6242 | 1167243.6212
29 | 2610648.5923 | 1167246.7481 | 2610652.1087 | 1167240.6401 | 2610655.517 | 1167234.3463
30 | 2610648.5923 | 1167246.7481 | 2610662.8105 | 1167255.1708
31 | 2610667.3908 | 1167212.4196 | 2610655.517 | 1167234.3463
32 | 2610677.2051 | 1167177.0415 | 2610677.4534 | 1167179.4654 | 2610675.185 | 1167194.0131 | 2610669.3952 | 1167208.7213 | 2610667.3908 | 1167212.4196
33 | 2610667.3908 | 1167212.4196 | 2610655.8007 | 1167208.321
34 | 2610677.2051 | 1167177.0415 | 2610674.4435 | 1167167.4541
35 | 2610677.2051 | 1167177.0415 | 2610679.9403 | 1167175.6012 | 2610688.8219 | 1167171.9342
36 | 2610655.8007 | 1167208.321 | 2610635.0709 | 1167200.9903 | 2610583.0333 | 1167185.0355 | 2610556.0574 | 1167177.151
37 | 2610674.9058 | 1167300.0322 | 2610658.9707 | 1167290.8217
38 | 2610669.8043 | 1167310.7842 | 2610674.2601 | 1167301.5763 | 2610674.9058 | 1167300.0322
39 | 2610533.5046 | 1167178.7014 | 2610556.0574 | 1167177.151 | 2610556.0574 | 1167177.151
40 | 2610533.5046 | 1167178.7014 | 2610532.4973 | 1167164.1746
41 | 2610533.5046 | 1167178.7014 | 2610534.7589 | 1167196.8126
42 | 2610532.2995 | 1167161.3208 | 2610532.4973 | 1167164.1746
43 | 2610534.7589 | 1167196.8126 | 2610521.7815 | 1167196.5716
44 | 2610674.4435 | 1167167.4541 | 2610656.4345 | 1167174.9483
45 | 2610670.0918 | 1167152.3166 | 2610674.4435 | 1167167.4541
46 | 2610688.8219 | 1167171.9342 | 2610689.8065 | 1167171.5277 | 2610692.4872 | 1167170.9508
47 | 2610670.0918 | 1167152.3166 | 2610664.9337 | 1167134.3763 | 2610664.7718 | 1167130.3796
48 | 2610670.0918 | 1167152.3166 | 2610679.8007 | 1167149.6614
49 | 2610704.577 | 1167167.5855 | 2610700.2589 | 1167169.2784 | 2610692.4872 | 1167170.9508
50 | 2610711.7198 | 1167310.5137 | 2610707.4826 | 1167333.2694
51 | 2610711.7198 | 1167310.5137 | 2610702.5232 | 1167310.1579
52 | 2610667.2587 | 1167315.6989 | 2610657.9846 | 1167330.8251
53 | 2610669.8043 | 1167310.7842 | 2610668.0451 | 1167314.4162 | 2610667.2587 | 1167315.6989
54 | 2610657.9846 | 1167330.8251 | 2610656.1236 | 1167333.8604 | 2610643.1211 | 1167354.4145 | 2610640.926 | 1167357.9089
55 | 2610669.8043 | 1167310.7842 | 2610676.3202 | 1167309.6506 | 2610684.0208 | 1167309.4419 | 2610702.5232 | 1167310.1579
56 | 2610658.9707 | 1167290.8217 | 2610649.6783 | 1167285.4506
57 | 2610706.6713 | 1167339.9002 | 2610707.2377 | 1167334.5845 | 2610707.4826 | 1167333.2694
58 | 2610704.577 | 1167167.5855 | 2610720.6577 | 1167161.2812
59 | 2610724.1116 | 1167159.9271 | 2610720.6577 | 1167161.2812
60 | 2610706.6713 | 1167339.9002 | 2610703.735 | 1167367.4613 | 2610704.0023 | 1167372.7864
61 | 2610705.8531 | 1167394.7113 | 2610704.844 | 1167389.5521 | 2610704.0023 | 1167372.7864
62 | 2611237.4202 | 1167253.5615 | 2611246.5415 | 1167236.9263
63 | 2611237.4202 | 1167253.5615 | 2611233.0294 | 1167261.5692
64 | 2611247.2852 | 1167233.9465 | 2611246.5415 | 1167236.9263 | 2611246.5415 | 1167236.9263
65 | 2611232.8467 | 1167261.9023 | 2611233.0294 | 1167261.5692
66 | 2611247.2852 | 1167233.9465 | 2611253.2355 | 1167210.1031 | 2611254.2455 | 1167205.8764
67 | 2611170.5185 | 1167311.089 | 2611185.2357 | 1167303.9349 | 2611217.2978 | 1167284.3512 | 2611232.2866 | 1167262.9239 | 2611232.8467 | 1167261.9023
68 | 2611257.4014 | 1167192.6688 | 2611254.2455 | 1167205.8764
69 | 2611170.5185 | 1167311.089 | 2611173.7288 | 1167292.8525 | 2611170.8269 | 1167285.0766 | 2611166.2483 | 1167269.1935 | 2611146.5843 | 1167244.267 | 2611141.8774 | 1167223.2589
70 | 2611170.5185 | 1167311.089 | 2611174.5247 | 1167321.924 | 2611164.5107 | 1167360.3692 | 2611160.8957 | 1167365.6985 | 2611146.0902 | 1167404.1793
71 | 2611257.4014 | 1167192.6688 | 2611278.6209 | 1167184.1866
72 | 2611141.8774 | 1167223.2589 | 2611129.1909 | 1167241.5446 | 2611090.2983 | 1167291.8761 | 2611073.2389 | 1167308.0159
73 | 2611141.8774 | 1167223.2589 | 2611151.7877 | 1167207.8361
74 | 2611297.0123 | 1167176.8348 | 2611278.6209 | 1167184.1866
75 | 2611390.9232 | 1167210.4057 | 2611374.1081 | 1167201.3695 | 2611358.5153 | 1167193.5696 | 2611340.878 | 1167182.0752 | 2611326.1065 | 1167177.1339 | 2611312.9699 | 1167177.9319 | 2611297.0123 | 1167176.8348
76 | 2611390.9232 | 1167210.4057 | 2611527.4832 | 1167211.9654
77 | 2611151.7877 | 1167207.8361 | 2611157.0933 | 1167185.9911
78 | 2611157.0933 | 1167185.9911 | 2611159.3928 | 1167176.5234 | 2611159.1696 | 1167171.603
79 | 2610931.7987 | 1167339.0664 | 2610945.1916 | 1167335.978 | 2610963.5496 | 1167325.8618 | 2610982.1752 | 1167324.3615 | 2611012.1489 | 1167328.9072 | 2611030.9863 | 1167328.8082 | 2611052.9241 | 1167320.0995 | 2611072.5784 | 1167308.6409 | 2611073.2389 | 1167308.0159
80 | 2611159.1218 | 1167170.5508 | 2611159.1696 | 1167171.603
81 | 2610947.2001 | 1167172.3506 | 2610960.3308 | 1167166.1678
82 | 2610960.3308 | 1167166.1678 | 2610962.5707 | 1167165.113 | 2610969.8633 | 1167157.8893
83 | 2610992.0945 | 1167127.0365 | 2610986.3337 | 1167133.7739 | 2610976.8761 | 1167140.3044 | 2610969.8633 | 1167157.8893
84 | 2610992.0945 | 1167127.0365 | 2611105.172 | 1167134.0103
85 | 2610851.7396 | 1167291.4843 | 2610860.158 | 1167294.6151 | 2610866.6413 | 1167295.5177
86 | 2611152.3031 | 1167136.0012 | 2611145.2377 | 1167136.1104 | 2611128.8199 | 1167135.4687 | 2611105.172 | 1167134.0103
87 | 2610866.6413 | 1167295.5177 | 2610873.7487 | 1167296.5071 | 2610876.3069 | 1167297.4059
88 | 2611152.3031 | 1167136.0012 | 2611153.806 | 1167138.7275 | 2611158.4808 | 1167156.4228 | 2611159.1218 | 1167170.5508
89 | 2610828.9845 | 1167341.182 | 2610830.7129 | 1167342.3295
90 | 2610830.7129 | 1167342.3295 | 2610834.7776 | 1167345.0281 | 2610834.7776 | 1167345.0281
91 | 2610834.7776 | 1167345.0281 | 2610837.5511 | 1167352.0921
92 | 2610707.6916 | 1167404.1109 | 2610705.8531 | 1167394.7113
93 | 2610717.0826 | 1167437.9466 | 2610708.7505 | 1167409.5246 | 2610707.6916 | 1167404.1109
94 | 2610964.6618 | 1167379.4017 | 2610960.5941 | 1167389.655 | 2610961.4169 | 1167400.2173 | 2610981.374 | 1167407.7305
95 | 2610951.8858 | 1167350.0737 | 2610955.6334 | 1167352.1272 | 2610968.103 | 1167360.1094 | 2610973.906 | 1167367.9127 | 2610970.8556 | 1167374.3771 | 2610964.6618 | 1167379.4017 | 2610964.6618 | 1167379.4017
96 | 2610951.8858 | 1167350.0737 | 2610938.6481 | 1167342.8198
97 | 2610931.7987 | 1167339.0664 | 2610938.6481 | 1167342.8198
98 | 2610931.7987 | 1167339.0664 | 2610929.458 | 1167338.2702
99 | 2610929.458 | 1167338.2702 | 2610921.8772 | 1167335.6913 | 2610921.8772 | 1167335.6913
100 | 2610899.8703 | 1167312.4161 | 2610896.2096 | 1167307.5197 | 2610885.2305 | 1167300.5409 | 2610876.3069 | 1167297.4059
101 | 2610899.8703 | 1167312.4161 | 2610903.7442 | 1167317.5974
102 | 2610912.6801 | 1167329.5494 | 2610903.7442 | 1167317.5974
103 | 2610912.6801 | 1167329.5494 | 2610912.6801 | 1167329.5494 | 2610913.9522 | 1167330.3989
104 | 2610921.8772 | 1167335.6913 | 2610913.9522 | 1167330.3989
105 | 2610699.9184 | 1167144.1597 | 2610679.8007 | 1167149.6614
106 | 2610707.8546 | 1167141.9893 | 2610699.9184 | 1167144.1597
107 | 2610664.6477 | 1167127.3167 | 2610664.7718 | 1167130.3796
108 | 2610664.6477 | 1167127.3167 | 2610661.9114 | 1167117.444
109 | 2610664.6477 | 1167127.3167 | 2610693.032 | 1167119.808
110 | 2610660.4384 | 1167112.1291 | 2610661.9114 | 1167117.444

## bus_geodata
| x | y | coords
0 | 2610530.9944 | 1167142.4987
1 | 2610531.4879 | 1167149.6161
2 | 2610714.6876 | 1167226.2113
3 | 2610731.9679 | 1167199.5617
4 | 2610712.1229 | 1167229.9853
5 | 2610725.3991 | 1167240.9588
6 | 2610693.9946 | 1167257.5943
7 | 2610785.6708 | 1167210.4619
8 | 2610765.7174 | 1167232.8784
9 | 2610787.1634 | 1167210.4201
10 | 2610689.2808 | 1167265.3181
11 | 2610730.9854 | 1167273.5585
12 | 2610787.8781 | 1167195.6852
13 | 2610833.497 | 1167273.7902
14 | 2610783.3759 | 1167258.1652
15 | 2610687.2691 | 1167268.8274
16 | 2610707.8423 | 1167277.4372
17 | 2610768.9934 | 1167278.2104
18 | 2610807.7593 | 1167168.8694
19 | 2610835.8761 | 1167278.8525
20 | 2610820.4412 | 1167323.1196
21 | 2610810.3625 | 1167142.8722
22 | 2610846.2211 | 1167289.4319
23 | 2610821.6814 | 1167336.3336
24 | 2610641.6242 | 1167243.6212
25 | 2610648.5923 | 1167246.7481
26 | 2610655.517 | 1167234.3463
27 | 2610662.8105 | 1167255.1708
28 | 2610667.3908 | 1167212.4196
29 | 2610677.2051 | 1167177.0415
30 | 2610655.8007 | 1167208.321
31 | 2610674.9058 | 1167300.0322
32 | 2610556.0574 | 1167177.151
33 | 2610533.5046 | 1167178.7014
34 | 2610532.4973 | 1167164.1746
35 | 2610534.7589 | 1167196.8126
36 | 2610674.4435 | 1167167.4541
37 | 2610688.8219 | 1167171.9342
38 | 2610532.2995 | 1167161.3208
39 | 2610521.7815 | 1167196.5716
40 | 2610656.4345 | 1167174.9483
41 | 2610670.0918 | 1167152.3166
42 | 2610692.4872 | 1167170.9508
43 | 2610711.7198 | 1167310.5137
44 | 2610667.2587 | 1167315.6989
45 | 2610657.9846 | 1167330.8251
46 | 2610669.8043 | 1167310.7842
47 | 2610640.926 | 1167357.9089
48 | 2610702.5232 | 1167310.1579
49 | 2610658.9707 | 1167290.8217
50 | 2610649.6783 | 1167285.4506
51 | 2610707.4826 | 1167333.2694
52 | 2610709.4134 | 1167279.3798
53 | 2610704.577 | 1167167.5855
54 | 2610720.6577 | 1167161.2812
55 | 2610724.1116 | 1167159.9271
56 | 2610706.6713 | 1167339.9002
57 | 2610704.0023 | 1167372.7864
58 | 2611237.4202 | 1167253.5615
59 | 2611246.5415 | 1167236.9263
60 | 2611233.0294 | 1167261.5692
61 | 2611247.2852 | 1167233.9465
62 | 2611232.8467 | 1167261.9023
63 | 2611254.2455 | 1167205.8764
64 | 2611170.5185 | 1167311.089
65 | 2611257.4014 | 1167192.6688
66 | 2611141.8774 | 1167223.2589
67 | 2611146.0902 | 1167404.1793
68 | 2611278.6209 | 1167184.1866
69 | 2611297.0123 | 1167176.8348
70 | 2611390.9232 | 1167210.4057
71 | 2611151.7877 | 1167207.8361
72 | 2611157.0933 | 1167185.9911
73 | 2611527.4832 | 1167211.9654
74 | 2611073.2389 | 1167308.0159
75 | 2611159.1696 | 1167171.603
76 | 2610947.2001 | 1167172.3506
77 | 2610960.3308 | 1167166.1678
78 | 2610969.8633 | 1167157.8893
79 | 2610992.0945 | 1167127.0365
80 | 2610851.7396 | 1167291.4843
81 | 2611105.172 | 1167134.0103
82 | 2610866.6413 | 1167295.5177
83 | 2611159.1218 | 1167170.5508
84 | 2611152.303 | 1167136.0012
85 | 2610828.9845 | 1167341.182
86 | 2610830.7129 | 1167342.3295
87 | 2610834.7776 | 1167345.0281
88 | 2610837.5511 | 1167352.0921
89 | 2610705.8531 | 1167394.7113
90 | 2610707.6916 | 1167404.1109
91 | 2610717.0826 | 1167437.9466
92 | 2610964.6618 | 1167379.4017
93 | 2610981.374 | 1167407.7305
94 | 2610951.8858 | 1167350.0737
95 | 2610938.6481 | 1167342.8198
96 | 2610931.7987 | 1167339.0664
97 | 2610929.458 | 1167338.2702
98 | 2610899.8703 | 1167312.4161
99 | 2610876.3069 | 1167297.4059
100 | 2610903.7442 | 1167317.5974
101 | 2610912.6801 | 1167329.5494
102 | 2610913.9522 | 1167330.3989
103 | 2610921.8772 | 1167335.6913
104 | 2610679.8007 | 1167149.6614
105 | 2610699.9184 | 1167144.1597
106 | 2610707.8546 | 1167141.9893
107 | 2610664.7718 | 1167130.3796
108 | 2610664.6477 | 1167127.3167
109 | 2610661.9114 | 1167117.444
110 | 2610693.032 | 1167119.808
111 | 2610660.4384 | 1167112.1291
112 | 2610712.1229 | 1167229.9853

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1