## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_762-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_762-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_762-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_762-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_762-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_762-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_762-2_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_762-2_0_4_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_762-2_0_4_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_762-2_0_4_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_762-2_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_762-2_0_4_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_762-2_0_4_node_90 | 0.4 | n |  | TRUE
13 | bus_LV_762-2_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_762-2_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_762-2_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_762-2_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_762-2_0_4_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_762-2_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_762-2_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_762-2_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_762-2_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_762-2_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_762-2_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_762-2_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_762-2_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_762-2_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_762-2_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_762-2_0_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_762-2_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_762-2_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_762-2_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_762-2_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_762-2_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_762-2_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_762-2_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_762-2_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_762-2_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_762-2_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_762-2_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_762-2_0_4_node_105 | 0.4 | n |  | TRUE
41 | bus_LV_762-2_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_762-2_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_762-2_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_762-2_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_762-2_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_762-2_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_762-2_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_762-2_0_4_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_762-2_0_4_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_762-2_0_4_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_762-2_0_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_762-2_0_4_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_762-2_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_762-2_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_762-2_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_762-2_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_762-2_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_762-2_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_762-2_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_762-2_0_4_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_762-2_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_762-2_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_762-2_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_762-2_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_762-2_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_762-2_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_762-2_0_4_node_99 | 0.4 | n |  | TRUE
68 | bus_LV_762-2_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_762-2_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_762-2_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_762-2_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_762-2_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_762-2_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_762-2_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_762-2_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_762-2_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_762-2_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_762-2_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_762-2_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_762-2_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_762-2_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_762-2_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_762-2_0_4_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_762-2_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_762-2_0_4_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_762-2_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_762-2_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_762-2_0_4_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_762-2_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_762-2_0_4_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_762-2_0_4_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_762-2_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_762-2_0_4_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_762-2_0_4_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_762-2_0_4_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_762-2_0_4_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_762-2_0_4_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_762-2_0_4_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_762-2_0_4_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_762-2_0_4_node_103 | 0.4 | n |  | TRUE
101 | bus_LV_762-2_0_4_node_104 | 0.4 | n |  | TRUE
102 | bus_MV_208_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_762-2_0_4_load_0 | 0 | 0.0015605 | 0.0003911 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_762-2_0_4_load_1 | 1 | 0.0011332 | 0.000284 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_762-2_0_4_load_7 | 6 | 0.0027646 | 0.00069288 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_762-2_0_4_load_35 | 7 | 0.0053306 | 0.001336 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_762-2_0_4_load_79 | 8 | 0.0026473 | 0.00066347 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_762-2_0_4_load_78 | 9 | 0.0010423 | 0.00026123 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_762-2_0_4_load_6 | 10 | 0.0048693 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_762-2_0_4_load_36 | 11 | 0.001958 | 0.00049071 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_762-2_0_4_load_10 | 14 | 0.0032568 | 0.00081622 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_762-2_0_4_load_19 | 16 | 0.0019939 | 0.00049971 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_762-2_0_4_load_37 | 17 | 0.0036633 | 0.00091811 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_762-2_0_4_load_16 | 18 | 0.0053176 | 0.0013327 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_762-2_0_4_load_18 | 20 | 0.0040341 | 0.001011 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_762-2_0_4_load_27 | 21 | 0.0077849 | 0.0019511 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_762-2_0_4_load_21 | 22 | 0.013793 | 0.0034567 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_762-2_0_4_load_11 | 23 | 0.014128 | 0.0035408 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_762-2_0_4_load_12 | 24 | 0.0051261 | 0.0012847 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_762-2_0_4_load_14 | 26 | 0.0031298 | 0.0007844 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_762-2_0_4_load_15 | 27 | 0.0156 | 0.0039097 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_762-2_0_4_load_39 | 30 | 0.011304 | 0.0028332 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_762-2_0_4_load_40 | 31 | 0.012356 | 0.0030967 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_762-2_0_4_load_26 | 33 | 0.002824 | 0.00070777 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_762-2_0_4_load_17 | 34 | 0.0038235 | 0.00095826 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_762-2_0_4_load_20 | 35 | 0.0028777 | 0.00072121 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_762-2_0_4_load_22 | 36 | 0.0016832 | 0.00042185 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_762-2_0_4_load_44 | 38 | 0.0029708 | 0.00074456 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_762-2_0_4_load_41 | 39 | 0.0032762 | 0.00082109 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_762-2_0_4_load_105 | 40 | 0.0017411 | 0.00043637 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_762-2_0_4_load_31 | 43 | 0.0036685 | 0.00091941 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_762-2_0_4_load_28 | 44 | 0.014239 | 0.0035687 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_762-2_0_4_load_29 | 45 | 0.0016277 | 0.00040795 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_762-2_0_4_load_30 | 46 | 0.0031971 | 0.00080126 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_762-2_0_4_load_32 | 47 | 0.00028036 | 7.0265e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_762-2_0_4_load_68 | 48 | 0.00052438 | 0.00013142 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_762-2_0_4_load_69 | 49 | 0.00046219 | 0.00011584 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_762-2_0_4_load_81 | 50 | 0.0064423 | 0.0016146 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_762-2_0_4_load_100 | 52 | 0.0022871 | 0.0005732 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_762-2_0_4_load_56 | 53 | 0.0014232 | 0.00035668 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_762-2_0_4_load_45 | 54 | 0.0032192 | 0.0008068 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_762-2_0_4_load_46 | 55 | 0.0047096 | 0.0011803 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_762-2_0_4_load_47 | 56 | 0.0018735 | 0.00046954 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_762-2_0_4_load_48 | 57 | 0.0027504 | 0.00068931 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_762-2_0_4_load_49 | 58 | 0.0017241 | 0.00043211 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_762-2_0_4_load_50 | 59 | 0.0020648 | 0.0005175 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_762-2_0_4_load_101 | 60 | 0.0025083 | 0.00062865 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_762-2_0_4_load_61 | 61 | 0.0015971 | 0.00040027 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_762-2_0_4_load_51 | 63 | 0.0022968 | 0.00057562 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_762-2_0_4_load_52 | 64 | 0.0017998 | 0.00045108 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_762-2_0_4_load_53 | 65 | 0.0020197 | 0.00050619 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_762-2_0_4_load_54 | 66 | 0.0026963 | 0.00067575 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_762-2_0_4_load_99 | 67 | 0.0018943 | 0.00047477 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_762-2_0_4_load_63 | 68 | 0.0021806 | 0.00054651 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_762-2_0_4_load_55 | 69 | 0.0024717 | 0.00061948 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_762-2_0_4_load_59 | 71 | 0.0031816 | 0.00079739 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_762-2_0_4_load_60 | 72 | 0.0021464 | 0.00053793 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_762-2_0_4_load_66 | 73 | 0.0021654 | 0.0005427 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_762-2_0_4_load_67 | 74 | 0.00065802 | 0.00016491 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_762-2_0_4_load_65 | 75 | 0.0023874 | 0.00059834 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_762-2_0_4_load_70 | 76 | 0.00064216 | 0.00016094 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_762-2_0_4_load_71 | 77 | 0.00082716 | 0.00020731 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_762-2_0_4_load_72 | 78 | 0.00060917 | 0.00015267 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_762-2_0_4_load_73 | 79 | 0.0028556 | 0.00071568 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_762-2_0_4_load_74 | 80 | 0.0003604 | 9.0325e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_762-2_0_4_load_75 | 81 | 0.00031565 | 7.911e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_762-2_0_4_load_77 | 82 | 0.00050828 | 0.00012739 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_762-2_0_4_load_87 | 83 | 0.0017724 | 0.00044421 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_762-2_0_4_load_76 | 84 | 0.00071212 | 0.00017847 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_762-2_0_4_load_84 | 85 | 0.00098571 | 0.00024704 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_762-2_0_4_load_82 | 86 | 0.00033794 | 8.4695e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_762-2_0_4_load_97 | 88 | 6.3686e-05 | 1.5961e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_762-2_0_4_load_85 | 89 | 0.0039601 | 0.00099249 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_762-2_0_4_load_86 | 90 | 0.0019025 | 0.0004768 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_762-2_0_4_load_88 | 91 | 8.4395e-05 | 2.1151e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_762-2_0_4_load_91 | 92 | 0.00010499 | 2.6312e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_762-2_0_4_load_92 | 93 | 0.00018976 | 4.7559e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_762-2_0_4_load_95 | 96 | 0.00046864 | 0.00011745 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_762-2_0_4_load_96 | 97 | 0.00036033 | 9.0307e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_762-2_0_4_load_98 | 98 | 0.00011105 | 2.7832e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_762-2_0_4_load_89 | 99 | 0.00032095 | 8.0438e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_762-2_0_4_load_103 | 100 | 0.00021057 | 5.2773e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_762-2_0_4_load_104 | 101 | 0.00016929 | 4.2428e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_762-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_762-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_762-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_762-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_762-2_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.060024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_762-2_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.02162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_762-2_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.025044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_762-2_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.0069824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_762-2_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.056135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_762-2_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.014349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_762-2_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0085574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_762-2_0_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.068114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_762-2_0_4_line_12 | NAYY 4x150 SE | 10 | 13 | 0.011801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_762-2_0_4_line_13 | NAYY 4x150 SE | 11 | 17 | 0.0066753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_762-2_0_4_line_14 | NAYY 4x150 SE | 12 | 82 | 0.096982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_762-2_0_4_line_15 | NAYY 4x150 SE | 12 | 83 | 0.018751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_762-2_0_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.0040389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_762-2_0_4_line_17 | NAYY 4x150 SE | 14 | 19 | 0.014931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_762-2_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.011266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_762-2_0_4_line_19 | NAYY 4x150 SE | 15 | 17 | 0.015693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_762-2_0_4_line_20 | NAYY 4x150 SE | 15 | 18 | 0.014674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_762-2_0_4_line_21 | NAYY 4x150 SE | 16 | 20 | 0.0065196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_762-2_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0051476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_762-2_0_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.035041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_762-2_0_4_line_24 | NAYY 4x150 SE | 20 | 34 | 0.00064181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_762-2_0_4_line_25 | NAYY 4x150 SE | 21 | 37 | 0.022377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_762-2_0_4_line_26 | NAYY 4x150 SE | 22 | 35 | 0.033356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_762-2_0_4_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0045614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_762-2_0_4_line_28 | NAYY 4x150 SE | 23 | 25 | 0.012327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_762-2_0_4_line_29 | NAYY 4x150 SE | 24 | 26 | 0.013769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_762-2_0_4_line_30 | NAYY 4x150 SE | 25 | 27 | 0.018554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_762-2_0_4_line_31 | NAYY 4x150 SE | 26 | 28 | 0.0061559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_762-2_0_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.0074167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_762-2_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.048901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_762-2_0_4_line_34 | NAYY 4x150 SE | 28 | 31 | 0.0249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_762-2_0_4_line_35 | NAYY 4x150 SE | 29 | 32 | 0.041638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_762-2_0_4_line_36 | NAYY 4x150 SE | 29 | 33 | 0.019662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_762-2_0_4_line_37 | NAYY 4x150 SE | 31 | 42 | 0.017679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_762-2_0_4_line_38 | NAYY 4x150 SE | 32 | 38 | 0.0147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_762-2_0_4_line_39 | NAYY 4x150 SE | 32 | 39 | 0.024535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_762-2_0_4_line_40 | NAYY 4x150 SE | 33 | 40 | 0.025116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_762-2_0_4_line_41 | NAYY 4x150 SE | 35 | 36 | 0.022988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_762-2_0_4_line_42 | NAYY 4x150 SE | 37 | 42 | 0.011126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_762-2_0_4_line_43 | NAYY 4x150 SE | 37 | 43 | 0.013415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_762-2_0_4_line_44 | NAYY 4x150 SE | 38 | 41 | 0.034506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_762-2_0_4_line_45 | NAYY 4x150 SE | 41 | 51 | 0.03763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_762-2_0_4_line_46 | NAYY 4x150 SE | 42 | 50 | 0.015829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_762-2_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.013152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_762-2_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.015429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_762-2_0_4_line_49 | NAYY 4x150 SE | 44 | 46 | 0.028187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_762-2_0_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.053062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_762-2_0_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.022891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_762-2_0_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.028927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_762-2_0_4_line_53 | NAYY 4x150 SE | 49 | 76 | 0.02699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_762-2_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.013714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_762-2_0_4_line_55 | NAYY 4x150 SE | 51 | 53 | 0.049042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_762-2_0_4_line_56 | NAYY 4x150 SE | 52 | 60 | 0.0080025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_762-2_0_4_line_57 | NAYY 4x150 SE | 53 | 69 | 0.00098509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_762-2_0_4_line_58 | NAYY 4x150 SE | 54 | 55 | 0.031923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_762-2_0_4_line_59 | NAYY 4x150 SE | 54 | 56 | 0.0025671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_762-2_0_4_line_60 | NAYY 4x150 SE | 55 | 57 | 0.013132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_762-2_0_4_line_61 | NAYY 4x150 SE | 56 | 58 | 0.013084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_762-2_0_4_line_62 | NAYY 4x150 SE | 57 | 59 | 0.0097843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_762-2_0_4_line_63 | NAYY 4x150 SE | 58 | 60 | 0.0004266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_762-2_0_4_line_64 | NAYY 4x150 SE | 59 | 61 | 0.020044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_762-2_0_4_line_65 | NAYY 4x150 SE | 61 | 62 | 0.022999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_762-2_0_4_line_66 | NAYY 4x150 SE | 62 | 68 | 0.028068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_762-2_0_4_line_67 | NAYY 4x150 SE | 62 | 66 | 0.040754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_762-2_0_4_line_68 | NAYY 4x150 SE | 63 | 64 | 0.0044387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_762-2_0_4_line_69 | NAYY 4x150 SE | 63 | 65 | 0.023002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_762-2_0_4_line_70 | NAYY 4x150 SE | 64 | 66 | 0.023296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_762-2_0_4_line_71 | NAYY 4x150 SE | 66 | 67 | 0.14192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_762-2_0_4_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0045123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_762-2_0_4_line_73 | NAYY 4x150 SE | 70 | 71 | 0.027053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_762-2_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.0088215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_762-2_0_4_line_75 | NAYY 4x150 SE | 72 | 73 | 0.048287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_762-2_0_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.028005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_762-2_0_4_line_77 | NAYY 4x150 SE | 74 | 75 | 0.011283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_762-2_0_4_line_78 | NAYY 4x150 SE | 77 | 78 | 0.044422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_762-2_0_4_line_79 | NAYY 4x150 SE | 77 | 79 | 0.020249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_762-2_0_4_line_80 | NAYY 4x150 SE | 78 | 80 | 0.011914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_762-2_0_4_line_81 | NAYY 4x150 SE | 79 | 81 | 0.034635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_762-2_0_4_line_82 | NAYY 4x150 SE | 80 | 84 | 0.008831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_762-2_0_4_line_83 | NAYY 4x150 SE | 81 | 82 | 0.044443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_762-2_0_4_line_84 | NAYY 4x150 SE | 83 | 90 | 0.015105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_762-2_0_4_line_85 | NAYY 4x150 SE | 84 | 85 | 0.089464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_762-2_0_4_line_86 | NAYY 4x150 SE | 85 | 87 | 0.019251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_762-2_0_4_line_87 | NAYY 4x150 SE | 86 | 87 | 0.015966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_762-2_0_4_line_88 | NAYY 4x150 SE | 86 | 88 | 0.2722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_762-2_0_4_line_89 | NAYY 4x150 SE | 88 | 95 | 0.048775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_762-2_0_4_line_90 | NAYY 4x150 SE | 89 | 90 | 0.01326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_762-2_0_4_line_91 | NAYY 4x150 SE | 89 | 91 | 0.16574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_762-2_0_4_line_92 | NAYY 4x150 SE | 91 | 99 | 0.0024715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_762-2_0_4_line_93 | NAYY 4x150 SE | 92 | 93 | 0.0077771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_762-2_0_4_line_94 | NAYY 4x150 SE | 93 | 94 | 0.082376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_762-2_0_4_line_95 | NAYY 4x150 SE | 94 | 95 | 0.007289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_762-2_0_4_line_96 | NAYY 4x150 SE | 94 | 96 | 0.0083217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_762-2_0_4_line_97 | NAYY 4x150 SE | 95 | 97 | 0.027895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_762-2_0_4_line_98 | NAYY 4x150 SE | 96 | 98 | 0.024181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_762-2_0_4_line_99 | NAYY 4x150 SE | 99 | 100 | 0.013578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_762-2_0_4_line_100 | NAYY 4x150 SE | 100 | 101 | 0.015116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_762-2_0_4_trafo_35 | 0.25 MVA 20/0.4 kV | 102 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2610754.92 | 1167655.584 | 2610735.5603 | 1167648.0469 | 2610724.6374 | 1167648.4833
1 | 2610782.576 | 1167666.3509 | 2610754.92 | 1167655.584
2 | 2610713.7717 | 1167651.1987 | 2610724.6374 | 1167648.4833
3 | 2610782.576 | 1167666.3509 | 2610786.3902 | 1167656.3527
4 | 2610782.576 | 1167666.3509 | 2610807.1737 | 1167675.9218 | 2610821.0167 | 1167677.5363 | 2610822.262 | 1167674.5037 | 2610824.9214 | 1167672.5741 | 2610828.1976 | 1167672.3354 | 2610831.1187 | 1167673.8414 | 2610832.7975 | 1167676.6569 | 2610832.7457 | 1167679.9363
5 | 2610713.7717 | 1167651.1987 | 2610695.9593 | 1167656.581 | 2610693.0284 | 1167657.2759
6 | 2610713.7717 | 1167651.1987 | 2610709.8277 | 1167643.8659 | 2610699.5263 | 1167639.1008 | 2610694.4304 | 1167637.4141
7 | 2610786.3902 | 1167656.3527 | 2610792.9206 | 1167658.8242
8 | 2610832.7457 | 1167679.9363 | 2610843.4403 | 1167683.0125 | 2610886.919 | 1167694.6414
9 | 2610678.9136 | 1167659.3573 | 2610684.6038 | 1167659.2734 | 2610693.0284 | 1167657.2759
10 | 2610686.3064 | 1167634.7252 | 2610694.4304 | 1167637.4141
11 | 2610886.919 | 1167694.6414 | 2610938.3847 | 1167650.0227
12 | 2610667.1142 | 1167659.5315 | 2610678.9136 | 1167659.3573
13 | 2610686.3064 | 1167634.7252 | 2610683.5543 | 1167633.8143 | 2610679.796 | 1167633.4454
14 | 2610938.3847 | 1167650.0227 | 2610989.4549 | 1167732.4686
15 | 2610938.3847 | 1167650.0227 | 2610945.0051 | 1167632.4797
16 | 2610667.1142 | 1167659.5315 | 2610664.9835 | 1167662.9626
17 | 2610659.1318 | 1167676.6037 | 2610662.2939 | 1167667.2935 | 2610664.9835 | 1167662.9626
18 | 2610664.178 | 1167631.9125 | 2610662.867 | 1167620.7228
19 | 2610664.178 | 1167631.9125 | 2610679.796 | 1167633.4454
20 | 2610664.178 | 1167631.9125 | 2610649.5069 | 1167632.2263
21 | 2610662.1083 | 1167614.2474 | 2610662.867 | 1167620.7228
22 | 2610659.1318 | 1167676.6037 | 2610657.4771 | 1167681.4781
23 | 2610659.1318 | 1167676.6037 | 2610677.575 | 1167682.3614 | 2610684.3463 | 1167683.6962 | 2610693.1468 | 1167684.2542
24 | 2610662.0336 | 1167613.61 | 2610662.1083 | 1167614.2474
25 | 2610650.2839 | 1167702.6678 | 2610657.4771 | 1167681.4781
26 | 2610726.132 | 1167683.0798 | 2610722.4342 | 1167682.3408 | 2610712.8832 | 1167681.8013 | 2610704.7743 | 1167683.7324 | 2610697.6931 | 1167684.5425 | 2610693.1468 | 1167684.2542
27 | 2610622.2104 | 1167650.8274 | 2610620.6134 | 1167646.5546
28 | 2610616.2974 | 1167635.0075 | 2610620.6134 | 1167646.5546
29 | 2610627.0684 | 1167663.7103 | 2610626.4218 | 1167662.0944 | 2610622.2104 | 1167650.8274
30 | 2610616.2974 | 1167635.0075 | 2610609.0474 | 1167617.9282
31 | 2610629.3556 | 1167669.4255 | 2610627.0684 | 1167663.7103
32 | 2610606.152 | 1167611.1 | 2610608.614 | 1167616.9072 | 2610609.0474 | 1167617.9282
33 | 2610629.3556 | 1167669.4255 | 2610590.3275 | 1167683.1527 | 2610583.082 | 1167685.2002
34 | 2610629.3556 | 1167669.4255 | 2610637.2906 | 1167693.0277
35 | 2610606.152 | 1167611.1 | 2610595.2062 | 1167585.3124 | 2610590.4372 | 1167572.5421
36 | 2610606.152 | 1167611.1 | 2610593.3154 | 1167616.0355 | 2610590.7954 | 1167610.6905
37 | 2610641.9435 | 1167710.0568 | 2610639.9162 | 1167700.8375 | 2610637.2906 | 1167693.0277
38 | 2610590.4372 | 1167572.5421 | 2610585.2957 | 1167558.7705
39 | 2610590.4372 | 1167572.5421 | 2610565.9754 | 1167574.4383
40 | 2610573.3665 | 1167601.1069 | 2610585.2322 | 1167598.8906 | 2610590.7954 | 1167610.6905
41 | 2610726.132 | 1167683.0798 | 2610748.6741 | 1167687.585
42 | 2610650.2839 | 1167702.6678 | 2610641.9435 | 1167710.0568
43 | 2610650.2839 | 1167702.6678 | 2610662.7685 | 1167701.9784 | 2610663.6359 | 1167702.2564
44 | 2610573.0513 | 1167526.5108 | 2610577.3719 | 1167537.5461 | 2610585.2957 | 1167558.7705
45 | 2610573.0513 | 1167526.5108 | 2610576.0294 | 1167526.1381 | 2610599.0884 | 1167523.277 | 2610610.3971 | 1167521.1847
46 | 2610641.9435 | 1167710.0568 | 2610643.5781 | 1167725.8012
47 | 2610663.6359 | 1167702.2564 | 2610669.8137 | 1167704.2364 | 2610675.218 | 1167708.1368
48 | 2610675.1821 | 1167723.4857 | 2610675.9583 | 1167713.6742 | 2610675.218 | 1167708.1368 | 2610675.218 | 1167708.1368
49 | 2610680.0275 | 1167749.7883 | 2610680.0275 | 1167749.7883 | 2610673.8524 | 1167740.2949 | 2610675.1821 | 1167723.4857
50 | 2610726.922 | 1167774.6165 | 2610680.0275 | 1167749.7883
51 | 2610746.6273 | 1167786.1396 | 2610738.8192 | 1167782.4088 | 2610729.409 | 1167775.9333 | 2610726.922 | 1167774.6165
52 | 2610746.6273 | 1167786.1396 | 2610772.704 | 1167798.5994 | 2610772.7301 | 1167798.5997
53 | 2610799.0392 | 1167803.2358 | 2610790.7486 | 1167800.1657 | 2610782.7301 | 1167798.7173 | 2610772.7301 | 1167798.5997
54 | 2610610.3971 | 1167521.1847 | 2610623.8246 | 1167518.397
55 | 2610610.3971 | 1167521.1847 | 2610618.0039 | 1167535.0161 | 2610629.8599 | 1167543.7413 | 2610640.0465 | 1167552.9416 | 2610642.3607 | 1167557.1579
56 | 2610623.8246 | 1167518.397 | 2610627.3876 | 1167517.6573 | 2610631.7497 | 1167517.7682
57 | 2610642.8346 | 1167558.0214 | 2610642.3607 | 1167557.1579
58 | 2610646.7667 | 1167523.3769 | 2610655.1026 | 1167526.5216 | 2610665.3391 | 1167529.1298 | 2610674.5607 | 1167530.0132 | 2610677.747 | 1167530.0023
59 | 2610646.7667 | 1167523.3769 | 2610644.3649 | 1167522.4708
60 | 2610677.747 | 1167530.0023 | 2610690.8791 | 1167529.9571
61 | 2610644.3649 | 1167522.4708 | 2610641.6022 | 1167521.4286 | 2610632.5539 | 1167517.7886 | 2610632.1761 | 1167517.779
62 | 2610700.6633 | 1167529.9234 | 2610690.8791 | 1167529.9571
63 | 2610632.1761 | 1167517.779 | 2610631.7497 | 1167517.7682
64 | 2610700.6633 | 1167529.9234 | 2610704.4269 | 1167529.9104 | 2610710.2348 | 1167530.7767 | 2610715.1981 | 1167533.0978 | 2610718.6814 | 1167536.5853
65 | 2610732.4958 | 1167554.906 | 2610721.8606 | 1167539.7685 | 2610718.6814 | 1167536.5853
66 | 2610732.4958 | 1167554.906 | 2610743.0429 | 1167580.771 | 2610743.0985 | 1167580.8937
67 | 2610732.4958 | 1167554.906 | 2610736.6353 | 1167546.9983 | 2610737.5638 | 1167541.3749 | 2610737.2733 | 1167532.57 | 2610735.4547 | 1167517.9372 | 2610734.9148 | 1167515.4212
68 | 2610727.541 | 1167488.8743 | 2610728.3878 | 1167493.2314
69 | 2610727.541 | 1167488.8743 | 2610723.1531 | 1167466.2951
70 | 2610728.3878 | 1167493.2314 | 2610729.3285 | 1167498.072 | 2610732.6004 | 1167504.6366 | 2610734.9148 | 1167515.4212
71 | 2610734.9148 | 1167515.4212 | 2610871.8588 | 1167478.1824
72 | 2610645.0057 | 1167561.9771 | 2610642.8346 | 1167558.0214
73 | 2610645.0057 | 1167561.9771 | 2610671.4912 | 1167556.1097
74 | 2610645.0057 | 1167561.9771 | 2610649.1884 | 1167569.7439
75 | 2610687.2338 | 1167594.3669 | 2610682.586 | 1167592.7699 | 2610656.8764 | 1167584.0201 | 2610649.1884 | 1167569.7439
76 | 2610687.2338 | 1167594.3669 | 2610713.7185 | 1167603.4673
77 | 2610713.7185 | 1167603.4673 | 2610724.389 | 1167607.1337
78 | 2611081.4011 | 1167768.8141 | 2611121.157 | 1167788.6318
79 | 2611081.4011 | 1167768.8141 | 2611072.0801 | 1167764.1677 | 2611063.1921 | 1167759.9599
80 | 2611121.157 | 1167788.6318 | 2611131.8195 | 1167793.9469
81 | 2611031.285 | 1167746.8017 | 2611040.3981 | 1167749.1689 | 2611063.1921 | 1167759.9599
82 | 2611139.7229 | 1167797.8866 | 2611139.7229 | 1167797.8866 | 2611131.8195 | 1167793.9469
83 | 2611031.285 | 1167746.8017 | 2611026.3907 | 1167745.5304 | 2611001.5053 | 1167738.7705 | 2610989.4549 | 1167732.4686
84 | 2610945.0051 | 1167632.4797 | 2610950.3383 | 1167618.3475
85 | 2611139.7229 | 1167797.8866 | 2611225.0624 | 1167771.0365
86 | 2611244.2821 | 1167772.1341 | 2611225.0624 | 1167771.0365
87 | 2611244.2821 | 1167772.1341 | 2611250.0216 | 1167772.5561 | 2611258.3781 | 1167773.2943 | 2611260.1998 | 1167773.3083
88 | 2611260.1998 | 1167773.3083 | 2611528.4675 | 1167727.2157
89 | 2611573.5968 | 1167709.4802 | 2611542.6551 | 1167724.0949 | 2611530.0358 | 1167727.1613 | 2611528.4675 | 1167727.2157
90 | 2610955.02 | 1167605.9419 | 2610950.3383 | 1167618.3475
91 | 2610955.02 | 1167605.9419 | 2611092.2601 | 1167513.0208
92 | 2611092.2601 | 1167513.0208 | 2611093.1743 | 1167510.7246
93 | 2611640.206 | 1167762.0789 | 2611636.3184 | 1167761.8046 | 2611632.5777 | 1167760.7747
94 | 2611580.5736 | 1167707.3036 | 2611587.8091 | 1167705.9167 | 2611595.0533 | 1167707.9539 | 2611603.1733 | 1167712.3383 | 2611610.2042 | 1167717.8324 | 2611616.1232 | 1167724.4359 | 2611619.5529 | 1167731.9796 | 2611627.5519 | 1167755.3956 | 2611629.7273 | 1167758.4791 | 2611632.5777 | 1167760.7747
95 | 2611573.5968 | 1167709.4802 | 2611580.5736 | 1167707.3036
96 | 2611580.5736 | 1167707.3036 | 2611581.7515 | 1167699.702 | 2611582.0188 | 1167699.1322
97 | 2611573.5968 | 1167709.4802 | 2611579.8293 | 1167712.249 | 2611586.3894 | 1167715.8412 | 2611597.8561 | 1167723.1469
98 | 2611595.7512 | 1167679.3631 | 2611584.5336 | 1167693.771 | 2611582.0188 | 1167699.1322
99 | 2611098.1965 | 1167498.1099 | 2611093.1743 | 1167510.7246
100 | 2611098.1965 | 1167498.1099 | 2611103.7878 | 1167484.0657

## bus_geodata
| x | y | coords
0 | 2610754.92 | 1167655.584
1 | 2610724.6374 | 1167648.4833
2 | 2610782.576 | 1167666.3509
3 | 2610713.7717 | 1167651.1987
4 | 2610786.3902 | 1167656.3527
5 | 2610832.7457 | 1167679.9363
6 | 2610693.0284 | 1167657.2759
7 | 2610694.4304 | 1167637.4141
8 | 2610792.9206 | 1167658.8241
9 | 2610886.919 | 1167694.6414
10 | 2610678.9135 | 1167659.3573
11 | 2610686.3064 | 1167634.7252
12 | 2610938.3847 | 1167650.0227
13 | 2610667.1142 | 1167659.5315
14 | 2610664.9835 | 1167662.9626
15 | 2610664.178 | 1167631.9125
16 | 2610662.867 | 1167620.7228
17 | 2610679.796 | 1167633.4454
18 | 2610649.5069 | 1167632.2263
19 | 2610659.1318 | 1167676.6037
20 | 2610662.1083 | 1167614.2474
21 | 2610657.4771 | 1167681.4781
22 | 2610693.1468 | 1167684.2542
23 | 2610620.6134 | 1167646.5546
24 | 2610622.2104 | 1167650.8274
25 | 2610616.2974 | 1167635.0075
26 | 2610627.0684 | 1167663.7103
27 | 2610609.0474 | 1167617.9282
28 | 2610629.3556 | 1167669.4255
29 | 2610606.152 | 1167611.1
30 | 2610583.082 | 1167685.2002
31 | 2610637.2906 | 1167693.0277
32 | 2610590.4372 | 1167572.5421
33 | 2610590.7954 | 1167610.6905
34 | 2610662.0336 | 1167613.61
35 | 2610726.132 | 1167683.0798
36 | 2610748.6741 | 1167687.585
37 | 2610650.2839 | 1167702.6678
38 | 2610585.2957 | 1167558.7705
39 | 2610565.9754 | 1167574.4383
40 | 2610573.3665 | 1167601.1069
41 | 2610573.0513 | 1167526.5108
42 | 2610641.9435 | 1167710.0568
43 | 2610663.6359 | 1167702.2564
44 | 2610675.1821 | 1167723.4857
45 | 2610675.218 | 1167708.1368
46 | 2610680.0275 | 1167749.7883
47 | 2610726.922 | 1167774.6165
48 | 2610746.6273 | 1167786.1396
49 | 2610772.7301 | 1167798.5997
50 | 2610643.5781 | 1167725.8012
51 | 2610610.3971 | 1167521.1847
52 | 2610623.8246 | 1167518.397
53 | 2610642.3607 | 1167557.1579
54 | 2610646.7667 | 1167523.3769
55 | 2610677.747 | 1167530.0023
56 | 2610644.3649 | 1167522.4708
57 | 2610690.8791 | 1167529.9571
58 | 2610632.1761 | 1167517.779
59 | 2610700.6633 | 1167529.9234
60 | 2610631.7497 | 1167517.7682
61 | 2610718.6814 | 1167536.5853
62 | 2610732.4958 | 1167554.906
63 | 2610727.541 | 1167488.8743
64 | 2610728.3878 | 1167493.2314
65 | 2610723.1531 | 1167466.2951
66 | 2610734.9148 | 1167515.4212
67 | 2610871.8588 | 1167478.1824
68 | 2610743.0985 | 1167580.8937
69 | 2610642.8346 | 1167558.0214
70 | 2610645.0057 | 1167561.9771
71 | 2610671.4912 | 1167556.1097
72 | 2610649.1884 | 1167569.7439
73 | 2610687.2338 | 1167594.3669
74 | 2610713.7185 | 1167603.4673
75 | 2610724.389 | 1167607.1337
76 | 2610799.0392 | 1167803.2358
77 | 2611081.4011 | 1167768.8141
78 | 2611121.157 | 1167788.6318
79 | 2611063.1921 | 1167759.9599
80 | 2611131.8195 | 1167793.9469
81 | 2611031.285 | 1167746.8017
82 | 2610989.4549 | 1167732.4686
83 | 2610945.0051 | 1167632.4797
84 | 2611139.7229 | 1167797.8866
85 | 2611225.0624 | 1167771.0365
86 | 2611260.1998 | 1167773.3083
87 | 2611244.2821 | 1167772.1341
88 | 2611528.4675 | 1167727.2157
89 | 2610955.02 | 1167605.9419
90 | 2610950.3383 | 1167618.3475
91 | 2611092.2601 | 1167513.0208
92 | 2611640.206 | 1167762.0789
93 | 2611632.5777 | 1167760.7747
94 | 2611580.5736 | 1167707.3036
95 | 2611573.5968 | 1167709.4802
96 | 2611582.0188 | 1167699.1322
97 | 2611597.8561 | 1167723.1469
98 | 2611595.7512 | 1167679.3631
99 | 2611093.1743 | 1167510.7246
100 | 2611098.1965 | 1167498.1099
101 | 2611103.7878 | 1167484.0657
102 | 2610713.7717 | 1167651.1987

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1